## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5892-16_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5892-16_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5892-16_0_10_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_5892-16_0_10_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_5892-16_0_10_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_5892-16_0_10_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_5892-16_0_10_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5892-16_0_10_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5892-16_0_10_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5892-16_0_10_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5892-16_0_10_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_5892-16_0_10_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_5892-16_0_10_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_5892-16_0_10_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5892-16_0_10_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5892-16_0_10_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5892-16_0_10_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_5892-16_0_10_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_5892-16_0_10_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5892-16_0_10_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5892-16_0_10_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_5892-16_0_10_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5892-16_0_10_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_5892-16_0_10_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5892-16_0_10_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5892-16_0_10_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_5892-16_0_10_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5892-16_0_10_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_5892-16_0_10_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_5892-16_0_10_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_5892-16_0_10_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_5892-16_0_10_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_5892-16_0_10_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5892-16_0_10_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5892-16_0_10_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5892-16_0_10_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5892-16_0_10_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_5892-16_0_10_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5892-16_0_10_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5892-16_0_10_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5892-16_0_10_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5892-16_0_10_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5892-16_0_10_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5892-16_0_10_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5892-16_0_10_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_5892-16_0_10_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5892-16_0_10_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5892-16_0_10_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5892-16_0_10_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_5892-16_0_10_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5892-16_0_10_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5892-16_0_10_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5892-16_0_10_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5892-16_0_10_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_5892-16_0_10_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5892-16_0_10_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5892-16_0_10_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_5892-16_0_10_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5892-16_0_10_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_5892-16_0_10_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_5892-16_0_10_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_5892-16_0_10_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_5892-16_0_10_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5892-16_0_10_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_5892-16_0_10_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_5892-16_0_10_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5892-16_0_10_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_5892-16_0_10_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_5892-16_0_10_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_5892-16_0_10_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_5892-16_0_10_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_5892-16_0_10_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_5892-16_0_10_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5892-16_0_10_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5892-16_0_10_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_5892-16_0_10_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5892-16_0_10_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_5892-16_0_10_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5892-16_0_10_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_5892-16_0_10_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_5892-16_0_10_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_5892-16_0_10_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_5892-16_0_10_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_5892-16_0_10_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_5892-16_0_10_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_5892-16_0_10_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_5892-16_0_10_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_5892-16_0_10_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_5892-16_0_10_node_84 | 0.4 | n |  | TRUE
89 | bus_MV_37_1_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5892-16_0_10_load_0 | 0 | 0.0011076 | 0.00027759 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5892-16_0_10_load_1 | 1 | 0.00094523 | 0.0002369 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5892-16_0_10_load_9 | 2 | 0.00070664 | 0.0001771 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5892-16_0_10_load_11 | 3 | 0.00053407 | 0.00013385 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5892-16_0_10_load_8 | 4 | 0.001111 | 0.00027844 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5892-16_0_10_load_3 | 6 | 0.0032284 | 0.00080912 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5892-16_0_10_load_4 | 7 | 0.0013407 | 0.00033601 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5892-16_0_10_load_5 | 8 | 0.0031557 | 0.00079088 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5892-16_0_10_load_6 | 9 | 0.0022656 | 0.00056782 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5892-16_0_10_load_65 | 10 | 0.0013462 | 0.00033738 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5892-16_0_10_load_18 | 11 | 0.010929 | 0.0027391 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5892-16_0_10_load_16 | 13 | 0.016617 | 0.0041646 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5892-16_0_10_load_7 | 14 | 0.002336 | 0.00058547 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5892-16_0_10_load_20 | 15 | 0.0013896 | 0.00034826 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5892-16_0_10_load_61 | 16 | 0.0024411 | 0.00061181 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5892-16_0_10_load_62 | 17 | 0.0019289 | 0.00048344 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5892-16_0_10_load_14 | 18 | 0.0036951 | 0.00092608 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5892-16_0_10_load_12 | 19 | 0.0032435 | 0.0008129 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5892-16_0_10_load_89 | 20 | 0.0034014 | 0.00085247 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5892-16_0_10_load_13 | 21 | 0.0070097 | 0.0017568 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5892-16_0_10_load_87 | 22 | 0.016857 | 0.0042247 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5892-16_0_10_load_17 | 24 | 0.0035857 | 0.00089867 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5892-16_0_10_load_88 | 25 | 0.0048692 | 0.0012203 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5892-16_0_10_load_53 | 28 | 0.0028667 | 0.00071845 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5892-16_0_10_load_64 | 31 | 0.0019293 | 0.00048352 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5892-16_0_10_load_21 | 32 | 0.0012752 | 0.00031959 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5892-16_0_10_load_22 | 33 | 0.001896 | 0.00047517 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5892-16_0_10_load_23 | 34 | 0.001924 | 0.0004822 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5892-16_0_10_load_24 | 35 | 0.0036179 | 0.00090673 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5892-16_0_10_load_41 | 36 | 0.0041845 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5892-16_0_10_load_32 | 37 | 0.0018971 | 0.00047545 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5892-16_0_10_load_25 | 38 | 0.0038549 | 0.00096612 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5892-16_0_10_load_26 | 39 | 0.0032335 | 0.00081039 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5892-16_0_10_load_27 | 40 | 0.0017448 | 0.00043728 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5892-16_0_10_load_29 | 42 | 0.0017556 | 0.00043998 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5892-16_0_10_load_30 | 43 | 0.0040584 | 0.0010171 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5892-16_0_10_load_31 | 44 | 0.0024449 | 0.00061274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5892-16_0_10_load_44 | 45 | 0.0042542 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5892-16_0_10_load_48 | 46 | 0.003673 | 0.00092053 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5892-16_0_10_load_42 | 47 | 0.0015482 | 0.00038803 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5892-16_0_10_load_47 | 48 | 0.036819 | 0.0092277 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5892-16_0_10_load_33 | 49 | 0.015013 | 0.0037627 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5892-16_0_10_load_34 | 50 | 0.0026854 | 0.00067302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5892-16_0_10_load_36 | 52 | 0.0024728 | 0.00061975 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5892-16_0_10_load_38 | 54 | 0.0050957 | 0.0012771 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5892-16_0_10_load_39 | 55 | 0.0015966 | 0.00040015 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5892-16_0_10_load_40 | 56 | 0.0024046 | 0.00060266 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5892-16_0_10_load_60 | 57 | 0.0023668 | 0.00059319 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5892-16_0_10_load_68 | 58 | 0.0031454 | 0.00078832 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5892-16_0_10_load_67 | 59 | 0.0024977 | 0.00062597 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5892-16_0_10_load_58 | 60 | 0.0049194 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5892-16_0_10_load_85 | 61 | 0.00099165 | 0.00024853 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5892-16_0_10_load_43 | 62 | 0.0039352 | 0.00098626 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5892-16_0_10_load_45 | 63 | 0.0065946 | 0.0016528 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5892-16_0_10_load_46 | 64 | 0.0053198 | 0.0013333 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5892-16_0_10_load_59 | 65 | 0.0032098 | 0.00080446 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5892-16_0_10_load_49 | 66 | 0.006784 | 0.0017002 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5892-16_0_10_load_50 | 67 | 0.029819 | 0.0074734 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5892-16_0_10_load_51 | 68 | 0.04215 | 0.010564 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5892-16_0_10_load_69 | 69 | 0.0017734 | 0.00044446 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5892-16_0_10_load_57 | 70 | 0.022763 | 0.005705 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5892-16_0_10_load_52 | 71 | 0.0024729 | 0.00061976 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5892-16_0_10_load_54 | 72 | 0.0021231 | 0.00053209 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5892-16_0_10_load_56 | 73 | 0.02351 | 0.0058921 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5892-16_0_10_load_71 | 74 | 0.0038272 | 0.00095918 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5892-16_0_10_load_72 | 75 | 0.0019012 | 0.00047649 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5892-16_0_10_load_86 | 76 | 0.0031478 | 0.0007889 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5892-16_0_10_load_74 | 77 | 0.0019248 | 0.0004824 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5892-16_0_10_load_77 | 78 | 0.0038306 | 0.00096003 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5892-16_0_10_load_73 | 79 | 0.001581 | 0.00039623 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5892-16_0_10_load_78 | 80 | 0.0019008 | 0.00047638 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5892-16_0_10_load_75 | 81 | 0.0015586 | 0.00039062 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5892-16_0_10_load_76 | 82 | 0.0055809 | 0.0013987 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5892-16_0_10_load_79 | 83 | 0.0019287 | 0.00048338 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5892-16_0_10_load_80 | 84 | 0.0019012 | 0.00047648 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5892-16_0_10_load_81 | 85 | 0.0015194 | 0.00038079 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5892-16_0_10_load_82 | 86 | 0.0013235 | 0.00033169 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5892-16_0_10_load_83 | 87 | 0.023781 | 0.0059601 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5892-16_0_10_load_84 | 88 | 0.065551 | 0.016429 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5892-16_0_10_line_0 |  | 0 | 1 | 0.0062166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5892-16_0_10_line_1 |  | 0 | 2 | 0.13571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5892-16_0_10_line_2 |  | 2 | 3 | 0.013865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5892-16_0_10_line_3 |  | 2 | 4 | 0.019225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5892-16_0_10_line_4 |  | 3 | 18 | 0.052298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5892-16_0_10_line_5 |  | 5 | 6 | 0.015892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5892-16_0_10_line_6 |  | 5 | 7 | 0.021388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5892-16_0_10_line_7 |  | 6 | 8 | 0.063129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5892-16_0_10_line_8 |  | 7 | 9 | 0.00099134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5892-16_0_10_line_9 |  | 8 | 10 | 0.035843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5892-16_0_10_line_10 |  | 9 | 11 | 0.020921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5892-16_0_10_line_11 |  | 10 | 12 | 0.019923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5892-16_0_10_line_12 |  | 11 | 13 | 0.031127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5892-16_0_10_line_13 |  | 12 | 16 | 0.011799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5892-16_0_10_line_14 |  | 13 | 23 | 0.011151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5892-16_0_10_line_15 |  | 14 | 15 | 0.29174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5892-16_0_10_line_16 |  | 14 | 16 | 0.13339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5892-16_0_10_line_17 |  | 16 | 17 | 0.044044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5892-16_0_10_line_18 |  | 17 | 31 | 0.028239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5892-16_0_10_line_19 |  | 18 | 20 | 0.032669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5892-16_0_10_line_20 |  | 18 | 21 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5892-16_0_10_line_21 |  | 19 | 20 | 0.053656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5892-16_0_10_line_22 |  | 20 | 22 | 0.025972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5892-16_0_10_line_23 |  | 22 | 25 | 0.027855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5892-16_0_10_line_24 |  | 23 | 24 | 0.055856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5892-16_0_10_line_25 |  | 23 | 25 | 0.050625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5892-16_0_10_line_26 |  | 24 | 26 | 0.069857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5892-16_0_10_line_27 |  | 26 | 27 | 0.068306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5892-16_0_10_line_28 |  | 27 | 28 | 0.038346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5892-16_0_10_line_29 |  | 28 | 71 | 0.039075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_5892-16_0_10_line_30 |  | 29 | 30 | 0.05044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5892-16_0_10_line_31 |  | 29 | 31 | 0.036246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5892-16_0_10_line_32 |  | 30 | 74 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5892-16_0_10_line_33 |  | 30 | 75 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5892-16_0_10_line_34 |  | 32 | 33 | 0.025253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5892-16_0_10_line_35 |  | 33 | 34 | 0.00064953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5892-16_0_10_line_36 |  | 34 | 35 | 0.010074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5892-16_0_10_line_37 |  | 35 | 36 | 0.012674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5892-16_0_10_line_38 |  | 36 | 37 | 0.0028671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5892-16_0_10_line_39 |  | 37 | 42 | 0.0011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5892-16_0_10_line_40 |  | 38 | 39 | 0.0025471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5892-16_0_10_line_41 |  | 38 | 40 | 0.00050248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5892-16_0_10_line_42 |  | 39 | 41 | 0.044106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5892-16_0_10_line_43 |  | 40 | 42 | 0.030675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5892-16_0_10_line_44 |  | 41 | 43 | 0.023336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5892-16_0_10_line_45 |  | 41 | 44 | 0.002747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5892-16_0_10_line_46 |  | 43 | 45 | 0.0084928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5892-16_0_10_line_47 |  | 44 | 46 | 0.025832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5892-16_0_10_line_48 |  | 45 | 47 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5892-16_0_10_line_49 |  | 46 | 48 | 0.026913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5892-16_0_10_line_50 |  | 47 | 62 | 0.017611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5892-16_0_10_line_51 |  | 48 | 66 | 0.0032355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5892-16_0_10_line_52 |  | 49 | 50 | 0.01968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5892-16_0_10_line_53 |  | 49 | 51 | 0.032268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5892-16_0_10_line_54 |  | 50 | 52 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5892-16_0_10_line_55 |  | 51 | 53 | 0.040029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5892-16_0_10_line_56 |  | 52 | 54 | 0.015836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5892-16_0_10_line_57 |  | 53 | 55 | 0.027808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5892-16_0_10_line_58 |  | 53 | 56 | 0.022541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5892-16_0_10_line_59 |  | 54 | 57 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5892-16_0_10_line_60 |  | 55 | 58 | 0.022428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5892-16_0_10_line_61 |  | 56 | 59 | 0.026518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5892-16_0_10_line_62 |  | 57 | 60 | 0.0098479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5892-16_0_10_line_63 |  | 58 | 61 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5892-16_0_10_line_64 |  | 60 | 65 | 0.023174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5892-16_0_10_line_65 |  | 61 | 76 | 0.0099645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5892-16_0_10_line_66 |  | 62 | 63 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5892-16_0_10_line_67 |  | 63 | 64 | 0.011077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5892-16_0_10_line_68 |  | 64 | 65 | 0.023236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5892-16_0_10_line_69 |  | 66 | 67 | 0.034583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5892-16_0_10_line_70 |  | 67 | 68 | 0.0053522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_5892-16_0_10_line_71 |  | 68 | 69 | 0.035187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_5892-16_0_10_line_72 |  | 69 | 70 | 0.0013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_5892-16_0_10_line_73 |  | 70 | 73 | 0.0027225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_5892-16_0_10_line_74 |  | 71 | 72 | 0.01895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5892-16_0_10_line_75 |  | 72 | 73 | 0.040109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_5892-16_0_10_line_76 |  | 74 | 77 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5892-16_0_10_line_77 |  | 75 | 78 | 0.02407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_5892-16_0_10_line_78 |  | 77 | 79 | 0.014839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5892-16_0_10_line_79 |  | 78 | 80 | 0.027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_5892-16_0_10_line_80 |  | 79 | 81 | 0.0031625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5892-16_0_10_line_81 |  | 80 | 83 | 0.0042484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_5892-16_0_10_line_82 |  | 81 | 82 | 0.032395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5892-16_0_10_line_83 |  | 83 | 84 | 0.0029545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_5892-16_0_10_line_84 |  | 84 | 85 | 0.037103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_5892-16_0_10_line_85 |  | 85 | 86 | 0.014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_5892-16_0_10_line_86 |  | 86 | 87 | 0.0060471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_5892-16_0_10_line_87 |  | 87 | 88 | 0.012179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5892-16_0_10_trafo_51 | 0.63 MVA 20/0.4 kV | 89 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2557572.5347 | 1145654.2737 | 2557578.4098 | 1145656.3057
1 | 2557503.6568 | 1145771.2072 | 2557572.5347 | 1145654.2737
2 | 2557503.6568 | 1145771.2072 | 2557492.668 | 1145765.5452 | 2557491.2934 | 1145764.9368
3 | 2557520.4293 | 1145780.5954 | 2557508.0345 | 1145773.4629 | 2557503.6568 | 1145771.2072
4 | 2557491.2934 | 1145764.9368 | 2557453.1541 | 1145800.7203
5 | 2557385.2005 | 1145692.6682 | 2557385.7628 | 1145676.7866
6 | 2557385.2005 | 1145692.6682 | 2557378.7881 | 1145703.8193 | 2557374.1115 | 1145710.947
7 | 2557385.7628 | 1145676.7866 | 2557386.1862 | 1145664.8247 | 2557383.4207 | 1145649.6699 | 2557371.174 | 1145635.4272 | 2557359.2536 | 1145623.3484
8 | 2557373.5677 | 1145711.7758 | 2557374.1115 | 1145710.947
9 | 2557334.9923 | 1145596.9672 | 2557341.3505 | 1145603.9224 | 2557357.2612 | 1145621.3297 | 2557359.2536 | 1145623.3484
10 | 2557362.5816 | 1145729.546 | 2557364.4619 | 1145725.6543 | 2557373.5677 | 1145711.7758
11 | 2557321.7743 | 1145582.0612 | 2557332.2531 | 1145593.9707 | 2557334.9923 | 1145596.9672
12 | 2557362.5816 | 1145729.546 | 2557355.5204 | 1145744.1605 | 2557351.0201 | 1145757.3547 | 2557350.9725 | 1145758.3093
13 | 2557321.7743 | 1145582.0612 | 2557316.7656 | 1145576.6829 | 2557313.8816 | 1145573.2946
14 | 2557351.4973 | 1145769.3908 | 2557350.6839 | 1145764.105 | 2557350.9725 | 1145758.3093
15 | 2557402.9841 | 1145474.0271 | 2557518.8164 | 1145206.2703
16 | 2557313.8816 | 1145573.2946 | 2557402.9841 | 1145474.0271
17 | 2557313.8816 | 1145573.2946 | 2557297.1269 | 1145553.6104 | 2557284.7299 | 1145540.2926
18 | 2557266.4639 | 1145518.7826 | 2557268.3575 | 1145521.3649 | 2557278.1292 | 1145533.2015 | 2557284.7299 | 1145540.2926
19 | 2557421.7584 | 1145799.0515 | 2557432.6807 | 1145803.9001 | 2557453.1541 | 1145800.7203
20 | 2557469.17 | 1145814.0819 | 2557453.1541 | 1145800.7203 | 2557453.1541 | 1145800.7203
21 | 2557438.6163 | 1145748.113 | 2557421.7584 | 1145799.0515
22 | 2557396.4633 | 1145794.6629 | 2557415.1797 | 1145796.1311 | 2557421.7584 | 1145799.0515
23 | 2557396.4633 | 1145794.6629 | 2557396.4633 | 1145794.6629 | 2557382.6112 | 1145803.1542 | 2557376.8323 | 1145813.2204
24 | 2557351.4973 | 1145769.3908 | 2557344.8285 | 1145774.7075 | 2557336.3885 | 1145782.6714 | 2557327.8065 | 1145792.2594 | 2557317.0542 | 1145808.8664 | 2557315.6807 | 1145811.6138
25 | 2557351.4973 | 1145769.3908 | 2557376.8323 | 1145813.2204
26 | 2557277.0808 | 1145868.9365 | 2557281.8856 | 1145865.1004 | 2557287.2812 | 1145860.0929 | 2557290.9048 | 1145855.4425 | 2557294.7462 | 1145850.0903 | 2557301.9733 | 1145839.0333 | 2557315.6807 | 1145811.6138
27 | 2557277.0808 | 1145868.9365 | 2557271.3354 | 1145873.3574 | 2557265.1329 | 1145877.2479 | 2557266.1371 | 1145870.4595 | 2557265.5792 | 1145866.5503 | 2557265.5578 | 1145863.5267 | 2557266.8741 | 1145860.6714 | 2557269.3512 | 1145857.908 | 2557272.5248 | 1145854.795 | 2557278.0321 | 1145850.3758 | 2557281.573 | 1145847.0601 | 2557284.4048 | 1145843.4047 | 2557286.6009 | 1145838.9424 | 2557288.9579 | 1145832.2556
28 | 2557288.9579 | 1145832.2556 | 2557291.2368 | 1145826.4698 | 2557293.5792 | 1145817.7376 | 2557295.4946 | 1145810.5314 | 2557296.6625 | 1145802.9859 | 2557296.4665 | 1145794.9934
29 | 2557288.1262 | 1145757.4926 | 2557296.0137 | 1145776.5325 | 2557296.4665 | 1145794.9934
30 | 2557261.4076 | 1145484.9956 | 2557251.5957 | 1145485.8991 | 2557239.8932 | 1145497.4882 | 2557224.94 | 1145516.5043
31 | 2557261.4076 | 1145484.9956 | 2557260.087 | 1145488.3512 | 2557258.6297 | 1145500.5789 | 2557259.2181 | 1145506.6222 | 2557261.3911 | 1145511.865 | 2557266.4639 | 1145518.7826
32 | 2557224.94 | 1145516.5043 | 2557206.1281 | 1145517.9277 | 2557206.1281 | 1145517.9277
33 | 2557224.94 | 1145516.5043 | 2557228.0372 | 1145525.309 | 2557229.5138 | 1145530.9412
34 | 2557113.3068 | 1145517.7709 | 2557112.7325 | 1145516.8923 | 2557108.1625 | 1145511.6555 | 2557102.8713 | 1145506.5573 | 2557095.209 | 1145500.2806
35 | 2557113.6622 | 1145518.3146 | 2557113.3068 | 1145517.7709
36 | 2557119.1738 | 1145526.7469 | 2557113.6622 | 1145518.3146
37 | 2557125.7086 | 1145537.6049 | 2557120.088 | 1145528.1456 | 2557119.1738 | 1145526.7469
38 | 2557125.7086 | 1145537.6049 | 2557127.1732 | 1145540.0697
39 | 2557127.1732 | 1145540.0697 | 2557127.7507 | 1145541.0416
40 | 2557144.5559 | 1145570.2795 | 2557143.2926 | 1145568.0678
41 | 2557143.2926 | 1145568.0678 | 2557143.0434 | 1145567.6315
42 | 2557169.0028 | 1145606.9486 | 2557149.9641 | 1145579.748 | 2557144.5559 | 1145570.2795
43 | 2557143.0434 | 1145567.6315 | 2557130.4609 | 1145545.6028 | 2557127.7507 | 1145541.0416
44 | 2557169.0028 | 1145606.9486 | 2557152.4865 | 1145623.4349
45 | 2557169.0028 | 1145606.9486 | 2557171.1545 | 1145608.6564
46 | 2557146.4757 | 1145629.4348 | 2557152.4865 | 1145623.4349
47 | 2557191.5619 | 1145624.4853 | 2557186.7572 | 1145621.0406 | 2557171.1545 | 1145608.6564
48 | 2557133.3078 | 1145648.6332 | 2557138.3913 | 1145637.5045 | 2557146.4757 | 1145629.4348
49 | 2557212.8972 | 1145640.8275 | 2557207.7141 | 1145636.0658 | 2557191.5619 | 1145624.4853
50 | 2557133.3078 | 1145648.6332 | 2557126.2507 | 1145664.0824 | 2557126.004 | 1145664.6585
51 | 2557212.8972 | 1145640.8275 | 2557215.2799 | 1145643.0165
52 | 2557120.3253 | 1145792.0132 | 2557124.3067 | 1145801.9225 | 2557128.8847 | 1145809.6722
53 | 2557150.6697 | 1145832.8949 | 2557134.711 | 1145819.5351 | 2557128.8847 | 1145809.6722
54 | 2557120.3253 | 1145792.0132 | 2557114.5618 | 1145777.6684 | 2557113.8266 | 1145773.7734
55 | 2557163.5051 | 1145798.1969 | 2557164.6197 | 1145808.0051 | 2557164.0117 | 1145818.6371 | 2557150.6697 | 1145832.8949
56 | 2557113.8266 | 1145773.7734 | 2557110.8892 | 1145758.2126
57 | 2557163.5051 | 1145798.1969 | 2557163.0378 | 1145778.9792 | 2557165.1453 | 1145770.6568
58 | 2557163.5051 | 1145798.1969 | 2557173.4595 | 1145793.657 | 2557183.7748 | 1145792.3273 | 2557184.9677 | 1145792.4563
59 | 2557110.8892 | 1145758.2126 | 2557109.4442 | 1145750.5577 | 2557108.3243 | 1145739.8853
60 | 2557165.1453 | 1145770.6568 | 2557165.9369 | 1145767.5305 | 2557172.0389 | 1145754.9139 | 2557176.1471 | 1145751.7446
61 | 2557210.1493 | 1145799.4797 | 2557206.971 | 1145797.187 | 2557194.6764 | 1145793.5059 | 2557184.9677 | 1145792.4563
62 | 2557107.2966 | 1145730.0911 | 2557108.3243 | 1145739.8853
63 | 2557189.0416 | 1145741.9628 | 2557187.8923 | 1145742.6837 | 2557176.1471 | 1145751.7446
64 | 2557107.2966 | 1145730.0911 | 2557106.1059 | 1145718.7429 | 2557109.5361 | 1145707.4906
65 | 2557197.4829 | 1145736.6679 | 2557189.0416 | 1145741.9628
66 | 2557126.004 | 1145664.6585 | 2557121.4219 | 1145675.3551
67 | 2557117.0602 | 1145685.5376 | 2557121.4219 | 1145675.3551
68 | 2557109.5361 | 1145707.4906 | 2557114.1755 | 1145692.2718 | 2557117.0602 | 1145685.5376
69 | 2557215.2799 | 1145643.0165 | 2557219.8779 | 1145647.2406 | 2557241.3594 | 1145665.7239
70 | 2557241.3594 | 1145665.7239 | 2557245.4165 | 1145669.2147 | 2557245.4165 | 1145669.2147
71 | 2557263.3703 | 1145699.3863 | 2557257.1097 | 1145686.6183 | 2557245.4165 | 1145669.2147
72 | 2557263.3703 | 1145699.3863 | 2557263.983 | 1145700.6359
73 | 2557265.1816 | 1145703.0804 | 2557263.983 | 1145700.6359
74 | 2557288.1262 | 1145757.4926 | 2557284.4379 | 1145748.5893 | 2557280.8496 | 1145739.9956
75 | 2557265.1816 | 1145703.0804 | 2557266.8928 | 1145706.5701 | 2557280.8496 | 1145739.9956
76 | 2557191.3839 | 1145505.8486 | 2557194.8586 | 1145509.4035 | 2557199.0479 | 1145512.9644 | 2557206.1281 | 1145517.9277
77 | 2557229.5138 | 1145530.9412 | 2557231.6618 | 1145539.1347 | 2557236.607 | 1145553.9294
78 | 2557187.6652 | 1145491.4827 | 2557191.3839 | 1145505.8486 | 2557191.3839 | 1145505.8486
79 | 2557236.607 | 1145553.9294 | 2557236.607 | 1145553.9294 | 2557238.4972 | 1145556.1393 | 2557242.8451 | 1145561.4889 | 2557254.9818 | 1145574.8973
80 | 2557187.6652 | 1145491.4827 | 2557186.8727 | 1145488.4211
81 | 2557257.8328 | 1145578.047 | 2557254.9818 | 1145574.8973
82 | 2557179.9563 | 1145456.7826 | 2557184.519 | 1145479.3283 | 2557186.8727 | 1145488.4211
83 | 2557257.8328 | 1145578.047 | 2557259.8155 | 1145580.2374
84 | 2557259.8155 | 1145580.2374 | 2557266.7407 | 1145587.8882 | 2557278.3088 | 1145597.3998 | 2557287.1212 | 1145605.2585
85 | 2557287.1212 | 1145605.2585 | 2557292.3334 | 1145609.9066 | 2557292.788 | 1145616.911
86 | 2557292.788 | 1145616.911 | 2557292.8165 | 1145617.3514 | 2557289.4072 | 1145621.8012
87 | 2557282.0002 | 1145631.4688 | 2557289.4072 | 1145621.8012

## bus_geodata
| x | y | coords
0 | 2557572.5347 | 1145654.2737
1 | 2557578.4098 | 1145656.3057
2 | 2557503.6568 | 1145771.2072
3 | 2557491.2934 | 1145764.9368
4 | 2557520.4293 | 1145780.5954
5 | 2557385.2005 | 1145692.6682
6 | 2557385.7628 | 1145676.7866
7 | 2557374.1115 | 1145710.947
8 | 2557359.2536 | 1145623.3484
9 | 2557373.5677 | 1145711.7758
10 | 2557334.9923 | 1145596.9672
11 | 2557362.5816 | 1145729.546
12 | 2557321.7743 | 1145582.0612
13 | 2557350.9725 | 1145758.3093
14 | 2557402.9841 | 1145474.0271
15 | 2557518.8164 | 1145206.2703
16 | 2557313.8816 | 1145573.2946
17 | 2557284.7299 | 1145540.2926
18 | 2557453.1541 | 1145800.7203
19 | 2557438.6163 | 1145748.113
20 | 2557421.7584 | 1145799.0515
21 | 2557469.17 | 1145814.0819
22 | 2557396.4633 | 1145794.6629
23 | 2557351.4973 | 1145769.3908
24 | 2557315.6807 | 1145811.6138
25 | 2557376.8323 | 1145813.2204
26 | 2557277.0808 | 1145868.9365
27 | 2557288.9579 | 1145832.2556
28 | 2557296.4665 | 1145794.9934
29 | 2557261.4076 | 1145484.9956
30 | 2557224.94 | 1145516.5043
31 | 2557266.4639 | 1145518.7826
32 | 2557095.209 | 1145500.2806
33 | 2557113.3068 | 1145517.7709
34 | 2557113.6622 | 1145518.3146
35 | 2557119.1738 | 1145526.7469
36 | 2557125.7086 | 1145537.6049
37 | 2557127.1732 | 1145540.0697
38 | 2557143.2926 | 1145568.0678
39 | 2557144.5559 | 1145570.2795
40 | 2557143.0434 | 1145567.6315
41 | 2557169.0028 | 1145606.9486
42 | 2557127.7507 | 1145541.0416
43 | 2557152.4865 | 1145623.4349
44 | 2557171.1545 | 1145608.6564
45 | 2557146.4757 | 1145629.4348
46 | 2557191.5619 | 1145624.4853
47 | 2557133.3078 | 1145648.6332
48 | 2557212.8972 | 1145640.8275
49 | 2557128.8847 | 1145809.6722
50 | 2557120.3253 | 1145792.0132
51 | 2557150.6697 | 1145832.8949
52 | 2557113.8266 | 1145773.7734
53 | 2557163.5051 | 1145798.1969
54 | 2557110.8892 | 1145758.2126
55 | 2557165.1453 | 1145770.6568
56 | 2557184.9677 | 1145792.4563
57 | 2557108.3243 | 1145739.8853
58 | 2557176.1471 | 1145751.7446
59 | 2557210.1493 | 1145799.4797
60 | 2557107.2966 | 1145730.0911
61 | 2557189.0416 | 1145741.9628
62 | 2557126.004 | 1145664.6585
63 | 2557121.4219 | 1145675.3551
64 | 2557117.0602 | 1145685.5376
65 | 2557109.5361 | 1145707.4906
66 | 2557215.2799 | 1145643.0165
67 | 2557241.3594 | 1145665.7239
68 | 2557245.4165 | 1145669.2147
69 | 2557263.3703 | 1145699.3863
70 | 2557263.983 | 1145700.6359
71 | 2557288.1262 | 1145757.4926
72 | 2557280.8496 | 1145739.9956
73 | 2557265.1816 | 1145703.0804
74 | 2557206.1281 | 1145517.9277
75 | 2557229.5138 | 1145530.9412
76 | 2557197.4829 | 1145736.6679
77 | 2557191.3839 | 1145505.8486
78 | 2557236.607 | 1145553.9294
79 | 2557187.6652 | 1145491.4827
80 | 2557254.9818 | 1145574.8973
81 | 2557186.8727 | 1145488.4211
82 | 2557179.9563 | 1145456.7826
83 | 2557257.8328 | 1145578.047
84 | 2557259.8155 | 1145580.2374
85 | 2557287.1212 | 1145605.2585
86 | 2557292.788 | 1145616.911
87 | 2557289.4072 | 1145621.8012
88 | 2557282.0002 | 1145631.4688
89 | 2557169.0028 | 1145606.9486

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1