## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5892-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5892-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5892-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5892-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5892-22_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5892-22_0_4_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_5892-22_0_4_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_5892-22_0_4_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_5892-22_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5892-22_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5892-22_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5892-22_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5892-22_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5892-22_0_4_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_5892-22_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5892-22_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5892-22_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5892-22_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5892-22_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5892-22_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_5892-22_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_5892-22_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5892-22_0_4_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_5892-22_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5892-22_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5892-22_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5892-22_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5892-22_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5892-22_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5892-22_0_4_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_5892-22_0_4_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_5892-22_0_4_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_5892-22_0_4_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_5892-22_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_5892-22_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_5892-22_0_4_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_5892-22_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5892-22_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5892-22_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5892-22_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5892-22_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5892-22_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5892-22_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5892-22_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5892-22_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5892-22_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5892-22_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5892-22_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5892-22_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_5892-22_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5892-22_0_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_5892-22_0_4_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_5892-22_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5892-22_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5892-22_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5892-22_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_5892-22_0_4_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_5892-22_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5892-22_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5892-22_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5892-22_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_5892-22_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_5892-22_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5892-22_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5892-22_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_5892-22_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5892-22_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_5892-22_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_MV_37_1_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5892-22_0_4_load_0 | 0 | 0.0054453 | 0.0013647 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5892-22_0_4_load_1 | 1 | 0.0029562 | 0.00074089 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5892-22_0_4_load_2 | 2 | 0.0036026 | 0.00090289 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5892-22_0_4_load_3 | 3 | 0.0038814 | 0.00097276 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5892-22_0_4_load_4 | 4 | 0.0014992 | 0.00037573 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5892-22_0_4_load_55 | 6 | 0.0012368 | 0.00030997 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5892-22_0_4_load_53 | 7 | 0.0023013 | 0.00057676 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5892-22_0_4_load_5 | 8 | 0.0035178 | 0.00088164 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5892-22_0_4_load_6 | 9 | 0.0086587 | 0.0021701 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5892-22_0_4_load_7 | 10 | 0.0027681 | 0.00069375 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5892-22_0_4_load_8 | 11 | 0.0039433 | 0.00098829 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5892-22_0_4_load_9 | 12 | 0.00253 | 0.00063408 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5892-22_0_4_load_56 | 13 | 0.0041186 | 0.0010322 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5892-22_0_4_load_11 | 14 | 0.014057 | 0.0035231 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5892-22_0_4_load_10 | 15 | 0.019521 | 0.0048924 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5892-22_0_4_load_12 | 16 | 0.0098605 | 0.0024713 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5892-22_0_4_load_14 | 18 | 0.0044322 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5892-22_0_4_load_23 | 19 | 0.0041696 | 0.001045 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5892-22_0_4_load_21 | 20 | 0.0028515 | 0.00071464 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5892-22_0_4_load_22 | 21 | 0.0051075 | 0.0012801 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5892-22_0_4_load_47 | 22 | 0.0061447 | 0.00154 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5892-22_0_4_load_15 | 23 | 0.0012029 | 0.00030148 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5892-22_0_4_load_16 | 24 | 0.0012027 | 0.00030142 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5892-22_0_4_load_17 | 25 | 0.0027974 | 0.00070109 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5892-22_0_4_load_18 | 26 | 0.0044527 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5892-22_0_4_load_19 | 27 | 0.004725 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5892-22_0_4_load_20 | 28 | 0.0024168 | 0.0006057 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5892-22_0_4_load_49 | 29 | 0.0041462 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5892-22_0_4_load_60 | 30 | 0.0084934 | 0.0021287 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5892-22_0_4_load_59 | 31 | 0.0021044 | 0.00052742 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5892-22_0_4_load_50 | 32 | 0.0026767 | 0.00067084 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5892-22_0_4_load_51 | 34 | 0.0042112 | 0.0010554 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5892-22_0_4_load_48 | 35 | 0.012747 | 0.0031947 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5892-22_0_4_load_24 | 36 | 0.001393 | 0.00034911 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5892-22_0_4_load_25 | 37 | 0.0022482 | 0.00056344 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5892-22_0_4_load_26 | 38 | 0.0019003 | 0.00047627 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5892-22_0_4_load_27 | 39 | 0.0020355 | 0.00051014 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5892-22_0_4_load_28 | 40 | 0.0082098 | 0.0020576 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5892-22_0_4_load_29 | 41 | 0.0010952 | 0.0002745 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5892-22_0_4_load_30 | 42 | 0.0022763 | 0.00057048 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5892-22_0_4_load_32 | 44 | 0.0022755 | 0.0005703 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5892-22_0_4_load_33 | 45 | 0.0012225 | 0.00030638 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5892-22_0_4_load_36 | 47 | 0.0012235 | 0.00030663 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5892-22_0_4_load_58 | 48 | 0.0010364 | 0.00025975 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5892-22_0_4_load_35 | 49 | 0.0022927 | 0.0005746 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5892-22_0_4_load_62 | 50 | 0.001329 | 0.00033307 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5892-22_0_4_load_67 | 51 | 0.0020646 | 0.00051744 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5892-22_0_4_load_37 | 52 | 0.0022851 | 0.0005727 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5892-22_0_4_load_61 | 54 | 0.0031158 | 0.00078088 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5892-22_0_4_load_45 | 55 | 0.0017815 | 0.00044649 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5892-22_0_4_load_68 | 56 | 0.0042907 | 0.0010754 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5892-22_0_4_load_44 | 57 | 0.0016735 | 0.00041942 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5892-22_0_4_load_39 | 58 | 0.0021501 | 0.00053887 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5892-22_0_4_load_40 | 59 | 0.0029396 | 0.00073673 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5892-22_0_4_load_42 | 61 | 0.0015717 | 0.0003939 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5892-22_0_4_load_43 | 62 | 0.0024728 | 0.00061974 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5892-22_0_4_load_52 | 63 | 0.0015563 | 0.00039005 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5892-22_0_4_load_46 | 64 | 0.0019487 | 0.00048839 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5892-22_0_4_load_65 | 65 | 0.0073437 | 0.0018405 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5892-22_0_4_load_66 | 66 | 0.013287 | 0.0033301 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5892-22_0_4_load_63 | 67 | 0.0035179 | 0.00088167 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5892-22_0_4_line_0 |  | 0 | 1 | 0.0027717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5892-22_0_4_line_1 |  | 0 | 2 | 0.0010434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5892-22_0_4_line_2 |  | 1 | 3 | 0.034041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5892-22_0_4_line_3 |  | 2 | 4 | 0.030578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5892-22_0_4_line_4 |  | 4 | 5 | 0.028459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5892-22_0_4_line_5 |  | 5 | 6 | 0.011109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5892-22_0_4_line_6 |  | 5 | 7 | 0.01749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5892-22_0_4_line_7 |  | 6 | 12 | 0.0022797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5892-22_0_4_line_8 |  | 7 | 63 | 0.032003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5892-22_0_4_line_9 |  | 8 | 9 | 0.032164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5892-22_0_4_line_10 |  | 8 | 10 | 0.0057351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5892-22_0_4_line_11 |  | 9 | 11 | 0.017348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5892-22_0_4_line_12 |  | 10 | 12 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5892-22_0_4_line_13 |  | 11 | 13 | 0.0047675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5892-22_0_4_line_14 |  | 13 | 14 | 0.070387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5892-22_0_4_line_15 |  | 14 | 17 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5892-22_0_4_line_16 |  | 14 | 15 | 0.029999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5892-22_0_4_line_17 |  | 15 | 16 | 0.0064669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5892-22_0_4_line_18 |  | 16 | 18 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5892-22_0_4_line_19 |  | 17 | 19 | 0.036338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5892-22_0_4_line_20 |  | 18 | 20 | 0.00052613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5892-22_0_4_line_21 |  | 19 | 21 | 0.02697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5892-22_0_4_line_22 |  | 20 | 22 | 0.0056208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5892-22_0_4_line_23 |  | 22 | 35 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5892-22_0_4_line_24 |  | 23 | 24 | 0.0019457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5892-22_0_4_line_25 |  | 23 | 25 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5892-22_0_4_line_26 |  | 24 | 26 | 0.013995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5892-22_0_4_line_27 |  | 25 | 27 | 0.022978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5892-22_0_4_line_28 |  | 26 | 28 | 0.014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5892-22_0_4_line_29 |  | 27 | 29 | 0.0052127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5892-22_0_4_line_30 |  | 28 | 32 | 0.014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5892-22_0_4_line_31 |  | 29 | 33 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5892-22_0_4_line_32 |  | 30 | 31 | 0.021962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5892-22_0_4_line_33 |  | 31 | 65 | 0.062183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5892-22_0_4_line_34 |  | 32 | 34 | 0.0010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5892-22_0_4_line_35 |  | 33 | 65 | 0.049065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5892-22_0_4_line_36 |  | 33 | 48 | 0.054171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5892-22_0_4_line_37 |  | 34 | 66 | 0.0086335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5892-22_0_4_line_38 |  | 35 | 40 | 0.0035657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5892-22_0_4_line_39 |  | 36 | 37 | 0.041907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5892-22_0_4_line_40 |  | 36 | 38 | 0.0022767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5892-22_0_4_line_41 |  | 37 | 39 | 0.042705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5892-22_0_4_line_42 |  | 38 | 40 | 0.012329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5892-22_0_4_line_43 |  | 41 | 42 | 0.025312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5892-22_0_4_line_44 |  | 41 | 43 | 0.05325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5892-22_0_4_line_45 |  | 42 | 44 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5892-22_0_4_line_46 |  | 43 | 45 | 0.021661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5892-22_0_4_line_47 |  | 43 | 46 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5892-22_0_4_line_48 |  | 45 | 47 | 0.030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5892-22_0_4_line_49 |  | 46 | 48 | 0.026909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5892-22_0_4_line_50 |  | 47 | 49 | 0.028297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5892-22_0_4_line_51 |  | 49 | 52 | 0.028293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5892-22_0_4_line_52 |  | 50 | 51 | 0.032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5892-22_0_4_line_53 |  | 51 | 56 | 0.029678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5892-22_0_4_line_54 |  | 52 | 53 | 0.060871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5892-22_0_4_line_55 |  | 53 | 54 | 0.0065561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5892-22_0_4_line_56 |  | 53 | 55 | 0.048531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5892-22_0_4_line_57 |  | 54 | 56 | 0.029955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5892-22_0_4_line_58 |  | 55 | 57 | 0.0045865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5892-22_0_4_line_59 |  | 57 | 64 | 0.021796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5892-22_0_4_line_60 |  | 58 | 59 | 0.024584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5892-22_0_4_line_61 |  | 58 | 60 | 0.005497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5892-22_0_4_line_62 |  | 59 | 61 | 0.012028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5892-22_0_4_line_63 |  | 60 | 62 | 0.06376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5892-22_0_4_line_64 |  | 61 | 63 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5892-22_0_4_line_65 |  | 62 | 64 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5892-22_0_4_line_66 |  | 65 | 67 | 0.022162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5892-22_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 68 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2556699.2949 | 1146627.9249 | 2556697.0682 | 1146629.5755
1 | 2556699.2949 | 1146627.9249 | 2556700.1332 | 1146627.3036
2 | 2556697.0682 | 1146629.5755 | 2556685.6514 | 1146638.0384 | 2556670.4322 | 1146650.7497
3 | 2556724.6981 | 1146609.0944 | 2556700.1332 | 1146627.3036
4 | 2556747.5608 | 1146592.1471 | 2556724.6981 | 1146609.0944
5 | 2556747.5608 | 1146592.1471 | 2556754.5578 | 1146600.7754
6 | 2556747.5608 | 1146592.1471 | 2556735.3753 | 1146579.6002
7 | 2556754.5578 | 1146600.7754 | 2556755.9936 | 1146602.5461
8 | 2556735.3753 | 1146579.6002 | 2556723.5871 | 1146567.4624 | 2556712.694 | 1146557.0293
9 | 2556772.3549 | 1146621.4662 | 2556780.4939 | 1146630.1076 | 2556792.0323 | 1146646.8009
10 | 2556772.3549 | 1146621.4662 | 2556768.4227 | 1146617.2914
11 | 2556801.6496 | 1146661.2386 | 2556794.3331 | 1146650.1296 | 2556792.0323 | 1146646.8009
12 | 2556768.4227 | 1146617.2914 | 2556765.029 | 1146613.6881 | 2556755.9936 | 1146602.5461
13 | 2556804.2718 | 1146665.2201 | 2556801.6496 | 1146661.2386
14 | 2556804.2718 | 1146665.2201 | 2556872.3437 | 1146683.1243
15 | 2556869.8938 | 1146693.2761 | 2556872.3437 | 1146683.1243
16 | 2556880.9979 | 1146654.4125 | 2556875.7599 | 1146670.489 | 2556873.3176 | 1146679.0887 | 2556872.3437 | 1146683.1243
17 | 2556880.9979 | 1146654.4125 | 2556883.0012 | 1146648.2637
18 | 2556886.9705 | 1146636.0812 | 2556883.0012 | 1146648.2637
19 | 2556869.8938 | 1146693.2761 | 2556881.6722 | 1146692.6913 | 2556892.7289 | 1146693.2124 | 2556906.1805 | 1146694.0179
20 | 2556887.1335 | 1146635.5809 | 2556886.9705 | 1146636.0812
21 | 2556906.1805 | 1146694.0179 | 2556921.2453 | 1146694.92 | 2556933.02 | 1146696.4881
22 | 2556887.1335 | 1146635.5809 | 2556888.8747 | 1146630.2366
23 | 2556888.8747 | 1146630.2366 | 2556893.2762 | 1146616.7274
24 | 2556890.2438 | 1146409.0625 | 2556888.8176 | 1146410.386
25 | 2556900.9109 | 1146399.1641 | 2556890.2438 | 1146409.0625
26 | 2556888.8176 | 1146410.386 | 2556886.9723 | 1146412.0983 | 2556886.802 | 1146416.2016 | 2556883.9626 | 1146423.0033 | 2556883.9626 | 1146423.0033
27 | 2556900.9109 | 1146399.1641 | 2556904.37 | 1146395.9543 | 2556906.6109 | 1146392.4475 | 2556908.6414 | 1146388.531 | 2556911.7044 | 1146383.9845 | 2556914.8257 | 1146381.1685
28 | 2556879.3919 | 1146436.6574 | 2556883.9626 | 1146423.0033
29 | 2556914.8257 | 1146381.1685 | 2556918.6961 | 1146377.6767
30 | 2556879.3919 | 1146436.6574 | 2556875.4874 | 1146448.3215 | 2556874.6823 | 1146450.0606
31 | 2556928.4817 | 1146368.0561 | 2556925.0071 | 1146371.983 | 2556918.6961 | 1146377.6767
32 | 2556965.0778 | 1146454.1717 | 2556976.2372 | 1146447.5218 | 2556983.4421 | 1146442.1759
33 | 2556975.9569 | 1146380.4449 | 2556983.4421 | 1146442.1759
34 | 2556874.6823 | 1146450.0606 | 2556874.2504 | 1146450.9936
35 | 2556928.4817 | 1146368.0561 | 2556975.9569 | 1146380.4449
36 | 2556928.4817 | 1146368.0561 | 2556927.4362 | 1146365.7958 | 2556922.4514 | 1146360.4954 | 2556906.4635 | 1146342.9454 | 2556895.669 | 1146331.9393 | 2556892.0441 | 1146328.1447
37 | 2556870.6237 | 1146458.8284 | 2556874.2504 | 1146450.9936
38 | 2556894.3808 | 1146613.3371 | 2556893.2762 | 1146616.7274
39 | 2556899.7708 | 1146599.7806 | 2556899.7708 | 1146599.7806 | 2556904.2325 | 1146595.3575 | 2556909.7925 | 1146589.8482 | 2556933.3505 | 1146575.0939
40 | 2556898.8544 | 1146601.8647 | 2556899.7708 | 1146599.7806
41 | 2556970.7868 | 1146554.5551 | 2556935.3252 | 1146573.8571 | 2556933.3505 | 1146575.0939
42 | 2556898.8544 | 1146601.8647 | 2556896.0145 | 1146608.3231 | 2556894.3808 | 1146613.3371
43 | 2556813.2183 | 1146285.5467 | 2556794.3091 | 1146300.4948 | 2556793.5047 | 1146301.3958
44 | 2556857.8409 | 1146299.1826 | 2556822.8909 | 1146277.9002 | 2556813.2183 | 1146285.5467
45 | 2556781.9416 | 1146314.3464 | 2556793.5047 | 1146301.3958
46 | 2556857.8409 | 1146299.1826 | 2556841.0626 | 1146312.882
47 | 2556857.8409 | 1146299.1826 | 2556873.4564 | 1146308.6866
48 | 2556818.8953 | 1146333.4201 | 2556828.3632 | 1146323.2509 | 2556841.0626 | 1146312.882
49 | 2556873.4564 | 1146308.6866 | 2556892.0441 | 1146328.1447
50 | 2556799.6132 | 1146354.1306 | 2556818.8953 | 1146333.4201
51 | 2556799.6132 | 1146354.1306 | 2556798.7188 | 1146355.0912 | 2556786.5544 | 1146368.3298 | 2556782.4707 | 1146376.3524
52 | 2556827.5037 | 1146350.4408 | 2556823.6937 | 1146354.3782 | 2556807.5585 | 1146374.1152 | 2556806.6093 | 1146375.7091
53 | 2556806.6093 | 1146375.7091 | 2556791.4232 | 1146401.2078
54 | 2556773.2072 | 1146432.8477 | 2556769.7824 | 1146428.7257 | 2556769.1899 | 1146402.9501 | 2556778.4271 | 1146384.2964 | 2556782.4707 | 1146376.3524
55 | 2556773.2072 | 1146432.8477 | 2556776.4274 | 1146427.137
56 | 2556773.2072 | 1146432.8477 | 2556762.6344 | 1146451.6111 | 2556757.5224 | 1146460.6747 | 2556746.5796 | 1146473.1412
57 | 2556791.4232 | 1146401.2078 | 2556784.3793 | 1146413.035 | 2556776.4274 | 1146427.137
58 | 2556743.5539 | 1146476.5881 | 2556746.5796 | 1146473.1412
59 | 2556743.5539 | 1146476.5881 | 2556741.3781 | 1146479.0669 | 2556727.6088 | 1146491.4196
60 | 2556667.9984 | 1146539.7478 | 2556679.8098 | 1146540.4748 | 2556687.7559 | 1146542.0629 | 2556692.0137 | 1146543.9253
61 | 2556662.5117 | 1146539.41 | 2556667.9984 | 1146539.7478
62 | 2556702.6875 | 1146549.4481 | 2556702.6875 | 1146549.4481 | 2556695.1069 | 1146545.2783 | 2556692.0137 | 1146543.9253
63 | 2556662.5117 | 1146539.41 | 2556664.3695 | 1146534.9944 | 2556667.3861 | 1146531.5042 | 2556672.0974 | 1146527.6238 | 2556694.0592 | 1146515.0036 | 2556713.145 | 1146502.3067
64 | 2556702.6875 | 1146549.4481 | 2556710.4539 | 1146554.8838 | 2556712.694 | 1146557.0293
65 | 2556727.6088 | 1146491.4196 | 2556722.1531 | 1146496.314 | 2556713.145 | 1146502.3067
66 | 2556975.9569 | 1146380.4449 | 2556985.9913 | 1146371.1351 | 2556992.7669 | 1146368.0072 | 2556993.7425 | 1146367.7408

## bus_geodata
| x | y | coords
0 | 2556699.2949 | 1146627.9249
1 | 2556697.0682 | 1146629.5755
2 | 2556700.1332 | 1146627.3036
3 | 2556670.4322 | 1146650.7497
4 | 2556724.6981 | 1146609.0944
5 | 2556747.5608 | 1146592.1471
6 | 2556754.5578 | 1146600.7754
7 | 2556735.3753 | 1146579.6002
8 | 2556772.3549 | 1146621.4662
9 | 2556792.0323 | 1146646.8009
10 | 2556768.4227 | 1146617.2914
11 | 2556801.6496 | 1146661.2386
12 | 2556755.9936 | 1146602.5461
13 | 2556804.2718 | 1146665.2201
14 | 2556872.3437 | 1146683.1243
15 | 2556880.9979 | 1146654.4125
16 | 2556883.0012 | 1146648.2637
17 | 2556869.8938 | 1146693.2761
18 | 2556886.9705 | 1146636.0812
19 | 2556906.1805 | 1146694.0179
20 | 2556887.1335 | 1146635.5809
21 | 2556933.02 | 1146696.4881
22 | 2556888.8747 | 1146630.2366
23 | 2556890.2438 | 1146409.0625
24 | 2556888.8176 | 1146410.386
25 | 2556900.9109 | 1146399.1641
26 | 2556883.9626 | 1146423.0033
27 | 2556914.8257 | 1146381.1685
28 | 2556879.3919 | 1146436.6574
29 | 2556918.6961 | 1146377.6767
30 | 2556965.0778 | 1146454.1717
31 | 2556983.4421 | 1146442.1759
32 | 2556874.6823 | 1146450.0606
33 | 2556928.4817 | 1146368.0561
34 | 2556874.2504 | 1146450.9936
35 | 2556893.2762 | 1146616.7274
36 | 2556899.7708 | 1146599.7806
37 | 2556933.3505 | 1146575.0939
38 | 2556898.8544 | 1146601.8647
39 | 2556970.7868 | 1146554.5551
40 | 2556894.3808 | 1146613.3371
41 | 2556813.2183 | 1146285.5467
42 | 2556793.5047 | 1146301.3958
43 | 2556857.8409 | 1146299.1826
44 | 2556781.9416 | 1146314.3464
45 | 2556841.0626 | 1146312.882
46 | 2556873.4564 | 1146308.6866
47 | 2556818.8953 | 1146333.4201
48 | 2556892.0441 | 1146328.1447
49 | 2556799.6132 | 1146354.1306
50 | 2556827.5037 | 1146350.4409
51 | 2556806.6093 | 1146375.7091
52 | 2556782.4707 | 1146376.3524
53 | 2556773.2072 | 1146432.8477
54 | 2556776.4274 | 1146427.137
55 | 2556746.5796 | 1146473.1412
56 | 2556791.4232 | 1146401.2078
57 | 2556743.5539 | 1146476.5881
58 | 2556667.9984 | 1146539.7478
59 | 2556692.0137 | 1146543.9253
60 | 2556662.5117 | 1146539.41
61 | 2556702.6875 | 1146549.4481
62 | 2556713.145 | 1146502.3067
63 | 2556712.694 | 1146557.0293
64 | 2556727.6088 | 1146491.4196
65 | 2556975.9569 | 1146380.4449
66 | 2556870.6237 | 1146458.8284
67 | 2556993.7425 | 1146367.7408
68 | 2556869.8938 | 1146693.2761

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1