## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5892-31_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5892-31_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5892-31_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5892-31_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5892-31_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5892-31_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5892-31_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5892-31_0_2_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_5892-31_0_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_5892-31_0_2_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_5892-31_0_2_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_5892-31_0_2_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_5892-31_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5892-31_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5892-31_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5892-31_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5892-31_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5892-31_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5892-31_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5892-31_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5892-31_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_5892-31_0_2_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5892-31_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5892-31_0_2_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_5892-31_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5892-31_0_2_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_5892-31_0_2_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_5892-31_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5892-31_0_2_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_5892-31_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5892-31_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5892-31_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5892-31_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5892-31_0_2_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_5892-31_0_2_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_5892-31_0_2_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_5892-31_0_2_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_5892-31_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5892-31_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5892-31_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5892-31_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5892-31_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5892-31_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_5892-31_0_2_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_5892-31_0_2_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5892-31_0_2_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_5892-31_0_2_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_5892-31_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5892-31_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5892-31_0_2_node_110 | 0.4 | n |  | TRUE
50 | bus_LV_5892-31_0_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_5892-31_0_2_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_5892-31_0_2_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5892-31_0_2_node_115 | 0.4 | n |  | TRUE
54 | bus_LV_5892-31_0_2_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5892-31_0_2_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_5892-31_0_2_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_5892-31_0_2_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_5892-31_0_2_node_114 | 0.4 | n |  | TRUE
59 | bus_LV_5892-31_0_2_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_5892-31_0_2_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_5892-31_0_2_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_5892-31_0_2_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5892-31_0_2_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5892-31_0_2_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5892-31_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5892-31_0_2_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5892-31_0_2_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_5892-31_0_2_node_117 | 0.4 | n |  | TRUE
69 | bus_LV_5892-31_0_2_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_5892-31_0_2_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_5892-31_0_2_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_5892-31_0_2_node_122 | 0.4 | n |  | TRUE
73 | bus_LV_5892-31_0_2_node_123 | 0.4 | n |  | TRUE
74 | bus_LV_5892-31_0_2_node_109 | 0.4 | n |  | TRUE
75 | bus_LV_5892-31_0_2_node_111 | 0.4 | n |  | TRUE
76 | bus_LV_5892-31_0_2_node_112 | 0.4 | n |  | TRUE
77 | bus_LV_5892-31_0_2_node_113 | 0.4 | n |  | TRUE
78 | bus_LV_5892-31_0_2_node_124 | 0.4 | n |  | TRUE
79 | bus_MV_260_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5892-31_0_2_load_0 | 0 | 0.0030085 | 0.00075399 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5892-31_0_2_load_1 | 1 | 0.0030574 | 0.00076626 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5892-31_0_2_load_2 | 2 | 0.003174 | 0.00079548 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5892-31_0_2_load_3 | 3 | 0.0029559 | 0.00074082 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5892-31_0_2_load_4 | 4 | 0.0026937 | 0.00067511 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5892-31_0_2_load_5 | 5 | 0.0026912 | 0.00067447 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5892-31_0_2_load_6 | 6 | 0.0028 | 0.00070174 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5892-31_0_2_load_53 | 7 | 0.0033822 | 0.00084767 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5892-31_0_2_load_54 | 9 | 0.0012303 | 0.00030835 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5892-31_0_2_load_23 | 11 | 0.0028615 | 0.00071717 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5892-31_0_2_load_7 | 12 | 0.0068516 | 0.0017172 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5892-31_0_2_load_8 | 13 | 0.001636 | 0.00041001 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5892-31_0_2_load_10 | 14 | 0.0014941 | 0.00037446 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5892-31_0_2_load_9 | 15 | 0.0029175 | 0.0007312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5892-31_0_2_load_13 | 18 | 0.0023772 | 0.00059578 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5892-31_0_2_load_14 | 19 | 0.0033735 | 0.00084547 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5892-31_0_2_load_20 | 20 | 0.002508 | 0.00062856 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5892-31_0_2_load_16 | 22 | 0.0022053 | 0.00055269 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5892-31_0_2_load_56 | 23 | 0.0022236 | 0.0005573 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5892-31_0_2_load_37 | 25 | 0.0041956 | 0.0010515 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5892-31_0_2_load_32 | 26 | 0.0033011 | 0.00082733 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5892-31_0_2_load_15 | 27 | 0.0032204 | 0.0008071 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5892-31_0_2_load_57 | 28 | 0.0031995 | 0.00080187 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5892-31_0_2_load_18 | 29 | 0.0028227 | 0.00070743 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5892-31_0_2_load_19 | 30 | 0.0024495 | 0.00061389 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5892-31_0_2_load_21 | 31 | 0.0024716 | 0.00061945 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5892-31_0_2_load_22 | 32 | 0.0020073 | 0.00050307 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5892-31_0_2_load_41 | 33 | 0.0031927 | 0.00080016 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5892-31_0_2_load_48 | 34 | 0.0019758 | 0.00049519 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5892-31_0_2_load_42 | 35 | 0.0038845 | 0.00097355 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5892-31_0_2_load_49 | 36 | 0.0038378 | 0.00096184 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5892-31_0_2_load_24 | 37 | 0.00093766 | 0.000235 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5892-31_0_2_load_26 | 38 | 0.0021486 | 0.00053848 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5892-31_0_2_load_29 | 40 | 0.0019719 | 0.00049419 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5892-31_0_2_load_30 | 41 | 0.0018903 | 0.00047376 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5892-31_0_2_load_31 | 42 | 0.00078993 | 0.00019798 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5892-31_0_2_load_44 | 43 | 0.0022434 | 0.00056224 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5892-31_0_2_load_105 | 45 | 0.0024077 | 0.00060343 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5892-31_0_2_load_52 | 46 | 0.0024646 | 0.00061768 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5892-31_0_2_load_45 | 47 | 0.0022746 | 0.00057008 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5892-31_0_2_load_110 | 49 | 0.0021693 | 0.00054367 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5892-31_0_2_load_51 | 50 | 0.0031784 | 0.00079659 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5892-31_0_2_load_36 | 52 | 0.0048221 | 0.0012085 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5892-31_0_2_load_115 | 53 | 0.0071685 | 0.0017966 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5892-31_0_2_load_95 | 55 | 0.0041385 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5892-31_0_2_load_81 | 56 | 0.0065002 | 0.0016291 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5892-31_0_2_load_88 | 57 | 0.0031791 | 0.00079676 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5892-31_0_2_load_114 | 58 | 0.0017638 | 0.00044205 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5892-31_0_2_load_83 | 59 | 0.0026036 | 0.00065253 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5892-31_0_2_load_87 | 60 | 0.0010291 | 0.00025792 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5892-31_0_2_load_96 | 61 | 0.0053344 | 0.0013369 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5892-31_0_2_load_43 | 62 | 0.0022824 | 0.00057203 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5892-31_0_2_load_46 | 63 | 0.0035921 | 0.00090027 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5892-31_0_2_load_58 | 65 | 0.0045502 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5892-31_0_2_load_55 | 66 | 0.00069624 | 0.00017449 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5892-31_0_2_load_116 | 67 | 0.0025102 | 0.00062911 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5892-31_0_2_load_117 | 68 | 0.0034786 | 0.00087182 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5892-31_0_2_load_84 | 69 | 0.0015109 | 0.00037867 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5892-31_0_2_load_85 | 70 | 0.0011708 | 0.00029343 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5892-31_0_2_load_86 | 71 | 0.0006315 | 0.00015827 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5892-31_0_2_load_122 | 72 | 0.0048914 | 0.0012259 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5892-31_0_2_load_123 | 73 | 0.016682 | 0.004181 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5892-31_0_2_load_109 | 74 | 0.002624 | 0.00065763 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5892-31_0_2_load_111 | 75 | 0.0018846 | 0.00047233 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5892-31_0_2_load_112 | 76 | 0.0019623 | 0.0004918 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5892-31_0_2_load_113 | 77 | 0.0033679 | 0.00084408 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5892-31_0_2_load_124 | 78 | 0.0045311 | 0.0011356 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5892-31_0_2_line_0 |  | 0 | 1 | 0.025532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5892-31_0_2_line_1 |  | 0 | 2 | 0.0019518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5892-31_0_2_line_2 |  | 1 | 3 | 0.025082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5892-31_0_2_line_3 |  | 2 | 4 | 0.03575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5892-31_0_2_line_4 |  | 3 | 5 | 0.0031252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5892-31_0_2_line_5 |  | 4 | 6 | 0.0088238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5892-31_0_2_line_6 |  | 5 | 7 | 0.036488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5892-31_0_2_line_7 |  | 6 | 8 | 0.015766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5892-31_0_2_line_8 |  | 7 | 9 | 0.0063976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5892-31_0_2_line_9 |  | 8 | 10 | 0.07311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5892-31_0_2_line_10 |  | 8 | 11 | 0.01526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5892-31_0_2_line_11 |  | 9 | 66 | 0.0058649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5892-31_0_2_line_12 |  | 10 | 40 | 0.050072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5892-31_0_2_line_13 |  | 10 | 41 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5892-31_0_2_line_14 |  | 10 | 42 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5892-31_0_2_line_15 |  | 11 | 37 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5892-31_0_2_line_16 |  | 12 | 13 | 0.030023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5892-31_0_2_line_17 |  | 13 | 14 | 0.012158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5892-31_0_2_line_18 |  | 14 | 17 | 0.021962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5892-31_0_2_line_19 |  | 15 | 16 | 0.029078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5892-31_0_2_line_20 |  | 16 | 18 | 0.010463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5892-31_0_2_line_21 |  | 16 | 19 | 0.0093292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5892-31_0_2_line_22 |  | 17 | 20 | 0.040854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5892-31_0_2_line_23 |  | 17 | 21 | 0.002662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5892-31_0_2_line_24 |  | 18 | 22 | 0.038099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5892-31_0_2_line_25 |  | 19 | 23 | 0.032142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5892-31_0_2_line_26 |  | 20 | 24 | 0.03898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5892-31_0_2_line_27 |  | 21 | 25 | 0.090052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5892-31_0_2_line_28 |  | 21 | 26 | 0.012489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5892-31_0_2_line_29 |  | 22 | 27 | 0.035663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5892-31_0_2_line_30 |  | 23 | 28 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5892-31_0_2_line_31 |  | 24 | 29 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5892-31_0_2_line_32 |  | 24 | 30 | 0.027744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5892-31_0_2_line_33 |  | 24 | 27 | 0.0092903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5892-31_0_2_line_34 |  | 26 | 51 | 0.014619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5892-31_0_2_line_35 |  | 29 | 31 | 0.052627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5892-31_0_2_line_36 |  | 30 | 32 | 0.023599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5892-31_0_2_line_37 |  | 31 | 33 | 0.0047552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5892-31_0_2_line_38 |  | 32 | 34 | 0.014378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5892-31_0_2_line_39 |  | 33 | 35 | 0.0050631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5892-31_0_2_line_40 |  | 34 | 36 | 0.042999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5892-31_0_2_line_41 |  | 35 | 62 | 0.0040933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5892-31_0_2_line_42 |  | 36 | 64 | 0.017112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5892-31_0_2_line_43 |  | 37 | 38 | 0.043456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5892-31_0_2_line_44 |  | 38 | 39 | 0.071573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5892-31_0_2_line_45 |  | 39 | 43 | 0.046941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5892-31_0_2_line_46 |  | 40 | 44 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5892-31_0_2_line_47 |  | 41 | 45 | 0.027666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5892-31_0_2_line_48 |  | 42 | 46 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5892-31_0_2_line_49 |  | 43 | 47 | 0.029879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5892-31_0_2_line_50 |  | 44 | 48 | 0.046175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5892-31_0_2_line_51 |  | 45 | 49 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5892-31_0_2_line_52 |  | 46 | 50 | 0.0045682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5892-31_0_2_line_53 |  | 47 | 63 | 0.033584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5892-31_0_2_line_54 |  | 48 | 53 | 0.043918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5892-31_0_2_line_55 |  | 49 | 74 | 0.02217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5892-31_0_2_line_56 |  | 50 | 62 | 0.033414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5892-31_0_2_line_57 |  | 51 | 52 | 0.010766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5892-31_0_2_line_58 |  | 53 | 60 | 0.053715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5892-31_0_2_line_59 |  | 54 | 55 | 0.01957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5892-31_0_2_line_60 |  | 54 | 56 | 0.047166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5892-31_0_2_line_61 |  | 54 | 57 | 0.045452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5892-31_0_2_line_62 |  | 55 | 61 | 1.3652e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5892-31_0_2_line_63 |  | 57 | 60 | 0.075706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5892-31_0_2_line_64 |  | 58 | 59 | 0.057185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5892-31_0_2_line_65 |  | 59 | 69 | 0.023431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5892-31_0_2_line_66 |  | 59 | 70 | 0.037492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5892-31_0_2_line_67 |  | 60 | 70 | 0.010102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5892-31_0_2_line_68 |  | 61 | 72 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5892-31_0_2_line_69 |  | 64 | 65 | 0.031128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5892-31_0_2_line_70 |  | 66 | 67 | 0.03222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5892-31_0_2_line_71 |  | 67 | 68 | 0.035033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5892-31_0_2_line_72 |  | 69 | 71 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5892-31_0_2_line_73 |  | 72 | 73 | 0.011377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5892-31_0_2_line_74 |  | 74 | 75 | 0.0039707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5892-31_0_2_line_75 |  | 75 | 76 | 0.023914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5892-31_0_2_line_76 |  | 76 | 77 | 0.0046667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5892-31_0_2_line_77 |  | 77 | 78 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5892-31_0_2_trafo_41 | 0.63 MVA 20/0.4 kV | 79 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2558385.8812 | 1145666.6351 | 2558360.616 | 1145670.3148
1 | 2558385.8812 | 1145666.6351 | 2558387.8127 | 1145666.3538
2 | 2558335.7869 | 1145673.8674 | 2558360.5368 | 1145670.3263 | 2558360.616 | 1145670.3148
3 | 2558423.1917 | 1145661.2201 | 2558400.6056 | 1145664.4906 | 2558387.8127 | 1145666.3538
4 | 2558332.6932 | 1145674.3101 | 2558335.7869 | 1145673.8674
5 | 2558423.1917 | 1145661.2201 | 2558431.9244 | 1145659.9556
6 | 2558332.6932 | 1145674.3101 | 2558332.6932 | 1145674.3101 | 2558317.4733 | 1145678.5399 | 2558300.3846 | 1145690.2066
7 | 2558447.528 | 1145657.6961 | 2558431.9244 | 1145659.9556
8 | 2558295.1009 | 1145693.8139 | 2558300.3846 | 1145690.2066
9 | 2558447.528 | 1145657.6961 | 2558448.1786 | 1145649.5653 | 2558446.3794 | 1145637.1269 | 2558445.8397 | 1145619.0547 | 2558443.21 | 1145596.4836 | 2558445.2362 | 1145585.0971
10 | 2558447.528 | 1145657.6961 | 2558462.6812 | 1145655.8941
11 | 2558295.1009 | 1145693.8139 | 2558295.1009 | 1145693.8139 | 2558291.7603 | 1145698.6344
12 | 2558445.2362 | 1145585.0971 | 2558445.6524 | 1145581.9482 | 2558446.921 | 1145573.2127 | 2558449.7916 | 1145550.5924 | 2558451.5192 | 1145535.4235
13 | 2558445.2362 | 1145585.0971 | 2558454.9404 | 1145583.0624 | 2558462.1644 | 1145582.1243
14 | 2558445.2362 | 1145585.0971 | 2558434.0921 | 1145585.8698
15 | 2558462.6812 | 1145655.8941 | 2558475.6144 | 1145654.356 | 2558477.6086 | 1145654.021
16 | 2558297.4136 | 1145554.3437 | 2558326.4817 | 1145546.8322
17 | 2558338.2529 | 1145543.7888 | 2558329.9291 | 1145545.9414 | 2558326.4817 | 1145546.8322
18 | 2558359.5148 | 1145538.2882 | 2558346.4934 | 1145541.6578 | 2558338.2529 | 1145543.7888
19 | 2558209.5946 | 1145578.4261 | 2558237.6151 | 1145570.6537
20 | 2558209.5946 | 1145578.4261 | 2558216.4408 | 1145586.3382
21 | 2558209.5946 | 1145578.4261 | 2558200.5403 | 1145580.6742
22 | 2558359.5148 | 1145538.2882 | 2558329.2582 | 1145565.739
23 | 2558362.0913 | 1145537.5922 | 2558359.5148 | 1145538.2882
24 | 2558254.4591 | 1145588.7798 | 2558236.6606 | 1145587.4205 | 2558216.4408 | 1145586.3382
25 | 2558169.7608 | 1145589.7566 | 2558181.0884 | 1145585.5056 | 2558188.0366 | 1145583.7787 | 2558200.5403 | 1145580.6742
26 | 2558299.364 | 1145590.7205 | 2558317.4721 | 1145576.4322 | 2558329.2582 | 1145565.739
27 | 2558362.0913 | 1145537.5922 | 2558356.1995 | 1145526.594 | 2558340.6829 | 1145508.0253 | 2558330.9306 | 1145499.7998 | 2558317.36 | 1145492.6679 | 2558302.5554 | 1145487.0566 | 2558293.8411 | 1145483.3871
28 | 2558362.0913 | 1145537.5922 | 2558374.2181 | 1145534.6042
29 | 2558290.0792 | 1145590.3995 | 2558263.7477 | 1145589.4891 | 2558254.4591 | 1145588.7798
30 | 2558169.7608 | 1145589.7566 | 2558157.3233 | 1145594.4241
31 | 2558299.364 | 1145590.7205 | 2558317.7142 | 1145590.114
32 | 2558299.364 | 1145590.7205 | 2558284.2237 | 1145600.9307 | 2558277.1994 | 1145607.3003
33 | 2558299.364 | 1145590.7205 | 2558290.0792 | 1145590.3995
34 | 2558388.4125 | 1145531.1068 | 2558374.2181 | 1145534.6042
35 | 2558317.7142 | 1145590.114 | 2558341.0697 | 1145589.342 | 2558370.3014 | 1145588.0957
36 | 2558260.8351 | 1145624.1802 | 2558265.9396 | 1145617.5105 | 2558277.1994 | 1145607.3003
37 | 2558375.0523 | 1145587.8932 | 2558370.3014 | 1145588.0957
38 | 2558260.8351 | 1145624.1802 | 2558253.9563 | 1145633.1683 | 2558252.7945 | 1145635.9984
39 | 2558380.1108 | 1145587.6775 | 2558375.0523 | 1145587.8932
40 | 2558252.7945 | 1145635.9984 | 2558246.4094 | 1145651.5523 | 2558238.1213 | 1145676.3919
41 | 2558380.1108 | 1145587.6775 | 2558384.2004 | 1145587.5031
42 | 2558232.7052 | 1145692.624 | 2558238.1213 | 1145676.3919
43 | 2558477.6086 | 1145654.021 | 2558502.1796 | 1145649.8926 | 2558520.4894 | 1145646.9746
44 | 2558542.5901 | 1145681.3301 | 2558549.0205 | 1145661.3311 | 2558554.9349 | 1145647.8168 | 2558545.7767 | 1145643.222 | 2558537.8323 | 1145644.2106 | 2558520.4894 | 1145646.9746
45 | 2558542.5901 | 1145681.3301 | 2558525.7625 | 1145678.6002 | 2558512.7242 | 1145679.4906 | 2558496.21 | 1145682.7077
46 | 2558453.6955 | 1145516.3146 | 2558451.5192 | 1145535.4235
47 | 2558489.6804 | 1145579.2911 | 2558470.583 | 1145581.0311 | 2558462.1644 | 1145582.1243
48 | 2558434.0921 | 1145585.8698 | 2558432.2362 | 1145585.9985 | 2558422.1666 | 1145586.4934
49 | 2558468.1144 | 1145692.2844 | 2558484.0312 | 1145685.0803 | 2558496.21 | 1145682.7077
50 | 2558453.6955 | 1145516.3146 | 2558499.9892 | 1145515.0833
51 | 2558489.6804 | 1145579.2911 | 2558499.6272 | 1145578.3848 | 2558500.0076 | 1145578.3919
52 | 2558417.604 | 1145586.7177 | 2558422.1666 | 1145586.4934
53 | 2558468.1144 | 1145692.2844 | 2558465.0003 | 1145693.6938 | 2558450.7054 | 1145702.8306 | 2558442.4722 | 1145713.1483
54 | 2558499.9892 | 1145515.0833 | 2558470.5942 | 1145482.4536
55 | 2558522.1738 | 1145578.8026 | 2558500.0076 | 1145578.3919
56 | 2558417.604 | 1145586.7177 | 2558413.8125 | 1145586.9041 | 2558384.6542 | 1145587.4838 | 2558384.2004 | 1145587.5031
57 | 2558388.4125 | 1145531.1068 | 2558390.129 | 1145520.4783
58 | 2558470.5942 | 1145482.4536 | 2558515.7904 | 1145453.4258
59 | 2558397.076 | 1145449.7164 | 2558378.9185 | 1145457.0159
60 | 2558397.076 | 1145449.7164 | 2558386.9077 | 1145433.5673 | 2558377.8503 | 1145419.1782 | 2558373.6281 | 1145408.9344
61 | 2558397.076 | 1145449.7164 | 2558441.5017 | 1145440.1122
62 | 2558378.9058 | 1145457.021 | 2558378.9185 | 1145457.0159
63 | 2558441.5017 | 1145440.1122 | 2558453.2671 | 1145444.303 | 2558498.3615 | 1145451.7845 | 2558515.7904 | 1145453.4258
64 | 2558563.5036 | 1145521.4602 | 2558561.8378 | 1145464.2991
65 | 2558561.8378 | 1145464.2991 | 2558568.8372 | 1145466.8286 | 2558584.5647 | 1145463.9503
66 | 2558561.8378 | 1145464.2991 | 2558549.7293 | 1145459.9233 | 2558533.4474 | 1145455.0886 | 2558525.848 | 1145454.373
67 | 2558515.7904 | 1145453.4258 | 2558525.848 | 1145454.373
68 | 2558354.9306 | 1145466.6593 | 2558378.9058 | 1145457.021
69 | 2558232.7052 | 1145692.624 | 2558206.0687 | 1145676.5157
70 | 2558291.7603 | 1145698.6344 | 2558285.9584 | 1145707.0062 | 2558277.3875 | 1145723.9632 | 2558276.3341 | 1145726.8091
71 | 2558276.3341 | 1145726.8091 | 2558266.5212 | 1145753.3203 | 2558263.7344 | 1145759.4834
72 | 2558584.5647 | 1145463.9503 | 2558591.6869 | 1145462.6469 | 2558595.4496 | 1145460.8986
73 | 2558344.3745 | 1145470.903 | 2558354.9306 | 1145466.6593
74 | 2558522.1738 | 1145578.8026 | 2558524.5443 | 1145578.8466 | 2558526.1441 | 1145578.8528
75 | 2558550.0578 | 1145578.9463 | 2558526.1441 | 1145578.8528
76 | 2558550.0578 | 1145578.9463 | 2558554.7244 | 1145578.9645
77 | 2558568.796 | 1145579.0195 | 2558554.7244 | 1145578.9645

## bus_geodata
| x | y | coords
0 | 2558385.8812 | 1145666.6351
1 | 2558360.616 | 1145670.3148
2 | 2558387.8127 | 1145666.3538
3 | 2558335.7869 | 1145673.8674
4 | 2558423.1917 | 1145661.2201
5 | 2558332.6932 | 1145674.3101
6 | 2558431.9244 | 1145659.9556
7 | 2558300.3846 | 1145690.2066
8 | 2558447.528 | 1145657.6961
9 | 2558295.1009 | 1145693.8139
10 | 2558445.2362 | 1145585.0971
11 | 2558462.6812 | 1145655.8941
12 | 2558297.4136 | 1145554.3437
13 | 2558326.4817 | 1145546.8322
14 | 2558338.2529 | 1145543.7888
15 | 2558237.6151 | 1145570.6537
16 | 2558209.5946 | 1145578.4261
17 | 2558359.5148 | 1145538.2882
18 | 2558216.4408 | 1145586.3382
19 | 2558200.5403 | 1145580.6742
20 | 2558329.2582 | 1145565.739
21 | 2558362.0913 | 1145537.5922
22 | 2558254.4591 | 1145588.7798
23 | 2558169.7608 | 1145589.7566
24 | 2558299.364 | 1145590.7205
25 | 2558293.8411 | 1145483.3871
26 | 2558374.2181 | 1145534.6042
27 | 2558290.0792 | 1145590.3995
28 | 2558157.3233 | 1145594.4241
29 | 2558317.7142 | 1145590.114
30 | 2558277.1994 | 1145607.3003
31 | 2558370.3014 | 1145588.0957
32 | 2558260.8351 | 1145624.1802
33 | 2558375.0523 | 1145587.8932
34 | 2558252.7945 | 1145635.9984
35 | 2558380.1108 | 1145587.6775
36 | 2558238.1213 | 1145676.3919
37 | 2558477.6086 | 1145654.021
38 | 2558520.4894 | 1145646.9746
39 | 2558542.5901 | 1145681.3301
40 | 2558451.5192 | 1145535.4235
41 | 2558462.1644 | 1145582.1243
42 | 2558434.0921 | 1145585.8698
43 | 2558496.21 | 1145682.7077
44 | 2558453.6955 | 1145516.3146
45 | 2558489.6804 | 1145579.2911
46 | 2558422.1666 | 1145586.4934
47 | 2558468.1144 | 1145692.2844
48 | 2558499.9892 | 1145515.0833
49 | 2558500.0076 | 1145578.3919
50 | 2558417.604 | 1145586.7177
51 | 2558388.4125 | 1145531.1068
52 | 2558390.129 | 1145520.4783
53 | 2558470.5942 | 1145482.4536
54 | 2558397.076 | 1145449.7164
55 | 2558378.9185 | 1145457.0159
56 | 2558373.6281 | 1145408.9344
57 | 2558441.5017 | 1145440.1122
58 | 2558563.5036 | 1145521.4602
59 | 2558561.8378 | 1145464.2991
60 | 2558515.7904 | 1145453.4258
61 | 2558378.9058 | 1145457.021
62 | 2558384.2004 | 1145587.5031
63 | 2558442.4722 | 1145713.1483
64 | 2558232.7052 | 1145692.624
65 | 2558206.0687 | 1145676.5157
66 | 2558291.7603 | 1145698.6344
67 | 2558276.3341 | 1145726.8091
68 | 2558263.7344 | 1145759.4834
69 | 2558584.5647 | 1145463.9503
70 | 2558525.848 | 1145454.373
71 | 2558595.4496 | 1145460.8986
72 | 2558354.9306 | 1145466.6593
73 | 2558344.3745 | 1145470.903
74 | 2558522.1738 | 1145578.8026
75 | 2558526.1441 | 1145578.8528
76 | 2558550.0578 | 1145578.9463
77 | 2558554.7244 | 1145578.9645
78 | 2558568.796 | 1145579.0195
79 | 2558445.2362 | 1145585.0971

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1