## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5892-33_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5892-33_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5892-33_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5892-33_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5892-33_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5892-33_0_6_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_5892-33_0_6_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_5892-33_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5892-33_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5892-33_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5892-33_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5892-33_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5892-33_0_6_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_5892-33_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5892-33_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5892-33_0_6_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_5892-33_0_6_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5892-33_0_6_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_5892-33_0_6_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_5892-33_0_6_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_5892-33_0_6_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_5892-33_0_6_node_179 | 0.4 | n |  | TRUE
22 | bus_LV_5892-33_0_6_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_5892-33_0_6_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5892-33_0_6_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_5892-33_0_6_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_5892-33_0_6_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_5892-33_0_6_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_5892-33_0_6_node_85 | 0.4 | n |  | TRUE
29 | bus_LV_5892-33_0_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5892-33_0_6_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_5892-33_0_6_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_5892-33_0_6_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_5892-33_0_6_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_5892-33_0_6_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_5892-33_0_6_node_96 | 0.4 | n |  | TRUE
36 | bus_LV_5892-33_0_6_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_5892-33_0_6_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_5892-33_0_6_node_92 | 0.4 | n |  | TRUE
39 | bus_LV_5892-33_0_6_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_5892-33_0_6_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_5892-33_0_6_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_5892-33_0_6_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_5892-33_0_6_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_5892-33_0_6_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_5892-33_0_6_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_5892-33_0_6_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_5892-33_0_6_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_5892-33_0_6_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_5892-33_0_6_node_165 | 0.4 | n |  | TRUE
50 | bus_LV_5892-33_0_6_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_5892-33_0_6_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_5892-33_0_6_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_5892-33_0_6_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_5892-33_0_6_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_5892-33_0_6_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_5892-33_0_6_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_5892-33_0_6_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_5892-33_0_6_node_166 | 0.4 | n |  | TRUE
59 | bus_LV_5892-33_0_6_node_172 | 0.4 | n |  | TRUE
60 | bus_LV_5892-33_0_6_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_5892-33_0_6_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_5892-33_0_6_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_5892-33_0_6_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_5892-33_0_6_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_5892-33_0_6_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_5892-33_0_6_node_148 | 0.4 | n |  | TRUE
67 | bus_LV_5892-33_0_6_node_94 | 0.4 | n |  | TRUE
68 | bus_LV_5892-33_0_6_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_5892-33_0_6_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_5892-33_0_6_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_5892-33_0_6_node_139 | 0.4 | n |  | TRUE
72 | bus_LV_5892-33_0_6_node_140 | 0.4 | n |  | TRUE
73 | bus_LV_5892-33_0_6_node_117 | 0.4 | n |  | TRUE
74 | bus_LV_5892-33_0_6_node_118 | 0.4 | n |  | TRUE
75 | bus_LV_5892-33_0_6_node_119 | 0.4 | n |  | TRUE
76 | bus_LV_5892-33_0_6_node_127 | 0.4 | n |  | TRUE
77 | bus_LV_5892-33_0_6_node_120 | 0.4 | n |  | TRUE
78 | bus_LV_5892-33_0_6_node_121 | 0.4 | n |  | TRUE
79 | bus_LV_5892-33_0_6_node_146 | 0.4 | n |  | TRUE
80 | bus_LV_5892-33_0_6_node_122 | 0.4 | n |  | TRUE
81 | bus_LV_5892-33_0_6_node_123 | 0.4 | n |  | TRUE
82 | bus_LV_5892-33_0_6_node_124 | 0.4 | n |  | TRUE
83 | bus_LV_5892-33_0_6_node_128 | 0.4 | n |  | TRUE
84 | bus_LV_5892-33_0_6_node_147 | 0.4 | n |  | TRUE
85 | bus_LV_5892-33_0_6_node_144 | 0.4 | n |  | TRUE
86 | bus_LV_5892-33_0_6_node_145 | 0.4 | n |  | TRUE
87 | bus_LV_5892-33_0_6_node_171 | 0.4 | n |  | TRUE
88 | bus_MV_37_1_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5892-33_0_6_load_0 | 0 | 0.0041111 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5892-33_0_6_load_1 | 1 | 0.0043413 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5892-33_0_6_load_2 | 2 | 0.0027177 | 0.00068112 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5892-33_0_6_load_3 | 3 | 0.0067937 | 0.0017027 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5892-33_0_6_load_4 | 4 | 0.0012491 | 0.00031305 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5892-33_0_6_load_80 | 5 | 0.0095911 | 0.0024037 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5892-33_0_6_load_36 | 6 | 0.0024187 | 0.00060618 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5892-33_0_6_load_5 | 7 | 0.0025663 | 0.00064318 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5892-33_0_6_load_8 | 10 | 0.003354 | 0.00084059 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5892-33_0_6_load_9 | 11 | 0.0043357 | 0.0010866 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5892-33_0_6_load_43 | 12 | 0.0040597 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5892-33_0_6_load_10 | 13 | 0.0030146 | 0.00075552 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5892-33_0_6_load_11 | 14 | 0.0019231 | 0.00048197 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5892-33_0_6_load_67 | 15 | 0.0041516 | 0.0010405 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5892-33_0_6_load_22 | 16 | 0.0029698 | 0.0007443 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5892-33_0_6_load_23 | 17 | 0.0028489 | 0.00071401 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5892-33_0_6_load_51 | 19 | 0.0022823 | 0.000572 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5892-33_0_6_load_27 | 20 | 0.002479 | 0.00062131 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5892-33_0_6_load_179 | 21 | 0.0027534 | 0.00069006 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5892-33_0_6_load_31 | 22 | 0.0070308 | 0.0017621 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5892-33_0_6_load_32 | 23 | 0.006646 | 0.0016657 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5892-33_0_6_load_33 | 24 | 0.0050372 | 0.0012624 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5892-33_0_6_load_34 | 25 | 0.0015419 | 0.00038644 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5892-33_0_6_load_35 | 26 | 0.0047757 | 0.0011969 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5892-33_0_6_load_45 | 27 | 0.0024115 | 0.00060438 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5892-33_0_6_load_85 | 28 | 0.005766 | 0.0014451 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5892-33_0_6_load_40 | 29 | 0.0089748 | 0.0022493 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5892-33_0_6_load_65 | 30 | 0.0038174 | 0.00095673 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5892-33_0_6_load_41 | 31 | 0.0038103 | 0.00095495 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5892-33_0_6_load_42 | 32 | 0.0045432 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5892-33_0_6_load_44 | 33 | 0.0010192 | 0.00025545 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5892-33_0_6_load_46 | 34 | 0.0032648 | 0.00081823 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5892-33_0_6_load_96 | 35 | 0.0038462 | 0.00096395 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5892-33_0_6_load_47 | 36 | 0.0022822 | 0.00057196 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5892-33_0_6_load_48 | 37 | 0.0045762 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5892-33_0_6_load_92 | 38 | 0.0033415 | 0.00083745 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5892-33_0_6_load_69 | 39 | 0.0019407 | 0.00048639 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5892-33_0_6_load_56 | 40 | 0.0043067 | 0.0010794 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5892-33_0_6_load_57 | 41 | 0.0050155 | 0.001257 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5892-33_0_6_load_58 | 42 | 0.0048786 | 0.0012227 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5892-33_0_6_load_59 | 43 | 0.0063144 | 0.0015825 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5892-33_0_6_load_60 | 44 | 0.0024881 | 0.00062358 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5892-33_0_6_load_81 | 45 | 0.0056802 | 0.0014236 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5892-33_0_6_load_66 | 48 | 0.0010445 | 0.00026179 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5892-33_0_6_load_165 | 49 | 0.0028767 | 0.00072096 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5892-33_0_6_load_68 | 50 | 0.0040232 | 0.0010083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5892-33_0_6_load_87 | 51 | 0.0036455 | 0.00091364 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5892-33_0_6_load_70 | 52 | 0.0014275 | 0.00035776 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5892-33_0_6_load_71 | 53 | 0.00068193 | 0.00017091 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5892-33_0_6_load_77 | 54 | 0.0037747 | 0.00094603 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5892-33_0_6_load_78 | 55 | 0.0022015 | 0.00055174 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5892-33_0_6_load_79 | 56 | 0.0028788 | 0.0007215 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5892-33_0_6_load_84 | 57 | 0.0045877 | 0.0011498 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5892-33_0_6_load_166 | 58 | 0.0028531 | 0.00071505 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5892-33_0_6_load_172 | 59 | 0.0023172 | 0.00058075 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5892-33_0_6_load_91 | 60 | 0.0063145 | 0.0015826 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5892-33_0_6_load_82 | 61 | 0.0027665 | 0.00069336 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5892-33_0_6_load_83 | 62 | 0.0046325 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5892-33_0_6_load_86 | 63 | 0.0028045 | 0.00070288 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5892-33_0_6_load_88 | 64 | 0.0017622 | 0.00044164 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5892-33_0_6_load_89 | 65 | 0.0023561 | 0.0005905 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5892-33_0_6_load_148 | 66 | 0.0025602 | 0.00064164 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5892-33_0_6_load_94 | 67 | 0.005665 | 0.0014198 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5892-33_0_6_load_95 | 68 | 0.0035554 | 0.00089108 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5892-33_0_6_load_97 | 69 | 0.00067878 | 0.00017012 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5892-33_0_6_load_139 | 71 | 0.0025667 | 0.00064329 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5892-33_0_6_load_140 | 72 | 0.011088 | 0.0027788 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5892-33_0_6_load_117 | 73 | 0.0036122 | 0.0009053 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5892-33_0_6_load_118 | 74 | 0.0022243 | 0.00055745 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5892-33_0_6_load_119 | 75 | 0.00236 | 0.00059147 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5892-33_0_6_load_127 | 76 | 0.0017333 | 0.0004344 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5892-33_0_6_load_121 | 78 | 0.0021234 | 0.00053218 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5892-33_0_6_load_122 | 80 | 0.013981 | 0.003504 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5892-33_0_6_load_123 | 81 | 0.0018095 | 0.00045351 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5892-33_0_6_load_124 | 82 | 0.0013182 | 0.00033037 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5892-33_0_6_load_128 | 83 | 0.0029257 | 0.00073325 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5892-33_0_6_load_144 | 85 | 0.00076577 | 0.00019192 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5892-33_0_6_load_145 | 86 | 0.0014309 | 0.00035861 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5892-33_0_6_load_171 | 87 | 0.0068483 | 0.0017163 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5892-33_0_6_line_0 |  | 0 | 1 | 0.01432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5892-33_0_6_line_1 |  | 0 | 2 | 0.0040936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5892-33_0_6_line_2 |  | 1 | 3 | 0.025534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5892-33_0_6_line_3 |  | 2 | 4 | 0.017546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5892-33_0_6_line_4 |  | 3 | 5 | 0.044005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5892-33_0_6_line_5 |  | 4 | 6 | 0.00033711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5892-33_0_6_line_6 |  | 5 | 53 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5892-33_0_6_line_7 |  | 6 | 30 | 0.024192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5892-33_0_6_line_8 |  | 7 | 8 | 0.019889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5892-33_0_6_line_9 |  | 7 | 9 | 0.029791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5892-33_0_6_line_10 |  | 8 | 10 | 0.071473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5892-33_0_6_line_11 |  | 9 | 11 | 0.026731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5892-33_0_6_line_12 |  | 10 | 12 | 0.062273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5892-33_0_6_line_13 |  | 11 | 13 | 0.038812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5892-33_0_6_line_14 |  | 12 | 31 | 0.030374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5892-33_0_6_line_15 |  | 13 | 14 | 0.014078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5892-33_0_6_line_16 |  | 14 | 15 | 0.065646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5892-33_0_6_line_17 |  | 15 | 50 | 0.045621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5892-33_0_6_line_18 |  | 16 | 17 | 0.011197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5892-33_0_6_line_19 |  | 16 | 18 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5892-33_0_6_line_20 |  | 17 | 19 | 0.066304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5892-33_0_6_line_21 |  | 18 | 20 | 0.0027337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5892-33_0_6_line_22 |  | 19 | 39 | 0.0027282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5892-33_0_6_line_23 |  | 20 | 21 | 0.010047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5892-33_0_6_line_24 |  | 21 | 78 | 0.021673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5892-33_0_6_line_25 |  | 22 | 23 | 0.0032196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5892-33_0_6_line_26 |  | 22 | 24 | 0.037821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5892-33_0_6_line_27 |  | 23 | 25 | 0.062673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5892-33_0_6_line_28 |  | 24 | 26 | 3.1556e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5892-33_0_6_line_29 |  | 25 | 27 | 0.039842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5892-33_0_6_line_30 |  | 25 | 28 | 0.051911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5892-33_0_6_line_31 |  | 26 | 29 | 0.021396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5892-33_0_6_line_32 |  | 27 | 35 | 0.038873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5892-33_0_6_line_33 |  | 28 | 63 | 0.0067881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5892-33_0_6_line_34 |  | 30 | 47 | 0.0070407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5892-33_0_6_line_35 |  | 31 | 32 | 0.03561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5892-33_0_6_line_36 |  | 32 | 33 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5892-33_0_6_line_37 |  | 33 | 34 | 0.0086336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5892-33_0_6_line_38 |  | 34 | 36 | 0.032049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5892-33_0_6_line_39 |  | 35 | 67 | 0.010924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5892-33_0_6_line_40 |  | 36 | 37 | 0.0029011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5892-33_0_6_line_41 |  | 37 | 38 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5892-33_0_6_line_42 |  | 38 | 60 | 0.0060952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5892-33_0_6_line_43 |  | 39 | 52 | 0.0020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5892-33_0_6_line_44 |  | 40 | 41 | 0.010727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5892-33_0_6_line_45 |  | 40 | 42 | 0.078836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5892-33_0_6_line_46 |  | 41 | 43 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5892-33_0_6_line_47 |  | 42 | 44 | 0.064141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5892-33_0_6_line_48 |  | 43 | 45 | 0.022608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5892-33_0_6_line_49 |  | 44 | 46 | 0.023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5892-33_0_6_line_50 |  | 45 | 60 | 0.011228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5892-33_0_6_line_51 |  | 46 | 54 | 0.045222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5892-33_0_6_line_52 |  | 46 | 55 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5892-33_0_6_line_53 |  | 46 | 56 | 0.033468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5892-33_0_6_line_54 |  | 47 | 48 | 0.0081321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5892-33_0_6_line_55 |  | 48 | 49 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5892-33_0_6_line_56 |  | 50 | 51 | 0.039002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5892-33_0_6_line_57 |  | 51 | 63 | 0.042748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5892-33_0_6_line_58 |  | 52 | 53 | 0.031673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5892-33_0_6_line_59 |  | 54 | 57 | 0.036119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5892-33_0_6_line_60 |  | 55 | 58 | 0.046752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5892-33_0_6_line_61 |  | 56 | 59 | 0.04168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5892-33_0_6_line_62 |  | 57 | 62 | 0.035335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5892-33_0_6_line_63 |  | 59 | 80 | 0.23706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5892-33_0_6_line_64 |  | 59 | 87 | 0.013829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5892-33_0_6_line_65 |  | 61 | 62 | 0.031961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5892-33_0_6_line_66 |  | 64 | 65 | 0.045471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5892-33_0_6_line_67 |  | 65 | 66 | 0.053311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5892-33_0_6_line_68 |  | 66 | 79 | 0.02623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5892-33_0_6_line_69 |  | 67 | 68 | 0.033333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5892-33_0_6_line_70 |  | 68 | 69 | 0.005033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5892-33_0_6_line_71 |  | 69 | 70 | 0.027392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5892-33_0_6_line_72 |  | 70 | 71 | 0.0083475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5892-33_0_6_line_73 |  | 70 | 72 | 0.067942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5892-33_0_6_line_74 |  | 71 | 84 | 0.029135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5892-33_0_6_line_75 |  | 73 | 74 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5892-33_0_6_line_76 |  | 73 | 75 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5892-33_0_6_line_77 |  | 73 | 76 | 0.051179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5892-33_0_6_line_78 |  | 74 | 77 | 0.015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5892-33_0_6_line_79 |  | 75 | 78 | 0.015686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5892-33_0_6_line_80 |  | 76 | 83 | 0.00061744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5892-33_0_6_line_81 |  | 77 | 79 | 0.042446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5892-33_0_6_line_82 |  | 79 | 85 | 0.06473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5892-33_0_6_line_83 |  | 80 | 81 | 0.031909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5892-33_0_6_line_84 |  | 81 | 82 | 0.050642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5892-33_0_6_line_85 |  | 84 | 86 | 0.035299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5892-33_0_6_line_86 |  | 85 | 86 | 0.014627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5892-33_0_6_trafo_85 | 0.63 MVA 20/0.4 kV | 88 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2557727.4505 | 1147133.9772 | 2557725.5627 | 1147119.7818
1 | 2557727.4505 | 1147133.9772 | 2557727.9901 | 1147138.0352
2 | 2557725.5627 | 1147119.7818 | 2557724.3581 | 1147110.7233 | 2557724.3704 | 1147094.3278
3 | 2557730.303 | 1147155.4279 | 2557727.9901 | 1147138.0352
4 | 2557724.3704 | 1147094.3278 | 2557697.2173 | 1147059.6991
5 | 2557730.303 | 1147155.4279 | 2557730.3475 | 1147155.7621
6 | 2557697.2173 | 1147059.6991 | 2557687.495 | 1147055.5098
7 | 2557734.8363 | 1147178.6904 | 2557736.3399 | 1147175.2165 | 2557730.7563 | 1147158.8363 | 2557730.3475 | 1147155.7621
8 | 2558052.1711 | 1146887.9361 | 2558045.8489 | 1146872.3944 | 2558044.293 | 1146869.7013
9 | 2558029.3899 | 1146843.9058 | 2558044.293 | 1146869.7013
10 | 2558052.1711 | 1146887.9361 | 2558049.126 | 1146892.9376 | 2558032.5034 | 1146920.2231 | 2558016.6255 | 1146938.6323 | 2558009.4866 | 1146944.6809
11 | 2558029.3899 | 1146843.9058 | 2558020.571 | 1146850.304 | 2558009.3959 | 1146861.5241
12 | 2557961.0996 | 1146983.8393 | 2557966.5918 | 1146979.0024 | 2557990.1 | 1146961.1068 | 2558009.4866 | 1146944.6809
13 | 2558009.3959 | 1146861.5241 | 2557982.0067 | 1146889.0237
14 | 2557939.2788 | 1147004.8125 | 2557943.1034 | 1146999.6883 | 2557961.0996 | 1146983.8393
15 | 2557972.0723 | 1146898.9982 | 2557982.0067 | 1146889.0237
16 | 2557972.0723 | 1146898.9982 | 2557958.4779 | 1146912.6474 | 2557924.8003 | 1146944.5396
17 | 2557891.1592 | 1146975.3457 | 2557908.4398 | 1146960.0327 | 2557924.8003 | 1146944.5396
18 | 2557636.0868 | 1146975.9635 | 2557639.3748 | 1146965.2597
19 | 2557644.0708 | 1146949.9725 | 2557639.3748 | 1146965.2597
20 | 2557636.0868 | 1146975.9635 | 2557674.9802 | 1147029.6615
21 | 2557644.0708 | 1146949.9725 | 2557645.6141 | 1146947.716
22 | 2557677.6068 | 1147030.3993 | 2557674.9802 | 1147029.6615
23 | 2557649.5786 | 1146938.4838 | 2557645.6141 | 1146947.716 | 2557645.6141 | 1146947.716
24 | 2557656.4001 | 1146917.9255 | 2557650.7375 | 1146935.785 | 2557649.5786 | 1146938.4838
25 | 2557771.9012 | 1147047.0078 | 2557771.7293 | 1147050.2228
26 | 2557770.0707 | 1147088.0067 | 2557770.9614 | 1147064.5833 | 2557771.7293 | 1147050.2228
27 | 2557771.9012 | 1147047.0078 | 2557773.2152 | 1147022.4348 | 2557786.5084 | 1146990.4473 | 2557788.1588 | 1146987.4462
28 | 2557770.0695 | 1147088.0382 | 2557770.0707 | 1147088.0067
29 | 2557788.1588 | 1146987.4462 | 2557806.522 | 1146954.0549 | 2557807.2285 | 1146952.4706
30 | 2557788.1588 | 1146987.4462 | 2557821.6715 | 1147027.09
31 | 2557769.2564 | 1147109.4183 | 2557770.0695 | 1147088.0382
32 | 2557823.061 | 1146916.9674 | 2557807.2285 | 1146952.4706
33 | 2557826.6244 | 1147022.4481 | 2557821.6715 | 1147027.09
34 | 2557732.0396 | 1147185.1518 | 2557734.8363 | 1147178.6904
35 | 2557939.2788 | 1147004.8125 | 2557917.9793 | 1147033.3503
36 | 2557906.4104 | 1147048.8508 | 2557917.9793 | 1147033.3503
37 | 2557901.2463 | 1147055.7697 | 2557906.4104 | 1147048.8508
38 | 2557901.2463 | 1147055.7697 | 2557897.0375 | 1147061.4089 | 2557884.6431 | 1147078.1264 | 2557882.9 | 1147081.9496
39 | 2557823.061 | 1146916.9674 | 2557825.3052 | 1146911.935 | 2557827.3831 | 1146906.9362
40 | 2557881.6964 | 1147084.5892 | 2557882.9 | 1147081.9496
41 | 2557881.6964 | 1147084.5892 | 2557872.2442 | 1147105.3205
42 | 2557869.7156 | 1147110.8664 | 2557872.2442 | 1147105.3205
43 | 2557677.6068 | 1147030.3993 | 2557679.5367 | 1147030.9415
44 | 2557852.186 | 1147167.6111 | 2557851.8489 | 1147160.4872 | 2557852.6166 | 1147156.9751
45 | 2557852.186 | 1147167.6111 | 2557852.3448 | 1147170.9669 | 2557856.7903 | 1147179.529 | 2557862.9759 | 1147185.4109 | 2557870.2011 | 1147187.3168 | 2557879.0447 | 1147186.7324 | 2557884.1181 | 1147184.0732 | 2557899.5166 | 1147167.5347 | 2557907.479 | 1147157.7269
46 | 2557852.6166 | 1147156.9751 | 2557853.5233 | 1147152.8271 | 2557857.231 | 1147142.2659
47 | 2557953.4421 | 1147113.3922 | 2557949.5444 | 1147115.6359 | 2557934.6798 | 1147128.3798 | 2557916.7715 | 1147146.2809 | 2557907.479 | 1147157.7269
48 | 2557865.0577 | 1147121.0824 | 2557862.3968 | 1147126.9184 | 2557857.9208 | 1147140.301 | 2557857.231 | 1147142.2659
49 | 2557974.1762 | 1147101.4565 | 2557953.4421 | 1147113.3922
50 | 2557865.0577 | 1147121.0824 | 2557869.7156 | 1147110.8664
51 | 2557974.1762 | 1147101.4565 | 2557972.2082 | 1147089.1195 | 2557966.2314 | 1147062.5588 | 2557966.3545 | 1147057.0556
52 | 2557974.1762 | 1147101.4565 | 2557984.0791 | 1147094.1725 | 2557996.2579 | 1147090.2899
53 | 2557974.1762 | 1147101.4565 | 2557987.9398 | 1147127.8628 | 2557990.1322 | 1147130.8312
54 | 2557732.0396 | 1147185.1518 | 2557729.6964 | 1147192.939
55 | 2557726.2594 | 1147204.3606 | 2557729.6964 | 1147192.939
56 | 2557861.9688 | 1147001.2126 | 2557891.1592 | 1146975.3457
57 | 2557861.9688 | 1147001.2126 | 2557861.9688 | 1147001.2126 | 2557846.8288 | 1147016.3153 | 2557828.213 | 1147020.9593 | 2557826.6244 | 1147022.4481
58 | 2557687.495 | 1147055.5098 | 2557690.4659 | 1147037.8354 | 2557687.3375 | 1147033.1328 | 2557679.5367 | 1147030.9415
59 | 2557966.3545 | 1147057.0556 | 2557966.8224 | 1147036.1411 | 2557971.7316 | 1147022.0552 | 2557971.8454 | 1147021.797
60 | 2557996.2579 | 1147090.2899 | 2558002.3333 | 1147088.3531 | 2558038.4602 | 1147079.2629 | 2558041.5131 | 1147078.6079
61 | 2558014.8942 | 1147164.3582 | 2557990.1322 | 1147130.8312
62 | 2557989.3903 | 1146991.5604 | 2557983.9823 | 1146996.8122 | 2557977.5987 | 1147008.7407 | 2557971.8454 | 1147021.797
63 | 2557810.8264 | 1147284.9942 | 2558014.8942 | 1147164.3582
64 | 2558014.8942 | 1147164.3582 | 2558023.1098 | 1147175.4818
65 | 2557989.3903 | 1146991.5604 | 2558001.6583 | 1146979.6466 | 2558013.855 | 1146971.1571
66 | 2557748.737 | 1146946.8774 | 2557749.7534 | 1146954.9984 | 2557745.9317 | 1146984.9628 | 2557743.9647 | 1146991.7634
67 | 2557748.737 | 1146946.8774 | 2557745.5624 | 1146921.5107 | 2557728.9403 | 1146900.5946 | 2557728.2812 | 1146899.8033
68 | 2557712.9867 | 1146878.651 | 2557716.9726 | 1146886.2269 | 2557728.2812 | 1146899.8033
69 | 2557827.3831 | 1146906.9362 | 2557840.1775 | 1146876.1568 | 2557840.1775 | 1146876.1568
70 | 2557840.1775 | 1146876.1568 | 2557841.4011 | 1146871.2748
71 | 2557831.2052 | 1146847.5162 | 2557842.8598 | 1146865.4548 | 2557841.4011 | 1146871.2748
72 | 2557831.2052 | 1146847.5162 | 2557827.606 | 1146843.5727 | 2557825.5447 | 1146841.3814
73 | 2557890.2333 | 1146876.2173 | 2557863.6427 | 1146853.2251 | 2557831.2052 | 1146847.5162
74 | 2557805.5821 | 1146820.1597 | 2557825.5447 | 1146841.3814
75 | 2557670.8881 | 1146873.2343 | 2557666.0584 | 1146887.4747
76 | 2557661.141 | 1146902.9728 | 2557666.0055 | 1146887.6306 | 2557666.0584 | 1146887.4747
77 | 2557666.0584 | 1146887.4747 | 2557615.5197 | 1146879.4017
78 | 2557675.9529 | 1146858.3011 | 2557670.8881 | 1146873.2343
79 | 2557656.4001 | 1146917.9255 | 2557661.141 | 1146902.9728
80 | 2557615.5197 | 1146879.4017 | 2557614.9344 | 1146879.2049
81 | 2557712.9867 | 1146878.651 | 2557698.0088 | 1146867.6619 | 2557675.9529 | 1146858.3011
82 | 2557712.9867 | 1146878.651 | 2557733.4549 | 1146878.5071 | 2557749.3184 | 1146873.4375 | 2557757.036 | 1146865.5681 | 2557768.7034 | 1146853.7811
83 | 2557810.8264 | 1147284.9942 | 2557804.1604 | 1147316.1995
84 | 2557804.1604 | 1147316.1995 | 2557793.5812 | 1147365.724
85 | 2557805.5821 | 1146820.1597 | 2557791.0905 | 1146832.4788 | 2557779.2051 | 1146843.6028
86 | 2557779.2051 | 1146843.6028 | 2557773.4027 | 1146849.0336 | 2557768.7034 | 1146853.7811

## bus_geodata
| x | y | coords
0 | 2557727.4505 | 1147133.9772
1 | 2557725.5627 | 1147119.7818
2 | 2557727.9901 | 1147138.0352
3 | 2557724.3704 | 1147094.3278
4 | 2557730.303 | 1147155.4279
5 | 2557697.2173 | 1147059.6991
6 | 2557730.3475 | 1147155.7621
7 | 2558044.293 | 1146869.7013
8 | 2558052.1711 | 1146887.9361
9 | 2558029.3899 | 1146843.9058
10 | 2558009.4866 | 1146944.6809
11 | 2558009.3959 | 1146861.5241
12 | 2557961.0996 | 1146983.8393
13 | 2557982.0067 | 1146889.0237
14 | 2557972.0723 | 1146898.9982
15 | 2557924.8003 | 1146944.5396
16 | 2557639.3748 | 1146965.2597
17 | 2557636.0868 | 1146975.9635
18 | 2557644.0708 | 1146949.9725
19 | 2557674.9802 | 1147029.6615
20 | 2557645.6141 | 1146947.716
21 | 2557649.5786 | 1146938.4838
22 | 2557771.7293 | 1147050.2228
23 | 2557771.9012 | 1147047.0078
24 | 2557770.0707 | 1147088.0067
25 | 2557788.1588 | 1146987.4462
26 | 2557770.0695 | 1147088.0382
27 | 2557807.2285 | 1146952.4706
28 | 2557821.6715 | 1147027.09
29 | 2557769.2564 | 1147109.4183
30 | 2557734.8363 | 1147178.6904
31 | 2557939.2788 | 1147004.8125
32 | 2557917.9793 | 1147033.3503
33 | 2557906.4104 | 1147048.8508
34 | 2557901.2463 | 1147055.7697
35 | 2557823.061 | 1146916.9674
36 | 2557882.9 | 1147081.9496
37 | 2557881.6964 | 1147084.5892
38 | 2557872.2442 | 1147105.3205
39 | 2557677.6068 | 1147030.3993
40 | 2557852.186 | 1147167.6111
41 | 2557852.6166 | 1147156.9751
42 | 2557907.479 | 1147157.7269
43 | 2557857.231 | 1147142.2659
44 | 2557953.4421 | 1147113.3922
45 | 2557865.0577 | 1147121.0824
46 | 2557974.1762 | 1147101.4565
47 | 2557732.0396 | 1147185.1518
48 | 2557729.6964 | 1147192.939
49 | 2557726.2594 | 1147204.3606
50 | 2557891.1592 | 1146975.3457
51 | 2557861.9688 | 1147001.2126
52 | 2557679.5367 | 1147030.9415
53 | 2557687.495 | 1147055.5098
54 | 2557966.3545 | 1147057.0556
55 | 2557996.2579 | 1147090.2899
56 | 2557990.1322 | 1147130.8312
57 | 2557971.8454 | 1147021.797
58 | 2558041.5131 | 1147078.6079
59 | 2558014.8942 | 1147164.3582
60 | 2557869.7156 | 1147110.8664
61 | 2558013.855 | 1146971.1571
62 | 2557989.3903 | 1146991.5604
63 | 2557826.6244 | 1147022.4481
64 | 2557743.9647 | 1146991.7634
65 | 2557748.737 | 1146946.8774
66 | 2557728.2812 | 1146899.8033
67 | 2557827.3831 | 1146906.9362
68 | 2557840.1775 | 1146876.1568
69 | 2557841.4011 | 1146871.2748
70 | 2557831.2052 | 1146847.5162
71 | 2557825.5447 | 1146841.3814
72 | 2557890.2333 | 1146876.2173
73 | 2557666.0584 | 1146887.4747
74 | 2557670.8881 | 1146873.2343
75 | 2557661.141 | 1146902.9728
76 | 2557615.5197 | 1146879.4017
77 | 2557675.9529 | 1146858.3011
78 | 2557656.4001 | 1146917.9255
79 | 2557712.9867 | 1146878.651
80 | 2557810.8264 | 1147284.9942
81 | 2557804.1604 | 1147316.1995
82 | 2557793.5812 | 1147365.724
83 | 2557614.9344 | 1146879.2049
84 | 2557805.5821 | 1146820.1596
85 | 2557768.7034 | 1146853.7811
86 | 2557779.2051 | 1146843.6028
87 | 2558023.1098 | 1147175.4818
88 | 2557811.4338 | 1147036.685

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1