## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_593-3_1_5_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_593-3_1_5_node_11 | 0.4 | n |  | TRUE
2 | bus_LV_593-3_1_5_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_593-3_1_5_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_593-3_1_5_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_593-3_1_5_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_593-3_1_5_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_593-3_1_5_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_593-3_1_5_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_593-3_1_5_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_593-3_1_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_593-3_1_5_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_593-3_1_5_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_593-3_1_5_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_593-3_1_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_593-3_1_5_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_593-3_1_5_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_593-3_1_5_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_593-3_1_5_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_593-3_1_5_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_593-3_1_5_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_593-3_1_5_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_593-3_1_5_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_593-3_1_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_593-3_1_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_593-3_1_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_593-3_1_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_593-3_1_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_593-3_1_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_593-3_1_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_593-3_1_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_593-3_1_5_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_593-3_1_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_593-3_1_5_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_593-3_1_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_593-3_1_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_593-3_1_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_593-3_1_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_593-3_1_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_593-3_1_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_593-3_1_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_593-3_1_5_node_134 | 0.4 | n |  | TRUE
42 | bus_LV_593-3_1_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_593-3_1_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_593-3_1_5_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_593-3_1_5_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_593-3_1_5_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_593-3_1_5_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_593-3_1_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_593-3_1_5_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_593-3_1_5_node_128 | 0.4 | n |  | TRUE
51 | bus_LV_593-3_1_5_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_593-3_1_5_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_593-3_1_5_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_593-3_1_5_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_593-3_1_5_node_129 | 0.4 | n |  | TRUE
56 | bus_LV_593-3_1_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_593-3_1_5_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_593-3_1_5_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_593-3_1_5_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_593-3_1_5_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_593-3_1_5_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_593-3_1_5_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_593-3_1_5_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_593-3_1_5_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_593-3_1_5_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_593-3_1_5_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_593-3_1_5_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_593-3_1_5_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_593-3_1_5_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_593-3_1_5_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_593-3_1_5_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_593-3_1_5_node_114 | 0.4 | n |  | TRUE
73 | bus_LV_593-3_1_5_node_122 | 0.4 | n |  | TRUE
74 | bus_LV_593-3_1_5_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_593-3_1_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_593-3_1_5_node_126 | 0.4 | n |  | TRUE
77 | bus_LV_593-3_1_5_node_102 | 0.4 | n |  | TRUE
78 | bus_LV_593-3_1_5_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_593-3_1_5_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_593-3_1_5_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_593-3_1_5_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_593-3_1_5_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_593-3_1_5_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_593-3_1_5_node_105 | 0.4 | n |  | TRUE
85 | bus_LV_593-3_1_5_node_115 | 0.4 | n |  | TRUE
86 | bus_LV_593-3_1_5_node_106 | 0.4 | n |  | TRUE
87 | bus_LV_593-3_1_5_node_107 | 0.4 | n |  | TRUE
88 | bus_LV_593-3_1_5_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_593-3_1_5_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_593-3_1_5_node_121 | 0.4 | n |  | TRUE
91 | bus_LV_593-3_1_5_node_124 | 0.4 | n |  | TRUE
92 | bus_LV_593-3_1_5_node_120 | 0.4 | n |  | TRUE
93 | bus_LV_593-3_1_5_node_125 | 0.4 | n |  | TRUE
94 | bus_LV_593-3_1_5_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_593-3_1_5_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_593-3_1_5_node_118 | 0.4 | n |  | TRUE
97 | bus_LV_593-3_1_5_node_112 | 0.4 | n |  | TRUE
98 | bus_LV_593-3_1_5_node_119 | 0.4 | n |  | TRUE
99 | bus_MV_81_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_593-3_1_5_load_10 | 0 | 0.013267 | 0.0033251 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_593-3_1_5_load_13 | 3 | 0.0080249 | 0.0020112 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_593-3_1_5_load_30 | 4 | 0.0045514 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_593-3_1_5_load_39 | 5 | 0.0047309 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_593-3_1_5_load_28 | 7 | 0.0020212 | 0.00050655 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_593-3_1_5_load_38 | 8 | 0.0065896 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_593-3_1_5_load_58 | 9 | 0.004127 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_593-3_1_5_load_14 | 10 | 0.0083367 | 0.0020894 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_593-3_1_5_load_15 | 11 | 0.011887 | 0.0029792 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_593-3_1_5_load_17 | 13 | 0.002031 | 0.00050902 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_593-3_1_5_load_18 | 14 | 0.0034585 | 0.00086679 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_593-3_1_5_load_19 | 15 | 0.0045229 | 0.0011335 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_593-3_1_5_load_20 | 16 | 0.0031042 | 0.00077798 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_593-3_1_5_load_36 | 18 | 0.0027025 | 0.00067731 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_593-3_1_5_load_57 | 19 | 0.0052945 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_593-3_1_5_load_41 | 20 | 0.020008 | 0.0050144 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_593-3_1_5_load_76 | 22 | 0.0027236 | 0.0006826 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_593-3_1_5_load_37 | 23 | 0.0032296 | 0.00080942 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_593-3_1_5_load_21 | 25 | 0.012473 | 0.003126 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_593-3_1_5_load_22 | 26 | 0.0041462 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_593-3_1_5_load_23 | 27 | 0.0020926 | 0.00052446 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_593-3_1_5_load_24 | 28 | 0.0080135 | 0.0020084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_593-3_1_5_load_25 | 29 | 0.0065582 | 0.0016436 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_593-3_1_5_load_29 | 30 | 0.0057387 | 0.0014383 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_593-3_1_5_load_27 | 32 | 0.0076134 | 0.0019081 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_593-3_1_5_load_48 | 33 | 0.013623 | 0.0034142 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_593-3_1_5_load_26 | 35 | 0.0049578 | 0.0012426 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_593-3_1_5_load_31 | 36 | 0.0031196 | 0.00078184 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_593-3_1_5_load_32 | 37 | 0.0026904 | 0.00067427 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_593-3_1_5_load_33 | 38 | 0.0029071 | 0.00072858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_593-3_1_5_load_34 | 39 | 0.0042741 | 0.0010712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_593-3_1_5_load_35 | 40 | 0.0019602 | 0.00049128 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_593-3_1_5_load_134 | 41 | 0.0038022 | 0.00095291 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_593-3_1_5_load_46 | 43 | 0.0065928 | 0.0016523 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_593-3_1_5_load_101 | 45 | 0.0049975 | 0.0012525 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_593-3_1_5_load_77 | 46 | 0.0024596 | 0.00061645 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_593-3_1_5_load_55 | 47 | 0.0046011 | 0.0011531 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_593-3_1_5_load_53 | 48 | 0.0046473 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_593-3_1_5_load_128 | 50 | 0.001422 | 0.00035638 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_593-3_1_5_load_72 | 51 | 0.006847 | 0.001716 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_593-3_1_5_load_67 | 52 | 0.00974 | 0.0024411 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_593-3_1_5_load_61 | 53 | 0.0077741 | 0.0019484 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_593-3_1_5_load_59 | 54 | 0.0075078 | 0.0018816 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_593-3_1_5_load_129 | 55 | 0.0034744 | 0.00087076 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_593-3_1_5_load_54 | 56 | 0.0032698 | 0.00081949 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_593-3_1_5_load_56 | 57 | 0.0044074 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_593-3_1_5_load_62 | 58 | 0.0043837 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_593-3_1_5_load_64 | 60 | 0.0021147 | 0.00053 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_593-3_1_5_load_65 | 61 | 0.0026575 | 0.00066604 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_593-3_1_5_load_75 | 62 | 0.0015811 | 0.00039626 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_593-3_1_5_load_98 | 63 | 0.0023078 | 0.00057839 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_593-3_1_5_load_74 | 64 | 0.0015574 | 0.00039032 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_593-3_1_5_load_97 | 65 | 0.0046864 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_593-3_1_5_load_66 | 66 | 0.017393 | 0.004359 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_593-3_1_5_load_70 | 68 | 0.0092946 | 0.0023295 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_593-3_1_5_load_71 | 69 | 0.017546 | 0.0043975 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_593-3_1_5_load_123 | 71 | 0.020974 | 0.0052565 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_593-3_1_5_load_114 | 72 | 0.015625 | 0.0039161 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_593-3_1_5_load_73 | 74 | 0.0011042 | 0.00027675 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_593-3_1_5_load_78 | 75 | 0.0051597 | 0.0012931 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_593-3_1_5_load_126 | 76 | 0.012592 | 0.0031558 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_593-3_1_5_load_102 | 77 | 0.011559 | 0.0028971 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_593-3_1_5_load_80 | 78 | 0.0024952 | 0.00062535 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_593-3_1_5_load_81 | 79 | 0.0021649 | 0.00054257 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_593-3_1_5_load_83 | 81 | 0.014125 | 0.0035402 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_593-3_1_5_load_84 | 82 | 0.00053758 | 0.00013473 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_593-3_1_5_load_85 | 83 | 0.0014398 | 0.00036086 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_593-3_1_5_load_115 | 85 | 0.0026316 | 0.00065954 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_593-3_1_5_load_106 | 86 | 0.0012685 | 0.00031793 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_593-3_1_5_load_107 | 87 | 0.001483 | 0.00037167 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_593-3_1_5_load_100 | 88 | 0.0018766 | 0.00047033 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_593-3_1_5_load_121 | 90 | 0.0033372 | 0.00083638 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_593-3_1_5_load_124 | 91 | 0.0016259 | 0.00040748 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_593-3_1_5_load_120 | 92 | 0.0051482 | 0.0012903 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_593-3_1_5_load_125 | 93 | 0.0075716 | 0.0018976 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_593-3_1_5_load_99 | 94 | 0.00078123 | 0.0001958 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_593-3_1_5_load_103 | 95 | 0.0020518 | 0.00051423 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_593-3_1_5_load_118 | 96 | 0.0017594 | 0.00044096 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_593-3_1_5_load_112 | 97 | 0.00083566 | 0.00020944 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_593-3_1_5_load_119 | 98 | 0.0020936 | 0.00052471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_593-3_1_5_line_0 |  | 0 | 1 | 0.032086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_593-3_1_5_line_1 |  | 1 | 2 | 0.029868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_593-3_1_5_line_2 |  | 1 | 3 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_593-3_1_5_line_3 |  | 2 | 4 | 0.015146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_593-3_1_5_line_4 |  | 2 | 5 | 0.014781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_593-3_1_5_line_5 |  | 3 | 6 | 0.034799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_593-3_1_5_line_6 |  | 4 | 7 | 0.008295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_593-3_1_5_line_7 |  | 5 | 8 | 0.01273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_593-3_1_5_line_8 |  | 6 | 9 | 0.031544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_593-3_1_5_line_9 |  | 7 | 35 | 0.012396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_593-3_1_5_line_10 |  | 9 | 54 | 0.024096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_593-3_1_5_line_11 |  | 10 | 11 | 0.032553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_593-3_1_5_line_12 |  | 10 | 12 | 0.016275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_593-3_1_5_line_13 |  | 11 | 13 | 0.0035031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_593-3_1_5_line_14 |  | 12 | 14 | 0.018927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_593-3_1_5_line_15 |  | 12 | 15 | 0.049569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_593-3_1_5_line_16 |  | 12 | 16 | 0.026417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_593-3_1_5_line_17 |  | 13 | 17 | 0.033427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_593-3_1_5_line_18 |  | 14 | 18 | 0.017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_593-3_1_5_line_19 |  | 15 | 19 | 0.0038127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_593-3_1_5_line_20 |  | 16 | 20 | 9.9081e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_593-3_1_5_line_21 |  | 17 | 21 | 0.004684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_593-3_1_5_line_22 |  | 17 | 22 | 0.017897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_593-3_1_5_line_23 |  | 18 | 23 | 0.011807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_593-3_1_5_line_24 |  | 19 | 24 | 0.02259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_593-3_1_5_line_25 |  | 21 | 44 | 0.033763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_593-3_1_5_line_26 |  | 21 | 45 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_593-3_1_5_line_27 |  | 22 | 46 | 9.9316e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_593-3_1_5_line_28 |  | 24 | 47 | 0.0024207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_593-3_1_5_line_29 |  | 24 | 42 | 0.033758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_593-3_1_5_line_30 |  | 25 | 26 | 0.013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_593-3_1_5_line_31 |  | 25 | 27 | 0.0097772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_593-3_1_5_line_32 |  | 26 | 28 | 0.01513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_593-3_1_5_line_33 |  | 27 | 29 | 0.037179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_593-3_1_5_line_34 |  | 28 | 30 | 0.0029842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_593-3_1_5_line_35 |  | 29 | 31 | 0.031857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_593-3_1_5_line_36 |  | 30 | 32 | 0.026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_593-3_1_5_line_37 |  | 31 | 33 | 0.016941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_593-3_1_5_line_38 |  | 31 | 34 | 0.10845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_593-3_1_5_line_39 |  | 32 | 35 | 0.027238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_593-3_1_5_line_40 |  | 33 | 49 | 0.019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_593-3_1_5_line_41 |  | 34 | 50 | 0.0036079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_593-3_1_5_line_42 |  | 36 | 37 | 0.0091546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_593-3_1_5_line_43 |  | 36 | 38 | 0.017422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_593-3_1_5_line_44 |  | 37 | 39 | 0.019742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_593-3_1_5_line_45 |  | 38 | 40 | 0.0063132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_593-3_1_5_line_46 |  | 39 | 41 | 0.09776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_593-3_1_5_line_47 |  | 40 | 42 | 0.0063576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_593-3_1_5_line_48 |  | 42 | 43 | 0.01428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_593-3_1_5_line_49 |  | 44 | 76 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_593-3_1_5_line_50 |  | 44 | 72 | 0.0051904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_593-3_1_5_line_51 |  | 45 | 77 | 0.0023308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_593-3_1_5_line_52 |  | 46 | 75 | 0.00080592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_593-3_1_5_line_53 |  | 47 | 48 | 0.011634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_593-3_1_5_line_54 |  | 48 | 56 | 0.0085499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_593-3_1_5_line_55 |  | 49 | 51 | 0.024699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_593-3_1_5_line_56 |  | 49 | 52 | 0.049351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_593-3_1_5_line_57 |  | 50 | 55 | 0.034408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_593-3_1_5_line_58 |  | 51 | 71 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_593-3_1_5_line_59 |  | 52 | 66 | 0.0010151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_593-3_1_5_line_60 |  | 53 | 54 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_593-3_1_5_line_61 |  | 56 | 57 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_593-3_1_5_line_62 |  | 57 | 58 | 0.0010489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_593-3_1_5_line_63 |  | 58 | 59 | 0.013816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_593-3_1_5_line_64 |  | 59 | 60 | 0.01115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_593-3_1_5_line_65 |  | 59 | 61 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_593-3_1_5_line_66 |  | 60 | 62 | 0.018029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_593-3_1_5_line_67 |  | 61 | 63 | 0.017348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_593-3_1_5_line_68 |  | 62 | 64 | 0.00040199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_593-3_1_5_line_69 |  | 63 | 65 | 0.0096783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_593-3_1_5_line_70 |  | 64 | 74 | 0.034193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_593-3_1_5_line_71 |  | 65 | 94 | 0.0023767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_593-3_1_5_line_72 |  | 66 | 67 | 0.014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_593-3_1_5_line_73 |  | 67 | 68 | 0.017223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_593-3_1_5_line_74 |  | 67 | 69 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_593-3_1_5_line_75 |  | 68 | 70 | 0.0027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_593-3_1_5_line_76 |  | 70 | 72 | 0.019395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_593-3_1_5_line_77 |  | 71 | 73 | 0.016779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_593-3_1_5_line_78 |  | 73 | 92 | 0.0022601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_593-3_1_5_line_79 |  | 77 | 95 | 0.022404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_593-3_1_5_line_80 |  | 78 | 79 | 0.0032204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_593-3_1_5_line_81 |  | 78 | 80 | 0.038484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_593-3_1_5_line_82 |  | 79 | 81 | 0.027571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_593-3_1_5_line_83 |  | 80 | 82 | 0.0049816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_593-3_1_5_line_84 |  | 80 | 83 | 0.0080789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_593-3_1_5_line_85 |  | 82 | 84 | 6.5442e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_593-3_1_5_line_86 |  | 83 | 85 | 0.017413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_593-3_1_5_line_87 |  | 84 | 86 | 0.015175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_593-3_1_5_line_88 |  | 84 | 87 | 0.022704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_593-3_1_5_line_89 |  | 85 | 88 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_593-3_1_5_line_90 |  | 86 | 96 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_593-3_1_5_line_91 |  | 87 | 97 | 0.0029992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_593-3_1_5_line_92 |  | 88 | 94 | 0.0078187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_593-3_1_5_line_93 |  | 89 | 90 | 0.008184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_593-3_1_5_line_94 |  | 89 | 91 | 0.034198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_593-3_1_5_line_95 |  | 90 | 92 | 0.022079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_593-3_1_5_line_96 |  | 91 | 93 | 0.00788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_593-3_1_5_line_97 |  | 96 | 98 | 0.012426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_593-3_1_5_trafo_104 | 0.63 MVA 20/0.4 kV | 99 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2631048.8593 | 1170303.6512 | 2631030.4919 | 1170329.9594
1 | 2631048.8593 | 1170303.6512 | 2631073.0747 | 1170321.2297
2 | 2631048.8593 | 1170303.6512 | 2631027.4137 | 1170287.7193
3 | 2631073.0747 | 1170321.2297 | 2631073.5 | 1170317.3966 | 2631073.3016 | 1170315.8058 | 2631072.6 | 1170313.9012 | 2631068.4022 | 1170307.4985 | 2631068.4022 | 1170307.4985
4 | 2631073.0747 | 1170321.2297 | 2631084.9459 | 1170330.0356
5 | 2630999.4797 | 1170266.9665 | 2631002.6884 | 1170269.3509 | 2631027.4137 | 1170287.7193
6 | 2631068.4022 | 1170307.4985 | 2631063.2317 | 1170301.0122
7 | 2631084.9459 | 1170330.0356 | 2631095.1704 | 1170337.6201
8 | 2630999.4797 | 1170266.9665 | 2630993.1996 | 1170262.2984 | 2630977.6664 | 1170250.8459 | 2630974.1093 | 1170248.2213
9 | 2631055.505 | 1170291.3192 | 2631063.2317 | 1170301.0122
10 | 2630974.1093 | 1170248.2213 | 2630964.6027 | 1170241.207 | 2630954.7819 | 1170233.8314
11 | 2631132.0987 | 1170252.8816 | 2631156.7771 | 1170274.1105
12 | 2631169.1575 | 1170284.6747 | 2631162.7514 | 1170279.2498 | 2631156.7771 | 1170274.1105
13 | 2631132.0987 | 1170252.8816 | 2631129.443 | 1170250.5971
14 | 2631169.1575 | 1170284.6747 | 2631183.5907 | 1170296.9182
15 | 2631169.1575 | 1170284.6747 | 2631172.5001 | 1170280.4009 | 2631183.6968 | 1170266.3962 | 2631199.6608 | 1170245.605
16 | 2631169.1575 | 1170284.6747 | 2631161.0014 | 1170295.1044 | 2631152.9765 | 1170305.556
17 | 2631104.1019 | 1170228.7981 | 2631129.443 | 1170250.5971
18 | 2631183.5907 | 1170296.9182 | 2631197.107 | 1170308.3839
19 | 2631201.9828 | 1170242.581 | 2631199.6608 | 1170245.605
20 | 2631152.9765 | 1170305.556 | 2631152.9162 | 1170305.6346
21 | 2631104.1019 | 1170228.7981 | 2631100.4833 | 1170225.8112
22 | 2631104.1019 | 1170228.7981 | 2631100.8011 | 1170232.4051 | 2631095.6972 | 1170237.0033 | 2631091.8653 | 1170241.7984
23 | 2631206.1109 | 1170316.0218 | 2631197.107 | 1170308.3839
24 | 2631215.7406 | 1170224.6632 | 2631201.9828 | 1170242.581
25 | 2631100.4833 | 1170225.8112 | 2631074.5368 | 1170204.1215
26 | 2631100.4833 | 1170225.8112 | 2631113.621 | 1170210.9395
27 | 2631091.8033 | 1170241.876 | 2631091.8653 | 1170241.7984
28 | 2631215.7406 | 1170224.6632 | 2631213.9951 | 1170222.9859
29 | 2631239.8398 | 1170248.3671 | 2631222.4016 | 1170231.101 | 2631215.7406 | 1170224.6632
30 | 2631003.6265 | 1170223.4124 | 2631006.5026 | 1170227.0044 | 2631012.1018 | 1170234.3821
31 | 2631003.6265 | 1170223.4124 | 2630997.5154 | 1170215.7804
32 | 2631012.1018 | 1170234.3821 | 2631021.2489 | 1170246.4346
33 | 2630974.818 | 1170186.3393 | 2630988.4026 | 1170204.3995 | 2630997.5154 | 1170215.7804
34 | 2631021.2489 | 1170246.4346 | 2631023.053 | 1170248.8118
35 | 2630955.9128 | 1170160.6987 | 2630961.5123 | 1170168.3092 | 2630973.2507 | 1170184.2556 | 2630974.818 | 1170186.3393
36 | 2631038.9176 | 1170269.7156 | 2631023.053 | 1170248.8118
37 | 2630955.9128 | 1170160.6987 | 2630958.3979 | 1170157.999 | 2630969.195 | 1170150.2814
38 | 2630890.1607 | 1170074.4608 | 2630894.5994 | 1170080.1866 | 2630899.8514 | 1170086.9504 | 2630904.4423 | 1170092.8436 | 2630904.754 | 1170093.2454 | 2630911.5479 | 1170102.1961 | 2630919.7782 | 1170113.0217 | 2630921.3282 | 1170115.1196 | 2630925.5613 | 1170120.6553 | 2630953.0029 | 1170156.7484 | 2630955.9128 | 1170160.6987
39 | 2631055.505 | 1170291.3192 | 2631051.5043 | 1170286.3003 | 2631038.9176 | 1170269.7156
40 | 2630985.9996 | 1170140.6989 | 2630983.0968 | 1170141.3065 | 2630979.7997 | 1170142.7013 | 2630969.195 | 1170150.2814
41 | 2630890.1607 | 1170074.4608 | 2630887.9478 | 1170071.6113
42 | 2631261.2367 | 1170269.5274 | 2631267.7459 | 1170275.9646
43 | 2631261.2367 | 1170269.5274 | 2631248.849 | 1170257.2767
44 | 2631267.7459 | 1170275.9646 | 2631278.499 | 1170286.5988 | 2631281.7227 | 1170289.9059
45 | 2631244.3602 | 1170252.8375 | 2631248.849 | 1170257.2767
46 | 2631281.7227 | 1170289.9059 | 2631348.4984 | 1170218.506
47 | 2631239.8398 | 1170248.3671 | 2631244.3602 | 1170252.8375
48 | 2631239.8398 | 1170248.3671 | 2631249.9961 | 1170238.3291
49 | 2631074.5368 | 1170204.1215 | 2631063.602 | 1170217.8054
50 | 2631074.5368 | 1170204.1215 | 2631070.5808 | 1170200.7614
51 | 2631113.621 | 1170210.9395 | 2631115.1642 | 1170209.1927
52 | 2631091.3002 | 1170242.5056 | 2631091.8033 | 1170241.876
53 | 2631205.6064 | 1170214.9247 | 2631213.9951 | 1170222.9859
54 | 2631205.6064 | 1170214.9247 | 2631199.4415 | 1170209.0005
55 | 2630985.9996 | 1170140.6989 | 2630986.3018 | 1170136.9985 | 2630987.799 | 1170133.0042 | 2630991.2876 | 1170127.0969 | 2630993.5413 | 1170123.2843 | 2630996.3032 | 1170118.6073
56 | 2630985.9996 | 1170140.6989 | 2630989.0043 | 1170141.1035 | 2630992.2034 | 1170142.3984 | 2631011.5008 | 1170152.403 | 2631019.4024 | 1170157.2017 | 2631028.7741 | 1170164.5129
57 | 2630866.8416 | 1170044.4368 | 2630882.1723 | 1170064.1701 | 2630885.7751 | 1170068.8132 | 2630887.9478 | 1170071.6113
58 | 2631005.0029 | 1170104.9303 | 2630996.8988 | 1170117.5987 | 2630996.3032 | 1170118.6073
59 | 2631029.5745 | 1170165.1372 | 2631028.7741 | 1170164.5129
60 | 2630941.1211 | 1170223.5749 | 2630947.4014 | 1170228.2896 | 2630948.476 | 1170229.0955 | 2630954.7819 | 1170233.8314
61 | 2631188.6286 | 1170198.294 | 2631193.199 | 1170203.0018 | 2631199.4415 | 1170209.0005
62 | 2631188.6286 | 1170198.294 | 2631187.898 | 1170197.5415
63 | 2631178.3447 | 1170187.5613 | 2631183.1003 | 1170192.5996 | 2631187.898 | 1170197.5415
64 | 2631178.3447 | 1170187.5613 | 2631187.7538 | 1170181.5784
65 | 2631178.3447 | 1170187.5613 | 2631176.2978 | 1170185.4051 | 2631172.9986 | 1170181.297 | 2631169.6506 | 1170175.8286
66 | 2631202.968 | 1170171.9044 | 2631187.7538 | 1170181.5784
67 | 2631169.6506 | 1170175.8286 | 2631168.9019 | 1170174.6057 | 2631166.7004 | 1170169.8029 | 2631165.5011 | 1170165.0053 | 2631163.63 | 1170159.6368
68 | 2631202.968 | 1170171.9044 | 2631203.3072 | 1170171.6887
69 | 2631160.7268 | 1170150.4068 | 2631162.5007 | 1170156.3965 | 2631163.63 | 1170159.6368
70 | 2631232.2394 | 1170164.0064 | 2631231.4984 | 1170164.8031 | 2631228.1975 | 1170168.3989 | 2631224.6998 | 1170165.7016 | 2631219.8039 | 1170164.0976 | 2631217.3037 | 1170163.7956 | 2631215.3037 | 1170164.3966 | 2631212.4038 | 1170165.9046 | 2631203.3072 | 1170171.6887
71 | 2631160.7268 | 1170150.4068 | 2631160.0519 | 1170148.1279
72 | 2631040.9172 | 1170174.8773 | 2631033.7356 | 1170168.4481 | 2631032.0976 | 1170167.1056 | 2631029.5745 | 1170165.1372
73 | 2631040.9172 | 1170174.8773 | 2631053.7467 | 1170186.3681
74 | 2631057.1034 | 1170156.1957 | 2631040.9172 | 1170174.8773
75 | 2631055.7981 | 1170188.2054 | 2631053.7467 | 1170186.3681
76 | 2631055.7981 | 1170188.2054 | 2631070.5808 | 1170200.7614
77 | 2631014.045 | 1170090.7956 | 2631005.0029 | 1170104.9303
78 | 2631014.045 | 1170090.7956 | 2631015.2623 | 1170088.8913
79 | 2631129.997 | 1170192.4022 | 2631115.1642 | 1170209.1927
80 | 2631117.75 | 1170123.4789 | 2631117.0473 | 1170123.8 | 2631114.7021 | 1170123.0986
81 | 2631147.2127 | 1170099.099 | 2631144.3991 | 1170100.1961 | 2631141.4043 | 1170102.3039 | 2631118.8035 | 1170122.9976 | 2631117.75 | 1170123.4789
82 | 2631092.804 | 1170139.605 | 2631100.599 | 1170135.3987 | 2631114.7021 | 1170123.0986 | 2631114.7021 | 1170123.0986
83 | 2631147.2127 | 1170099.099 | 2631146.7702 | 1170094.1371
84 | 2631147.2127 | 1170099.099 | 2631147.8039 | 1170104.6049 | 2631148.3718 | 1170107.082
85 | 2631146.7702 | 1170094.1371 | 2631146.7644 | 1170094.0719
86 | 2631148.3718 | 1170107.082 | 2631150.0036 | 1170114.199 | 2631152.8748 | 1170123.8939
87 | 2631146.7644 | 1170094.0719 | 2631141.5009 | 1170094.0001 | 2631139.0027 | 1170093.298 | 2631132.1656 | 1170090.6955
88 | 2631146.7644 | 1170094.0719 | 2631146.2985 | 1170087.9997 | 2631145.8063 | 1170071.3931
89 | 2631157.8316 | 1170140.6311 | 2631152.8748 | 1170123.8939
90 | 2631117.0106 | 1170084.9269 | 2631132.1656 | 1170090.6955
91 | 2631145.6953 | 1170068.396 | 2631145.8036 | 1170071.2996 | 2631145.8063 | 1170071.3931
92 | 2631157.8316 | 1170140.6311 | 2631160.0519 | 1170148.1279
93 | 2631037.0034 | 1170076.3955 | 2631029.5979 | 1170073.3001 | 2631029.4404 | 1170073.3069
94 | 2631037.0034 | 1170076.3955 | 2631065.6911 | 1170095.0111
95 | 2631015.2623 | 1170088.8913 | 2631022.7995 | 1170077.1003 | 2631024.8012 | 1170074.6983 | 2631027.3021 | 1170073.3994 | 2631029.4404 | 1170073.3069
96 | 2631072.3013 | 1170099.3006 | 2631065.6911 | 1170095.0111
97 | 2631105.397 | 1170080.5064 | 2631117.0106 | 1170084.9269

## bus_geodata
| x | y | coords
0 | 2631030.4919 | 1170329.9594
1 | 2631048.8593 | 1170303.6511
2 | 2631073.0747 | 1170321.2297
3 | 2631027.4137 | 1170287.7193
4 | 2631068.4022 | 1170307.4985
5 | 2631084.9459 | 1170330.0356
6 | 2630999.4797 | 1170266.9665
7 | 2631063.2317 | 1170301.0122
8 | 2631095.1704 | 1170337.6201
9 | 2630974.1093 | 1170248.2213
10 | 2631156.7771 | 1170274.1105
11 | 2631132.0987 | 1170252.8816
12 | 2631169.1575 | 1170284.6747
13 | 2631129.443 | 1170250.5971
14 | 2631183.5907 | 1170296.9182
15 | 2631199.6608 | 1170245.605
16 | 2631152.9765 | 1170305.556
17 | 2631104.1019 | 1170228.7981
18 | 2631197.107 | 1170308.3839
19 | 2631201.9828 | 1170242.581
20 | 2631152.9162 | 1170305.6346
21 | 2631100.4833 | 1170225.8112
22 | 2631091.8653 | 1170241.7984
23 | 2631206.1109 | 1170316.0218
24 | 2631215.7406 | 1170224.6632
25 | 2631003.6265 | 1170223.4124
26 | 2631012.1018 | 1170234.3821
27 | 2630997.5154 | 1170215.7804
28 | 2631021.2489 | 1170246.4346
29 | 2630974.818 | 1170186.3393
30 | 2631023.053 | 1170248.8118
31 | 2630955.9128 | 1170160.6987
32 | 2631038.9176 | 1170269.7156
33 | 2630969.195 | 1170150.2814
34 | 2630890.1607 | 1170074.4608
35 | 2631055.505 | 1170291.3192
36 | 2631261.2367 | 1170269.5274
37 | 2631267.7459 | 1170275.9646
38 | 2631248.849 | 1170257.2767
39 | 2631281.7227 | 1170289.9059
40 | 2631244.3602 | 1170252.8375
41 | 2631348.4984 | 1170218.506
42 | 2631239.8398 | 1170248.3671
43 | 2631249.9961 | 1170238.3291
44 | 2631074.5368 | 1170204.1215
45 | 2631113.621 | 1170210.9395
46 | 2631091.8033 | 1170241.876
47 | 2631213.9951 | 1170222.9859
48 | 2631205.6064 | 1170214.9247
49 | 2630985.9996 | 1170140.6989
50 | 2630887.9478 | 1170071.6113
51 | 2630996.3032 | 1170118.6073
52 | 2631028.7741 | 1170164.5129
53 | 2630941.1211 | 1170223.5749
54 | 2630954.7819 | 1170233.8314
55 | 2630866.8416 | 1170044.4368
56 | 2631199.4415 | 1170209.0005
57 | 2631188.6286 | 1170198.294
58 | 2631187.898 | 1170197.5415
59 | 2631178.3447 | 1170187.5613
60 | 2631187.7538 | 1170181.5784
61 | 2631169.6506 | 1170175.8286
62 | 2631202.968 | 1170171.9044
63 | 2631163.63 | 1170159.6368
64 | 2631203.3072 | 1170171.6887
65 | 2631160.7268 | 1170150.4068
66 | 2631029.5745 | 1170165.1372
67 | 2631040.9172 | 1170174.8773
68 | 2631053.7467 | 1170186.3681
69 | 2631057.1034 | 1170156.1957
70 | 2631055.7981 | 1170188.2054
71 | 2631005.0029 | 1170104.9303
72 | 2631070.5808 | 1170200.7614
73 | 2631014.045 | 1170090.7956
74 | 2631232.2394 | 1170164.0064
75 | 2631091.3002 | 1170242.5056
76 | 2631063.602 | 1170217.8054
77 | 2631115.1642 | 1170209.1927
78 | 2631117.75 | 1170123.4789
79 | 2631114.7021 | 1170123.0986
80 | 2631147.2127 | 1170099.099
81 | 2631092.804 | 1170139.605
82 | 2631146.7702 | 1170094.1371
83 | 2631148.3718 | 1170107.082
84 | 2631146.7644 | 1170094.0719
85 | 2631152.8748 | 1170123.8939
86 | 2631132.1656 | 1170090.6955
87 | 2631145.8063 | 1170071.3931
88 | 2631157.8316 | 1170140.6311
89 | 2631037.0034 | 1170076.3955
90 | 2631029.4404 | 1170073.3069
91 | 2631065.6911 | 1170095.0111
92 | 2631015.2623 | 1170088.8913
93 | 2631072.3013 | 1170099.3006
94 | 2631160.0519 | 1170148.1279
95 | 2631129.997 | 1170192.4022
96 | 2631117.0106 | 1170084.9269
97 | 2631145.6953 | 1170068.396
98 | 2631105.397 | 1170080.5064
99 | 2631063.602 | 1170217.8054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1