## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_593-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_593-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_593-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_593-4_0_5_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_593-4_0_5_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_593-4_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_593-4_0_5_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_593-4_0_5_node_81 | 0.4 | n |  | TRUE
8 | bus_LV_593-4_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_593-4_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_593-4_0_5_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_593-4_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_593-4_0_5_node_116 | 0.4 | n |  | TRUE
13 | bus_LV_593-4_0_5_node_117 | 0.4 | n |  | TRUE
14 | bus_LV_593-4_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_593-4_0_5_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_593-4_0_5_node_113 | 0.4 | n |  | TRUE
17 | bus_LV_593-4_0_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_593-4_0_5_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_593-4_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_593-4_0_5_node_120 | 0.4 | n |  | TRUE
21 | bus_LV_593-4_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_593-4_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_593-4_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_593-4_0_5_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_593-4_0_5_node_96 | 0.4 | n |  | TRUE
26 | bus_LV_593-4_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_593-4_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_593-4_0_5_node_119 | 0.4 | n |  | TRUE
29 | bus_LV_593-4_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_593-4_0_5_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_593-4_0_5_node_114 | 0.4 | n |  | TRUE
32 | bus_LV_593-4_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_593-4_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_593-4_0_5_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_593-4_0_5_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_593-4_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_593-4_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_593-4_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_593-4_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_593-4_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_593-4_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_593-4_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_593-4_0_5_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_593-4_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_593-4_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_593-4_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_593-4_0_5_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_593-4_0_5_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_593-4_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_593-4_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_593-4_0_5_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_593-4_0_5_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_593-4_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_593-4_0_5_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_593-4_0_5_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_593-4_0_5_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_593-4_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_593-4_0_5_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_593-4_0_5_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_593-4_0_5_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_593-4_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_593-4_0_5_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_593-4_0_5_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_593-4_0_5_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_593-4_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_593-4_0_5_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_593-4_0_5_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_593-4_0_5_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_593-4_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_593-4_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_593-4_0_5_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_593-4_0_5_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_593-4_0_5_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_593-4_0_5_node_40 | 0.4 | n |  | TRUE
75 | bus_LV_593-4_0_5_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_593-4_0_5_node_101 | 0.4 | n |  | TRUE
77 | bus_LV_593-4_0_5_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_593-4_0_5_node_100 | 0.4 | n |  | TRUE
79 | bus_LV_593-4_0_5_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_593-4_0_5_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_593-4_0_5_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_593-4_0_5_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_593-4_0_5_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_593-4_0_5_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_593-4_0_5_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_593-4_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_593-4_0_5_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_593-4_0_5_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_593-4_0_5_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_593-4_0_5_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_593-4_0_5_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_593-4_0_5_node_108 | 0.4 | n |  | TRUE
93 | bus_LV_593-4_0_5_node_105 | 0.4 | n |  | TRUE
94 | bus_LV_593-4_0_5_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_593-4_0_5_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_593-4_0_5_node_109 | 0.4 | n |  | TRUE
97 | bus_LV_593-4_0_5_node_103 | 0.4 | n |  | TRUE
98 | bus_LV_593-4_0_5_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_593-4_0_5_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_593-4_0_5_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_593-4_0_5_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_593-4_0_5_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_593-4_0_5_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_593-4_0_5_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_593-4_0_5_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_593-4_0_5_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_593-4_0_5_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_593-4_0_5_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_593-4_0_5_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_593-4_0_5_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_593-4_0_5_node_104 | 0.4 | n |  | TRUE
112 | bus_LV_593-4_0_5_node_106 | 0.4 | n |  | TRUE
113 | bus_LV_593-4_0_5_node_107 | 0.4 | n |  | TRUE
114 | bus_MV_81_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_593-4_0_5_load_0 | 0 | 0.016488 | 0.0041322 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_593-4_0_5_load_58 | 4 | 0.011805 | 0.0029586 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_593-4_0_5_load_81 | 7 | 0.034759 | 0.0087115 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_593-4_0_5_load_63 | 10 | 0.00049538 | 0.00012415 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_593-4_0_5_load_116 | 12 | 0.0016967 | 0.00042523 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_593-4_0_5_load_49 | 15 | 0.0059563 | 0.0014928 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_593-4_0_5_load_113 | 16 | 0.0090431 | 0.0022664 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_593-4_0_5_load_120 | 20 | 0.0046651 | 0.0011692 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_593-4_0_5_load_96 | 25 | 0.00088607 | 0.00022207 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_593-4_0_5_load_119 | 28 | 0.0018565 | 0.00046527 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_593-4_0_5_load_114 | 31 | 0.0010867 | 0.00027235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_593-4_0_5_load_45 | 34 | 0.0026955 | 0.00067557 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_593-4_0_5_load_36 | 39 | 0.0087957 | 0.0022044 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_593-4_0_5_load_44 | 40 | 0.0029025 | 0.00072745 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_593-4_0_5_load_42 | 41 | 0.0031705 | 0.00079459 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_593-4_0_5_load_41 | 42 | 0.00092457 | 0.00023172 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_593-4_0_5_load_35 | 45 | 0.0037711 | 0.00094514 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_593-4_0_5_load_97 | 48 | 0.0021534 | 0.00053969 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_593-4_0_5_load_52 | 50 | 0.001412 | 0.00035389 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_593-4_0_5_load_78 | 52 | 0.016266 | 0.0040766 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_593-4_0_5_load_39 | 53 | 0.0010373 | 0.00025998 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_593-4_0_5_load_60 | 55 | 0.00093826 | 0.00023515 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_593-4_0_5_load_118 | 56 | 0.0010413 | 0.00026098 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_593-4_0_5_load_48 | 57 | 0.0050885 | 0.0012753 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_593-4_0_5_load_71 | 59 | 0.00096637 | 0.00024219 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_593-4_0_5_load_61 | 60 | 0.0031148 | 0.00078065 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_593-4_0_5_load_43 | 61 | 0.0012257 | 0.00030719 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_593-4_0_5_load_110 | 63 | 0.0020152 | 0.00050505 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_593-4_0_5_load_98 | 64 | 0.0011348 | 0.00028441 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_593-4_0_5_load_50 | 65 | 0.0008107 | 0.00020318 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_593-4_0_5_load_66 | 66 | 0.0022881 | 0.00057345 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_593-4_0_5_load_68 | 67 | 0.0067531 | 0.0016925 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_593-4_0_5_load_37 | 68 | 0.0018413 | 0.00046147 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_593-4_0_5_load_65 | 69 | 0.0017713 | 0.00044392 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_593-4_0_5_load_46 | 70 | 0.0028537 | 0.00071521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_593-4_0_5_load_79 | 71 | 0.012503 | 0.0031336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_593-4_0_5_load_80 | 72 | 0.0026726 | 0.00066982 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_593-4_0_5_load_38 | 73 | 0.00039679 | 9.9445e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_593-4_0_5_load_47 | 75 | 0.00030428 | 7.6261e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_593-4_0_5_load_101 | 76 | 0.0010215 | 0.00025602 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_593-4_0_5_load_100 | 78 | 0.00067674 | 0.00016961 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_593-4_0_5_load_51 | 79 | 0.0025544 | 0.0006402 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_593-4_0_5_load_54 | 80 | 0.0014627 | 0.0003666 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_593-4_0_5_load_57 | 82 | 0.0025155 | 0.00063043 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_593-4_0_5_load_69 | 83 | 0.0026619 | 0.00066714 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_593-4_0_5_load_99 | 85 | 0.0026876 | 0.00067357 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_593-4_0_5_load_76 | 87 | 0.00066208 | 0.00016593 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_593-4_0_5_load_94 | 90 | 0.00087229 | 0.00021862 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_593-4_0_5_load_108 | 92 | 0.0020205 | 0.00050638 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_593-4_0_5_load_105 | 93 | 0.0010636 | 0.00026656 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_593-4_0_5_load_92 | 94 | 0.00080717 | 0.0002023 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_593-4_0_5_load_89 | 95 | 0.0020294 | 0.00050862 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_593-4_0_5_load_109 | 96 | 0.0015407 | 0.00038612 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_593-4_0_5_load_82 | 98 | 0.0050805 | 0.0012733 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_593-4_0_5_load_87 | 101 | 0.0013663 | 0.00034242 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_593-4_0_5_load_86 | 102 | 0.0016186 | 0.00040567 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_593-4_0_5_load_90 | 104 | 0.0013574 | 0.00034018 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_593-4_0_5_load_91 | 105 | 0.0043473 | 0.0010895 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_593-4_0_5_load_111 | 107 | 0.00035544 | 8.9083e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_593-4_0_5_load_115 | 109 | 0.0042944 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_593-4_0_5_load_102 | 110 | 0.0012992 | 0.0003256 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_593-4_0_5_load_104 | 111 | 0.00059943 | 0.00015023 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_593-4_0_5_load_106 | 112 | 0.0013868 | 0.00034756 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_593-4_0_5_load_107 | 113 | 0.0012572 | 0.00031508 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_593-4_0_5_line_0 |  | 0 | 1 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_593-4_0_5_line_1 |  | 1 | 2 | 0.020134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_593-4_0_5_line_2 |  | 1 | 3 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_593-4_0_5_line_3 |  | 2 | 4 | 0.029985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_593-4_0_5_line_4 |  | 3 | 16 | 0.034731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_593-4_0_5_line_5 |  | 3 | 17 | 0.13151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_593-4_0_5_line_6 |  | 3 | 18 | 0.028347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_593-4_0_5_line_7 |  | 4 | 54 | 0.035598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_593-4_0_5_line_8 |  | 5 | 6 | 0.22606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_593-4_0_5_line_9 |  | 5 | 7 | 0.022897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_593-4_0_5_line_10 |  | 6 | 18 | 0.053844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_593-4_0_5_line_11 |  | 6 | 14 | 0.15234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_593-4_0_5_line_12 |  | 8 | 9 | 0.021754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_593-4_0_5_line_13 |  | 8 | 10 | 0.008341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_593-4_0_5_line_14 |  | 9 | 11 | 0.027218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_593-4_0_5_line_15 |  | 10 | 46 | 0.0092048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_593-4_0_5_line_16 |  | 11 | 12 | 0.040214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_593-4_0_5_line_17 |  | 11 | 13 | 0.03025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_593-4_0_5_line_18 |  | 13 | 56 | 0.037603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_593-4_0_5_line_19 |  | 13 | 26 | 0.021899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_593-4_0_5_line_20 |  | 14 | 15 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_593-4_0_5_line_21 |  | 15 | 57 | 0.041064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_593-4_0_5_line_22 |  | 17 | 48 | 0.015596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_593-4_0_5_line_23 |  | 17 | 36 | 0.11088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_593-4_0_5_line_24 |  | 18 | 52 | 0.041596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_593-4_0_5_line_25 |  | 19 | 20 | 0.088029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_593-4_0_5_line_26 |  | 19 | 21 | 0.13337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_593-4_0_5_line_27 |  | 19 | 22 | 0.065399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_593-4_0_5_line_28 |  | 20 | 30 | 0.013408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_593-4_0_5_line_29 |  | 21 | 23 | 0.11078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_593-4_0_5_line_30 |  | 21 | 24 | 0.079516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_593-4_0_5_line_31 |  | 21 | 25 | 0.010601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_593-4_0_5_line_32 |  | 22 | 42 | 0.010435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_593-4_0_5_line_33 |  | 23 | 53 | 0.040039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_593-4_0_5_line_34 |  | 24 | 58 | 0.93637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_593-4_0_5_line_35 |  | 24 | 59 | 0.032981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_593-4_0_5_line_36 |  | 25 | 44 | 0.2576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_593-4_0_5_line_37 |  | 26 | 27 | 0.097001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_593-4_0_5_line_38 |  | 26 | 28 | 0.022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_593-4_0_5_line_39 |  | 27 | 31 | 0.008179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_593-4_0_5_line_40 |  | 29 | 30 | 0.035576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_593-4_0_5_line_41 |  | 29 | 31 | 0.014881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_593-4_0_5_line_42 |  | 31 | 35 | 0.052803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_593-4_0_5_line_43 |  | 32 | 33 | 0.056381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_593-4_0_5_line_44 |  | 32 | 34 | 0.014607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_593-4_0_5_line_45 |  | 33 | 40 | 0.02661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_593-4_0_5_line_46 |  | 33 | 41 | 0.0088219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_593-4_0_5_line_47 |  | 34 | 38 | 0.04482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_593-4_0_5_line_48 |  | 35 | 36 | 0.020503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_593-4_0_5_line_49 |  | 36 | 39 | 0.025005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_593-4_0_5_line_50 |  | 37 | 38 | 0.028084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_593-4_0_5_line_51 |  | 37 | 39 | 0.011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_593-4_0_5_line_52 |  | 40 | 60 | 0.010348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_593-4_0_5_line_53 |  | 41 | 61 | 0.0060249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_593-4_0_5_line_54 |  | 43 | 44 | 0.17119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_593-4_0_5_line_55 |  | 43 | 45 | 0.10798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_593-4_0_5_line_56 |  | 46 | 47 | 0.020042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_593-4_0_5_line_57 |  | 47 | 62 | 0.022122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_593-4_0_5_line_58 |  | 47 | 63 | 0.025074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_593-4_0_5_line_59 |  | 48 | 64 | 0.016709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_593-4_0_5_line_60 |  | 49 | 50 | 0.047119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_593-4_0_5_line_61 |  | 49 | 51 | 0.021399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_593-4_0_5_line_62 |  | 50 | 65 | 0.030817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_593-4_0_5_line_63 |  | 51 | 66 | 0.022593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_593-4_0_5_line_64 |  | 53 | 68 | 0.029538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_593-4_0_5_line_65 |  | 54 | 55 | 0.014052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_593-4_0_5_line_66 |  | 58 | 91 | 0.25904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_593-4_0_5_line_67 |  | 58 | 92 | 0.17206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_593-4_0_5_line_68 |  | 60 | 77 | 0.01809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_593-4_0_5_line_69 |  | 62 | 67 | 0.018551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_593-4_0_5_line_70 |  | 62 | 66 | 0.0047849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_593-4_0_5_line_71 |  | 64 | 82 | 0.036995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_593-4_0_5_line_72 |  | 65 | 79 | 0.0292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_593-4_0_5_line_73 |  | 68 | 73 | 0.047845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_593-4_0_5_line_74 |  | 69 | 70 | 0.043624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_593-4_0_5_line_75 |  | 70 | 74 | 0.015314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_593-4_0_5_line_76 |  | 71 | 72 | 0.024487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_593-4_0_5_line_77 |  | 72 | 84 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_593-4_0_5_line_78 |  | 73 | 74 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_593-4_0_5_line_79 |  | 74 | 75 | 0.050465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_593-4_0_5_line_80 |  | 75 | 76 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_593-4_0_5_line_81 |  | 76 | 78 | 0.0089301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_593-4_0_5_line_82 |  | 77 | 83 | 0.02675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_593-4_0_5_line_83 |  | 77 | 84 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_593-4_0_5_line_84 |  | 78 | 87 | 0.02652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_593-4_0_5_line_85 |  | 80 | 81 | 0.034063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_593-4_0_5_line_86 |  | 81 | 82 | 0.0044682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_593-4_0_5_line_87 |  | 83 | 85 | 0.00050504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_593-4_0_5_line_88 |  | 86 | 87 | 0.46802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_593-4_0_5_line_89 |  | 86 | 88 | 0.053229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_593-4_0_5_line_90 |  | 88 | 93 | 0.10737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_593-4_0_5_line_91 |  | 89 | 90 | 0.10086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_593-4_0_5_line_92 |  | 89 | 91 | 0.052139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_593-4_0_5_line_93 |  | 90 | 94 | 0.11541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_593-4_0_5_line_94 |  | 91 | 95 | 0.16774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_593-4_0_5_line_95 |  | 92 | 96 | 0.01728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_593-4_0_5_line_96 |  | 93 | 97 | 0.1684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_593-4_0_5_line_97 |  | 94 | 104 | 0.031429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_593-4_0_5_line_98 |  | 95 | 103 | 0.033476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_593-4_0_5_line_99 |  | 97 | 111 | 0.083526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_593-4_0_5_line_100 |  | 97 | 110 | 0.068643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_593-4_0_5_line_101 |  | 98 | 99 | 0.11595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_593-4_0_5_line_102 |  | 99 | 100 | 0.22598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_593-4_0_5_line_103 |  | 100 | 101 | 0.065103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_593-4_0_5_line_104 |  | 101 | 102 | 0.14026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_593-4_0_5_line_105 |  | 102 | 103 | 0.10947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_593-4_0_5_line_106 |  | 104 | 105 | 0.049811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_593-4_0_5_line_107 |  | 105 | 106 | 0.11097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_593-4_0_5_line_108 |  | 106 | 107 | 0.15113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_593-4_0_5_line_109 |  | 106 | 108 | 0.19396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_593-4_0_5_line_110 |  | 108 | 109 | 0.057954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_593-4_0_5_line_111 |  | 111 | 112 | 0.0075338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_593-4_0_5_line_112 |  | 112 | 113 | 0.025963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_593-4_0_5_trafo_20 | 0.63 MVA 20/0.4 kV | 114 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78
0 | 2628933.202 | 1169829.0051 | 2628929.9626 | 1169828.0224 | 2628918.7503 | 1169825.104
1 | 2628922.3018 | 1169845.9058 | 2628925.7505 | 1169841.5535 | 2628933.202 | 1169829.0051
2 | 2628933.202 | 1169829.0051 | 2628935.3569 | 1169829.5824 | 2628941.661 | 1169831.2692 | 2628953.5904 | 1169834.2281
3 | 2628922.3018 | 1169845.9058 | 2628916.8969 | 1169848.1476 | 2628909.7494 | 1169850.0031 | 2628908.2409 | 1169850.2516 | 2628893.1957 | 1169852.5566
4 | 2628953.5904 | 1169834.2281 | 2628964.736 | 1169801.3316
5 | 2628915.9711 | 1169943.6254 | 2628921.9986 | 1169937.5957 | 2628928.8491 | 1169932.2481 | 2628931.4984 | 1169930.2487 | 2628933.0496 | 1169929.0556 | 2628937.5534 | 1169924.8529 | 2628939.9486 | 1169920.0063 | 2628940.0984 | 1169907.9565 | 2628940.2491 | 1169905.2558 | 2628941.7529 | 1169904.3959 | 2628944.1042 | 1169900.7053 | 2628952.1505 | 1169875.8536 | 2628958.1024 | 1169855.3495 | 2628962.9979 | 1169836.5523 | 2628953.5904 | 1169834.2281
6 | 2628953.5904 | 1169834.2281 | 2628962.9979 | 1169836.5523 | 2628966.9869 | 1169837.5721 | 2628971.6866 | 1169838.7842 | 2628976.6078 | 1169840.0752 | 2628981.1413 | 1169840.8419
7 | 2628866.1632 | 1169865.3573 | 2628865.5003 | 1169861.5966 | 2628865.5488 | 1169859.4513 | 2628865.9537 | 1169857.9969 | 2628866.8536 | 1169857.0007 | 2628868.1498 | 1169856.3511 | 2628879.1142 | 1169854.714 | 2628893.1957 | 1169852.5566
8 | 2629033.7973 | 1169851.9014 | 2629036.0789 | 1169853.1575 | 2629037.5975 | 1169853.9986 | 2629040.8003 | 1169856.2041 | 2629043.7025 | 1169858.8973 | 2629046.3032 | 1169862.2004 | 2629049.1038 | 1169866.9052 | 2629050.775 | 1169870.9931 | 2629057.6025 | 1169870.4481 | 2629071.8036 | 1169870.3499 | 2629074.7869 | 1169870.4755 | 2629075.9191 | 1169870.5255 | 2629080.1493 | 1169870.7016 | 2629087.3293 | 1169871.6368 | 2629087.0988 | 1169867.1 | 2629086.7972 | 1169862.9964 | 2629086.6701 | 1169862.3955 | 2629085.8622 | 1169858.5785 | 2629085.3984 | 1169856.3974 | 2629085.2251 | 1169855.8407 | 2629079.43 | 1169837.4922 | 2629076.6038 | 1169828.5962 | 2629071.1974 | 1169807.4037 | 2629068.6737 | 1169796.0746 | 2629060.8398 | 1169761.0299 | 2629067.2161 | 1169750.9667 | 2629071.5029 | 1169744.2062 | 2629088.1844 | 1169720.1634
9 | 2629088.1844 | 1169720.1634 | 2629107.2942 | 1169732.776
10 | 2628981.1413 | 1169840.8419 | 2628992.3488 | 1169842.7413 | 2628996.7211 | 1169843.6295 | 2629010.5103 | 1169846.4419 | 2629021.2039 | 1169848.6279 | 2629024.3605 | 1169849.3101 | 2629028.5032 | 1169850.1972 | 2629033.7973 | 1169851.9014
11 | 2628955.501 | 1169934.7999 | 2628956.7971 | 1169929.4033 | 2628958.4986 | 1169925.5985 | 2628960.498 | 1169923.4959 | 2628964.8043 | 1169920.604 | 2628971.8984 | 1169917.1031 | 2628979.4019 | 1169914.4045 | 2628980.2072 | 1169914.0082 | 2628980.9204 | 1169913.6559 | 2628993.7071 | 1169906.9807 | 2628996.8753 | 1169905.2618 | 2628997.9033 | 1169904.6998 | 2628999.3025 | 1169903.3058 | 2628999.6995 | 1169901.8959 | 2628999.7375 | 1169898.7834 | 2628999.5983 | 1169897.5043 | 2628999.0827 | 1169896.5235 | 2628997.142 | 1169892.8011 | 2628999.4362 | 1169891.4559 | 2629004.8993 | 1169888.2473 | 2629014.7482 | 1169883.1033 | 2629023.0999 | 1169879.0526 | 2629030.2525 | 1169876.1523 | 2629038.0468 | 1169873.4552 | 2629045.0018 | 1169871.8546 | 2629050.775 | 1169870.9931 | 2629049.1038 | 1169866.9052 | 2629046.3032 | 1169862.2004 | 2629043.7025 | 1169858.8973 | 2629040.8003 | 1169856.2041 | 2629037.5975 | 1169853.9986 | 2629036.0789 | 1169853.1575 | 2629033.7973 | 1169851.9014
12 | 2628721.5481 | 1170123.186 | 2628713.6002 | 1170127.7059 | 2628702.47 | 1170133.7337
13 | 2628702.47 | 1170133.7337 | 2628698.4454 | 1170126.4278
14 | 2628721.5481 | 1170123.186 | 2628739.4993 | 1170113.0999 | 2628741.1037 | 1170111.9959 | 2628745.0634 | 1170109.5024
15 | 2628692.703 | 1170120.2468 | 2628693.8511 | 1170120.1523 | 2628695.3475 | 1170120.8042 | 2628698.4454 | 1170126.4278
16 | 2628745.0634 | 1170109.5024 | 2628730.2025 | 1170089.2988 | 2628720.3035 | 1170077.8013
17 | 2628745.0634 | 1170109.5024 | 2628749.4005 | 1170106.4993 | 2628752.2983 | 1170103.7006 | 2628764.2031 | 1170087.7049 | 2628764.7811 | 1170086.8406
18 | 2628734.2985 | 1170064.7058 | 2628764.7811 | 1170086.8406
19 | 2628777.4677 | 1170068.9699 | 2628764.7811 | 1170086.8406
20 | 2628955.501 | 1169934.7999 | 2628956.0982 | 1169936.3035 | 2628957.3003 | 1169937.6989 | 2628960.4975 | 1169939.5041 | 2628965.0034 | 1169941.2044 | 2628967.1561 | 1169941.775
21 | 2628967.1561 | 1169941.775 | 2628979.6978 | 1169945.0994 | 2628983.8044 | 1169947.098 | 2629004.1513 | 1169958.8996
22 | 2628915.9711 | 1169943.6254 | 2628910.1637 | 1169942.0856 | 2628908.7042 | 1169941.7006 | 2628901.1964 | 1169938.7177
23 | 2628867.4467 | 1170009.2037 | 2628867.4002 | 1170010.9043 | 2628866.4478 | 1170014.8685 | 2628870.901 | 1170013.2001 | 2628879.2015 | 1170008.6042 | 2628882.0037 | 1170006.6055 | 2628885.2034 | 1170003.0969 | 2628888.8038 | 1169997.4002 | 2628892.6017 | 1169992.0045 | 2628894.4022 | 1169989.901 | 2628896.7004 | 1169987.6998 | 2628902.7969 | 1169984.8054 | 2628904.7031 | 1169981.4017 | 2628905.6036 | 1169978.7046 | 2628906.497 | 1169971.105 | 2628900.5594 | 1169963.2169 | 2628902.2493 | 1169961.8465 | 2628903.202 | 1169961.0062 | 2628917.8982 | 1169948.6038 | 2628921.0328 | 1169945.9175 | 2628915.9711 | 1169943.6254
24 | 2628981.1413 | 1169840.8419 | 2628986.1874 | 1169824.1577 | 2628987.6745 | 1169821.9859 | 2628990.5664 | 1169820.4547 | 2628993.1778 | 1169819.9781 | 2629002.5341 | 1169820.2344 | 2629008.7267 | 1169821.0551
25 | 2628859.3736 | 1170181.6421 | 2628874.2021 | 1170151.0976 | 2628878.6995 | 1170141.8033 | 2628885.2026 | 1170127.505 | 2628898.6031 | 1170102.8345
26 | 2628750.904 | 1170200.0989 | 2628751.4037 | 1170199.601 | 2628757.203 | 1170188.4008 | 2628761.1039 | 1170182.2051 | 2628762.3274 | 1170180.7436 | 2628764.4675 | 1170177.9968 | 2628767.9008 | 1170173.5999 | 2628773.2018 | 1170164.1982 | 2628774.0042 | 1170161.2005 | 2628778.2577 | 1170162.8773 | 2628780.6026 | 1170163.7 | 2628797.1035 | 1170167.303 | 2628798.769 | 1170167.789 | 2628806.6 | 1170170.1055 | 2628817.1861 | 1170172.2462 | 2628839.1666 | 1170177.0984 | 2628850.8981 | 1170179.7004 | 2628859.3736 | 1170181.6421
27 | 2628859.3736 | 1170181.6421 | 2628880.2524 | 1170186.4558 | 2628900.9166 | 1170191.3576 | 2628923.0171 | 1170196.6887
28 | 2628898.6031 | 1170102.8345 | 2628894.0983 | 1170100.9008 | 2628886.288 | 1170097.4504
29 | 2628722.103 | 1170184.7979 | 2628727.0976 | 1170183.4989 | 2628736.4024 | 1170179.9971 | 2628745.8037 | 1170175.5064 | 2628750.5989 | 1170172.7056 | 2628758.704 | 1170167.2971 | 2628764.7018 | 1170162.6012 | 2628768.9429 | 1170158.8751 | 2628772.2034 | 1170155.4 | 2628773.3003 | 1170156.4058 | 2628774.0042 | 1170157.9989 | 2628774.0042 | 1170161.2005 | 2628773.2018 | 1170164.1982 | 2628767.9008 | 1170173.5999 | 2628764.4675 | 1170177.9968 | 2628762.3274 | 1170180.7436 | 2628761.1039 | 1170182.2051 | 2628757.203 | 1170188.4008 | 2628751.4037 | 1170199.601 | 2628750.904 | 1170200.0989
30 | 2628681.6983 | 1170234.6974 | 2628701.7996 | 1170227.7008 | 2628707.3033 | 1170223.9029 | 2628710.201 | 1170221.1041 | 2628713.7969 | 1170216.2966 | 2628718.1009 | 1170212.2039 | 2628721.4008 | 1170210.0964 | 2628728.9009 | 1170206.397 | 2628737.5032 | 1170205.8044 | 2628745.7995 | 1170203.5985 | 2628749.0975 | 1170201.9023 | 2628750.904 | 1170200.0989
31 | 2628750.904 | 1170200.0989 | 2628754.7968 | 1170205.1979 | 2628757.665 | 1170208.2462
32 | 2628923.0171 | 1170196.6887 | 2628933.1709 | 1170199.0945
33 | 2628722.103 | 1170184.7979 | 2628720.099 | 1170181.4978 | 2628718.2001 | 1170180.1992 | 2628710.5971 | 1170178.2063 | 2628704.5009 | 1170177.8993 | 2628696.4972 | 1170178.1056 | 2628684.6092 | 1170178.7908
34 | 2628372.3026 | 1170547.6572 | 2628374.8986 | 1170545.5016 | 2628377.8037 | 1170544.3036 | 2628417.2533 | 1170541.7552 | 2628473.5023 | 1170534.5063 | 2628480.2517 | 1170532.5039 | 2628497.7542 | 1170524.7495 | 2628502.0496 | 1170522.3908 | 2628505.5012 | 1170520.5062 | 2628521.4978 | 1170510.8993 | 2628524.9977 | 1170508.5036 | 2628530.0994 | 1170502.3024 | 2628530.5985 | 1170500.3037 | 2628530.4014 | 1170496.701 | 2628529.4014 | 1170494.6063 | 2628525.9998 | 1170492.4001 | 2628524.2043 | 1170491.9025 | 2628510.204 | 1170490.3019 | 2628496.201 | 1170490.9026 | 2628475.754 | 1170488.7491 | 2628477.2498 | 1170471.7475 | 2628477.5033 | 1170456.9967 | 2628476.5004 | 1170437.7488 | 2628467.7395 | 1170418.5864 | 2628465.3639 | 1170411.3492 | 2628465.0628 | 1170408.6798 | 2628473.1729 | 1170403.7156 | 2628485.4432 | 1170397.5038 | 2628501.2668 | 1170388.9411 | 2628515.7645 | 1170382.4953 | 2628545.5748 | 1170373.6544 | 2628567.4722 | 1170365.2763 | 2628588.6603 | 1170359.6852 | 2628595.9971 | 1170359.6978 | 2628612.4373 | 1170359.8983 | 2628621.5608 | 1170362.254 | 2628630.9655 | 1170369.8471 | 2628635.8518 | 1170371.9492 | 2628655.5272 | 1170369.1415 | 2628670.4029 | 1170366.9001 | 2628675.7009 | 1170366.1027 | 2628680.3415 | 1170365.191 | 2628684.8978 | 1170364.3012 | 2628689.097 | 1170362.8983 | 2628704.5028 | 1170357.0021 | 2628725.3975 | 1170347.1968 | 2628733.0012 | 1170344.1982 | 2628743.1014 | 1170342.301 | 2628747.1008 | 1170341.0973 | 2628756.0924 | 1170340.64 | 2628764.1918 | 1170337.9885 | 2628781.0552 | 1170334.4785 | 2628762.0388 | 1170327.4506 | 2628744.5148 | 1170323.5093 | 2628735.5976 | 1170319.598 | 2628735.2002 | 1170317.9064 | 2628735.9982 | 1170315.798 | 2628738.5019 | 1170313.7978 | 2628752.5016 | 1170306.0052 | 2628760.8732 | 1170304.033 | 2628767.0695 | 1170300.9833 | 2628783.853 | 1170295.005 | 2628763.6776 | 1170285.5481 | 2628752.4661 | 1170275.0225 | 2628743.5919 | 1170271.7006 | 2628730.101 | 1170265.8554 | 2628707.1953 | 1170264.1674 | 2628697.9637 | 1170266.7914 | 2628690.7598 | 1170261.332 | 2628679.8484 | 1170260.0348 | 2628672.8018 | 1170255.2988 | 2628664.898 | 1170252.204 | 2628659.104 | 1170249.4973 | 2628654.9994 | 1170247.0987 | 2628653.6021 | 1170244.902 | 2628650.0942 | 1170240.8944 | 2628654.9164 | 1170238.8163 | 2628659.3604 | 1170237.4368 | 2628681.6983 | 1170234.6974
35 | 2628681.6983 | 1170234.6974 | 2628666.1017 | 1170227.5972 | 2628660.6018 | 1170225.8034 | 2628656.0988 | 1170225.1038 | 2628650.6041 | 1170225.4
36 | 2629005.3977 | 1170256.0046 | 2628996.601 | 1170252.5049 | 2628978.3969 | 1170245.2023 | 2628955.8023 | 1170234.4991 | 2628938.8982 | 1170225.7022 | 2628935.4009 | 1170224.2958 | 2628923.6031 | 1170221.2041 | 2628909.1987 | 1170219.2005 | 2628895.8988 | 1170218.2028 | 2628888.0042 | 1170217.9981 | 2628860.5991 | 1170219.6007 | 2628847.8023 | 1170219.0057 | 2628830.2008 | 1170216.798 | 2628824.304 | 1170216.4029 | 2628808.6031 | 1170216.7056 | 2628793.097 | 1170217.8986 | 2628788.3 | 1170217.8979 | 2628778.5036 | 1170217.0061 | 2628773.4044 | 1170216.2036 | 2628767.2025 | 1170214.0061 | 2628762.3032 | 1170211.4036 | 2628758.0015 | 1170208.6038 | 2628757.665 | 1170208.2462
37 | 2628777.4677 | 1170068.9699 | 2628777.7989 | 1170068.5046 | 2628788.6194 | 1170056.8948 | 2628794.4026 | 1170050.6971 | 2628797.9994 | 1170050.5031 | 2628808.8294 | 1170048.0982 | 2628815.2022 | 1170046.6057 | 2628818.3023 | 1170046.2982 | 2628821.1016 | 1170046.5006 | 2628825.1992 | 1170047.1983 | 2628833.3809 | 1170049.7944 | 2628825.4373 | 1170064.5639 | 2628823.2207 | 1170068.9 | 2628828.7018 | 1170071.4609 | 2628831.2591 | 1170072.6515 | 2628832.7706 | 1170073.3591
38 | 2628758.2144 | 1170056.905 | 2628777.4677 | 1170068.9699
39 | 2628832.7706 | 1170073.3591 | 2628840.1984 | 1170076.8298
40 | 2628853.7798 | 1170082.9981 | 2628859.1087 | 1170085.3916 | 2628859.8034 | 1170085.7062 | 2628870.7133 | 1170090.5499 | 2628877.9586 | 1170093.7641 | 2628886.288 | 1170097.4504
41 | 2628853.7798 | 1170082.9981 | 2628840.1984 | 1170076.8298
42 | 2628840.1984 | 1170076.8298 | 2628854.8032 | 1170048.2964 | 2628858.9019 | 1170039.2003 | 2628862.6993 | 1170029.1022
43 | 2628766.9922 | 1169994.0815 | 2628768.2975 | 1169997.9008 | 2628770.0886 | 1170000.9442 | 2628769.8043 | 1170001.1986 | 2628768.2009 | 1170003.7033 | 2628764.2989 | 1170013.3006 | 2628763.804 | 1170015.9997 | 2628763.9991 | 1170018.4018 | 2628764.8976 | 1170020.8963 | 2628766.2006 | 1170023.6039 | 2628767.5998 | 1170025.4004 | 2628771.6998 | 1170028.7995 | 2628775.9982 | 1170030.6988 | 2628782.0989 | 1170031.7063 | 2628787.8974 | 1170031.9008
44 | 2628787.8974 | 1170031.9008 | 2628795.097 | 1170031.9019 | 2628799.0005 | 1170031.5982 | 2628802.4013 | 1170030.803
45 | 2628766.9922 | 1169994.0815 | 2628764.8976 | 1169987.3013 | 2628763.5993 | 1169980.4027 | 2628762.6018 | 1169971.4044 | 2628761.8392 | 1169968.049
46 | 2628766.9922 | 1169994.0815 | 2628758.9418 | 1169997.6892
47 | 2628824.8183 | 1169992.5797 | 2628808.7991 | 1170024.0969 | 2628806.8016 | 1170027.4001 | 2628804.9027 | 1170029.3031 | 2628802.4013 | 1170030.803
48 | 2628862.6993 | 1170029.1022 | 2628863.5523 | 1170025.1376 | 2628866.4478 | 1170014.8685 | 2628867.4002 | 1170010.9043 | 2628867.4467 | 1170009.2037
49 | 2628867.4467 | 1170009.2037 | 2628867.5017 | 1170007.303 | 2628867.003 | 1170004.3991 | 2628865.8037 | 1170002.4034 | 2628859.8025 | 1169998.2058 | 2628850.8638 | 1169992.6863
50 | 2628841.4178 | 1169986.8785 | 2628840.7038 | 1169987.3976 | 2628837.299 | 1169989.0043 | 2628831.5923 | 1169990.3888 | 2628831.8969 | 1169992.3024 | 2628831.5999 | 1169995.2024 | 2628830.5029 | 1169998.9991 | 2628828.5978 | 1169995.7994 | 2628826.3982 | 1169993.3988 | 2628824.8183 | 1169992.5797
51 | 2628841.4178 | 1169986.8785 | 2628843.5997 | 1169988.2008 | 2628850.8638 | 1169992.6863
52 | 2628761.8392 | 1169968.049 | 2628760.6011 | 1169962.6015 | 2628759.0581 | 1169958.0966
53 | 2628753.4438 | 1170000.1531 | 2628758.9418 | 1169997.6892
54 | 2629005.3977 | 1170256.0046 | 2629012.1001 | 1170259.1052 | 2629037.6014 | 1170268.2996 | 2629056.7001 | 1170274.1059 | 2629065.504 | 1170276.105 | 2629072.6 | 1170278.4961 | 2629084.7268 | 1170283.1459 | 2629093.4149 | 1170286.9343 | 2629101.0855 | 1170290.7178 | 2629110.9657 | 1170296.3907 | 2629120.8368 | 1170303.9313 | 2629133.0832 | 1170313.8623 | 2629141.5873 | 1170320.8849 | 2629147.8827 | 1170325.8512 | 2629154.183 | 1170329.7949 | 2629157.0225 | 1170331.1427
55 | 2629157.0225 | 1170331.1427 | 2629159.9764 | 1170332.5466 | 2629165.7749 | 1170334.2756 | 2629171.5824 | 1170334.137 | 2629178.2426 | 1170334.8475 | 2629182.5066 | 1170335.8909 | 2629187.6216 | 1170338.128 | 2629193.2342 | 1170341.9016 | 2629199.7021 | 1170347.5581 | 2629206.5108 | 1170352.3492 | 2629213.4968 | 1170355.2846 | 2629223.2149 | 1170358.0554 | 2629231.2338 | 1170360.9848 | 2629241.1119 | 1170365.4573 | 2629249.7942 | 1170371.9695 | 2629253.1951 | 1170375.0401
56 | 2628679.9616 | 1170104.7671 | 2628687.2538 | 1170114.1955 | 2628692.703 | 1170120.2468
57 | 2628663.1269 | 1170090.8797 | 2628679.5168 | 1170104.9873 | 2628679.9616 | 1170104.7671
58 | 2628679.9616 | 1170104.7671 | 2628684.5027 | 1170102.2985 | 2628690.4001 | 1170097.8021 | 2628699.5969 | 1170092.8991 | 2628701.651 | 1170092.6632
59 | 2628901.1964 | 1169938.7177 | 2628900.4338 | 1169938.4147 | 2628898.151 | 1169937.4032 | 2628886.4937 | 1169930.8122
60 | 2628661.9905 | 1170128.6603 | 2628657.5941 | 1170132.8749 | 2628655.9837 | 1170133.6676 | 2628654.2281 | 1170134.404 | 2628652.0758 | 1170134.9052 | 2628649.596 | 1170135.1046 | 2628647.0347 | 1170134.7366 | 2628644.7586 | 1170133.9365 | 2628643.1037 | 1170132.8058 | 2628628.5978 | 1170116.7063 | 2628625.6164 | 1170114.1047
61 | 2628661.9905 | 1170128.6603 | 2628657.6359 | 1170124.115 | 2628647.237 | 1170113.1599
62 | 2628625.6164 | 1170114.1047 | 2628612.2012 | 1170102.3988 | 2628602.7028 | 1170093.5046
63 | 2628647.237 | 1170113.1599 | 2628659.5018 | 1170095.3981 | 2628660.1326 | 1170094.6119
64 | 2628684.6092 | 1170178.7908 | 2628681 | 1170178.9989 | 2628678.5001 | 1170178.5979 | 2628676.5004 | 1170177.5989 | 2628673.6977 | 1170173.3056 | 2628672.4014 | 1170172.399 | 2628671.859 | 1170172.2296 | 2628670.4992 | 1170171.8007 | 2628658.2627 | 1170169.4887
65 | 2628866.1632 | 1169865.3573 | 2628859.3035 | 1169874.1955 | 2628857.7135 | 1169876.5778
66 | 2628621.535 | 1170611.9929 | 2628620.4512 | 1170611.4541 | 2628612.6559 | 1170608.182 | 2628612.3505 | 1170608.0471 | 2628606.417 | 1170605.7956 | 2628577.1527 | 1170594.9509 | 2628568.3533 | 1170592.0521 | 2628559.8481 | 1170590.0551 | 2628543.5495 | 1170587.5543 | 2628537.9505 | 1170585.749 | 2628524.8482 | 1170580.3508 | 2628515.1484 | 1170576.9475 | 2628502.0534 | 1170573.2502 | 2628497.8508 | 1170570.5512 | 2628490.7512 | 1170567.3492 | 2628482.2492 | 1170564.652 | 2628458.6482 | 1170559.7489 | 2628445.2534 | 1170557.9513 | 2628417.8541 | 1170555.4539 | 2628399.8508 | 1170552.6564 | 2628372.3026 | 1170547.6572
67 | 2628372.3026 | 1170547.6572 | 2628364.3534 | 1170546.1522 | 2628355.4474 | 1170546.3548 | 2628343.7523 | 1170550.7464 | 2628328.9519 | 1170559.848 | 2628320.3494 | 1170563.854 | 2628313.0493 | 1170565.854 | 2628295.851 | 1170567.5517 | 2628267.5525 | 1170567.552 | 2628258.1518 | 1170568.853 | 2628253.0492 | 1170570.4521 | 2628242.453 | 1170575.4493 | 2628219.8475 | 1170588.2498 | 2628210.49 | 1170591.8436
68 | 2628753.5665 | 1169940.879 | 2628754.3004 | 1169944.2064 | 2628759.0581 | 1169958.0966
69 | 2628674.4969 | 1170076.3042 | 2628670.803 | 1170082.4008 | 2628664.0043 | 1170089.8056 | 2628663.1269 | 1170090.8797
70 | 2628663.1269 | 1170090.8797 | 2628660.1326 | 1170094.6119
71 | 2628854.2894 | 1169912.6039 | 2628886.4937 | 1169930.8122
72 | 2628613.7006 | 1170078.3047 | 2628613.7006 | 1170078.3047 | 2628610.404 | 1170076.4992 | 2628608.8992 | 1170076.0029 | 2628607.3991 | 1170076.0958 | 2628603.797 | 1170077.4016 | 2628601.7992 | 1170079.2041 | 2628599.9004 | 1170082.6969 | 2628599.2995 | 1170086.7961 | 2628599.7012 | 1170089.1993 | 2628600.702 | 1170091.105 | 2628602.7028 | 1170093.5046 | 2628602.7028 | 1170093.5046
73 | 2628658.2627 | 1170169.4887 | 2628648.347 | 1170167.6153 | 2628645.0984 | 1170166.9995 | 2628637.6976 | 1170165.897 | 2628630.6001 | 1170165.3963 | 2628624.9006 | 1170165.3025 | 2628619.8038 | 1170165.6006 | 2628618.1567 | 1170166.0597 | 2628616.2031 | 1170166.6062 | 2628613.8008 | 1170168.1956 | 2628612.9618 | 1170169.2699 | 2628612.2999 | 1170170.1005
74 | 2628626.6537 | 1170181.5783 | 2628627.7992 | 1170181.6024 | 2628657.799 | 1170184.6023 | 2628669.9814 | 1170186.4958
75 | 2628611.3625 | 1170182.1912 | 2628611.9979 | 1170182.1053 | 2628623.0026 | 1170181.5017 | 2628626.6537 | 1170181.5783
76 | 2628775.52 | 1169916.0161 | 2628772.0979 | 1169913.598 | 2628763.2987 | 1169908.898 | 2628760.3018 | 1169908.4057 | 2628757.7994 | 1169908.5049 | 2628755.5992 | 1169909.4059 | 2628753.8012 | 1169910.9981 | 2628753.8012 | 1169910.9981
77 | 2628750.2994 | 1169921.698 | 2628750.9014 | 1169917.3987 | 2628753.8012 | 1169910.9981
78 | 2628611.3625 | 1170182.1912 | 2628610.9028 | 1170175.8969 | 2628611.0997 | 1170173.0964 | 2628612.2999 | 1170170.1005
79 | 2628611.3625 | 1170182.1912 | 2628605.1993 | 1170183.0957 | 2628599.3039 | 1170184.0014 | 2628592.6018 | 1170185.6037 | 2628562.57 | 1170194.7034
80 | 2628549.2458 | 1170198.7406 | 2628562.57 | 1170194.7034
81 | 2628549.2458 | 1170198.7406 | 2628546.401 | 1170199.6026 | 2628540.6929 | 1170201.3086
82 | 2628753.5665 | 1169940.879 | 2628748.4995 | 1169941.2994 | 2628744.9976 | 1169940.8047 | 2628741.4982 | 1169939.7985 | 2628731.5015 | 1169935.9043 | 2628728.0913 | 1169934.3218
83 | 2628750.2994 | 1169921.698 | 2628751.0994 | 1169928.8054 | 2628753.1996 | 1169939.1986 | 2628753.5665 | 1169940.879
84 | 2628515.2831 | 1170208.9026 | 2628540.6929 | 1170201.3086
85 | 2628850.3998 | 1169910.4047 | 2628832.894 | 1169899.2262 | 2628829.0033 | 1169896.8508 | 2628826.4403 | 1169895.2154 | 2628821.6643 | 1169892.1158
86 | 2628850.3998 | 1169910.4047 | 2628854.2894 | 1169912.6039
87 | 2628727.6331 | 1169934.1092 | 2628728.0913 | 1169934.3218
88 | 2628095.6988 | 1170288.6044 | 2628099.9005 | 1170271.9043 | 2628102.8014 | 1170256.8991 | 2628105.1994 | 1170248.0058 | 2628106.6977 | 1170245.0001 | 2628109.801 | 1170240.7013 | 2628113.9979 | 1170236.4965 | 2628117.4998 | 1170233.7004 | 2628124.7011 | 1170229.9988 | 2628128.2026 | 1170228.9035 | 2628135.0026 | 1170227.6013 | 2628142.8986 | 1170227.5048 | 2628150.3549 | 1170228.1734 | 2628163.3023 | 1170229.3012 | 2628170.9994 | 1170229.2039 | 2628178.7003 | 1170228.3061 | 2628189.1031 | 1170225.4979 | 2628196.3008 | 1170222.5968 | 2628201.0551 | 1170220.2846 | 2628204.3992 | 1170218.4993 | 2628211.4036 | 1170214.3967 | 2628213.3439 | 1170213.4053 | 2628222.7979 | 1170209.003 | 2628232.3993 | 1170205.8019 | 2628243.2972 | 1170203.4963 | 2628288.6741 | 1170198.5737 | 2628312.5031 | 1170195.9955 | 2628327.303 | 1170195.2982 | 2628340.7996 | 1170196.7958 | 2628348.604 | 1170198.3 | 2628369.4015 | 1170204.2011 | 2628376.3036 | 1170205.601 | 2628404.8976 | 1170209.8048 | 2628438.0979 | 1170213.897 | 2628461.4983 | 1170216.1977 | 2628465.9046 | 1170216.3075 | 2628473.0036 | 1170216.4968 | 2628482.4853 | 1170215.997 | 2628485.7 | 1170215.7009 | 2628492.2997 | 1170214.6983 | 2628495.7612 | 1170213.9921 | 2628500.6012 | 1170213.0034 | 2628509.6022 | 1170210.6004 | 2628515.2831 | 1170208.9026
89 | 2628058.6037 | 1170322.4041 | 2628060.2036 | 1170322.2004 | 2628069.5719 | 1170319.7206 | 2628075.0012 | 1170317.0001 | 2628082.5025 | 1170311.2988 | 2628086.902 | 1170306.3057 | 2628092.1991 | 1170297.5037 | 2628094.7973 | 1170291.6017 | 2628095.6988 | 1170288.6044
90 | 2628058.6037 | 1170322.4041 | 2628056.2 | 1170322.7042 | 2628051.701 | 1170322.8055 | 2628047.5998 | 1170322.8975 | 2628045.5955 | 1170322.8548 | 2628034.9035 | 1170322.1046 | 2628023.5813 | 1170320.2954 | 2628012.4569 | 1170318.7428 | 2628010.4 | 1170318.4997 | 2627999.398 | 1170318.6041 | 2627989.6203 | 1170320.2928 | 2627987.7975 | 1170320.6957 | 2627985.5904 | 1170321.508 | 2627980.2027 | 1170323.5062 | 2627973.0997 | 1170327.4975 | 2627967.5042 | 1170331.3957 | 2627957.7281 | 1170339.9571
91 | 2628638.1973 | 1170578.2549 | 2628641.1001 | 1170577.5461 | 2628648.0535 | 1170577.7015 | 2628657.0999 | 1170576.8997 | 2628667.5027 | 1170577.2495 | 2628675.748 | 1170575.9993 | 2628686.6375 | 1170573.75 | 2628696.5035 | 1170572.7521 | 2628705.2531 | 1170573.2497 | 2628716.6972 | 1170576.606 | 2628728.9028 | 1170577.4981 | 2628732.7972 | 1170577.4055 | 2628737.9715 | 1170576.6295
92 | 2628621.535 | 1170611.9929 | 2628620.4512 | 1170611.4541 | 2628612.6559 | 1170608.182 | 2628612.3505 | 1170608.0471 | 2628616.0531 | 1170604.852 | 2628618.3475 | 1170603.3955 | 2628621.753 | 1170603.156 | 2628624.7038 | 1170602.0028 | 2628626.2525 | 1170598.0971 | 2628626.8995 | 1170593.9536 | 2628629.8032 | 1170588.2534 | 2628630.8986 | 1170586.3465 | 2628635.0019 | 1170580.9522 | 2628638.1973 | 1170578.2549
93 | 2628737.9715 | 1170576.6295 | 2628743.5 | 1170575.8003 | 2628748.1983 | 1170575.6004 | 2628760.4029 | 1170571.9013 | 2628765.1021 | 1170571.5013 | 2628771.0029 | 1170572.5967 | 2628789.5041 | 1170580.0002 | 2628793.6014 | 1170580.6979 | 2628800.5999 | 1170582.599 | 2628813.4041 | 1170584.7059 | 2628819.5998 | 1170586.5031 | 2628831.3994 | 1170590.7063 | 2628843.1625 | 1170592.9305 | 2628849.4258 | 1170594.1723
94 | 2628621.535 | 1170611.9929 | 2628624.3283 | 1170613.3958 | 2628637.7472 | 1170619.7518 | 2628644.6511 | 1170622.2526 | 2628650.7469 | 1170624.1492 | 2628674.248 | 1170629.0526 | 2628680.9511 | 1170631.9527 | 2628685.9505 | 1170635.9564 | 2628689.747 | 1170641.9553 | 2628694.4506 | 1170647.047 | 2628702.2495 | 1170652.7538 | 2628707.8495 | 1170655.9488 | 2628719.0484 | 1170659.3485 | 2628733.7521 | 1170667.3561 | 2628751.5512 | 1170680.748 | 2628757.7512 | 1170686.4472 | 2628762.4476 | 1170694.1711
95 | 2628210.49 | 1170591.8436 | 2628209.9532 | 1170592.0498 | 2628194.2277 | 1170597.6865
96 | 2627812.436 | 1170400.4677 | 2627825.7508 | 1170381.653 | 2627829 | 1170377.1991 | 2627836.404 | 1170369.296 | 2627840.4975 | 1170365.9021 | 2627848.6991 | 1170360.9041 | 2627860.7021 | 1170356.1017 | 2627874.1024 | 1170351.906 | 2627887.2999 | 1170350.1997 | 2627899.5993 | 1170350.8014 | 2627903.0323 | 1170351.2398 | 2627911.2059 | 1170352.3005 | 2627914.3025 | 1170352.7039 | 2627920.0998 | 1170353.0977 | 2627929.5042 | 1170352.6967 | 2627935.0015 | 1170351.7995 | 2627942.2033 | 1170349.5985 | 2627947.9002 | 1170346.9014 | 2627956.404 | 1170341.1046 | 2627957.4026 | 1170340.2421 | 2627957.7281 | 1170339.9571
97 | 2628880.7067 | 1170593.6429 | 2628878.5012 | 1170594.1006 | 2628874.4006 | 1170594.1031 | 2628862.798 | 1170595.1035 | 2628856.8002 | 1170595.097 | 2628849.5979 | 1170594.2064 | 2628849.4258 | 1170594.1723
98 | 2628779.3332 | 1170723.0247 | 2628777.652 | 1170721.049 | 2628763.649 | 1170696.1471 | 2628762.4476 | 1170694.1711
99 | 2627812.436 | 1170400.4677 | 2627807.249 | 1170397.1532 | 2627803.7497 | 1170396.1476 | 2627798.2494 | 1170396.0555 | 2627794.552 | 1170396.5497 | 2627791.6522 | 1170398.2483 | 2627787.4516 | 1170401.6529 | 2627772.0501 | 1170418.4459 | 2627767.2487 | 1170422.7482 | 2627765.2446 | 1170424.3397 | 2627759.071 | 1170429.2249 | 2627752.053 | 1170434.7509 | 2627747.2696 | 1170440.0427
100 | 2627812.436 | 1170400.4677 | 2627809.0481 | 1170405.1545 | 2627804.2477 | 1170412.5472 | 2627793.6648 | 1170431.2412 | 2627792.9473 | 1170432.5496 | 2627779.566 | 1170460.5923
101 | 2628960.3108 | 1170910.6894 | 2628971.0961 | 1170904.5382 | 2628992.2661 | 1170892.8675 | 2629003.3035 | 1170886.8065 | 2629011.1471 | 1170881.5528 | 2629013.0214 | 1170879.9499 | 2629013.7512 | 1170879.3086 | 2629018.7479 | 1170874.2968 | 2629035.7527 | 1170853.9018 | 2629042.7523 | 1170847.599 | 2629048.5987 | 1170844.0476 | 2629052.3167 | 1170842.5731
102 | 2629070.4532 | 1170758.9096 | 2629074.1106 | 1170777.748 | 2629064.3256 | 1170785.7826 | 2629037.9081 | 1170795.6823 | 2629015.1242 | 1170797.7179 | 2629015.6947 | 1170806.3028 | 2628999.9312 | 1170819.9338 | 2629003.2801 | 1170828.232 | 2628989.4397 | 1170847.5974 | 2628996.8933 | 1170855.0038 | 2628999.0074 | 1170862.3733 | 2628993.3444 | 1170867.5598 | 2628970.9826 | 1170888.4183 | 2628960.3108 | 1170910.6894
103 | 2629070.4532 | 1170758.9096 | 2629067.5658 | 1170759.596 | 2629057.2007 | 1170759.4347 | 2629042.0512 | 1170758.3499 | 2629023.4543 | 1170758.2489 | 2629013.547 | 1170758.3457 | 2629005.5473 | 1170759.4521
104 | 2628874.0758 | 1170771.5261 | 2628885.1541 | 1170773.0464 | 2628908.2476 | 1170775.0473 | 2628934.9509 | 1170782.0459 | 2628945.3471 | 1170785.2531 | 2628950.6524 | 1170786.0457 | 2628955.7483 | 1170785.8479 | 2628961.254 | 1170784.7516 | 2628965.9213 | 1170782.9954 | 2628968.4504 | 1170782.0516 | 2628975.8505 | 1170778.352 | 2628994.9499 | 1170764.6481 | 2628999.8532 | 1170761.5479 | 2629005.5473 | 1170759.4521 | 2629005.5473 | 1170759.4521
105 | 2628779.3332 | 1170723.0247 | 2628781.1742 | 1170725.1791 | 2628785.775 | 1170729.3255 | 2628789.4282 | 1170731.6775 | 2628793.6281 | 1170733.2762 | 2628816.1486 | 1170739.9541 | 2628821.2488 | 1170742.0463 | 2628826.3523 | 1170745.05 | 2628830.6487 | 1170748.8503 | 2628840.5785 | 1170760.0148 | 2628844.8306 | 1170763.4925 | 2628848.7145 | 1170765.5677 | 2628860.7538 | 1170769.1495 | 2628868.4497 | 1170770.754 | 2628874.0758 | 1170771.5261
106 | 2628880.7067 | 1170593.6429 | 2628886.1974 | 1170592.5034 | 2628887.9015 | 1170591.2999 | 2628892.0003 | 1170585.3054 | 2628897.2035 | 1170581.9064 | 2628903.0991 | 1170579.3 | 2628911.4993 | 1170574.5046 | 2628914.8019 | 1170568.6064 | 2628916.4157 | 1170563.0753
107 | 2629000.2017 | 1170533.8552 | 2628998.5 | 1170532.9465 | 2628993.9478 | 1170533.0024 | 2628990.9543 | 1170533.4548 | 2628985.9039 | 1170535.2981 | 2628982.6973 | 1170537.1058 | 2628979.3971 | 1170539.3022 | 2628972.752 | 1170545.0064 | 2628964.4994 | 1170547.7459 | 2628960.497 | 1170548.0045 | 2628952.0024 | 1170546.9964 | 2628943.2483 | 1170544.2529 | 2628935.2488 | 1170540.5014 | 2628929.0016 | 1170538.248 | 2628923.7499 | 1170539.0009 | 2628920.2541 | 1170540.4959 | 2628916.7487 | 1170544.0031 | 2628915.2469 | 1170549.2541 | 2628915.5036 | 1170554.7471 | 2628917.1012 | 1170558.201 | 2628916.6999 | 1170562.101 | 2628916.4157 | 1170563.0753
108 | 2629000.2017 | 1170533.8552 | 2629001.8102 | 1170530.2833 | 2629001.0685 | 1170527.0336 | 2628993.2505 | 1170515.7902 | 2628976.3204 | 1170499.8783 | 2628957.0381 | 1170481.4982 | 2628938.8491 | 1170458.4656 | 2628921.9446 | 1170432.382 | 2628916.386 | 1170418.9818 | 2628914.7741 | 1170413.7158
109 | 2629000.2017 | 1170533.8552 | 2629005.9978 | 1170540.7978 | 2629021.8015 | 1170561.7959 | 2629025.7043 | 1170566.3059 | 2629029.6012 | 1170567.303 | 2629033.4011 | 1170566.1985 | 2629035.0971 | 1170565.1062 | 2629037.0998 | 1170560.7025 | 2629038.2987 | 1170556.4061 | 2629040.9507 | 1170547.4476 | 2629042.3535 | 1170545.2977 | 2629044.5542 | 1170544.2523 | 2629047.003 | 1170544.0973 | 2629050.6471 | 1170545.1488 | 2629056.2486 | 1170551.2012 | 2629066.9008 | 1170566.4049 | 2629073.2028 | 1170574.7062 | 2629077.0969 | 1170582.5958 | 2629079.1499 | 1170583.6062 | 2629089.0999 | 1170582.6538 | 2629106.151 | 1170579.8015 | 2629114.3534 | 1170577.9514 | 2629137.1489 | 1170570.5468 | 2629141.363 | 1170567.6546
110 | 2629098.9009 | 1170530.2966 | 2629107.8008 | 1170536.0982 | 2629112.4042 | 1170539.7001 | 2629119.0988 | 1170545.9023 | 2629122.9036 | 1170550.1007 | 2629127.0042 | 1170558.0024 | 2629129.5027 | 1170561.8053 | 2629134.4972 | 1170565.1979 | 2629141.363 | 1170567.6546
111 | 2627742.0524 | 1170445.472 | 2627744.5478 | 1170443.0538 | 2627747.2696 | 1170440.0427
112 | 2627742.0524 | 1170445.472 | 2627741.3509 | 1170446.1518 | 2627737.9711 | 1170449.1155 | 2627733.3478 | 1170452.9517 | 2627723.25 | 1170457.7521 | 2627720.5483 | 1170459.6517

## bus_geodata
| x | y | coords
0 | 2628918.7503 | 1169825.104
1 | 2628933.202 | 1169829.0051
2 | 2628922.3018 | 1169845.9058
3 | 2628953.5904 | 1169834.2281
4 | 2628893.1957 | 1169852.5566
5 | 2629088.1844 | 1169720.1634
6 | 2629033.7973 | 1169851.9014
7 | 2629107.2942 | 1169732.776
8 | 2628702.47 | 1170133.7337
9 | 2628721.5481 | 1170123.186
10 | 2628698.4454 | 1170126.4278
11 | 2628745.0634 | 1170109.5024
12 | 2628720.3035 | 1170077.8013
13 | 2628764.7811 | 1170086.8406
14 | 2628955.501 | 1169934.7999
15 | 2628967.1561 | 1169941.775
16 | 2628964.736 | 1169801.3316
17 | 2628915.9711 | 1169943.6254
18 | 2628981.1413 | 1169840.8419
19 | 2628859.3736 | 1170181.6421
20 | 2628898.6031 | 1170102.8345
21 | 2628750.904 | 1170200.0989
22 | 2628923.0171 | 1170196.6887
23 | 2628722.103 | 1170184.7979
24 | 2628681.6983 | 1170234.6974
25 | 2628757.665 | 1170208.2462
26 | 2628777.4677 | 1170068.9699
27 | 2628832.7706 | 1170073.3591
28 | 2628758.2144 | 1170056.905
29 | 2628853.7798 | 1170082.9981
30 | 2628886.288 | 1170097.4504
31 | 2628840.1984 | 1170076.8298
32 | 2628787.8974 | 1170031.9008
33 | 2628766.9922 | 1169994.0815
34 | 2628802.4013 | 1170030.803
35 | 2628862.6993 | 1170029.1022
36 | 2628867.4467 | 1170009.2037
37 | 2628841.4178 | 1169986.8785
38 | 2628824.8183 | 1169992.5797
39 | 2628850.8638 | 1169992.6863
40 | 2628761.8392 | 1169968.049
41 | 2628758.9418 | 1169997.6892
42 | 2628933.1709 | 1170199.0945
43 | 2629157.0225 | 1170331.1427
44 | 2629005.3977 | 1170256.0046
45 | 2629253.1951 | 1170375.0401
46 | 2628692.703 | 1170120.2468
47 | 2628679.9616 | 1170104.7671
48 | 2628901.1964 | 1169938.7177
49 | 2628661.9905 | 1170128.6603
50 | 2628625.6164 | 1170114.1047
51 | 2628647.237 | 1170113.1599
52 | 2629008.7267 | 1169821.0551
53 | 2628684.6092 | 1170178.7908
54 | 2628866.1632 | 1169865.3573
55 | 2628857.7135 | 1169876.5778
56 | 2628734.2985 | 1170064.7058
57 | 2629004.1513 | 1169958.8996
58 | 2628372.3026 | 1170547.6572
59 | 2628650.6041 | 1170225.4
60 | 2628759.0581 | 1169958.0966
61 | 2628753.4438 | 1170000.1531
62 | 2628663.1269 | 1170090.8797
63 | 2628701.651 | 1170092.6632
64 | 2628886.4937 | 1169930.8122
65 | 2628602.7028 | 1170093.5046
66 | 2628660.1326 | 1170094.6119
67 | 2628674.4969 | 1170076.3042
68 | 2628658.2627 | 1170169.4887
69 | 2628669.9814 | 1170186.4958
70 | 2628626.6537 | 1170181.5783
71 | 2628775.52 | 1169916.0161
72 | 2628753.8012 | 1169910.9981
73 | 2628612.2999 | 1170170.1005
74 | 2628611.3625 | 1170182.1912
75 | 2628562.57 | 1170194.7034
76 | 2628549.2458 | 1170198.7406
77 | 2628753.5665 | 1169940.879
78 | 2628540.6929 | 1170201.3086
79 | 2628613.7006 | 1170078.3047
80 | 2628821.6643 | 1169892.1159
81 | 2628850.3998 | 1169910.4047
82 | 2628854.2894 | 1169912.6039
83 | 2628728.0913 | 1169934.3218
84 | 2628750.2994 | 1169921.698
85 | 2628727.6331 | 1169934.1092
86 | 2628095.6988 | 1170288.6044
87 | 2628515.2831 | 1170208.9026
88 | 2628058.6037 | 1170322.4041
89 | 2628638.1973 | 1170578.2549
90 | 2628737.9715 | 1170576.6295
91 | 2628621.535 | 1170611.9929
92 | 2628210.49 | 1170591.8436
93 | 2627957.7281 | 1170339.9571
94 | 2628849.4258 | 1170594.1723
95 | 2628762.4476 | 1170694.1711
96 | 2628194.2277 | 1170597.6865
97 | 2627812.436 | 1170400.4677
98 | 2629052.3167 | 1170842.5731
99 | 2628960.3108 | 1170910.6894
100 | 2629070.4532 | 1170758.9096
101 | 2629005.5473 | 1170759.4521
102 | 2628874.0758 | 1170771.5261
103 | 2628779.3332 | 1170723.0247
104 | 2628880.7067 | 1170593.6429
105 | 2628916.4157 | 1170563.0753
106 | 2629000.2017 | 1170533.8552
107 | 2628914.7741 | 1170413.7158
108 | 2629141.363 | 1170567.6546
109 | 2629098.9009 | 1170530.2966
110 | 2627779.566 | 1170460.5923
111 | 2627747.2696 | 1170440.0427
112 | 2627742.0524 | 1170445.472
113 | 2627720.5483 | 1170459.6517
114 | 2628866.4478 | 1170014.8685

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1