## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_593-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_593-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_593-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_593-7_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_593-7_0_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_593-7_0_6_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_593-7_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_593-7_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_593-7_0_6_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_593-7_0_6_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_593-7_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_593-7_0_6_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_593-7_0_6_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_593-7_0_6_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_593-7_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_593-7_0_6_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_593-7_0_6_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_593-7_0_6_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_593-7_0_6_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_593-7_0_6_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_593-7_0_6_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_593-7_0_6_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_593-7_0_6_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_593-7_0_6_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_593-7_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_593-7_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_593-7_0_6_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_593-7_0_6_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_593-7_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_593-7_0_6_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_593-7_0_6_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_593-7_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_593-7_0_6_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_593-7_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_593-7_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_593-7_0_6_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_593-7_0_6_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_593-7_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_593-7_0_6_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_593-7_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_593-7_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_593-7_0_6_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_593-7_0_6_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_593-7_0_6_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_593-7_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_593-7_0_6_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_593-7_0_6_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_593-7_0_6_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_593-7_0_6_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_593-7_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_593-7_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_593-7_0_6_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_593-7_0_6_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_593-7_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_593-7_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_593-7_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_593-7_0_6_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_593-7_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_593-7_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_593-7_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_593-7_0_6_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_593-7_0_6_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_593-7_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_593-7_0_6_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_593-7_0_6_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_593-7_0_6_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_593-7_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_593-7_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_593-7_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_593-7_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_593-7_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_593-7_0_6_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_593-7_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_593-7_0_6_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_593-7_0_6_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_593-7_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_593-7_0_6_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_593-7_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_593-7_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_593-7_0_6_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_593-7_0_6_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_593-7_0_6_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_593-7_0_6_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_593-7_0_6_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_593-7_0_6_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_593-7_0_6_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_593-7_0_6_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_593-7_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_593-7_0_6_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_593-7_0_6_node_89 | 0.4 | n |  | TRUE
90 | bus_MV_81_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_593-7_0_6_load_0 | 0 | 0.01284 | 0.0032181 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_593-7_0_6_load_9 | 4 | 0.0094936 | 0.0023793 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_593-7_0_6_load_10 | 5 | 0.001994 | 0.00049974 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_593-7_0_6_load_11 | 6 | 0.0062617 | 0.0015693 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_593-7_0_6_load_29 | 8 | 0.0020726 | 0.00051944 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_593-7_0_6_load_28 | 9 | 0.0037278 | 0.00093428 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_593-7_0_6_load_73 | 11 | 0.0032523 | 0.00081511 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_593-7_0_6_load_12 | 13 | 0.01393 | 0.0034911 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_593-7_0_6_load_13 | 14 | 0.007617 | 0.001909 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_593-7_0_6_load_31 | 15 | 0.016265 | 0.0040764 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_593-7_0_6_load_16 | 16 | 0.036728 | 0.009205 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_593-7_0_6_load_34 | 17 | 0.0029617 | 0.00074228 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_593-7_0_6_load_33 | 18 | 0.052392 | 0.013131 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_593-7_0_6_load_30 | 19 | 0.0044821 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_593-7_0_6_load_54 | 20 | 0.0057125 | 0.0014317 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_593-7_0_6_load_52 | 21 | 0.011465 | 0.0028733 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_593-7_0_6_load_72 | 22 | 0.0026429 | 0.00066238 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_593-7_0_6_load_49 | 23 | 0.0019739 | 0.00049472 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_593-7_0_6_load_15 | 25 | 0.011843 | 0.002968 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_593-7_0_6_load_32 | 26 | 0.0075227 | 0.0018854 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_593-7_0_6_load_81 | 27 | 0.0034202 | 0.00085719 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_593-7_0_6_load_80 | 29 | 0.0032752 | 0.00082083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_593-7_0_6_load_79 | 30 | 0.004107 | 0.0010293 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_593-7_0_6_load_46 | 35 | 0.0039431 | 0.00098823 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_593-7_0_6_load_78 | 36 | 0.0048616 | 0.0012184 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_593-7_0_6_load_93 | 38 | 0.0047215 | 0.0011833 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_593-7_0_6_load_92 | 41 | 0.0014886 | 0.00037308 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_593-7_0_6_load_62 | 43 | 0.0026804 | 0.00067177 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_593-7_0_6_load_59 | 45 | 0.006606 | 0.0016556 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_593-7_0_6_load_95 | 46 | 0.0036407 | 0.00091243 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_593-7_0_6_load_94 | 47 | 0.0064126 | 0.0016072 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_593-7_0_6_load_50 | 50 | 0.0051307 | 0.0012859 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_593-7_0_6_load_47 | 51 | 0.011894 | 0.0029809 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_593-7_0_6_load_58 | 53 | 0.0041883 | 0.0010497 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_593-7_0_6_load_37 | 54 | 0.0067034 | 0.00168 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_593-7_0_6_load_35 | 55 | 0.013363 | 0.0033492 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_593-7_0_6_load_82 | 56 | 0.0069028 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_593-7_0_6_load_38 | 57 | 0.010145 | 0.0025426 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_593-7_0_6_load_39 | 58 | 0.0033067 | 0.00082874 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_593-7_0_6_load_40 | 59 | 0.0067925 | 0.0017024 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_593-7_0_6_load_41 | 60 | 0.0028148 | 0.00070544 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_593-7_0_6_load_42 | 61 | 0.004738 | 0.0011875 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_593-7_0_6_load_43 | 62 | 0.0032868 | 0.00082376 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_593-7_0_6_load_44 | 63 | 0.0044398 | 0.0011127 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_593-7_0_6_load_57 | 67 | 0.0037995 | 0.00095224 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_593-7_0_6_load_53 | 68 | 0.0091977 | 0.0023052 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_593-7_0_6_load_60 | 69 | 0.012992 | 0.003256 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_593-7_0_6_load_61 | 70 | 0.0022818 | 0.00057187 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_593-7_0_6_load_68 | 71 | 0.005207 | 0.001305 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_593-7_0_6_load_67 | 72 | 0.0052069 | 0.001305 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_593-7_0_6_load_55 | 73 | 0.004299 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_593-7_0_6_load_63 | 74 | 0.0068654 | 0.0017206 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_593-7_0_6_load_65 | 76 | 0.0068464 | 0.0017159 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_593-7_0_6_load_66 | 77 | 0.0075976 | 0.0019041 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_593-7_0_6_load_71 | 79 | 0.0068021 | 0.0017048 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_593-7_0_6_load_74 | 80 | 0.0068623 | 0.0017199 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_593-7_0_6_load_75 | 81 | 0.0089274 | 0.0022374 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_593-7_0_6_load_76 | 82 | 0.0068458 | 0.0017157 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_593-7_0_6_load_77 | 83 | 0.0078338 | 0.0019633 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_593-7_0_6_load_87 | 85 | 0.015797 | 0.0039592 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_593-7_0_6_load_85 | 86 | 0.005022 | 0.0012586 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_593-7_0_6_load_91 | 88 | 0.0036282 | 0.00090931 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_593-7_0_6_load_89 | 89 | 0.019932 | 0.0049955 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_593-7_0_6_line_0 |  | 0 | 1 | 0.021239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_593-7_0_6_line_1 |  | 0 | 2 | 0.017275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_593-7_0_6_line_2 |  | 1 | 3 | 0.059739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_593-7_0_6_line_3 |  | 2 | 4 | 0.013719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_593-7_0_6_line_4 |  | 2 | 5 | 0.029352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_593-7_0_6_line_5 |  | 3 | 6 | 0.060974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_593-7_0_6_line_6 |  | 4 | 13 | 0.0048292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_593-7_0_6_line_7 |  | 5 | 14 | 0.0011751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_593-7_0_6_line_8 |  | 7 | 8 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_593-7_0_6_line_9 |  | 7 | 9 | 0.021746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_593-7_0_6_line_10 |  | 8 | 19 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_593-7_0_6_line_11 |  | 10 | 11 | 0.038768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_593-7_0_6_line_12 |  | 10 | 12 | 0.00638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_593-7_0_6_line_13 |  | 12 | 22 | 0.016654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_593-7_0_6_line_14 |  | 12 | 23 | 0.025107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_593-7_0_6_line_15 |  | 13 | 24 | 0.024043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_593-7_0_6_line_16 |  | 14 | 19 | 0.00017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_593-7_0_6_line_17 |  | 15 | 16 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_593-7_0_6_line_18 |  | 16 | 24 | 0.01322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_593-7_0_6_line_19 |  | 17 | 18 | 0.0078162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_593-7_0_6_line_20 |  | 18 | 55 | 0.035268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_593-7_0_6_line_21 |  | 20 | 21 | 0.022336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_593-7_0_6_line_22 |  | 21 | 65 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_593-7_0_6_line_23 |  | 23 | 32 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_593-7_0_6_line_24 |  | 24 | 25 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_593-7_0_6_line_25 |  | 25 | 26 | 0.013467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_593-7_0_6_line_26 |  | 26 | 27 | 0.002506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_593-7_0_6_line_27 |  | 27 | 56 | 0.0004602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_593-7_0_6_line_28 |  | 28 | 29 | 0.016775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_593-7_0_6_line_29 |  | 28 | 30 | 0.0062017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_593-7_0_6_line_30 |  | 29 | 48 | 0.030441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_593-7_0_6_line_31 |  | 30 | 36 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_593-7_0_6_line_32 |  | 31 | 32 | 0.052031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_593-7_0_6_line_33 |  | 31 | 33 | 0.07842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_593-7_0_6_line_34 |  | 31 | 34 | 0.062755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_593-7_0_6_line_35 |  | 31 | 35 | 0.046192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_593-7_0_6_line_36 |  | 32 | 50 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_593-7_0_6_line_37 |  | 33 | 37 | 0.014777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_593-7_0_6_line_38 |  | 33 | 38 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_593-7_0_6_line_39 |  | 34 | 36 | 0.021345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_593-7_0_6_line_40 |  | 35 | 51 | 0.0020325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_593-7_0_6_line_41 |  | 37 | 47 | 0.01752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_593-7_0_6_line_42 |  | 37 | 44 | 0.024406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_593-7_0_6_line_43 |  | 39 | 40 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_593-7_0_6_line_44 |  | 39 | 41 | 0.021571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_593-7_0_6_line_45 |  | 40 | 43 | 0.038539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_593-7_0_6_line_46 |  | 41 | 52 | 0.042214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_593-7_0_6_line_47 |  | 42 | 43 | 0.018611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_593-7_0_6_line_48 |  | 42 | 44 | 0.057529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_593-7_0_6_line_49 |  | 42 | 45 | 0.023305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_593-7_0_6_line_50 |  | 44 | 46 | 0.013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_593-7_0_6_line_51 |  | 45 | 53 | 0.012092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_593-7_0_6_line_52 |  | 48 | 49 | 0.004042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_593-7_0_6_line_53 |  | 49 | 54 | 0.0077536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_593-7_0_6_line_54 |  | 49 | 55 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_593-7_0_6_line_55 |  | 50 | 71 | 0.011823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_593-7_0_6_line_56 |  | 52 | 89 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_593-7_0_6_line_57 |  | 53 | 67 | 0.010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_593-7_0_6_line_58 |  | 54 | 56 | 0.01546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_593-7_0_6_line_59 |  | 57 | 58 | 0.016968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_593-7_0_6_line_60 |  | 57 | 59 | 0.0001015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_593-7_0_6_line_61 |  | 58 | 60 | 0.011102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_593-7_0_6_line_62 |  | 59 | 61 | 0.021735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_593-7_0_6_line_63 |  | 60 | 62 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_593-7_0_6_line_64 |  | 61 | 63 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_593-7_0_6_line_65 |  | 62 | 64 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_593-7_0_6_line_66 |  | 63 | 65 | 0.0012224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_593-7_0_6_line_67 |  | 64 | 66 | 0.001087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_593-7_0_6_line_68 |  | 64 | 67 | 0.014868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_593-7_0_6_line_69 |  | 65 | 68 | 0.024879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_593-7_0_6_line_70 |  | 66 | 69 | 0.039805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_593-7_0_6_line_71 |  | 66 | 70 | 0.022062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_593-7_0_6_line_72 |  | 68 | 73 | 0.004788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_593-7_0_6_line_73 |  | 70 | 74 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_593-7_0_6_line_74 |  | 71 | 72 | 0.011893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_593-7_0_6_line_75 |  | 74 | 75 | 0.0024784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_593-7_0_6_line_76 |  | 75 | 76 | 0.0091641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_593-7_0_6_line_77 |  | 75 | 77 | 0.01829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_593-7_0_6_line_78 |  | 76 | 78 | 0.009448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_593-7_0_6_line_79 |  | 77 | 79 | 0.0018715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_593-7_0_6_line_80 |  | 78 | 80 | 0.013702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_593-7_0_6_line_81 |  | 78 | 81 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_593-7_0_6_line_82 |  | 80 | 82 | 0.012183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_593-7_0_6_line_83 |  | 81 | 83 | 0.043708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_593-7_0_6_line_84 |  | 82 | 84 | 0.017804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_593-7_0_6_line_85 |  | 83 | 85 | 0.035894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_593-7_0_6_line_86 |  | 84 | 86 | 0.018496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_593-7_0_6_line_87 |  | 86 | 87 | 0.058752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_593-7_0_6_line_88 |  | 87 | 88 | 0.040685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_593-7_0_6_trafo_19 | 0.63 MVA 20/0.4 kV | 90 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2631461.2699 | 1170533.0454 | 2631459.4013 | 1170533.4024 | 2631453.7995 | 1170535.1963 | 2631450.4015 | 1170536.9016 | 2631446.5015 | 1170539.5048 | 2631442.584 | 1170542.5537
1 | 2631428.911 | 1170553.1087 | 2631429.8016 | 1170552.502 | 2631442.584 | 1170542.5537
2 | 2631505.4645 | 1170515.8567 | 2631498.6007 | 1170520.501 | 2631496.9026 | 1170521.9039 | 2631496.1002 | 1170523.2004 | 2631495.5006 | 1170525.1982 | 2631495.5988 | 1170526.8996 | 2631496.903 | 1170530.5973 | 2631497.0985 | 1170532.6994 | 2631496.6026 | 1170533.8974 | 2631494.0018 | 1170535.2956 | 2631487.3997 | 1170533.8047 | 2631483.2024 | 1170531.8039 | 2631478.5032 | 1170530.701 | 2631473.9977 | 1170530.5996 | 2631464.5907 | 1170532.9516 | 2631461.2699 | 1170533.0454
3 | 2631428.911 | 1170553.1087 | 2631417.6257 | 1170560.9098
4 | 2631428.911 | 1170553.1087 | 2631419.1009 | 1170538.9057 | 2631417.0987 | 1170535.5713 | 2631412.874 | 1170528.5419
5 | 2631505.4645 | 1170515.8567 | 2631505.802 | 1170518.6044 | 2631510.6993 | 1170540.2967 | 2631512.1017 | 1170548.5972 | 2631512.6037 | 1170555.0032 | 2631512.5008 | 1170568.7986 | 2631512.354 | 1170576.1249
6 | 2631417.6257 | 1170560.9098 | 2631413.6532 | 1170563.6558
7 | 2631412.2687 | 1170527.5347 | 2631412.874 | 1170528.5419
8 | 2631392.2982 | 1170504.4036 | 2631395.1028 | 1170509.3986 | 2631399.7015 | 1170515.1033 | 2631403.6423 | 1170517.5207
9 | 2631392.2982 | 1170504.4036 | 2631394.4989 | 1170504.9042 | 2631397.3995 | 1170504.697 | 2631413.1843 | 1170499.6195
10 | 2631412.1766 | 1170527.3813 | 2631408.3993 | 1170521.0962 | 2631406.7021 | 1170519.3976 | 2631403.6423 | 1170517.5207
11 | 2631263.3074 | 1170683.3015 | 2631259.9005 | 1170688.1974 | 2631249.0973 | 1170700.203 | 2631236.7983 | 1170711.5005
12 | 2631263.3074 | 1170683.3015 | 2631264.8981 | 1170683.3987 | 2631269.7026 | 1170683.357
13 | 2631269.7026 | 1170683.357 | 2631272.2985 | 1170677.0006 | 2631275.8984 | 1170670.3047 | 2631277.0247 | 1170668.4313
14 | 2631269.7026 | 1170683.357 | 2631284.7039 | 1170683.5018 | 2631291.6002 | 1170684.3047 | 2631294.6582 | 1170685.1095
15 | 2631393.8759 | 1170577.3271 | 2631413.6532 | 1170563.6558
16 | 2631412.1766 | 1170527.3813 | 2631412.2687 | 1170527.5347
17 | 2631385.5946 | 1170567.0273 | 2631377.3219 | 1170557.2681
18 | 2631393.8759 | 1170577.3271 | 2631389.3013 | 1170571.4002 | 2631385.5946 | 1170567.0273
19 | 2631442.2006 | 1170577.802 | 2631442.2006 | 1170577.802 | 2631439.85 | 1170570.3476
20 | 2631439.9325 | 1170611.3781 | 2631442.3007 | 1170608.396 | 2631443.6979 | 1170606.0021 | 2631444.6999 | 1170603.1058 | 2631445.1993 | 1170598.306 | 2631445.1031 | 1170593.3029 | 2631444.7043 | 1170589.0987 | 2631442.2006 | 1170577.802
21 | 2631208.9548 | 1170751.2118 | 2631227.7127 | 1170763.3372
22 | 2631240.7996 | 1170771.7967 | 2631227.7127 | 1170763.3372
23 | 2631305.5173 | 1170688.4459 | 2631298.7968 | 1170686.1987 | 2631294.6582 | 1170685.1095
24 | 2631393.8759 | 1170577.3271 | 2631402.6779 | 1170589.0842
25 | 2631402.6779 | 1170589.0842 | 2631410.7486 | 1170599.8645
26 | 2631412.2505 | 1170601.8706 | 2631410.7486 | 1170599.8645
27 | 2631412.2505 | 1170601.8706 | 2631412.5263 | 1170602.239
28 | 2631386.8901 | 1170649.3277 | 2631399.4972 | 1170642.1009 | 2631401.4115 | 1170640.9312
29 | 2631386.8901 | 1170649.3277 | 2631385.7468 | 1170649.9776 | 2631381.5036 | 1170652.4011
30 | 2631427.3873 | 1170625.06 | 2631401.4115 | 1170640.9312
31 | 2631372.9973 | 1170658.1041 | 2631381.5036 | 1170652.4011
32 | 2631305.5173 | 1170688.4459 | 2631315.0019 | 1170691.697 | 2631335.9022 | 1170700.4992 | 2631342.098 | 1170703.5998 | 2631353.0134 | 1170709.7376
33 | 2631388.0987 | 1170773.8869 | 2631385.0219 | 1170762.4539 | 2631381.7014 | 1170750.7972 | 2631372.699 | 1170722.6024 | 2631371.8317 | 1170718.7515 | 2631367.8989 | 1170717.3969 | 2631360.9004 | 1170714.2032 | 2631353.0134 | 1170709.7376
34 | 2631366.6012 | 1170677.2695 | 2631367.3072 | 1170684.1879 | 2631368.6031 | 1170696.8011 | 2631370.7029 | 1170713.6986 | 2631371.8317 | 1170718.7515 | 2631367.8989 | 1170717.3969 | 2631360.9004 | 1170714.2032 | 2631353.0134 | 1170709.7376
35 | 2631353.0134 | 1170709.7376 | 2631349.6995 | 1170714.4005 | 2631345.2002 | 1170719.0016 | 2631319.6288 | 1170741.4647
36 | 2631305.5173 | 1170688.4459 | 2631300.7987 | 1170699.905 | 2631296.8 | 1170706.7989 | 2631292.5006 | 1170711.201 | 2631292.2277 | 1170711.4445
37 | 2631393.6119 | 1170787.5561 | 2631392.7015 | 1170786.1061 | 2631390.2985 | 1170780.4018 | 2631388.3989 | 1170775.0002 | 2631388.0987 | 1170773.8869
38 | 2631365.6786 | 1170786.6432 | 2631386.595 | 1170774.7128 | 2631388.0987 | 1170773.8869
39 | 2631366.6012 | 1170677.2695 | 2631366.2032 | 1170672.8985 | 2631366.4025 | 1170669.898 | 2631366.9001 | 1170666.8991 | 2631367.9011 | 1170664.2029 | 2631369.8997 | 1170660.9005 | 2631372.9973 | 1170658.1041
40 | 2631318.1017 | 1170742.8061 | 2631319.6288 | 1170741.4647
41 | 2631377.6101 | 1170794.4761 | 2631383.8573 | 1170790.6401 | 2631391.4357 | 1170788.234 | 2631393.6119 | 1170787.5561
42 | 2631404.5142 | 1170809.3353 | 2631397.7011 | 1170794.103 | 2631394.4919 | 1170788.9725 | 2631393.6119 | 1170787.5561
43 | 2631391.9221 | 1170892.8681 | 2631380.6829 | 1170896.0666
44 | 2631380.6829 | 1170896.0666 | 2631380.1037 | 1170894.196 | 2631360.7479 | 1170897.3608
45 | 2631391.9221 | 1170892.8681 | 2631383.0977 | 1170865.797 | 2631381.9399 | 1170855.798
46 | 2631355.0033 | 1170928.1048 | 2631348.1993 | 1170899.399 | 2631350.7182 | 1170899.0008 | 2631360.7479 | 1170897.3608
47 | 2631379.8039 | 1170837.3096 | 2631380.4405 | 1170842.8491 | 2631381.9399 | 1170855.798
48 | 2631404.5142 | 1170809.3353 | 2631406.6996 | 1170814.2048 | 2631412.2971 | 1170824.9062 | 2631414.4989 | 1170828.0971 | 2631408.0223 | 1170830.4534 | 2631406.8266 | 1170830.8918 | 2631392.5016 | 1170836.0975 | 2631388.4036 | 1170837.0988 | 2631384.5005 | 1170837.4008 | 2631379.8039 | 1170837.3096
49 | 2631379.8039 | 1170837.3096 | 2631374.0002 | 1170836.8013 | 2631356.7135 | 1170834.215
50 | 2631395.3109 | 1170819.6481 | 2631402.8295 | 1170811.1163 | 2631404.5142 | 1170809.3353
51 | 2631356.7135 | 1170834.215 | 2631352.5969 | 1170833.5991 | 2631344.701 | 1170832.8719
52 | 2631425.4013 | 1170621.5367 | 2631427.3873 | 1170625.06
53 | 2631425.4013 | 1170621.5367 | 2631423.3017 | 1170617.8016 | 2631421.3297 | 1170614.9478
54 | 2631425.4013 | 1170621.5367 | 2631430.2026 | 1170619.205 | 2631435.899 | 1170615.3995 | 2631439.1971 | 1170612.304 | 2631439.9325 | 1170611.3781
55 | 2631283.4052 | 1170719.3157 | 2631292.2277 | 1170711.4445
56 | 2631355.0033 | 1170928.1048 | 2631338.2042 | 1170932.4972 | 2631335.797 | 1170933.4963
57 | 2631334.0002 | 1170831.8864 | 2631344.701 | 1170832.8719
58 | 2631421.3297 | 1170614.9478 | 2631412.8008 | 1170602.6056 | 2631412.5263 | 1170602.239
59 | 2631286.0241 | 1170801.3446 | 2631272.7014 | 1170792.2064 | 2631272.017 | 1170791.7685
60 | 2631272.017 | 1170791.7685 | 2631271.9315 | 1170791.7138
61 | 2631286.0241 | 1170801.3446 | 2631288.2977 | 1170802.9041 | 2631294.859 | 1170808.0606
62 | 2631271.9315 | 1170791.7138 | 2631253.623 | 1170780.0007
63 | 2631294.859 | 1170808.0606 | 2631309.06 | 1170819.2211
64 | 2631241.8293 | 1170772.4555 | 2631253.623 | 1170780.0007
65 | 2631319.1811 | 1170832.2466 | 2631318.8021 | 1170830.0991 | 2631317.6977 | 1170827.7032 | 2631314.499 | 1170823.4955 | 2631309.06 | 1170819.2211
66 | 2631240.7996 | 1170771.7967 | 2631241.8293 | 1170772.4555
67 | 2631318.1017 | 1170832.3966 | 2631319.1811 | 1170832.2466
68 | 2631319.1811 | 1170832.2466 | 2631327.0033 | 1170831.498 | 2631331.9977 | 1170831.7019 | 2631334.0002 | 1170831.8864
69 | 2631240.7996 | 1170771.7967 | 2631239.304 | 1170774.0012 | 2631237.4974 | 1170775.7038 | 2631234.7968 | 1170777.2017 | 2631219.6974 | 1170784.2047
70 | 2631329.1785 | 1170870.6295 | 2631318.1017 | 1170832.3966
71 | 2631318.1017 | 1170832.3966 | 2631309.8002 | 1170834.0987 | 2631296.4505 | 1170836.6294
72 | 2631219.6974 | 1170784.2047 | 2631215.2195 | 1170785.8995
73 | 2631296.4505 | 1170836.6294 | 2631283.5271 | 1170839.0794
74 | 2631274.5309 | 1170727.2331 | 2631283.4052 | 1170719.3157
75 | 2631281.092 | 1170839.541 | 2631283.5271 | 1170839.0794
76 | 2631281.092 | 1170839.541 | 2631272.092 | 1170841.2676
77 | 2631281.092 | 1170839.541 | 2631288.2106 | 1170856.3886
78 | 2631262.8132 | 1170843.0478 | 2631272.092 | 1170841.2676
79 | 2631288.9391 | 1170858.1126 | 2631288.2106 | 1170856.3886
80 | 2631262.8132 | 1170843.0478 | 2631260.9983 | 1170843.4052 | 2631249.3159 | 1170845.4037
81 | 2631262.8132 | 1170843.0478 | 2631267.3747 | 1170855.2424
82 | 2631249.3159 | 1170845.4037 | 2631242.8976 | 1170846.5016 | 2631237.2813 | 1170847.2906
83 | 2631283.3545 | 1170895.0085 | 2631275.9013 | 1170875.5992 | 2631275.1041 | 1170875.9063 | 2631267.3747 | 1170855.2424
84 | 2631219.5337 | 1170846.6693 | 2631230.2006 | 1170847.6029 | 2631235.8009 | 1170847.4986 | 2631237.2813 | 1170847.2906
85 | 2631283.3545 | 1170895.0085 | 2631288.4983 | 1170908.4038 | 2631294.1028 | 1170926.5979 | 2631294.7054 | 1170929.0319
86 | 2631219.5337 | 1170846.6693 | 2631219.3003 | 1170848.9025 | 2631219.5974 | 1170850.605 | 2631223.7026 | 1170859.9978 | 2631225.2041 | 1170863.9965
87 | 2631196.7247 | 1170903.5357 | 2631195.2524 | 1170879.1489 | 2631195.698 | 1170877.3058 | 2631197.1037 | 1170876.2014 | 2631225.2041 | 1170863.9965
88 | 2631196.7247 | 1170903.5357 | 2631227.1018 | 1170902.2038 | 2631231.4975 | 1170901.3039 | 2631236.7971 | 1170898.6968

## bus_geodata
| x | y | coords
0 | 2631442.584 | 1170542.5537
1 | 2631461.2699 | 1170533.0454
2 | 2631428.911 | 1170553.1087
3 | 2631505.4645 | 1170515.8567
4 | 2631417.6257 | 1170560.9098
5 | 2631412.874 | 1170528.5419
6 | 2631512.354 | 1170576.1249
7 | 2631392.2982 | 1170504.4036
8 | 2631403.6423 | 1170517.5207
9 | 2631413.1843 | 1170499.6195
10 | 2631263.3074 | 1170683.3015
11 | 2631236.7983 | 1170711.5005
12 | 2631269.7026 | 1170683.357
13 | 2631413.6532 | 1170563.6558
14 | 2631412.2687 | 1170527.5347
15 | 2631377.3219 | 1170557.2681
16 | 2631385.5946 | 1170567.0273
17 | 2631439.85 | 1170570.3476
18 | 2631442.2006 | 1170577.802
19 | 2631412.1766 | 1170527.3813
20 | 2631208.9548 | 1170751.2118
21 | 2631227.7127 | 1170763.3372
22 | 2631277.0246 | 1170668.4313
23 | 2631294.6582 | 1170685.1095
24 | 2631393.8759 | 1170577.3271
25 | 2631402.6779 | 1170589.0842
26 | 2631410.7486 | 1170599.8645
27 | 2631412.2505 | 1170601.8706
28 | 2631386.8901 | 1170649.3277
29 | 2631401.4115 | 1170640.9312
30 | 2631381.5036 | 1170652.4011
31 | 2631353.0134 | 1170709.7376
32 | 2631305.5173 | 1170688.4459
33 | 2631388.0987 | 1170773.8869
34 | 2631366.6012 | 1170677.2695
35 | 2631319.6288 | 1170741.4647
36 | 2631372.9973 | 1170658.1041
37 | 2631393.6119 | 1170787.5561
38 | 2631365.6786 | 1170786.6432
39 | 2631380.6829 | 1170896.0666
40 | 2631391.9221 | 1170892.8681
41 | 2631360.7479 | 1170897.3608
42 | 2631379.8039 | 1170837.3096
43 | 2631381.9399 | 1170855.798
44 | 2631404.5142 | 1170809.3353
45 | 2631356.7135 | 1170834.215
46 | 2631395.3109 | 1170819.6481
47 | 2631377.6101 | 1170794.4761
48 | 2631427.3873 | 1170625.06
49 | 2631425.4013 | 1170621.5367
50 | 2631292.2277 | 1170711.4445
51 | 2631318.1017 | 1170742.8061
52 | 2631355.0033 | 1170928.1048
53 | 2631344.701 | 1170832.8719
54 | 2631421.3297 | 1170614.9478
55 | 2631439.9325 | 1170611.3781
56 | 2631412.5263 | 1170602.239
57 | 2631272.017 | 1170791.7685
58 | 2631286.0241 | 1170801.3446
59 | 2631271.9315 | 1170791.7138
60 | 2631294.859 | 1170808.0606
61 | 2631253.6229 | 1170780.0007
62 | 2631309.06 | 1170819.2211
63 | 2631241.8293 | 1170772.4555
64 | 2631319.1811 | 1170832.2466
65 | 2631240.7996 | 1170771.7967
66 | 2631318.1017 | 1170832.3966
67 | 2631334.0002 | 1170831.8864
68 | 2631219.6974 | 1170784.2047
69 | 2631329.1785 | 1170870.6295
70 | 2631296.4505 | 1170836.6294
71 | 2631283.4052 | 1170719.3157
72 | 2631274.5309 | 1170727.2331
73 | 2631215.2195 | 1170785.8995
74 | 2631283.5271 | 1170839.0794
75 | 2631281.092 | 1170839.541
76 | 2631272.092 | 1170841.2676
77 | 2631288.2106 | 1170856.3886
78 | 2631262.8132 | 1170843.0478
79 | 2631288.9391 | 1170858.1126
80 | 2631249.3159 | 1170845.4037
81 | 2631267.3747 | 1170855.2424
82 | 2631237.2813 | 1170847.2906
83 | 2631283.3545 | 1170895.0085
84 | 2631219.5337 | 1170846.6693
85 | 2631294.7054 | 1170929.0319
86 | 2631225.2041 | 1170863.9965
87 | 2631196.7247 | 1170903.5357
88 | 2631236.7971 | 1170898.6968
89 | 2631335.797 | 1170933.4963
90 | 2631371.8317 | 1170718.7515

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1