## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_593-8_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_593-8_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_593-8_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_593-8_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_593-8_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_593-8_0_7_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_593-8_0_7_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_593-8_0_7_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_593-8_0_7_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_593-8_0_7_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_593-8_0_7_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_593-8_0_7_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_593-8_0_7_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_593-8_0_7_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_593-8_0_7_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_593-8_0_7_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_593-8_0_7_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_593-8_0_7_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_593-8_0_7_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_593-8_0_7_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_593-8_0_7_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_593-8_0_7_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_593-8_0_7_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_593-8_0_7_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_593-8_0_7_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_593-8_0_7_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_593-8_0_7_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_593-8_0_7_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_593-8_0_7_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_593-8_0_7_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_593-8_0_7_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_593-8_0_7_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_593-8_0_7_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_593-8_0_7_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_593-8_0_7_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_593-8_0_7_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_593-8_0_7_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_593-8_0_7_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_593-8_0_7_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_593-8_0_7_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_593-8_0_7_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_593-8_0_7_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_593-8_0_7_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_593-8_0_7_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_593-8_0_7_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_593-8_0_7_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_593-8_0_7_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_593-8_0_7_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_593-8_0_7_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_593-8_0_7_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_593-8_0_7_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_593-8_0_7_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_593-8_0_7_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_593-8_0_7_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_593-8_0_7_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_593-8_0_7_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_593-8_0_7_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_593-8_0_7_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_593-8_0_7_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_593-8_0_7_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_593-8_0_7_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_593-8_0_7_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_593-8_0_7_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_593-8_0_7_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_593-8_0_7_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_593-8_0_7_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_593-8_0_7_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_593-8_0_7_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_593-8_0_7_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_593-8_0_7_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_593-8_0_7_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_593-8_0_7_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_593-8_0_7_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_593-8_0_7_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_593-8_0_7_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_593-8_0_7_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_593-8_0_7_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_593-8_0_7_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_593-8_0_7_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_593-8_0_7_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_593-8_0_7_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_593-8_0_7_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_593-8_0_7_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_593-8_0_7_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_593-8_0_7_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_593-8_0_7_node_82 | 0.4 | n |  | TRUE
86 | bus_MV_81_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_593-8_0_7_load_0 | 0 | 0.0047318 | 0.0011859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_593-8_0_7_load_1 | 1 | 0.0025941 | 0.00065013 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_593-8_0_7_load_25 | 5 | 0.0018105 | 0.00045374 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_593-8_0_7_load_5 | 6 | 0.0094071 | 0.0023576 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_593-8_0_7_load_7 | 8 | 0.022026 | 0.0055203 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_593-8_0_7_load_23 | 10 | 0.002397 | 0.00060074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_593-8_0_7_load_8 | 12 | 0.0068012 | 0.0017045 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_593-8_0_7_load_9 | 13 | 0.0075747 | 0.0018984 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_593-8_0_7_load_57 | 15 | 0.0087267 | 0.0021871 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_593-8_0_7_load_10 | 17 | 0.029958 | 0.0075083 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_593-8_0_7_load_13 | 18 | 0.0066005 | 0.0016542 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_593-8_0_7_load_28 | 21 | 0.0036604 | 0.00091738 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_593-8_0_7_load_52 | 23 | 0.0077444 | 0.0019409 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_593-8_0_7_load_58 | 24 | 0.015115 | 0.0037882 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_593-8_0_7_load_26 | 25 | 0.0021939 | 0.00054984 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_593-8_0_7_load_29 | 26 | 0.038668 | 0.009691 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_593-8_0_7_load_48 | 27 | 0.0062994 | 0.0015788 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_593-8_0_7_load_18 | 28 | 0.0058252 | 0.0014599 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_593-8_0_7_load_19 | 29 | 0.0065915 | 0.001652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_593-8_0_7_load_56 | 32 | 0.0070044 | 0.0017555 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_593-8_0_7_load_53 | 33 | 0.013531 | 0.0033911 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_593-8_0_7_load_54 | 34 | 0.0040939 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_593-8_0_7_load_22 | 35 | 0.0022192 | 0.00055619 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_593-8_0_7_load_27 | 36 | 0.085634 | 0.021462 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_593-8_0_7_load_30 | 37 | 0.010301 | 0.0025818 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_593-8_0_7_load_32 | 38 | 0.0026446 | 0.00066279 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_593-8_0_7_load_33 | 39 | 0.010302 | 0.002582 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_593-8_0_7_load_34 | 40 | 0.0026399 | 0.00066163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_593-8_0_7_load_35 | 41 | 0.014174 | 0.0035524 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_593-8_0_7_load_36 | 42 | 0.0022479 | 0.00056337 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_593-8_0_7_load_37 | 43 | 0.0031106 | 0.00077958 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_593-8_0_7_load_38 | 44 | 0.0026416 | 0.00066204 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_593-8_0_7_load_39 | 45 | 0.0034467 | 0.00086382 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_593-8_0_7_load_40 | 46 | 0.0023041 | 0.00057746 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_593-8_0_7_load_41 | 47 | 0.0031013 | 0.00077725 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_593-8_0_7_load_42 | 48 | 0.002359 | 0.00059123 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_593-8_0_7_load_43 | 49 | 0.0018084 | 0.00045323 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_593-8_0_7_load_44 | 50 | 0.0016601 | 0.00041605 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_593-8_0_7_load_50 | 51 | 0.0054199 | 0.0013584 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_593-8_0_7_load_51 | 52 | 0.004024 | 0.0010085 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_593-8_0_7_load_45 | 53 | 0.0040048 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_593-8_0_7_load_46 | 54 | 0.0042321 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_593-8_0_7_load_47 | 55 | 0.0035243 | 0.00088328 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_593-8_0_7_load_49 | 56 | 0.0029405 | 0.00073696 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_593-8_0_7_load_76 | 58 | 0.0044874 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_593-8_0_7_load_62 | 59 | 0.0036281 | 0.00090929 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_593-8_0_7_load_60 | 61 | 0.0028212 | 0.00070707 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_593-8_0_7_load_59 | 62 | 0.0029101 | 0.00072934 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_593-8_0_7_load_61 | 63 | 0.003744 | 0.00093835 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_593-8_0_7_load_64 | 65 | 0.003366 | 0.00084359 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_593-8_0_7_load_66 | 67 | 0.0051186 | 0.0012828 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_593-8_0_7_load_67 | 68 | 0.0033909 | 0.00084983 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_593-8_0_7_load_70 | 69 | 0.0042468 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_593-8_0_7_load_68 | 71 | 0.0046018 | 0.0011533 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_593-8_0_7_load_74 | 72 | 0.0043393 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_593-8_0_7_load_75 | 73 | 0.0027941 | 0.00070027 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_593-8_0_7_load_69 | 74 | 0.0060178 | 0.0015082 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_593-8_0_7_load_71 | 75 | 0.0037526 | 0.00094048 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_593-8_0_7_load_78 | 77 | 0.0038085 | 0.00095451 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_593-8_0_7_load_79 | 78 | 0.0023873 | 0.00059831 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_593-8_0_7_load_81 | 79 | 0.0044077 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_593-8_0_7_load_83 | 80 | 0.0061549 | 0.0015426 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_593-8_0_7_load_86 | 81 | 0.0032523 | 0.0008151 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_593-8_0_7_load_84 | 82 | 0.0027067 | 0.00067836 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_593-8_0_7_load_87 | 83 | 0.0011739 | 0.0002942 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_593-8_0_7_load_80 | 84 | 0.003407 | 0.00085387 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_593-8_0_7_load_82 | 85 | 0.0057128 | 0.0014318 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_593-8_0_7_line_0 |  | 0 | 1 | 0.031738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_593-8_0_7_line_1 |  | 0 | 2 | 0.0020325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_593-8_0_7_line_2 |  | 1 | 3 | 0.026086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_593-8_0_7_line_3 |  | 2 | 4 | 0.015605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_593-8_0_7_line_4 |  | 3 | 5 | 0.03655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_593-8_0_7_line_5 |  | 4 | 6 | 0.016305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_593-8_0_7_line_6 |  | 5 | 10 | 0.0075336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_593-8_0_7_line_7 |  | 6 | 11 | 0.019412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_593-8_0_7_line_8 |  | 7 | 8 | 0.017486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_593-8_0_7_line_9 |  | 7 | 9 | 0.013977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_593-8_0_7_line_10 |  | 9 | 19 | 0.029261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_593-8_0_7_line_11 |  | 9 | 20 | 0.032312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_593-8_0_7_line_12 |  | 9 | 17 | 0.011844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_593-8_0_7_line_13 |  | 10 | 35 | 0.0062965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_593-8_0_7_line_14 |  | 11 | 12 | 0.0022089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_593-8_0_7_line_15 |  | 11 | 13 | 0.0088215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_593-8_0_7_line_16 |  | 13 | 14 | 0.030418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_593-8_0_7_line_17 |  | 14 | 15 | 0.007143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_593-8_0_7_line_18 |  | 14 | 16 | 0.012113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_593-8_0_7_line_19 |  | 15 | 24 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_593-8_0_7_line_20 |  | 16 | 18 | 0.048272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_593-8_0_7_line_21 |  | 16 | 17 | 0.021061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_593-8_0_7_line_22 |  | 19 | 21 | 0.0089151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_593-8_0_7_line_23 |  | 20 | 22 | 0.01827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_593-8_0_7_line_24 |  | 20 | 23 | 0.032195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_593-8_0_7_line_25 |  | 21 | 25 | 0.0061503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_593-8_0_7_line_26 |  | 22 | 26 | 0.027341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_593-8_0_7_line_27 |  | 23 | 27 | 0.031904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_593-8_0_7_line_28 |  | 24 | 32 | 0.013569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_593-8_0_7_line_29 |  | 25 | 36 | 0.030169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_593-8_0_7_line_30 |  | 26 | 37 | 0.085291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_593-8_0_7_line_31 |  | 27 | 54 | 0.02172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_593-8_0_7_line_32 |  | 28 | 29 | 0.012135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_593-8_0_7_line_33 |  | 28 | 30 | 0.016328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_593-8_0_7_line_34 |  | 30 | 31 | 0.021965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_593-8_0_7_line_35 |  | 31 | 32 | 0.024613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_593-8_0_7_line_36 |  | 31 | 33 | 0.018922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_593-8_0_7_line_37 |  | 33 | 34 | 0.020408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_593-8_0_7_line_38 |  | 34 | 57 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_593-8_0_7_line_39 |  | 37 | 38 | 0.0086449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_593-8_0_7_line_40 |  | 38 | 39 | 0.035956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_593-8_0_7_line_41 |  | 39 | 40 | 0.0058922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_593-8_0_7_line_42 |  | 40 | 41 | 0.027585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_593-8_0_7_line_43 |  | 42 | 43 | 0.011444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_593-8_0_7_line_44 |  | 42 | 44 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_593-8_0_7_line_45 |  | 43 | 45 | 0.010269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_593-8_0_7_line_46 |  | 44 | 46 | 0.0069319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_593-8_0_7_line_47 |  | 46 | 47 | 0.011718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_593-8_0_7_line_48 |  | 47 | 48 | 0.0057345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_593-8_0_7_line_49 |  | 48 | 49 | 0.013423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_593-8_0_7_line_50 |  | 49 | 50 | 0.0062373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_593-8_0_7_line_51 |  | 50 | 51 | 0.0023499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_593-8_0_7_line_52 |  | 51 | 52 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_593-8_0_7_line_53 |  | 52 | 56 | 0.0037456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_593-8_0_7_line_54 |  | 53 | 54 | 0.025556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_593-8_0_7_line_55 |  | 53 | 55 | 0.009387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_593-8_0_7_line_56 |  | 55 | 56 | 0.013749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_593-8_0_7_line_57 |  | 57 | 58 | 0.009939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_593-8_0_7_line_58 |  | 57 | 59 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_593-8_0_7_line_59 |  | 58 | 60 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_593-8_0_7_line_60 |  | 59 | 61 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_593-8_0_7_line_61 |  | 60 | 78 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_593-8_0_7_line_62 |  | 60 | 76 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_593-8_0_7_line_63 |  | 61 | 62 | 0.021438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_593-8_0_7_line_64 |  | 62 | 63 | 0.0062613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_593-8_0_7_line_65 |  | 63 | 64 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_593-8_0_7_line_66 |  | 64 | 65 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_593-8_0_7_line_67 |  | 66 | 67 | 0.0085169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_593-8_0_7_line_68 |  | 66 | 68 | 0.016237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_593-8_0_7_line_69 |  | 67 | 69 | 0.012869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_593-8_0_7_line_70 |  | 68 | 70 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_593-8_0_7_line_71 |  | 69 | 71 | 0.016104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_593-8_0_7_line_72 |  | 70 | 72 | 0.014822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_593-8_0_7_line_73 |  | 70 | 73 | 0.012874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_593-8_0_7_line_74 |  | 71 | 74 | 0.016108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_593-8_0_7_line_75 |  | 72 | 80 | 0.00318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_593-8_0_7_line_76 |  | 73 | 81 | 0.020031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_593-8_0_7_line_77 |  | 74 | 75 | 0.00013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_593-8_0_7_line_78 |  | 75 | 76 | 0.022147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_593-8_0_7_line_79 |  | 76 | 77 | 0.0074916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_593-8_0_7_line_80 |  | 77 | 79 | 0.0010556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_593-8_0_7_line_81 |  | 78 | 84 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_593-8_0_7_line_82 |  | 79 | 85 | 0.046849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_593-8_0_7_line_83 |  | 80 | 82 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_593-8_0_7_line_84 |  | 81 | 83 | 0.0016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_593-8_0_7_trafo_11 | 0.63 MVA 20/0.4 kV | 86 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2631463.3016 | 1170532.988 | 2631464.5907 | 1170532.9516 | 2631473.9977 | 1170530.5996 | 2631478.5032 | 1170530.701 | 2631483.2024 | 1170531.8039 | 2631487.3997 | 1170533.8047 | 2631494.0018 | 1170535.2956 | 2631494.0018 | 1170535.2956
1 | 2631461.2699 | 1170533.0454 | 2631463.3016 | 1170532.988
2 | 2631505.4645 | 1170515.8567 | 2631498.6007 | 1170520.501 | 2631496.9026 | 1170521.9039 | 2631496.1002 | 1170523.2004 | 2631495.5006 | 1170525.1982 | 2631495.5988 | 1170526.8996 | 2631496.903 | 1170530.5973 | 2631497.0985 | 1170532.6994 | 2631496.6026 | 1170533.8974 | 2631494.0018 | 1170535.2956
3 | 2631451.9638 | 1170520.5013 | 2631461.2699 | 1170533.0454
4 | 2631505.4645 | 1170515.8567 | 2631505.802 | 1170518.6044 | 2631510.6993 | 1170540.2967 | 2631512.1017 | 1170548.5972 | 2631512.3459 | 1170551.7127
5 | 2631451.9638 | 1170520.5013 | 2631451.1115 | 1170518.1624 | 2631443.6035 | 1170506.565
6 | 2631512.5721 | 1170559.2361 | 2631512.6037 | 1170555.0032 | 2631512.3459 | 1170551.7127
7 | 2631433.2873 | 1170490.1214 | 2631440.8283 | 1170502.2782 | 2631443.6035 | 1170506.565
8 | 2631487.5176 | 1170444.0925 | 2631472.5557 | 1170453.1416
9 | 2631477.8172 | 1170441.0958 | 2631482.145 | 1170438.6171 | 2631483.5109 | 1170437.8461 | 2631487.5176 | 1170444.0925
10 | 2631457.5011 | 1170459.3989 | 2631471.4985 | 1170451.2012 | 2631476.2984 | 1170447.7023 | 2631477.4997 | 1170446.1967 | 2631478.0972 | 1170444.599 | 2631477.8172 | 1170441.0958
11 | 2631477.8172 | 1170441.0958 | 2631482.145 | 1170438.6171 | 2631483.5109 | 1170437.8461 | 2631485.6212 | 1170436.6232 | 2631500.3468 | 1170428.1737 | 2631505.8411 | 1170425.012
12 | 2631477.8172 | 1170441.0958 | 2631473.0135 | 1170443.8609 | 2631467.5478 | 1170446.9966
13 | 2631512.5251 | 1170565.5324 | 2631512.5721 | 1170559.2361
14 | 2631433.2873 | 1170490.1214 | 2631431.2706 | 1170491.0225
15 | 2631433.2873 | 1170490.1214 | 2631432.9008 | 1170489.419 | 2631440.2923 | 1170486.3072
16 | 2631438.7739 | 1170463.5587 | 2631448.4195 | 1170482.8857 | 2631440.2923 | 1170486.3072
17 | 2631438.7739 | 1170463.5587 | 2631432.5535 | 1170467.0699
18 | 2631438.7739 | 1170463.5587 | 2631440.3009 | 1170462.6995 | 2631447.3608 | 1170458.5899 | 2631448.1972 | 1170458.1051 | 2631449.2792 | 1170457.4771
19 | 2631432.5535 | 1170467.0699 | 2631422.6434 | 1170472.6639
20 | 2631433.4972 | 1170413.4053 | 2631432.5044 | 1170416.0014 | 2631432.1995 | 1170418.7012 | 2631433.1024 | 1170425.9986 | 2631433.9992 | 1170428.6046 | 2631436.003 | 1170433.1063 | 2631449.2792 | 1170457.4771
21 | 2631449.2792 | 1170457.4771 | 2631467.5478 | 1170446.9966
22 | 2631457.5011 | 1170459.3989 | 2631457.5082 | 1170462.4227 | 2631458.1897 | 1170465.2388 | 2631459.2823 | 1170468.0262
23 | 2631521.7406 | 1170415.9351 | 2631511.98 | 1170421.4979 | 2631505.8411 | 1170425.012
24 | 2631505.8411 | 1170425.012 | 2631505.4995 | 1170424.4988 | 2631498.1991 | 1170419.0022 | 2631496.198 | 1170416.9018 | 2631484.4286 | 1170401.3055
25 | 2631461.5268 | 1170473.7524 | 2631459.2823 | 1170468.0262
26 | 2631521.7406 | 1170415.9351 | 2631524.7872 | 1170421.4539 | 2631534.6669 | 1170440.0269
27 | 2631484.4286 | 1170401.3055 | 2631479.9007 | 1170395.3053 | 2631464.3312 | 1170376.5348
28 | 2631410.8268 | 1170479.3332 | 2631413.1918 | 1170477.9991 | 2631422.6434 | 1170472.6639
29 | 2631461.5268 | 1170473.7524 | 2631472.5368 | 1170501.841
30 | 2631534.6669 | 1170440.0269 | 2631540.4009 | 1170450.8064 | 2631546.5508 | 1170462.6781 | 2631549.6014 | 1170468.8973 | 2631554.8987 | 1170481.3982 | 2631561.2028 | 1170497.4061 | 2631566.801 | 1170513.7995 | 2631568.1053 | 1170518.2941
31 | 2631464.3312 | 1170376.5348 | 2631450.4647 | 1170359.8173
32 | 2631408.0259 | 1170501.2788 | 2631419.5784 | 1170497.5627
33 | 2631392.2982 | 1170504.4036 | 2631394.4989 | 1170504.9042 | 2631397.3995 | 1170504.697 | 2631408.0259 | 1170501.2788
34 | 2631389.3899 | 1170491.4262 | 2631382.9599 | 1170495.0612 | 2631382.1003 | 1170495.5792 | 2631386.6037 | 1170500.5052 | 2631392.2982 | 1170504.4036
35 | 2631389.3899 | 1170491.4262 | 2631410.8268 | 1170479.3332
36 | 2631389.3899 | 1170491.4262 | 2631378.1664 | 1170476.1922
37 | 2631378.1664 | 1170476.1922 | 2631378.1014 | 1170476.1039 | 2631364.534 | 1170461.0066
38 | 2631346.8863 | 1170442.5794 | 2631358.5988 | 1170454.4021 | 2631364.534 | 1170461.0066
39 | 2631568.1053 | 1170518.2941 | 2631570.5147 | 1170526.5965
40 | 2631577.0873 | 1170561.8308 | 2631576.9019 | 1170558.4977 | 2631575.7982 | 1170548.698 | 2631573.9998 | 1170538.6056 | 2631570.5147 | 1170526.5965
41 | 2631577.0873 | 1170561.8308 | 2631577.4145 | 1170567.7139
42 | 2631577.1188 | 1170595.2825 | 2631577.502 | 1170589.9059 | 2631577.5031 | 1170569.3064 | 2631577.4145 | 1170567.7139
43 | 2631377.675 | 1170249.6695 | 2631376.6983 | 1170248.0015 | 2631370.9402 | 1170240.4321
44 | 2631377.675 | 1170249.6695 | 2631379.7998 | 1170253.2982 | 2631385.2364 | 1170264.128
45 | 2631364.365 | 1170232.5581 | 2631367.8003 | 1170236.3046 | 2631370.9402 | 1170240.4321
46 | 2631388.3464 | 1170270.3231 | 2631385.2364 | 1170264.128
47 | 2631388.3464 | 1170270.3231 | 2631393.6035 | 1170280.7955 | 2631393.6035 | 1170280.7955
48 | 2631396.41 | 1170285.7963 | 2631393.6035 | 1170280.7955
49 | 2631396.41 | 1170285.7963 | 2631402.9793 | 1170297.5024
50 | 2631406.0606 | 1170302.9231 | 2631405.8986 | 1170302.7042 | 2631402.9793 | 1170297.5024
51 | 2631407.4592 | 1170304.8115 | 2631406.0606 | 1170302.9231
52 | 2631407.4592 | 1170304.8115 | 2631417.8214 | 1170318.8028
53 | 2631420.0506 | 1170321.8128 | 2631417.8214 | 1170318.8028
54 | 2631434.1489 | 1170340.1471 | 2631450.4647 | 1170359.8173
55 | 2631434.1489 | 1170340.1471 | 2631429.2975 | 1170334.2982 | 2631428.2333 | 1170332.8614
56 | 2631420.0506 | 1170321.8128 | 2631428.2333 | 1170332.8614
57 | 2631346.8863 | 1170442.5794 | 2631353.5252 | 1170435.1829
58 | 2631346.8863 | 1170442.5794 | 2631338.1198 | 1170433.7293
59 | 2631361.9228 | 1170425.827 | 2631353.5252 | 1170435.1829
60 | 2631338.1198 | 1170433.7293 | 2631328.9533 | 1170424.4755
61 | 2631361.9228 | 1170425.827 | 2631355.5003 | 1170419.2012 | 2631354.6663 | 1170418.1262
62 | 2631371.2096 | 1170418.6717 | 2631368.2011 | 1170420.5014 | 2631363.8995 | 1170423.8029 | 2631361.9228 | 1170425.827
63 | 2631313.4799 | 1170409.6407 | 2631315.1018 | 1170411.0977 | 2631326.5968 | 1170422.0965 | 2631328.9533 | 1170424.4755
64 | 2631313.4799 | 1170409.6407 | 2631308.822 | 1170405.4566
65 | 2631296.2225 | 1170394.4909 | 2631307.1975 | 1170403.9973 | 2631308.822 | 1170405.4566
66 | 2631296.2225 | 1170394.4909 | 2631298.5037 | 1170391.3011 | 2631305.2991 | 1170385.0999 | 2631306.0803 | 1170384.2204
67 | 2631335.2856 | 1170352.0613 | 2631338.6037 | 1170356.9033 | 2631340.0157 | 1170359.1424
68 | 2631335.2856 | 1170352.0613 | 2631325.9603 | 1170338.7698
69 | 2631340.0157 | 1170359.1424 | 2631343.9 | 1170365.3019 | 2631346.4227 | 1170370.2869
70 | 2631318.4609 | 1170328.7617 | 2631323.5981 | 1170335.403 | 2631325.9603 | 1170338.7698
71 | 2631354.3753 | 1170384.2826 | 2631353.4493 | 1170382.6495 | 2631348.2997 | 1170373.996 | 2631346.4227 | 1170370.2869
72 | 2631318.4609 | 1170328.7617 | 2631313.1019 | 1170322.0971 | 2631308.7252 | 1170317.6071
73 | 2631318.4609 | 1170328.7617 | 2631325.4999 | 1170322.8064 | 2631328.5075 | 1170320.7319
74 | 2631354.3753 | 1170384.2826 | 2631355.3521 | 1170386.0056 | 2631359.3496 | 1170394.0528 | 2631361.9169 | 1170398.508
75 | 2631306.5055 | 1170315.33 | 2631308.7252 | 1170317.6071
76 | 2631344.9963 | 1170309.3585 | 2631328.5075 | 1170320.7319
77 | 2631361.9169 | 1170398.508 | 2631361.9843 | 1170398.6251
78 | 2631371.2096 | 1170418.6717 | 2631367.0984 | 1170407.5001 | 2631361.9843 | 1170398.6251
79 | 2631371.2096 | 1170418.6717 | 2631373.2972 | 1170417.4042 | 2631377.9785 | 1170415.5119
80 | 2631377.9785 | 1170415.5119 | 2631378.9572 | 1170415.1163
81 | 2631346.5025 | 1170407.6039 | 2631354.6663 | 1170418.1262
82 | 2631378.9572 | 1170415.1163 | 2631392.602 | 1170409.6009 | 2631400.5991 | 1170407.6972 | 2631403.3976 | 1170408.0009 | 2631406.497 | 1170409.2955 | 2631408.9025 | 1170411.5981 | 2631410.3982 | 1170413.7959 | 2631415.8016 | 1170424.229
83 | 2631306.5055 | 1170315.33 | 2631295.0837 | 1170303.6126
84 | 2631344.9963 | 1170309.3585 | 2631346.3762 | 1170308.4067

## bus_geodata
| x | y | coords
0 | 2631463.3016 | 1170532.988
1 | 2631494.0018 | 1170535.2956
2 | 2631461.2699 | 1170533.0454
3 | 2631505.4645 | 1170515.8567
4 | 2631451.9638 | 1170520.5013
5 | 2631512.3459 | 1170551.7127
6 | 2631443.6035 | 1170506.565
7 | 2631487.5176 | 1170444.0925
8 | 2631472.5557 | 1170453.1416
9 | 2631477.8172 | 1170441.0958
10 | 2631512.5721 | 1170559.2361
11 | 2631433.2873 | 1170490.1214
12 | 2631431.2706 | 1170491.0225
13 | 2631440.2923 | 1170486.3072
14 | 2631438.7739 | 1170463.5587
15 | 2631432.5535 | 1170467.0699
16 | 2631449.2792 | 1170457.4771
17 | 2631467.5478 | 1170446.9966
18 | 2631433.4972 | 1170413.4053
19 | 2631457.5011 | 1170459.3989
20 | 2631505.8411 | 1170425.012
21 | 2631459.2823 | 1170468.0262
22 | 2631521.7406 | 1170415.9351
23 | 2631484.4286 | 1170401.3055
24 | 2631422.6434 | 1170472.6639
25 | 2631461.5268 | 1170473.7524
26 | 2631534.6669 | 1170440.0269
27 | 2631464.3312 | 1170376.5348
28 | 2631408.0259 | 1170501.2788
29 | 2631419.5784 | 1170497.5627
30 | 2631392.2982 | 1170504.4036
31 | 2631389.3899 | 1170491.4262
32 | 2631410.8268 | 1170479.3332
33 | 2631378.1664 | 1170476.1922
34 | 2631364.534 | 1170461.0066
35 | 2631512.5251 | 1170565.5324
36 | 2631472.5368 | 1170501.841
37 | 2631568.1053 | 1170518.2941
38 | 2631570.5147 | 1170526.5964
39 | 2631577.0873 | 1170561.8308
40 | 2631577.4145 | 1170567.7139
41 | 2631577.1188 | 1170595.2825
42 | 2631377.675 | 1170249.6695
43 | 2631370.9402 | 1170240.4321
44 | 2631385.2364 | 1170264.128
45 | 2631364.365 | 1170232.5581
46 | 2631388.3464 | 1170270.3231
47 | 2631393.6035 | 1170280.7955
48 | 2631396.41 | 1170285.7963
49 | 2631402.9793 | 1170297.5024
50 | 2631406.0606 | 1170302.9231
51 | 2631407.4592 | 1170304.8115
52 | 2631417.8214 | 1170318.8028
53 | 2631434.1489 | 1170340.1471
54 | 2631450.4647 | 1170359.8173
55 | 2631428.2333 | 1170332.8614
56 | 2631420.0506 | 1170321.8128
57 | 2631346.8863 | 1170442.5794
58 | 2631353.5252 | 1170435.1829
59 | 2631338.1198 | 1170433.7293
60 | 2631361.9228 | 1170425.827
61 | 2631328.9533 | 1170424.4755
62 | 2631313.4799 | 1170409.6407
63 | 2631308.822 | 1170405.4566
64 | 2631296.2225 | 1170394.4909
65 | 2631306.0803 | 1170384.2204
66 | 2631335.2856 | 1170352.0613
67 | 2631340.0157 | 1170359.1424
68 | 2631325.9603 | 1170338.7698
69 | 2631346.4227 | 1170370.2869
70 | 2631318.4609 | 1170328.7617
71 | 2631354.3753 | 1170384.2826
72 | 2631308.7252 | 1170317.6071
73 | 2631328.5075 | 1170320.7319
74 | 2631361.9169 | 1170398.508
75 | 2631361.9843 | 1170398.6251
76 | 2631371.2096 | 1170418.6717
77 | 2631377.9785 | 1170415.5119
78 | 2631354.6663 | 1170418.1262
79 | 2631378.9572 | 1170415.1163
80 | 2631306.5055 | 1170315.33
81 | 2631344.9963 | 1170309.3585
82 | 2631295.0837 | 1170303.6126
83 | 2631346.3762 | 1170308.4067
84 | 2631346.5025 | 1170407.6039
85 | 2631415.8016 | 1170424.229
86 | 2631438.7739 | 1170463.5587

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1