## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6002-18_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6002-18_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6002-18_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6002-18_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6002-18_0_6_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_6002-18_0_6_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_6002-18_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6002-18_0_6_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_6002-18_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6002-18_0_6_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_6002-18_0_6_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_6002-18_0_6_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_6002-18_0_6_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_6002-18_0_6_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_6002-18_0_6_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_6002-18_0_6_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_6002-18_0_6_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_6002-18_0_6_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6002-18_0_6_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_6002-18_0_6_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_6002-18_0_6_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_6002-18_0_6_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_6002-18_0_6_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_6002-18_0_6_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_6002-18_0_6_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_6002-18_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6002-18_0_6_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_6002-18_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6002-18_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6002-18_0_6_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_6002-18_0_6_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_6002-18_0_6_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6002-18_0_6_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_6002-18_0_6_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_6002-18_0_6_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_6002-18_0_6_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_6002-18_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_6002-18_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6002-18_0_6_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_6002-18_0_6_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_6002-18_0_6_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_6002-18_0_6_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_6002-18_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6002-18_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_6002-18_0_6_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_6002-18_0_6_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_6002-18_0_6_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_6002-18_0_6_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_6002-18_0_6_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_6002-18_0_6_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_6002-18_0_6_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_6002-18_0_6_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6002-18_0_6_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_6002-18_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_MV_85_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6002-18_0_6_load_0 | 0 | 0.0026766 | 0.00067081 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6002-18_0_6_load_8 | 4 | 0.015922 | 0.0039905 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6002-18_0_6_load_42 | 5 | 0.052412 | 0.013136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6002-18_0_6_load_60 | 9 | 0.031767 | 0.0079615 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6002-18_0_6_load_49 | 12 | 0.0084038 | 0.0021062 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6002-18_0_6_load_46 | 13 | 0.015307 | 0.0038363 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6002-18_0_6_load_43 | 14 | 0.0080755 | 0.0020239 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6002-18_0_6_load_59 | 16 | 0.065623 | 0.016447 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6002-18_0_6_load_45 | 20 | 0.0066213 | 0.0016595 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6002-18_0_6_load_28 | 21 | 0.010379 | 0.0026012 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6002-18_0_6_load_54 | 23 | 0.0031879 | 0.00079897 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6002-18_0_6_load_38 | 24 | 0.0045931 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6002-18_0_6_load_9 | 26 | 0.003034 | 0.0007604 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6002-18_0_6_load_18 | 28 | 0.0015495 | 0.00038835 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6002-18_0_6_load_12 | 29 | 0.0017437 | 0.00043702 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6002-18_0_6_load_15 | 31 | 0.0024172 | 0.0006058 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6002-18_0_6_load_16 | 32 | 0.025928 | 0.0064983 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6002-18_0_6_load_40 | 34 | 0.033056 | 0.0082846 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6002-18_0_6_load_41 | 35 | 0.057207 | 0.014337 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6002-18_0_6_load_19 | 36 | 0.00073805 | 0.00018497 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6002-18_0_6_load_21 | 37 | 0.00086844 | 0.00021765 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6002-18_0_6_load_55 | 38 | 0.0007926 | 0.00019864 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6002-18_0_6_load_56 | 39 | 0.0012782 | 0.00032036 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6002-18_0_6_load_22 | 40 | 0.011257 | 0.0028213 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6002-18_0_6_load_24 | 42 | 0.060482 | 0.015158 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6002-18_0_6_load_26 | 43 | 0.039933 | 0.010008 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6002-18_0_6_load_27 | 44 | 0.0076265 | 0.0019114 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6002-18_0_6_load_48 | 47 | 0.045417 | 0.011383 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6002-18_0_6_load_52 | 48 | 0.022499 | 0.0056387 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6002-18_0_6_load_57 | 49 | 0.0072329 | 0.0018127 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6002-18_0_6_load_47 | 50 | 0.01203 | 0.0030151 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6002-18_0_6_load_51 | 51 | 0.0076004 | 0.0019048 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6002-18_0_6_load_53 | 52 | 0.004123 | 0.0010333 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6002-18_0_6_load_58 | 53 | 0.0020312 | 0.00050907 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6002-18_0_6_line_0 |  | 0 | 1 | 0.035509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6002-18_0_6_line_1 |  | 0 | 2 | 0.0099653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6002-18_0_6_line_2 |  | 1 | 3 | 0.029981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6002-18_0_6_line_3 |  | 2 | 4 | 0.0087856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6002-18_0_6_line_4 |  | 3 | 5 | 0.049727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6002-18_0_6_line_5 |  | 5 | 6 | 0.035073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6002-18_0_6_line_6 |  | 6 | 7 | 0.045464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6002-18_0_6_line_7 |  | 7 | 14 | 0.0076819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6002-18_0_6_line_8 |  | 7 | 15 | 0.084512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6002-18_0_6_line_9 |  | 7 | 11 | 0.11284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6002-18_0_6_line_10 |  | 8 | 9 | 0.062782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6002-18_0_6_line_11 |  | 8 | 10 | 0.13922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6002-18_0_6_line_12 |  | 10 | 21 | 0.0035566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6002-18_0_6_line_13 |  | 11 | 12 | 0.058319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6002-18_0_6_line_14 |  | 11 | 13 | 0.036495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6002-18_0_6_line_15 |  | 12 | 51 | 0.011063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6002-18_0_6_line_16 |  | 13 | 50 | 0.043079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6002-18_0_6_line_17 |  | 14 | 19 | 0.017038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6002-18_0_6_line_18 |  | 15 | 16 | 0.04925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6002-18_0_6_line_19 |  | 15 | 17 | 0.050926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6002-18_0_6_line_20 |  | 17 | 22 | 0.29888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6002-18_0_6_line_21 |  | 17 | 21 | 0.03887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6002-18_0_6_line_22 |  | 18 | 19 | 0.01826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6002-18_0_6_line_23 |  | 18 | 20 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6002-18_0_6_line_24 |  | 22 | 23 | 0.13631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6002-18_0_6_line_25 |  | 24 | 25 | 0.058764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6002-18_0_6_line_26 |  | 25 | 32 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6002-18_0_6_line_27 |  | 26 | 27 | 0.099091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6002-18_0_6_line_28 |  | 27 | 28 | 0.23809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6002-18_0_6_line_29 |  | 28 | 36 | 0.1212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6002-18_0_6_line_30 |  | 29 | 30 | 0.0085974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6002-18_0_6_line_31 |  | 30 | 31 | 0.10577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6002-18_0_6_line_32 |  | 30 | 32 | 0.025773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6002-18_0_6_line_33 |  | 31 | 33 | 0.019217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6002-18_0_6_line_34 |  | 33 | 34 | 0.064527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6002-18_0_6_line_35 |  | 33 | 35 | 0.03692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6002-18_0_6_line_36 |  | 34 | 44 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6002-18_0_6_line_37 |  | 35 | 52 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6002-18_0_6_line_38 |  | 36 | 37 | 0.0042274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6002-18_0_6_line_39 |  | 37 | 38 | 0.030126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6002-18_0_6_line_40 |  | 38 | 39 | 0.0009967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6002-18_0_6_line_41 |  | 39 | 53 | 0.092837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6002-18_0_6_line_42 |  | 40 | 41 | 0.055716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6002-18_0_6_line_43 |  | 40 | 42 | 0.095053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6002-18_0_6_line_44 |  | 41 | 43 | 0.035691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6002-18_0_6_line_45 |  | 41 | 44 | 0.038665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6002-18_0_6_line_46 |  | 43 | 48 | 0.032291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6002-18_0_6_line_47 |  | 45 | 46 | 0.1392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6002-18_0_6_line_48 |  | 45 | 47 | 0.065472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6002-18_0_6_line_49 |  | 46 | 49 | 0.038662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6002-18_0_6_line_50 |  | 47 | 50 | 0.1079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6002-18_0_6_line_51 |  | 48 | 51 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6002-18_0_6_line_52 |  | 49 | 53 | 0.082627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6002-18_0_6_trafo_36 | 0.63 MVA 20/0.4 kV | 54 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2640377.4589 | 1128556.0603 | 2640373.2578 | 1128582.9682 | 2640365.0809 | 1128581.6982
1 | 2640355.2336 | 1128580.1688 | 2640365.0809 | 1128581.6982
2 | 2640377.4589 | 1128556.0603 | 2640379.0203 | 1128546.0434 | 2640397.2028 | 1128553.991
3 | 2640355.2336 | 1128580.1688 | 2640346.5515 | 1128578.8241
4 | 2640397.2028 | 1128553.991 | 2640442.7661 | 1128573.9109
5 | 2640474.9022 | 1128587.9606 | 2640442.7661 | 1128573.9109
6 | 2640474.9022 | 1128587.9606 | 2640501.2653 | 1128599.4873 | 2640514.9374 | 1128609.0614
7 | 2640514.9374 | 1128609.0614 | 2640521.4119 | 1128613.1957
8 | 2640495.0442 | 1128540.2266 | 2640498.3502 | 1128548.1305 | 2640502.9535 | 1128556.7546 | 2640507.9861 | 1128563.3805 | 2640513.7239 | 1128568.2436 | 2640501.2653 | 1128599.4873 | 2640514.9374 | 1128609.0614
9 | 2640471.7941 | 1128689.8139 | 2640473.3733 | 1128670.2478 | 2640477.1403 | 1128650.7075 | 2640486.2761 | 1128631.3032 | 2640501.2653 | 1128599.4873 | 2640514.9374 | 1128609.0614
10 | 2640359.7123 | 1128379.9746 | 2640351.0486 | 1128378.2716 | 2640346.4945 | 1128380.7091 | 2640343.0152 | 1128386.0331 | 2640336.0168 | 1128408.4312 | 2640330.3565 | 1128426.5693
11 | 2640330.3565 | 1128426.5693 | 2640370.4257 | 1128441.6663 | 2640416.944 | 1128461.22 | 2640459.1417 | 1128479.3778
12 | 2640459.1417 | 1128479.3778 | 2640462.5441 | 1128480.4135
13 | 2640471.7941 | 1128689.8139 | 2640468.0505 | 1128748.0125
14 | 2640471.7941 | 1128689.8139 | 2640507.4718 | 1128697.494
15 | 2640467.3404 | 1128759.0526 | 2640468.0505 | 1128748.0125
16 | 2640507.4718 | 1128697.494 | 2640522.482 | 1128700.7252 | 2640535.2282 | 1128708.181 | 2640543.2178 | 1128718.3831
17 | 2640537.8272 | 1128616.9298 | 2640534.4831 | 1128617.0185 | 2640530.7047 | 1128616.3818 | 2640525.89 | 1128615.1823 | 2640521.4119 | 1128613.1957
18 | 2640495.0442 | 1128540.2266 | 2640492.9173 | 1128541.4574 | 2640487.8488 | 1128543.6358 | 2640469.1022 | 1128549.7913 | 2640465.8369 | 1128550.7477 | 2640460.5635 | 1128551.3239 | 2640454.0656 | 1128550.669 | 2640448.1753 | 1128548.4148
19 | 2640499.7293 | 1128491.7333 | 2640494.6987 | 1128500.9154 | 2640491.533 | 1128507.7088 | 2640491.3042 | 1128513.1211 | 2640490.9394 | 1128520.4335 | 2640491.835 | 1128525.8978 | 2640493.4404 | 1128533.5236 | 2640495.0442 | 1128540.2266
20 | 2640450.8004 | 1128287.7357 | 2640466.2469 | 1128298.2331 | 2640490.8463 | 1128313.3053 | 2640501.5345 | 1128321.0363 | 2640511.5601 | 1128328.7517 | 2640522.9255 | 1128340.0335 | 2640531.7365 | 1128350.798 | 2640535.8275 | 1128357.6956 | 2640539.1097 | 1128363.4316 | 2640544.4159 | 1128375.2287 | 2640547.4184 | 1128384.7536 | 2640549.5999 | 1128393.7728 | 2640551.8357 | 1128405.038 | 2640552.5978 | 1128413.1695 | 2640552.9601 | 1128421.1871 | 2640552.6676 | 1128429.2003 | 2640552.3336 | 1128443.4053 | 2640553.3689 | 1128465.9459 | 2640554.9793 | 1128480.8532 | 2640549.4839 | 1128480.0604 | 2640543.9293 | 1128480.0454 | 2640538.4312 | 1128480.7979 | 2640533.0974 | 1128482.3185 | 2640528.0207 | 1128484.5634 | 2640523.3169 | 1128487.5001 | 2640518.5439 | 1128491.5702 | 2640514.475 | 1128496.3454 | 2640499.7293 | 1128491.7333
21 | 2640499.7293 | 1128491.7333 | 2640462.5441 | 1128480.4135
22 | 2640550.7313 | 1128605.4437 | 2640549.3452 | 1128608.8028 | 2640548.0208 | 1128611.0061 | 2640544.6247 | 1128614.2406 | 2640541.3456 | 1128616.1307 | 2640537.8272 | 1128616.9298
23 | 2640550.7313 | 1128605.4437 | 2640549.7413 | 1128603.7251 | 2640547.5971 | 1128597.2074 | 2640546.7212 | 1128595.7007 | 2640545.3202 | 1128594.3907 | 2640533.5904 | 1128592.9436
24 | 2640450.8004 | 1128287.7357 | 2640467.168 | 1128295.2822 | 2640485.8977 | 1128305.6016 | 2640504.1222 | 1128316.5735 | 2640533.6742 | 1128337.5598 | 2640562.7309 | 1128357.7091 | 2640566.1499 | 1128359.83
25 | 2640197.9659 | 1128699.2496 | 2640207.7288 | 1128674.5908 | 2640217.0591 | 1128665.1925 | 2640233.6608 | 1128655.9536
26 | 2640197.9659 | 1128699.2496 | 2640192.1161 | 1128715.9318
27 | 2640002.7979 | 1128881.8718 | 2639903.7088 | 1128881.1899
28 | 2640002.7979 | 1128881.8718 | 2640017.1873 | 1128893.6617 | 2640038.9786 | 1128909.147 | 2640056.5507 | 1128918.4236 | 2640085.3252 | 1128927.4964 | 2640109.0856 | 1128937.5701 | 2640120.976 | 1128945.1194 | 2640137.168 | 1128964.9924 | 2640152.8699 | 1128977.4584 | 2640169.9556 | 1128984.5198 | 2640205.6675 | 1128999.2934
29 | 2640313.2393 | 1129054.112 | 2640298.927 | 1129050.5773 | 2640270.8006 | 1129035.7048 | 2640239.9904 | 1129017.7797 | 2640208.1909 | 1129000.3373 | 2640205.6675 | 1128999.2934
30 | 2640183.5877 | 1128740.2528 | 2640175.5327 | 1128737.2474
31 | 2640183.5877 | 1128740.2528 | 2640238.8164 | 1128761.1192 | 2640282.4456 | 1128777.8513
32 | 2640183.5877 | 1128740.2528 | 2640192.1161 | 1128715.9318
33 | 2640300.3897 | 1128784.7297 | 2640294.1271 | 1128782.3312 | 2640282.4456 | 1128777.8513
34 | 2640300.3897 | 1128784.7297 | 2640360.6156 | 1128807.8933
35 | 2640300.3897 | 1128784.7297 | 2640300.8822 | 1128757.0411 | 2640299.9265 | 1128747.8634
36 | 2640371.1991 | 1128811.956 | 2640369.7766 | 1128811.4167 | 2640360.6156 | 1128807.8933
37 | 2640291.9807 | 1128735.6043 | 2640296.7792 | 1128740.3831 | 2640299.9265 | 1128747.8634
38 | 2640317.3434 | 1129055.1255 | 2640313.2393 | 1129054.112
39 | 2640317.3434 | 1129055.1255 | 2640346.5902 | 1129062.3484
40 | 2640347.5578 | 1129062.5874 | 2640346.5902 | 1129062.3484
41 | 2640431.5175 | 1129102.0643 | 2640398.3899 | 1129085.7582 | 2640350.232 | 1129063.2478 | 2640347.5578 | 1129062.5874
42 | 2640407.3528 | 1128825.6636 | 2640393.6417 | 1128879.6663
43 | 2640330.245 | 1128900.9654 | 2640363.8396 | 1128916.1193 | 2640375.0506 | 1128919.2401 | 2640384.9547 | 1128913.8812 | 2640393.6417 | 1128879.6663
44 | 2640407.3528 | 1128825.6636 | 2640434.1234 | 1128802.0593
45 | 2640407.3528 | 1128825.6636 | 2640371.1991 | 1128811.956
46 | 2640458.3439 | 1128780.7035 | 2640458.3439 | 1128780.7035 | 2640434.1234 | 1128802.0593
47 | 2640557.6786 | 1128882.6535 | 2640536.996 | 1128923.8025 | 2640522.3098 | 1128953.0191 | 2640494.9097 | 1129006.8964
48 | 2640557.6786 | 1128882.6535 | 2640573.7044 | 1128842.1292 | 2640576.5588 | 1128827.741 | 2640575.6616 | 1128820.5719
49 | 2640494.9097 | 1129006.8964 | 2640476.2107 | 1129040.7353
50 | 2640543.2178 | 1128718.3831 | 2640545.6166 | 1128721.4462 | 2640555.0877 | 1128740.5305 | 2640574.782 | 1128813.5441 | 2640575.6616 | 1128820.5719
51 | 2640467.3404 | 1128759.0526 | 2640467.3404 | 1128759.0526 | 2640458.3439 | 1128780.7035
52 | 2640476.2107 | 1129040.7353 | 2640441.2217 | 1129104.0536 | 2640436.4196 | 1129104.4773 | 2640431.5175 | 1129102.0643

## bus_geodata
| x | y | coords
0 | 2640365.0809 | 1128581.6982
1 | 2640377.4589 | 1128556.0603
2 | 2640355.2336 | 1128580.1688
3 | 2640397.2028 | 1128553.991
4 | 2640346.5515 | 1128578.8241
5 | 2640442.7661 | 1128573.9109
6 | 2640474.9022 | 1128587.9606
7 | 2640514.9374 | 1128609.0614
8 | 2640330.3565 | 1128426.5693
9 | 2640359.7123 | 1128379.9746
10 | 2640459.1417 | 1128479.3778
11 | 2640471.7941 | 1128689.8139
12 | 2640468.0505 | 1128748.0125
13 | 2640507.4718 | 1128697.494
14 | 2640521.4119 | 1128613.1957
15 | 2640495.0442 | 1128540.2266
16 | 2640448.1753 | 1128548.4148
17 | 2640499.7293 | 1128491.7333
18 | 2640550.7313 | 1128605.4437
19 | 2640537.8272 | 1128616.9298
20 | 2640533.5904 | 1128592.9436
21 | 2640462.5441 | 1128480.4135
22 | 2640450.8004 | 1128287.7357
23 | 2640566.1499 | 1128359.83
24 | 2640233.6608 | 1128655.9536
25 | 2640197.9659 | 1128699.2496
26 | 2639903.7088 | 1128881.1899
27 | 2640002.7979 | 1128881.8718
28 | 2640205.6675 | 1128999.2934
29 | 2640175.5327 | 1128737.2474
30 | 2640183.5877 | 1128740.2528
31 | 2640282.4456 | 1128777.8513
32 | 2640192.1161 | 1128715.9318
33 | 2640300.3897 | 1128784.7297
34 | 2640360.6156 | 1128807.8933
35 | 2640299.9265 | 1128747.8634
36 | 2640313.2393 | 1129054.112
37 | 2640317.3434 | 1129055.1255
38 | 2640346.5902 | 1129062.3484
39 | 2640347.5578 | 1129062.5874
40 | 2640393.6417 | 1128879.6663
41 | 2640407.3528 | 1128825.6636
42 | 2640330.245 | 1128900.9654
43 | 2640434.1234 | 1128802.0593
44 | 2640371.1991 | 1128811.956
45 | 2640557.6786 | 1128882.6535
46 | 2640494.9097 | 1129006.8964
47 | 2640575.6616 | 1128820.5719
48 | 2640458.3439 | 1128780.7035
49 | 2640476.2107 | 1129040.7353
50 | 2640543.2178 | 1128718.3831
51 | 2640467.3404 | 1128759.0526
52 | 2640291.9807 | 1128735.6043
53 | 2640431.5175 | 1129102.0643
54 | 2640486.2761 | 1128631.3032

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1