## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6002-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6002-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6002-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6002-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6002-3_0_4_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_6002-3_0_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_6002-3_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_6002-3_0_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_6002-3_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_6002-3_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_6002-3_0_4_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_6002-3_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6002-3_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6002-3_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6002-3_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6002-3_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_6002-3_0_4_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_6002-3_0_4_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_6002-3_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_6002-3_0_4_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_6002-3_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_6002-3_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6002-3_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6002-3_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6002-3_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6002-3_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6002-3_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6002-3_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6002-3_0_4_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_6002-3_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6002-3_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_6002-3_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6002-3_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6002-3_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6002-3_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6002-3_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6002-3_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6002-3_0_4_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_6002-3_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6002-3_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6002-3_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6002-3_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6002-3_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6002-3_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6002-3_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6002-3_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6002-3_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6002-3_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6002-3_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_6002-3_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6002-3_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_6002-3_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6002-3_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_6002-3_0_4_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_6002-3_0_4_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_6002-3_0_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_6002-3_0_4_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_6002-3_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_6002-3_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6002-3_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6002-3_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6002-3_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6002-3_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_6002-3_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_6002-3_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6002-3_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_6002-3_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6002-3_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_6002-3_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_6002-3_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6002-3_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6002-3_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6002-3_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_6002-3_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_6002-3_0_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_6002-3_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_6002-3_0_4_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_6002-3_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6002-3_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_6002-3_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_6002-3_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6002-3_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_6002-3_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_6002-3_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_6002-3_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_MV_85_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6002-3_0_4_load_0 | 0 | 0.014965 | 0.0037506 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6002-3_0_4_load_1 | 1 | 0.0016016 | 0.00040139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6002-3_0_4_load_2 | 2 | 0.0028563 | 0.00071584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6002-3_0_4_load_60 | 4 | 0.0023763 | 0.00059555 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6002-3_0_4_load_16 | 8 | 0.010771 | 0.0026994 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6002-3_0_4_load_24 | 9 | 0.003536 | 0.0008862 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6002-3_0_4_load_57 | 10 | 0.005255 | 0.001317 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6002-3_0_4_load_5 | 11 | 0.0015798 | 0.00039594 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6002-3_0_4_load_6 | 12 | 0.0014032 | 0.00035169 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6002-3_0_4_load_7 | 13 | 0.0016061 | 0.00040254 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6002-3_0_4_load_8 | 14 | 0.0021745 | 0.00054497 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6002-3_0_4_load_48 | 15 | 0.0020577 | 0.00051571 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6002-3_0_4_load_61 | 16 | 0.0019976 | 0.00050064 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6002-3_0_4_load_58 | 17 | 0.0015143 | 0.00037951 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6002-3_0_4_load_38 | 18 | 0.002427 | 0.00060825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6002-3_0_4_load_62 | 19 | 0.001269 | 0.00031805 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6002-3_0_4_load_10 | 21 | 0.043301 | 0.010852 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6002-3_0_4_load_11 | 22 | 0.010101 | 0.0025315 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6002-3_0_4_load_13 | 24 | 0.015655 | 0.0039235 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6002-3_0_4_load_14 | 25 | 0.0020676 | 0.00051819 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6002-3_0_4_load_15 | 26 | 0.010896 | 0.0027307 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6002-3_0_4_load_26 | 27 | 0.0020088 | 0.00050346 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6002-3_0_4_load_68 | 28 | 0.0081466 | 0.0020417 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6002-3_0_4_load_25 | 29 | 0.0068055 | 0.0017056 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6002-3_0_4_load_17 | 31 | 0.0044792 | 0.0011226 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6002-3_0_4_load_19 | 32 | 0.0059773 | 0.0014981 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6002-3_0_4_load_21 | 34 | 0.010666 | 0.0026731 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6002-3_0_4_load_28 | 35 | 0.0095832 | 0.0024018 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6002-3_0_4_load_22 | 36 | 0.011076 | 0.0027759 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6002-3_0_4_load_27 | 38 | 0.010602 | 0.0026571 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6002-3_0_4_load_29 | 39 | 0.010921 | 0.002737 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6002-3_0_4_load_30 | 40 | 0.0048846 | 0.0012242 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6002-3_0_4_load_31 | 41 | 0.01452 | 0.0036392 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6002-3_0_4_load_32 | 42 | 0.014588 | 0.0036561 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6002-3_0_4_load_33 | 45 | 0.0050181 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6002-3_0_4_load_36 | 46 | 0.0050654 | 0.0012695 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6002-3_0_4_load_39 | 48 | 0.0012364 | 0.00030988 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6002-3_0_4_load_42 | 51 | 0.0048589 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6002-3_0_4_load_69 | 53 | 0.0075794 | 0.0018996 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6002-3_0_4_load_73 | 54 | 0.0018818 | 0.00047161 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6002-3_0_4_load_74 | 56 | 0.0029415 | 0.00073721 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6002-3_0_4_load_43 | 57 | 0.0029539 | 0.00074032 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6002-3_0_4_load_44 | 58 | 0.0014739 | 0.0003694 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6002-3_0_4_load_45 | 59 | 0.0012555 | 0.00031467 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6002-3_0_4_load_52 | 61 | 0.0011123 | 0.00027878 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6002-3_0_4_load_59 | 62 | 0.001304 | 0.00032682 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6002-3_0_4_load_56 | 63 | 0.0011497 | 0.00028814 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6002-3_0_4_load_50 | 64 | 0.0012444 | 0.00031188 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6002-3_0_4_load_55 | 65 | 0.0028052 | 0.00070304 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6002-3_0_4_load_49 | 66 | 0.0014751 | 0.00036971 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6002-3_0_4_load_54 | 68 | 0.0047278 | 0.0011849 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6002-3_0_4_load_65 | 69 | 0.0011416 | 0.00028612 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6002-3_0_4_load_66 | 70 | 0.0012386 | 0.00031043 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6002-3_0_4_load_67 | 71 | 0.0014206 | 0.00035604 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6002-3_0_4_load_71 | 72 | 0.0072238 | 0.0018105 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6002-3_0_4_load_82 | 74 | 0.0049718 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6002-3_0_4_load_79 | 75 | 0.0068061 | 0.0017058 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6002-3_0_4_load_80 | 76 | 0.0049708 | 0.0012458 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6002-3_0_4_load_75 | 77 | 0.001823 | 0.00045688 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6002-3_0_4_load_76 | 78 | 0.001566 | 0.00039248 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6002-3_0_4_load_77 | 79 | 0.0016589 | 0.00041575 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6002-3_0_4_load_78 | 80 | 0.0057271 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6002-3_0_4_load_81 | 81 | 0.0016023 | 0.00040158 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6002-3_0_4_load_83 | 82 | 0.0025951 | 0.00065038 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6002-3_0_4_load_85 | 84 | 0.010967 | 0.0027486 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6002-3_0_4_line_0 |  | 0 | 1 | 0.0035484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6002-3_0_4_line_1 |  | 0 | 2 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6002-3_0_4_line_2 |  | 1 | 3 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6002-3_0_4_line_3 |  | 3 | 4 | 0.014011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6002-3_0_4_line_4 |  | 3 | 5 | 0.035017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6002-3_0_4_line_5 |  | 4 | 6 | 0.0089973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6002-3_0_4_line_6 |  | 5 | 7 | 0.011531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6002-3_0_4_line_7 |  | 5 | 8 | 0.051472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6002-3_0_4_line_8 |  | 6 | 16 | 0.0074846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6002-3_0_4_line_9 |  | 6 | 17 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6002-3_0_4_line_10 |  | 7 | 33 | 0.005475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6002-3_0_4_line_11 |  | 7 | 34 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6002-3_0_4_line_12 |  | 8 | 31 | 0.020267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6002-3_0_4_line_13 |  | 9 | 10 | 0.0011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6002-3_0_4_line_14 |  | 10 | 37 | 0.0048059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6002-3_0_4_line_15 |  | 11 | 12 | 0.0066357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6002-3_0_4_line_16 |  | 11 | 13 | 0.010127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6002-3_0_4_line_17 |  | 12 | 14 | 0.0015149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6002-3_0_4_line_18 |  | 14 | 15 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6002-3_0_4_line_19 |  | 15 | 18 | 0.0090846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6002-3_0_4_line_20 |  | 16 | 19 | 0.019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6002-3_0_4_line_21 |  | 17 | 20 | 0.013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6002-3_0_4_line_22 |  | 18 | 47 | 0.0076958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6002-3_0_4_line_23 |  | 19 | 43 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6002-3_0_4_line_24 |  | 20 | 63 | 0.017777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6002-3_0_4_line_25 |  | 20 | 59 | 0.013354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6002-3_0_4_line_26 |  | 21 | 22 | 0.023762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6002-3_0_4_line_27 |  | 21 | 23 | 0.036865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6002-3_0_4_line_28 |  | 22 | 24 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6002-3_0_4_line_29 |  | 23 | 25 | 0.037896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6002-3_0_4_line_30 |  | 23 | 26 | 0.034448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6002-3_0_4_line_31 |  | 25 | 27 | 0.0034539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6002-3_0_4_line_32 |  | 26 | 28 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6002-3_0_4_line_33 |  | 27 | 29 | 0.019541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6002-3_0_4_line_34 |  | 28 | 30 | 0.029924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6002-3_0_4_line_35 |  | 29 | 38 | 0.0978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6002-3_0_4_line_36 |  | 30 | 53 | 0.02353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6002-3_0_4_line_37 |  | 30 | 49 | 0.002132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6002-3_0_4_line_38 |  | 31 | 32 | 5.2907e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6002-3_0_4_line_39 |  | 33 | 35 | 0.040267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6002-3_0_4_line_40 |  | 34 | 36 | 0.0095205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6002-3_0_4_line_41 |  | 37 | 65 | 0.016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6002-3_0_4_line_42 |  | 39 | 40 | 0.030429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6002-3_0_4_line_43 |  | 39 | 41 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6002-3_0_4_line_44 |  | 40 | 42 | 0.0091878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6002-3_0_4_line_45 |  | 42 | 43 | 0.018442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6002-3_0_4_line_46 |  | 43 | 44 | 0.005183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6002-3_0_4_line_47 |  | 44 | 46 | 0.029156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6002-3_0_4_line_48 |  | 44 | 45 | 0.013731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6002-3_0_4_line_49 |  | 46 | 49 | 0.030007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6002-3_0_4_line_50 |  | 47 | 48 | 0.0070361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6002-3_0_4_line_51 |  | 48 | 50 | 0.0043169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6002-3_0_4_line_52 |  | 49 | 51 | 0.024734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6002-3_0_4_line_53 |  | 50 | 52 | 0.027383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6002-3_0_4_line_54 |  | 51 | 54 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6002-3_0_4_line_55 |  | 52 | 69 | 0.014371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6002-3_0_4_line_56 |  | 52 | 62 | 0.0028461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6002-3_0_4_line_57 |  | 53 | 55 | 0.021693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6002-3_0_4_line_58 |  | 54 | 56 | 0.013021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6002-3_0_4_line_59 |  | 55 | 72 | 0.031244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6002-3_0_4_line_60 |  | 55 | 73 | 0.05175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6002-3_0_4_line_61 |  | 56 | 77 | 0.00061622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6002-3_0_4_line_62 |  | 57 | 58 | 0.0059379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6002-3_0_4_line_63 |  | 57 | 59 | 0.0018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6002-3_0_4_line_64 |  | 58 | 60 | 0.011326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6002-3_0_4_line_65 |  | 60 | 61 | 0.0066656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6002-3_0_4_line_66 |  | 60 | 62 | 0.011735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6002-3_0_4_line_67 |  | 61 | 64 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6002-3_0_4_line_68 |  | 63 | 65 | 0.010723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6002-3_0_4_line_69 |  | 64 | 66 | 0.0087422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6002-3_0_4_line_70 |  | 66 | 67 | 0.0061919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6002-3_0_4_line_71 |  | 67 | 68 | 0.014376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6002-3_0_4_line_72 |  | 69 | 70 | 0.0012936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6002-3_0_4_line_73 |  | 70 | 71 | 0.012213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6002-3_0_4_line_74 |  | 73 | 74 | 0.024315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6002-3_0_4_line_75 |  | 73 | 75 | 0.0164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6002-3_0_4_line_76 |  | 75 | 76 | 0.0017141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6002-3_0_4_line_77 |  | 76 | 81 | 0.028411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6002-3_0_4_line_78 |  | 77 | 78 | 0.0054869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6002-3_0_4_line_79 |  | 78 | 79 | 5.3117e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6002-3_0_4_line_80 |  | 79 | 80 | 0.044847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6002-3_0_4_line_81 |  | 81 | 82 | 0.0050036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6002-3_0_4_line_82 |  | 82 | 83 | 0.043188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6002-3_0_4_line_83 |  | 83 | 84 | 0.005085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6002-3_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 85 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2636934.9027 | 1127672.3653 | 2636938.1081 | 1127673.8872
1 | 2636934.9027 | 1127672.3653 | 2636934.9027 | 1127672.3653 | 2636925.2389 | 1127670.1052 | 2636914.2794 | 1127671.817
2 | 2636954.3388 | 1127678.0645 | 2636949.8537 | 1127678.1817 | 2636943.6074 | 1127676.4983 | 2636938.1081 | 1127673.8872
3 | 2636954.3388 | 1127678.0645 | 2636956.2408 | 1127684.5572 | 2636959.1829 | 1127688.5549 | 2636960.8775 | 1127690.0835
4 | 2636965.9201 | 1127645.1853 | 2636955.5487 | 1127670.4681 | 2636954.3388 | 1127678.0645
5 | 2636967.5584 | 1127696.1099 | 2636960.8775 | 1127690.0835
6 | 2636970.1926 | 1127634.4726 | 2636965.9201 | 1127645.1853
7 | 2636965.9201 | 1127645.1853 | 2636953.9985 | 1127637.8866 | 2636925.4445 | 1127613.5879
8 | 2636967.5584 | 1127696.1099 | 2636974.0699 | 1127699.8006
9 | 2636967.5584 | 1127696.1099 | 2636954.194 | 1127704.5211
10 | 2636972.1808 | 1127629.3711 | 2636970.1926 | 1127634.4726
11 | 2636970.1926 | 1127634.4726 | 2636990.8936 | 1127639.5087
12 | 2636910.0095 | 1127600.4531 | 2636925.4445 | 1127613.5879
13 | 2636904.7367 | 1127703.5152 | 2636904.9944 | 1127704.5905
14 | 2636906.1148 | 1127709.264 | 2636904.9944 | 1127704.5905
15 | 2636973.2529 | 1127732.1186 | 2636972.2586 | 1127733.9355 | 2636970.0552 | 1127737.933
16 | 2636973.2529 | 1127732.1186 | 2636974.0898 | 1127730.5894 | 2636969.9668 | 1127726.9291 | 2636970.8947 | 1127724.2124
17 | 2636969.3239 | 1127739.2597 | 2636970.0552 | 1127737.933
18 | 2636969.3239 | 1127739.2597 | 2636966.5242 | 1127744.3391 | 2636966.6555 | 1127751.8548 | 2636964.9938 | 1127755.0106
19 | 2636964.9938 | 1127755.0106 | 2636964.7768 | 1127755.4229 | 2636971.903 | 1127760.2703
20 | 2636974.0699 | 1127699.8006 | 2636990.8366 | 1127709.304
21 | 2636949.4301 | 1127716.0093 | 2636950.6424 | 1127706.7565 | 2636954.194 | 1127704.5211
22 | 2636978.2662 | 1127764.5988 | 2636971.903 | 1127760.2703
23 | 2637002.8104 | 1127716.0909 | 2636990.8366 | 1127709.304
24 | 2636949.4301 | 1127716.0093 | 2636944.0685 | 1127718.3444 | 2636932.467 | 1127715.5687
25 | 2636949.4301 | 1127716.0093 | 2636948.2266 | 1127728.8751 | 2636948.139 | 1127729.2985
26 | 2637077.1434 | 1127637.91 | 2637079.0551 | 1127638.9072 | 2637081.0834 | 1127644.8893 | 2637081.4815 | 1127660.173
27 | 2637108.5918 | 1127682.4434 | 2637100.9497 | 1127674.6704 | 2637081.5824 | 1127664.0464 | 2637081.4815 | 1127660.173
28 | 2637077.1434 | 1127637.91 | 2637063.8721 | 1127630.9871
29 | 2637108.5918 | 1127682.4434 | 2637118.0465 | 1127674.8197 | 2637133.4076 | 1127663.9973 | 2637138.521 | 1127659.2755
30 | 2637108.5918 | 1127682.4434 | 2637102.0564 | 1127687.706 | 2637088.5044 | 1127707.5997 | 2637087.3845 | 1127709.2402
31 | 2637138.521 | 1127659.2755 | 2637141.0585 | 1127656.9323
32 | 2637077.4727 | 1127723.7584 | 2637087.3845 | 1127709.2402
33 | 2637155.3265 | 1127643.5839 | 2637153.5707 | 1127645.3783 | 2637141.0585 | 1127656.9323
34 | 2637060.6006 | 1127748.4718 | 2637077.4727 | 1127723.7584
35 | 2637155.3265 | 1127643.5839 | 2637247.4508 | 1127610.7516
36 | 2637060.6006 | 1127748.4718 | 2637082.3961 | 1127757.3381
37 | 2637060.6006 | 1127748.4718 | 2637058.5312 | 1127747.9366
38 | 2636910.0095 | 1127600.4531 | 2636909.9692 | 1127600.4188
39 | 2636972.1808 | 1127629.3711 | 2636979.709 | 1127628.083 | 2636987.661 | 1127620.4722 | 2637002.1671 | 1127604.4387
40 | 2637000.1443 | 1127641.7592 | 2636990.8936 | 1127639.5087
41 | 2636906.1148 | 1127709.264 | 2636922.0379 | 1127713.0736
42 | 2637032.5291 | 1127666.2607 | 2637028.9822 | 1127673.6627 | 2637017.3163 | 1127692.5748
43 | 2637041.3841 | 1127647.7811 | 2637032.5291 | 1127666.2607
44 | 2637012.4927 | 1127700.3946 | 2637017.3163 | 1127692.5748
45 | 2637002.8104 | 1127716.0909 | 2637012.4927 | 1127700.3946
46 | 2637002.8104 | 1127716.0909 | 2637007.0219 | 1127719.1292
47 | 2637007.0219 | 1127719.1292 | 2637028.5239 | 1127733.4568 | 2637031.4909 | 1127734.9426
48 | 2637007.0219 | 1127719.1292 | 2637004.7787 | 1127721.828 | 2637001.0781 | 1127728.4754 | 2636999.7083 | 1127730.7018
49 | 2637058.5312 | 1127747.9366 | 2637048.2116 | 1127743.3156 | 2637031.4909 | 1127734.9426
50 | 2636978.2662 | 1127764.5988 | 2636976.1572 | 1127765.4974 | 2636973.5713 | 1127769.4743
51 | 2636971.2181 | 1127773.0933 | 2636973.5713 | 1127769.4743
52 | 2637058.5312 | 1127747.9366 | 2637054.5669 | 1127759.9073 | 2637050.9899 | 1127771.492
53 | 2636946.2119 | 1127762.3019 | 2636946.5238 | 1127762.9486 | 2636951.3232 | 1127764.3453 | 2636971.2181 | 1127773.0933
54 | 2637050.9899 | 1127771.492 | 2637048.0266 | 1127781.0891 | 2637046.7609 | 1127787.0883
55 | 2636946.2119 | 1127762.3019 | 2636952.436 | 1127775.2557
56 | 2636946.2119 | 1127762.3019 | 2636945.9898 | 1127759.4645
57 | 2637103.1632 | 1127763.5623 | 2637084.7112 | 1127758.2799 | 2637082.3961 | 1127757.3381
58 | 2637046.7609 | 1127787.0883 | 2637044.424 | 1127798.1645 | 2637043.7288 | 1127799.7166 | 2637043.7288 | 1127799.7166
59 | 2637103.1632 | 1127763.5623 | 2637096.3919 | 1127775.8937 | 2637094.3161 | 1127780.1831 | 2637088.5931 | 1127791.2092
60 | 2637153.0503 | 1127777.842 | 2637135.3983 | 1127772.7868 | 2637103.1632 | 1127763.5623
61 | 2637044.1206 | 1127800.1922 | 2637043.7288 | 1127799.7166
62 | 2636947.7715 | 1127731.0731 | 2636946.5676 | 1127736.8877
63 | 2636947.7715 | 1127731.0731 | 2636948.139 | 1127729.2985
64 | 2636944.0036 | 1127747.9145 | 2636945.2336 | 1127743.3308 | 2636946.5676 | 1127736.8877
65 | 2636944.0036 | 1127747.9145 | 2636937.5221 | 1127746.3588
66 | 2636944.0036 | 1127747.9145 | 2636945.7687 | 1127756.6408 | 2636945.9898 | 1127759.4645
67 | 2636926.1763 | 1127743.6356 | 2636937.5221 | 1127746.3588
68 | 2636922.0379 | 1127713.0736 | 2636932.467 | 1127715.5687
69 | 2636917.6755 | 1127741.5952 | 2636926.1763 | 1127743.6356
70 | 2636912.1371 | 1127738.8267 | 2636917.6755 | 1127741.5952 | 2636917.6755 | 1127741.5952
71 | 2636912.1371 | 1127738.8267 | 2636909.8305 | 1127741.803 | 2636899.2519 | 1127740.982
72 | 2636952.436 | 1127775.2557 | 2636952.9962 | 1127776.4217
73 | 2636959.7933 | 1127786.2886 | 2636956.2244 | 1127783.1402 | 2636952.9962 | 1127776.4217
74 | 2637153.0503 | 1127777.842 | 2637176.4238 | 1127784.5411
75 | 2637153.0503 | 1127777.842 | 2637147.8979 | 1127793.4121
76 | 2637147.8979 | 1127793.4121 | 2637147.3594 | 1127795.0394
77 | 2637147.3594 | 1127795.0394 | 2637145.2782 | 1127801.3284 | 2637144.6276 | 1127805.6489 | 2637142.1125 | 1127811.1918 | 2637143.244 | 1127812.6439 | 2637151.1699 | 1127816.8169 | 2637151.6532 | 1127817.04
78 | 2637044.1206 | 1127800.1922 | 2637045.2661 | 1127801.5825 | 2637048.8018 | 1127802.6226
79 | 2637048.8069 | 1127802.6241 | 2637048.8018 | 1127802.6226
80 | 2637048.8069 | 1127802.6241 | 2637055.9952 | 1127804.7387 | 2637065.3875 | 1127807.2641 | 2637090.0439 | 1127819.7287
81 | 2637156.1962 | 1127819.1369 | 2637151.6532 | 1127817.04
82 | 2637197.279 | 1127830.1734 | 2637183.9626 | 1127828.0349 | 2637174.0517 | 1127827.1514 | 2637172.5126 | 1127825.5967 | 2637168.3841 | 1127824.1262 | 2637161.788 | 1127821.7178 | 2637156.1962 | 1127819.1369
83 | 2637197.279 | 1127830.1734 | 2637197.5076 | 1127829.3299 | 2637198.5728 | 1127825.2566

## bus_geodata
| x | y | coords
0 | 2636934.9027 | 1127672.3653
1 | 2636938.1081 | 1127673.8872
2 | 2636914.2794 | 1127671.817
3 | 2636954.3388 | 1127678.0645
4 | 2636960.8775 | 1127690.0835
5 | 2636965.9201 | 1127645.1853
6 | 2636967.5584 | 1127696.1099
7 | 2636970.1926 | 1127634.4726
8 | 2636925.4445 | 1127613.5879
9 | 2636904.7367 | 1127703.5152
10 | 2636904.9944 | 1127704.5905
11 | 2636973.2529 | 1127732.1186
12 | 2636970.0552 | 1127737.933
13 | 2636970.8947 | 1127724.2124
14 | 2636969.3239 | 1127739.2597
15 | 2636964.9938 | 1127755.0106
16 | 2636974.0699 | 1127699.8006
17 | 2636954.194 | 1127704.5211
18 | 2636971.903 | 1127760.2704
19 | 2636990.8366 | 1127709.304
20 | 2636949.4301 | 1127716.0093
21 | 2637081.4815 | 1127660.173
22 | 2637077.1434 | 1127637.91
23 | 2637108.5918 | 1127682.4434
24 | 2637063.8721 | 1127630.9871
25 | 2637138.521 | 1127659.2755
26 | 2637087.3845 | 1127709.2402
27 | 2637141.0585 | 1127656.9323
28 | 2637077.4727 | 1127723.7584
29 | 2637155.3265 | 1127643.5839
30 | 2637060.6006 | 1127748.4718
31 | 2636910.0095 | 1127600.4531
32 | 2636909.9692 | 1127600.4188
33 | 2636972.1808 | 1127629.3711
34 | 2636990.8936 | 1127639.5087
35 | 2637002.1671 | 1127604.4387
36 | 2637000.1443 | 1127641.7592
37 | 2636906.1148 | 1127709.264
38 | 2637247.4508 | 1127610.7516
39 | 2637032.5291 | 1127666.2607
40 | 2637017.3163 | 1127692.5748
41 | 2637041.3841 | 1127647.7811
42 | 2637012.4927 | 1127700.3946
43 | 2637002.8104 | 1127716.0909
44 | 2637007.0219 | 1127719.1292
45 | 2636999.7083 | 1127730.7018
46 | 2637031.4909 | 1127734.9426
47 | 2636978.2662 | 1127764.5988
48 | 2636973.5713 | 1127769.4743
49 | 2637058.5312 | 1127747.9366
50 | 2636971.2181 | 1127773.0933
51 | 2637050.9899 | 1127771.492
52 | 2636946.2119 | 1127762.3019
53 | 2637082.3961 | 1127757.3381
54 | 2637046.7609 | 1127787.0883
55 | 2637103.1632 | 1127763.5623
56 | 2637043.7288 | 1127799.7166
57 | 2636947.7715 | 1127731.0731
58 | 2636946.5676 | 1127736.8877
59 | 2636948.139 | 1127729.2985
60 | 2636944.0036 | 1127747.9145
61 | 2636937.5221 | 1127746.3588
62 | 2636945.9898 | 1127759.4645
63 | 2636932.467 | 1127715.5687
64 | 2636926.1763 | 1127743.6356
65 | 2636922.0379 | 1127713.0736
66 | 2636917.6755 | 1127741.5952
67 | 2636912.1371 | 1127738.8267
68 | 2636899.2519 | 1127740.982
69 | 2636952.436 | 1127775.2557
70 | 2636952.9962 | 1127776.4217
71 | 2636959.7933 | 1127786.2886
72 | 2637088.5931 | 1127791.2092
73 | 2637153.0503 | 1127777.842
74 | 2637176.4238 | 1127784.5411
75 | 2637147.8979 | 1127793.4121
76 | 2637147.3594 | 1127795.0394
77 | 2637044.1206 | 1127800.1922
78 | 2637048.8018 | 1127802.6226
79 | 2637048.8069 | 1127802.6241
80 | 2637090.0439 | 1127819.7287
81 | 2637151.6532 | 1127817.04
82 | 2637156.1962 | 1127819.1369
83 | 2637197.279 | 1127830.1734
84 | 2637198.5728 | 1127825.2566
85 | 2637002.8104 | 1127716.0909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1