## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6002-63_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6002-63_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6002-63_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6002-63_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6002-63_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6002-63_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6002-63_0_6_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_6002-63_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6002-63_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6002-63_0_6_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_6002-63_0_6_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6002-63_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6002-63_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6002-63_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6002-63_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6002-63_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6002-63_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6002-63_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6002-63_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6002-63_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_6002-63_0_6_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_6002-63_0_6_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_6002-63_0_6_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_6002-63_0_6_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_6002-63_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6002-63_0_6_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_6002-63_0_6_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_6002-63_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6002-63_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6002-63_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6002-63_0_6_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_6002-63_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6002-63_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6002-63_0_6_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_6002-63_0_6_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_6002-63_0_6_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_6002-63_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_6002-63_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6002-63_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_6002-63_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6002-63_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6002-63_0_6_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_6002-63_0_6_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_6002-63_0_6_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6002-63_0_6_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_6002-63_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6002-63_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6002-63_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6002-63_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6002-63_0_6_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_6002-63_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6002-63_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6002-63_0_6_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_6002-63_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6002-63_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6002-63_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6002-63_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6002-63_0_6_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_6002-63_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_6002-63_0_6_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_6002-63_0_6_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_6002-63_0_6_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_6002-63_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_6002-63_0_6_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6002-63_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_6002-63_0_6_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_6002-63_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6002-63_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_6002-63_0_6_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_6002-63_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6002-63_0_6_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_6002-63_0_6_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6002-63_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_6002-63_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_6002-63_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6002-63_0_6_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_6002-63_0_6_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_6002-63_0_6_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_6002-63_0_6_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_6002-63_0_6_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_6002-63_0_6_node_83 | 0.4 | n |  | TRUE
81 | bus_MV_265_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6002-63_0_6_load_0 | 0 | 0.056956 | 0.014274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6002-63_0_6_load_2 | 2 | 0.0031413 | 0.00078727 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6002-63_0_6_load_3 | 3 | 0.0034857 | 0.0008736 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6002-63_0_6_load_4 | 4 | 0.0072132 | 0.0018078 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6002-63_0_6_load_5 | 5 | 0.0018237 | 0.00045706 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6002-63_0_6_load_55 | 6 | 0.0044131 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6002-63_0_6_load_6 | 8 | 0.0067799 | 0.0016992 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6002-63_0_6_load_56 | 9 | 0.002699 | 0.00067642 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6002-63_0_6_load_14 | 10 | 0.0059972 | 0.001503 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6002-63_0_6_load_11 | 11 | 0.0059658 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6002-63_0_6_load_7 | 12 | 0.020773 | 0.0052062 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6002-63_0_6_load_9 | 14 | 0.0070474 | 0.0017662 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6002-63_0_6_load_13 | 15 | 0.012467 | 0.0031246 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6002-63_0_6_load_15 | 16 | 0.0038387 | 0.00096207 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6002-63_0_6_load_16 | 17 | 0.0051989 | 0.001303 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6002-63_0_6_load_17 | 18 | 0.0049146 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6002-63_0_6_load_20 | 21 | 0.0091077 | 0.0022826 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6002-63_0_6_load_43 | 22 | 0.0082079 | 0.0020571 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6002-63_0_6_load_47 | 23 | 0.01051 | 0.002634 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6002-63_0_6_load_21 | 24 | 0.0079272 | 0.0019867 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6002-63_0_6_load_42 | 25 | 0.0076735 | 0.0019232 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6002-63_0_6_load_40 | 26 | 0.003765 | 0.00094359 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6002-63_0_6_load_26 | 28 | 0.0082786 | 0.0020748 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6002-63_0_6_load_23 | 29 | 0.0073123 | 0.0018326 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6002-63_0_6_load_66 | 30 | 0.015873 | 0.0039783 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6002-63_0_6_load_24 | 31 | 0.013362 | 0.0033489 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6002-63_0_6_load_25 | 32 | 0.013983 | 0.0035045 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6002-63_0_6_load_79 | 33 | 0.012918 | 0.0032376 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6002-63_0_6_load_80 | 34 | 0.019696 | 0.0049362 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6002-63_0_6_load_67 | 35 | 0.0086983 | 0.00218 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6002-63_0_6_load_27 | 36 | 0.0020835 | 0.00052217 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6002-63_0_6_load_28 | 37 | 0.0019722 | 0.00049428 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6002-63_0_6_load_36 | 38 | 0.004299 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6002-63_0_6_load_37 | 39 | 0.00665 | 0.0016666 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6002-63_0_6_load_29 | 40 | 0.004386 | 0.0010992 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6002-63_0_6_load_46 | 41 | 0.0027199 | 0.00068168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6002-63_0_6_load_39 | 42 | 0.012031 | 0.0030152 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6002-63_0_6_load_51 | 43 | 0.012794 | 0.0032064 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6002-63_0_6_load_35 | 45 | 0.0064173 | 0.0016083 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6002-63_0_6_load_32 | 47 | 0.0074121 | 0.0018577 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6002-63_0_6_load_34 | 48 | 0.0062027 | 0.0015545 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6002-63_0_6_load_78 | 49 | 0.010848 | 0.0027189 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6002-63_0_6_load_41 | 50 | 0.0060575 | 0.0015182 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6002-63_0_6_load_52 | 52 | 0.011183 | 0.0028028 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6002-63_0_6_load_45 | 53 | 0.0028112 | 0.00070457 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6002-63_0_6_load_48 | 54 | 0.0082431 | 0.0020659 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6002-63_0_6_load_49 | 55 | 0.0039327 | 0.00098563 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6002-63_0_6_load_50 | 56 | 0.0068748 | 0.001723 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6002-63_0_6_load_53 | 57 | 0.012648 | 0.0031699 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6002-63_0_6_load_54 | 58 | 0.0036802 | 0.00092234 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6002-63_0_6_load_64 | 60 | 0.0087332 | 0.0021887 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6002-63_0_6_load_57 | 62 | 0.0031117 | 0.00077987 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6002-63_0_6_load_61 | 63 | 0.0040549 | 0.0010163 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6002-63_0_6_load_59 | 64 | 0.0033469 | 0.00083882 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6002-63_0_6_load_58 | 65 | 0.0072817 | 0.001825 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6002-63_0_6_load_60 | 66 | 0.0057949 | 0.0014523 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6002-63_0_6_load_62 | 67 | 0.018138 | 0.0045457 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6002-63_0_6_load_85 | 68 | 0.0053812 | 0.0013487 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6002-63_0_6_load_68 | 69 | 0.011773 | 0.0029506 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6002-63_0_6_load_69 | 70 | 0.0090558 | 0.0022696 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6002-63_0_6_load_71 | 72 | 0.010933 | 0.0027402 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6002-63_0_6_load_72 | 73 | 0.0090962 | 0.0022797 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6002-63_0_6_load_73 | 74 | 0.0069547 | 0.001743 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6002-63_0_6_load_74 | 75 | 0.01087 | 0.0027242 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6002-63_0_6_load_75 | 76 | 0.0076407 | 0.0019149 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6002-63_0_6_load_76 | 77 | 0.0062402 | 0.0015639 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6002-63_0_6_load_81 | 78 | 0.011729 | 0.0029396 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6002-63_0_6_load_82 | 79 | 0.0059089 | 0.0014809 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6002-63_0_6_load_83 | 80 | 0.005428 | 0.0013604 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6002-63_0_6_line_0 |  | 0 | 1 | 0.039338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6002-63_0_6_line_1 |  | 1 | 2 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6002-63_0_6_line_2 |  | 1 | 3 | 0.023184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6002-63_0_6_line_3 |  | 1 | 4 | 0.052079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6002-63_0_6_line_4 |  | 2 | 5 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6002-63_0_6_line_5 |  | 3 | 6 | 0.0025285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6002-63_0_6_line_6 |  | 4 | 7 | 0.0040488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6002-63_0_6_line_7 |  | 5 | 8 | 0.004541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6002-63_0_6_line_8 |  | 6 | 9 | 0.034388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6002-63_0_6_line_9 |  | 7 | 10 | 0.020176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6002-63_0_6_line_10 |  | 7 | 11 | 0.015662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6002-63_0_6_line_11 |  | 8 | 12 | 0.014703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6002-63_0_6_line_12 |  | 9 | 62 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6002-63_0_6_line_13 |  | 10 | 16 | 0.012107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6002-63_0_6_line_14 |  | 11 | 15 | 0.008545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6002-63_0_6_line_15 |  | 12 | 13 | 0.035113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6002-63_0_6_line_16 |  | 13 | 14 | 0.051051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6002-63_0_6_line_17 |  | 16 | 17 | 0.014052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6002-63_0_6_line_18 |  | 17 | 18 | 0.017298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6002-63_0_6_line_19 |  | 18 | 19 | 0.042483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6002-63_0_6_line_20 |  | 19 | 20 | 0.041398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6002-63_0_6_line_21 |  | 19 | 21 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6002-63_0_6_line_22 |  | 20 | 22 | 0.015051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6002-63_0_6_line_23 |  | 20 | 23 | 0.026734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6002-63_0_6_line_24 |  | 21 | 24 | 0.0043642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6002-63_0_6_line_25 |  | 22 | 25 | 0.007376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6002-63_0_6_line_26 |  | 23 | 26 | 0.00080221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6002-63_0_6_line_27 |  | 24 | 27 | 0.013352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6002-63_0_6_line_28 |  | 25 | 44 | 0.003447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6002-63_0_6_line_29 |  | 26 | 51 | 0.011071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6002-63_0_6_line_30 |  | 27 | 28 | 0.01917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6002-63_0_6_line_31 |  | 27 | 29 | 0.0092051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6002-63_0_6_line_32 |  | 28 | 30 | 0.0082635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6002-63_0_6_line_33 |  | 29 | 31 | 0.045165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6002-63_0_6_line_34 |  | 30 | 35 | 0.0083508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6002-63_0_6_line_35 |  | 31 | 32 | 0.023509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6002-63_0_6_line_36 |  | 32 | 33 | 0.02204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6002-63_0_6_line_37 |  | 33 | 34 | 0.016247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6002-63_0_6_line_38 |  | 34 | 78 | 0.0032267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6002-63_0_6_line_39 |  | 35 | 69 | 0.016856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6002-63_0_6_line_40 |  | 36 | 37 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6002-63_0_6_line_41 |  | 36 | 38 | 0.030117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6002-63_0_6_line_42 |  | 38 | 39 | 0.021148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6002-63_0_6_line_43 |  | 39 | 51 | 0.027239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6002-63_0_6_line_44 |  | 40 | 41 | 0.036092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6002-63_0_6_line_45 |  | 41 | 44 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6002-63_0_6_line_46 |  | 42 | 43 | 0.032385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6002-63_0_6_line_47 |  | 43 | 52 | 0.036781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6002-63_0_6_line_48 |  | 44 | 53 | 0.029057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6002-63_0_6_line_49 |  | 45 | 46 | 0.0054465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6002-63_0_6_line_50 |  | 46 | 48 | 0.0039941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6002-63_0_6_line_51 |  | 46 | 47 | 0.016817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6002-63_0_6_line_52 |  | 48 | 49 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6002-63_0_6_line_53 |  | 49 | 50 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6002-63_0_6_line_54 |  | 50 | 51 | 0.010375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6002-63_0_6_line_55 |  | 52 | 57 | 0.024321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6002-63_0_6_line_56 |  | 53 | 54 | 0.0063171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6002-63_0_6_line_57 |  | 54 | 55 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6002-63_0_6_line_58 |  | 55 | 56 | 0.012079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6002-63_0_6_line_59 |  | 57 | 58 | 0.044534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6002-63_0_6_line_60 |  | 58 | 59 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6002-63_0_6_line_61 |  | 59 | 60 | 0.033548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6002-63_0_6_line_62 |  | 59 | 61 | 0.073553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6002-63_0_6_line_63 |  | 60 | 62 | 0.017195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6002-63_0_6_line_64 |  | 61 | 68 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6002-63_0_6_line_65 |  | 62 | 63 | 0.020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6002-63_0_6_line_66 |  | 63 | 64 | 0.023929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6002-63_0_6_line_67 |  | 64 | 65 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6002-63_0_6_line_68 |  | 65 | 66 | 0.0067839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6002-63_0_6_line_69 |  | 66 | 67 | 0.010406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6002-63_0_6_line_70 |  | 69 | 70 | 0.0025745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6002-63_0_6_line_71 |  | 70 | 71 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6002-63_0_6_line_72 |  | 71 | 72 | 0.019187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6002-63_0_6_line_73 |  | 72 | 73 | 0.020192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6002-63_0_6_line_74 |  | 73 | 74 | 0.026544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6002-63_0_6_line_75 |  | 74 | 75 | 0.00055642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6002-63_0_6_line_76 |  | 75 | 76 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6002-63_0_6_line_77 |  | 76 | 77 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6002-63_0_6_line_78 |  | 78 | 79 | 0.01868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6002-63_0_6_line_79 |  | 79 | 80 | 0.024701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6002-63_0_6_trafo_17 | 0.63 MVA 20/0.4 kV | 81 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2642056.363 | 1128878.4901 | 2642052.3666 | 1128879.3294 | 2642017.8564 | 1128886.5366
1 | 2642056.363 | 1128878.4901 | 2642059.4702 | 1128889.1949
2 | 2642056.363 | 1128878.4901 | 2642051.5624 | 1128855.8085
3 | 2642056.363 | 1128878.4901 | 2642107.3864 | 1128868.0557
4 | 2642059.4702 | 1128889.1949 | 2642067.3696 | 1128898.9089
5 | 2642051.5624 | 1128855.8085 | 2642051.0388 | 1128853.3348
6 | 2642111.3531 | 1128867.2445 | 2642107.3864 | 1128868.0557
7 | 2642070.2346 | 1128902.4321 | 2642067.3696 | 1128898.9089
8 | 2642051.0388 | 1128853.3348 | 2642043.9184 | 1128819.6924
9 | 2642111.3531 | 1128867.2445 | 2642131.1203 | 1128863.2013
10 | 2642111.3531 | 1128867.2445 | 2642113.5928 | 1128882.7459
11 | 2642070.2346 | 1128902.4321 | 2642079.5107 | 1128913.8391
12 | 2642041.5275 | 1128808.3957 | 2642043.9184 | 1128819.6924
13 | 2642131.1203 | 1128863.2013 | 2642142.9815 | 1128860.7753
14 | 2642114.8148 | 1128891.203 | 2642113.5928 | 1128882.7459
15 | 2642101.6641 | 1128941.0814 | 2642079.5107 | 1128913.8391
16 | 2642101.6641 | 1128941.0814 | 2642125.3897 | 1128944.6261 | 2642152.3043 | 1128947.4523
17 | 2642156.7486 | 1128857.9594 | 2642142.9815 | 1128860.7753
18 | 2642156.7486 | 1128857.9594 | 2642173.6954 | 1128854.4931
19 | 2642215.3165 | 1128845.9801 | 2642173.6954 | 1128854.4931
20 | 2642215.3165 | 1128845.9801 | 2642255.9887 | 1128837.6596
21 | 2642215.3165 | 1128845.9801 | 2642214.6485 | 1128862.753
22 | 2642255.9887 | 1128837.6596 | 2642256.8017 | 1128822.6301
23 | 2642255.9887 | 1128837.6596 | 2642282.1813 | 1128832.3079
24 | 2642214.6485 | 1128862.753 | 2642214.4748 | 1128867.1138
25 | 2642257.2002 | 1128815.2648 | 2642256.8017 | 1128822.6301
26 | 2642282.1813 | 1128832.3079 | 2642282.9672 | 1128832.1473
27 | 2642213.9435 | 1128880.4547 | 2642214.4748 | 1128867.1138
28 | 2642257.3864 | 1128811.8228 | 2642257.2002 | 1128815.2648
29 | 2642293.8142 | 1128829.931 | 2642282.9672 | 1128832.1473
30 | 2642213.9435 | 1128880.4547 | 2642232.7144 | 1128884.346
31 | 2642213.9435 | 1128880.4547 | 2642212.6521 | 1128889.5688
32 | 2642240.8059 | 1128886.0234 | 2642232.7144 | 1128884.346
33 | 2642212.6521 | 1128889.5688 | 2642211.5532 | 1128897.3245 | 2642206.6235 | 1128922.6252 | 2642217.7898 | 1128925.5987
34 | 2642240.8059 | 1128886.0234 | 2642248.9828 | 1128887.7185
35 | 2642217.7898 | 1128925.5987 | 2642240.5069 | 1128931.6481
36 | 2642240.5069 | 1128931.6481 | 2642255.2816 | 1128935.5825 | 2642261.8047 | 1128937.3198
37 | 2642261.8047 | 1128937.3198 | 2642276.5425 | 1128941.2449 | 2642277.4925 | 1128941.543
38 | 2642280.5712 | 1128942.509 | 2642277.4925 | 1128941.543
39 | 2642265.4879 | 1128891.1401 | 2642248.9828 | 1128887.7185
40 | 2642301.3166 | 1128761.7596 | 2642286.7943 | 1128762.638
41 | 2642307.7645 | 1128791.1787 | 2642301.3166 | 1128761.7596
42 | 2642307.7645 | 1128791.1787 | 2642297.6083 | 1128791.9158 | 2642296.5194 | 1128802.8263
43 | 2642293.8142 | 1128829.931 | 2642296.5194 | 1128802.8263
44 | 2642260.4982 | 1128798.8191 | 2642250.4589 | 1128764.1514
45 | 2642257.3864 | 1128811.8228 | 2642260.4982 | 1128798.8191
46 | 2642160.1432 | 1128770.0281 | 2642191.5158 | 1128761.9933
47 | 2642160.1432 | 1128770.0281 | 2642135.9794 | 1128771.3669 | 2642123.4592 | 1128770.1389
48 | 2642257.3864 | 1128811.8228 | 2642253.0724 | 1128808.491 | 2642229.4721 | 1128807.9782
49 | 2642337.287 | 1128821.0415 | 2642342.6231 | 1128819.9503
50 | 2642337.287 | 1128821.0415 | 2642333.3739 | 1128821.8416
51 | 2642337.287 | 1128821.0415 | 2642338.6547 | 1128804.2798
52 | 2642320.6933 | 1128824.4346 | 2642333.3739 | 1128821.8416
53 | 2642303.9788 | 1128827.8525 | 2642320.6933 | 1128824.4346
54 | 2642293.8142 | 1128829.931 | 2642303.9788 | 1128827.8525
55 | 2642123.4592 | 1128770.1389 | 2642109.504 | 1128768.7702 | 2642099.2538 | 1128767.7689
56 | 2642223.1756 | 1128808.166 | 2642225.1813 | 1128807.885 | 2642229.4721 | 1128807.9782
57 | 2642223.1756 | 1128808.166 | 2642211.904 | 1128809.7456
58 | 2642199.9421 | 1128811.4219 | 2642211.904 | 1128809.7456
59 | 2642099.2538 | 1128767.7689 | 2642090.758 | 1128766.9389 | 2642055.094 | 1128762.052
60 | 2642031.0178 | 1128758.7529 | 2642055.094 | 1128762.052
61 | 2642031.0178 | 1128758.7529 | 2642035.5007 | 1128779.9171 | 2642037.9674 | 1128791.573
62 | 2642013.9261 | 1128687.2978 | 2642015.7784 | 1128699.0166 | 2642018.7389 | 1128708.6866 | 2642025.3166 | 1128738.8365 | 2642031.0178 | 1128758.7529
63 | 2642041.5275 | 1128808.3957 | 2642037.9674 | 1128791.573
64 | 2642013.9261 | 1128687.2978 | 2642033.0637 | 1128689.7559
65 | 2642041.5275 | 1128808.3957 | 2642061.6691 | 1128809.6646
66 | 2642061.6691 | 1128809.6646 | 2642085.551 | 1128811.1691
67 | 2642105.3028 | 1128812.4135 | 2642085.551 | 1128811.1691
68 | 2642105.3028 | 1128812.4135 | 2642112.0733 | 1128812.84
69 | 2642122.4586 | 1128813.4943 | 2642112.0733 | 1128812.84
70 | 2642265.4879 | 1128891.1401 | 2642268.0088 | 1128891.6627
71 | 2642279.7609 | 1128894.0989 | 2642268.0088 | 1128891.6627
72 | 2642279.7609 | 1128894.0989 | 2642298.8983 | 1128892.7269
73 | 2642298.8983 | 1128892.7269 | 2642319.0385 | 1128891.2831 | 2642319.0385 | 1128891.2831
74 | 2642319.0385 | 1128891.2831 | 2642344.5458 | 1128898.63
75 | 2642344.5458 | 1128898.63 | 2642345.0804 | 1128898.784
76 | 2642345.0804 | 1128898.784 | 2642361.5336 | 1128903.523
77 | 2642361.5336 | 1128903.523 | 2642377.7022 | 1128908.1801
78 | 2642280.5712 | 1128942.509 | 2642298.3944 | 1128948.1016
79 | 2642298.3944 | 1128948.1016 | 2642321.9624 | 1128955.4966

## bus_geodata
| x | y | coords
0 | 2642017.8564 | 1128886.5366
1 | 2642056.363 | 1128878.4901
2 | 2642059.4702 | 1128889.1949
3 | 2642051.5624 | 1128855.8085
4 | 2642107.3864 | 1128868.0557
5 | 2642067.3696 | 1128898.9089
6 | 2642051.0388 | 1128853.3348
7 | 2642111.3531 | 1128867.2445
8 | 2642070.2346 | 1128902.4321
9 | 2642043.9184 | 1128819.6924
10 | 2642131.1203 | 1128863.2013
11 | 2642113.5928 | 1128882.7459
12 | 2642079.5107 | 1128913.8391
13 | 2642101.6641 | 1128941.0814
14 | 2642152.3043 | 1128947.4523
15 | 2642114.8148 | 1128891.203
16 | 2642142.9815 | 1128860.7753
17 | 2642156.7486 | 1128857.9594
18 | 2642173.6954 | 1128854.4931
19 | 2642215.3165 | 1128845.9801
20 | 2642255.9887 | 1128837.6596
21 | 2642214.6485 | 1128862.753
22 | 2642256.8017 | 1128822.6301
23 | 2642282.1813 | 1128832.3079
24 | 2642214.4748 | 1128867.1138
25 | 2642257.2002 | 1128815.2648
26 | 2642282.9672 | 1128832.1473
27 | 2642213.9435 | 1128880.4547
28 | 2642232.7144 | 1128884.346
29 | 2642212.6521 | 1128889.5688
30 | 2642240.8059 | 1128886.0234
31 | 2642217.7898 | 1128925.5987
32 | 2642240.5069 | 1128931.6481
33 | 2642261.8047 | 1128937.3198
34 | 2642277.4925 | 1128941.543
35 | 2642248.9828 | 1128887.7185
36 | 2642301.3166 | 1128761.7596
37 | 2642286.7943 | 1128762.638
38 | 2642307.7645 | 1128791.1787
39 | 2642296.5194 | 1128802.8263
40 | 2642250.4589 | 1128764.1514
41 | 2642260.4982 | 1128798.8191
42 | 2642191.5158 | 1128761.9933
43 | 2642160.1432 | 1128770.0281
44 | 2642257.3864 | 1128811.8228
45 | 2642342.6231 | 1128819.9503
46 | 2642337.287 | 1128821.0415
47 | 2642338.6547 | 1128804.2798
48 | 2642333.3739 | 1128821.8416
49 | 2642320.6933 | 1128824.4346
50 | 2642303.9788 | 1128827.8525
51 | 2642293.8142 | 1128829.931
52 | 2642123.4592 | 1128770.1389
53 | 2642229.4721 | 1128807.9782
54 | 2642223.1756 | 1128808.166
55 | 2642211.904 | 1128809.7456
56 | 2642199.9421 | 1128811.4219
57 | 2642099.2538 | 1128767.7689
58 | 2642055.094 | 1128762.052
59 | 2642031.0178 | 1128758.7529
60 | 2642037.9674 | 1128791.573
61 | 2642013.9261 | 1128687.2978
62 | 2642041.5275 | 1128808.3957
63 | 2642061.6691 | 1128809.6646
64 | 2642085.551 | 1128811.1691
65 | 2642105.3028 | 1128812.4135
66 | 2642112.0733 | 1128812.84
67 | 2642122.4586 | 1128813.4943
68 | 2642033.0637 | 1128689.7559
69 | 2642265.4879 | 1128891.1401
70 | 2642268.0088 | 1128891.6627
71 | 2642279.7609 | 1128894.0989
72 | 2642298.8983 | 1128892.7269
73 | 2642319.0385 | 1128891.2831
74 | 2642344.5458 | 1128898.63
75 | 2642345.0804 | 1128898.784
76 | 2642361.5336 | 1128903.523
77 | 2642377.7022 | 1128908.1801
78 | 2642280.5712 | 1128942.509
79 | 2642298.3944 | 1128948.1016
80 | 2642321.9624 | 1128955.4966
81 | 2642215.3165 | 1128845.9801

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1