## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6007-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6007-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6007-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6007-23_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6007-23_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6007-23_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6007-23_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6007-23_0_3_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_6007-23_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6007-23_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6007-23_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_6007-23_0_3_node_87 | 0.4 | n |  | TRUE
12 | bus_LV_6007-23_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6007-23_0_3_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_6007-23_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6007-23_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6007-23_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6007-23_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6007-23_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6007-23_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6007-23_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6007-23_0_3_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_6007-23_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6007-23_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6007-23_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6007-23_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6007-23_0_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_6007-23_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_6007-23_0_3_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_6007-23_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6007-23_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6007-23_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_6007-23_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6007-23_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6007-23_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6007-23_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6007-23_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6007-23_0_3_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_6007-23_0_3_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_6007-23_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_6007-23_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_6007-23_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_6007-23_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6007-23_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6007-23_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6007-23_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6007-23_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_6007-23_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_6007-23_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_6007-23_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_6007-23_0_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_6007-23_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6007-23_0_3_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_6007-23_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_6007-23_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_6007-23_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_6007-23_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_6007-23_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_6007-23_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_6007-23_0_3_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_6007-23_0_3_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_6007-23_0_3_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_6007-23_0_3_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_6007-23_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_6007-23_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_6007-23_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_6007-23_0_3_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_6007-23_0_3_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_6007-23_0_3_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_6007-23_0_3_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_6007-23_0_3_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_6007-23_0_3_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_6007-23_0_3_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_6007-23_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_6007-23_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_6007-23_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_6007-23_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_6007-23_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_6007-23_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_6007-23_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_6007-23_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6007-23_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6007-23_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_6007-23_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_6007-23_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_6007-23_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_6007-23_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_MV_87_0_node_239 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6007-23_0_3_load_0 | 0 | 0.0012754 | 0.00031964 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6007-23_0_3_load_3 | 3 | 0.0026043 | 0.00065269 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6007-23_0_3_load_5 | 5 | 0.0021668 | 0.00054306 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6007-23_0_3_load_53 | 7 | 0.0020617 | 0.0005167 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6007-23_0_3_load_7 | 8 | 0.0016173 | 0.00040532 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6007-23_0_3_load_14 | 9 | 0.0034311 | 0.00085992 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6007-23_0_3_load_11 | 10 | 0.0081625 | 0.0020457 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6007-23_0_3_load_90 | 13 | 0.0010996 | 0.00027559 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6007-23_0_3_load_12 | 14 | 0.0020004 | 0.00050135 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6007-23_0_3_load_9 | 15 | 0.0015068 | 0.00037765 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6007-23_0_3_load_10 | 16 | 0.0024554 | 0.00061538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6007-23_0_3_load_13 | 17 | 0.0018456 | 0.00046256 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6007-23_0_3_load_16 | 19 | 0.0078643 | 0.001971 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6007-23_0_3_load_17 | 20 | 0.0029831 | 0.00074765 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6007-23_0_3_load_91 | 21 | 0.0023902 | 0.00059903 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6007-23_0_3_load_18 | 22 | 0.0061683 | 0.0015459 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6007-23_0_3_load_20 | 23 | 0.0049949 | 0.0012518 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6007-23_0_3_load_19 | 24 | 0.0058057 | 0.001455 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6007-23_0_3_load_50 | 27 | 0.0030174 | 0.00075622 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6007-23_0_3_load_52 | 28 | 0.0033753 | 0.00084593 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6007-23_0_3_load_23 | 30 | 0.0021851 | 0.00054763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6007-23_0_3_load_29 | 31 | 0.0034271 | 0.00085891 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6007-23_0_3_load_26 | 32 | 0.0022777 | 0.00057084 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6007-23_0_3_load_24 | 33 | 0.0024657 | 0.00061797 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6007-23_0_3_load_30 | 34 | 0.0023521 | 0.00058949 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6007-23_0_3_load_27 | 35 | 0.0033401 | 0.0008371 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6007-23_0_3_load_25 | 36 | 0.0053014 | 0.0013286 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6007-23_0_3_load_84 | 38 | 0.00062463 | 0.00015655 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6007-23_0_3_load_28 | 39 | 0.0018377 | 0.00046058 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6007-23_0_3_load_42 | 40 | 0.0016778 | 0.00042051 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6007-23_0_3_load_31 | 42 | 0.0018567 | 0.00046533 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6007-23_0_3_load_32 | 43 | 0.0016251 | 0.00040729 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6007-23_0_3_load_34 | 44 | 0.0010478 | 0.00026262 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6007-23_0_3_load_68 | 46 | 0.001628 | 0.00040802 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6007-23_0_3_load_54 | 47 | 0.0011417 | 0.00028615 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6007-23_0_3_load_57 | 49 | 0.00087689 | 0.00021977 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6007-23_0_3_load_58 | 50 | 0.00059282 | 0.00014857 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6007-23_0_3_load_59 | 52 | 0.00078366 | 0.0001964 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6007-23_0_3_load_60 | 53 | 0.00046705 | 0.00011705 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6007-23_0_3_load_65 | 54 | 0.00093507 | 0.00023435 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6007-23_0_3_load_62 | 56 | 0.00084585 | 0.00021199 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6007-23_0_3_load_61 | 57 | 0.00051361 | 0.00012872 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6007-23_0_3_load_66 | 58 | 0.00079603 | 0.0001995 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6007-23_0_3_load_35 | 59 | 0.0013389 | 0.00033555 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6007-23_0_3_load_39 | 60 | 0.0071521 | 0.0017925 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6007-23_0_3_load_37 | 61 | 0.0016671 | 0.00041781 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6007-23_0_3_load_36 | 62 | 0.0030565 | 0.00076602 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6007-23_0_3_load_38 | 63 | 0.0019912 | 0.00049905 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6007-23_0_3_load_40 | 64 | 0.0013805 | 0.00034598 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6007-23_0_3_load_43 | 65 | 0.0020289 | 0.0005085 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6007-23_0_3_load_45 | 67 | 0.0016286 | 0.00040817 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6007-23_0_3_load_46 | 68 | 0.0020749 | 0.00052003 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6007-23_0_3_load_47 | 69 | 0.0032235 | 0.00080788 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6007-23_0_3_load_48 | 70 | 0.0022658 | 0.00056786 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6007-23_0_3_load_49 | 71 | 0.0018964 | 0.00047529 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6007-23_0_3_load_88 | 72 | 0.0010045 | 0.00025176 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6007-23_0_3_load_70 | 73 | 0.0030569 | 0.00076614 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6007-23_0_3_load_71 | 74 | 0.00067943 | 0.00017028 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6007-23_0_3_load_72 | 75 | 0.0010272 | 0.00025744 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6007-23_0_3_load_73 | 76 | 0.0012058 | 0.0003022 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6007-23_0_3_load_74 | 77 | 0.0023971 | 0.00060077 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6007-23_0_3_load_78 | 79 | 0.0020546 | 0.00051492 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6007-23_0_3_load_79 | 81 | 0.001232 | 0.00030877 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6007-23_0_3_load_77 | 82 | 0.0025638 | 0.00064254 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6007-23_0_3_load_83 | 83 | 0.0013308 | 0.00033353 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6007-23_0_3_load_81 | 84 | 0.00099256 | 0.00024876 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6007-23_0_3_load_80 | 85 | 0.0010073 | 0.00025245 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6007-23_0_3_load_82 | 86 | 0.0080902 | 0.0020276 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6007-23_0_3_line_0 |  | 0 | 1 | 0.027514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6007-23_0_3_line_1 |  | 0 | 2 | 0.031951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6007-23_0_3_line_2 |  | 1 | 3 | 0.044803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6007-23_0_3_line_3 |  | 1 | 4 | 0.031312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6007-23_0_3_line_4 |  | 2 | 5 | 0.0052092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6007-23_0_3_line_5 |  | 2 | 6 | 0.019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6007-23_0_3_line_6 |  | 4 | 7 | 0.055739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6007-23_0_3_line_7 |  | 5 | 8 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6007-23_0_3_line_8 |  | 6 | 9 | 0.013305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6007-23_0_3_line_9 |  | 6 | 10 | 0.050631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6007-23_0_3_line_10 |  | 7 | 11 | 0.0098663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6007-23_0_3_line_11 |  | 8 | 12 | 0.016339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6007-23_0_3_line_12 |  | 9 | 13 | 0.0089641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6007-23_0_3_line_13 |  | 10 | 14 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6007-23_0_3_line_14 |  | 11 | 72 | 0.098578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6007-23_0_3_line_15 |  | 12 | 15 | 0.01305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6007-23_0_3_line_16 |  | 12 | 16 | 0.017224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6007-23_0_3_line_17 |  | 13 | 21 | 0.0018929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6007-23_0_3_line_18 |  | 14 | 17 | 0.0014219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6007-23_0_3_line_19 |  | 17 | 18 | 0.0080241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6007-23_0_3_line_20 |  | 18 | 19 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6007-23_0_3_line_21 |  | 18 | 20 | 0.061431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6007-23_0_3_line_22 |  | 19 | 22 | 0.0087543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6007-23_0_3_line_23 |  | 20 | 23 | 0.014738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6007-23_0_3_line_24 |  | 22 | 24 | 0.043584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6007-23_0_3_line_25 |  | 23 | 25 | 0.0050328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6007-23_0_3_line_26 |  | 24 | 26 | 0.075844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6007-23_0_3_line_27 |  | 25 | 29 | 0.023902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6007-23_0_3_line_28 |  | 25 | 30 | 0.025679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6007-23_0_3_line_29 |  | 26 | 28 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6007-23_0_3_line_30 |  | 26 | 27 | 0.0089776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6007-23_0_3_line_31 |  | 29 | 31 | 0.017898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6007-23_0_3_line_32 |  | 29 | 32 | 0.015734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6007-23_0_3_line_33 |  | 30 | 33 | 0.018535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6007-23_0_3_line_34 |  | 31 | 34 | 0.08462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6007-23_0_3_line_35 |  | 32 | 35 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6007-23_0_3_line_36 |  | 33 | 36 | 0.063423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6007-23_0_3_line_37 |  | 34 | 42 | 0.024312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6007-23_0_3_line_38 |  | 35 | 39 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6007-23_0_3_line_39 |  | 36 | 37 | 0.16005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6007-23_0_3_line_40 |  | 37 | 38 | 0.099697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6007-23_0_3_line_41 |  | 38 | 83 | 0.1114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6007-23_0_3_line_42 |  | 39 | 40 | 0.0032881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6007-23_0_3_line_43 |  | 40 | 41 | 0.01628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6007-23_0_3_line_44 |  | 41 | 65 | 0.012012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6007-23_0_3_line_45 |  | 41 | 64 | 0.018797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6007-23_0_3_line_46 |  | 42 | 43 | 0.039052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6007-23_0_3_line_47 |  | 43 | 44 | 0.12542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6007-23_0_3_line_48 |  | 44 | 45 | 0.064578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6007-23_0_3_line_49 |  | 45 | 46 | 0.21423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6007-23_0_3_line_50 |  | 46 | 55 | 0.049883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6007-23_0_3_line_51 |  | 47 | 48 | 0.021773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6007-23_0_3_line_52 |  | 48 | 49 | 0.022409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6007-23_0_3_line_53 |  | 48 | 50 | 0.010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6007-23_0_3_line_54 |  | 49 | 54 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6007-23_0_3_line_55 |  | 49 | 55 | 0.15349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6007-23_0_3_line_56 |  | 50 | 52 | 0.0057761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6007-23_0_3_line_57 |  | 51 | 52 | 0.02206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6007-23_0_3_line_58 |  | 51 | 53 | 0.0054473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6007-23_0_3_line_59 |  | 53 | 56 | 0.0020359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6007-23_0_3_line_60 |  | 54 | 58 | 0.022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6007-23_0_3_line_61 |  | 56 | 57 | 0.0389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6007-23_0_3_line_62 |  | 59 | 60 | 0.13205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6007-23_0_3_line_63 |  | 60 | 61 | 0.023829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6007-23_0_3_line_64 |  | 61 | 62 | 0.037431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6007-23_0_3_line_65 |  | 62 | 63 | 0.0089309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6007-23_0_3_line_66 |  | 63 | 64 | 0.051965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6007-23_0_3_line_67 |  | 65 | 66 | 0.0090341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6007-23_0_3_line_68 |  | 66 | 67 | 0.021326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6007-23_0_3_line_69 |  | 66 | 68 | 0.01021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6007-23_0_3_line_70 |  | 67 | 69 | 0.0080046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6007-23_0_3_line_71 |  | 69 | 70 | 0.017533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6007-23_0_3_line_72 |  | 70 | 71 | 0.0079286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6007-23_0_3_line_73 |  | 73 | 74 | 0.035915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6007-23_0_3_line_74 |  | 73 | 75 | 0.037626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6007-23_0_3_line_75 |  | 74 | 76 | 0.019582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6007-23_0_3_line_76 |  | 75 | 77 | 0.008712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6007-23_0_3_line_77 |  | 76 | 78 | 0.02984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6007-23_0_3_line_78 |  | 77 | 79 | 0.069342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6007-23_0_3_line_79 |  | 78 | 80 | 0.01922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6007-23_0_3_line_80 |  | 79 | 81 | 0.020171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6007-23_0_3_line_81 |  | 80 | 82 | 0.014166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6007-23_0_3_line_82 |  | 80 | 83 | 0.1838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6007-23_0_3_line_83 |  | 81 | 84 | 0.00088318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6007-23_0_3_line_84 |  | 84 | 85 | 3.2776e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6007-23_0_3_line_85 |  | 85 | 86 | 0.0060918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6007-23_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 87 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2642479.5739 | 1131680.0541 | 2642506.7141 | 1131675.5334
1 | 2642538.1661 | 1131669.9162 | 2642520.494 | 1131673.2381 | 2642506.7141 | 1131675.5334
2 | 2642479.5739 | 1131680.0541 | 2642464.6291 | 1131668.9213 | 2642463.2076 | 1131665.2094 | 2642463.4386 | 1131661.9205 | 2642464.4863 | 1131659.66 | 2642469.2486 | 1131658.0482 | 2642478.7053 | 1131664.4957
3 | 2642448.6008 | 1131677.2242 | 2642459.9343 | 1131679.5716 | 2642466.6006 | 1131680.9524 | 2642477.1455 | 1131680.4595 | 2642479.5739 | 1131680.0541
4 | 2642538.1661 | 1131669.9162 | 2642539.985 | 1131672.9528 | 2642541.0987 | 1131674.1966
5 | 2642557.8487 | 1131668.6651 | 2642542.3143 | 1131669.1339 | 2642538.1661 | 1131669.9162
6 | 2642448.6008 | 1131677.2242 | 2642446.4019 | 1131682.2224 | 2642441.7154 | 1131686.2027 | 2642434.2676 | 1131689.7523 | 2642428.8872 | 1131691.671 | 2642422.6882 | 1131691.7276 | 2642398.9394 | 1131688.4977
7 | 2642541.0987 | 1131674.1966 | 2642543.8815 | 1131677.3046 | 2642547.5899 | 1131677.742 | 2642553.1069 | 1131681.1877
8 | 2642557.8487 | 1131668.6651 | 2642560.3025 | 1131661.3675 | 2642558.6925 | 1131655.9979 | 2642558.6925 | 1131655.9979
9 | 2642557.8487 | 1131668.6651 | 2642574.485 | 1131672.473 | 2642597.2865 | 1131670.0879 | 2642607.5444 | 1131672.9092
10 | 2642389.1631 | 1131687.1681 | 2642398.9394 | 1131688.4977
11 | 2642567.3631 | 1131685.4962 | 2642560.3655 | 1131681.9563 | 2642557.2572 | 1131683.7798 | 2642553.1069 | 1131681.1877
12 | 2642551.7389 | 1131650.3408 | 2642558.6925 | 1131655.9979
13 | 2642607.5444 | 1131672.9092 | 2642622.1935 | 1131676.9383
14 | 2642389.1631 | 1131687.1681 | 2642351.002 | 1131679.3857 | 2642305.3457 | 1131666.5153 | 2642293.8478 | 1131662.4493
15 | 2642567.3631 | 1131685.4962 | 2642564.4279 | 1131692.2679 | 2642559.0404 | 1131694.0865
16 | 2642567.3631 | 1131685.4962 | 2642578.286 | 1131689.2861 | 2642582.5948 | 1131693.0184
17 | 2642550.2705 | 1131649.1463 | 2642551.7389 | 1131650.3408
18 | 2642622.1935 | 1131676.9383 | 2642623.5645 | 1131677.3154
19 | 2642631.3013 | 1131679.4433 | 2642623.5645 | 1131677.3154
20 | 2642631.3013 | 1131679.4433 | 2642649.4591 | 1131671.6673 | 2642653.8246 | 1131667.3737
21 | 2642631.3013 | 1131679.4433 | 2642658.699 | 1131686.9848 | 2642669.8087 | 1131687.2077 | 2642680.2405 | 1131682.0231 | 2642687.0579 | 1131674.3645
22 | 2642653.3658 | 1131658.6559 | 2642653.669 | 1131659.9577 | 2642653.8246 | 1131667.3737 | 2642653.8246 | 1131667.3737
23 | 2642696.8572 | 1131663.3561 | 2642687.0579 | 1131674.3645
24 | 2642648.3935 | 1131617.51 | 2642652.8972 | 1131623.1001 | 2642653.8795 | 1131630.1106 | 2642650.2609 | 1131645.3262 | 2642653.3658 | 1131658.6559
25 | 2642700.2035 | 1131659.5969 | 2642696.8572 | 1131663.3561
26 | 2642648.3935 | 1131617.51 | 2642593.9787 | 1131564.6774
27 | 2642700.2035 | 1131659.5969 | 2642714.3562 | 1131649.814 | 2642720.1176 | 1131646.3085
28 | 2642700.2035 | 1131659.5969 | 2642712.3381 | 1131636.9662
29 | 2642593.9787 | 1131564.6774 | 2642587.0623 | 1131563.806 | 2642573.9163 | 1131568.8393
30 | 2642593.9787 | 1131564.6774 | 2642587.364 | 1131570.7473
31 | 2642720.1176 | 1131646.3085 | 2642726.6139 | 1131654.3029 | 2642728.2159 | 1131661.729
32 | 2642720.1176 | 1131646.3085 | 2642733.558 | 1131638.1275
33 | 2642712.3381 | 1131636.9662 | 2642714.1942 | 1131633.5046 | 2642714.2383 | 1131627.2572 | 2642712.8721 | 1131619.0101
34 | 2642728.2159 | 1131661.729 | 2642730.6178 | 1131672.8629 | 2642732.44 | 1131677.6004 | 2642732.6144 | 1131682.3374 | 2642729.2937 | 1131684.793 | 2642725.7463 | 1131689.915 | 2642719.9129 | 1131697.0774 | 2642714.9369 | 1131699.5102 | 2642711.1917 | 1131703.1856 | 2642702.2907 | 1131706.4245 | 2642698.3275 | 1131711.5435 | 2642691.4711 | 1131717.4648 | 2642688.3236 | 1131724.8464 | 2642688.3236 | 1131724.8464
35 | 2642733.558 | 1131638.1275 | 2642746.2127 | 1131630.4247
36 | 2642708.5851 | 1131575.1129 | 2642718.9047 | 1131576.0196 | 2642724.2531 | 1131579.7593 | 2642729.9688 | 1131589.2711 | 2642729.7173 | 1131595.4392 | 2642714.4779 | 1131614.0522 | 2642712.8721 | 1131619.0101
37 | 2642688.3236 | 1131724.8464 | 2642689.9466 | 1131728.3596 | 2642692.1932 | 1131731.8773 | 2642693.1702 | 1131740.7332 | 2642691.4785 | 1131745.8683 | 2642689.8157 | 1131746.8904
38 | 2642764.6055 | 1131619.2293 | 2642746.2127 | 1131630.4247
39 | 2642708.5851 | 1131575.1129 | 2642685.3624 | 1131416.757
40 | 2642685.3624 | 1131416.757 | 2642688.7907 | 1131401.2622 | 2642689.3639 | 1131385.5137 | 2642686.9241 | 1131373.3459 | 2642683.3837 | 1131358.9024 | 2642675.0179 | 1131338.5886 | 2642663.7761 | 1131323.4972
41 | 2642597.3005 | 1131234.8891 | 2642631.2269 | 1131289.1546 | 2642658.1517 | 1131315.9469 | 2642663.7761 | 1131323.4972
42 | 2642764.6055 | 1131619.2293 | 2642767.4142 | 1131617.5197
43 | 2642781.3203 | 1131609.0553 | 2642767.4142 | 1131617.5197
44 | 2642781.3203 | 1131609.0553 | 2642791.713 | 1131603.0313
45 | 2642781.3203 | 1131609.0553 | 2642785.1849 | 1131618.9766 | 2642783.3583 | 1131626.919
46 | 2642689.8157 | 1131746.8904 | 2642689.8157 | 1131746.8904 | 2642690.39 | 1131753.898 | 2642687.4542 | 1131759.6358 | 2642683.6893 | 1131767.2242 | 2642685.3137 | 1131770.5374 | 2642691.4726 | 1131776.1393 | 2642692.6774 | 1131781.0836
47 | 2642692.6774 | 1131781.0836 | 2642782.8745 | 1131868.232
48 | 2642759.5788 | 1131920.9943 | 2642763.2715 | 1131901.855 | 2642770.4296 | 1131896.8031 | 2642780.852 | 1131892.897 | 2642783.0276 | 1131887.9432 | 2642782.1111 | 1131876.0084 | 2642782.8745 | 1131868.232
49 | 2642759.5788 | 1131920.9943 | 2642580.104 | 1132037.9659
50 | 2642535.8397 | 1132048.76 | 2642555.4545 | 1132049.3204 | 2642569.088 | 1132048.5938 | 2642577.4754 | 1132044.9509 | 2642580.104 | 1132037.9659
51 | 2642502.0843 | 1132206.5033 | 2642495.6519 | 1132212.4611 | 2642498.6645 | 1132224.2105 | 2642499.3127 | 1132224.7997
52 | 2642502.0843 | 1132206.5033 | 2642489.9903 | 1132195.2903 | 2642484.3936 | 1132193.3698
53 | 2642502.0843 | 1132206.5033 | 2642509.4151 | 1132213.735
54 | 2642465.7045 | 1132190.8328 | 2642479.6057 | 1132191.7267 | 2642484.3936 | 1132193.3698
55 | 2642484.3936 | 1132193.3698 | 2642535.8397 | 1132048.76
56 | 2642513.5272 | 1132217.7914 | 2642509.4151 | 1132213.735
57 | 2642531.9951 | 1132226.4348 | 2642522.4008 | 1132226.5452 | 2642513.5272 | 1132217.7914
58 | 2642531.9951 | 1132226.4348 | 2642537.442 | 1132226.3722
59 | 2642537.442 | 1132226.3722 | 2642539.4778 | 1132226.3488
60 | 2642465.7045 | 1132190.8328 | 2642463.6904 | 1132190.7033 | 2642453.3739 | 1132189.497 | 2642444.4801 | 1132184.781
61 | 2642572.9167 | 1132244.2558 | 2642566.4861 | 1132242.0854 | 2642544.6 | 1132226.29 | 2642539.4778 | 1132226.3488
62 | 2642804.6977 | 1131720.0551 | 2642902.149 | 1131809.1688
63 | 2642804.6977 | 1131720.0551 | 2642785.4535 | 1131722.4758 | 2642782.4815 | 1131719.1864
64 | 2642779.738 | 1131684.6716 | 2642787.6888 | 1131708.0064 | 2642786.9413 | 1131713.5373 | 2642782.4815 | 1131719.1864
65 | 2642779.738 | 1131684.6716 | 2642774.3754 | 1131677.53 | 2642774.3754 | 1131677.53
66 | 2642774.3754 | 1131677.53 | 2642776.1062 | 1131653.8302 | 2642778.7254 | 1131636.2508 | 2642783.2782 | 1131627.2673 | 2642783.3583 | 1131626.919
67 | 2642799.529 | 1131598.5009 | 2642791.713 | 1131603.0313
68 | 2642799.529 | 1131598.5009 | 2642787.8482 | 1131588.6355 | 2642782.7559 | 1131585.3929
69 | 2642799.529 | 1131598.5009 | 2642809.6551 | 1131597.1939
70 | 2642782.7559 | 1131585.3929 | 2642776.004 | 1131581.0935
71 | 2642761.2151 | 1131571.6765 | 2642776.004 | 1131581.0935
72 | 2642761.2151 | 1131571.6765 | 2642754.5273 | 1131567.4179
73 | 2642401.9498 | 1131341.8492 | 2642402.1972 | 1131332.7896 | 2642399.7445 | 1131306.0499
74 | 2642401.9498 | 1131341.8492 | 2642401.5237 | 1131357.453 | 2642401.0072 | 1131367.4212 | 2642403.0879 | 1131379.2751
75 | 2642397.9558 | 1131286.5492 | 2642399.7445 | 1131306.0499
76 | 2642411.7928 | 1131378.924 | 2642403.0879 | 1131379.2751 | 2642403.0879 | 1131379.2751
77 | 2642395.7918 | 1131256.7948 | 2642396.374 | 1131269.3053 | 2642397.9558 | 1131286.5492
78 | 2642411.7928 | 1131378.924 | 2642457.3225 | 1131377.0877 | 2642464.4333 | 1131379.9168 | 2642475.1723 | 1131391.942
79 | 2642395.7918 | 1131256.7948 | 2642404.0467 | 1131257.9199 | 2642414.987 | 1131258.2523
80 | 2642488.6079 | 1131406.9867 | 2642475.1723 | 1131391.942
81 | 2642414.987 | 1131258.2523 | 2642414.7116 | 1131272.4154
82 | 2642414.987 | 1131258.2523 | 2642597.3005 | 1131234.8891
83 | 2642489.1962 | 1131407.6455 | 2642488.6079 | 1131406.9867
84 | 2642489.218 | 1131407.6699 | 2642489.1962 | 1131407.6455
85 | 2642493.2757 | 1131412.2136 | 2642489.218 | 1131407.6699

## bus_geodata
| x | y | coords
0 | 2642506.7141 | 1131675.5334
1 | 2642479.5739 | 1131680.0541
2 | 2642538.1661 | 1131669.9162
3 | 2642478.7053 | 1131664.4957
4 | 2642448.6008 | 1131677.2242
5 | 2642541.0987 | 1131674.1966
6 | 2642557.8487 | 1131668.6651
7 | 2642398.9394 | 1131688.4977
8 | 2642553.1069 | 1131681.1877
9 | 2642558.6925 | 1131655.9979
10 | 2642607.5444 | 1131672.9092
11 | 2642389.1631 | 1131687.1681
12 | 2642567.3631 | 1131685.4962
13 | 2642551.7389 | 1131650.3408
14 | 2642622.1935 | 1131676.9383
15 | 2642559.0404 | 1131694.0865
16 | 2642582.5948 | 1131693.0184
17 | 2642623.5645 | 1131677.3154
18 | 2642631.3013 | 1131679.4433
19 | 2642653.8246 | 1131667.3737
20 | 2642687.0579 | 1131674.3645
21 | 2642550.2705 | 1131649.1463
22 | 2642653.3658 | 1131658.6559
23 | 2642696.8572 | 1131663.3561
24 | 2642648.3935 | 1131617.51
25 | 2642700.2035 | 1131659.5969
26 | 2642593.9787 | 1131564.6774
27 | 2642587.364 | 1131570.7473
28 | 2642573.9163 | 1131568.8393
29 | 2642720.1176 | 1131646.3085
30 | 2642712.3381 | 1131636.9662
31 | 2642728.2159 | 1131661.729
32 | 2642733.558 | 1131638.1275
33 | 2642712.8721 | 1131619.0101
34 | 2642688.3236 | 1131724.8464
35 | 2642746.2127 | 1131630.4247
36 | 2642708.5851 | 1131575.1129
37 | 2642685.3624 | 1131416.757
38 | 2642663.7761 | 1131323.4972
39 | 2642764.6055 | 1131619.2293
40 | 2642767.4142 | 1131617.5197
41 | 2642781.3203 | 1131609.0553
42 | 2642689.8157 | 1131746.8904
43 | 2642692.6774 | 1131781.0836
44 | 2642782.8745 | 1131868.232
45 | 2642759.5788 | 1131920.9943
46 | 2642580.104 | 1132037.9659
47 | 2642499.3127 | 1132224.7997
48 | 2642502.0843 | 1132206.5033
49 | 2642484.3936 | 1132193.3698
50 | 2642509.4151 | 1132213.735
51 | 2642531.9951 | 1132226.4348
52 | 2642513.5272 | 1132217.7914
53 | 2642537.442 | 1132226.3722
54 | 2642465.7045 | 1132190.8328
55 | 2642535.8397 | 1132048.76
56 | 2642539.4778 | 1132226.3488
57 | 2642572.9167 | 1132244.2558
58 | 2642444.4801 | 1132184.781
59 | 2642902.149 | 1131809.1688
60 | 2642804.6977 | 1131720.0551
61 | 2642782.4815 | 1131719.1864
62 | 2642779.738 | 1131684.6716
63 | 2642774.3754 | 1131677.53
64 | 2642783.3583 | 1131626.919
65 | 2642791.7129 | 1131603.0313
66 | 2642799.529 | 1131598.5009
67 | 2642782.7559 | 1131585.3929
68 | 2642809.6551 | 1131597.1939
69 | 2642776.004 | 1131581.0935
70 | 2642761.2151 | 1131571.6765
71 | 2642754.5273 | 1131567.4179
72 | 2642293.8478 | 1131662.4493
73 | 2642401.9498 | 1131341.8492
74 | 2642399.7445 | 1131306.0499
75 | 2642403.0879 | 1131379.2751
76 | 2642397.9557 | 1131286.5492
77 | 2642411.7928 | 1131378.924
78 | 2642395.7918 | 1131256.7948
79 | 2642475.1723 | 1131391.942
80 | 2642414.987 | 1131258.2523
81 | 2642488.6079 | 1131406.9867
82 | 2642414.7116 | 1131272.4154
83 | 2642597.3005 | 1131234.8891
84 | 2642489.1962 | 1131407.6455
85 | 2642489.218 | 1131407.6699
86 | 2642493.2757 | 1131412.2136
87 | 2642631.3013 | 1131679.4433

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99264 | -0.14081 | 0.0012754 | 0.00031964
1 | 0.9925 | -0.14358 | 0 | 0
2 | 0.99285 | -0.13688 | 0 | 0
3 | 0.99239 | -0.14564 | 0.0026043 | 0.00065269
4 | 0.99241 | -0.14528 | 0 | 0
5 | 0.99281 | -0.1376 | 0.0021668 | 0.00054306
6 | 0.99311 | -0.13176 | 0 | 0
7 | 0.99226 | -0.14831 | 0.0020617 | 0.0005167
8 | 0.99274 | -0.13902 | 0.0016173 | 0.00040532
9 | 0.99303 | -0.13339 | 0.0034311 | 0.00085992
10 | 0.99411 | -0.11243 | 0.0081625 | 0.0020457
11 | 0.99225 | -0.14848 | 0 | 0
12 | 0.99268 | -0.14016 | 0 | 0
13 | 0.993 | -0.13394 | 0.0010996 | 0.00027559
14 | 0.99452 | -0.10445 | 0.0020004 | 0.00050135
15 | 0.99266 | -0.14051 | 0.0015068 | 0.00037765
16 | 0.99264 | -0.14091 | 0.0024554 | 0.00061538
17 | 0.99456 | -0.10365 | 0.0018456 | 0.00046256
18 | 0.99481 | -0.098898 | 0 | 0
19 | 0.99642 | -0.068041 | 0.0078643 | 0.001971
20 | 0.99192 | -0.15423 | 0.0029831 | 0.00074765
21 | 0.99299 | -0.13402 | 0.0023902 | 0.00059903
22 | 0.997 | -0.057021 | 0.0061683 | 0.0015459
23 | 0.99125 | -0.16717 | 0.0049949 | 0.0012518
24 | 1 | 0 | -0.15946 | -0.040226
25 | 0.99081 | -0.17557 | 0 | 0
26 | 0.99956 | -0.0084573 | 0 | 0
27 | 0.99954 | -0.0089299 | 0.0030174 | 0.00075622
28 | 0.9995 | -0.0096968 | 0.0033753 | 0.00084593
29 | 0.98954 | -0.20011 | 0 | 0
30 | 0.98995 | -0.1921 | 0.0021851 | 0.00054763
31 | 0.98923 | -0.20614 | 0.0034271 | 0.00085891
32 | 0.98898 | -0.211 | 0.0022777 | 0.00057084
33 | 0.98936 | -0.20334 | 0.0024657 | 0.00061797
34 | 0.98803 | -0.22952 | 0.0023521 | 0.00058949
35 | 0.98848 | -0.22066 | 0.0033401 | 0.0008371
36 | 0.9875 | -0.23908 | 0.0053014 | 0.0013286
37 | 0.98357 | -0.31458 | 0 | 0
38 | 0.98113 | -0.3619 | 0.00062463 | 0.00015655
39 | 0.98783 | -0.23343 | 0.0018377 | 0.00046058
40 | 0.98773 | -0.23528 | 0.0016778 | 0.00042051
41 | 0.98729 | -0.24392 | 0 | 0
42 | 0.98773 | -0.23522 | 0.0018567 | 0.00046533
43 | 0.98733 | -0.2431 | 0.0016251 | 0.00040729
44 | 0.98622 | -0.26476 | 0.0010478 | 0.00026262
45 | 0.98571 | -0.27472 | 0 | 0
46 | 0.98401 | -0.30782 | 0.001628 | 0.00040802
47 | 0.98259 | -0.33554 | 0.0011417 | 0.00028615
48 | 0.98262 | -0.33509 | 0 | 0
49 | 0.98271 | -0.33333 | 0.00087689 | 0.00021977
50 | 0.98259 | -0.33569 | 0.00059282 | 0.00014857
51 | 0.98253 | -0.33669 | 0 | 0
52 | 0.98257 | -0.33596 | 0.00078366 | 0.0001964
53 | 0.98252 | -0.33687 | 0.00046705 | 0.00011705
54 | 0.98268 | -0.33393 | 0.00093507 | 0.00023435
55 | 0.98369 | -0.31407 | 0 | 0
56 | 0.98252 | -0.33692 | 0.00084585 | 0.00021199
57 | 0.9825 | -0.33728 | 0.00051361 | 0.00012872
58 | 0.98266 | -0.33425 | 0.00079603 | 0.0001995
59 | 0.98547 | -0.2794 | 0.0013389 | 0.00033555
60 | 0.98563 | -0.27623 | 0.0071521 | 0.0017925
61 | 0.98582 | -0.27259 | 0.0016671 | 0.00041781
62 | 0.98617 | -0.26577 | 0.0030565 | 0.00076602
63 | 0.98627 | -0.26366 | 0.0019912 | 0.00049905
64 | 0.987 | -0.2495 | 0.0013805 | 0.00034598
65 | 0.98714 | -0.24674 | 0.0020289 | 0.0005085
66 | 0.98705 | -0.24854 | 0 | 0
67 | 0.98687 | -0.25198 | 0.0016286 | 0.00040817
68 | 0.98703 | -0.24891 | 0.0020749 | 0.00052003
69 | 0.98682 | -0.25303 | 0.0032235 | 0.00080788
70 | 0.98675 | -0.25434 | 0.0022658 | 0.00056786
71 | 0.98674 | -0.25461 | 0.0018964 | 0.00047529
72 | 0.99216 | -0.15024 | 0.0010045 | 0.00025176
73 | 0.97225 | -0.53567 | 0.0030569 | 0.00076614
74 | 0.97292 | -0.52252 | 0.00067943 | 0.00017028
75 | 0.97166 | -0.54734 | 0.0010272 | 0.00025744
76 | 0.97329 | -0.51512 | 0.0012058 | 0.0003022
77 | 0.97153 | -0.54987 | 0.0023971 | 0.00060077
78 | 0.9739 | -0.50319 | 0 | 0
79 | 0.97067 | -0.56702 | 0.0020546 | 0.00051492
80 | 0.97429 | -0.49551 | 0 | 0
81 | 0.97045 | -0.57124 | 0.001232 | 0.00030877
82 | 0.97425 | -0.49617 | 0.0025638 | 0.00064254
83 | 0.97846 | -0.41379 | 0.0013308 | 0.00033353
84 | 0.97044 | -0.57141 | 0.00099256 | 0.00024876
85 | 0.97044 | -0.57142 | 0.0010073 | 0.00025245
86 | 0.9704 | -0.57233 | 0.0080902 | 0.0020276
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0056722 | 0.0014188 | -0.0056715 | -0.0014187 | 7.4582e-07 | 1.217e-07 | 0.008502 | 0.0085021 | 0.0085021 | 0.99264 | -0.14081 | 0.9925 | -0.14358 | 2.3357
1 | -0.0069476 | -0.0017385 | 0.0069489 | 0.0017389 | 1.2994e-06 | 4.1848e-07 | 0.010414 | 0.010414 | 0.010414 | 0.99264 | -0.14081 | 0.99285 | -0.13688 | 2.8609
2 | 0.0026045 | 0.00065228 | -0.0026043 | -0.00065269 | 2.5617e-07 | -4.1499e-07 | 0.0039047 | 0.0039049 | 0.0039049 | 0.9925 | -0.14358 | 0.99239 | -0.14564 | 1.0728
3 | 0.003067 | 0.00076644 | -0.0030667 | -0.00076668 | 2.4819e-07 | -2.4578e-07 | 0.0045974 | 0.0045975 | 0.0045975 | 0.9925 | -0.14358 | 0.99241 | -0.14528 | 1.2631
4 | 0.0077473 | 0.0019412 | -0.007747 | -0.0019411 | 2.6335e-07 | 1.0118e-07 | 0.011611 | 0.011611 | 0.011611 | 0.99285 | -0.13688 | 0.99281 | -0.1376 | 3.1898
5 | -0.014696 | -0.0036801 | 0.0147 | 0.0036821 | 3.5845e-06 | 2.0392e-06 | 0.022025 | 0.022025 | 0.022025 | 0.99285 | -0.13688 | 0.99311 | -0.13176 | 6.0507
6 | 0.0030667 | 0.00076668 | -0.0030663 | -0.00076712 | 4.4184e-07 | -4.3731e-07 | 0.0045975 | 0.0045978 | 0.0045978 | 0.99241 | -0.14528 | 0.99226 | -0.14831 | 1.2631
7 | 0.0055802 | 0.001398 | -0.0055798 | -0.001398 | 3.7799e-07 | 5.5581e-08 | 0.0083634 | 0.0083635 | 0.0083635 | 0.99281 | -0.1376 | 0.99274 | -0.13902 | 2.2977
8 | 0.0069215 | 0.0017346 | -0.006921 | -0.0017345 | 5.3662e-07 | 1.713e-07 | 0.010371 | 0.010371 | 0.010371 | 0.99311 | -0.13176 | 0.99303 | -0.13339 | 2.8491
9 | -0.021621 | -0.0054167 | 0.021641 | 0.0054288 | 1.9926e-05 | 1.2097e-05 | 0.032395 | 0.032395 | 0.032395 | 0.99311 | -0.13176 | 0.99411 | -0.11243 | 8.8998
10 | 0.0010046 | 0.00025042 | -0.0010046 | -0.00025054 | 8.3927e-09 | -1.2207e-07 | 0.0015061 | 0.0015061 | 0.0015061 | 0.99226 | -0.14831 | 0.99225 | -0.14848 | 0.41377
11 | 0.0039626 | 0.00099264 | -0.0039624 | -0.00099271 | 2.1614e-07 | -7.2909e-08 | 0.0059394 | 0.0059394 | 0.0059394 | 0.99274 | -0.13902 | 0.99268 | -0.14016 | 1.6317
12 | 0.0034899 | 0.00087454 | -0.0034898 | -0.0008746 | 9.1928e-08 | -5.7131e-08 | 0.0052294 | 0.0052295 | 0.0052295 | 0.99303 | -0.13339 | 0.993 | -0.13394 | 1.4367
13 | -0.029804 | -0.0074745 | 0.029815 | 0.0074816 | 1.134e-05 | 7.0603e-06 | 0.044613 | 0.044613 | 0.044613 | 0.99411 | -0.11243 | 0.99452 | -0.10445 | 12.2563
14 | 0.0010046 | 0.00025054 | -0.0010045 | -0.00025176 | 8.3882e-08 | -1.2195e-06 | 0.0015061 | 0.0015066 | 0.0015066 | 0.99225 | -0.14848 | 0.99216 | -0.15024 | 0.4139
15 | 0.0015069 | 0.0003775 | -0.0015068 | -0.00037765 | 2.4968e-08 | -1.5273e-07 | 0.0022587 | 0.0022588 | 0.0022588 | 0.99268 | -0.14016 | 0.99266 | -0.14051 | 0.62055
16 | 0.0024555 | 0.00061522 | -0.0024554 | -0.00061538 | 8.7506e-08 | -1.6666e-07 | 0.0036807 | 0.0036808 | 0.0036808 | 0.99268 | -0.14016 | 0.99264 | -0.14091 | 1.0112
17 | 0.0023902 | 0.00059901 | -0.0023902 | -0.00059903 | 9.106e-09 | -1.8659e-08 | 0.0035817 | 0.0035817 | 0.0035817 | 0.993 | -0.13394 | 0.99299 | -0.13402 | 0.98398
18 | -0.031815 | -0.007983 | 0.031817 | 0.0079837 | 1.2084e-06 | 7.5495e-07 | 0.047606 | 0.047606 | 0.047606 | 0.99452 | -0.10445 | 0.99456 | -0.10365 | 13.0786
19 | -0.033662 | -0.0084463 | 0.03367 | 0.008451 | 7.6335e-06 | 4.7813e-06 | 0.050367 | 0.050367 | 0.050367 | 0.99456 | -0.10365 | 0.99481 | -0.098898 | 13.8372
20 | -0.13668 | -0.034663 | 0.13689 | 0.034792 | 0.00020308 | 0.0001293 | 0.20459 | 0.20459 | 0.20459 | 0.99481 | -0.098898 | 0.99642 | -0.068041 | 28.1033
21 | 0.10301 | 0.026212 | -0.10274 | -0.026038 | 0.00027397 | 0.00017375 | 0.15422 | 0.15423 | 0.15423 | 0.99481 | -0.098898 | 0.99192 | -0.15423 | 21.1848
22 | -0.14475 | -0.036763 | 0.14483 | 0.036812 | 7.6821e-05 | 4.8937e-05 | 0.21634 | 0.21634 | 0.21634 | 0.99642 | -0.068041 | 0.997 | -0.057021 | 29.7165
23 | 0.099756 | 0.02529 | -0.099694 | -0.025251 | 6.197e-05 | 3.928e-05 | 0.14975 | 0.14975 | 0.14975 | 0.99192 | -0.15423 | 0.99125 | -0.16717 | 20.5701
24 | -0.151 | -0.038358 | 0.15141 | 0.038623 | 0.0004157 | 0.00026491 | 0.22554 | 0.22554 | 0.22554 | 0.997 | -0.057021 | 1 | 0 | 30.981
25 | 0.094699 | 0.023999 | -0.094661 | -0.023975 | 3.8191e-05 | 2.4377e-05 | 0.14225 | 0.14225 | 0.14225 | 0.99125 | -0.16717 | 0.99081 | -0.17557 | 39.0803
26 | 0.0063955 | 0.0016026 | -0.0063929 | -0.0016019 | 2.5759e-06 | 6.5398e-07 | 0.0095165 | 0.0095169 | 0.0095169 | 1 | 0 | 0.99956 | -0.0084573 | 2.6145
27 | 0.057961 | 0.014599 | -0.057893 | -0.014556 | 6.7956e-05 | 4.3184e-05 | 0.087072 | 0.087072 | 0.087072 | 0.99081 | -0.17557 | 0.98954 | -0.20011 | 23.921
28 | 0.0367 | 0.0093754 | -0.036671 | -0.009357 | 2.9321e-05 | 1.8435e-05 | 0.05518 | 0.05518 | 0.05518 | 0.99081 | -0.17557 | 0.98995 | -0.1921 | 15.1594
29 | 0.0033755 | 0.00084579 | -0.0033753 | -0.00084593 | 1.993e-07 | -1.4832e-07 | 0.005025 | 0.0050251 | 0.0050251 | 0.99956 | -0.0084573 | 0.9995 | -0.0096968 | 1.3805
30 | 0.0030174 | 0.00075615 | -0.0030174 | -0.00075622 | 6.793e-08 | -7.4199e-08 | 0.0044919 | 0.004492 | 0.004492 | 0.99956 | -0.0084573 | 0.99954 | -0.0089299 | 1.2341
31 | 0.018957 | 0.0047652 | -0.018951 | -0.004762 | 5.456e-06 | 3.262e-06 | 0.028511 | 0.028511 | 0.028511 | 0.98954 | -0.20011 | 0.98923 | -0.20614 | 7.8328
32 | 0.038936 | 0.009791 | -0.038916 | -0.0097783 | 2.0235e-05 | 1.2748e-05 | 0.058561 | 0.058561 | 0.058561 | 0.98954 | -0.20011 | 0.98898 | -0.211 | 16.0883
33 | 0.034486 | 0.0088094 | -0.034467 | -0.0087976 | 1.8719e-05 | 1.1742e-05 | 0.051896 | 0.051896 | 0.051896 | 0.98995 | -0.1921 | 0.98936 | -0.20334 | 14.2572
34 | 0.015524 | 0.0039031 | -0.015507 | -0.0038931 | 1.7311e-05 | 9.9939e-06 | 0.023356 | 0.023357 | 0.023357 | 0.98923 | -0.20614 | 0.98803 | -0.22952 | 6.4167
35 | 0.036638 | 0.0092075 | -0.036621 | -0.0091968 | 1.6888e-05 | 1.0618e-05 | 0.055134 | 0.055134 | 0.055134 | 0.98898 | -0.211 | 0.98848 | -0.22066 | 15.1468
36 | 0.032001 | 0.0081797 | -0.031946 | -0.0081451 | 5.5227e-05 | 3.4532e-05 | 0.048188 | 0.048188 | 0.048188 | 0.98936 | -0.20334 | 0.9875 | -0.23908 | 13.2384
37 | 0.013155 | 0.0033036 | -0.013151 | -0.0033016 | 3.5794e-06 | 1.9795e-06 | 0.019814 | 0.019814 | 0.019814 | 0.98803 | -0.22952 | 0.98773 | -0.23522 | 5.4435
38 | 0.033281 | 0.0083597 | -0.033261 | -0.008347 | 2.0272e-05 | 1.2699e-05 | 0.050106 | 0.050107 | 0.050107 | 0.98848 | -0.22066 | 0.98783 | -0.23343 | 13.7655
39 | 0.026645 | 0.0068165 | -0.026548 | -0.0067564 | 9.6992e-05 | 6.0036e-05 | 0.0402 | 0.0402 | 0.0402 | 0.9875 | -0.23908 | 0.98357 | -0.31458 | 11.044
40 | 0.026548 | 0.0067564 | -0.026487 | -0.006719 | 6.0419e-05 | 3.7406e-05 | 0.0402 | 0.040201 | 0.040201 | 0.98357 | -0.31458 | 0.98113 | -0.3619 | 11.0442
41 | 0.025863 | 0.0065625 | -0.025798 | -0.0065227 | 6.4367e-05 | 3.9792e-05 | 0.039253 | 0.039254 | 0.039254 | 0.98113 | -0.3619 | 0.97846 | -0.41379 | 10.784
42 | 0.031423 | 0.0078865 | -0.03142 | -0.0078847 | 2.7631e-06 | 1.7263e-06 | 0.047338 | 0.047338 | 0.047338 | 0.98783 | -0.23343 | 0.98773 | -0.23528 | 13.005
43 | 0.029742 | 0.0074642 | -0.02973 | -0.0074566 | 1.2258e-05 | 7.6371e-06 | 0.044811 | 0.044811 | 0.044811 | 0.98773 | -0.23528 | 0.98729 | -0.24392 | 12.3106
44 | 0.013123 | 0.0032897 | -0.013121 | -0.0032888 | 1.7623e-06 | 9.7426e-07 | 0.019779 | 0.019779 | 0.019779 | 0.98729 | -0.24392 | 0.98714 | -0.24674 | 5.4338
45 | 0.016607 | 0.0041668 | -0.016603 | -0.0041643 | 4.4167e-06 | 2.5864e-06 | 0.025032 | 0.025032 | 0.025032 | 0.98729 | -0.24392 | 0.987 | -0.2495 | 6.8768
46 | 0.011295 | 0.0028363 | -0.01129 | -0.0028341 | 4.2409e-06 | 2.2145e-06 | 0.017017 | 0.017017 | 0.017017 | 0.98773 | -0.23522 | 0.98733 | -0.2431 | 4.6751
47 | 0.0096653 | 0.0024268 | -0.0096553 | -0.002422 | 9.9824e-06 | 4.7865e-06 | 0.014568 | 0.014569 | 0.014569 | 0.98733 | -0.2431 | 0.98622 | -0.26476 | 4.0024
48 | 0.0086075 | 0.0021594 | -0.0086034 | -0.0021576 | 4.0851e-06 | 1.7909e-06 | 0.012988 | 0.012988 | 0.012988 | 0.98622 | -0.26476 | 0.98571 | -0.27472 | 3.5682
49 | 0.0086034 | 0.0021576 | -0.0085898 | -0.0021516 | 1.3553e-05 | 5.9478e-06 | 0.012988 | 0.012989 | 0.012989 | 0.98571 | -0.27472 | 0.98401 | -0.30782 | 3.5684
50 | 0.0069618 | 0.0017436 | -0.0069598 | -0.0017429 | 2.0731e-06 | 6.9334e-07 | 0.010527 | 0.010527 | 0.010527 | 0.98401 | -0.30782 | 0.98369 | -0.31407 | 2.8922
51 | -0.0011417 | -0.00028615 | 0.0011418 | 0.00028589 | 2.4408e-08 | -2.6017e-07 | 0.001729 | 0.0017289 | 0.001729 | 0.98259 | -0.33554 | 0.98262 | -0.33509 | 0.47501
52 | -0.004345 | -0.0010877 | 0.0043453 | 0.0010876 | 3.6376e-07 | -5.108e-08 | 0.0065793 | 0.0065792 | 0.0065793 | 0.98262 | -0.33509 | 0.98271 | -0.33333 | 1.8075
53 | 0.0032032 | 0.00080181 | -0.0032031 | -0.00080188 | 9.0849e-08 | -7.2292e-08 | 0.0048504 | 0.0048504 | 0.0048504 | 0.98262 | -0.33509 | 0.98259 | -0.33569 | 1.3325
54 | 0.0017312 | 0.00043337 | -0.0017311 | -0.00043358 | 4.8933e-08 | -2.0929e-07 | 0.0026212 | 0.0026212 | 0.0026212 | 0.98271 | -0.33333 | 0.98268 | -0.33393 | 0.72012
55 | -0.0069534 | -0.0017408 | 0.0069598 | 0.0017429 | 6.3795e-06 | 2.1363e-06 | 0.010528 | 0.010527 | 0.010528 | 0.98271 | -0.33333 | 0.98369 | -0.31407 | 2.8924
56 | 0.0026103 | 0.00065331 | -0.0026103 | -0.00065336 | 3.3842e-08 | -5.1502e-08 | 0.0039527 | 0.0039527 | 0.0039527 | 0.98259 | -0.33569 | 0.98257 | -0.33596 | 1.0859
57 | -0.0018265 | -0.0004572 | 0.0018266 | 0.00045696 | 6.3289e-08 | -2.3889e-07 | 0.002766 | 0.0027659 | 0.002766 | 0.98253 | -0.33669 | 0.98257 | -0.33596 | 0.7599
58 | 0.0018265 | 0.0004572 | -0.0018265 | -0.00045726 | 1.5629e-08 | -5.8987e-08 | 0.002766 | 0.0027661 | 0.0027661 | 0.98253 | -0.33669 | 0.98252 | -0.33687 | 0.7599
59 | 0.0013595 | 0.0003402 | -0.0013595 | -0.00034023 | 3.2358e-09 | -2.3713e-08 | 0.0020587 | 0.0020587 | 0.0020587 | 0.98252 | -0.33687 | 0.98252 | -0.33692 | 0.56558
60 | 0.00079605 | 0.00019923 | -0.00079603 | -0.0001995 | 1.2244e-08 | -2.7685e-07 | 0.0012053 | 0.0012054 | 0.0012054 | 0.98268 | -0.33393 | 0.98266 | -0.33425 | 0.33116
61 | 0.00051362 | 0.00012824 | -0.00051361 | -0.00012872 | 8.8247e-09 | -4.87e-07 | 0.0007777 | 0.00077787 | 0.00077787 | 0.98252 | -0.33692 | 0.9825 | -0.33728 | 0.2137
62 | -0.0013389 | -0.00033555 | 0.0013391 | 0.000334 | 2.0233e-07 | -1.5532e-06 | 0.0020216 | 0.002021 | 0.0020216 | 0.98547 | -0.2794 | 0.98563 | -0.27623 | 0.55539
63 | -0.0084911 | -0.0021265 | 0.0084926 | 0.0021271 | 1.4683e-06 | 6.3595e-07 | 0.012819 | 0.012818 | 0.012819 | 0.98563 | -0.27623 | 0.98582 | -0.27259 | 3.5216
64 | -0.01016 | -0.0025449 | 0.010163 | 0.0025466 | 3.3007e-06 | 1.6351e-06 | 0.015335 | 0.015335 | 0.015335 | 0.98582 | -0.27259 | 0.98617 | -0.26577 | 4.2129
65 | -0.013219 | -0.0033126 | 0.013221 | 0.0033133 | 1.3325e-06 | 7.3882e-07 | 0.019947 | 0.019946 | 0.019947 | 0.98617 | -0.26577 | 0.98627 | -0.26366 | 5.4798
66 | -0.015212 | -0.0038124 | 0.015222 | 0.0038183 | 1.0264e-05 | 5.9055e-06 | 0.022951 | 0.02295 | 0.022951 | 0.98627 | -0.26366 | 0.987 | -0.2495 | 6.3051
67 | 0.011092 | 0.0027803 | -0.011091 | -0.0027798 | 9.4717e-07 | 4.907e-07 | 0.016721 | 0.016721 | 0.016721 | 0.98714 | -0.24674 | 0.98705 | -0.24854 | 4.5936
68 | 0.0090164 | 0.0022599 | -0.009015 | -0.0022592 | 1.4776e-06 | 6.7314e-07 | 0.013593 | 0.013593 | 0.013593 | 0.98705 | -0.24854 | 0.98687 | -0.25198 | 3.7343
69 | 0.002075 | 0.00051992 | -0.0020749 | -0.00052003 | 3.7465e-08 | -1.0652e-07 | 0.0031281 | 0.0031281 | 0.0031281 | 0.98705 | -0.24854 | 0.98703 | -0.24891 | 0.85937
70 | 0.0073864 | 0.001851 | -0.007386 | -0.0018509 | 3.7232e-07 | 1.3602e-07 | 0.011137 | 0.011137 | 0.011137 | 0.98687 | -0.25198 | 0.98682 | -0.25303 | 3.0597
71 | 0.0041625 | 0.001043 | -0.0041622 | -0.0010431 | 2.5901e-07 | -5.8208e-08 | 0.0062765 | 0.0062766 | 0.0062766 | 0.98682 | -0.25303 | 0.98675 | -0.25434 | 1.7243
72 | 0.0018965 | 0.00047521 | -0.0018964 | -0.00047529 | 2.4317e-08 | -8.5715e-08 | 0.0028598 | 0.0028599 | 0.0028599 | 0.98675 | -0.25434 | 0.98674 | -0.25461 | 0.78567
73 | -0.019883 | -0.004991 | 0.019895 | 0.0049986 | 1.2474e-05 | 7.5375e-06 | 0.030433 | 0.030433 | 0.030433 | 0.97225 | -0.53567 | 0.97292 | -0.52252 | 8.3607
74 | 0.016826 | 0.0042249 | -0.016816 | -0.0042194 | 9.3591e-06 | 5.5235e-06 | 0.025755 | 0.025755 | 0.025755 | 0.97225 | -0.53567 | 0.97166 | -0.54734 | 7.0755
75 | -0.020575 | -0.0051688 | 0.020582 | 0.0051732 | 7.2736e-06 | 4.4118e-06 | 0.031472 | 0.031472 | 0.031472 | 0.97292 | -0.52252 | 0.97329 | -0.51512 | 8.6462
76 | 0.015789 | 0.0039619 | -0.015787 | -0.0039608 | 1.9104e-06 | 1.1148e-06 | 0.024182 | 0.024182 | 0.024182 | 0.97166 | -0.54734 | 0.97153 | -0.54987 | 6.6433
77 | -0.021788 | -0.0054754 | 0.0218 | 0.005483 | 1.242e-05 | 7.5778e-06 | 0.033315 | 0.033315 | 0.033315 | 0.97329 | -0.51512 | 0.9739 | -0.50319 | 9.1526
78 | 0.01339 | 0.00336 | -0.013379 | -0.0033539 | 1.0939e-05 | 6.143e-06 | 0.02051 | 0.020511 | 0.020511 | 0.97153 | -0.54987 | 0.97067 | -0.56702 | 5.6348
79 | -0.0218 | -0.005483 | 0.021808 | 0.0054879 | 7.9997e-06 | 4.8805e-06 | 0.033315 | 0.033315 | 0.033315 | 0.9739 | -0.50319 | 0.97429 | -0.49551 | 9.1526
80 | 0.011325 | 0.002839 | -0.011322 | -0.0028378 | 2.2798e-06 | 1.2098e-06 | 0.017361 | 0.017361 | 0.017361 | 0.97067 | -0.56702 | 0.97045 | -0.57124 | 4.7695
81 | 0.0025638 | 0.00064241 | -0.0025638 | -0.00064254 | 8.1449e-08 | -1.2428e-07 | 0.0039157 | 0.0039157 | 0.0039157 | 0.97429 | -0.49551 | 0.97425 | -0.49617 | 1.0757
82 | -0.024372 | -0.0061303 | 0.024467 | 0.0061892 | 9.554e-05 | 5.8847e-05 | 0.037231 | 0.03723 | 0.037231 | 0.97429 | -0.49551 | 0.97846 | -0.41379 | 10.2283
83 | 0.01009 | 0.002529 | -0.01009 | -0.0025289 | 7.9282e-08 | 3.9828e-08 | 0.015472 | 0.015472 | 0.015472 | 0.97045 | -0.57124 | 0.97044 | -0.57141 | 4.2505
84 | 0.0090978 | 0.0022802 | -0.0090978 | -0.0022802 | 2.3949e-09 | 1.1283e-09 | 0.01395 | 0.01395 | 0.01395 | 0.97044 | -0.57141 | 0.97044 | -0.57142 | 3.8324
85 | 0.0080905 | 0.0020277 | -0.0080902 | -0.0020276 | 3.5157e-07 | 1.4974e-07 | 0.012406 | 0.012406 | 0.012406 | 0.97044 | -0.57142 | 0.9704 | -0.57233 | 3.4081

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16526 | 0.041681

## res_load
| p_mw | q_mvar
0 | 0.0012754 | 0.00031964
1 | 0.0026043 | 0.00065269
2 | 0.0021668 | 0.00054306
3 | 0.0020617 | 0.0005167
4 | 0.0016173 | 0.00040532
5 | 0.0034311 | 0.00085992
6 | 0.0081625 | 0.0020457
7 | 0.0010996 | 0.00027559
8 | 0.0020004 | 0.00050135
9 | 0.0015068 | 0.00037765
10 | 0.0024554 | 0.00061538
11 | 0.0018456 | 0.00046256
12 | 0.0078643 | 0.001971
13 | 0.0029831 | 0.00074765
14 | 0.0023902 | 0.00059903
15 | 0.0061683 | 0.0015459
16 | 0.0049949 | 0.0012518
17 | 0.0058057 | 0.001455
18 | 0.0030174 | 0.00075622
19 | 0.0033753 | 0.00084593
20 | 0.0021851 | 0.00054763
21 | 0.0034271 | 0.00085891
22 | 0.0022777 | 0.00057084
23 | 0.0024657 | 0.00061797
24 | 0.0023521 | 0.00058949
25 | 0.0033401 | 0.0008371
26 | 0.0053014 | 0.0013286
27 | 0.00062463 | 0.00015655
28 | 0.0018377 | 0.00046058
29 | 0.0016778 | 0.00042051
30 | 0.0018567 | 0.00046533
31 | 0.0016251 | 0.00040729
32 | 0.0010478 | 0.00026262
33 | 0.001628 | 0.00040802
34 | 0.0011417 | 0.00028615
35 | 0.00087689 | 0.00021977
36 | 0.00059282 | 0.00014857
37 | 0.00078366 | 0.0001964
38 | 0.00046705 | 0.00011705
39 | 0.00093507 | 0.00023435
40 | 0.00084585 | 0.00021199
41 | 0.00051361 | 0.00012872
42 | 0.00079603 | 0.0001995
43 | 0.0013389 | 0.00033555
44 | 0.0071521 | 0.0017925
45 | 0.0016671 | 0.00041781
46 | 0.0030565 | 0.00076602
47 | 0.0019912 | 0.00049905
48 | 0.0013805 | 0.00034598
49 | 0.0020289 | 0.0005085
50 | 0.0016286 | 0.00040817
51 | 0.0020749 | 0.00052003
52 | 0.0032235 | 0.00080788
53 | 0.0022658 | 0.00056786
54 | 0.0018964 | 0.00047529
55 | 0.0010045 | 0.00025176
56 | 0.0030569 | 0.00076614
57 | 0.00067943 | 0.00017028
58 | 0.0010272 | 0.00025744
59 | 0.0012058 | 0.0003022
60 | 0.0023971 | 0.00060077
61 | 0.0020546 | 0.00051492
62 | 0.001232 | 0.00030877
63 | 0.0025638 | 0.00064254
64 | 0.0013308 | 0.00033353
65 | 0.00099256 | 0.00024876
66 | 0.0010073 | 0.00025245
67 | 0.0080902 | 0.0020276

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1