## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6007-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6007-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6007-27_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6007-27_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6007-27_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6007-27_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6007-27_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6007-27_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6007-27_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6007-27_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_6007-27_0_4_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_6007-27_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_6007-27_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6007-27_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_6007-27_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_6007-27_0_4_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_6007-27_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6007-27_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6007-27_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6007-27_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6007-27_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6007-27_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6007-27_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6007-27_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_6007-27_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_6007-27_0_4_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_6007-27_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_6007-27_0_4_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_6007-27_0_4_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_6007-27_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_6007-27_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6007-27_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6007-27_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_6007-27_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_6007-27_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_6007-27_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_6007-27_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6007-27_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_6007-27_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_6007-27_0_4_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_6007-27_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_6007-27_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_6007-27_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6007-27_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_6007-27_0_4_node_50 | 0.4 | n |  | TRUE
45 | bus_MV_264_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6007-27_0_4_load_0 | 0 | 0.011333 | 0.0028404 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6007-27_0_4_load_1 | 1 | 0.016382 | 0.0041058 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6007-27_0_4_load_3 | 3 | 0.022036 | 0.0055228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6007-27_0_4_load_7 | 6 | 0.057077 | 0.014305 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6007-27_0_4_load_9 | 7 | 0.019438 | 0.0048717 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6007-27_0_4_load_34 | 9 | 0.0078008 | 0.0019551 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6007-27_0_4_load_47 | 11 | 0.0055135 | 0.0013818 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6007-27_0_4_load_10 | 12 | 0.0052357 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6007-27_0_4_load_33 | 13 | 0.0055568 | 0.0013927 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6007-27_0_4_load_32 | 14 | 0.04475 | 0.011215 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6007-27_0_4_load_46 | 15 | 0.0076393 | 0.0019146 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6007-27_0_4_load_12 | 16 | 0.014864 | 0.0037253 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6007-27_0_4_load_13 | 17 | 0.016777 | 0.0042047 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6007-27_0_4_load_14 | 18 | 0.039563 | 0.0099154 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6007-27_0_4_load_15 | 19 | 0.010933 | 0.0027401 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6007-27_0_4_load_16 | 20 | 0.029994 | 0.0075172 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6007-27_0_4_load_17 | 21 | 0.0090035 | 0.0022565 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6007-27_0_4_load_22 | 22 | 0.056614 | 0.014189 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6007-27_0_4_load_37 | 25 | 0.0029748 | 0.00074555 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6007-27_0_4_load_53 | 27 | 0.005339 | 0.0013381 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6007-27_0_4_load_52 | 28 | 0.0070458 | 0.0017658 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6007-27_0_4_load_35 | 29 | 0.0041597 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6007-27_0_4_load_23 | 30 | 0.049555 | 0.01242 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6007-27_0_4_load_30 | 32 | 0.01117 | 0.0027994 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6007-27_0_4_load_38 | 33 | 0.0032908 | 0.00082475 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6007-27_0_4_load_48 | 34 | 0.0041127 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6007-27_0_4_load_42 | 36 | 0.0038801 | 0.00097243 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6007-27_0_4_load_40 | 37 | 0.0039493 | 0.00098978 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6007-27_0_4_load_36 | 38 | 0.019571 | 0.0049049 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6007-27_0_4_load_51 | 39 | 0.0038305 | 0.00096001 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6007-27_0_4_load_43 | 41 | 0.0039434 | 0.0009883 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6007-27_0_4_load_44 | 42 | 0.002745 | 0.00068796 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6007-27_0_4_load_45 | 43 | 0.0071569 | 0.0017937 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6007-27_0_4_load_50 | 44 | 0.0040104 | 0.0010051 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6007-27_0_4_line_0 |  | 0 | 1 | 0.0018032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6007-27_0_4_line_1 |  | 0 | 2 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6007-27_0_4_line_2 |  | 1 | 3 | 0.0025886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6007-27_0_4_line_3 |  | 2 | 4 | 0.001747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6007-27_0_4_line_4 |  | 2 | 5 | 0.029736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6007-27_0_4_line_5 |  | 3 | 6 | 0.031622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6007-27_0_4_line_6 |  | 4 | 7 | 0.017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6007-27_0_4_line_7 |  | 5 | 10 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6007-27_0_4_line_8 |  | 5 | 11 | 0.012407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6007-27_0_4_line_9 |  | 5 | 8 | 0.030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6007-27_0_4_line_10 |  | 7 | 12 | 0.0089085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6007-27_0_4_line_11 |  | 8 | 9 | 0.0091924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6007-27_0_4_line_12 |  | 9 | 13 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6007-27_0_4_line_13 |  | 10 | 14 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6007-27_0_4_line_14 |  | 11 | 15 | 0.0076648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6007-27_0_4_line_15 |  | 13 | 29 | 0.01757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6007-27_0_4_line_16 |  | 14 | 22 | 0.0036634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6007-27_0_4_line_17 |  | 15 | 43 | 0.00037005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6007-27_0_4_line_18 |  | 16 | 17 | 0.00074883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6007-27_0_4_line_19 |  | 16 | 18 | 0.0036234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6007-27_0_4_line_20 |  | 17 | 19 | 0.019243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6007-27_0_4_line_21 |  | 18 | 20 | 0.0011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6007-27_0_4_line_22 |  | 19 | 21 | 0.00038694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6007-27_0_4_line_23 |  | 21 | 22 | 0.019181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6007-27_0_4_line_24 |  | 23 | 24 | 0.009237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6007-27_0_4_line_25 |  | 23 | 25 | 0.0089496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6007-27_0_4_line_26 |  | 24 | 36 | 0.012143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6007-27_0_4_line_27 |  | 24 | 37 | 0.0044343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6007-27_0_4_line_28 |  | 25 | 38 | 0.007921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6007-27_0_4_line_29 |  | 26 | 27 | 0.032681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6007-27_0_4_line_30 |  | 26 | 28 | 0.0068665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6007-27_0_4_line_31 |  | 28 | 39 | 0.0087019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6007-27_0_4_line_32 |  | 30 | 31 | 0.0097131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6007-27_0_4_line_33 |  | 31 | 32 | 0.0074866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6007-27_0_4_line_34 |  | 32 | 33 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6007-27_0_4_line_35 |  | 33 | 38 | 0.00025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6007-27_0_4_line_36 |  | 34 | 35 | 0.0056196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6007-27_0_4_line_37 |  | 35 | 36 | 0.010691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6007-27_0_4_line_38 |  | 37 | 40 | 0.013245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6007-27_0_4_line_39 |  | 39 | 44 | 0.014002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6007-27_0_4_line_40 |  | 40 | 41 | 0.010827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6007-27_0_4_line_41 |  | 40 | 42 | 0.010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6007-27_0_4_line_42 |  | 41 | 43 | 0.0055427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6007-27_0_4_line_43 |  | 42 | 44 | 0.0025996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6007-27_0_4_trafo_22 | 0.63 MVA 20/0.4 kV | 45 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2642401.7363 | 1130585.421 | 2642401.8765 | 1130583.6233
1 | 2642400.8503 | 1130596.7822 | 2642401.7363 | 1130585.421
2 | 2642402.0777 | 1130581.0425 | 2642401.8765 | 1130583.6233
3 | 2642402.5994 | 1130596.6722 | 2642400.8503 | 1130596.7822
4 | 2642372.4268 | 1130599.6957 | 2642374.6092 | 1130601.4785 | 2642384.4616 | 1130597.8679 | 2642400.8503 | 1130596.7822
5 | 2642402.0777 | 1130581.0425 | 2642402.2297 | 1130579.0939 | 2642414.1593 | 1130573.6081 | 2642423.1796 | 1130559.748
6 | 2642402.5994 | 1130596.6722 | 2642419.6033 | 1130596.1767
7 | 2642372.4268 | 1130599.6957 | 2642366.4001 | 1130594.7954 | 2642359.9539 | 1130591.493
8 | 2642372.4268 | 1130599.6957 | 2642370.0083 | 1130603.0249 | 2642364.1276 | 1130608.8706
9 | 2642388.0397 | 1130625.785 | 2642383.4538 | 1130617.4931 | 2642374.6092 | 1130601.4785 | 2642372.4268 | 1130599.6957
10 | 2642428.508 | 1130595.9173 | 2642419.6033 | 1130596.1767
11 | 2642388.0397 | 1130625.785 | 2642392.4403 | 1130633.8556
12 | 2642398.1239 | 1130644.2847 | 2642392.8529 | 1130634.6121 | 2642392.4403 | 1130633.8556
13 | 2642359.9539 | 1130591.493 | 2642361.7866 | 1130582.7347 | 2642363.6106 | 1130576.619
14 | 2642364.1276 | 1130608.8706 | 2642360.9577 | 1130612.0217 | 2642358.7039 | 1130614.2865
15 | 2642398.1239 | 1130644.2847 | 2642398.5632 | 1130645.0908 | 2642406.5369 | 1130659.7101
16 | 2642363.6106 | 1130576.619 | 2642364.6577 | 1130573.1083
17 | 2642358.7039 | 1130614.2865 | 2642358.4429 | 1130614.5488
18 | 2642370.6508 | 1130535.3179 | 2642370.9743 | 1130534.6425
19 | 2642370.9743 | 1130534.6425 | 2642372.5395 | 1130531.3746
20 | 2642370.6508 | 1130535.3179 | 2642370.2691 | 1130536.1148 | 2642366.9668 | 1130544.6738 | 2642367.4666 | 1130553.593 | 2642367.4683 | 1130553.8454
21 | 2642373.0484 | 1130530.3121 | 2642372.5395 | 1130531.3746
22 | 2642367.4709 | 1130554.2323 | 2642367.4683 | 1130553.8454
23 | 2642367.4709 | 1130554.2323 | 2642367.4969 | 1130558.0621 | 2642367.1864 | 1130561.6951 | 2642365.7537 | 1130569.4335 | 2642364.6577 | 1130573.1083
24 | 2642330.0899 | 1130623.0668 | 2642327.2865 | 1130614.265
25 | 2642327.2865 | 1130614.265 | 2642330.5693 | 1130605.9392
26 | 2642330.0899 | 1130623.0668 | 2642327.3227 | 1130628.8949 | 2642325.1028 | 1130634.1356
27 | 2642330.0899 | 1130623.0668 | 2642334.1228 | 1130624.9104
28 | 2642333.4748 | 1130598.5703 | 2642330.5693 | 1130605.9392
29 | 2642326.8438 | 1130659.9074 | 2642330.6341 | 1130665.2477 | 2642344.7881 | 1130679.7097 | 2642349.7563 | 1130682.8858
30 | 2642326.8438 | 1130659.9074 | 2642333.5384 | 1130658.5202 | 2642333.5537 | 1130658.4947
31 | 2642338.0396 | 1130651.0382 | 2642333.5537 | 1130658.4947
32 | 2642340.2472 | 1130581.3944 | 2642331.6017 | 1130576.9671
33 | 2642340.2472 | 1130581.3944 | 2642337.501 | 1130588.3592
34 | 2642337.501 | 1130588.3592 | 2642333.567 | 1130598.3366
35 | 2642333.4748 | 1130598.5703 | 2642333.567 | 1130598.3366
36 | 2642320.9328 | 1130643.9801 | 2642315.556 | 1130642.3463
37 | 2642320.9328 | 1130643.9801 | 2642325.1028 | 1130634.1356
38 | 2642346.8959 | 1130626.1527 | 2642338.5114 | 1130626.9166 | 2642334.1228 | 1130624.9104
39 | 2642338.0396 | 1130651.0382 | 2642342.1097 | 1130644.2729 | 2642344.1331 | 1130638.5108
40 | 2642346.8959 | 1130626.1527 | 2642354.5333 | 1130618.4777
41 | 2642346.8959 | 1130626.1527 | 2642344.8934 | 1130636.0302
42 | 2642354.5333 | 1130618.4777 | 2642358.4429 | 1130614.5488
43 | 2642344.8934 | 1130636.0302 | 2642344.7422 | 1130636.7764 | 2642344.1331 | 1130638.5108

## bus_geodata
| x | y | coords
0 | 2642401.7363 | 1130585.421
1 | 2642401.8765 | 1130583.6233
2 | 2642400.8503 | 1130596.7822
3 | 2642402.0777 | 1130581.0425
4 | 2642402.5994 | 1130596.6722
5 | 2642372.4268 | 1130599.6957
6 | 2642423.1796 | 1130559.748
7 | 2642419.6033 | 1130596.1767
8 | 2642388.0397 | 1130625.785
9 | 2642392.4403 | 1130633.8556
10 | 2642359.9539 | 1130591.493
11 | 2642364.1276 | 1130608.8706
12 | 2642428.508 | 1130595.9173
13 | 2642398.1239 | 1130644.2847
14 | 2642363.6106 | 1130576.619
15 | 2642358.7039 | 1130614.2865
16 | 2642370.9743 | 1130534.6425
17 | 2642370.6508 | 1130535.3179
18 | 2642372.5395 | 1130531.3746
19 | 2642367.4683 | 1130553.8454
20 | 2642373.0484 | 1130530.3121
21 | 2642367.4709 | 1130554.2323
22 | 2642364.6577 | 1130573.1083
23 | 2642327.2865 | 1130614.265
24 | 2642330.0899 | 1130623.0668
25 | 2642330.5693 | 1130605.9392
26 | 2642326.8438 | 1130659.9074
27 | 2642349.7563 | 1130682.8858
28 | 2642333.5537 | 1130658.4947
29 | 2642406.5369 | 1130659.7101
30 | 2642331.6017 | 1130576.9671
31 | 2642340.2472 | 1130581.3944
32 | 2642337.501 | 1130588.3592
33 | 2642333.567 | 1130598.3366
34 | 2642315.556 | 1130642.3463
35 | 2642320.9328 | 1130643.9801
36 | 2642325.1029 | 1130634.1356
37 | 2642334.1228 | 1130624.9104
38 | 2642333.4748 | 1130598.5703
39 | 2642338.0396 | 1130651.0382
40 | 2642346.8959 | 1130626.1527
41 | 2642354.5333 | 1130618.4777
42 | 2642344.8934 | 1130636.0302
43 | 2642358.4429 | 1130614.5488
44 | 2642344.1331 | 1130638.5108
45 | 2642359.9539 | 1130591.493

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9922 | -0.14967 | 0.011333 | 0.0028404
1 | 0.99205 | -0.15272 | 0.016382 | 0.0041058
2 | 0.99332 | -0.12815 | 0 | 0
3 | 0.99186 | -0.15635 | 0.022036 | 0.0055228
4 | 0.99328 | -0.12891 | 0 | 0
5 | 0.9969 | -0.059316 | 0 | 0
6 | 0.99021 | -0.18838 | 0.057077 | 0.014305
7 | 0.9929 | -0.13632 | 0.019438 | 0.0048717
8 | 0.99641 | -0.068719 | 0 | 0
9 | 0.99626 | -0.071547 | 0.0078008 | 0.0019551
10 | 0.99824 | -0.033538 | 0 | 0
11 | 0.99607 | -0.075185 | 0.0055135 | 0.0013818
12 | 0.99285 | -0.13715 | 0.0052357 | 0.0013122
13 | 0.99616 | -0.073574 | 0.0055568 | 0.0013927
14 | 0.99962 | -0.0072289 | 0.04475 | 0.011215
15 | 0.99508 | -0.094084 | 0.0076393 | 0.0019146
16 | 0.99601 | -0.076602 | 0.014864 | 0.0037253
17 | 0.99607 | -0.075491 | 0.016777 | 0.0042047
18 | 0.99579 | -0.081031 | 0.039563 | 0.0099154
19 | 0.99785 | -0.041342 | 0.010933 | 0.0027401
20 | 0.99575 | -0.081652 | 0.029994 | 0.0075172
21 | 0.99788 | -0.040583 | 0.0090035 | 0.0022565
22 | 1 | 0 | -0.46509 | -0.11723
23 | 0.99088 | -0.1751 | 0 | 0
24 | 0.99162 | -0.16091 | 0 | 0
25 | 0.99017 | -0.18886 | 0.0029748 | 0.00074555
26 | 0.9926 | -0.142 | 0 | 0
27 | 0.99244 | -0.14508 | 0.005339 | 0.0013381
28 | 0.99263 | -0.14135 | 0.0070458 | 0.0017658
29 | 0.99609 | -0.074858 | 0.0041597 | 0.0010425
30 | 0.98817 | -0.22772 | 0.049555 | 0.01242
31 | 0.98861 | -0.21914 | 0 | 0
32 | 0.98895 | -0.21252 | 0.01117 | 0.0027994
33 | 0.98955 | -0.20092 | 0.0032908 | 0.00082475
34 | 0.99147 | -0.16382 | 0.0041127 | 0.0010307
35 | 0.99149 | -0.16342 | 0 | 0
36 | 0.99153 | -0.16264 | 0.0038801 | 0.00097243
37 | 0.992 | -0.15349 | 0.0039493 | 0.00098978
38 | 0.98956 | -0.20064 | 0.019571 | 0.0049049
39 | 0.99273 | -0.13944 | 0.0038305 | 0.00096001
40 | 0.9932 | -0.13041 | 0 | 0
41 | 0.9944 | -0.10719 | 0.0039434 | 0.0009883
42 | 0.99298 | -0.1345 | 0.002745 | 0.00068796
43 | 0.99504 | -0.094948 | 0.0071569 | 0.0017937
44 | 0.99294 | -0.13543 | 0.0040104 | 0.0010051
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.09561 | 0.024006 | -0.095596 | -0.023998 | 1.3906e-05 | 8.8763e-06 | 0.1434 | 0.1434 | 0.1434 | 0.9922 | -0.14967 | 0.99205 | -0.15272 | 39.3965
1 | -0.10694 | -0.026847 | 0.10705 | 0.026917 | 0.00010995 | 7.0218e-05 | 0.1604 | 0.1604 | 0.1604 | 0.9922 | -0.14967 | 0.99332 | -0.12815 | 44.066
2 | 0.079214 | 0.019892 | -0.079201 | -0.019883 | 1.3707e-05 | 8.7393e-06 | 0.11883 | 0.11883 | 0.11883 | 0.99205 | -0.15272 | 0.99186 | -0.15635 | 32.6459
3 | 0.024684 | 0.0061898 | -0.024683 | -0.0061893 | 8.9581e-07 | 5.5071e-07 | 0.036978 | 0.036978 | 0.036978 | 0.99332 | -0.12815 | 0.99328 | -0.12891 | 10.1589
4 | -0.13174 | -0.033107 | 0.13217 | 0.033385 | 0.00043442 | 0.00027764 | 0.19738 | 0.19738 | 0.19738 | 0.99332 | -0.12815 | 0.9969 | -0.059316 | 54.2248
5 | 0.057165 | 0.01436 | -0.057077 | -0.014305 | 8.7238e-05 | 5.5425e-05 | 0.085772 | 0.085772 | 0.085772 | 0.99186 | -0.15635 | 0.99021 | -0.18838 | 23.5637
6 | 0.024683 | 0.0061893 | -0.024674 | -0.0061839 | 8.7229e-06 | 5.3625e-06 | 0.036978 | 0.036978 | 0.036978 | 0.99328 | -0.12891 | 0.9929 | -0.13632 | 10.1589
7 | -0.29627 | -0.074839 | 0.29664 | 0.075073 | 0.00036654 | 0.000234 | 0.44243 | 0.44243 | 0.44243 | 0.9969 | -0.059316 | 0.99824 | -0.033538 | 40.5158
8 | 0.14657 | 0.037058 | -0.14646 | -0.036987 | 0.00011146 | 7.101e-05 | 0.21889 | 0.21889 | 0.21889 | 0.9969 | -0.059316 | 0.99607 | -0.075185 | 30.0672
9 | 0.017529 | 0.0043966 | -0.017521 | -0.004392 | 7.8532e-06 | 4.6274e-06 | 0.026165 | 0.026166 | 0.026166 | 0.9969 | -0.059316 | 0.99641 | -0.068719 | 7.1883
10 | 0.005236 | 0.0013122 | -0.0052357 | -0.0013122 | 2.057e-07 | 1.6435e-08 | 0.0078469 | 0.007847 | 0.007847 | 0.9929 | -0.13632 | 0.99285 | -0.13715 | 2.1558
11 | 0.017521 | 0.004392 | -0.017518 | -0.0043906 | 2.36e-06 | 1.3907e-06 | 0.026166 | 0.026166 | 0.026166 | 0.99641 | -0.068719 | 0.99626 | -0.071547 | 7.1884
12 | 0.0097177 | 0.0024356 | -0.0097167 | -0.0024351 | 9.383e-07 | 4.4587e-07 | 0.014514 | 0.014514 | 0.014514 | 0.99626 | -0.071547 | 0.99616 | -0.073574 | 3.9875
13 | -0.29664 | -0.075073 | 0.29701 | 0.075313 | 0.0003751 | 0.00023946 | 0.44243 | 0.44243 | 0.44243 | 0.99824 | -0.033538 | 0.99962 | -0.0072289 | 40.5158
14 | 0.14094 | 0.035605 | -0.14082 | -0.035524 | 0.00012755 | 8.153e-05 | 0.21065 | 0.21065 | 0.21065 | 0.99607 | -0.075185 | 0.99508 | -0.094084 | 57.8717
15 | 0.0041599 | 0.0010424 | -0.0041597 | -0.0010425 | 2.5442e-07 | -6.5902e-08 | 0.0062139 | 0.006214 | 0.006214 | 0.99616 | -0.073574 | 0.99609 | -0.074858 | 1.7071
16 | -0.34176 | -0.086528 | 0.34188 | 0.086604 | 0.00011866 | 7.58e-05 | 0.50905 | 0.50905 | 0.50905 | 0.99962 | -0.0072289 | 1 | 0 | 46.616
17 | 0.13318 | 0.033609 | -0.13317 | -0.033606 | 5.508e-06 | 3.5203e-06 | 0.19923 | 0.19923 | 0.19923 | 0.99508 | -0.094084 | 0.99504 | -0.094948 | 54.7334
18 | -0.084436 | -0.021168 | 0.084441 | 0.021171 | 4.4686e-06 | 2.8502e-06 | 0.12615 | 0.12615 | 0.12615 | 0.99601 | -0.076602 | 0.99607 | -0.075491 | 34.6559
19 | 0.069572 | 0.017442 | -0.069558 | -0.017433 | 1.468e-05 | 9.348e-06 | 0.10394 | 0.10394 | 0.10394 | 0.99601 | -0.076602 | 0.99579 | -0.081031 | 28.5552
20 | -0.10122 | -0.025375 | 0.10138 | 0.025481 | 0.00016499 | 0.00010535 | 0.15121 | 0.15121 | 0.15121 | 0.99607 | -0.075491 | 0.99785 | -0.041342 | 41.5412
21 | 0.029995 | 0.0075177 | -0.029994 | -0.0075172 | 8.8753e-07 | 5.5269e-07 | 0.044822 | 0.044822 | 0.044822 | 0.99579 | -0.081031 | 0.99575 | -0.081652 | 12.3137
22 | -0.11232 | -0.028221 | 0.11232 | 0.028223 | 4.0717e-06 | 2.6008e-06 | 0.16751 | 0.16751 | 0.16751 | 0.99785 | -0.041342 | 0.99788 | -0.040583 | 46.0202
23 | -0.12132 | -0.03048 | 0.12156 | 0.03063 | 0.00023549 | 0.00015046 | 0.18094 | 0.18094 | 0.18094 | 0.99788 | -0.040583 | 1 | 0 | 49.7086
24 | -0.086735 | -0.021805 | 0.086794 | 0.021843 | 5.8787e-05 | 3.7505e-05 | 0.13028 | 0.13028 | 0.13028 | 0.99088 | -0.1751 | 0.99162 | -0.16091 | 35.7899
25 | 0.086735 | 0.021805 | -0.086678 | -0.021769 | 5.6959e-05 | 3.6338e-05 | 0.13028 | 0.13028 | 0.13028 | 0.99088 | -0.1751 | 0.99017 | -0.18886 | 35.7899
26 | 0.0079937 | 0.0020034 | -0.007993 | -0.0020031 | 6.5521e-07 | 2.627e-07 | 0.011995 | 0.011995 | 0.011995 | 0.99162 | -0.16091 | 0.99153 | -0.16264 | 3.2954
27 | -0.094788 | -0.023846 | 0.094821 | 0.023868 | 3.3658e-05 | 2.1484e-05 | 0.14227 | 0.14227 | 0.14227 | 0.99162 | -0.16091 | 0.992 | -0.15349 | 39.0853
28 | 0.083704 | 0.021023 | -0.083657 | -0.020993 | 4.7011e-05 | 2.9985e-05 | 0.1258 | 0.1258 | 0.1258 | 0.99017 | -0.18886 | 0.98956 | -0.20064 | 34.5617
29 | 0.0053398 | 0.0013382 | -0.005339 | -0.0013381 | 7.8533e-07 | 8.0253e-08 | 0.008005 | 0.0080051 | 0.0080051 | 0.9926 | -0.142 | 0.99244 | -0.14508 | 2.1992
30 | -0.0053398 | -0.0013382 | 0.00534 | 0.0013382 | 1.65e-07 | 1.6842e-08 | 0.008005 | 0.0080049 | 0.008005 | 0.9926 | -0.142 | 0.99263 | -0.14135 | 2.1992
31 | -0.012386 | -0.003104 | 0.012387 | 0.0031046 | 1.1249e-06 | 6.0747e-07 | 0.018567 | 0.018567 | 0.018567 | 0.99263 | -0.14135 | 0.99273 | -0.13944 | 5.1008
32 | -0.049555 | -0.01242 | 0.049575 | 0.012432 | 2.0282e-05 | 1.2856e-05 | 0.074621 | 0.074621 | 0.074621 | 0.98817 | -0.22772 | 0.98861 | -0.21914 | 20.5003
33 | -0.049575 | -0.012432 | 0.049591 | 0.012442 | 1.5633e-05 | 9.909e-06 | 0.074621 | 0.074621 | 0.074621 | 0.98861 | -0.21914 | 0.98895 | -0.21252 | 20.5003
34 | -0.060761 | -0.015242 | 0.060794 | 0.015263 | 3.3619e-05 | 2.1378e-05 | 0.091428 | 0.091428 | 0.091428 | 0.98895 | -0.21252 | 0.98955 | -0.20092 | 25.1175
35 | -0.064085 | -0.016088 | 0.064086 | 0.016089 | 8.7512e-07 | 5.5685e-07 | 0.096376 | 0.096376 | 0.096376 | 0.98955 | -0.20092 | 0.98956 | -0.20064 | 26.477
36 | -0.0041127 | -0.0010307 | 0.0041128 | 0.0010307 | 8.0289e-08 | -2.1089e-08 | 0.0061725 | 0.0061725 | 0.0061725 | 0.99147 | -0.16382 | 0.99149 | -0.16342 | 1.6957
37 | -0.0041128 | -0.0010307 | 0.004113 | 0.0010307 | 1.5275e-07 | -4.0131e-08 | 0.0061725 | 0.0061724 | 0.0061725 | 0.99149 | -0.16342 | 0.99153 | -0.16264 | 1.6957
38 | -0.098771 | -0.024857 | 0.09888 | 0.024927 | 0.00010908 | 6.9639e-05 | 0.14819 | 0.14819 | 0.14819 | 0.992 | -0.15349 | 0.9932 | -0.13041 | 40.7127
39 | -0.016217 | -0.0040646 | 0.01622 | 0.0040664 | 3.1027e-06 | 1.8047e-06 | 0.024309 | 0.024308 | 0.024309 | 0.99273 | -0.13944 | 0.99294 | -0.13543 | 6.6782
40 | -0.12186 | -0.03069 | 0.122 | 0.030776 | 0.00013542 | 8.6529e-05 | 0.18263 | 0.18263 | 0.18263 | 0.9932 | -0.13041 | 0.9944 | -0.10719 | 50.172
41 | 0.022981 | 0.0057628 | -0.022977 | -0.00576 | 4.4807e-06 | 2.7372e-06 | 0.034432 | 0.034432 | 0.034432 | 0.9932 | -0.13041 | 0.99298 | -0.1345 | 9.4593
42 | -0.12594 | -0.031765 | 0.12601 | 0.031812 | 7.3875e-05 | 4.7208e-05 | 0.18853 | 0.18853 | 0.18853 | 0.9944 | -0.10719 | 0.99504 | -0.094948 | 51.7931
43 | 0.020232 | 0.0050721 | -0.020231 | -0.0050716 | 8.9609e-07 | 5.3987e-07 | 0.030318 | 0.030318 | 0.030318 | 0.99298 | -0.1345 | 0.99294 | -0.13543 | 8.3293

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5217 | 0.13142

## res_load
| p_mw | q_mvar
0 | 0.011333 | 0.0028404
1 | 0.016382 | 0.0041058
2 | 0.022036 | 0.0055228
3 | 0.057077 | 0.014305
4 | 0.019438 | 0.0048717
5 | 0.0078008 | 0.0019551
6 | 0.0055135 | 0.0013818
7 | 0.0052357 | 0.0013122
8 | 0.0055568 | 0.0013927
9 | 0.04475 | 0.011215
10 | 0.0076393 | 0.0019146
11 | 0.014864 | 0.0037253
12 | 0.016777 | 0.0042047
13 | 0.039563 | 0.0099154
14 | 0.010933 | 0.0027401
15 | 0.029994 | 0.0075172
16 | 0.0090035 | 0.0022565
17 | 0.056614 | 0.014189
18 | 0.0029748 | 0.00074555
19 | 0.005339 | 0.0013381
20 | 0.0070458 | 0.0017658
21 | 0.0041597 | 0.0010425
22 | 0.049555 | 0.01242
23 | 0.01117 | 0.0027994
24 | 0.0032908 | 0.00082475
25 | 0.0041127 | 0.0010307
26 | 0.0038801 | 0.00097243
27 | 0.0039493 | 0.00098978
28 | 0.019571 | 0.0049049
29 | 0.0038305 | 0.00096001
30 | 0.0039434 | 0.0009883
31 | 0.002745 | 0.00068796
32 | 0.0071569 | 0.0017937
33 | 0.0040104 | 0.0010051

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1