## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6007-41_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6007-41_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6007-41_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6007-41_0_5_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_6007-41_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_6007-41_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_6007-41_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6007-41_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6007-41_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6007-41_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6007-41_0_5_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_6007-41_0_5_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_6007-41_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_6007-41_0_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_6007-41_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_6007-41_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6007-41_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6007-41_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6007-41_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_6007-41_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6007-41_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6007-41_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_6007-41_0_5_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_6007-41_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_6007-41_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_6007-41_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_6007-41_0_5_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_6007-41_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6007-41_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6007-41_0_5_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6007-41_0_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6007-41_0_5_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_6007-41_0_5_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_6007-41_0_5_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_6007-41_0_5_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_6007-41_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6007-41_0_5_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_6007-41_0_5_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_6007-41_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6007-41_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6007-41_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_6007-41_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6007-41_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6007-41_0_5_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_6007-41_0_5_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6007-41_0_5_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_6007-41_0_5_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_6007-41_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_6007-41_0_5_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_6007-41_0_5_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_6007-41_0_5_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_6007-41_0_5_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_6007-41_0_5_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_6007-41_0_5_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_6007-41_0_5_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_6007-41_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6007-41_0_5_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_6007-41_0_5_node_61 | 0.4 | n |  | TRUE
58 | bus_MV_264_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6007-41_0_5_load_0 | 0 | 0.03151 | 0.0078972 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6007-41_0_5_load_1 | 1 | 0.036834 | 0.0092315 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6007-41_0_5_load_3 | 2 | 0.0047412 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6007-41_0_5_load_10 | 3 | 0.0052055 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6007-41_0_5_load_11 | 4 | 0.0032568 | 0.00081624 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6007-41_0_5_load_9 | 5 | 0.0096457 | 0.0024174 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6007-41_0_5_load_7 | 6 | 0.002823 | 0.00070751 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6007-41_0_5_load_5 | 7 | 0.0060064 | 0.0015053 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6007-41_0_5_load_6 | 8 | 0.0054255 | 0.0013598 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6007-41_0_5_load_8 | 9 | 0.0031725 | 0.00079509 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6007-41_0_5_load_32 | 10 | 0.0035556 | 0.00089111 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6007-41_0_5_load_33 | 11 | 0.0098331 | 0.0024644 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6007-41_0_5_load_12 | 12 | 0.011978 | 0.0030019 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6007-41_0_5_load_19 | 13 | 0.0088716 | 0.0022234 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6007-41_0_5_load_18 | 14 | 0.012325 | 0.003089 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6007-41_0_5_load_13 | 15 | 0.032286 | 0.0080918 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6007-41_0_5_load_20 | 19 | 0.006703 | 0.0016799 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6007-41_0_5_load_21 | 21 | 0.037543 | 0.0094093 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6007-41_0_5_load_40 | 22 | 0.007564 | 0.0018957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6007-41_0_5_load_27 | 25 | 0.0078083 | 0.0019569 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6007-41_0_5_load_41 | 26 | 0.023083 | 0.0057852 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6007-41_0_5_load_25 | 27 | 0.035101 | 0.008797 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6007-41_0_5_load_29 | 30 | 0.0072498 | 0.001817 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6007-41_0_5_load_39 | 31 | 0.0047465 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6007-41_0_5_load_38 | 33 | 0.019807 | 0.0049641 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6007-41_0_5_load_43 | 34 | 0.015758 | 0.0039493 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6007-41_0_5_load_53 | 36 | 0.0091279 | 0.0022877 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6007-41_0_5_load_52 | 37 | 0.0079451 | 0.0019912 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6007-41_0_5_load_34 | 38 | 0.0060177 | 0.0015082 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6007-41_0_5_load_35 | 39 | 0.0062676 | 0.0015708 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6007-41_0_5_load_36 | 40 | 0.016434 | 0.0041187 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6007-41_0_5_load_37 | 41 | 0.0049545 | 0.0012417 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6007-41_0_5_load_45 | 43 | 0.0049361 | 0.0012371 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6007-41_0_5_load_46 | 44 | 0.0061058 | 0.0015303 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6007-41_0_5_load_49 | 46 | 0.013838 | 0.003468 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6007-41_0_5_load_50 | 48 | 0.0089034 | 0.0022314 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6007-41_0_5_load_59 | 49 | 0.0081821 | 0.0020506 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6007-41_0_5_load_58 | 50 | 0.013404 | 0.0033595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6007-41_0_5_load_60 | 51 | 0.0017185 | 0.00043071 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6007-41_0_5_load_51 | 52 | 0.0090319 | 0.0022636 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6007-41_0_5_load_55 | 53 | 0.0090433 | 0.0022665 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6007-41_0_5_load_56 | 54 | 0.0033665 | 0.00084371 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6007-41_0_5_load_54 | 55 | 0.028302 | 0.0070931 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6007-41_0_5_load_57 | 56 | 0.013996 | 0.0035077 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6007-41_0_5_load_61 | 57 | 0.0066582 | 0.0016687 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6007-41_0_5_line_0 |  | 0 | 1 | 0.028633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6007-41_0_5_line_1 |  | 1 | 2 | 0.007915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6007-41_0_5_line_2 |  | 2 | 3 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6007-41_0_5_line_3 |  | 3 | 4 | 0.0060272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6007-41_0_5_line_4 |  | 4 | 12 | 0.0030244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6007-41_0_5_line_5 |  | 5 | 6 | 0.014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6007-41_0_5_line_6 |  | 6 | 7 | 0.013292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6007-41_0_5_line_7 |  | 7 | 8 | 0.00029117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6007-41_0_5_line_8 |  | 8 | 9 | 0.001209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6007-41_0_5_line_9 |  | 9 | 10 | 0.018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6007-41_0_5_line_10 |  | 10 | 11 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6007-41_0_5_line_11 |  | 11 | 38 | 0.0033753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6007-41_0_5_line_12 |  | 12 | 13 | 0.0002596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6007-41_0_5_line_13 |  | 13 | 14 | 0.014811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6007-41_0_5_line_14 |  | 14 | 19 | 0.0050958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6007-41_0_5_line_15 |  | 15 | 16 | 0.044731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6007-41_0_5_line_16 |  | 16 | 17 | 0.045088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6007-41_0_5_line_17 |  | 17 | 18 | 0.007915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6007-41_0_5_line_18 |  | 17 | 19 | 0.016578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6007-41_0_5_line_19 |  | 18 | 22 | 0.028631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6007-41_0_5_line_20 |  | 18 | 20 | 0.03172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6007-41_0_5_line_21 |  | 20 | 21 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6007-41_0_5_line_22 |  | 21 | 23 | 0.028636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6007-41_0_5_line_23 |  | 22 | 26 | 0.019888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6007-41_0_5_line_24 |  | 23 | 24 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6007-41_0_5_line_25 |  | 24 | 25 | 0.013349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6007-41_0_5_line_26 |  | 26 | 29 | 0.03698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6007-41_0_5_line_27 |  | 27 | 28 | 0.032687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6007-41_0_5_line_28 |  | 28 | 29 | 0.008143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6007-41_0_5_line_29 |  | 28 | 30 | 0.0017794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6007-41_0_5_line_30 |  | 29 | 31 | 0.0096482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6007-41_0_5_line_31 |  | 30 | 32 | 0.028293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6007-41_0_5_line_32 |  | 31 | 33 | 0.0088666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6007-41_0_5_line_33 |  | 32 | 34 | 0.048397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6007-41_0_5_line_34 |  | 32 | 35 | 0.044652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6007-41_0_5_line_35 |  | 33 | 41 | 0.0059833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6007-41_0_5_line_36 |  | 34 | 42 | 0.017165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6007-41_0_5_line_37 |  | 35 | 36 | 0.045114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6007-41_0_5_line_38 |  | 36 | 37 | 0.0015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6007-41_0_5_line_39 |  | 37 | 55 | 0.017971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6007-41_0_5_line_40 |  | 38 | 39 | 0.016639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6007-41_0_5_line_41 |  | 39 | 40 | 0.0017939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6007-41_0_5_line_42 |  | 40 | 41 | 0.010037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6007-41_0_5_line_43 |  | 42 | 43 | 0.038602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6007-41_0_5_line_44 |  | 42 | 44 | 0.024308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6007-41_0_5_line_45 |  | 43 | 45 | 0.027868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6007-41_0_5_line_46 |  | 44 | 46 | 0.0033831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6007-41_0_5_line_47 |  | 45 | 47 | 0.047835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6007-41_0_5_line_48 |  | 46 | 48 | 0.0080842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6007-41_0_5_line_49 |  | 47 | 49 | 0.0098139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6007-41_0_5_line_50 |  | 47 | 50 | 0.034813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6007-41_0_5_line_51 |  | 48 | 52 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6007-41_0_5_line_52 |  | 49 | 51 | 0.12219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6007-41_0_5_line_53 |  | 51 | 57 | 0.034694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6007-41_0_5_line_54 |  | 52 | 53 | 0.008674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6007-41_0_5_line_55 |  | 53 | 54 | 0.00038644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6007-41_0_5_line_56 |  | 54 | 56 | 0.0035461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6007-41_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 58 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2642185.6243 | 1130725.5446 | 2642209.172 | 1130709.2544
1 | 2642209.172 | 1130709.2544 | 2642215.6812 | 1130704.7514
2 | 2642222.4529 | 1130697.3638 | 2642219.9097 | 1130701.8261 | 2642215.6812 | 1130704.7514
3 | 2642225.4373 | 1130692.1273 | 2642222.4529 | 1130697.3638
4 | 2642225.4373 | 1130692.1273 | 2642226.9348 | 1130689.4997
5 | 2642220.5374 | 1130791.1414 | 2642212.5657 | 1130795.167 | 2642207.4693 | 1130797.3533
6 | 2642232.4027 | 1130785.1497 | 2642220.5374 | 1130791.1414
7 | 2642232.6626 | 1130785.0185 | 2642232.4027 | 1130785.1497
8 | 2642232.6626 | 1130785.0185 | 2642233.7418 | 1130784.4735
9 | 2642250.0441 | 1130776.2411 | 2642233.7418 | 1130784.4735
10 | 2642250.0441 | 1130776.2411 | 2642259.2073 | 1130771.6139 | 2642265.805 | 1130766.8977
11 | 2642267.9484 | 1130764.3645 | 2642266.7847 | 1130766.1974 | 2642265.805 | 1130766.8977
12 | 2642227.0634 | 1130689.2742 | 2642226.9348 | 1130689.4997
13 | 2642234.5447 | 1130676.4932 | 2642231.761 | 1130681.0316 | 2642227.0634 | 1130689.2742
14 | 2642237.2091 | 1130672.1495 | 2642234.5447 | 1130676.4932
15 | 2642218.3557 | 1130623.2641 | 2642209.25 | 1130633.5614 | 2642202.7847 | 1130636.3066 | 2642195.384 | 1130637.3555 | 2642185.6946 | 1130640.8119 | 2642181.8944 | 1130645.7101
16 | 2642245.8767 | 1130658.0184 | 2642233.274 | 1130637.5199 | 2642229.2761 | 1130631.022 | 2642218.3557 | 1130623.2641
17 | 2642245.8767 | 1130658.0184 | 2642251.4074 | 1130652.343
18 | 2642245.8767 | 1130658.0184 | 2642237.2091 | 1130672.1495
19 | 2642251.4074 | 1130652.343 | 2642266.7296 | 1130676.5291
20 | 2642273.5618 | 1130629.5861 | 2642251.4074 | 1130652.343
21 | 2642273.5618 | 1130629.5861 | 2642293.5342 | 1130635.6549
22 | 2642320.9328 | 1130643.9801 | 2642293.5342 | 1130635.6549
23 | 2642266.7296 | 1130676.5291 | 2642268.8589 | 1130679.89 | 2642277.282 | 1130692.3219 | 2642277.844 | 1130693.0159
24 | 2642320.9328 | 1130643.9801 | 2642326.8438 | 1130659.9074
25 | 2642326.8438 | 1130659.9074 | 2642330.6341 | 1130665.2477 | 2642335.3904 | 1130670.1076
26 | 2642299.8658 | 1130722.673 | 2642291.0968 | 1130711.2503 | 2642285.7115 | 1130702.7305 | 2642277.844 | 1130693.0159
27 | 2642304.7025 | 1130729.2324 | 2642312.5785 | 1130697.5082
28 | 2642299.8658 | 1130722.673 | 2642304.7025 | 1130729.2324
29 | 2642304.7025 | 1130729.2324 | 2642305.6568 | 1130730.7343
30 | 2642299.8658 | 1130722.673 | 2642292.677 | 1130729.108
31 | 2642325.1155 | 1130750.5971 | 2642323.1496 | 1130749.7941 | 2642315.3658 | 1130743.9811 | 2642309.6615 | 1130737.0377 | 2642305.6568 | 1130730.7343
32 | 2642286.2627 | 1130735.183 | 2642286.7298 | 1130734.4316 | 2642292.677 | 1130729.108
33 | 2642325.1155 | 1130750.5971 | 2642320.5021 | 1130763.8494 | 2642316.3459 | 1130774.5036 | 2642314.4461 | 1130778.559 | 2642311.6927 | 1130782.4417 | 2642307.7498 | 1130786.8275 | 2642301.6307 | 1130791.6528
34 | 2642368.2725 | 1130760.6488 | 2642363.9027 | 1130761.1073 | 2642350.6459 | 1130759.3136 | 2642334.1773 | 1130754.2846 | 2642325.1155 | 1130750.5971
35 | 2642286.2627 | 1130735.183 | 2642283.1039 | 1130740.2645
36 | 2642288.3942 | 1130802.578 | 2642296.4591 | 1130795.7309 | 2642301.6307 | 1130791.6528
37 | 2642368.2725 | 1130760.6488 | 2642364.0329 | 1130766.6999 | 2642361.2515 | 1130775.6739 | 2642354.4097 | 1130803.1653
38 | 2642354.0456 | 1130804.6285 | 2642354.4097 | 1130803.1653
39 | 2642349.0141 | 1130821.8785 | 2642353.3748 | 1130807.3238 | 2642354.0456 | 1130804.6285
40 | 2642267.9484 | 1130764.3645 | 2642276.2849 | 1130751.2339 | 2642276.8579 | 1130750.3121
41 | 2642276.8579 | 1130750.3121 | 2642277.8049 | 1130748.7886
42 | 2642283.1039 | 1130740.2645 | 2642277.8049 | 1130748.7886
43 | 2642288.3942 | 1130802.578 | 2642281.3985 | 1130808.5211 | 2642264.2806 | 1130823.6648 | 2642259.3612 | 1130828.0157
44 | 2642288.3942 | 1130802.578 | 2642287.8909 | 1130805.1758 | 2642287.4354 | 1130807.5405 | 2642287.479 | 1130810.1088 | 2642287.1296 | 1130814.9199 | 2642287.6145 | 1130817.1689 | 2642289.2283 | 1130819.8705 | 2642293.7091 | 1130824.4597
45 | 2642246.2282 | 1130851.3417 | 2642247.8198 | 1130842.8818 | 2642248.8613 | 1130839.3206 | 2642251.2758 | 1130835.4355 | 2642255.7256 | 1130831.2311 | 2642259.3612 | 1130828.0157
46 | 2642293.7091 | 1130824.4597 | 2642293.7091 | 1130824.4597 | 2642296.6192 | 1130826.185
47 | 2642246.2282 | 1130851.3417 | 2642247.208 | 1130856.6068 | 2642249.9032 | 1130861.039 | 2642260.3834 | 1130871.1173 | 2642277.3174 | 1130882.2524 | 2642279.3396 | 1130883.8118
48 | 2642296.6192 | 1130826.185 | 2642298.8322 | 1130827.497 | 2642304.0484 | 1130829.2766
49 | 2642279.3396 | 1130883.8118 | 2642287.1299 | 1130889.7804 | 2642287.1299 | 1130889.7804
50 | 2642279.3396 | 1130883.8118 | 2642283.1279 | 1130878.391 | 2642283.1658 | 1130872.9663 | 2642280.9978 | 1130865.8364 | 2642271.6615 | 1130853.6868
51 | 2642304.0484 | 1130829.2766 | 2642305.5855 | 1130829.801 | 2642313.031 | 1130832.221 | 2642314.29 | 1130832.3669
52 | 2642287.1299 | 1130889.7804 | 2642296.7527 | 1130900.1974 | 2642301.1338 | 1130905.8198 | 2642302.979 | 1130909.5679 | 2642303.2965 | 1130912.6161 | 2642302.7621 | 1130916.3477 | 2642296.0975 | 1130921.2147 | 2642290.4469 | 1130926.4334 | 2642290.4255 | 1130929.4903 | 2642293.2789 | 1130934.4239 | 2642309.9791 | 1130954.7177 | 2642314.0414 | 1130957.4697 | 2642331.3881 | 1130959.1141 | 2642333.9287 | 1130960.3214 | 2642336.2916 | 1130962.7058 | 2642340.6329 | 1130972.1408
53 | 2642360.5272 | 1131000.0167 | 2642354.615 | 1130994.2057 | 2642349.0452 | 1130987.8968 | 2642343.4884 | 1130979.7204 | 2642340.9871 | 1130972.9106 | 2642340.6329 | 1130972.1408
54 | 2642322.9062 | 1130833.3654 | 2642314.29 | 1130832.3669
55 | 2642323.2901 | 1130833.4099 | 2642322.9062 | 1130833.3654
56 | 2642326.8127 | 1130833.8182 | 2642323.2901 | 1130833.4099

## bus_geodata
| x | y | coords
0 | 2642185.6243 | 1130725.5446
1 | 2642209.172 | 1130709.2544
2 | 2642215.6812 | 1130704.7514
3 | 2642222.4529 | 1130697.3638
4 | 2642225.4373 | 1130692.1273
5 | 2642207.4693 | 1130797.3533
6 | 2642220.5374 | 1130791.1414
7 | 2642232.4027 | 1130785.1497
8 | 2642232.6626 | 1130785.0185
9 | 2642233.7418 | 1130784.4735
10 | 2642250.0441 | 1130776.2411
11 | 2642265.805 | 1130766.8977
12 | 2642226.9348 | 1130689.4997
13 | 2642227.0634 | 1130689.2742
14 | 2642234.5447 | 1130676.4932
15 | 2642181.8944 | 1130645.7101
16 | 2642218.3557 | 1130623.2641
17 | 2642245.8767 | 1130658.0184
18 | 2642251.4074 | 1130652.343
19 | 2642237.209 | 1130672.1495
20 | 2642273.5618 | 1130629.5861
21 | 2642293.5342 | 1130635.6549
22 | 2642266.7296 | 1130676.5291
23 | 2642320.9328 | 1130643.9801
24 | 2642326.8438 | 1130659.9074
25 | 2642335.3904 | 1130670.1076
26 | 2642277.844 | 1130693.0159
27 | 2642312.5785 | 1130697.5082
28 | 2642304.7025 | 1130729.2324
29 | 2642299.8658 | 1130722.673
30 | 2642305.6568 | 1130730.7343
31 | 2642292.677 | 1130729.108
32 | 2642325.1155 | 1130750.5971
33 | 2642286.2627 | 1130735.183
34 | 2642301.6307 | 1130791.6528
35 | 2642368.2725 | 1130760.6488
36 | 2642354.4097 | 1130803.1653
37 | 2642354.0456 | 1130804.6285
38 | 2642267.9484 | 1130764.3645
39 | 2642276.8579 | 1130750.3121
40 | 2642277.8049 | 1130748.7886
41 | 2642283.1039 | 1130740.2645
42 | 2642288.3942 | 1130802.578
43 | 2642259.3612 | 1130828.0157
44 | 2642293.7091 | 1130824.4597
45 | 2642246.2282 | 1130851.3417
46 | 2642296.6191 | 1130826.185
47 | 2642279.3396 | 1130883.8118
48 | 2642304.0484 | 1130829.2766
49 | 2642287.1299 | 1130889.7804
50 | 2642271.6615 | 1130853.6868
51 | 2642340.6329 | 1130972.1408
52 | 2642314.29 | 1130832.3669
53 | 2642322.9062 | 1130833.3654
54 | 2642323.2901 | 1130833.4099
55 | 2642349.0141 | 1130821.8785
56 | 2642326.8127 | 1130833.8182
57 | 2642360.5272 | 1131000.0167
58 | 2642299.8658 | 1130722.673

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1