## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6007-47_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6007-47_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6007-47_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6007-47_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6007-47_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_6007-47_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6007-47_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_6007-47_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6007-47_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6007-47_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6007-47_0_5_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_6007-47_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6007-47_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6007-47_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6007-47_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6007-47_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6007-47_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6007-47_0_5_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_6007-47_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_6007-47_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6007-47_0_5_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_6007-47_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6007-47_0_5_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_6007-47_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6007-47_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6007-47_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6007-47_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6007-47_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6007-47_0_5_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6007-47_0_5_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6007-47_0_5_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_6007-47_0_5_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_6007-47_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6007-47_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6007-47_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6007-47_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6007-47_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6007-47_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6007-47_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_6007-47_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_6007-47_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_6007-47_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6007-47_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6007-47_0_5_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_6007-47_0_5_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_6007-47_0_5_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_6007-47_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_6007-47_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6007-47_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6007-47_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6007-47_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_6007-47_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_6007-47_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_6007-47_0_5_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_6007-47_0_5_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_6007-47_0_5_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_6007-47_0_5_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_6007-47_0_5_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_6007-47_0_5_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_6007-47_0_5_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_6007-47_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_6007-47_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6007-47_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_6007-47_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_6007-47_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_6007-47_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_6007-47_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_6007-47_0_5_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_6007-47_0_5_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6007-47_0_5_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_6007-47_0_5_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_6007-47_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_6007-47_0_5_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_6007-47_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_6007-47_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_6007-47_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_6007-47_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_6007-47_0_5_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_6007-47_0_5_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_6007-47_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_6007-47_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_6007-47_0_5_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_6007-47_0_5_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_6007-47_0_5_node_68 | 0.4 | n |  | TRUE
84 | bus_MV_87_0_node_237 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6007-47_0_5_load_0 | 0 | 0.0059692 | 0.001496 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6007-47_0_5_load_1 | 1 | 0.017988 | 0.0045082 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6007-47_0_5_load_4 | 5 | 0.0033537 | 0.00084052 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6007-47_0_5_load_15 | 6 | 0.0063536 | 0.0015924 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6007-47_0_5_load_5 | 7 | 0.010128 | 0.0025383 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6007-47_0_5_load_6 | 8 | 0.0055381 | 0.001388 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6007-47_0_5_load_8 | 9 | 0.0058314 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6007-47_0_5_load_9 | 11 | 0.0082583 | 0.0020697 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6007-47_0_5_load_10 | 12 | 0.015506 | 0.0038863 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6007-47_0_5_load_12 | 14 | 0.0071568 | 0.0017937 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6007-47_0_5_load_13 | 15 | 0.0053261 | 0.0013349 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6007-47_0_5_load_14 | 16 | 0.012373 | 0.0031009 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6007-47_0_5_load_83 | 20 | 0.0039491 | 0.00098975 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6007-47_0_5_load_17 | 21 | 0.0077233 | 0.0019356 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6007-47_0_5_load_80 | 22 | 0.0055493 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6007-47_0_5_load_20 | 23 | 0.0055552 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6007-47_0_5_load_21 | 24 | 0.0057284 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6007-47_0_5_load_22 | 25 | 0.0059967 | 0.0015029 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6007-47_0_5_load_23 | 26 | 0.0095058 | 0.0023824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6007-47_0_5_load_24 | 27 | 0.0079959 | 0.002004 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6007-47_0_5_load_38 | 29 | 0.0064283 | 0.0016111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6007-47_0_5_load_39 | 31 | 0.0082798 | 0.0020751 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6007-47_0_5_load_25 | 32 | 0.0093222 | 0.0023364 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6007-47_0_5_load_26 | 33 | 0.0035533 | 0.00089054 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6007-47_0_5_load_28 | 35 | 0.0075996 | 0.0019046 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6007-47_0_5_load_30 | 37 | 0.0051312 | 0.001286 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6007-47_0_5_load_45 | 40 | 0.0053317 | 0.0013363 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6007-47_0_5_load_32 | 41 | 0.0053347 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6007-47_0_5_load_44 | 42 | 0.010786 | 0.0027031 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6007-47_0_5_load_77 | 44 | 0.0056451 | 0.0014148 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6007-47_0_5_load_46 | 45 | 0.0032225 | 0.00080764 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6007-47_0_5_load_31 | 46 | 0.0068854 | 0.0017256 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6007-47_0_5_load_33 | 47 | 0.0044006 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6007-47_0_5_load_34 | 48 | 0.0072946 | 0.0018282 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6007-47_0_5_load_36 | 50 | 0.0038253 | 0.00095872 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6007-47_0_5_load_37 | 51 | 0.0043172 | 0.001082 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6007-47_0_5_load_49 | 52 | 0.0034043 | 0.0008532 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6007-47_0_5_load_82 | 54 | 0.019145 | 0.0047982 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6007-47_0_5_load_70 | 55 | 0.0075272 | 0.0018865 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6007-47_0_5_load_75 | 56 | 0.0054614 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6007-47_0_5_load_69 | 57 | 0.0050416 | 0.0012635 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6007-47_0_5_load_78 | 58 | 0.01247 | 0.0031253 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6007-47_0_5_load_79 | 59 | 0.0095298 | 0.0023884 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6007-47_0_5_load_47 | 60 | 0.0032432 | 0.00081282 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6007-47_0_5_load_50 | 61 | 0.0045579 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6007-47_0_5_load_51 | 62 | 0.0025892 | 0.0006489 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6007-47_0_5_load_53 | 64 | 0.0031825 | 0.00079762 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6007-47_0_5_load_55 | 65 | 0.0048287 | 0.0012102 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6007-47_0_5_load_84 | 69 | 0.0070021 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6007-47_0_5_load_72 | 70 | 0.002672 | 0.00066966 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6007-47_0_5_load_71 | 71 | 0.0027111 | 0.00067946 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6007-47_0_5_load_73 | 72 | 0.0035559 | 0.00089119 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6007-47_0_5_load_58 | 73 | 0.0042489 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6007-47_0_5_load_59 | 74 | 0.0047419 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6007-47_0_5_load_60 | 75 | 0.0038877 | 0.00097435 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6007-47_0_5_load_61 | 76 | 0.0046828 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6007-47_0_5_load_62 | 77 | 0.0028617 | 0.0007172 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6007-47_0_5_load_63 | 78 | 0.0065733 | 0.0016474 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6007-47_0_5_load_64 | 79 | 0.003076 | 0.00077092 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6007-47_0_5_load_65 | 80 | 0.0032879 | 0.00082403 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6007-47_0_5_load_66 | 81 | 0.0029961 | 0.0007509 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6007-47_0_5_load_67 | 82 | 0.0029474 | 0.00073868 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6007-47_0_5_load_68 | 83 | 0.0041193 | 0.0010324 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6007-47_0_5_line_0 |  | 0 | 1 | 0.013027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6007-47_0_5_line_1 |  | 0 | 2 | 0.020614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6007-47_0_5_line_2 |  | 2 | 3 | 0.064835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6007-47_0_5_line_3 |  | 3 | 4 | 0.033821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6007-47_0_5_line_4 |  | 3 | 5 | 0.0089002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6007-47_0_5_line_5 |  | 4 | 6 | 0.057551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6007-47_0_5_line_6 |  | 5 | 7 | 0.018972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6007-47_0_5_line_7 |  | 6 | 10 | 0.004695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6007-47_0_5_line_8 |  | 7 | 8 | 0.0038477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6007-47_0_5_line_9 |  | 8 | 9 | 0.0092833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6007-47_0_5_line_10 |  | 10 | 21 | 0.042466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6007-47_0_5_line_11 |  | 10 | 18 | 0.007981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6007-47_0_5_line_12 |  | 11 | 12 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6007-47_0_5_line_13 |  | 11 | 13 | 0.013915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6007-47_0_5_line_14 |  | 12 | 14 | 0.013173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6007-47_0_5_line_15 |  | 13 | 15 | 0.01095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6007-47_0_5_line_16 |  | 13 | 16 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6007-47_0_5_line_17 |  | 16 | 17 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6007-47_0_5_line_18 |  | 17 | 20 | 0.008147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6007-47_0_5_line_19 |  | 17 | 19 | 0.019437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6007-47_0_5_line_20 |  | 18 | 19 | 0.008033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6007-47_0_5_line_21 |  | 19 | 22 | 0.02862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6007-47_0_5_line_22 |  | 20 | 54 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6007-47_0_5_line_23 |  | 23 | 24 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6007-47_0_5_line_24 |  | 23 | 25 | 0.0058235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6007-47_0_5_line_25 |  | 24 | 26 | 0.0036476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6007-47_0_5_line_26 |  | 25 | 27 | 0.0046009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6007-47_0_5_line_27 |  | 26 | 28 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6007-47_0_5_line_28 |  | 27 | 29 | 0.00090592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6007-47_0_5_line_29 |  | 28 | 30 | 0.005564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6007-47_0_5_line_30 |  | 29 | 31 | 0.0098529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6007-47_0_5_line_31 |  | 30 | 53 | 0.009524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6007-47_0_5_line_32 |  | 30 | 54 | 0.024651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6007-47_0_5_line_33 |  | 31 | 52 | 0.003839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6007-47_0_5_line_34 |  | 32 | 33 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6007-47_0_5_line_35 |  | 32 | 34 | 0.052465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6007-47_0_5_line_36 |  | 33 | 35 | 0.01161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6007-47_0_5_line_37 |  | 34 | 36 | 0.046488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6007-47_0_5_line_38 |  | 34 | 37 | 0.065054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6007-47_0_5_line_39 |  | 35 | 38 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6007-47_0_5_line_40 |  | 36 | 39 | 0.10694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6007-47_0_5_line_41 |  | 36 | 40 | 0.099282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6007-47_0_5_line_42 |  | 37 | 41 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6007-47_0_5_line_43 |  | 38 | 42 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6007-47_0_5_line_44 |  | 38 | 43 | 0.026436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6007-47_0_5_line_45 |  | 39 | 44 | 0.093674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6007-47_0_5_line_46 |  | 40 | 45 | 0.018268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6007-47_0_5_line_47 |  | 41 | 46 | 0.0053502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6007-47_0_5_line_48 |  | 42 | 58 | 0.019367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6007-47_0_5_line_49 |  | 43 | 55 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6007-47_0_5_line_50 |  | 43 | 53 | 0.009884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6007-47_0_5_line_51 |  | 45 | 60 | 0.0002472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6007-47_0_5_line_52 |  | 46 | 47 | 0.011892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6007-47_0_5_line_53 |  | 48 | 49 | 0.055856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6007-47_0_5_line_54 |  | 49 | 50 | 0.0090908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6007-47_0_5_line_55 |  | 49 | 51 | 0.0058664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6007-47_0_5_line_56 |  | 51 | 52 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6007-47_0_5_line_57 |  | 53 | 56 | 0.034883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6007-47_0_5_line_58 |  | 55 | 57 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6007-47_0_5_line_59 |  | 56 | 77 | 0.010932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6007-47_0_5_line_60 |  | 57 | 83 | 0.01193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6007-47_0_5_line_61 |  | 58 | 59 | 0.0033216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6007-47_0_5_line_62 |  | 61 | 62 | 0.012728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6007-47_0_5_line_63 |  | 61 | 63 | 0.013888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6007-47_0_5_line_64 |  | 62 | 64 | 0.0073595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6007-47_0_5_line_65 |  | 63 | 65 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6007-47_0_5_line_66 |  | 64 | 66 | 0.019832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6007-47_0_5_line_67 |  | 65 | 67 | 0.043902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6007-47_0_5_line_68 |  | 66 | 68 | 0.082522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6007-47_0_5_line_69 |  | 67 | 72 | 0.0043703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6007-47_0_5_line_70 |  | 68 | 69 | 0.03305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6007-47_0_5_line_71 |  | 70 | 71 | 0.0014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6007-47_0_5_line_72 |  | 71 | 81 | 0.022362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6007-47_0_5_line_73 |  | 72 | 76 | 0.0099967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6007-47_0_5_line_74 |  | 73 | 74 | 0.0085157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6007-47_0_5_line_75 |  | 73 | 75 | 0.020462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6007-47_0_5_line_76 |  | 74 | 76 | 0.0080311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6007-47_0_5_line_77 |  | 75 | 77 | 0.010013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6007-47_0_5_line_78 |  | 78 | 79 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6007-47_0_5_line_79 |  | 78 | 80 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6007-47_0_5_line_80 |  | 79 | 81 | 5.1463e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6007-47_0_5_line_81 |  | 80 | 82 | 0.0066708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6007-47_0_5_line_82 |  | 82 | 83 | 0.010689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6007-47_0_5_trafo_41 | 0.63 MVA 20/0.4 kV | 84 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2642101.9417 | 1134432.1092 | 2642099.8063 | 1134441.2077 | 2642096.2005 | 1134440.4673
1 | 2642106.6517 | 1134412.0405 | 2642101.9417 | 1134432.1092
2 | 2642106.6517 | 1134412.0405 | 2642158.446 | 1134451.2325
3 | 2642185.853 | 1134471.156 | 2642158.446 | 1134451.2325
4 | 2642158.446 | 1134451.2325 | 2642154.5473 | 1134459.2334
5 | 2642185.853 | 1134471.156 | 2642190.5245 | 1134476.7137 | 2642191.8732 | 1134481.9591 | 2642190.7185 | 1134485.2972 | 2642187.3369 | 1134487.9082 | 2642153.068 | 1134502.0455
6 | 2642154.5473 | 1134459.2334 | 2642149.279 | 1134470.0449 | 2642142.3343 | 1134470.1387
7 | 2642148.7278 | 1134503.836 | 2642153.068 | 1134502.0455
8 | 2642138.487 | 1134470.1907 | 2642142.3343 | 1134470.1387
9 | 2642129.2045 | 1134470.3162 | 2642138.487 | 1134470.1907
10 | 2642165.6238 | 1134538.8272 | 2642166.3335 | 1134525.3586 | 2642165.6544 | 1134520.1068 | 2642162.9993 | 1134515.6638 | 2642148.7278 | 1134503.836
11 | 2642148.7278 | 1134503.836 | 2642141.4848 | 1134507.2317
12 | 2642114.7845 | 1134478.2703 | 2642114.346 | 1134474.2258 | 2642100.9665 | 1134472.018
13 | 2642116.2841 | 1134492.104 | 2642114.7845 | 1134478.2703
14 | 2642087.9695 | 1134469.8733 | 2642100.9665 | 1134472.018
15 | 2642116.2841 | 1134492.104 | 2642127.2331 | 1134492.231
16 | 2642116.2841 | 1134492.104 | 2642116.7134 | 1134503.7485
17 | 2642117.3263 | 1134520.3701 | 2642116.7134 | 1134503.7485
18 | 2642117.3263 | 1134520.3701 | 2642111.1219 | 1134525.6501
19 | 2642134.2865 | 1134510.839 | 2642123.666 | 1134516.2677 | 2642117.3263 | 1134520.3701
20 | 2642134.2865 | 1134510.839 | 2642141.4848 | 1134507.2317
21 | 2642134.2865 | 1134510.839 | 2642133.0109 | 1134530.4289 | 2642133.4503 | 1134534.7453 | 2642134.4453 | 1134539.2877
22 | 2642101.724 | 1134533.6823 | 2642105.9759 | 1134530.0293 | 2642111.1219 | 1134525.6501
23 | 2642061.9505 | 1134526.2816 | 2642071.6323 | 1134536.9494 | 2642072.7332 | 1134539.454
24 | 2642061.9505 | 1134526.2816 | 2642058.0368 | 1134521.9694
25 | 2642074.2009 | 1134542.7933 | 2642072.7332 | 1134539.454
26 | 2642054.3568 | 1134519.2079 | 2642058.0368 | 1134521.9694 | 2642058.0368 | 1134521.9694
27 | 2642078.9057 | 1134553.4973 | 2642074.2009 | 1134542.7933
28 | 2642054.3568 | 1134519.2079 | 2642053.6322 | 1134518.6642
29 | 2642078.9057 | 1134553.4973 | 2642083.0263 | 1134549.7463
30 | 2642045.7514 | 1134512.7504 | 2642053.6322 | 1134518.6642
31 | 2642083.0263 | 1134549.7463 | 2642089.3493 | 1134556.8828
32 | 2642083.0263 | 1134549.7463 | 2642101.724 | 1134533.6823
33 | 2642045.7514 | 1134512.7504 | 2642042.6809 | 1134510.4462
34 | 2642016.7417 | 1134601.1848 | 2642020.4948 | 1134599.2478 | 2642026.3356 | 1134594.9297
35 | 2641970.5517 | 1134626.0368 | 2641987.1268 | 1134616.4692 | 2642016.7417 | 1134601.1848
36 | 2642035.6716 | 1134588.0277 | 2642026.3356 | 1134594.9297
37 | 2641970.5517 | 1134626.0368 | 2641951.7963 | 1134642.5818 | 2641937.6761 | 1134658.8477
38 | 2641970.5517 | 1134626.0368 | 2641964.8067 | 1134625.43 | 2641958.4842 | 1134625.9753 | 2641956.0352 | 1134623.9906 | 2641949.3957 | 1134600.3547 | 2641947.2971 | 1134590.0127 | 2641946.9557 | 1134582.6399 | 2641949.0611 | 1134575.6557
39 | 2642057.3345 | 1134572.0122 | 2642035.6716 | 1134588.0277
40 | 2642017.2617 | 1134682.3788 | 2642005.3747 | 1134680.7287 | 2641982.1944 | 1134682.8133 | 2641964.4717 | 1134684.769 | 2641945.4989 | 1134681.6469 | 2641934.6288 | 1134678.7478 | 2641931.3993 | 1134676.1018 | 2641930.5428 | 1134669.7704 | 2641937.6761 | 1134658.8477
41 | 2641937.6761 | 1134658.8477 | 2641927.0052 | 1134639.4305 | 2641922.5028 | 1134627.2263 | 2641918.748 | 1134602.6656 | 2641908.9336 | 1134564.6402
42 | 2641952.5388 | 1134564.1194 | 2641949.0611 | 1134575.6557
43 | 2642057.3345 | 1134572.0122 | 2642062.5595 | 1134577.6737 | 2642064.4258 | 1134584.295
44 | 2642057.3345 | 1134572.0122 | 2642066.3465 | 1134564.3488 | 2642072.308 | 1134563.7122 | 2642079.765 | 1134559.4063
45 | 2642017.2617 | 1134682.3788 | 2642018.512 | 1134673.0049 | 2642018.9824 | 1134648.5291 | 2642021.3552 | 1134647.0782 | 2642028.9511 | 1134647.131 | 2642040.3545 | 1134651.9238 | 2642053.359 | 1134654.4711 | 2642056.5266 | 1134652.7255 | 2642056.2737 | 1134645.9426 | 2642053.3449 | 1134632.935
46 | 2641908.9336 | 1134564.6402 | 2641907.5579 | 1134559.3104 | 2641903.4781 | 1134547.2162
47 | 2641953.941 | 1134558.9583 | 2641953.3131 | 1134561.551 | 2641952.5388 | 1134564.1194
48 | 2642064.4258 | 1134584.295 | 2642069.68 | 1134602.9358
49 | 2642079.765 | 1134559.4063 | 2642086.9354 | 1134564.2142 | 2642088.7838 | 1134570.4072
50 | 2642079.765 | 1134559.4063 | 2642089.3493 | 1134556.8828
51 | 2641903.3991 | 1134546.982 | 2641903.4781 | 1134547.2162
52 | 2641955.3829 | 1134547.2136 | 2641955.1434 | 1134553.9932 | 2641953.941 | 1134558.9583
53 | 2642024.8018 | 1134490.0998 | 2642000.9104 | 1134491.4123 | 2641970.1967 | 1134500.1376
54 | 2642024.8018 | 1134490.0998 | 2642020.0413 | 1134482.3551
55 | 2642024.8018 | 1134490.0998 | 2642028.4845 | 1134494.6663
56 | 2642042.6809 | 1134510.4462 | 2642038.9568 | 1134507.6516 | 2642028.4845 | 1134494.6663
57 | 2642089.3493 | 1134556.8828 | 2642102.9168 | 1134553.7535 | 2642114.4565 | 1134562.1937 | 2642120.8312 | 1134564.1312
58 | 2642090.8347 | 1134585.1871 | 2642089.9212 | 1134574.2179 | 2642088.7838 | 1134570.4072
59 | 2642120.8312 | 1134564.1312 | 2642131.2904 | 1134567.3103
60 | 2642091.8247 | 1134597.0761 | 2642091.8247 | 1134597.0761 | 2642090.8347 | 1134585.1871
61 | 2642070.5812 | 1134606.1329 | 2642069.68 | 1134602.9358
62 | 2642196.7552 | 1134670.1225 | 2642204.4691 | 1134676.4239 | 2642206.2234 | 1134678.5638
63 | 2642185.4574 | 1134662.3619 | 2642189.3545 | 1134666.3689 | 2642196.7552 | 1134670.1225
64 | 2642210.8351 | 1134684.29 | 2642210.7115 | 1134684.0381 | 2642206.2234 | 1134678.5638
65 | 2642185.4574 | 1134662.3619 | 2642182.7657 | 1134656.5513 | 2642184.1745 | 1134646.5782 | 2642184.559 | 1134644.581
66 | 2642215.0945 | 1134703.3229 | 2642214.528 | 1134697.3826 | 2642214.0959 | 1134690.9319 | 2642210.8351 | 1134684.29
67 | 2642172.8142 | 1134604.7332 | 2642179.0692 | 1134611.6692 | 2642184.286 | 1134622.8891 | 2642186.7459 | 1134633.2227 | 2642184.559 | 1134644.581
68 | 2642268.5948 | 1134742.4166 | 2642264.2708 | 1134740.0407 | 2642256.6569 | 1134738.1755 | 2642252.3445 | 1134735.2327 | 2642248.5101 | 1134729.9588 | 2642243.8592 | 1134723.7009 | 2642240.5588 | 1134723.5222 | 2642237.1448 | 1134724.1653 | 2642232.6276 | 1134728.5027 | 2642226.592 | 1134730.9618 | 2642225.0425 | 1134719.2116 | 2642220.6787 | 1134712.6111 | 2642216.5942 | 1134706.7796 | 2642215.0945 | 1134703.3229
69 | 2642172.8142 | 1134604.7332 | 2642169.1724 | 1134602.3173
70 | 2642268.5948 | 1134742.4166 | 2642277.4755 | 1134733.7187 | 2642289.6762 | 1134729.0127 | 2642296.4956 | 1134725.6365
71 | 2642104.0299 | 1134660.56 | 2642105.0056 | 1134661.5785 | 2642105.0056 | 1134661.5785
72 | 2642095.2061 | 1134640.8887 | 2642098.0907 | 1134654.36 | 2642104.0299 | 1134660.56
73 | 2642169.1724 | 1134602.3173 | 2642168.7156 | 1134602.0143 | 2642161.8961 | 1134595.4746 | 2642161.8961 | 1134595.4746
74 | 2642155.5116 | 1134580.2723 | 2642157.372 | 1134586.4495 | 2642158.2971 | 1134588.295
75 | 2642155.5116 | 1134580.2723 | 2642154.0773 | 1134575.5099 | 2642150.2461 | 1134570.8586 | 2642140.8098 | 1134570.1599
76 | 2642158.2971 | 1134588.295 | 2642161.8961 | 1134595.4746
77 | 2642131.2904 | 1134567.3103 | 2642133.1731 | 1134567.8825 | 2642138.4766 | 1134569.9872 | 2642140.8098 | 1134570.1599
78 | 2642089.7547 | 1134626.9086 | 2642089.6932 | 1134627.9659 | 2642095.1859 | 1134640.8413
79 | 2642089.7547 | 1134626.9086 | 2642090.4276 | 1134615.3424 | 2642090.5008 | 1134614.385
80 | 2642095.1859 | 1134640.8413 | 2642095.2061 | 1134640.8887 | 2642095.2061 | 1134640.8887
81 | 2642091.0095 | 1134607.7336 | 2642090.5008 | 1134614.385
82 | 2642091.0095 | 1134607.7336 | 2642091.8247 | 1134597.0761

## bus_geodata
| x | y | coords
0 | 2642101.9417 | 1134432.1092
1 | 2642096.2005 | 1134440.4673
2 | 2642106.6517 | 1134412.0405
3 | 2642158.446 | 1134451.2325
4 | 2642185.853 | 1134471.156
5 | 2642154.5473 | 1134459.2334
6 | 2642153.068 | 1134502.0455
7 | 2642142.3343 | 1134470.1387
8 | 2642138.487 | 1134470.1907
9 | 2642129.2045 | 1134470.3162
10 | 2642148.7278 | 1134503.836
11 | 2642114.7845 | 1134478.2703
12 | 2642100.9665 | 1134472.018
13 | 2642116.2841 | 1134492.104
14 | 2642087.9695 | 1134469.8733
15 | 2642127.2331 | 1134492.231
16 | 2642116.7134 | 1134503.7485
17 | 2642117.3263 | 1134520.3701
18 | 2642141.4848 | 1134507.2317
19 | 2642134.2865 | 1134510.839
20 | 2642111.1219 | 1134525.6501
21 | 2642165.6238 | 1134538.8272
22 | 2642134.4453 | 1134539.2877
23 | 2642061.9505 | 1134526.2816
24 | 2642072.7332 | 1134539.454
25 | 2642058.0368 | 1134521.9694
26 | 2642074.2009 | 1134542.7933
27 | 2642054.3568 | 1134519.2079
28 | 2642078.9057 | 1134553.4973
29 | 2642053.6322 | 1134518.6642
30 | 2642083.0263 | 1134549.7463
31 | 2642045.7514 | 1134512.7504
32 | 2642016.7417 | 1134601.1848
33 | 2642026.3356 | 1134594.9297
34 | 2641970.5517 | 1134626.0368
35 | 2642035.6716 | 1134588.0277
36 | 2641937.6761 | 1134658.8477
37 | 2641949.0611 | 1134575.6557
38 | 2642057.3345 | 1134572.0122
39 | 2642017.2617 | 1134682.3788
40 | 2641908.9336 | 1134564.6402
41 | 2641952.5388 | 1134564.1194
42 | 2642064.4258 | 1134584.295
43 | 2642079.765 | 1134559.4063
44 | 2642053.3449 | 1134632.935
45 | 2641903.4781 | 1134547.2162
46 | 2641953.941 | 1134558.9583
47 | 2641955.3829 | 1134547.2136
48 | 2641970.1967 | 1134500.1376
49 | 2642024.8018 | 1134490.0998
50 | 2642020.0413 | 1134482.3551
51 | 2642028.4845 | 1134494.6663
52 | 2642042.6809 | 1134510.4462
53 | 2642089.3493 | 1134556.8828
54 | 2642101.724 | 1134533.6823
55 | 2642088.7838 | 1134570.4072
56 | 2642120.8312 | 1134564.1312
57 | 2642090.8347 | 1134585.1871
58 | 2642069.68 | 1134602.9358
59 | 2642070.5812 | 1134606.1329
60 | 2641903.3991 | 1134546.982
61 | 2642196.7552 | 1134670.1225
62 | 2642206.2234 | 1134678.5638
63 | 2642185.4574 | 1134662.3619
64 | 2642210.8351 | 1134684.29
65 | 2642184.559 | 1134644.581
66 | 2642215.0945 | 1134703.3229
67 | 2642172.8142 | 1134604.7332
68 | 2642268.5948 | 1134742.4166
69 | 2642296.4956 | 1134725.6365
70 | 2642105.0056 | 1134661.5785
71 | 2642104.0299 | 1134660.56
72 | 2642169.1724 | 1134602.3173
73 | 2642155.5116 | 1134580.2723
74 | 2642158.2971 | 1134588.295
75 | 2642140.8098 | 1134570.1599
76 | 2642161.8961 | 1134595.4746
77 | 2642131.2904 | 1134567.3103
78 | 2642089.7547 | 1134626.9086
79 | 2642095.1859 | 1134640.8413
80 | 2642090.5008 | 1134614.385
81 | 2642095.2061 | 1134640.8887
82 | 2642091.0095 | 1134607.7336
83 | 2642091.8247 | 1134597.0761
84 | 2642078.9057 | 1134553.4973

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1