## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6007-48_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6007-48_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6007-48_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6007-48_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6007-48_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_6007-48_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6007-48_0_4_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_6007-48_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6007-48_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6007-48_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6007-48_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6007-48_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_6007-48_0_4_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_6007-48_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6007-48_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_6007-48_0_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_6007-48_0_4_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_6007-48_0_4_node_85 | 0.4 | n |  | TRUE
18 | bus_LV_6007-48_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6007-48_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6007-48_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6007-48_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6007-48_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6007-48_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6007-48_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_6007-48_0_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_6007-48_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_6007-48_0_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_6007-48_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_6007-48_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6007-48_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_6007-48_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6007-48_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6007-48_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6007-48_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6007-48_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6007-48_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6007-48_0_4_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_6007-48_0_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_6007-48_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6007-48_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_6007-48_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6007-48_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_6007-48_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_6007-48_0_4_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_6007-48_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_6007-48_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_6007-48_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_6007-48_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_6007-48_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_6007-48_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_6007-48_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_6007-48_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_6007-48_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_6007-48_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_6007-48_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_6007-48_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_6007-48_0_4_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_6007-48_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6007-48_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_6007-48_0_4_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_6007-48_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6007-48_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_6007-48_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_6007-48_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_6007-48_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6007-48_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6007-48_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_6007-48_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6007-48_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6007-48_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6007-48_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_6007-48_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_6007-48_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_6007-48_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_6007-48_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_6007-48_0_4_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_6007-48_0_4_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_6007-48_0_4_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_6007-48_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_6007-48_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_6007-48_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_6007-48_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_6007-48_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_6007-48_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_MV_87_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6007-48_0_4_load_0 | 0 | 0.0057795 | 0.0014485 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6007-48_0_4_load_1 | 1 | 0.0064413 | 0.0016144 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6007-48_0_4_load_2 | 2 | 0.0066057 | 0.0016555 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6007-48_0_4_load_9 | 4 | 0.021032 | 0.0052711 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6007-48_0_4_load_67 | 6 | 0.0070876 | 0.0017763 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6007-48_0_4_load_8 | 7 | 0.0067213 | 0.0016845 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6007-48_0_4_load_4 | 8 | 0.009626 | 0.0024125 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6007-48_0_4_load_5 | 9 | 0.0064224 | 0.0016096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6007-48_0_4_load_7 | 10 | 0.0053113 | 0.0013311 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6007-48_0_4_load_10 | 11 | 0.013461 | 0.0033737 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6007-48_0_4_load_69 | 12 | 0.01036 | 0.0025965 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6007-48_0_4_load_68 | 14 | 0.015889 | 0.0039823 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6007-48_0_4_load_39 | 15 | 0.012282 | 0.0030782 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6007-48_0_4_load_72 | 16 | 0.0029742 | 0.00074541 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6007-48_0_4_load_85 | 17 | 0.009722 | 0.0024366 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6007-48_0_4_load_12 | 18 | 0.0065927 | 0.0016523 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6007-48_0_4_load_13 | 19 | 0.016598 | 0.0041599 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6007-48_0_4_load_15 | 21 | 0.016269 | 0.0040774 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6007-48_0_4_load_17 | 23 | 0.0056867 | 0.0014252 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6007-48_0_4_load_41 | 24 | 0.0069166 | 0.0017335 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6007-48_0_4_load_33 | 25 | 0.0024774 | 0.00062089 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6007-48_0_4_load_34 | 27 | 0.0055763 | 0.0013975 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6007-48_0_4_load_42 | 28 | 0.0063818 | 0.0015994 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6007-48_0_4_load_32 | 29 | 0.0024136 | 0.00060492 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6007-48_0_4_load_43 | 30 | 0.0035395 | 0.00088707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6007-48_0_4_load_18 | 32 | 0.0074145 | 0.0018583 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6007-48_0_4_load_19 | 33 | 0.0051073 | 0.00128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6007-48_0_4_load_20 | 34 | 0.0080294 | 0.0020124 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6007-48_0_4_load_21 | 35 | 0.006593 | 0.0016524 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6007-48_0_4_load_22 | 36 | 0.0051724 | 0.0012963 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6007-48_0_4_load_86 | 37 | 0.010779 | 0.0027015 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6007-48_0_4_load_36 | 39 | 0.013594 | 0.0034071 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6007-48_0_4_load_37 | 41 | 0.0060268 | 0.0015105 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6007-48_0_4_load_53 | 43 | 0.004755 | 0.0011917 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6007-48_0_4_load_54 | 44 | 0.0067714 | 0.0016971 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6007-48_0_4_load_23 | 45 | 0.0053579 | 0.0013428 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6007-48_0_4_load_24 | 46 | 0.0047689 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6007-48_0_4_load_25 | 47 | 0.0051784 | 0.0012978 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6007-48_0_4_load_26 | 48 | 0.0050829 | 0.0012739 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6007-48_0_4_load_56 | 49 | 0.0042512 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6007-48_0_4_load_28 | 50 | 0.0031578 | 0.00079142 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6007-48_0_4_load_29 | 51 | 0.0027584 | 0.00069133 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6007-48_0_4_load_30 | 52 | 0.0079793 | 0.0019998 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6007-48_0_4_load_31 | 53 | 0.0051044 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6007-48_0_4_load_40 | 56 | 0.0071518 | 0.0017924 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6007-48_0_4_load_78 | 57 | 0.0080013 | 0.0020053 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6007-48_0_4_load_50 | 58 | 0.0038325 | 0.00096051 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6007-48_0_4_load_77 | 60 | 0.0074657 | 0.0018711 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6007-48_0_4_load_55 | 61 | 0.0063919 | 0.001602 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6007-48_0_4_load_47 | 62 | 0.0038581 | 0.00096693 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6007-48_0_4_load_48 | 63 | 0.0028238 | 0.0007077 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6007-48_0_4_load_51 | 65 | 0.004479 | 0.0011226 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6007-48_0_4_load_59 | 66 | 0.0096502 | 0.0024186 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6007-48_0_4_load_60 | 67 | 0.0094026 | 0.0023565 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6007-48_0_4_load_61 | 68 | 0.018628 | 0.0046685 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6007-48_0_4_load_62 | 69 | 0.0090634 | 0.0022715 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6007-48_0_4_load_64 | 72 | 0.0081176 | 0.0020345 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6007-48_0_4_load_63 | 73 | 0.011264 | 0.002823 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6007-48_0_4_load_65 | 74 | 0.0082459 | 0.0020666 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6007-48_0_4_load_79 | 75 | 0.0050264 | 0.0012597 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6007-48_0_4_load_80 | 76 | 0.0062368 | 0.0015631 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6007-48_0_4_load_76 | 77 | 0.0070546 | 0.0017681 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6007-48_0_4_load_82 | 78 | 0.0086518 | 0.0021684 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6007-48_0_4_load_70 | 79 | 0.015992 | 0.0040079 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6007-48_0_4_load_74 | 80 | 0.0050373 | 0.0012625 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6007-48_0_4_load_81 | 81 | 0.0081809 | 0.0020503 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6007-48_0_4_load_75 | 82 | 0.0073088 | 0.0018318 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6007-48_0_4_load_83 | 83 | 0.0059473 | 0.0014905 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6007-48_0_4_load_84 | 84 | 0.031599 | 0.0079195 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6007-48_0_4_line_0 |  | 0 | 1 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6007-48_0_4_line_1 |  | 1 | 2 | 0.023148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6007-48_0_4_line_2 |  | 2 | 3 | 0.03343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6007-48_0_4_line_3 |  | 3 | 4 | 0.026708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6007-48_0_4_line_4 |  | 3 | 5 | 0.02547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6007-48_0_4_line_5 |  | 4 | 6 | 0.037734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6007-48_0_4_line_6 |  | 5 | 7 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6007-48_0_4_line_7 |  | 5 | 8 | 0.0082079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6007-48_0_4_line_8 |  | 6 | 15 | 0.023095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6007-48_0_4_line_9 |  | 7 | 12 | 0.018942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6007-48_0_4_line_10 |  | 8 | 9 | 0.026352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6007-48_0_4_line_11 |  | 9 | 10 | 0.031707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6007-48_0_4_line_12 |  | 10 | 11 | 0.005702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6007-48_0_4_line_13 |  | 11 | 13 | 0.018022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6007-48_0_4_line_14 |  | 12 | 14 | 0.0080178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6007-48_0_4_line_15 |  | 13 | 16 | 0.029831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6007-48_0_4_line_16 |  | 14 | 79 | 0.037838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6007-48_0_4_line_17 |  | 15 | 31 | 0.045611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6007-48_0_4_line_18 |  | 16 | 17 | 0.0077834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6007-48_0_4_line_19 |  | 18 | 19 | 0.026368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6007-48_0_4_line_20 |  | 18 | 20 | 0.053771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6007-48_0_4_line_21 |  | 19 | 21 | 0.008976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6007-48_0_4_line_22 |  | 20 | 22 | 0.046322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6007-48_0_4_line_23 |  | 20 | 23 | 0.072681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6007-48_0_4_line_24 |  | 21 | 24 | 0.035325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6007-48_0_4_line_25 |  | 22 | 25 | 0.02545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6007-48_0_4_line_26 |  | 22 | 26 | 0.010494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6007-48_0_4_line_27 |  | 23 | 27 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6007-48_0_4_line_28 |  | 24 | 28 | 0.015016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6007-48_0_4_line_29 |  | 25 | 29 | 0.0018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6007-48_0_4_line_30 |  | 26 | 30 | 0.0086005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6007-48_0_4_line_31 |  | 27 | 31 | 0.049745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6007-48_0_4_line_32 |  | 28 | 61 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6007-48_0_4_line_33 |  | 30 | 59 | 0.033671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6007-48_0_4_line_34 |  | 31 | 56 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6007-48_0_4_line_35 |  | 32 | 33 | 0.0089858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6007-48_0_4_line_36 |  | 32 | 34 | 0.019332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6007-48_0_4_line_37 |  | 33 | 35 | 0.0078166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6007-48_0_4_line_38 |  | 34 | 36 | 0.0099579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6007-48_0_4_line_39 |  | 35 | 39 | 0.0025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6007-48_0_4_line_40 |  | 36 | 40 | 0.0096875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6007-48_0_4_line_41 |  | 37 | 38 | 0.054912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6007-48_0_4_line_42 |  | 38 | 42 | 0.025057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6007-48_0_4_line_43 |  | 39 | 41 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6007-48_0_4_line_44 |  | 40 | 43 | 0.0061365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6007-48_0_4_line_45 |  | 40 | 44 | 0.063029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6007-48_0_4_line_46 |  | 41 | 48 | 0.0073019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6007-48_0_4_line_47 |  | 42 | 49 | 0.11092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6007-48_0_4_line_48 |  | 43 | 65 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6007-48_0_4_line_49 |  | 44 | 61 | 0.0058747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6007-48_0_4_line_50 |  | 45 | 46 | 0.011851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6007-48_0_4_line_51 |  | 45 | 47 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6007-48_0_4_line_52 |  | 46 | 48 | 0.00085132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6007-48_0_4_line_53 |  | 49 | 64 | 0.09921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6007-48_0_4_line_54 |  | 50 | 51 | 0.0053549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6007-48_0_4_line_55 |  | 50 | 52 | 0.065172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6007-48_0_4_line_56 |  | 51 | 53 | 0.056323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6007-48_0_4_line_57 |  | 53 | 54 | 0.11685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6007-48_0_4_line_58 |  | 54 | 55 | 0.009661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6007-48_0_4_line_59 |  | 55 | 58 | 0.1088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6007-48_0_4_line_60 |  | 55 | 59 | 0.063133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6007-48_0_4_line_61 |  | 56 | 57 | 0.0087283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6007-48_0_4_line_62 |  | 57 | 60 | 0.00066527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6007-48_0_4_line_63 |  | 60 | 77 | 0.0091466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6007-48_0_4_line_64 |  | 62 | 63 | 0.02308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6007-48_0_4_line_65 |  | 63 | 64 | 0.066671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6007-48_0_4_line_66 |  | 64 | 65 | 0.0086614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6007-48_0_4_line_67 |  | 66 | 67 | 0.0080702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6007-48_0_4_line_68 |  | 66 | 68 | 0.0037893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6007-48_0_4_line_69 |  | 67 | 69 | 0.0038278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6007-48_0_4_line_70 |  | 69 | 70 | 0.011655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6007-48_0_4_line_71 |  | 70 | 71 | 0.053553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6007-48_0_4_line_72 |  | 70 | 72 | 0.016906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6007-48_0_4_line_73 |  | 71 | 77 | 0.004377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6007-48_0_4_line_74 |  | 71 | 78 | 0.024556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6007-48_0_4_line_75 |  | 72 | 73 | 0.011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6007-48_0_4_line_76 |  | 73 | 74 | 0.013345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6007-48_0_4_line_77 |  | 73 | 75 | 0.088114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6007-48_0_4_line_78 |  | 75 | 76 | 0.088679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6007-48_0_4_line_79 |  | 77 | 80 | 0.024672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6007-48_0_4_line_80 |  | 78 | 81 | 0.0057877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6007-48_0_4_line_81 |  | 80 | 82 | 0.03444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6007-48_0_4_line_82 |  | 81 | 83 | 0.010513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6007-48_0_4_line_83 |  | 83 | 84 | 0.0075181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6007-48_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 85 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2641832.2246 | 1134208.8371 | 2641817.1544 | 1134198.3596
1 | 2641817.1544 | 1134198.3596 | 2641798.1486 | 1134185.1459
2 | 2641770.7007 | 1134166.0631 | 2641776.8058 | 1134170.3074 | 2641798.1486 | 1134185.1459
3 | 2641770.7007 | 1134166.0631 | 2641748.9099 | 1134150.621
4 | 2641770.7007 | 1134166.0631 | 2641766.5786 | 1134191.1918
5 | 2641718.1228 | 1134128.8037 | 2641748.9099 | 1134150.621
6 | 2641766.5786 | 1134191.1918 | 2641759.5185 | 1134192.5994 | 2641748.1877 | 1134193.1396
7 | 2641766.5786 | 1134191.1918 | 2641765.6958 | 1134199.3521
8 | 2641718.1228 | 1134128.8037 | 2641699.2796 | 1134115.4504
9 | 2641729.5519 | 1134195.2112 | 2641732.4319 | 1134193.8908 | 2641748.1877 | 1134193.1396
10 | 2641765.6958 | 1134199.3521 | 2641763.2897 | 1134221.5957 | 2641764.6827 | 1134225.3222
11 | 2641764.6827 | 1134225.3222 | 2641764.9145 | 1134225.9425 | 2641778.4715 | 1134244.4567 | 2641781.1742 | 1134252.0904
12 | 2641781.2356 | 1134257.792 | 2641781.1742 | 1134252.0904 | 2641781.1742 | 1134252.0904
13 | 2641781.6876 | 1134275.806 | 2641781.343 | 1134267.7662 | 2641781.2356 | 1134257.792
14 | 2641722.2636 | 1134198.5528 | 2641729.5519 | 1134195.2112
15 | 2641781.6876 | 1134275.806 | 2641752.0186 | 1134272.7004
16 | 2641722.2636 | 1134198.5528 | 2641710.5033 | 1134203.9447 | 2641700.5878 | 1134226.7855
17 | 2641663.7958 | 1134087.0965 | 2641672.7049 | 1134096.6183 | 2641699.2796 | 1134115.4504
18 | 2641744.2775 | 1134271.8901 | 2641752.0186 | 1134272.7004
19 | 2641715.1453 | 1134019.6015 | 2641710.6125 | 1134012.9926 | 2641702.5338 | 1133996.5126
20 | 2641684.4173 | 1133956.3498 | 2641702.9879 | 1133967.9059 | 2641706.3419 | 1133978.2343 | 2641699.2499 | 1133989.8135 | 2641702.5338 | 1133996.5126
21 | 2641720.9865 | 1134026.3285 | 2641717.8596 | 1134023.559 | 2641715.1453 | 1134019.6015
22 | 2641684.4173 | 1133956.3498 | 2641671.8626 | 1133911.7627
23 | 2641684.4173 | 1133956.3498 | 2641688.9066 | 1133979.5258 | 2641689.6219 | 1133998.5627 | 2641685.5815 | 1134018.5673 | 2641681.3339 | 1134027.1932
24 | 2641720.9865 | 1134026.3285 | 2641724.6148 | 1134029.542 | 2641729.0556 | 1134029.6171 | 2641739.2569 | 1134026.9973 | 2641748.0555 | 1134039.7636
25 | 2641671.8626 | 1133911.7627 | 2641687.7252 | 1133925.3679 | 2641691.8843 | 1133927.2183
26 | 2641669.0227 | 1133901.6602 | 2641671.8626 | 1133911.7627
27 | 2641681.3339 | 1134027.1932 | 2641676.8852 | 1134036.2274 | 2641674.2994 | 1134040.7166
28 | 2641758.1192 | 1134050.8842 | 2641758.1192 | 1134050.8842 | 2641749.0724 | 1134041.239 | 2641748.0555 | 1134039.7636
29 | 2641693.5879 | 1133927.9763 | 2641693.5879 | 1133927.9763 | 2641691.8843 | 1133927.2183
30 | 2641669.0227 | 1133901.6602 | 2641666.6915 | 1133893.3818
31 | 2641663.7958 | 1134087.0965 | 2641660.8545 | 1134071.6128 | 2641664.5375 | 1134057.6644 | 2641674.2994 | 1134040.7166
32 | 2641758.1192 | 1134050.8842 | 2641773.6518 | 1134058.6843
33 | 2641657.5648 | 1133860.9717 | 2641666.6915 | 1133893.3818
34 | 2641663.7958 | 1134087.0965 | 2641651.2951 | 1134091.7753
35 | 2641850.5427 | 1134123.0017 | 2641846.6613 | 1134118.3194 | 2641844.3997 | 1134116.4979
36 | 2641829.344 | 1134104.372 | 2641844.3997 | 1134116.4979
37 | 2641855.5311 | 1134129.0196 | 2641855.5311 | 1134129.0196 | 2641850.5427 | 1134123.0017
38 | 2641823.4813 | 1134096.502 | 2641826.9055 | 1134102.408 | 2641829.344 | 1134104.372
39 | 2641855.5311 | 1134129.0196 | 2641856.2182 | 1134131.4562
40 | 2641818.6223 | 1134088.1212 | 2641823.4813 | 1134096.502
41 | 2641953.5484 | 1134017.5642 | 2641994.2944 | 1134054.4992
42 | 2641997.1464 | 1134079.3872 | 2641994.2944 | 1134054.4992
43 | 2641861.475 | 1134146.0585 | 2641859.8809 | 1134144.4465 | 2641856.2182 | 1134131.4562
44 | 2641818.6223 | 1134088.1212 | 2641815.7427 | 1134082.7023
45 | 2641818.6223 | 1134088.1212 | 2641799.458 | 1134074.5707 | 2641784.4406 | 1134066.8408 | 2641783.5746 | 1134061.8433 | 2641780.3427 | 1134066.1677 | 2641778.7988 | 1134060.1428 | 2641776.15 | 1134064.738 | 2641775.8929 | 1134064.1148
46 | 2641866.6094 | 1134151.2504 | 2641861.475 | 1134146.0585
47 | 2641997.1464 | 1134079.3872 | 2641991.4468 | 1134075.5012 | 2641986.4014 | 1134071.6197 | 2641979.5115 | 1134069.5486 | 2641973.0422 | 1134065.6573 | 2641967.3825 | 1134061.5715 | 2641961.147 | 1134052.8238 | 2641953.2769 | 1134046.6994 | 2641947.4114 | 1134043.4237 | 2641942.3245 | 1134044.4 | 2641936.6043 | 1134049.0183 | 2641930.7107 | 1134049.7889 | 2641922.213 | 1134046.4839 | 2641913.8105 | 1134041.6454 | 2641904.4085 | 1134035.5438
48 | 2641809.1055 | 1134066.5097 | 2641809.93 | 1134071.7639 | 2641815.7427 | 1134082.7023
49 | 2641775.8929 | 1134064.1148 | 2641773.6518 | 1134058.6843 | 2641773.6518 | 1134058.6843
50 | 2641867.2081 | 1134151.8557 | 2641872.1791 | 1134156.8824 | 2641874.686 | 1134160.954
51 | 2641883.3347 | 1134175.0012 | 2641874.686 | 1134160.954
52 | 2641867.2081 | 1134151.8557 | 2641866.6094 | 1134151.2504
53 | 2641807.7626 | 1134057.953 | 2641904.4085 | 1134035.5438
54 | 2641813.5759 | 1133769.3526 | 2641818.3711 | 1133771.736
55 | 2641821.2541 | 1133716.6167 | 2641822.8788 | 1133726.5552 | 2641826.8106 | 1133737.9104 | 2641830.7844 | 1133763.2175 | 2641829.6852 | 1133767.4565 | 2641826.6679 | 1133770.7707 | 2641822.3082 | 1133772.3191 | 2641818.3711 | 1133771.736
56 | 2641813.5759 | 1133769.3526 | 2641807.3478 | 1133766.257 | 2641802.5677 | 1133766.2573 | 2641797.7596 | 1133768.0694 | 2641792.5732 | 1133772.2802 | 2641786.2092 | 1133784.2756 | 2641783.8915 | 1133799.9787 | 2641781.9639 | 1133802.6779 | 2641781.9639 | 1133802.6779
57 | 2641675.3038 | 1133801.1634 | 2641679.0083 | 1133807.57 | 2641682.7472 | 1133808.9743 | 2641706.211 | 1133808.6692 | 2641719.1796 | 1133812.2271 | 2641728.586 | 1133816.661 | 2641741.2316 | 1133819.0606 | 2641750.5407 | 1133818.6357 | 2641756.1206 | 1133816.5065 | 2641768.4097 | 1133806.9976 | 2641778.8161 | 1133804.835 | 2641781.9639 | 1133802.6779
58 | 2641666.2283 | 1133804.5471 | 2641675.3038 | 1133801.1634
59 | 2641666.2283 | 1133804.5471 | 2641682.5373 | 1133824.9032 | 2641704.6312 | 1133839.0516 | 2641719.8976 | 1133849.8401 | 2641749.5542 | 1133866.7312 | 2641751.9057 | 1133869.5266 | 2641751.9057 | 1133869.5266
60 | 2641657.5648 | 1133860.9717 | 2641652.7072 | 1133842.0619 | 2641651.3725 | 1133824.6328 | 2641656.0018 | 1133811.8915 | 2641666.2283 | 1133804.5471
61 | 2641643.1207 | 1134094.8349 | 2641651.2951 | 1134091.7753
62 | 2641642.4976 | 1134095.0681 | 2641643.1207 | 1134094.8349
63 | 2641633.9313 | 1134098.2743 | 2641642.4976 | 1134095.0681
64 | 2641779.3799 | 1133972.9646 | 2641785.6669 | 1133995.1714
65 | 2641807.7626 | 1134057.953 | 2641794.1802 | 1134025.2424 | 2641785.6669 | 1133995.1714
66 | 2641807.7626 | 1134057.953 | 2641809.1055 | 1134066.5097
67 | 2641663.3702 | 1134162.8711 | 2641655.5625 | 1134164.9128
68 | 2641667.0363 | 1134161.9125 | 2641663.3702 | 1134162.8711
69 | 2641653.0979 | 1134161.9841 | 2641655.5625 | 1134164.9128 | 2641655.5625 | 1134164.9128
70 | 2641650.1417 | 1134151.8243 | 2641649.2107 | 1134157.3652 | 2641653.0979 | 1134161.9841
71 | 2641635.6277 | 1134102.3102 | 2641653.0909 | 1134143.8183 | 2641650.1417 | 1134151.8243
72 | 2641650.1417 | 1134151.8243 | 2641633.2448 | 1134152.3666
73 | 2641633.9313 | 1134098.2743 | 2641635.6277 | 1134102.3102
74 | 2641635.6277 | 1134102.3102 | 2641626.8827 | 1134114.7675 | 2641617.6816 | 1134116.3494 | 2641617.6816 | 1134116.3494
75 | 2641622.8257 | 1134148.657 | 2641629.3246 | 1134152.4924 | 2641633.2448 | 1134152.3666
76 | 2641611.3329 | 1134141.8743 | 2641622.8257 | 1134148.657
77 | 2641622.8257 | 1134148.657 | 2641589.6382 | 1134230.2821
78 | 2641589.6382 | 1134230.2821 | 2641586.7411 | 1134229.1385 | 2641567.9243 | 1134233.3224 | 2641559.4814 | 1134231.0076 | 2641545.4996 | 1134222.6739 | 2641537.8369 | 1134210.9931 | 2641536.8599 | 1134203.0713 | 2641533.0948 | 1134195.4304 | 2641527.4381 | 1134191.9898 | 2641524.3331 | 1134189.2128
79 | 2641633.9313 | 1134098.2743 | 2641627.7797 | 1134079.5224 | 2641626.7198 | 1134074.7002
80 | 2641612.9696 | 1134112.9887 | 2641617.6816 | 1134116.3494
81 | 2641600.5206 | 1134065.5499 | 2641624.4735 | 1134064.4809 | 2641626.7198 | 1134074.7002
82 | 2641612.9696 | 1134112.9887 | 2641607.9236 | 1134109.3898 | 2641603.686 | 1134110.2018
83 | 2641597.2641 | 1134113.741 | 2641601.2029 | 1134110.6776 | 2641603.686 | 1134110.2018

## bus_geodata
| x | y | coords
0 | 2641832.2246 | 1134208.8371
1 | 2641817.1544 | 1134198.3596
2 | 2641798.1486 | 1134185.1459
3 | 2641770.7007 | 1134166.0631
4 | 2641748.9099 | 1134150.621
5 | 2641766.5786 | 1134191.1918
6 | 2641718.1228 | 1134128.8037
7 | 2641748.1877 | 1134193.1396
8 | 2641765.6958 | 1134199.3521
9 | 2641764.6827 | 1134225.3222
10 | 2641781.1742 | 1134252.0904
11 | 2641781.2356 | 1134257.792
12 | 2641729.5519 | 1134195.2112
13 | 2641781.6876 | 1134275.806
14 | 2641722.2636 | 1134198.5528
15 | 2641699.2796 | 1134115.4504
16 | 2641752.0186 | 1134272.7004
17 | 2641744.2775 | 1134271.8901
18 | 2641702.5338 | 1133996.5126
19 | 2641715.1453 | 1134019.6015
20 | 2641684.4173 | 1133956.3498
21 | 2641720.9865 | 1134026.3285
22 | 2641671.8626 | 1133911.7627
23 | 2641681.3339 | 1134027.1932
24 | 2641748.0555 | 1134039.7636
25 | 2641691.8843 | 1133927.2183
26 | 2641669.0227 | 1133901.6602
27 | 2641674.2994 | 1134040.7166
28 | 2641758.1192 | 1134050.8842
29 | 2641693.5879 | 1133927.9763
30 | 2641666.6915 | 1133893.3818
31 | 2641663.7958 | 1134087.0965
32 | 2641844.3997 | 1134116.4979
33 | 2641850.5427 | 1134123.0017
34 | 2641829.344 | 1134104.372
35 | 2641855.5311 | 1134129.0196
36 | 2641823.4813 | 1134096.502
37 | 2641953.5484 | 1134017.5642
38 | 2641994.2944 | 1134054.4992
39 | 2641856.2182 | 1134131.4562
40 | 2641818.6223 | 1134088.1212
41 | 2641861.475 | 1134146.0585
42 | 2641997.1464 | 1134079.3872
43 | 2641815.7427 | 1134082.7023
44 | 2641775.8929 | 1134064.1148
45 | 2641874.686 | 1134160.954
46 | 2641867.2081 | 1134151.8557
47 | 2641883.3347 | 1134175.0012
48 | 2641866.6094 | 1134151.2504
49 | 2641904.4085 | 1134035.5438
50 | 2641818.3711 | 1133771.736
51 | 2641813.5759 | 1133769.3526
52 | 2641821.2541 | 1133716.6167
53 | 2641781.9639 | 1133802.6779
54 | 2641675.3038 | 1133801.1634
55 | 2641666.2283 | 1133804.5471
56 | 2641651.2951 | 1134091.7753
57 | 2641643.1207 | 1134094.8349
58 | 2641751.9057 | 1133869.5266
59 | 2641657.5648 | 1133860.9717
60 | 2641642.4976 | 1134095.0681
61 | 2641773.6518 | 1134058.6843
62 | 2641779.3799 | 1133972.9646
63 | 2641785.6669 | 1133995.1714
64 | 2641807.7626 | 1134057.953
65 | 2641809.1055 | 1134066.5097
66 | 2641663.3702 | 1134162.8711
67 | 2641655.5625 | 1134164.9128
68 | 2641667.0363 | 1134161.9125
69 | 2641653.0979 | 1134161.9841
70 | 2641650.1417 | 1134151.8243
71 | 2641635.6277 | 1134102.3102
72 | 2641633.2448 | 1134152.3666
73 | 2641622.8257 | 1134148.657
74 | 2641611.3329 | 1134141.8743
75 | 2641589.6382 | 1134230.2821
76 | 2641524.3331 | 1134189.2128
77 | 2641633.9313 | 1134098.2743
78 | 2641617.6816 | 1134116.3494
79 | 2641700.5878 | 1134226.7855
80 | 2641626.7198 | 1134074.7002
81 | 2641612.9696 | 1134112.9887
82 | 2641600.5206 | 1134065.5499
83 | 2641603.686 | 1134110.2018
84 | 2641597.2641 | 1134113.741
85 | 2641770.7007 | 1134166.0631

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1