## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6007-50_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6007-50_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6007-50_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6007-50_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6007-50_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6007-50_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6007-50_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6007-50_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6007-50_0_2_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_6007-50_0_2_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_6007-50_0_2_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_6007-50_0_2_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_6007-50_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6007-50_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6007-50_0_2_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_6007-50_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6007-50_0_2_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_6007-50_0_2_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_6007-50_0_2_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_6007-50_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6007-50_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6007-50_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6007-50_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6007-50_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6007-50_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6007-50_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6007-50_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6007-50_0_2_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_6007-50_0_2_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_6007-50_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6007-50_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6007-50_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6007-50_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6007-50_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6007-50_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6007-50_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6007-50_0_2_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6007-50_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6007-50_0_2_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_6007-50_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6007-50_0_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_6007-50_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6007-50_0_2_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_6007-50_0_2_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_6007-50_0_2_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6007-50_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_6007-50_0_2_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6007-50_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6007-50_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6007-50_0_2_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6007-50_0_2_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_6007-50_0_2_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_6007-50_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_6007-50_0_2_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_6007-50_0_2_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_6007-50_0_2_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_6007-50_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6007-50_0_2_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6007-50_0_2_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6007-50_0_2_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6007-50_0_2_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_6007-50_0_2_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_6007-50_0_2_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6007-50_0_2_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6007-50_0_2_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6007-50_0_2_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_6007-50_0_2_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_6007-50_0_2_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6007-50_0_2_node_68 | 0.4 | n |  | TRUE
69 | bus_MV_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6007-50_0_2_load_0 | 0 | 0.0014561 | 0.00036492 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6007-50_0_2_load_1 | 1 | 0.0021475 | 0.00053821 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6007-50_0_2_load_3 | 3 | 0.00071783 | 0.0001799 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6007-50_0_2_load_4 | 4 | 0.0011467 | 0.00028739 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6007-50_0_2_load_5 | 5 | 0.00052899 | 0.00013258 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6007-50_0_2_load_6 | 6 | 0.0013374 | 0.00033519 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6007-50_0_2_load_7 | 7 | 0.00071408 | 0.00017897 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6007-50_0_2_load_20 | 8 | 0.00051512 | 0.0001291 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6007-50_0_2_load_58 | 9 | 0.00042622 | 0.00010682 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6007-50_0_2_load_19 | 10 | 0.0013909 | 0.00034859 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6007-50_0_2_load_59 | 11 | 0.00049444 | 0.00012392 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6007-50_0_2_load_8 | 12 | 0.0020456 | 0.00051268 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6007-50_0_2_load_9 | 13 | 0.0014047 | 0.00035205 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6007-50_0_2_load_10 | 15 | 0.0015319 | 0.00038392 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6007-50_0_2_load_53 | 17 | 0.00132 | 0.00033083 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6007-50_0_2_load_56 | 18 | 0.0014599 | 0.00036589 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6007-50_0_2_load_14 | 21 | 0.0012744 | 0.00031939 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6007-50_0_2_load_13 | 22 | 0.0014415 | 0.00036128 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6007-50_0_2_load_15 | 23 | 0.0015547 | 0.00038965 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6007-50_0_2_load_16 | 24 | 0.0033004 | 0.00082716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6007-50_0_2_load_18 | 25 | 0.0039772 | 0.00099677 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6007-50_0_2_load_57 | 27 | 0.0036972 | 0.0009266 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6007-50_0_2_load_70 | 28 | 0.002394 | 0.0006 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6007-50_0_2_load_22 | 29 | 0.00047917 | 0.00012009 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6007-50_0_2_load_23 | 30 | 0.00093041 | 0.00023318 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6007-50_0_2_load_25 | 32 | 0.00061567 | 0.0001543 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6007-50_0_2_load_28 | 35 | 0.0015173 | 0.00038026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6007-50_0_2_load_29 | 36 | 0.0004993 | 0.00012514 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6007-50_0_2_load_40 | 38 | 0.00089114 | 0.00022334 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6007-50_0_2_load_45 | 42 | 0.00093559 | 0.00023448 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6007-50_0_2_load_47 | 43 | 0.0011109 | 0.00027843 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6007-50_0_2_load_46 | 44 | 0.00072276 | 0.00018114 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6007-50_0_2_load_44 | 45 | 0.00073902 | 0.00018522 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6007-50_0_2_load_48 | 46 | 0.00064165 | 0.00016081 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6007-50_0_2_load_33 | 47 | 0.00041938 | 0.00010511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6007-50_0_2_load_34 | 48 | 0.0019522 | 0.00048926 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6007-50_0_2_load_35 | 49 | 0.00098068 | 0.00024578 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6007-50_0_2_load_36 | 50 | 0.0026387 | 0.00066132 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6007-50_0_2_load_37 | 51 | 0.00051134 | 0.00012815 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6007-50_0_2_load_38 | 52 | 0.0011725 | 0.00029386 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6007-50_0_2_load_65 | 53 | 0.00093959 | 0.00023548 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6007-50_0_2_load_63 | 54 | 0.00049585 | 0.00012427 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6007-50_0_2_load_41 | 55 | 0.00043245 | 0.00010838 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6007-50_0_2_load_43 | 56 | 0.00058027 | 0.00014543 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6007-50_0_2_load_52 | 57 | 0.00026945 | 6.753e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6007-50_0_2_load_51 | 58 | 0.00031787 | 7.9667e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6007-50_0_2_load_49 | 59 | 0.00036617 | 9.1771e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6007-50_0_2_load_50 | 60 | 0.00042967 | 0.00010769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6007-50_0_2_load_69 | 61 | 0.002277 | 0.00057066 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6007-50_0_2_load_61 | 63 | 0.00089977 | 0.0002255 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6007-50_0_2_load_62 | 64 | 0.0011677 | 0.00029267 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6007-50_0_2_load_64 | 65 | 0.0024529 | 0.00061474 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6007-50_0_2_load_66 | 66 | 0.0018711 | 0.00046894 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6007-50_0_2_load_67 | 67 | 0.0023878 | 0.00059843 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6007-50_0_2_load_68 | 68 | 0.0024872 | 0.00062335 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6007-50_0_2_line_0 |  | 0 | 1 | 0.02038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6007-50_0_2_line_1 |  | 0 | 2 | 0.1531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6007-50_0_2_line_2 |  | 1 | 3 | 0.011804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6007-50_0_2_line_3 |  | 2 | 4 | 0.0078615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6007-50_0_2_line_4 |  | 2 | 5 | 0.0054375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6007-50_0_2_line_5 |  | 4 | 6 | 0.020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6007-50_0_2_line_6 |  | 5 | 7 | 0.0030125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6007-50_0_2_line_7 |  | 6 | 8 | 0.053949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6007-50_0_2_line_8 |  | 7 | 9 | 0.0034602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6007-50_0_2_line_9 |  | 8 | 10 | 0.024532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6007-50_0_2_line_10 |  | 9 | 11 | 0.013649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6007-50_0_2_line_11 |  | 11 | 62 | 0.012243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6007-50_0_2_line_12 |  | 12 | 13 | 0.069324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6007-50_0_2_line_13 |  | 12 | 14 | 0.23804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6007-50_0_2_line_14 |  | 13 | 15 | 0.037028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6007-50_0_2_line_15 |  | 14 | 18 | 0.013449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6007-50_0_2_line_16 |  | 14 | 16 | 0.040901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6007-50_0_2_line_17 |  | 15 | 19 | 0.028549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6007-50_0_2_line_18 |  | 16 | 17 | 0.088054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6007-50_0_2_line_19 |  | 19 | 20 | 0.064743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6007-50_0_2_line_20 |  | 20 | 21 | 0.092224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6007-50_0_2_line_21 |  | 21 | 22 | 0.069023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6007-50_0_2_line_22 |  | 22 | 23 | 0.050396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6007-50_0_2_line_23 |  | 23 | 24 | 0.066942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6007-50_0_2_line_24 |  | 24 | 25 | 0.17865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6007-50_0_2_line_25 |  | 25 | 26 | 0.1089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6007-50_0_2_line_26 |  | 26 | 27 | 0.036967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6007-50_0_2_line_27 |  | 27 | 28 | 0.037744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6007-50_0_2_line_28 |  | 28 | 61 | 0.022608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6007-50_0_2_line_29 |  | 29 | 30 | 0.061662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6007-50_0_2_line_30 |  | 30 | 31 | 0.093244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6007-50_0_2_line_31 |  | 31 | 32 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6007-50_0_2_line_32 |  | 32 | 33 | 0.13477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6007-50_0_2_line_33 |  | 33 | 36 | 0.014875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6007-50_0_2_line_34 |  | 33 | 37 | 0.049813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6007-50_0_2_line_35 |  | 34 | 35 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6007-50_0_2_line_36 |  | 34 | 36 | 0.10913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6007-50_0_2_line_37 |  | 35 | 38 | 0.030695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6007-50_0_2_line_38 |  | 37 | 39 | 0.2048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6007-50_0_2_line_39 |  | 38 | 40 | 0.0033824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6007-50_0_2_line_40 |  | 39 | 43 | 0.28789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6007-50_0_2_line_41 |  | 39 | 44 | 0.21049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6007-50_0_2_line_42 |  | 39 | 41 | 0.19157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6007-50_0_2_line_43 |  | 40 | 51 | 0.030743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6007-50_0_2_line_44 |  | 41 | 42 | 0.12929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6007-50_0_2_line_45 |  | 42 | 45 | 0.036107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6007-50_0_2_line_46 |  | 43 | 46 | 0.12923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6007-50_0_2_line_47 |  | 45 | 56 | 0.1676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6007-50_0_2_line_48 |  | 46 | 57 | 0.14458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6007-50_0_2_line_49 |  | 47 | 48 | 0.13454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6007-50_0_2_line_50 |  | 47 | 49 | 0.18897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6007-50_0_2_line_51 |  | 48 | 50 | 0.023218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6007-50_0_2_line_52 |  | 49 | 51 | 0.057895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6007-50_0_2_line_53 |  | 50 | 52 | 0.009455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6007-50_0_2_line_54 |  | 52 | 53 | 0.019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6007-50_0_2_line_55 |  | 53 | 54 | 0.013164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6007-50_0_2_line_56 |  | 54 | 63 | 0.016593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6007-50_0_2_line_57 |  | 55 | 56 | 0.13066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6007-50_0_2_line_58 |  | 57 | 58 | 0.067295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6007-50_0_2_line_59 |  | 58 | 60 | 0.032222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6007-50_0_2_line_60 |  | 59 | 60 | 0.023875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6007-50_0_2_line_61 |  | 61 | 68 | 0.02481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6007-50_0_2_line_62 |  | 62 | 63 | 0.0085474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6007-50_0_2_line_63 |  | 62 | 64 | 0.048829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6007-50_0_2_line_64 |  | 64 | 65 | 0.0023141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6007-50_0_2_line_65 |  | 65 | 66 | 0.021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6007-50_0_2_line_66 |  | 66 | 67 | 0.0010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6007-50_0_2_line_67 |  | 67 | 68 | 0.020512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6007-50_0_2_trafo_59 | 0.63 MVA 20/0.4 kV | 69 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2638327.6309 | 1129403.183 | 2638333.9225 | 1129405.8498 | 2638338.68 | 1129409.9598 | 2638342.5425 | 1129416.1069
1 | 2638196.7228 | 1129328.1542 | 2638215.5709 | 1129350.3066 | 2638234.0156 | 1129360.7061 | 2638277.2652 | 1129381.8346 | 2638327.6309 | 1129403.183
2 | 2638342.5425 | 1129416.1069 | 2638344.0029 | 1129418.4311 | 2638346.8569 | 1129427.0286
3 | 2638196.7228 | 1129328.1542 | 2638204.2785 | 1129330.3255
4 | 2638196.7228 | 1129328.1542 | 2638192.4768 | 1129324.7575
5 | 2638224.1451 | 1129336.0345 | 2638204.2785 | 1129330.3255
6 | 2638192.4768 | 1129324.7575 | 2638190.1243 | 1129322.8757
7 | 2638276.8355 | 1129347.4812 | 2638276.8355 | 1129347.4812 | 2638251.0624 | 1129341.1929 | 2638226.9025 | 1129336.8269 | 2638224.1451 | 1129336.0345
8 | 2638190.1243 | 1129322.8757 | 2638187.4223 | 1129320.7142
9 | 2638276.8355 | 1129347.4812 | 2638299.4953 | 1129356.8795
10 | 2638176.7636 | 1129312.1877 | 2638187.4223 | 1129320.7142
11 | 2638169.569 | 1129302.6145 | 2638172.8407 | 1129309.0495 | 2638176.7636 | 1129312.1877
12 | 2638419.8633 | 1129290.5757 | 2638479.1427 | 1129254.6336
13 | 2638479.1427 | 1129254.6336 | 2638465.0569 | 1129017.0069
14 | 2638419.8633 | 1129290.5757 | 2638431.498 | 1129307.263 | 2638442.8387 | 1129319.5015
15 | 2638469.859 | 1129004.4422 | 2638465.0569 | 1129017.0069
16 | 2638465.0569 | 1129017.0069 | 2638456.8315 | 1129017.9218 | 2638432.432 | 1129014.7097 | 2638426.2359 | 1129019.9619
17 | 2638461.8206 | 1129340.6725 | 2638457.41 | 1129334.1078 | 2638448.1917 | 1129325.2781 | 2638442.8387 | 1129319.5015
18 | 2638426.2359 | 1129019.9619 | 2638390.3238 | 1129005.1821 | 2638377.127 | 1128998.0059 | 2638361.1593 | 1128986.8212 | 2638351.2621 | 1128975.9494
19 | 2638504.1395 | 1129388.1212 | 2638495.7868 | 1129378.8633 | 2638476.9978 | 1129362.1354 | 2638465.7145 | 1129352.1809 | 2638461.8206 | 1129340.6725
20 | 2638504.1395 | 1129388.1212 | 2638494.7873 | 1129394.2981 | 2638488.9719 | 1129390.6148 | 2638480.0161 | 1129379.2855 | 2638467.3392 | 1129366.8208 | 2638451.3953 | 1129355.7028 | 2638440.8488 | 1129348.61 | 2638433.6234 | 1129342.0414
21 | 2638375.9999 | 1129305.3902 | 2638389.0579 | 1129316.3761 | 2638401.9126 | 1129325.1399 | 2638420.166 | 1129331.6479 | 2638430.517 | 1129339.2174 | 2638433.6234 | 1129342.0414
22 | 2638375.9999 | 1129305.3902 | 2638370.7913 | 1129301.0081 | 2638356.6731 | 1129295.9049 | 2638330.2128 | 1129285.1123
23 | 2638268.729 | 1129259.6743 | 2638271.2606 | 1129261.9137 | 2638302.1675 | 1129271.3362 | 2638328.4064 | 1129284.3756 | 2638330.2128 | 1129285.1123
24 | 2638268.729 | 1129259.6743 | 2638246.8702 | 1129240.3375 | 2638234.3217 | 1129234.2441 | 2638218.4356 | 1129230.931 | 2638211.85 | 1129225.9646 | 2638200.84 | 1129211.6657 | 2638189.5934 | 1129204.3355 | 2638162.8141 | 1129197.4742 | 2638139.6167 | 1129188.1789 | 2638120.523 | 1129184.101 | 2638113.1443 | 1129184.8067
25 | 2638006.1261 | 1129178.6122 | 2638022.7113 | 1129184.7083 | 2638063.6099 | 1129189.2677 | 2638091.865 | 1129189.3121 | 2638105.6931 | 1129185.5194 | 2638113.1443 | 1129184.8067
26 | 2638006.1261 | 1129178.6122 | 2638007.8896 | 1129187.2721 | 2638031.2533 | 1129198.3356 | 2638033.3124 | 1129199.3112
27 | 2638033.3124 | 1129199.3112 | 2638045.1163 | 1129204.9038 | 2638068.682 | 1129212.2431
28 | 2638068.682 | 1129212.2431 | 2638087.1934 | 1129218.0083 | 2638089.9615 | 1129219.6518
29 | 2637803.4489 | 1129396.2185 | 2637782.3353 | 1129386.5276 | 2637747.6738 | 1129369.9287
30 | 2637889.9303 | 1129430.8003 | 2637843.7211 | 1129414.7031 | 2637803.4489 | 1129396.2185
31 | 2637889.9303 | 1129430.8003 | 2637897.9305 | 1129437.4537
32 | 2637991.8059 | 1129523.2967 | 2637991.2298 | 1129516.9121 | 2637982.6796 | 1129496.059 | 2637974.3115 | 1129480.5653 | 2637965.477 | 1129471.8611 | 2637936.4389 | 1129456.8492 | 2637897.9305 | 1129437.4537
33 | 2637991.8059 | 1129523.2967 | 2638001.8495 | 1129520.9697 | 2638005.8287 | 1129523.2074
34 | 2637951.3712 | 1129549.5119 | 2637990.7414 | 1129528.4482 | 2637991.8059 | 1129523.2967
35 | 2638110.7093 | 1129528.9137 | 2638127.6241 | 1129534.16
36 | 2638110.7093 | 1129528.9137 | 2638083.0783 | 1129532.764 | 2638065.3372 | 1129536.6877 | 2638040.7998 | 1129536.1109 | 2638029.7043 | 1129536.6748 | 2638015.2436 | 1129528.5021 | 2638005.8287 | 1129523.2074
37 | 2638127.6241 | 1129534.16 | 2638156.9417 | 1129543.2533
38 | 2637758.883 | 1129520.5379 | 2637757.9431 | 1129516.8635 | 2637759.1917 | 1129513.036 | 2637764.4509 | 1129510.8677 | 2637778.6343 | 1129515.3919 | 2637812.5634 | 1129523.0631 | 2637831.2587 | 1129526.6596 | 2637834.8061 | 1129527.2376 | 2637837.7071 | 1129527.7115 | 2637854.1973 | 1129530.4049 | 2637885.4552 | 1129532.8572 | 2637951.3712 | 1129549.5119
39 | 2638160.1723 | 1129544.2553 | 2638156.9417 | 1129543.2533
40 | 2637758.883 | 1129520.5379 | 2637758.266 | 1129528.0712 | 2637763.0109 | 1129535.4823 | 2637790.926 | 1129553.9436 | 2637809.1656 | 1129568.8095 | 2637849.9967 | 1129624.3928 | 2637865.4565 | 1129643.9883 | 2637881.1935 | 1129654.9701 | 2637959.0503 | 1129700.6143 | 2637968.106 | 1129707.141
41 | 2637758.883 | 1129520.5379 | 2637749.8424 | 1129517.6801 | 2637736.3117 | 1129517.1843 | 2637718.7599 | 1129520.4321 | 2637642.4052 | 1129542.2123 | 2637606.2677 | 1129549.0244 | 2637565.0584 | 1129558.8847 | 2637553.9851 | 1129559.0325
42 | 2637935.5416 | 1129581.5289 | 2637909.2299 | 1129578.9516 | 2637879.4632 | 1129573.3291 | 2637853.6923 | 1129565.5639 | 2637818.1745 | 1129552.0795 | 2637801.385 | 1129545.5158 | 2637783.3655 | 1129534.8535 | 2637772.9687 | 1129523.4495 | 2637765.1363 | 1129518.298 | 2637758.883 | 1129520.5379
43 | 2638160.1723 | 1129544.2553 | 2638179.8323 | 1129526.7593 | 2638181.7216 | 1129522.7581
44 | 2637935.5416 | 1129581.5289 | 2637936.4431 | 1129588.8493 | 2637963.685 | 1129594.1672 | 2637982.6338 | 1129602.7349 | 2638035.9973 | 1129634.7084 | 2638045.359 | 1129640.7708
45 | 2638045.359 | 1129640.7708 | 2638075.6661 | 1129660.3969
46 | 2637856.8542 | 1129676.1393 | 2637894.7628 | 1129686.1597 | 2637935.8404 | 1129702.1695 | 2637954.4093 | 1129714.759 | 2637962.2379 | 1129717.9875 | 2637966.683 | 1129716.648 | 2637969.2097 | 1129712.9286 | 2637968.106 | 1129707.141 | 2637968.106 | 1129707.141
47 | 2638196.8757 | 1129775.3598 | 2638175.936 | 1129753.594 | 2638143.4046 | 1129728.5429 | 2638123.116 | 1129710.2169 | 2638096.202 | 1129678.6203 | 2638078.3817 | 1129662.1554 | 2638075.6661 | 1129660.3969
48 | 2637717.0049 | 1129639.4383 | 2637828.0377 | 1129668.5223 | 2637856.8542 | 1129676.1393
49 | 2638033.8315 | 1129334.7208 | 2638028.3958 | 1129312.2419 | 2638034.0619 | 1129290.7222 | 2638030.9713 | 1129271.3819 | 2638032.529 | 1129261.3088 | 2638043.836 | 1129256.5997 | 2638057.3182 | 1129261.2312 | 2638072.2156 | 1129260.0687 | 2638087.0761 | 1129270.1032
50 | 2638033.8315 | 1129334.7208 | 2638033.8315 | 1129334.7208 | 2638052.317 | 1129353.3797 | 2638067.3304 | 1129363.1457 | 2638081.8044 | 1129394.9529 | 2638107.627 | 1129411.7016 | 2638115.9648 | 1129416.0786 | 2638123.4675 | 1129422.1956 | 2638132.9212 | 1129430.3926 | 2638139.1388 | 1129443.6162 | 2638146.5628 | 1129462.1947 | 2638151.4647 | 1129474.0669
51 | 2638087.0761 | 1129270.1032 | 2638088.6842 | 1129271.1891 | 2638098.08 | 1129281.2978 | 2638104.7223 | 1129284.7291
52 | 2638181.7216 | 1129522.7581 | 2638180.0045 | 1129516.5663 | 2638169.6508 | 1129503.3166 | 2638160.8393 | 1129492.2443 | 2638154.7037 | 1129481.9115 | 2638151.4647 | 1129474.0669
53 | 2638113.4249 | 1129288.3249 | 2638109.1902 | 1129287.0373 | 2638104.7223 | 1129284.7291
54 | 2638132.2771 | 1129294.0575 | 2638113.4249 | 1129288.3249
55 | 2638145.1633 | 1129296.647 | 2638135.323 | 1129294.9836 | 2638132.2771 | 1129294.0575
56 | 2638161.3018 | 1129300.4438 | 2638149.874 | 1129297.4432 | 2638145.1633 | 1129296.647
57 | 2638196.8757 | 1129775.3598 | 2638315.5538 | 1129720.6973
58 | 2637650.7779 | 1129628.7144 | 2637677.7964 | 1129630.5216 | 2637707.6962 | 1129636.9999 | 2637717.0049 | 1129639.4383
59 | 2637618.628 | 1129626.564 | 2637650.7779 | 1129628.7144
60 | 2637594.8063 | 1129624.9706 | 2637618.628 | 1129626.564
61 | 2638108.7005 | 1129235.5143 | 2638099.1349 | 1129225.0982 | 2638089.9615 | 1129219.6518
62 | 2638169.569 | 1129302.6145 | 2638161.3018 | 1129300.4438
63 | 2638169.569 | 1129302.6145 | 2638168.203 | 1129290.811 | 2638166.3365 | 1129287.5198 | 2638142.889 | 1129272.7423 | 2638139.2043 | 1129268.73
64 | 2638137.639 | 1129267.0256 | 2638139.2043 | 1129268.73
65 | 2638137.639 | 1129267.0256 | 2638123.3114 | 1129251.4241
66 | 2638123.3114 | 1129251.4241 | 2638122.575 | 1129250.6223
67 | 2638108.7005 | 1129235.5143 | 2638122.575 | 1129250.6223

## bus_geodata
| x | y | coords
0 | 2638327.6309 | 1129403.183
1 | 2638342.5425 | 1129416.1069
2 | 2638196.7228 | 1129328.1542
3 | 2638346.8569 | 1129427.0286
4 | 2638204.2786 | 1129330.3255
5 | 2638192.4768 | 1129324.7575
6 | 2638224.1451 | 1129336.0345
7 | 2638190.1243 | 1129322.8757
8 | 2638276.8355 | 1129347.4812
9 | 2638187.4223 | 1129320.7142
10 | 2638299.4953 | 1129356.8795
11 | 2638176.7636 | 1129312.1877
12 | 2638479.1427 | 1129254.6336
13 | 2638419.8633 | 1129290.5757
14 | 2638465.0569 | 1129017.0069
15 | 2638442.8387 | 1129319.5015
16 | 2638426.2359 | 1129019.9619
17 | 2638351.2621 | 1128975.9494
18 | 2638469.859 | 1129004.4422
19 | 2638461.8206 | 1129340.6725
20 | 2638504.1395 | 1129388.1212
21 | 2638433.6234 | 1129342.0414
22 | 2638375.9999 | 1129305.3902
23 | 2638330.2128 | 1129285.1123
24 | 2638268.729 | 1129259.6743
25 | 2638113.1443 | 1129184.8067
26 | 2638006.1261 | 1129178.6122
27 | 2638033.3124 | 1129199.3112
28 | 2638068.682 | 1129212.2431
29 | 2637747.6738 | 1129369.9287
30 | 2637803.4489 | 1129396.2185
31 | 2637889.9303 | 1129430.8003
32 | 2637897.9305 | 1129437.4537
33 | 2637991.8059 | 1129523.2967
34 | 2638110.7093 | 1129528.9137
35 | 2638127.6241 | 1129534.16
36 | 2638005.8287 | 1129523.2074
37 | 2637951.3712 | 1129549.5119
38 | 2638156.9417 | 1129543.2533
39 | 2637758.883 | 1129520.5379
40 | 2638160.1723 | 1129544.2553
41 | 2637935.5416 | 1129581.5289
42 | 2638045.359 | 1129640.7708
43 | 2637968.106 | 1129707.141
44 | 2637553.9851 | 1129559.0324
45 | 2638075.6661 | 1129660.3969
46 | 2637856.8542 | 1129676.1393
47 | 2638033.8315 | 1129334.7208
48 | 2638087.0761 | 1129270.1032
49 | 2638151.4647 | 1129474.0669
50 | 2638104.7223 | 1129284.7291
51 | 2638181.7216 | 1129522.7581
52 | 2638113.4249 | 1129288.3249
53 | 2638132.2771 | 1129294.0575
54 | 2638145.1633 | 1129296.647
55 | 2638315.5538 | 1129720.6973
56 | 2638196.8757 | 1129775.3598
57 | 2637717.0049 | 1129639.4383
58 | 2637650.7779 | 1129628.7144
59 | 2637594.8063 | 1129624.9706
60 | 2637618.628 | 1129626.564
61 | 2638089.9615 | 1129219.6518
62 | 2638169.569 | 1129302.6145
63 | 2638161.3018 | 1129300.4438
64 | 2638139.2043 | 1129268.73
65 | 2638137.639 | 1129267.0256
66 | 2638123.3114 | 1129251.4241
67 | 2638122.575 | 1129250.6223
68 | 2638108.7005 | 1129235.5143
69 | 2638176.7636 | 1129312.1877

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1