## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6007-51_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6007-51_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6007-51_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6007-51_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6007-51_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6007-51_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6007-51_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6007-51_0_3_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_6007-51_0_3_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_6007-51_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6007-51_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_6007-51_0_3_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_6007-51_0_3_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_6007-51_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_6007-51_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6007-51_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6007-51_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6007-51_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6007-51_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6007-51_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6007-51_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6007-51_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6007-51_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6007-51_0_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_6007-51_0_3_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_6007-51_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6007-51_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6007-51_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6007-51_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6007-51_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6007-51_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6007-51_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6007-51_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6007-51_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6007-51_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6007-51_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6007-51_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6007-51_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6007-51_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6007-51_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6007-51_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_6007-51_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6007-51_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6007-51_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_6007-51_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_6007-51_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6007-51_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6007-51_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_6007-51_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_6007-51_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_6007-51_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6007-51_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6007-51_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6007-51_0_3_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_6007-51_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6007-51_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_6007-51_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6007-51_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6007-51_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_6007-51_0_3_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_6007-51_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_6007-51_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_6007-51_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6007-51_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6007-51_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_6007-51_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6007-51_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_6007-51_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_6007-51_0_3_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_6007-51_0_3_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_6007-51_0_3_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_6007-51_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6007-51_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6007-51_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_6007-51_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6007-51_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6007-51_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_6007-51_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_6007-51_0_3_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_6007-51_0_3_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_6007-51_0_3_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_6007-51_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_6007-51_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_6007-51_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_6007-51_0_3_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_6007-51_0_3_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_6007-51_0_3_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_6007-51_0_3_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_6007-51_0_3_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_6007-51_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_6007-51_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_6007-51_0_3_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_6007-51_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_6007-51_0_3_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_6007-51_0_3_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_6007-51_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_6007-51_0_3_node_91 | 0.4 | n |  | TRUE
97 | bus_MV_85_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6007-51_0_3_load_0 | 0 | 0.0045021 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6007-51_0_3_load_1 | 1 | 0.0033245 | 0.0008332 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6007-51_0_3_load_3 | 2 | 0.0021514 | 0.00053919 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6007-51_0_3_load_6 | 5 | 0.015468 | 0.0038767 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6007-51_0_3_load_78 | 7 | 0.0011397 | 0.00028563 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6007-51_0_3_load_14 | 9 | 0.0012951 | 0.00032459 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6007-51_0_3_load_11 | 10 | 0.0047368 | 0.0011872 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6007-51_0_3_load_73 | 11 | 0.0054024 | 0.001354 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6007-51_0_3_load_80 | 12 | 0.0018491 | 0.00046342 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6007-51_0_3_load_15 | 13 | 0.002646 | 0.00066316 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6007-51_0_3_load_9 | 14 | 0.00094665 | 0.00023725 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6007-51_0_3_load_8 | 15 | 0.0023383 | 0.00058603 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6007-51_0_3_load_10 | 16 | 0.0064157 | 0.0016079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6007-51_0_3_load_12 | 17 | 0.0040002 | 0.0010025 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6007-51_0_3_load_13 | 18 | 0.007611 | 0.0019075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6007-51_0_3_load_19 | 19 | 0.0047858 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6007-51_0_3_load_16 | 21 | 0.010498 | 0.0026311 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6007-51_0_3_load_17 | 22 | 0.0054521 | 0.0013664 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6007-51_0_3_load_63 | 23 | 0.0081122 | 0.0020331 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6007-51_0_3_load_64 | 24 | 0.0025553 | 0.00064041 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6007-51_0_3_load_20 | 25 | 0.0068879 | 0.0017263 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6007-51_0_3_load_21 | 26 | 0.0099498 | 0.0024937 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6007-51_0_3_load_24 | 28 | 0.0052991 | 0.0013281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6007-51_0_3_load_22 | 29 | 0.0054724 | 0.0013715 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6007-51_0_3_load_23 | 30 | 0.0080049 | 0.0020062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6007-51_0_3_load_27 | 31 | 0.00948 | 0.0023759 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6007-51_0_3_load_28 | 32 | 0.0066514 | 0.001667 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6007-51_0_3_load_29 | 33 | 0.0084777 | 0.0021247 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6007-51_0_3_load_30 | 34 | 0.005209 | 0.0013055 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6007-51_0_3_load_31 | 35 | 0.0032006 | 0.00080215 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6007-51_0_3_load_32 | 36 | 0.0019484 | 0.00048831 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6007-51_0_3_load_33 | 37 | 0.00046742 | 0.00011715 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6007-51_0_3_load_35 | 39 | 0.00065722 | 0.00016471 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6007-51_0_3_load_36 | 40 | 0.00095179 | 0.00023854 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6007-51_0_3_load_37 | 41 | 0.00087805 | 0.00022006 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6007-51_0_3_load_38 | 42 | 0.00041566 | 0.00010418 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6007-51_0_3_load_39 | 43 | 0.00074781 | 0.00018742 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6007-51_0_3_load_43 | 44 | 0.00038657 | 9.6884e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6007-51_0_3_load_40 | 45 | 0.0011336 | 0.00028412 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6007-51_0_3_load_44 | 46 | 0.00045124 | 0.00011309 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6007-51_0_3_load_41 | 47 | 0.00038123 | 9.5545e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6007-51_0_3_load_42 | 48 | 0.00055004 | 0.00013785 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6007-51_0_3_load_47 | 49 | 0.00091003 | 0.00022807 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6007-51_0_3_load_51 | 51 | 0.00050194 | 0.0001258 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6007-51_0_3_load_45 | 52 | 0.00039161 | 9.8147e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6007-51_0_3_load_62 | 53 | 0.00038666 | 9.6907e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6007-51_0_3_load_46 | 54 | 0.00080488 | 0.00020172 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6007-51_0_3_load_52 | 55 | 0.00070182 | 0.00017589 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6007-51_0_3_load_53 | 56 | 0.0013534 | 0.0003392 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6007-51_0_3_load_49 | 58 | 0.00038966 | 9.7659e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6007-51_0_3_load_60 | 60 | 0.00076015 | 0.00019051 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6007-51_0_3_load_54 | 61 | 0.00083964 | 0.00021043 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6007-51_0_3_load_55 | 62 | 0.0010263 | 0.0002572 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6007-51_0_3_load_57 | 63 | 0.0015279 | 0.00038292 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6007-51_0_3_load_58 | 64 | 0.0014893 | 0.00037325 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6007-51_0_3_load_65 | 66 | 0.0034942 | 0.00087574 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6007-51_0_3_load_85 | 69 | 0.0022502 | 0.00056394 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6007-51_0_3_load_82 | 70 | 0.0010142 | 0.00025418 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6007-51_0_3_load_67 | 71 | 0.0035475 | 0.00088909 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6007-51_0_3_load_68 | 72 | 0.0031058 | 0.00077839 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6007-51_0_3_load_70 | 74 | 0.0036335 | 0.00091063 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6007-51_0_3_load_74 | 77 | 0.0032118 | 0.00080496 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6007-51_0_3_load_95 | 79 | 0.0021361 | 0.00053536 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6007-51_0_3_load_93 | 80 | 0.0012329 | 0.000309 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6007-51_0_3_load_75 | 81 | 0.0052451 | 0.0013145 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6007-51_0_3_load_76 | 82 | 0.0032684 | 0.00081913 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6007-51_0_3_load_92 | 84 | 0.0011461 | 0.00028723 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6007-51_0_3_load_96 | 86 | 0.0010397 | 0.00026057 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6007-51_0_3_load_84 | 87 | 0.00036253 | 9.0858e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6007-51_0_3_load_87 | 88 | 0.00044238 | 0.00011087 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6007-51_0_3_load_81 | 89 | 0.0019297 | 0.00048362 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6007-51_0_3_load_86 | 90 | 0.0018797 | 0.00047109 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6007-51_0_3_load_98 | 91 | 0.00040712 | 0.00010203 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6007-51_0_3_load_88 | 92 | 0.0043387 | 0.0010874 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6007-51_0_3_load_89 | 93 | 0.00043156 | 0.00010816 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6007-51_0_3_load_99 | 94 | 0.00043134 | 0.0001081 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6007-51_0_3_load_90 | 95 | 0.00082769 | 0.00020744 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6007-51_0_3_load_91 | 96 | 0.00059052 | 0.000148 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6007-51_0_3_line_0 |  | 0 | 1 | 0.031842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6007-51_0_3_line_1 |  | 1 | 2 | 0.032382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6007-51_0_3_line_2 |  | 2 | 3 | 0.055007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6007-51_0_3_line_3 |  | 3 | 7 | 0.043716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6007-51_0_3_line_4 |  | 3 | 8 | 0.009775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6007-51_0_3_line_5 |  | 4 | 5 | 0.023063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6007-51_0_3_line_6 |  | 4 | 6 | 0.033232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6007-51_0_3_line_7 |  | 5 | 9 | 0.017386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6007-51_0_3_line_8 |  | 6 | 10 | 0.056127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6007-51_0_3_line_9 |  | 7 | 11 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6007-51_0_3_line_10 |  | 8 | 12 | 0.0076345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6007-51_0_3_line_11 |  | 9 | 13 | 0.013115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6007-51_0_3_line_12 |  | 10 | 14 | 0.0046128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6007-51_0_3_line_13 |  | 11 | 75 | 0.10586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6007-51_0_3_line_14 |  | 12 | 89 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6007-51_0_3_line_15 |  | 13 | 21 | 0.020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6007-51_0_3_line_16 |  | 14 | 15 | 0.0042481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6007-51_0_3_line_17 |  | 15 | 16 | 0.02251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6007-51_0_3_line_18 |  | 16 | 17 | 0.052623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6007-51_0_3_line_19 |  | 17 | 18 | 0.037928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6007-51_0_3_line_20 |  | 18 | 19 | 0.013727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6007-51_0_3_line_21 |  | 19 | 20 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6007-51_0_3_line_22 |  | 20 | 27 | 0.007021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6007-51_0_3_line_23 |  | 20 | 28 | 0.059318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6007-51_0_3_line_24 |  | 21 | 22 | 0.023965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6007-51_0_3_line_25 |  | 22 | 23 | 0.006885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6007-51_0_3_line_26 |  | 23 | 24 | 0.010524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6007-51_0_3_line_27 |  | 24 | 66 | 0.040997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6007-51_0_3_line_28 |  | 25 | 26 | 0.015088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6007-51_0_3_line_29 |  | 26 | 29 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6007-51_0_3_line_30 |  | 27 | 31 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6007-51_0_3_line_31 |  | 27 | 32 | 0.026831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6007-51_0_3_line_32 |  | 28 | 30 | 0.028546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6007-51_0_3_line_33 |  | 29 | 30 | 0.0084338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6007-51_0_3_line_34 |  | 32 | 33 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6007-51_0_3_line_35 |  | 33 | 34 | 0.02173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6007-51_0_3_line_36 |  | 34 | 35 | 0.032015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6007-51_0_3_line_37 |  | 35 | 36 | 0.021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6007-51_0_3_line_38 |  | 36 | 37 | 0.01312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6007-51_0_3_line_39 |  | 37 | 38 | 0.0023797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6007-51_0_3_line_40 |  | 38 | 39 | 0.015477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6007-51_0_3_line_41 |  | 38 | 40 | 0.021458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6007-51_0_3_line_42 |  | 39 | 41 | 0.011635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6007-51_0_3_line_43 |  | 40 | 42 | 0.014805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6007-51_0_3_line_44 |  | 41 | 43 | 0.029121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6007-51_0_3_line_45 |  | 42 | 44 | 0.032241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6007-51_0_3_line_46 |  | 43 | 45 | 0.12073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6007-51_0_3_line_47 |  | 44 | 46 | 0.1284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6007-51_0_3_line_48 |  | 45 | 47 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6007-51_0_3_line_49 |  | 46 | 52 | 0.011008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6007-51_0_3_line_50 |  | 46 | 53 | 0.096099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6007-51_0_3_line_51 |  | 47 | 48 | 0.038931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6007-51_0_3_line_52 |  | 47 | 49 | 0.094122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6007-51_0_3_line_53 |  | 48 | 50 | 0.026586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6007-51_0_3_line_54 |  | 50 | 51 | 0.06773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6007-51_0_3_line_55 |  | 52 | 54 | 0.0090876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6007-51_0_3_line_56 |  | 54 | 55 | 0.0034116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6007-51_0_3_line_57 |  | 55 | 56 | 0.025217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6007-51_0_3_line_58 |  | 56 | 61 | 0.024029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6007-51_0_3_line_59 |  | 57 | 58 | 0.066691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6007-51_0_3_line_60 |  | 57 | 59 | 0.095962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6007-51_0_3_line_61 |  | 59 | 60 | 0.051442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6007-51_0_3_line_62 |  | 60 | 65 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6007-51_0_3_line_63 |  | 61 | 62 | 0.011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6007-51_0_3_line_64 |  | 62 | 63 | 0.039287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6007-51_0_3_line_65 |  | 63 | 64 | 0.051816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6007-51_0_3_line_66 |  | 64 | 65 | 0.037917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6007-51_0_3_line_67 |  | 66 | 67 | 0.034912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6007-51_0_3_line_68 |  | 67 | 68 | 0.055351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6007-51_0_3_line_69 |  | 68 | 69 | 0.050068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6007-51_0_3_line_70 |  | 68 | 70 | 0.0056254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6007-51_0_3_line_71 |  | 69 | 90 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6007-51_0_3_line_72 |  | 70 | 89 | 0.017718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6007-51_0_3_line_73 |  | 71 | 72 | 0.0035788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6007-51_0_3_line_74 |  | 71 | 73 | 0.033581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6007-51_0_3_line_75 |  | 72 | 74 | 0.0092177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6007-51_0_3_line_76 |  | 73 | 75 | 0.024615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6007-51_0_3_line_77 |  | 73 | 76 | 0.12787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6007-51_0_3_line_78 |  | 76 | 77 | 0.17146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6007-51_0_3_line_79 |  | 77 | 78 | 0.19685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6007-51_0_3_line_80 |  | 78 | 79 | 0.13974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6007-51_0_3_line_81 |  | 79 | 80 | 0.11944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6007-51_0_3_line_82 |  | 80 | 84 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6007-51_0_3_line_83 |  | 81 | 82 | 0.031919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6007-51_0_3_line_84 |  | 82 | 83 | 0.10252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6007-51_0_3_line_85 |  | 83 | 87 | 0.16306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6007-51_0_3_line_86 |  | 83 | 86 | 0.15868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6007-51_0_3_line_87 |  | 84 | 85 | 0.030796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6007-51_0_3_line_88 |  | 85 | 86 | 0.11155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6007-51_0_3_line_89 |  | 87 | 88 | 0.062848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6007-51_0_3_line_90 |  | 88 | 91 | 0.1381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6007-51_0_3_line_91 |  | 90 | 92 | 0.089134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6007-51_0_3_line_92 |  | 91 | 94 | 0.058254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6007-51_0_3_line_93 |  | 92 | 93 | 0.14535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6007-51_0_3_line_94 |  | 93 | 95 | 0.049091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6007-51_0_3_line_95 |  | 95 | 96 | 0.13391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6007-51_0_3_trafo_65 | 0.63 MVA 20/0.4 kV | 97 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2639941.941 | 1129727.0884 | 2639968.4492 | 1129744.7293
1 | 2639968.4492 | 1129744.7293 | 2639972.1587 | 1129747.1979 | 2639994.0731 | 1129764.5079
2 | 2640039.0084 | 1129796.1646 | 2640014.8783 | 1129778.4405 | 2639999.238 | 1129768.5876 | 2639994.0731 | 1129764.5079
3 | 2640039.0084 | 1129796.1646 | 2640034.0507 | 1129801.579 | 2640026.8985 | 1129801.0759 | 2640009.4413 | 1129788.7653 | 2640001.7357 | 1129787.2993
4 | 2640039.0084 | 1129796.1646 | 2640047.6977 | 1129800.6911
5 | 2639928.3724 | 1129640.5991 | 2639949.5246 | 1129649.7914
6 | 2639897.8187 | 1129627.3242 | 2639928.3724 | 1129640.5991
7 | 2639966.2773 | 1129652.7358 | 2639956.5296 | 1129652.8356 | 2639949.5246 | 1129649.7914
8 | 2639897.8187 | 1129627.3242 | 2639911.6589 | 1129627.5712 | 2639924.1546 | 1129603.9305 | 2639929.7305 | 1129602.8889 | 2639937.9505 | 1129602.7098 | 2639939.4728 | 1129603.3464
9 | 2639984.4643 | 1129784.0132 | 2640001.7357 | 1129787.2993
10 | 2640047.6977 | 1129800.6911 | 2640055.1432 | 1129802.3792
11 | 2639966.2773 | 1129652.7358 | 2639968.4079 | 1129652.714 | 2639971.1222 | 1129654.5995 | 2639976.7801 | 1129659.7922
12 | 2639943.7285 | 1129605.1262 | 2639939.4728 | 1129603.3464
13 | 2639885.1406 | 1129752.2486 | 2639908.2684 | 1129765.53 | 2639934.29 | 1129773.3167 | 2639951.0923 | 1129781.0204 | 2639978.0854 | 1129782.7995 | 2639984.4643 | 1129784.0132
14 | 2640055.1432 | 1129802.3792 | 2640057.4959 | 1129802.9126 | 2640064.2183 | 1129802.0344 | 2640067.4962 | 1129802.4714
15 | 2639991.5784 | 1129673.3735 | 2639976.7801 | 1129659.7922
16 | 2639947.8303 | 1129604.8947 | 2639944.7026 | 1129605.5335 | 2639943.7285 | 1129605.1262
17 | 2639947.8303 | 1129604.8947 | 2639959.7277 | 1129602.4645 | 2639970.07 | 1129601.7565
18 | 2640021.416 | 1129612.4028 | 2640021.407 | 1129612.3993 | 2640002.3899 | 1129609.939 | 2639983.095 | 1129604.0529 | 2639971.2793 | 1129601.6737 | 2639970.07 | 1129601.7565
19 | 2640021.416 | 1129612.4028 | 2640048.2282 | 1129622.8264 | 2640056.7124 | 1129626.2827
20 | 2640070.1747 | 1129628.1071 | 2640059.851 | 1129627.5613 | 2640056.7124 | 1129626.2827
21 | 2640088.4116 | 1129630.0295 | 2640079.563 | 1129628.6035 | 2640070.1747 | 1129628.1071
22 | 2640094.2318 | 1129633.9811 | 2640088.4116 | 1129630.0295
23 | 2640088.4116 | 1129630.0295 | 2640045.6337 | 1129595.8622 | 2640041.3756 | 1129594.2027
24 | 2639991.5784 | 1129673.3735 | 2640001.1728 | 1129682.1788 | 2640010.1531 | 1129688.4308
25 | 2640015.8036 | 1129692.3647 | 2640010.1531 | 1129688.4308
26 | 2640015.8036 | 1129692.3647 | 2640024.4403 | 1129698.3775
27 | 2640024.4403 | 1129698.3775 | 2640036.8487 | 1129707.0162 | 2640055.1272 | 1129725.334
28 | 2639969.9953 | 1129567.0469 | 2639984.1293 | 1129572.3262
29 | 2639984.1293 | 1129572.3262 | 2640006.8988 | 1129580.8313
30 | 2640085.838 | 1129615.0604 | 2640087.3602 | 1129621.3181 | 2640096.0101 | 1129629.4906 | 2640094.2318 | 1129633.9811
31 | 2640094.2318 | 1129633.9811 | 2640107.0102 | 1129642.1588 | 2640117.7761 | 1129646.6357
32 | 2640041.3756 | 1129594.2027 | 2640014.7786 | 1129583.8369
33 | 2640014.7786 | 1129583.8369 | 2640010.9299 | 1129582.337 | 2640006.8988 | 1129580.8313
34 | 2640117.7761 | 1129646.6357 | 2640127.685 | 1129650.7562
35 | 2640127.685 | 1129650.7562 | 2640147.7496 | 1129659.0998
36 | 2640147.7496 | 1129659.0998 | 2640152.5691 | 1129661.1039 | 2640178.4795 | 1129667.9326
37 | 2640178.4795 | 1129667.9326 | 2640180.5654 | 1129668.4823 | 2640199.7412 | 1129668.1486
38 | 2640212.8597 | 1129667.9204 | 2640199.7412 | 1129668.1486
39 | 2640215.239 | 1129667.879 | 2640212.8597 | 1129667.9204
40 | 2640215.239 | 1129667.879 | 2640230.7101 | 1129668.2986
41 | 2640215.239 | 1129667.879 | 2640236.383 | 1129664.2238
42 | 2640230.7101 | 1129668.2986 | 2640242.3406 | 1129668.614
43 | 2640236.383 | 1129664.2238 | 2640241.9285 | 1129663.2651 | 2640250.763 | 1129660.7808
44 | 2640242.3406 | 1129668.614 | 2640255.9709 | 1129668.9836 | 2640270.4594 | 1129674.451
45 | 2640250.763 | 1129660.7808 | 2640268.73 | 1129655.7284 | 2640282.0183 | 1129658.5127
46 | 2640270.4594 | 1129674.451 | 2640291.8367 | 1129682.5181 | 2640362.6663 | 1129718.8752 | 2640378.9178 | 1129727.2155
47 | 2640282.0183 | 1129658.5127 | 2640313.7201 | 1129665.155 | 2640333.3602 | 1129675.8023 | 2640352.2634 | 1129690.6692 | 2640370.4499 | 1129699.8063 | 2640380.0126 | 1129700.4037 | 2640389.5404 | 1129695.8316 | 2640398.651 | 1129695.5439
48 | 2640378.9178 | 1129727.2155 | 2640391.5733 | 1129733.7104
49 | 2640398.651 | 1129695.5439 | 2640407.8457 | 1129695.2535 | 2640409.5978 | 1129695.7019
50 | 2640398.651 | 1129695.5439 | 2640391.9133 | 1129599.6815
51 | 2640391.5733 | 1129733.7104 | 2640395.5207 | 1129735.7363 | 2640429.6424 | 1129740.7921
52 | 2640391.5733 | 1129733.7104 | 2640354.749 | 1129820.3295
53 | 2640455.9414 | 1129744.6888 | 2640429.6424 | 1129740.7921
54 | 2640455.9414 | 1129744.6888 | 2640488.2896 | 1129760.013 | 2640516.1198 | 1129775.6768
55 | 2640418.4018 | 1129697.9546 | 2640409.5978 | 1129695.7019
56 | 2640421.7069 | 1129698.8003 | 2640418.4018 | 1129697.9546
57 | 2640421.7069 | 1129698.8003 | 2640430.3296 | 1129701.0066 | 2640445.3719 | 1129707.3274
58 | 2640468.2085 | 1129714.465 | 2640456.1916 | 1129711.8738 | 2640445.3719 | 1129707.3274
59 | 2640596.0581 | 1129888.2001 | 2640607.4266 | 1129900.8606 | 2640626.4509 | 1129913.5503 | 2640639.8505 | 1129917.3533 | 2640652.6499 | 1129918.7733
60 | 2640649.9154 | 1129808.7767 | 2640596.0581 | 1129888.2001
61 | 2640649.9154 | 1129808.7767 | 2640643.4151 | 1129804.0974 | 2640626.8272 | 1129792.1466 | 2640604.54 | 1129786.5156
62 | 2640590.7169 | 1129780.8319 | 2640596.0002 | 1129784.358 | 2640604.54 | 1129786.5156
63 | 2640478.9959 | 1129717.6921 | 2640473.5898 | 1129715.6254 | 2640468.2085 | 1129714.465
64 | 2640478.9959 | 1129717.6921 | 2640490.0159 | 1129721.9051 | 2640513.8204 | 1129735.6536
65 | 2640513.8204 | 1129735.6536 | 2640514.1241 | 1129735.8291 | 2640535.7147 | 1129749.5807 | 2640556.2776 | 1129756.8999 | 2640559.6414 | 1129759.1379
66 | 2640590.7169 | 1129780.8319 | 2640580.3638 | 1129772.9251 | 2640559.6414 | 1129759.1379
67 | 2640078.1867 | 1129751.4679 | 2640074.4858 | 1129746.2074 | 2640062.8112 | 1129733.0345 | 2640055.1272 | 1129725.334
68 | 2640087.9175 | 1129797.578 | 2640079.1873 | 1129787.6151 | 2640080.678 | 1129780.01 | 2640069.8438 | 1129763.252 | 2640078.1867 | 1129751.4679
69 | 2640087.9175 | 1129797.578 | 2640134.8376 | 1129815.0515
70 | 2640087.9175 | 1129797.578 | 2640083.9544 | 1129801.5704
71 | 2640134.8376 | 1129815.0515 | 2640148.3398 | 1129820.0799
72 | 2640067.4962 | 1129802.4714 | 2640081.2411 | 1129804.3039 | 2640083.9544 | 1129801.5704
73 | 2639899.8849 | 1129789.9684 | 2639903.4255 | 1129790.4892
74 | 2639871.8097 | 1129772.9602 | 2639877.2422 | 1129778.4543 | 2639884.5913 | 1129784.1612 | 2639894.4791 | 1129789.1733 | 2639899.8849 | 1129789.9684
75 | 2639912.539 | 1129791.8715 | 2639903.9747 | 1129790.57 | 2639903.4255 | 1129790.4892
76 | 2639885.1406 | 1129752.2486 | 2639871.8097 | 1129772.9602
77 | 2639773.2737 | 1129731.6353 | 2639771.1368 | 1129726.2741 | 2639771.6698 | 1129723.6985 | 2639778.9448 | 1129717.2652 | 2639781.0784 | 1129717.2682 | 2639788.9451 | 1129720.4215 | 2639801.3001 | 1129726.2612 | 2639810.5615 | 1129731.6804 | 2639814.5504 | 1129737.6764 | 2639818.9647 | 1129742.2411 | 2639825.236 | 1129746.7068 | 2639833.774 | 1129752.0102 | 2639842.314 | 1129757.0134 | 2639852.5059 | 1129762.6389 | 2639863.677 | 1129768.1152 | 2639871.8097 | 1129772.9602
78 | 2639773.2737 | 1129731.6353 | 2639782.422 | 1129739.0103 | 2639790.9458 | 1129746.4812 | 2639802.0723 | 1129757.5711 | 2639805.2062 | 1129761.2491 | 2639809.7295 | 1129764.4694 | 2639813.6794 | 1129768.1973 | 2639818.7727 | 1129771.4213 | 2639825.2678 | 1129773.4762 | 2639833.7096 | 1129778.1675 | 2639835.7562 | 1129780.8601 | 2639838.2192 | 1129782.2993 | 2639840.4362 | 1129783.6701 | 2639845.0771 | 1129785.4015 | 2639848.7335 | 1129785.7369 | 2639858.2278 | 1129788.523 | 2639869.6513 | 1129794.2567 | 2639878.5956 | 1129801.008 | 2639887.0557 | 1129802.9203 | 2639896.4258 | 1129806.9952 | 2639905.9943 | 1129812.5167 | 2639914.6509 | 1129816.1756 | 2639918.3176 | 1129816.0174
79 | 2639918.3176 | 1129816.0174 | 2639811.3528 | 1129981.268
80 | 2639811.3528 | 1129981.268 | 2639824.8706 | 1129983.5469 | 2639837.7661 | 1129985.5995 | 2639848.4579 | 1129980.7452 | 2639862.9925 | 1129981.8415 | 2639884.2089 | 1129995.1992 | 2639905.7565 | 1130009.693 | 2639939.4848 | 1130021.1461
81 | 2639939.4848 | 1130021.1461 | 2639959.9432 | 1130028.0932 | 2640007.4058 | 1130046.4494 | 2640038.3691 | 1130057.9934 | 2640051.7281 | 1130061.8418
82 | 2640063.3551 | 1130065.1913 | 2640051.7281 | 1130061.8418
83 | 2640167.3728 | 1129899.3258 | 2640172.9448 | 1129902.0171 | 2640183.1546 | 1129904.8641 | 2640192.6306 | 1129908.0175 | 2640197.4911 | 1129909.7049
84 | 2640281.8926 | 1129953.1895 | 2640277.1295 | 1129954.803 | 2640272.192 | 1129951.3795 | 2640269.3443 | 1129945.2797 | 2640259.3864 | 1129935.842 | 2640250.8477 | 1129930.7493 | 2640235.9044 | 1129925.0804 | 2640222.6875 | 1129923.8697 | 2640212.7751 | 1129923.8038 | 2640206.7506 | 1129913.5697 | 2640201.7061 | 1129911.1683 | 2640197.4911 | 1129909.7049
85 | 2640281.8926 | 1129953.1895 | 2640303.8543 | 1129964.3636 | 2640313.3035 | 1129965.7494 | 2640324.4808 | 1129969.0145 | 2640333.7813 | 1129973.0563 | 2640351.4617 | 1129979.4218 | 2640363.313 | 1129980.9572 | 2640385.6611 | 1129987.2873 | 2640405.6716 | 1129994.191 | 2640416.4372 | 1129999.1209 | 2640426.047 | 1130006.4222 | 2640434.016 | 1130005.4162
86 | 2640281.8926 | 1129953.1895 | 2640200.2272 | 1130089.2416
87 | 2640093.2826 | 1130072.3643 | 2640075.023 | 1130068.5525 | 2640063.3551 | 1130065.1913
88 | 2640093.2826 | 1130072.3643 | 2640112.9582 | 1130068.2147 | 2640128.8761 | 1130066.2637 | 2640142.2616 | 1130073.345 | 2640161.6381 | 1130079.4544 | 2640190.1054 | 1130085.2019 | 2640200.2272 | 1130089.2416
89 | 2640434.016 | 1130005.4162 | 2640445.0914 | 1130067.2809
90 | 2640445.0914 | 1130067.2809 | 2640433.3213 | 1130204.8827
91 | 2640226.5059 | 1129862.7001 | 2640156.9075 | 1129823.2706 | 2640148.3398 | 1129820.0799
92 | 2640433.3213 | 1130204.8827 | 2640455.8391 | 1130217.1729 | 2640470.9438 | 1130230.8141 | 2640480.2555 | 1130238.7711
93 | 2640226.5059 | 1129862.7001 | 2640241.6309 | 1129871.2689 | 2640270.0437 | 1129886.4989 | 2640290.9999 | 1129904.1363 | 2640301.309 | 1129907.0953 | 2640310.7529 | 1129916.2184 | 2640328.8459 | 1129928.9009 | 2640346.4133 | 1129927.9842 | 2640350.9627 | 1129929.5043
94 | 2640350.9627 | 1129929.5043 | 2640372.1816 | 1129936.5938 | 2640397.4633 | 1129945.2382
95 | 2640397.4633 | 1129945.2382 | 2640406.6017 | 1129948.3628 | 2640442.9348 | 1129971.1838 | 2640487.2091 | 1130004.2966 | 2640511.2137 | 1130014.4273

## bus_geodata
| x | y | coords
0 | 2639941.941 | 1129727.0884
1 | 2639968.4492 | 1129744.7293
2 | 2639994.0731 | 1129764.5079
3 | 2640039.0084 | 1129796.1646
4 | 2639928.3724 | 1129640.5991
5 | 2639949.5246 | 1129649.7914
6 | 2639897.8187 | 1129627.3242
7 | 2640001.7357 | 1129787.2993
8 | 2640047.6977 | 1129800.6911
9 | 2639966.2773 | 1129652.7358
10 | 2639939.4728 | 1129603.3464
11 | 2639984.4643 | 1129784.0132
12 | 2640055.1432 | 1129802.3792
13 | 2639976.7801 | 1129659.7922
14 | 2639943.7285 | 1129605.1262
15 | 2639947.8303 | 1129604.8947
16 | 2639970.07 | 1129601.7565
17 | 2640021.416 | 1129612.4028
18 | 2640056.7124 | 1129626.2827
19 | 2640070.1747 | 1129628.1071
20 | 2640088.4116 | 1129630.0295
21 | 2639991.5784 | 1129673.3735
22 | 2640010.1531 | 1129688.4308
23 | 2640015.8036 | 1129692.3647
24 | 2640024.4403 | 1129698.3775
25 | 2639969.9953 | 1129567.0469
26 | 2639984.1293 | 1129572.3262
27 | 2640094.2318 | 1129633.9811
28 | 2640041.3756 | 1129594.2027
29 | 2640006.8988 | 1129580.8313
30 | 2640014.7786 | 1129583.8369
31 | 2640085.838 | 1129615.0604
32 | 2640117.7761 | 1129646.6357
33 | 2640127.685 | 1129650.7562
34 | 2640147.7496 | 1129659.0998
35 | 2640178.4795 | 1129667.9326
36 | 2640199.7412 | 1129668.1486
37 | 2640212.8597 | 1129667.9204
38 | 2640215.239 | 1129667.879
39 | 2640230.7101 | 1129668.2986
40 | 2640236.383 | 1129664.2238
41 | 2640242.3406 | 1129668.614
42 | 2640250.763 | 1129660.7808
43 | 2640270.4594 | 1129674.451
44 | 2640282.0183 | 1129658.5127
45 | 2640378.9178 | 1129727.2155
46 | 2640398.651 | 1129695.5439
47 | 2640391.5733 | 1129733.7104
48 | 2640429.6424 | 1129740.7921
49 | 2640354.749 | 1129820.3295
50 | 2640455.9414 | 1129744.6888
51 | 2640516.1198 | 1129775.6768
52 | 2640409.5978 | 1129695.7019
53 | 2640391.9133 | 1129599.6815
54 | 2640418.4018 | 1129697.9546
55 | 2640421.7069 | 1129698.8003
56 | 2640445.3719 | 1129707.3274
57 | 2640596.0581 | 1129888.2001
58 | 2640652.6499 | 1129918.7733
59 | 2640649.9154 | 1129808.7767
60 | 2640604.54 | 1129786.5156
61 | 2640468.2085 | 1129714.465
62 | 2640478.9959 | 1129717.6921
63 | 2640513.8204 | 1129735.6536
64 | 2640559.6414 | 1129759.1379
65 | 2640590.7169 | 1129780.8319
66 | 2640055.1272 | 1129725.334
67 | 2640078.1867 | 1129751.4679
68 | 2640087.9175 | 1129797.578
69 | 2640134.8376 | 1129815.0515
70 | 2640083.9544 | 1129801.5704
71 | 2639899.8849 | 1129789.9684
72 | 2639903.4255 | 1129790.4892
73 | 2639871.8097 | 1129772.9602
74 | 2639912.539 | 1129791.8715
75 | 2639885.1406 | 1129752.2486
76 | 2639773.2737 | 1129731.6353
77 | 2639918.3176 | 1129816.0174
78 | 2639811.3528 | 1129981.268
79 | 2639939.4848 | 1130021.1461
80 | 2640051.7281 | 1130061.8418
81 | 2640167.3728 | 1129899.3258
82 | 2640197.4911 | 1129909.7049
83 | 2640281.8926 | 1129953.1895
84 | 2640063.3551 | 1130065.1913
85 | 2640093.2826 | 1130072.3643
86 | 2640200.2272 | 1130089.2416
87 | 2640434.016 | 1130005.4162
88 | 2640445.0914 | 1130067.2809
89 | 2640067.4962 | 1129802.4714
90 | 2640148.3398 | 1129820.0799
91 | 2640433.3213 | 1130204.8827
92 | 2640226.5059 | 1129862.7001
93 | 2640350.9627 | 1129929.5043
94 | 2640480.2554 | 1130238.7711
95 | 2640397.4633 | 1129945.2382
96 | 2640511.2137 | 1130014.4273
97 | 2640078.1867 | 1129751.4679

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1