## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6007-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6007-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6007-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6007-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6007-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6007-5_0_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_6007-5_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_6007-5_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6007-5_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_6007-5_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_6007-5_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6007-5_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6007-5_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6007-5_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6007-5_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6007-5_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6007-5_0_3_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_6007-5_0_3_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_6007-5_0_3_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_6007-5_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6007-5_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6007-5_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6007-5_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6007-5_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6007-5_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6007-5_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_6007-5_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6007-5_0_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_6007-5_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6007-5_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6007-5_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6007-5_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_6007-5_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_6007-5_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6007-5_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6007-5_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6007-5_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_6007-5_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6007-5_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6007-5_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6007-5_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6007-5_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6007-5_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6007-5_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6007-5_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6007-5_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_6007-5_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_6007-5_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6007-5_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_6007-5_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_6007-5_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6007-5_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6007-5_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6007-5_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6007-5_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_6007-5_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_6007-5_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6007-5_0_3_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_6007-5_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6007-5_0_3_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_6007-5_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6007-5_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6007-5_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6007-5_0_3_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6007-5_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_6007-5_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_6007-5_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_6007-5_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6007-5_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_6007-5_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_6007-5_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_6007-5_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_MV_87_0_node_213 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6007-5_0_3_load_0 | 0 | 0.0039167 | 0.00098162 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6007-5_0_3_load_1 | 1 | 0.0018886 | 0.00047332 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6007-5_0_3_load_19 | 5 | 0.0024659 | 0.00061801 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6007-5_0_3_load_12 | 7 | 0.0025105 | 0.00062919 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6007-5_0_3_load_10 | 8 | 0.0020328 | 0.00050948 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6007-5_0_3_load_24 | 9 | 0.0060123 | 0.0015068 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6007-5_0_3_load_15 | 10 | 0.0047855 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6007-5_0_3_load_5 | 12 | 0.001567 | 0.00039272 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6007-5_0_3_load_7 | 14 | 0.0011266 | 0.00028235 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6007-5_0_3_load_8 | 15 | 0.001593 | 0.00039925 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6007-5_0_3_load_43 | 16 | 0.0021519 | 0.00053933 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6007-5_0_3_load_45 | 17 | 0.0018889 | 0.0004734 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6007-5_0_3_load_41 | 18 | 0.0025165 | 0.0006307 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6007-5_0_3_load_9 | 19 | 0.0017184 | 0.00043068 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6007-5_0_3_load_16 | 20 | 0.0018248 | 0.00045733 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6007-5_0_3_load_18 | 21 | 0.0026713 | 0.00066948 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6007-5_0_3_load_14 | 22 | 0.0018988 | 0.00047587 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6007-5_0_3_load_17 | 24 | 0.0026641 | 0.0006677 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6007-5_0_3_load_47 | 25 | 0.0013314 | 0.00033368 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6007-5_0_3_load_21 | 26 | 0.0029577 | 0.00074127 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6007-5_0_3_load_25 | 28 | 0.0041822 | 0.0010482 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6007-5_0_3_load_22 | 30 | 0.0030123 | 0.00075494 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6007-5_0_3_load_49 | 31 | 0.0019631 | 0.00049199 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6007-5_0_3_load_50 | 32 | 0.0015821 | 0.00039652 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6007-5_0_3_load_26 | 33 | 0.0033066 | 0.00082871 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6007-5_0_3_load_29 | 34 | 0.0028975 | 0.00072619 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6007-5_0_3_load_27 | 35 | 0.0026037 | 0.00065254 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6007-5_0_3_load_28 | 36 | 0.0043999 | 0.0011027 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6007-5_0_3_load_30 | 37 | 0.0039625 | 0.00099309 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6007-5_0_3_load_31 | 38 | 0.0049615 | 0.0012435 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6007-5_0_3_load_35 | 39 | 0.0035442 | 0.00088825 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6007-5_0_3_load_33 | 40 | 0.0020628 | 0.00051698 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6007-5_0_3_load_32 | 41 | 0.0029007 | 0.00072698 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6007-5_0_3_load_37 | 44 | 0.0027644 | 0.00069282 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6007-5_0_3_load_39 | 46 | 0.0027105 | 0.00067931 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6007-5_0_3_load_40 | 47 | 0.0064144 | 0.0016076 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6007-5_0_3_load_53 | 48 | 0.0021091 | 0.00052859 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6007-5_0_3_load_56 | 49 | 0.0022615 | 0.00056679 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6007-5_0_3_load_42 | 51 | 0.0019256 | 0.00048261 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6007-5_0_3_load_44 | 52 | 0.0028273 | 0.0007086 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6007-5_0_3_load_46 | 53 | 0.0011018 | 0.00027614 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6007-5_0_3_load_65 | 54 | 0.004156 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6007-5_0_3_load_52 | 56 | 0.0020802 | 0.00052135 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6007-5_0_3_load_71 | 57 | 0.0011336 | 0.00028411 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6007-5_0_3_load_51 | 58 | 0.0015589 | 0.00039069 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6007-5_0_3_load_72 | 59 | 0.0019204 | 0.00048129 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6007-5_0_3_load_58 | 60 | 0.0036645 | 0.00091841 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6007-5_0_3_load_59 | 61 | 0.0034661 | 0.00086868 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6007-5_0_3_load_60 | 62 | 0.0014048 | 0.00035207 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6007-5_0_3_load_63 | 64 | 0.0022825 | 0.00057206 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6007-5_0_3_load_64 | 65 | 0.0020011 | 0.00050152 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6007-5_0_3_load_66 | 66 | 0.0023795 | 0.00059637 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6007-5_0_3_load_67 | 67 | 0.0025003 | 0.00062663 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6007-5_0_3_load_68 | 68 | 0.0020432 | 0.00051207 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6007-5_0_3_load_69 | 69 | 0.0021899 | 0.00054883 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6007-5_0_3_load_70 | 70 | 0.0022461 | 0.00056292 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6007-5_0_3_load_73 | 71 | 0.0017458 | 0.00043753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6007-5_0_3_line_0 |  | 0 | 1 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6007-5_0_3_line_1 |  | 1 | 2 | 0.018532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6007-5_0_3_line_2 |  | 2 | 3 | 0.003462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6007-5_0_3_line_3 |  | 2 | 4 | 0.034616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6007-5_0_3_line_4 |  | 3 | 5 | 0.033489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6007-5_0_3_line_5 |  | 3 | 6 | 0.062974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6007-5_0_3_line_6 |  | 4 | 7 | 0.026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6007-5_0_3_line_7 |  | 4 | 8 | 0.021473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6007-5_0_3_line_8 |  | 6 | 9 | 0.051851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6007-5_0_3_line_9 |  | 7 | 10 | 0.017999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6007-5_0_3_line_10 |  | 8 | 11 | 0.013352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6007-5_0_3_line_11 |  | 9 | 29 | 0.054157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6007-5_0_3_line_12 |  | 10 | 25 | 0.0076393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6007-5_0_3_line_13 |  | 11 | 23 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6007-5_0_3_line_14 |  | 11 | 22 | 0.011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6007-5_0_3_line_15 |  | 12 | 13 | 0.030901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6007-5_0_3_line_16 |  | 13 | 14 | 0.0090555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6007-5_0_3_line_17 |  | 13 | 15 | 0.082746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6007-5_0_3_line_18 |  | 15 | 19 | 0.03331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6007-5_0_3_line_19 |  | 16 | 17 | 0.089875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6007-5_0_3_line_20 |  | 16 | 18 | 0.039116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6007-5_0_3_line_21 |  | 18 | 51 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6007-5_0_3_line_22 |  | 19 | 20 | 0.05645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6007-5_0_3_line_23 |  | 20 | 23 | 0.044263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6007-5_0_3_line_24 |  | 21 | 22 | 0.0037819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6007-5_0_3_line_25 |  | 23 | 24 | 0.015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6007-5_0_3_line_26 |  | 24 | 26 | 0.00019244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6007-5_0_3_line_27 |  | 25 | 27 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6007-5_0_3_line_28 |  | 26 | 30 | 0.027118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6007-5_0_3_line_29 |  | 27 | 56 | 0.027602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6007-5_0_3_line_30 |  | 27 | 57 | 0.00029597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6007-5_0_3_line_31 |  | 28 | 29 | 0.028785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6007-5_0_3_line_32 |  | 29 | 33 | 0.010697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6007-5_0_3_line_33 |  | 31 | 32 | 0.0095005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6007-5_0_3_line_34 |  | 32 | 58 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6007-5_0_3_line_35 |  | 33 | 34 | 0.0041398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6007-5_0_3_line_36 |  | 34 | 35 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6007-5_0_3_line_37 |  | 35 | 36 | 0.0017222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6007-5_0_3_line_38 |  | 36 | 37 | 0.010126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6007-5_0_3_line_39 |  | 37 | 38 | 0.0076226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6007-5_0_3_line_40 |  | 38 | 39 | 0.0052911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6007-5_0_3_line_41 |  | 39 | 40 | 0.010353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6007-5_0_3_line_42 |  | 40 | 41 | 0.0024798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6007-5_0_3_line_43 |  | 41 | 42 | 0.033192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6007-5_0_3_line_44 |  | 42 | 43 | 0.052898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6007-5_0_3_line_45 |  | 42 | 44 | 0.080596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6007-5_0_3_line_46 |  | 43 | 45 | 0.025978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6007-5_0_3_line_47 |  | 43 | 46 | 0.020415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6007-5_0_3_line_48 |  | 44 | 47 | 0.024984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6007-5_0_3_line_49 |  | 45 | 48 | 0.02201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6007-5_0_3_line_50 |  | 46 | 49 | 0.018873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6007-5_0_3_line_51 |  | 49 | 50 | 0.013184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6007-5_0_3_line_52 |  | 50 | 60 | 0.012657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6007-5_0_3_line_53 |  | 51 | 52 | 0.022585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6007-5_0_3_line_54 |  | 52 | 53 | 0.0053792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6007-5_0_3_line_55 |  | 53 | 54 | 0.0075036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6007-5_0_3_line_56 |  | 54 | 55 | 0.025535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6007-5_0_3_line_57 |  | 55 | 65 | 0.0032572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6007-5_0_3_line_58 |  | 55 | 62 | 0.017913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6007-5_0_3_line_59 |  | 56 | 58 | 0.0091795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6007-5_0_3_line_60 |  | 57 | 59 | 0.0085573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6007-5_0_3_line_61 |  | 59 | 67 | 0.017591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6007-5_0_3_line_62 |  | 60 | 61 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6007-5_0_3_line_63 |  | 62 | 63 | 0.041533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6007-5_0_3_line_64 |  | 63 | 64 | 0.018001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6007-5_0_3_line_65 |  | 64 | 66 | 0.048502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6007-5_0_3_line_66 |  | 65 | 67 | 0.0095795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6007-5_0_3_line_67 |  | 66 | 68 | 0.02321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6007-5_0_3_line_68 |  | 68 | 69 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6007-5_0_3_line_69 |  | 69 | 70 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6007-5_0_3_line_70 |  | 70 | 71 | 0.021418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6007-5_0_3_trafo_13 | 0.63 MVA 20/0.4 kV | 72 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2640610.439 | 1135105.9695 | 2640615.2529 | 1135108.8498 | 2640616.888 | 1135111.74 | 2640618.1022 | 1135116.8407
1 | 2640618.1923 | 1135135.2274 | 2640619.0959 | 1135121.0151 | 2640618.1022 | 1135116.8407
2 | 2640614.7211 | 1135135.293 | 2640618.1923 | 1135135.2274
3 | 2640647.2961 | 1135152.5762 | 2640629.808 | 1135139.3742 | 2640622.6257 | 1135135.1349 | 2640618.1923 | 1135135.2274
4 | 2640614.7211 | 1135135.293 | 2640606.2239 | 1135162.9611 | 2640602.0106 | 1135164.667 | 2640602.0106 | 1135164.667
5 | 2640614.7211 | 1135135.293 | 2640579.7286 | 1135147.9423 | 2640570.1214 | 1135148.3892 | 2640555.5722 | 1135141.0212
6 | 2640647.2961 | 1135152.5762 | 2640659.1059 | 1135161.0377 | 2640670.1409 | 1135165.6171
7 | 2640647.2961 | 1135152.5762 | 2640656.9866 | 1135133.4142
8 | 2640555.5722 | 1135141.0212 | 2640551.5816 | 1135127.8988 | 2640551.5008 | 1135108.9664 | 2640556.8957 | 1135090.5371
9 | 2640685.464 | 1135174.6886 | 2640685.464 | 1135174.6886 | 2640679.8402 | 1135169.8594 | 2640670.6786 | 1135165.8402 | 2640670.1409 | 1135165.6171
10 | 2640663.012 | 1135121.4994 | 2640656.9866 | 1135133.4142
11 | 2640580.3716 | 1135044.1605 | 2640577.22 | 1135059.6584 | 2640561.7479 | 1135073.9618 | 2640556.8957 | 1135090.5371
12 | 2640688.7912 | 1135181.5652 | 2640685.464 | 1135174.6886
13 | 2640663.012 | 1135121.4994 | 2640656.7871 | 1135104.1932
14 | 2640663.012 | 1135121.4994 | 2640665.773 | 1135116.0375 | 2640668.1966 | 1135111.4641
15 | 2640810.8575 | 1135119.8502 | 2640824.6996 | 1135124.7683 | 2640838.7785 | 1135132.8057
16 | 2640810.8575 | 1135119.8502 | 2640805.1379 | 1135117.8217 | 2640802.1966 | 1135117.3014
17 | 2640810.8575 | 1135119.8502 | 2640798.04 | 1135107.9243 | 2640766.4003 | 1135085.4884 | 2640745.5895 | 1135080.0009 | 2640741.493 | 1135077.2595
18 | 2640741.493 | 1135077.2595 | 2640719.4955 | 1135062.5385 | 2640713.4219 | 1135059.39
19 | 2640858.0102 | 1135233.5042 | 2640850.7678 | 1135221.1156 | 2640843.2086 | 1135215.7396 | 2640835.4651 | 1135210.3068 | 2640790.6586 | 1135197.042 | 2640783.4787 | 1135198.1608 | 2640781.4049 | 1135200.0339
20 | 2640781.4049 | 1135200.0339 | 2640779.948 | 1135201.3498 | 2640779.1041 | 1135204.3789 | 2640782.4993 | 1135213.2953 | 2640791.0975 | 1135224.3589 | 2640792.3517 | 1135228.9475 | 2640790.3679 | 1135232.1246 | 2640788.452 | 1135232.5029
21 | 2640773.5198 | 1135230.4271 | 2640785.3052 | 1135233.1243 | 2640788.452 | 1135232.5029
22 | 2640657.6558 | 1135068.151 | 2640713.4219 | 1135059.39
23 | 2640656.7871 | 1135104.1932 | 2640660.0465 | 1135097.8675 | 2640668.4758 | 1135088.3527 | 2640669.534 | 1135084.3466 | 2640664.2427 | 1135074.695 | 2640657.6558 | 1135068.151
24 | 2640668.1966 | 1135111.4641 | 2640669.9675 | 1135108.1225
25 | 2640656.7871 | 1135104.1932 | 2640655.1554 | 1135099.6577 | 2640648.6235 | 1135090.996
26 | 2640648.5076 | 1135090.8424 | 2640648.6235 | 1135090.996
27 | 2640695.9761 | 1135196.4148 | 2640688.7912 | 1135181.5652
28 | 2640648.5076 | 1135090.8424 | 2640642.6765 | 1135083.1099 | 2640638.7975 | 1135076.2915 | 2640633.0495 | 1135068.6162
29 | 2640695.9761 | 1135196.4148 | 2640687.0317 | 1135196.7326 | 2640668.8877 | 1135192.4081
30 | 2640696.1133 | 1135196.6771 | 2640695.9761 | 1135196.4148
31 | 2640580.3716 | 1135044.1605 | 2640595.6207 | 1135037.8708 | 2640606.9217 | 1135042.7
32 | 2640580.3716 | 1135044.1605 | 2640578.7396 | 1135035.0561 | 2640577.7502 | 1135034.0001
33 | 2640640.5709 | 1135185.659 | 2640649.8125 | 1135187.8616
34 | 2640659.9583 | 1135190.2798 | 2640649.8125 | 1135187.8616
35 | 2640577.7502 | 1135034.0001 | 2640574.9197 | 1135030.9792
36 | 2640574.9197 | 1135030.9792 | 2640566.7093 | 1135022.2167
37 | 2640565.5317 | 1135020.96 | 2640566.7093 | 1135022.2167
38 | 2640565.5317 | 1135020.96 | 2640560.9512 | 1135016.0715 | 2640557.5975 | 1135015.3683
39 | 2640550.1371 | 1135013.804 | 2640557.5975 | 1135015.3683
40 | 2640550.1371 | 1135013.804 | 2640544.9587 | 1135012.7181
41 | 2640544.9587 | 1135012.7181 | 2640544.9587 | 1135012.7181 | 2640539.3485 | 1135004.0169
42 | 2640539.3485 | 1135004.0169 | 2640538.0047 | 1135001.9327
43 | 2640510.0827 | 1134984.9369 | 2640518.2046 | 1134987.9706 | 2640524.5548 | 1134994.6944 | 2640538.0047 | 1135001.9327
44 | 2640510.0827 | 1134984.9369 | 2640510.2893 | 1134975.9226 | 2640521.1087 | 1134958.8531 | 2640509.3416 | 1134949.6807 | 2640508.7231 | 1134940.9165
45 | 2640510.0827 | 1134984.9369 | 2640503.4464 | 1134987.6049 | 2640496.5237 | 1134996.2518 | 2640493.112 | 1135012.6929 | 2640497.3756 | 1135023.0156 | 2640503.9323 | 1135031.0747 | 2640503.0591 | 1135037.3498 | 2640491.6928 | 1135050.8949
46 | 2640508.7231 | 1134940.9165 | 2640501.7204 | 1134939.6801 | 2640489.5502 | 1134938.976 | 2640483.1068 | 1134936.9652
47 | 2640508.7231 | 1134940.9165 | 2640529.1321 | 1134941.4288
48 | 2640491.6928 | 1135050.8949 | 2640490.7864 | 1135051.9751 | 2640486.9067 | 1135061.3205 | 2640486.6417 | 1135069.8564 | 2640487.9624 | 1135074.5903
49 | 2640483.1068 | 1134936.9652 | 2640476.9949 | 1134938.3028 | 2640469.4361 | 1134941.9651 | 2640463.1157 | 1134945.7248
50 | 2640546.9527 | 1134946.7224 | 2640545.0255 | 1134946.5516 | 2640533.4998 | 1134941.5384 | 2640529.1321 | 1134941.4288
51 | 2640560.0851 | 1134947.8866 | 2640546.9527 | 1134946.7224
52 | 2640560.0851 | 1134947.8866 | 2640572.4419 | 1134950.6269
53 | 2640751.3461 | 1135227.4592 | 2640758.3277 | 1135226.9503 | 2640773.5198 | 1135230.4271
54 | 2640751.3461 | 1135227.4592 | 2640745.9811 | 1135227.8503
55 | 2640745.9811 | 1135227.8503 | 2640745.6238 | 1135227.8763 | 2640738.6762 | 1135229.5455
56 | 2640713.4163 | 1135231.539 | 2640729.1055 | 1135231.8448 | 2640738.6762 | 1135229.5455
57 | 2640713.4163 | 1135231.539 | 2640712.4448 | 1135228.4301
58 | 2640713.4163 | 1135231.539 | 2640715.3906 | 1135243.4806 | 2640720.0164 | 1135246.9941
59 | 2640659.9583 | 1135190.2798 | 2640668.8877 | 1135192.4081
60 | 2640700.0789 | 1135204.2601 | 2640696.1133 | 1135196.6771
61 | 2640708.2308 | 1135219.848 | 2640700.0789 | 1135204.2601
62 | 2640593.269 | 1134953.194 | 2640588.3415 | 1134951.7782 | 2640576.3685 | 1134951.4977 | 2640572.4419 | 1134950.6269
63 | 2640738.1189 | 1135280.6526 | 2640737.9849 | 1135271.9917 | 2640737.3608 | 1135265.2507 | 2640735.075 | 1135258.4319 | 2640720.0164 | 1135246.9941
64 | 2640738.1189 | 1135280.6526 | 2640748.2791 | 1135278.053 | 2640755.7863 | 1135278.353
65 | 2640800.9504 | 1135294.4043 | 2640788.4421 | 1135291.6974 | 2640780.0122 | 1135286.4935 | 2640760.6655 | 1135278.5479 | 2640755.7863 | 1135278.353
66 | 2640712.4448 | 1135228.4301 | 2640712.0377 | 1135227.1275 | 2640708.2308 | 1135219.848
67 | 2640800.9504 | 1135294.4043 | 2640801.221 | 1135294.4628 | 2640815.2319 | 1135298.2593 | 2640823.2103 | 1135300.9407
68 | 2640823.2103 | 1135300.9407 | 2640840.4462 | 1135306.7333
69 | 2640851.3379 | 1135310.3937 | 2640840.4462 | 1135306.7333
70 | 2640851.3379 | 1135310.3937 | 2640852.0942 | 1135310.6479 | 2640872.6423 | 1135312.3669

## bus_geodata
| x | y | coords
0 | 2640610.439 | 1135105.9695
1 | 2640618.1022 | 1135116.8407
2 | 2640618.1923 | 1135135.2274
3 | 2640614.7211 | 1135135.293
4 | 2640647.2961 | 1135152.5762
5 | 2640602.0106 | 1135164.667
6 | 2640555.5722 | 1135141.0212
7 | 2640670.1409 | 1135165.6171
8 | 2640656.9866 | 1135133.4142
9 | 2640556.8957 | 1135090.5371
10 | 2640685.464 | 1135174.6886
11 | 2640663.012 | 1135121.4994
12 | 2640838.7785 | 1135132.8057
13 | 2640810.8575 | 1135119.8502
14 | 2640802.1966 | 1135117.3014
15 | 2640741.493 | 1135077.2595
16 | 2640781.4049 | 1135200.0339
17 | 2640858.0102 | 1135233.5042
18 | 2640788.452 | 1135232.5029
19 | 2640713.4219 | 1135059.39
20 | 2640657.6558 | 1135068.151
21 | 2640669.9675 | 1135108.1225
22 | 2640668.1966 | 1135111.4641
23 | 2640656.7871 | 1135104.1932
24 | 2640648.6235 | 1135090.996
25 | 2640688.7912 | 1135181.5652
26 | 2640648.5076 | 1135090.8424
27 | 2640695.9761 | 1135196.4148
28 | 2640606.9217 | 1135042.7
29 | 2640580.3716 | 1135044.1605
30 | 2640633.0495 | 1135068.6162
31 | 2640640.5709 | 1135185.659
32 | 2640649.8125 | 1135187.8616
33 | 2640577.7502 | 1135034.0001
34 | 2640574.9197 | 1135030.9792
35 | 2640566.7093 | 1135022.2167
36 | 2640565.5317 | 1135020.96
37 | 2640557.5975 | 1135015.3683
38 | 2640550.1371 | 1135013.804
39 | 2640544.9587 | 1135012.7181
40 | 2640539.3485 | 1135004.0169
41 | 2640538.0047 | 1135001.9327
42 | 2640510.0827 | 1134984.9369
43 | 2640508.7231 | 1134940.9165
44 | 2640491.6928 | 1135050.8949
45 | 2640483.1068 | 1134936.9652
46 | 2640529.1321 | 1134941.4288
47 | 2640487.9624 | 1135074.5903
48 | 2640463.1157 | 1134945.7248
49 | 2640546.9527 | 1134946.7224
50 | 2640560.0851 | 1134947.8866
51 | 2640773.5198 | 1135230.4271
52 | 2640751.3461 | 1135227.4592
53 | 2640745.9811 | 1135227.8503
54 | 2640738.6762 | 1135229.5454
55 | 2640713.4163 | 1135231.539
56 | 2640668.8877 | 1135192.4081
57 | 2640696.1133 | 1135196.6771
58 | 2640659.9583 | 1135190.2798
59 | 2640700.0789 | 1135204.2601
60 | 2640572.4419 | 1134950.6269
61 | 2640593.269 | 1134953.194
62 | 2640720.0164 | 1135246.9941
63 | 2640738.1189 | 1135280.6526
64 | 2640755.7863 | 1135278.353
65 | 2640712.4448 | 1135228.4301
66 | 2640800.9504 | 1135294.4043
67 | 2640708.2308 | 1135219.848
68 | 2640823.2103 | 1135300.9407
69 | 2640840.4462 | 1135306.7333
70 | 2640851.3379 | 1135310.3937
71 | 2640872.6423 | 1135312.3669
72 | 2640663.012 | 1135121.4994

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1