## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6021-16_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6021-16_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6021-16_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6021-16_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6021-16_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6021-16_0_5_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_6021-16_0_5_node_65 | 0.4 | n |  | TRUE
7 | bus_LV_6021-16_0_5_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_6021-16_0_5_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_6021-16_0_5_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_6021-16_0_5_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_6021-16_0_5_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_6021-16_0_5_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_6021-16_0_5_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_6021-16_0_5_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_6021-16_0_5_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_6021-16_0_5_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_6021-16_0_5_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_6021-16_0_5_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_6021-16_0_5_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_6021-16_0_5_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_6021-16_0_5_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_6021-16_0_5_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_6021-16_0_5_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_6021-16_0_5_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_6021-16_0_5_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_6021-16_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6021-16_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6021-16_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6021-16_0_5_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_6021-16_0_5_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_6021-16_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6021-16_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6021-16_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6021-16_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6021-16_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6021-16_0_5_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_6021-16_0_5_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_6021-16_0_5_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_6021-16_0_5_node_11 | 0.4 | n |  | TRUE
40 | bus_LV_6021-16_0_5_node_10 | 0.4 | n |  | TRUE
41 | bus_LV_6021-16_0_5_node_12 | 0.4 | n |  | TRUE
42 | bus_LV_6021-16_0_5_node_14 | 0.4 | n |  | TRUE
43 | bus_LV_6021-16_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6021-16_0_5_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_6021-16_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6021-16_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6021-16_0_5_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_6021-16_0_5_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_6021-16_0_5_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_6021-16_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_6021-16_0_5_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_6021-16_0_5_node_17 | 0.4 | n |  | TRUE
53 | bus_LV_6021-16_0_5_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_6021-16_0_5_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_6021-16_0_5_node_24 | 0.4 | n |  | TRUE
56 | bus_LV_6021-16_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6021-16_0_5_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_6021-16_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6021-16_0_5_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_6021-16_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6021-16_0_5_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_6021-16_0_5_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_6021-16_0_5_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_6021-16_0_5_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_6021-16_0_5_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_6021-16_0_5_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_6021-16_0_5_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_6021-16_0_5_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_6021-16_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_6021-16_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_6021-16_0_5_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_6021-16_0_5_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_6021-16_0_5_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_6021-16_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_6021-16_0_5_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_6021-16_0_5_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_6021-16_0_5_node_74 | 0.4 | n |  | TRUE
78 | bus_MV_91_1_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6021-16_0_5_load_0 | 0 | 0.0048671 | 0.0012198 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6021-16_0_5_load_1 | 1 | 0.0036593 | 0.00091711 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6021-16_0_5_load_2 | 2 | 0.0084572 | 0.0021196 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6021-16_0_5_load_3 | 3 | 0.011603 | 0.002908 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6021-16_0_5_load_4 | 4 | 0.0025193 | 0.00063139 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6021-16_0_5_load_35 | 5 | 0.0087964 | 0.0022046 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6021-16_0_5_load_65 | 6 | 0.0067248 | 0.0016854 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6021-16_0_5_load_33 | 7 | 0.00010742 | 2.6922e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6021-16_0_5_load_31 | 8 | 0.003973 | 0.00099572 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6021-16_0_5_load_58 | 9 | 0.0069437 | 0.0017402 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6021-16_0_5_load_59 | 10 | 0.00016042 | 4.0205e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6021-16_0_5_load_57 | 11 | 0.0079831 | 0.0020007 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6021-16_0_5_load_49 | 12 | 0.0015916 | 0.00039889 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6021-16_0_5_load_26 | 13 | 0.0063154 | 0.0015828 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6021-16_0_5_load_66 | 14 | 0.010028 | 0.0025134 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6021-16_0_5_load_67 | 15 | 0.010362 | 0.002597 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6021-16_0_5_load_50 | 16 | 0.0032164 | 0.00080609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6021-16_0_5_load_32 | 17 | 0.0031722 | 0.00079502 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6021-16_0_5_load_34 | 18 | 0.0037368 | 0.00093654 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6021-16_0_5_load_77 | 19 | 3.4776e-05 | 8.7158e-06 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6021-16_0_5_load_5 | 20 | 0.016356 | 0.0040992 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6021-16_0_5_load_6 | 21 | 0.0077981 | 0.0019544 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6021-16_0_5_load_7 | 22 | 0.0079448 | 0.0019911 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6021-16_0_5_load_8 | 23 | 0.0076385 | 0.0019144 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6021-16_0_5_load_9 | 24 | 0.0092494 | 0.0023181 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6021-16_0_5_load_43 | 25 | 0.0050415 | 0.0012635 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6021-16_0_5_load_16 | 26 | 0.0050921 | 0.0012762 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6021-16_0_5_load_18 | 27 | 0.0046461 | 0.0011644 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6021-16_0_5_load_15 | 28 | 0.0061637 | 0.0015448 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6021-16_0_5_load_72 | 29 | 0.0076584 | 0.0019194 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6021-16_0_5_load_13 | 30 | 0.0050641 | 0.0012692 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6021-16_0_5_load_19 | 31 | 0.0069922 | 0.0017524 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6021-16_0_5_load_20 | 32 | 0.0058069 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6021-16_0_5_load_21 | 33 | 0.0080304 | 0.0020126 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6021-16_0_5_load_27 | 34 | 0.0065873 | 0.0016509 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6021-16_0_5_load_28 | 35 | 0.013209 | 0.0033105 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6021-16_0_5_load_45 | 37 | 0.0089731 | 0.0022489 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6021-16_0_5_load_71 | 38 | 0.0028677 | 0.00071872 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6021-16_0_5_load_11 | 39 | 0.0029474 | 0.00073868 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6021-16_0_5_load_10 | 40 | 0.0040633 | 0.0010183 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6021-16_0_5_load_12 | 41 | 0.013192 | 0.0033063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6021-16_0_5_load_14 | 42 | 0.0048782 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6021-16_0_5_load_68 | 44 | 0.0054727 | 0.0013716 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6021-16_0_5_load_39 | 45 | 0.009913 | 0.0024844 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6021-16_0_5_load_40 | 46 | 0.0065736 | 0.0016475 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6021-16_0_5_load_60 | 48 | 0.0093663 | 0.0023474 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6021-16_0_5_load_56 | 49 | 0.0066639 | 0.0016701 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6021-16_0_5_load_23 | 50 | 0.0059355 | 0.0014876 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6021-16_0_5_load_73 | 53 | 0.0047379 | 0.0011874 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6021-16_0_5_load_24 | 55 | 0.0086059 | 0.0021568 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6021-16_0_5_load_55 | 56 | 0.0053855 | 0.0013497 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6021-16_0_5_load_70 | 57 | 0.0081251 | 0.0020363 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6021-16_0_5_load_69 | 59 | 0.011602 | 0.0029078 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6021-16_0_5_load_51 | 60 | 0.0070503 | 0.001767 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6021-16_0_5_load_54 | 61 | 0.0088722 | 0.0022236 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6021-16_0_5_load_78 | 62 | 3.4776e-05 | 8.7158e-06 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6021-16_0_5_load_79 | 63 | 3.4808e-05 | 8.7238e-06 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6021-16_0_5_load_36 | 64 | 0.010455 | 0.0026203 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6021-16_0_5_load_37 | 65 | 0.0065145 | 0.0016327 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6021-16_0_5_load_38 | 66 | 0.0104 | 0.0026065 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6021-16_0_5_load_41 | 67 | 0.0055831 | 0.0013993 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6021-16_0_5_load_42 | 68 | 0.0053887 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6021-16_0_5_load_63 | 69 | 0.005111 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6021-16_0_5_load_46 | 70 | 0.0065424 | 0.0016397 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6021-16_0_5_load_48 | 72 | 0.012947 | 0.0032449 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6021-16_0_5_load_75 | 74 | 0.011238 | 0.0028166 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6021-16_0_5_load_61 | 75 | 0.0015913 | 0.00039881 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6021-16_0_5_load_62 | 76 | 0.0015916 | 0.00039889 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6021-16_0_5_load_74 | 77 | 0.010024 | 0.0025121 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6021-16_0_5_line_0 |  | 0 | 1 | 0.0093402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6021-16_0_5_line_1 |  | 0 | 2 | 0.0092515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6021-16_0_5_line_2 |  | 1 | 3 | 0.019416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6021-16_0_5_line_3 |  | 2 | 4 | 0.0051183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6021-16_0_5_line_4 |  | 3 | 8 | 0.016101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6021-16_0_5_line_5 |  | 4 | 12 | 0.037687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6021-16_0_5_line_6 |  | 5 | 6 | 0.024372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6021-16_0_5_line_7 |  | 5 | 7 | 0.026851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6021-16_0_5_line_8 |  | 6 | 14 | 0.0048366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6021-16_0_5_line_9 |  | 7 | 17 | 0.003703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6021-16_0_5_line_10 |  | 8 | 13 | 0.0207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6021-16_0_5_line_11 |  | 9 | 10 | 0.027337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6021-16_0_5_line_12 |  | 9 | 11 | 0.024708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6021-16_0_5_line_13 |  | 10 | 19 | 0.029052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6021-16_0_5_line_14 |  | 11 | 61 | 0.059662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6021-16_0_5_line_15 |  | 12 | 16 | 0.0046754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6021-16_0_5_line_16 |  | 13 | 55 | 0.0018663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6021-16_0_5_line_17 |  | 14 | 15 | 0.024699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6021-16_0_5_line_18 |  | 15 | 59 | 0.0016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6021-16_0_5_line_19 |  | 16 | 75 | 0.01442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6021-16_0_5_line_20 |  | 17 | 18 | 0.00017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6021-16_0_5_line_21 |  | 19 | 62 | 0.021769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6021-16_0_5_line_22 |  | 20 | 21 | 0.032177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6021-16_0_5_line_23 |  | 20 | 22 | 0.020511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6021-16_0_5_line_24 |  | 21 | 23 | 0.023112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6021-16_0_5_line_25 |  | 22 | 24 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6021-16_0_5_line_26 |  | 23 | 25 | 0.049554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6021-16_0_5_line_27 |  | 24 | 30 | 0.0011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6021-16_0_5_line_28 |  | 25 | 36 | 0.0088709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6021-16_0_5_line_29 |  | 26 | 27 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6021-16_0_5_line_30 |  | 26 | 28 | 0.0094502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6021-16_0_5_line_31 |  | 27 | 29 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6021-16_0_5_line_32 |  | 28 | 52 | 0.028103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6021-16_0_5_line_33 |  | 29 | 38 | 0.0037429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6021-16_0_5_line_34 |  | 30 | 39 | 0.0017534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6021-16_0_5_line_35 |  | 31 | 32 | 0.011249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6021-16_0_5_line_36 |  | 32 | 33 | 0.018947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6021-16_0_5_line_37 |  | 33 | 45 | 0.016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6021-16_0_5_line_38 |  | 34 | 35 | 0.026932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6021-16_0_5_line_39 |  | 35 | 43 | 0.0088228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6021-16_0_5_line_40 |  | 36 | 37 | 0.0036226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6021-16_0_5_line_41 |  | 37 | 38 | 0.017668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6021-16_0_5_line_42 |  | 39 | 40 | 0.02147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6021-16_0_5_line_43 |  | 40 | 41 | 0.0053408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6021-16_0_5_line_44 |  | 41 | 42 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6021-16_0_5_line_45 |  | 42 | 47 | 0.015122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6021-16_0_5_line_46 |  | 43 | 44 | 0.023196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6021-16_0_5_line_47 |  | 44 | 51 | 0.046074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6021-16_0_5_line_48 |  | 45 | 46 | 0.0059969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6021-16_0_5_line_49 |  | 46 | 48 | 0.023726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6021-16_0_5_line_50 |  | 47 | 49 | 0.054708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6021-16_0_5_line_51 |  | 47 | 50 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6021-16_0_5_line_52 |  | 48 | 49 | 0.0053287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6021-16_0_5_line_53 |  | 49 | 58 | 0.017133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6021-16_0_5_line_54 |  | 50 | 55 | 0.018994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6021-16_0_5_line_55 |  | 51 | 61 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6021-16_0_5_line_56 |  | 51 | 60 | 0.022369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6021-16_0_5_line_57 |  | 52 | 53 | 0.087952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6021-16_0_5_line_58 |  | 53 | 54 | 0.002963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6021-16_0_5_line_59 |  | 54 | 77 | 0.018158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6021-16_0_5_line_60 |  | 54 | 69 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6021-16_0_5_line_61 |  | 56 | 57 | 0.0032175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6021-16_0_5_line_62 |  | 56 | 58 | 0.022098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6021-16_0_5_line_63 |  | 57 | 59 | 0.024164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6021-16_0_5_line_64 |  | 58 | 60 | 0.03682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6021-16_0_5_line_65 |  | 62 | 63 | 0.0027855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6021-16_0_5_line_66 |  | 64 | 65 | 0.021041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6021-16_0_5_line_67 |  | 65 | 66 | 0.0043174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6021-16_0_5_line_68 |  | 66 | 67 | 0.0069699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6021-16_0_5_line_69 |  | 67 | 68 | 0.01872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6021-16_0_5_line_70 |  | 68 | 69 | 0.0084206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6021-16_0_5_line_71 |  | 70 | 71 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6021-16_0_5_line_72 |  | 71 | 72 | 0.030271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6021-16_0_5_line_73 |  | 72 | 73 | 0.026082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6021-16_0_5_line_74 |  | 73 | 74 | 0.0085028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6021-16_0_5_line_75 |  | 74 | 77 | 0.025068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6021-16_0_5_line_76 |  | 75 | 76 | 0.003121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6021-16_0_5_trafo_25 | 0.63 MVA 20/0.4 kV | 78 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2586039.4871 | 1117143.7412 | 2586031.9973 | 1117138.1608
1 | 2586039.4871 | 1117143.7412 | 2586046.9057 | 1117149.2687
2 | 2586016.5108 | 1117126.452 | 2586021.6466 | 1117130.4487 | 2586031.9973 | 1117138.1608
3 | 2586051.0001 | 1117152.34 | 2586047.5864 | 1117149.7759 | 2586046.9057 | 1117149.2687
4 | 2586003.8046 | 1117116.5637 | 2586016.5108 | 1117126.452
5 | 2586051.0001 | 1117152.34 | 2586062.385 | 1117160.8915 | 2586081.1275 | 1117174.9824
6 | 2586054.9085 | 1117078.422 | 2586059.5925 | 1117081.5589 | 2586063.3259 | 1117083.8847 | 2586075.5029 | 1117091.4505
7 | 2586075.5029 | 1117091.4505 | 2586084.3424 | 1117096.9426 | 2586098.3114 | 1117105.6194
8 | 2586054.9085 | 1117078.422 | 2586050.8898 | 1117075.7306
9 | 2586098.3114 | 1117105.6194 | 2586101.457 | 1117107.5733
10 | 2586003.8046 | 1117116.5637 | 2585997.7769 | 1117111.8728 | 2585987.3984 | 1117103.9419
11 | 2586133.5196 | 1117042.4084 | 2586123.4266 | 1117035.9334 | 2586110.3699 | 1117027.8709
12 | 2586088.8619 | 1117015.7179 | 2586106.8005 | 1117025.6667 | 2586110.3699 | 1117027.8709
13 | 2586133.5196 | 1117042.4084 | 2586137.9819 | 1117045.2712 | 2586151.9598 | 1117055.2217 | 2586157.1918 | 1117059.2316
14 | 2586034.7134 | 1116990.6684 | 2586088.8619 | 1117015.7179
15 | 2586084.8646 | 1117177.792 | 2586081.1275 | 1117174.9824
16 | 2585987.3984 | 1117103.9419 | 2585985.9155 | 1117102.8088
17 | 2586050.8898 | 1117075.7306 | 2586030.3681 | 1117061.9871
18 | 2586030.3681 | 1117061.9871 | 2586029.012 | 1117061.0789
19 | 2586084.8646 | 1117177.792 | 2586089.995 | 1117181.649 | 2586096.3904 | 1117186.4572
20 | 2586101.6023 | 1117107.6636 | 2586101.457 | 1117107.5733
21 | 2586174.3896 | 1117072.577 | 2586165.7847 | 1117065.8174 | 2586157.1918 | 1117059.2316
22 | 2585859.4015 | 1117046.4162 | 2585829.0617 | 1117035.7001
23 | 2585859.4015 | 1117046.4162 | 2585864.6942 | 1117048.2856 | 2585878.7418 | 1117053.2475
24 | 2585829.0617 | 1117035.7001 | 2585807.2691 | 1117028.0029
25 | 2585899.2897 | 1117060.5054 | 2585878.7418 | 1117053.2475
26 | 2585807.2691 | 1117028.0029 | 2585781.977 | 1117070.617
27 | 2585900.367 | 1117060.8859 | 2585899.2897 | 1117060.5054
28 | 2585782.5046 | 1117079.4722 | 2585781.977 | 1117070.617
29 | 2585791.5152 | 1117130.3984 | 2585789.1213 | 1117116.88
30 | 2585793.163 | 1117139.7038 | 2585791.5152 | 1117130.3984
31 | 2585789.1213 | 1117116.88 | 2585788.2153 | 1117111.7635 | 2585786.8641 | 1117104.123
32 | 2585801.3346 | 1117166.5707 | 2585793.6285 | 1117142.3325 | 2585793.163 | 1117139.7038
33 | 2585786.2123 | 1117100.4373 | 2585786.8641 | 1117104.123
34 | 2585900.367 | 1117060.8859 | 2585902.0203 | 1117061.4699
35 | 2585905.8108 | 1117003.3698 | 2585895.2527 | 1116999.4886
36 | 2585923.5946 | 1117009.9072 | 2585905.8108 | 1117003.3698
37 | 2585923.5946 | 1117009.9072 | 2585938.9205 | 1117015.541
38 | 2585948.0907 | 1116955.2754 | 2585923.0685 | 1116945.3155
39 | 2585956.288 | 1116958.5382 | 2585948.0907 | 1116955.2754
40 | 2585782.5046 | 1117079.4722 | 2585783.1355 | 1117083.0394
41 | 2585786.2123 | 1117100.4373 | 2585783.1355 | 1117083.0394
42 | 2585922.3114 | 1117068.485 | 2585908.9652 | 1117063.9229 | 2585902.0203 | 1117061.4699
43 | 2585922.3114 | 1117068.485 | 2585927.3651 | 1117070.2125
44 | 2585941.8142 | 1117075.1516 | 2585927.3651 | 1117070.2125
45 | 2585956.1238 | 1117080.0429 | 2585941.8142 | 1117075.1516
46 | 2585956.288 | 1116958.5382 | 2585977.8305 | 1116967.1393
47 | 2586020.6201 | 1116984.2234 | 2585977.8305 | 1116967.1393
48 | 2585944.5491 | 1117017.6101 | 2585938.9205 | 1117015.541
49 | 2585944.5491 | 1117017.6101 | 2585966.8183 | 1117025.7962
50 | 2585956.1238 | 1117080.0429 | 2585971.8198 | 1117027.6348
51 | 2585956.1238 | 1117080.0429 | 2585970.8232 | 1117091.2758
52 | 2585971.8198 | 1117027.6348 | 2585966.8183 | 1117025.7962
53 | 2585987.9003 | 1117033.546 | 2585971.8198 | 1117027.6348
54 | 2585970.8232 | 1117091.2758 | 2585985.9155 | 1117102.8088
55 | 2586020.6201 | 1116984.2234 | 2586030.6806 | 1116988.9469 | 2586034.7134 | 1116990.6684
56 | 2586020.6201 | 1116984.2234 | 2586008.2546 | 1117002.8635
57 | 2585886.1509 | 1117189.8445 | 2585801.3346 | 1117166.5707
58 | 2585887.7587 | 1117187.3556 | 2585886.1509 | 1117189.8445
59 | 2585887.7587 | 1117187.3556 | 2585902.1652 | 1117198.4078
60 | 2585887.7587 | 1117187.3556 | 2585894.3073 | 1117176.911
61 | 2586006.2614 | 1117045.8426 | 2586008.9348 | 1117047.633
62 | 2585987.9003 | 1117033.546 | 2586006.2614 | 1117045.8426
63 | 2586008.9348 | 1117047.633 | 2586029.012 | 1117061.0789
64 | 2585987.9003 | 1117033.546 | 2586008.2546 | 1117002.8635
65 | 2586176.5801 | 1117074.2978 | 2586174.3896 | 1117072.577
66 | 2585926.1897 | 1117126.7119 | 2585914.8299 | 1117144.4225
67 | 2585912.4989 | 1117148.0566 | 2585914.8299 | 1117144.4225
68 | 2585912.4989 | 1117148.0566 | 2585908.7359 | 1117153.9234 | 2585908.7359 | 1117153.9234
69 | 2585898.7836 | 1117169.7786 | 2585908.0438 | 1117155.0255 | 2585908.7359 | 1117153.9234
70 | 2585898.7836 | 1117169.7786 | 2585894.7946 | 1117176.1336 | 2585894.3073 | 1117176.911
71 | 2585973.5849 | 1117253.2099 | 2585983.8463 | 1117261.0808
72 | 2585973.5849 | 1117253.2099 | 2585953.8837 | 1117238.0816 | 2585949.5306 | 1117234.7457
73 | 2585928.8009 | 1117218.8418 | 2585949.5306 | 1117234.7457
74 | 2585928.8009 | 1117218.8418 | 2585922.0547 | 1117213.6663
75 | 2585902.1652 | 1117198.4078 | 2585922.0547 | 1117213.6663
76 | 2586096.3904 | 1117186.4572 | 2586098.885 | 1117188.3326

## bus_geodata
| x | y | coords
0 | 2586039.4871 | 1117143.7412
1 | 2586031.9973 | 1117138.1608
2 | 2586046.9058 | 1117149.2687
3 | 2586016.5108 | 1117126.452
4 | 2586051.0001 | 1117152.34
5 | 2586075.5029 | 1117091.4505
6 | 2586054.9085 | 1117078.422
7 | 2586098.3114 | 1117105.6194
8 | 2586003.8046 | 1117116.5637
9 | 2586110.3699 | 1117027.8709
10 | 2586133.5196 | 1117042.4084
11 | 2586088.8619 | 1117015.7179
12 | 2586081.1275 | 1117174.9824
13 | 2585987.3984 | 1117103.9419
14 | 2586050.8898 | 1117075.7306
15 | 2586030.3681 | 1117061.9871
16 | 2586084.8646 | 1117177.792
17 | 2586101.457 | 1117107.5733
18 | 2586101.6023 | 1117107.6636
19 | 2586157.1918 | 1117059.2316
20 | 2585859.4015 | 1117046.4162
21 | 2585829.0617 | 1117035.7001
22 | 2585878.7418 | 1117053.2475
23 | 2585807.2691 | 1117028.0029
24 | 2585899.2897 | 1117060.5054
25 | 2585781.977 | 1117070.617
26 | 2585791.5152 | 1117130.3984
27 | 2585789.1213 | 1117116.88
28 | 2585793.163 | 1117139.7038
29 | 2585786.8641 | 1117104.123
30 | 2585900.367 | 1117060.8859
31 | 2585895.2527 | 1116999.4886
32 | 2585905.8108 | 1117003.3698
33 | 2585923.5946 | 1117009.9072
34 | 2585923.0685 | 1116945.3155
35 | 2585948.0907 | 1116955.2754
36 | 2585782.5046 | 1117079.4722
37 | 2585783.1355 | 1117083.0394
38 | 2585786.2123 | 1117100.4373
39 | 2585902.0203 | 1117061.4699
40 | 2585922.3114 | 1117068.485
41 | 2585927.3651 | 1117070.2125
42 | 2585941.8142 | 1117075.1516
43 | 2585956.288 | 1116958.5382
44 | 2585977.8305 | 1116967.1393
45 | 2585938.9205 | 1117015.541
46 | 2585944.5491 | 1117017.6101
47 | 2585956.1238 | 1117080.0429
48 | 2585966.8183 | 1117025.7962
49 | 2585971.8198 | 1117027.6348
50 | 2585970.8232 | 1117091.2758
51 | 2586020.6201 | 1116984.2234
52 | 2585801.3346 | 1117166.5707
53 | 2585886.1509 | 1117189.8445
54 | 2585887.7587 | 1117187.3556
55 | 2585985.9155 | 1117102.8088
56 | 2586006.2614 | 1117045.8426
57 | 2586008.9348 | 1117047.633
58 | 2585987.9003 | 1117033.546
59 | 2586029.012 | 1117061.0789
60 | 2586008.2546 | 1117002.8635
61 | 2586034.7134 | 1116990.6684
62 | 2586174.3896 | 1117072.577
63 | 2586176.5801 | 1117074.2978
64 | 2585926.1897 | 1117126.7119
65 | 2585914.8299 | 1117144.4225
66 | 2585912.4989 | 1117148.0566
67 | 2585908.7359 | 1117153.9234
68 | 2585898.7836 | 1117169.7786
69 | 2585894.3073 | 1117176.911
70 | 2585983.8463 | 1117261.0808
71 | 2585973.5849 | 1117253.2099
72 | 2585949.5306 | 1117234.7457
73 | 2585928.8009 | 1117218.8418
74 | 2585922.0547 | 1117213.6663
75 | 2586096.3904 | 1117186.4572
76 | 2586098.885 | 1117188.3326
77 | 2585902.1652 | 1117198.4078
78 | 2585987.9003 | 1117033.546

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1