## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6021-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6021-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6021-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6021-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6021-1_0_5_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_6021-1_0_5_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_6021-1_0_5_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_6021-1_0_5_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_6021-1_0_5_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_6021-1_0_5_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_6021-1_0_5_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_6021-1_0_5_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_6021-1_0_5_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_6021-1_0_5_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_6021-1_0_5_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_6021-1_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_6021-1_0_5_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_6021-1_0_5_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_6021-1_0_5_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_6021-1_0_5_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_6021-1_0_5_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_6021-1_0_5_node_4 | 0.4 | n |  | TRUE
22 | bus_LV_6021-1_0_5_node_5 | 0.4 | n |  | TRUE
23 | bus_LV_6021-1_0_5_node_6 | 0.4 | n |  | TRUE
24 | bus_LV_6021-1_0_5_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_6021-1_0_5_node_8 | 0.4 | n |  | TRUE
26 | bus_LV_6021-1_0_5_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_6021-1_0_5_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_6021-1_0_5_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_6021-1_0_5_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_6021-1_0_5_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_6021-1_0_5_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_6021-1_0_5_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_6021-1_0_5_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_6021-1_0_5_node_95 | 0.4 | n |  | TRUE
35 | bus_LV_6021-1_0_5_node_12 | 0.4 | n |  | TRUE
36 | bus_LV_6021-1_0_5_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_6021-1_0_5_node_13 | 0.4 | n |  | TRUE
38 | bus_LV_6021-1_0_5_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_6021-1_0_5_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_6021-1_0_5_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_6021-1_0_5_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6021-1_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6021-1_0_5_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_6021-1_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_6021-1_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_6021-1_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6021-1_0_5_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_6021-1_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_6021-1_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_6021-1_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_6021-1_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_6021-1_0_5_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_6021-1_0_5_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_6021-1_0_5_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_6021-1_0_5_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_6021-1_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_6021-1_0_5_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6021-1_0_5_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_6021-1_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_6021-1_0_5_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_6021-1_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_6021-1_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_6021-1_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_6021-1_0_5_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_6021-1_0_5_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_6021-1_0_5_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_6021-1_0_5_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_6021-1_0_5_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6021-1_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_6021-1_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6021-1_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_6021-1_0_5_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_6021-1_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_6021-1_0_5_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6021-1_0_5_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6021-1_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_6021-1_0_5_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6021-1_0_5_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_6021-1_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_6021-1_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_6021-1_0_5_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_6021-1_0_5_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_6021-1_0_5_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_6021-1_0_5_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_6021-1_0_5_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_6021-1_0_5_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_6021-1_0_5_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_6021-1_0_5_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_6021-1_0_5_node_86 | 0.4 | n |  | TRUE
90 | bus_MV_91_1_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6021-1_0_5_load_0 | 0 | 0.0035965 | 0.00090136 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6021-1_0_5_load_1 | 1 | 0.0089322 | 0.0022386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6021-1_0_5_load_2 | 2 | 0.0048579 | 0.0012175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6021-1_0_5_load_23 | 4 | 0.0058971 | 0.001478 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6021-1_0_5_load_45 | 6 | 0.011894 | 0.0029809 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6021-1_0_5_load_92 | 10 | 0.01925 | 0.0048245 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6021-1_0_5_load_50 | 16 | 0.011918 | 0.002987 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6021-1_0_5_load_69 | 17 | 0.0073962 | 0.0018537 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6021-1_0_5_load_20 | 18 | 0.0043468 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6021-1_0_5_load_30 | 19 | 0.019432 | 0.0048701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6021-1_0_5_load_39 | 20 | 0.013973 | 0.003502 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6021-1_0_5_load_4 | 21 | 0.0083116 | 0.0020831 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6021-1_0_5_load_5 | 22 | 0.0030933 | 0.00077526 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6021-1_0_5_load_90 | 27 | 0.0032804 | 0.00082215 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6021-1_0_5_load_89 | 28 | 0.0049627 | 0.0012438 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6021-1_0_5_load_49 | 30 | 0.0063671 | 0.0015957 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6021-1_0_5_load_93 | 32 | 0.020325 | 0.005094 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6021-1_0_5_load_38 | 33 | 0.013069 | 0.0032753 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6021-1_0_5_load_95 | 34 | 0.010304 | 0.0025824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6021-1_0_5_load_12 | 35 | 0.013599 | 0.0034083 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6021-1_0_5_load_15 | 38 | 0.0043172 | 0.001082 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6021-1_0_5_load_19 | 41 | 0.011679 | 0.0029271 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6021-1_0_5_load_31 | 42 | 0.0072208 | 0.0018097 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6021-1_0_5_load_42 | 43 | 0.0088961 | 0.0022296 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6021-1_0_5_load_44 | 44 | 0.0058618 | 0.0014691 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6021-1_0_5_load_37 | 45 | 0.014481 | 0.0036294 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6021-1_0_5_load_32 | 46 | 0.0051699 | 0.0012957 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6021-1_0_5_load_91 | 47 | 0.015384 | 0.0038557 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6021-1_0_5_load_43 | 49 | 0.010658 | 0.0026711 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6021-1_0_5_load_35 | 50 | 0.01204 | 0.0030174 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6021-1_0_5_load_75 | 52 | 0.018807 | 0.0047135 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6021-1_0_5_load_78 | 53 | 0.009556 | 0.002395 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6021-1_0_5_load_77 | 54 | 0.0037328 | 0.00093552 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6021-1_0_5_load_51 | 55 | 0.011451 | 0.0028698 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6021-1_0_5_load_59 | 56 | 0.0054892 | 0.0013757 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6021-1_0_5_load_33 | 58 | 0.0058707 | 0.0014713 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6021-1_0_5_load_34 | 59 | 0.0038183 | 0.00095696 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6021-1_0_5_load_36 | 60 | 0.0072367 | 0.0018137 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6021-1_0_5_load_41 | 61 | 0.010963 | 0.0027476 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6021-1_0_5_load_66 | 63 | 0.001244 | 0.00031177 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6021-1_0_5_load_65 | 64 | 0.0077753 | 0.0019487 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6021-1_0_5_load_52 | 65 | 0.011467 | 0.0028738 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6021-1_0_5_load_63 | 66 | 0.011833 | 0.0029656 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6021-1_0_5_load_76 | 67 | 0.018291 | 0.0045841 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6021-1_0_5_load_55 | 68 | 0.0087003 | 0.0021805 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6021-1_0_5_load_60 | 70 | 0.0055915 | 0.0014014 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6021-1_0_5_load_62 | 72 | 0.0026539 | 0.00066513 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6021-1_0_5_load_64 | 73 | 0.006609 | 0.0016564 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6021-1_0_5_load_70 | 74 | 0.0031227 | 0.00078263 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6021-1_0_5_load_71 | 75 | 0.003249 | 0.00081427 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6021-1_0_5_load_72 | 78 | 0.010396 | 0.0026055 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6021-1_0_5_load_73 | 79 | 0.0094424 | 0.0023665 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6021-1_0_5_load_85 | 81 | 0.0054891 | 0.0013757 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6021-1_0_5_load_82 | 82 | 0.0053063 | 0.0013299 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6021-1_0_5_load_83 | 84 | 0.011092 | 0.0027798 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6021-1_0_5_load_79 | 85 | 0.0077552 | 0.0019436 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6021-1_0_5_load_84 | 87 | 0.0066278 | 0.0016611 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6021-1_0_5_load_87 | 88 | 0.0026076 | 0.00065352 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6021-1_0_5_load_86 | 89 | 0.0060731 | 0.0015221 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6021-1_0_5_line_0 |  | 0 | 1 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6021-1_0_5_line_1 |  | 0 | 2 | 0.060383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6021-1_0_5_line_2 |  | 1 | 3 | 0.031579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6021-1_0_5_line_3 |  | 3 | 4 | 0.026619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6021-1_0_5_line_4 |  | 4 | 7 | 0.016068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6021-1_0_5_line_5 |  | 5 | 6 | 0.023478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6021-1_0_5_line_6 |  | 5 | 7 | 0.03557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6021-1_0_5_line_7 |  | 5 | 8 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6021-1_0_5_line_8 |  | 7 | 18 | 0.0003507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6021-1_0_5_line_9 |  | 8 | 20 | 0.0091039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6021-1_0_5_line_10 |  | 9 | 10 | 0.083718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6021-1_0_5_line_11 |  | 9 | 11 | 0.080466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6021-1_0_5_line_12 |  | 10 | 47 | 0.085735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6021-1_0_5_line_13 |  | 11 | 19 | 0.046965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6021-1_0_5_line_14 |  | 11 | 18 | 0.048055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6021-1_0_5_line_15 |  | 12 | 13 | 0.043145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6021-1_0_5_line_16 |  | 12 | 14 | 0.005597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6021-1_0_5_line_17 |  | 12 | 15 | 0.028912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6021-1_0_5_line_18 |  | 12 | 16 | 0.047666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6021-1_0_5_line_19 |  | 13 | 51 | 0.003597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6021-1_0_5_line_20 |  | 13 | 52 | 0.026824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6021-1_0_5_line_21 |  | 14 | 53 | 0.024392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6021-1_0_5_line_22 |  | 14 | 54 | 0.058862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6021-1_0_5_line_23 |  | 15 | 17 | 0.026164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6021-1_0_5_line_24 |  | 16 | 55 | 0.020716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6021-1_0_5_line_25 |  | 17 | 19 | 0.021425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6021-1_0_5_line_26 |  | 20 | 48 | 0.013634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6021-1_0_5_line_27 |  | 21 | 22 | 0.0073976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6021-1_0_5_line_28 |  | 21 | 23 | 0.0015965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6021-1_0_5_line_29 |  | 22 | 24 | 0.0071216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6021-1_0_5_line_30 |  | 23 | 25 | 0.026226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6021-1_0_5_line_31 |  | 24 | 26 | 0.017651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6021-1_0_5_line_32 |  | 25 | 27 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6021-1_0_5_line_33 |  | 25 | 28 | 0.038596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6021-1_0_5_line_34 |  | 26 | 29 | 0.047597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6021-1_0_5_line_35 |  | 26 | 30 | 0.022772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6021-1_0_5_line_36 |  | 29 | 31 | 0.12665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6021-1_0_5_line_37 |  | 29 | 32 | 0.039972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6021-1_0_5_line_38 |  | 30 | 33 | 0.019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6021-1_0_5_line_39 |  | 31 | 34 | 0.069962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6021-1_0_5_line_40 |  | 33 | 60 | 0.0021856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6021-1_0_5_line_41 |  | 35 | 36 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6021-1_0_5_line_42 |  | 36 | 40 | 0.018208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6021-1_0_5_line_43 |  | 36 | 41 | 0.022245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6021-1_0_5_line_44 |  | 37 | 38 | 0.015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6021-1_0_5_line_45 |  | 37 | 39 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6021-1_0_5_line_46 |  | 39 | 40 | 0.016169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6021-1_0_5_line_47 |  | 39 | 42 | 0.0081533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6021-1_0_5_line_48 |  | 40 | 43 | 0.040681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6021-1_0_5_line_49 |  | 40 | 44 | 0.011054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6021-1_0_5_line_50 |  | 41 | 45 | 0.0056348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6021-1_0_5_line_51 |  | 42 | 46 | 0.021806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6021-1_0_5_line_52 |  | 43 | 48 | 0.0046093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6021-1_0_5_line_53 |  | 44 | 49 | 0.00019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6021-1_0_5_line_54 |  | 45 | 50 | 0.0011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6021-1_0_5_line_55 |  | 46 | 58 | 0.00019523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6021-1_0_5_line_56 |  | 48 | 61 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6021-1_0_5_line_57 |  | 50 | 59 | 0.012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6021-1_0_5_line_58 |  | 51 | 66 | 0.01193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6021-1_0_5_line_59 |  | 51 | 57 | 0.00367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6021-1_0_5_line_60 |  | 52 | 67 | 0.012708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6021-1_0_5_line_61 |  | 54 | 62 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_6021-1_0_5_line_62 |  | 55 | 65 | 0.0055854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6021-1_0_5_line_63 |  | 56 | 57 | 0.010617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6021-1_0_5_line_64 |  | 57 | 70 | 0.034729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6021-1_0_5_line_65 |  | 57 | 68 | 0.027965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6021-1_0_5_line_66 |  | 59 | 60 | 0.012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6021-1_0_5_line_67 |  | 62 | 63 | 0.044644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_6021-1_0_5_line_68 |  | 63 | 64 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6021-1_0_5_line_69 |  | 64 | 76 | 0.048628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6021-1_0_5_line_70 |  | 68 | 69 | 0.036364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6021-1_0_5_line_71 |  | 69 | 71 | 0.003267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6021-1_0_5_line_72 |  | 69 | 72 | 0.014563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6021-1_0_5_line_73 |  | 71 | 73 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6021-1_0_5_line_74 |  | 72 | 74 | 0.039841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6021-1_0_5_line_75 |  | 74 | 75 | 0.0004153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6021-1_0_5_line_76 |  | 76 | 77 | 0.058422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6021-1_0_5_line_77 |  | 77 | 78 | 0.019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6021-1_0_5_line_78 |  | 78 | 79 | 0.01108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6021-1_0_5_line_79 |  | 79 | 80 | 0.038255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6021-1_0_5_line_80 |  | 80 | 81 | 0.039673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6021-1_0_5_line_81 |  | 80 | 82 | 0.021239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6021-1_0_5_line_82 |  | 81 | 83 | 0.044262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6021-1_0_5_line_83 |  | 82 | 84 | 0.00024377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6021-1_0_5_line_84 |  | 83 | 86 | 0.004158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6021-1_0_5_line_85 |  | 84 | 87 | 0.030243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6021-1_0_5_line_86 |  | 85 | 86 | 0.045223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6021-1_0_5_line_87 |  | 87 | 88 | 0.024827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6021-1_0_5_line_88 |  | 88 | 89 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6021-1_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 90 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2586101.6733 | 1117760.1627 | 2586095.7129 | 1117759.1204 | 2586089.4153 | 1117761.3969
1 | 2586145.0576 | 1117802.1612 | 2586101.6733 | 1117760.1627
2 | 2586059.7176 | 1117772.1323 | 2586089.4153 | 1117761.3969
3 | 2586059.7176 | 1117772.1323 | 2586055.1325 | 1117755.0789 | 2586052.1649 | 1117746.625
4 | 2586046.8431 | 1117731.4643 | 2586052.1649 | 1117746.625
5 | 2586030.717 | 1117756.2917 | 2586034.9106 | 1117757.5826 | 2586038.2255 | 1117759.3202 | 2586041.0404 | 1117761.8038 | 2586042.7976 | 1117764.112 | 2586044.1774 | 1117766.7211 | 2586045.1179 | 1117769.587 | 2586045.7424 | 1117772.2388
6 | 2586030.717 | 1117756.2917 | 2586030.7097 | 1117749.8329 | 2586030.6899 | 1117744.6415 | 2586031.9393 | 1117744.2607 | 2586034.1819 | 1117742.8881 | 2586035.7453 | 1117741.4505 | 2586036.9289 | 1117739.3356 | 2586037.1093 | 1117737.2786 | 2586036.4787 | 1117734.9122 | 2586041.6069 | 1117733.1995 | 2586046.8431 | 1117731.4643
7 | 2586016.3839 | 1117748.9769 | 2586025.516 | 1117749.9117 | 2586030.7097 | 1117749.8329 | 2586030.717 | 1117756.2917
8 | 2586046.7302 | 1117731.1322 | 2586046.8431 | 1117731.4643
9 | 2586016.3839 | 1117748.9769 | 2586007.3688 | 1117747.7089
10 | 2586016.7699 | 1117642.6792 | 2586019.0246 | 1117649.8441 | 2586027.1388 | 1117674.3707 | 2586028.6524 | 1117678.1024 | 2586030.2157 | 1117679.9663 | 2586032.1563 | 1117681.4514 | 2586033.5315 | 1117682.0708 | 2586035.4703 | 1117682.8222 | 2586036.4122 | 1117682.9423 | 2586038.3487 | 1117682.6821 | 2586040.4077 | 1117681.9993 | 2586042.7119 | 1117680.5599 | 2586068 | 1117664.2484
11 | 2586016.7699 | 1117642.6792 | 2586011.1863 | 1117644.4041 | 2586012.9976 | 1117650.0471 | 2586028.0711 | 1117693.6336 | 2586030.3217 | 1117692.3944 | 2586043.0671 | 1117683.9385 | 2586045.6847 | 1117687.8566
12 | 2586073.3632 | 1117609.1073 | 2586097.6503 | 1117628.9185 | 2586100.5273 | 1117631.5353 | 2586101.3414 | 1117633.1454 | 2586102.0943 | 1117635.0112 | 2586102.1004 | 1117637.6347 | 2586101.549 | 1117639.5036 | 2586100.6737 | 1117641.4288 | 2586099.2426 | 1117643.3664 | 2586095.1903 | 1117646.4884 | 2586071.7872 | 1117661.8055 | 2586068 | 1117664.2484
13 | 2586045.6847 | 1117687.8566 | 2586060.7264 | 1117704.53 | 2586062.5133 | 1117706.3045 | 2586064.2287 | 1117707.2343 | 2586066.2282 | 1117707.5076 | 2586068.5795 | 1117706.3682 | 2586080.1655 | 1117696.2091
14 | 2586045.6847 | 1117687.8566 | 2586041.8787 | 1117690.6779 | 2586040.5543 | 1117691.9483 | 2586039.339 | 1117693.7408 | 2586038.4171 | 1117695.5328 | 2586037.7193 | 1117697.502 | 2586037.2623 | 1117700.1044 | 2586037.2685 | 1117702.7612 | 2586037.8525 | 1117705.0165 | 2586046.7302 | 1117731.1322
15 | 2586108.3203 | 1117637.4091 | 2586117.2917 | 1117638.8892 | 2586121.9053 | 1117641.5354 | 2586144.6668 | 1117659.2139
16 | 2586108.3203 | 1117637.4091 | 2586107.4626 | 1117633.6204 | 2586106.6334 | 1117632.1215
17 | 2586108.3203 | 1117637.4091 | 2586107.1161 | 1117640.6468 | 2586104.6323 | 1117644.5323 | 2586096.2486 | 1117650.2433 | 2586090.877 | 1117653.5462 | 2586093.3088 | 1117657.2091
18 | 2586108.3203 | 1117637.4091 | 2586117.0812 | 1117634.6209 | 2586133.7082 | 1117609.1589 | 2586139.0891 | 1117603.1547
19 | 2586144.6668 | 1117659.2139 | 2586147.435 | 1117661.5198
20 | 2586144.6668 | 1117659.2139 | 2586157.7836 | 1117635.8159
21 | 2586106.6334 | 1117632.1215 | 2586110.3621 | 1117629.2448 | 2586113.9199 | 1117625.8905 | 2586116.4819 | 1117622.394 | 2586117.833 | 1117619.2672 | 2586118.1799 | 1117615.7757 | 2586117.4645 | 1117613.4318 | 2586116.6062 | 1117612.7223
22 | 2586106.6334 | 1117632.1215 | 2586105.8428 | 1117630.6782 | 2586080.3346 | 1117610.127 | 2586061.2835 | 1117594.7872
23 | 2586093.3088 | 1117657.2091 | 2586094.3184 | 1117659.9192 | 2586094.0386 | 1117662.41 | 2586092.6182 | 1117665.6148 | 2586090.9795 | 1117667.8197 | 2586090.5554 | 1117671.3113 | 2586091.922 | 1117674.9321 | 2586093.857 | 1117677.3511 | 2586094.8723 | 1117679.1941 | 2586094.8613 | 1117681.1173
24 | 2586139.0891 | 1117603.1547 | 2586139.0891 | 1117603.1547 | 2586157.9201 | 1117594.5199
25 | 2586094.8613 | 1117681.1173 | 2586093.9418 | 1117683.9653 | 2586091.5237 | 1117686.2497 | 2586080.1655 | 1117696.2091
26 | 2585994.0169 | 1117744.9824 | 2586004.4873 | 1117747.3037 | 2586007.3688 | 1117747.7089
27 | 2585842.6072 | 1117734.5852 | 2585843.3861 | 1117741.9417
28 | 2585842.4391 | 1117732.9976 | 2585842.6072 | 1117734.5852
29 | 2585844.136 | 1117749.0237 | 2585843.3861 | 1117741.9417
30 | 2585839.6689 | 1117706.9246 | 2585842.084 | 1117729.7079 | 2585842.4391 | 1117732.9976
31 | 2585845.9986 | 1117766.5725 | 2585844.136 | 1117749.0237
32 | 2585839.6689 | 1117706.9246 | 2585823.9178 | 1117714.6098
33 | 2585839.6689 | 1117706.9246 | 2585867.4918 | 1117680.1754
34 | 2585845.9986 | 1117766.5725 | 2585847.5002 | 1117778.2747 | 2585848.1056 | 1117783.0201 | 2585854.7321 | 1117791.6754 | 2585862.9694 | 1117802.6837 | 2585866.8169 | 1117807.755
35 | 2585845.9986 | 1117766.5725 | 2585851.1167 | 1117763.8591 | 2585866.114 | 1117755.8991
36 | 2585866.8169 | 1117807.755 | 2585870.8812 | 1117813.137 | 2585877.0855 | 1117829.3638 | 2585887.971 | 1117857.3298 | 2585898.2242 | 1117879.0165 | 2585914.5889 | 1117913.6397 | 2585918.9708 | 1117922.8895
37 | 2585899.2757 | 1117784.3007 | 2585866.8169 | 1117807.755
38 | 2585883.8349 | 1117746.6483 | 2585877.6243 | 1117749.7899 | 2585866.114 | 1117755.8991
39 | 2585972.7167 | 1117880.8545 | 2585954.0934 | 1117900.163 | 2585949.5942 | 1117900.1735 | 2585947.6059 | 1117901.3676 | 2585939.949 | 1117910.7568 | 2585930.3027 | 1117917.5048 | 2585918.9708 | 1117922.8895
40 | 2585883.8349 | 1117746.6483 | 2585885.7852 | 1117745.6618
41 | 2585936.0798 | 1117724.5518 | 2585935.759 | 1117722.6739 | 2585931.8199 | 1117710.6904
42 | 2585954.3388 | 1117724.2091 | 2585936.0798 | 1117724.5518
43 | 2585936.0798 | 1117724.5518 | 2585927.6244 | 1117725.8722 | 2585915.1678 | 1117731.5447
44 | 2585946.3378 | 1117692.0674 | 2585943.9024 | 1117683.6134 | 2585941.3172 | 1117677.9041
45 | 2585946.3378 | 1117692.0674 | 2585948.9138 | 1117691.3611 | 2585951.2485 | 1117699.6597 | 2585953.0685 | 1117705.714 | 2585954.3721 | 1117708.7236 | 2585955.1378 | 1117709.411 | 2585956.8625 | 1117710.9855
46 | 2585954.3388 | 1117724.2091 | 2585953.2992 | 1117715.2515 | 2585952.5606 | 1117712.941 | 2585956.8625 | 1117710.9855
47 | 2585956.8625 | 1117710.9855 | 2585964.2857 | 1117707.6135
48 | 2585954.3388 | 1117724.2091 | 2585963.0382 | 1117731.5368 | 2585972.6445 | 1117737.2839 | 2585987.3439 | 1117742.8191 | 2585989.6323 | 1117743.561
49 | 2585954.3388 | 1117724.2091 | 2585952.9139 | 1117732.0496 | 2585954.178 | 1117734.8633
50 | 2585915.1678 | 1117731.5447 | 2585910.0396 | 1117733.8799
51 | 2585985.3683 | 1117702.3759 | 2585967.9563 | 1117705.9461 | 2585964.2857 | 1117707.6135
52 | 2585994.0169 | 1117744.9824 | 2585989.6323 | 1117743.561
53 | 2585954.256 | 1117735.0368 | 2585954.178 | 1117734.8633
54 | 2585910.0396 | 1117733.8799 | 2585908.9763 | 1117734.3641
55 | 2585985.3683 | 1117702.3759 | 2585985.5595 | 1117702.3367
56 | 2585994.0169 | 1117744.9824 | 2585990.4649 | 1117757.4079
57 | 2585908.9763 | 1117734.3641 | 2585900.3872 | 1117738.2754 | 2585897.2288 | 1117739.8731
58 | 2586147.435 | 1117661.5198 | 2586156.8385 | 1117668.8621
59 | 2586147.435 | 1117661.5198 | 2586146.0923 | 1117664.9357
60 | 2586164.1134 | 1117624.7967 | 2586159.5241 | 1117632.7111 | 2586157.7836 | 1117635.8159
61 | 2586049.9826 | 1117587.5972 | 2586060.2078 | 1117593.9211 | 2586061.2835 | 1117594.7872
62 | 2586157.9201 | 1117594.5199 | 2586162.9972 | 1117592.1918
63 | 2586146.0923 | 1117664.9357 | 2586137.7139 | 1117658.4143
64 | 2586134.962 | 1117697.8108 | 2586141.4273 | 1117676.7967 | 2586146.0923 | 1117664.9357
65 | 2586146.0923 | 1117664.9357 | 2586168.1789 | 1117682.0887
66 | 2585885.7852 | 1117745.6618 | 2585897.2288 | 1117739.8731
67 | 2586049.9826 | 1117587.5972 | 2586050.1918 | 1117571.2776 | 2586054.2283 | 1117558.0284 | 2586061.1807 | 1117545.3348
68 | 2586068.9062 | 1117531.2298 | 2586061.1807 | 1117545.3348
69 | 2586091.9773 | 1117488.429 | 2586087.9901 | 1117496.3866 | 2586068.9062 | 1117531.2298
70 | 2586196.9494 | 1117704.3272 | 2586186.8525 | 1117696.591 | 2586168.1789 | 1117682.0887
71 | 2586198.865 | 1117701.6771 | 2586196.9494 | 1117704.3272
72 | 2586196.9494 | 1117704.3272 | 2586188.4011 | 1117716.1171
73 | 2586198.865 | 1117701.6771 | 2586209.1971 | 1117685.3647
74 | 2586162.701 | 1117746.1799 | 2586165.5012 | 1117741.7178 | 2586169.4975 | 1117737.7622 | 2586177.5163 | 1117731.1294 | 2586188.4011 | 1117716.1171
75 | 2586162.4802 | 1117746.5317 | 2586162.701 | 1117746.1799
76 | 2586091.9773 | 1117488.429 | 2586093.6617 | 1117489.2589 | 2586095.5225 | 1117489.5658 | 2586097.3819 | 1117489.3058 | 2586099.0857 | 1117488.5237 | 2586100.4875 | 1117487.2643 | 2586104.6385 | 1117490.0895 | 2586141.3543 | 1117514.3391
77 | 2586141.3543 | 1117514.3391 | 2586157.2268 | 1117524.8437
78 | 2586157.2268 | 1117524.8437 | 2586166.4663 | 1117530.9585
79 | 2586198.3676 | 1117552.0712 | 2586166.4663 | 1117530.9585
80 | 2586198.3676 | 1117552.0712 | 2586231.4533 | 1117573.9642
81 | 2586198.3676 | 1117552.0712 | 2586210.3219 | 1117534.5161
82 | 2586268.3657 | 1117598.3895 | 2586231.4533 | 1117573.9642
83 | 2586210.3219 | 1117534.5161 | 2586210.4591 | 1117534.3146
84 | 2586268.3657 | 1117598.3895 | 2586271.8362 | 1117600.6939
85 | 2586227.4817 | 1117509.3168 | 2586210.4591 | 1117534.3146
86 | 2586271.8362 | 1117600.6939 | 2586246.9978 | 1117638.4846
87 | 2586227.4817 | 1117509.3168 | 2586251.9226 | 1117513.6801
88 | 2586258.213 | 1117504.0993 | 2586251.9226 | 1117513.6801

## bus_geodata
| x | y | coords
0 | 2586101.6733 | 1117760.1627
1 | 2586089.4153 | 1117761.3969
2 | 2586145.0576 | 1117802.1612
3 | 2586059.7176 | 1117772.1323
4 | 2586052.1649 | 1117746.625
5 | 2586030.717 | 1117756.2917
6 | 2586045.7424 | 1117772.2388
7 | 2586046.8431 | 1117731.4643
8 | 2586016.3839 | 1117748.9769
9 | 2586016.7699 | 1117642.6792
10 | 2586068 | 1117664.2484
11 | 2586045.6847 | 1117687.8566
12 | 2586108.3203 | 1117637.4091
13 | 2586144.6668 | 1117659.2139
14 | 2586106.6334 | 1117632.1215
15 | 2586093.3088 | 1117657.2091
16 | 2586139.0891 | 1117603.1547
17 | 2586094.8613 | 1117681.1173
18 | 2586046.7302 | 1117731.1322
19 | 2586080.1655 | 1117696.2091
20 | 2586007.3688 | 1117747.7089
21 | 2585842.6072 | 1117734.5852
22 | 2585843.3861 | 1117741.9417
23 | 2585842.4391 | 1117732.9976
24 | 2585844.136 | 1117749.0237
25 | 2585839.6689 | 1117706.9246
26 | 2585845.9986 | 1117766.5725
27 | 2585823.9178 | 1117714.6098
28 | 2585867.4918 | 1117680.1754
29 | 2585866.8169 | 1117807.755
30 | 2585866.114 | 1117755.8991
31 | 2585918.9708 | 1117922.8895
32 | 2585899.2757 | 1117784.3007
33 | 2585883.8349 | 1117746.6483
34 | 2585972.7167 | 1117880.8545
35 | 2585931.8199 | 1117710.6904
36 | 2585936.0798 | 1117724.5518
37 | 2585946.3378 | 1117692.0674
38 | 2585941.3172 | 1117677.9041
39 | 2585956.8625 | 1117710.9855
40 | 2585954.3388 | 1117724.2091
41 | 2585915.1678 | 1117731.5447
42 | 2585964.2857 | 1117707.6135
43 | 2585989.6323 | 1117743.561
44 | 2585954.178 | 1117734.8633
45 | 2585910.0396 | 1117733.8799
46 | 2585985.3683 | 1117702.3759
47 | 2586073.3632 | 1117609.1073
48 | 2585994.0169 | 1117744.9824
49 | 2585954.256 | 1117735.0368
50 | 2585908.9763 | 1117734.3641
51 | 2586147.435 | 1117661.5198
52 | 2586157.7836 | 1117635.8159
53 | 2586116.6062 | 1117612.7223
54 | 2586061.2835 | 1117594.7872
55 | 2586157.9201 | 1117594.5199
56 | 2586137.7139 | 1117658.4143
57 | 2586146.0923 | 1117664.9357
58 | 2585985.5595 | 1117702.3367
59 | 2585897.2288 | 1117739.8731
60 | 2585885.7852 | 1117745.6618
61 | 2585990.4649 | 1117757.4079
62 | 2586049.9826 | 1117587.5972
63 | 2586061.1807 | 1117545.3348
64 | 2586068.9062 | 1117531.2298
65 | 2586162.9972 | 1117592.1918
66 | 2586156.8385 | 1117668.8621
67 | 2586164.1134 | 1117624.7967
68 | 2586168.1789 | 1117682.0887
69 | 2586196.9494 | 1117704.3272
70 | 2586134.962 | 1117697.8108
71 | 2586198.865 | 1117701.6771
72 | 2586188.4011 | 1117716.1171
73 | 2586209.1971 | 1117685.3647
74 | 2586162.701 | 1117746.1799
75 | 2586162.4802 | 1117746.5317
76 | 2586091.9773 | 1117488.429
77 | 2586141.3543 | 1117514.3391
78 | 2586157.2268 | 1117524.8437
79 | 2586166.4663 | 1117530.9585
80 | 2586198.3676 | 1117552.0712
81 | 2586231.4533 | 1117573.9642
82 | 2586210.3219 | 1117534.5161
83 | 2586268.3657 | 1117598.3895
84 | 2586210.4591 | 1117534.3146
85 | 2586246.9978 | 1117638.4846
86 | 2586271.8362 | 1117600.6939
87 | 2586227.4817 | 1117509.3168
88 | 2586251.9226 | 1117513.6801
89 | 2586258.213 | 1117504.0993
90 | 2586043.0671 | 1117683.9385

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1