## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6021-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6021-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6021-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6021-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6021-3_0_4_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_6021-3_0_4_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_6021-3_0_4_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_6021-3_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6021-3_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6021-3_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6021-3_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6021-3_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6021-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6021-3_0_4_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_6021-3_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_6021-3_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6021-3_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6021-3_0_4_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_6021-3_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_6021-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6021-3_0_4_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_6021-3_0_4_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_6021-3_0_4_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_6021-3_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6021-3_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6021-3_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_6021-3_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6021-3_0_4_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_6021-3_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6021-3_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6021-3_0_4_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_6021-3_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_6021-3_0_4_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_6021-3_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6021-3_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_6021-3_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_6021-3_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6021-3_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_6021-3_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_6021-3_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6021-3_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_6021-3_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6021-3_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_6021-3_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6021-3_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6021-3_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6021-3_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6021-3_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_6021-3_0_4_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6021-3_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_6021-3_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_6021-3_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_6021-3_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_6021-3_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6021-3_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_6021-3_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_6021-3_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_6021-3_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6021-3_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6021-3_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_MV_91_1_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6021-3_0_4_load_0 | 0 | 0.010904 | 0.0027329 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6021-3_0_4_load_1 | 1 | 0.0034238 | 0.00085809 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6021-3_0_4_load_2 | 2 | 0.0033099 | 0.00082953 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6021-3_0_4_load_3 | 3 | 0.004205 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6021-3_0_4_load_47 | 5 | 0.011746 | 0.0029437 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6021-3_0_4_load_48 | 6 | 0.029131 | 0.007301 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6021-3_0_4_load_4 | 7 | 0.05882 | 0.014742 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6021-3_0_4_load_5 | 8 | 0.03915 | 0.009812 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6021-3_0_4_load_7 | 10 | 0.0060808 | 0.001524 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6021-3_0_4_load_8 | 11 | 0.014361 | 0.0035992 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6021-3_0_4_load_22 | 13 | 0.016942 | 0.0042461 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6021-3_0_4_load_50 | 17 | 0.00202 | 0.00050625 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6021-3_0_4_load_58 | 18 | 0.015804 | 0.0039608 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6021-3_0_4_load_49 | 20 | 0.0046972 | 0.0011772 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6021-3_0_4_load_52 | 21 | 0.0012572 | 0.00031507 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6021-3_0_4_load_56 | 22 | 0.032839 | 0.0082302 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6021-3_0_4_load_44 | 25 | 0.0065247 | 0.0016352 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6021-3_0_4_load_41 | 27 | 0.0125 | 0.0031329 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6021-3_0_4_load_45 | 29 | 0.022375 | 0.0056077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6021-3_0_4_load_63 | 30 | 0.0058769 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6021-3_0_4_load_61 | 31 | 0.00081987 | 0.00020548 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6021-3_0_4_load_57 | 32 | 0.0031966 | 0.00080114 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6021-3_0_4_load_20 | 33 | 0.02154 | 0.0053983 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6021-3_0_4_load_51 | 34 | 0.0069591 | 0.0017441 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6021-3_0_4_load_37 | 35 | 0.010172 | 0.0025492 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6021-3_0_4_load_42 | 36 | 0.017714 | 0.0044395 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6021-3_0_4_load_19 | 37 | 0.03588 | 0.0089923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6021-3_0_4_load_21 | 38 | 0.0075039 | 0.0018806 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6021-3_0_4_load_23 | 39 | 0.010017 | 0.0025106 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6021-3_0_4_load_24 | 40 | 0.010079 | 0.002526 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6021-3_0_4_load_25 | 41 | 0.0023948 | 0.0006002 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6021-3_0_4_load_26 | 42 | 0.0025978 | 0.00065106 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6021-3_0_4_load_27 | 43 | 0.0033382 | 0.00083664 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6021-3_0_4_load_28 | 44 | 0.0038922 | 0.00097548 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6021-3_0_4_load_34 | 47 | 0.006847 | 0.001716 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6021-3_0_4_load_29 | 48 | 0.024658 | 0.0061798 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6021-3_0_4_load_30 | 49 | 0.0083892 | 0.0021025 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6021-3_0_4_load_31 | 50 | 0.0035805 | 0.00089735 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6021-3_0_4_load_33 | 52 | 0.022433 | 0.0056223 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6021-3_0_4_load_39 | 53 | 0.0077249 | 0.001936 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6021-3_0_4_load_55 | 54 | 0.0048997 | 0.001228 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6021-3_0_4_load_53 | 55 | 0.0015404 | 0.00038606 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6021-3_0_4_load_60 | 56 | 0.014255 | 0.0035726 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6021-3_0_4_load_54 | 57 | 0.002156 | 0.00054036 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6021-3_0_4_load_43 | 58 | 0.0043355 | 0.0010866 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6021-3_0_4_load_59 | 59 | 0.0062096 | 0.0015563 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6021-3_0_4_line_0 |  | 0 | 1 | 0.030223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6021-3_0_4_line_1 |  | 0 | 2 | 0.022464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6021-3_0_4_line_2 |  | 2 | 3 | 0.0019333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6021-3_0_4_line_3 |  | 3 | 4 | 0.019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6021-3_0_4_line_4 |  | 4 | 5 | 0.0057402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6021-3_0_4_line_5 |  | 4 | 6 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6021-3_0_4_line_6 |  | 5 | 57 | 0.0037157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6021-3_0_4_line_7 |  | 6 | 10 | 0.0094622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6021-3_0_4_line_8 |  | 7 | 8 | 0.01991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6021-3_0_4_line_9 |  | 7 | 9 | 0.017721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6021-3_0_4_line_10 |  | 8 | 10 | 0.015142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6021-3_0_4_line_11 |  | 9 | 11 | 0.042459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6021-3_0_4_line_12 |  | 11 | 12 | 0.015939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6021-3_0_4_line_13 |  | 12 | 13 | 0.0019246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6021-3_0_4_line_14 |  | 12 | 14 | 0.011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6021-3_0_4_line_15 |  | 13 | 33 | 0.020382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6021-3_0_4_line_16 |  | 14 | 18 | 0.020704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6021-3_0_4_line_17 |  | 14 | 22 | 0.0087466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6021-3_0_4_line_18 |  | 15 | 16 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6021-3_0_4_line_19 |  | 15 | 17 | 0.028941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6021-3_0_4_line_20 |  | 15 | 18 | 0.01584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6021-3_0_4_line_21 |  | 16 | 19 | 0.004282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6021-3_0_4_line_22 |  | 16 | 20 | 0.018489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6021-3_0_4_line_23 |  | 19 | 21 | 0.017307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6021-3_0_4_line_24 |  | 21 | 34 | 0.029785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6021-3_0_4_line_25 |  | 22 | 32 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6021-3_0_4_line_26 |  | 23 | 24 | 0.016991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6021-3_0_4_line_27 |  | 23 | 25 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6021-3_0_4_line_28 |  | 23 | 26 | 0.050822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6021-3_0_4_line_29 |  | 23 | 27 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6021-3_0_4_line_30 |  | 24 | 28 | 0.044552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6021-3_0_4_line_31 |  | 24 | 29 | 0.0099304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6021-3_0_4_line_32 |  | 25 | 35 | 0.01349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6021-3_0_4_line_33 |  | 26 | 31 | 0.012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6021-3_0_4_line_34 |  | 27 | 36 | 0.0088882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6021-3_0_4_line_35 |  | 28 | 30 | 0.039101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6021-3_0_4_line_36 |  | 33 | 37 | 0.0014278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6021-3_0_4_line_37 |  | 35 | 39 | 0.020893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6021-3_0_4_line_38 |  | 36 | 58 | 0.0071419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6021-3_0_4_line_39 |  | 37 | 38 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6021-3_0_4_line_40 |  | 38 | 39 | 0.028486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6021-3_0_4_line_41 |  | 40 | 41 | 0.005425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6021-3_0_4_line_42 |  | 40 | 42 | 2.7534e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6021-3_0_4_line_43 |  | 41 | 43 | 0.0059585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6021-3_0_4_line_44 |  | 42 | 44 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6021-3_0_4_line_45 |  | 43 | 45 | 0.017511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6021-3_0_4_line_46 |  | 45 | 46 | 0.022318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6021-3_0_4_line_47 |  | 45 | 47 | 0.016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6021-3_0_4_line_48 |  | 46 | 54 | 0.015611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6021-3_0_4_line_49 |  | 46 | 55 | 0.004941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6021-3_0_4_line_50 |  | 47 | 52 | 0.023308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6021-3_0_4_line_51 |  | 48 | 49 | 0.0064361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6021-3_0_4_line_52 |  | 48 | 50 | 0.0057866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6021-3_0_4_line_53 |  | 49 | 51 | 0.010062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6021-3_0_4_line_54 |  | 50 | 52 | 0.0074938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6021-3_0_4_line_55 |  | 51 | 53 | 0.023039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6021-3_0_4_line_56 |  | 54 | 56 | 0.0054467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6021-3_0_4_line_57 |  | 55 | 57 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6021-3_0_4_line_58 |  | 56 | 59 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6021-3_0_4_trafo_59 | 0.63 MVA 20/0.4 kV | 60 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2585973.4443 | 1118079.8927 | 2585967.9811 | 1118084.0323 | 2585968.9161 | 1118087.8653 | 2585973.1106 | 1118096.2597 | 2585978.8393 | 1118104.5041
1 | 2585973.4443 | 1118079.8927 | 2585982.2557 | 1118073.216 | 2585990.5916 | 1118065.4264
2 | 2585992.0042 | 1118064.1064 | 2585990.5916 | 1118065.4264
3 | 2586004.248 | 1118049.3308 | 2585996.0779 | 1118060.2997 | 2585992.0042 | 1118064.1064
4 | 2586004.248 | 1118049.3308 | 2585999.9569 | 1118045.5182
5 | 2586004.248 | 1118049.3308 | 2586019.7586 | 1118059.8318
6 | 2585997.1793 | 1118043.0503 | 2585999.9569 | 1118045.5182
7 | 2586027.5967 | 1118065.1324 | 2586020.039 | 1118060.0216 | 2586019.7586 | 1118059.8318
8 | 2586055.5555 | 1118086.2656 | 2586039.7295 | 1118074.1852
9 | 2586069.7456 | 1118096.8801 | 2586057.8176 | 1118087.9923 | 2586055.5555 | 1118086.2656
10 | 2586039.7295 | 1118074.1852 | 2586035.6611 | 1118071.0797 | 2586030.1799 | 1118066.8792 | 2586027.5967 | 1118065.1324
11 | 2586069.7456 | 1118096.8801 | 2586072.1114 | 1118092.0945 | 2586073.4856 | 1118092.3359 | 2586075.4218 | 1118091.9646 | 2586077.0475 | 1118090.8381 | 2586078.041 | 1118089.9576 | 2586079.5322 | 1118087.4084 | 2586080.3418 | 1118083.7936 | 2586080.704 | 1118080.2355 | 2586080.5004 | 1118072.2654 | 2586079.8754 | 1118060.0402
12 | 2586079.0616 | 1118044.1215 | 2586079.8754 | 1118060.0402
13 | 2586079.0616 | 1118044.1215 | 2586078.8905 | 1118042.2046
14 | 2586079.0616 | 1118044.1215 | 2586084.8946 | 1118043.5855 | 2586090.0331 | 1118043.1068
15 | 2586077.5295 | 1118021.8713 | 2586078.1664 | 1118034.0964 | 2586078.8905 | 1118042.2046
16 | 2586090.0331 | 1118043.1068 | 2586088.6559 | 1118022.449
17 | 2586090.0331 | 1118043.1068 | 2586090.5296 | 1118051.8393
18 | 2586088.1405 | 1117985.5383 | 2586087.9123 | 1117993.6317 | 2586087.896 | 1118006.6271
19 | 2586087.896 | 1118006.6271 | 2586091.9088 | 1118006.54 | 2586116.116 | 1118012.487
20 | 2586087.896 | 1118006.6271 | 2586088.6341 | 1118022.1219 | 2586088.6559 | 1118022.449
21 | 2586088.4471 | 1117981.2689 | 2586088.1405 | 1117985.5383
22 | 2586088.1405 | 1117985.5383 | 2586091.2439 | 1117985.9647 | 2586105.9285 | 1117990.4565
23 | 2586088.4471 | 1117981.2689 | 2586089.6358 | 1117981.3773 | 2586101.4214 | 1117978.6043 | 2586105.3358 | 1117979.4544
24 | 2586124.6884 | 1117970.986 | 2586122.3379 | 1117983.1471 | 2586105.3358 | 1117979.4544
25 | 2586090.5296 | 1118051.8393 | 2586091.0386 | 1118060.7909 | 2586091.1767 | 1118063.0571
26 | 2586079.7446 | 1117908.9645 | 2586080.6487 | 1117919.4787 | 2586080.9877 | 1117925.9033
27 | 2586080.9877 | 1117925.9033 | 2586081.241 | 1117932.0057 | 2586081.0726 | 1117942.5891 | 2586080.9091 | 1117946.9232
28 | 2586080.9877 | 1117925.9033 | 2586086.8522 | 1117925.6229 | 2586092.9636 | 1117925.3309 | 2586097.9791 | 1117924.9747 | 2586102.424 | 1117924.8866 | 2586107.0572 | 1117926.0765 | 2586114.6033 | 1117928.816 | 2586122.9376 | 1117931.9539 | 2586130.0363 | 1117934.7834
29 | 2586080.9877 | 1117925.9033 | 2586076.5444 | 1117926.7139 | 2586069.6857 | 1117930.943 | 2586061.5326 | 1117934.8586
30 | 2586079.7446 | 1117908.9645 | 2586085.2218 | 1117908.0736 | 2586084.6792 | 1117903.6838 | 2586083.4108 | 1117895.8384 | 2586081.0759 | 1117883.9491 | 2586079.6497 | 1117877.9272 | 2586078.9955 | 1117875.3608 | 2586084.5727 | 1117874.2918
31 | 2586079.7446 | 1117908.9645 | 2586079.0466 | 1117904.1637 | 2586078.1734 | 1117899.1602
32 | 2586080.0287 | 1117960.3839 | 2586080.8399 | 1117948.7593 | 2586080.9091 | 1117946.9232
33 | 2586130.0363 | 1117934.7834 | 2586126.6685 | 1117946.8749
34 | 2586061.5326 | 1117934.8586 | 2586053.5205 | 1117938.7065 | 2586053.5205 | 1117938.7065
35 | 2586116.8035 | 1117882.2769 | 2586113.8733 | 1117879.9936 | 2586110.7601 | 1117875.3207 | 2586109.1529 | 1117871.0779 | 2586107.2903 | 1117869.9372 | 2586084.5727 | 1117874.2918
36 | 2586077.4552 | 1118020.4454 | 2586077.5295 | 1118021.8713
37 | 2586077.4055 | 1117981.109 | 2586079.936 | 1117961.7122 | 2586080.0287 | 1117960.3839
38 | 2586050.8889 | 1117945.0094 | 2586051.8132 | 1117944.5911 | 2586053.5205 | 1117938.7065
39 | 2586077.4552 | 1118020.4454 | 2586077.4396 | 1118020.1468 | 2586076.9628 | 1118009.5414
40 | 2586077.4055 | 1117981.109 | 2586077.229 | 1117982.462 | 2586076.443 | 1117992.9913 | 2586076.4576 | 1117999.2832 | 2586076.9189 | 1118008.5645 | 2586076.9628 | 1118009.5414
41 | 2585940.9512 | 1118028.6995 | 2585945.7074 | 1118026.0903
42 | 2585940.927 | 1118028.7127 | 2585940.9512 | 1118028.6995
43 | 2585950.9315 | 1118023.2244 | 2585945.7074 | 1118026.0903
44 | 2585929.516 | 1118034.9727 | 2585940.927 | 1118028.7127
45 | 2585966.284 | 1118014.8022 | 2585950.9315 | 1118023.2244
46 | 2585966.284 | 1118014.8022 | 2585970.0828 | 1118018.9731 | 2585982.572 | 1118030.0717
47 | 2585966.284 | 1118014.8022 | 2585956.9764 | 1118004.6077 | 2585955.7336 | 1118001.8652
48 | 2585982.572 | 1118030.0717 | 2585993.3479 | 1118018.776
49 | 2585982.572 | 1118030.0717 | 2585986.2656 | 1118033.3536
50 | 2585946.1134 | 1117980.6352 | 2585955.7336 | 1118001.8652
51 | 2585940.5901 | 1117968.5582 | 2585937.835 | 1117962.7416
52 | 2585943.0204 | 1117973.8095 | 2585941.7645 | 1117971.0378 | 2585940.5901 | 1117968.5582
53 | 2585933.5281 | 1117953.6484 | 2585937.835 | 1117962.7416
54 | 2585943.0204 | 1117973.8095 | 2585946.1134 | 1117980.6352
55 | 2585933.5281 | 1117953.6484 | 2585912.2723 | 1117962.5358
56 | 2585997.1075 | 1118014.835 | 2585993.3479 | 1118018.776
57 | 2585986.2656 | 1118033.3536 | 2585997.1793 | 1118043.0503
58 | 2586006.6521 | 1118004.5966 | 2586002.4262 | 1118009.2598 | 2585997.1075 | 1118014.835

## bus_geodata
| x | y | coords
0 | 2585973.4443 | 1118079.8927
1 | 2585978.8393 | 1118104.5041
2 | 2585990.5916 | 1118065.4264
3 | 2585992.0042 | 1118064.1064
4 | 2586004.248 | 1118049.3308
5 | 2585999.9569 | 1118045.5182
6 | 2586019.7586 | 1118059.8318
7 | 2586055.5555 | 1118086.2656
8 | 2586039.7295 | 1118074.1852
9 | 2586069.7456 | 1118096.8801
10 | 2586027.5967 | 1118065.1324
11 | 2586079.8754 | 1118060.0402
12 | 2586079.0616 | 1118044.1215
13 | 2586078.8905 | 1118042.2046
14 | 2586090.0331 | 1118043.1068
15 | 2586087.896 | 1118006.6271
16 | 2586088.1405 | 1117985.5383
17 | 2586116.116 | 1118012.487
18 | 2586088.6559 | 1118022.449
19 | 2586088.4471 | 1117981.2689
20 | 2586105.9285 | 1117990.4565
21 | 2586105.3358 | 1117979.4544
22 | 2586090.5296 | 1118051.8393
23 | 2586080.9877 | 1117925.9033
24 | 2586079.7446 | 1117908.9645
25 | 2586080.9091 | 1117946.9232
26 | 2586130.0363 | 1117934.7834
27 | 2586061.5326 | 1117934.8586
28 | 2586084.5727 | 1117874.2918
29 | 2586078.1734 | 1117899.1602
30 | 2586116.8035 | 1117882.2769
31 | 2586126.6685 | 1117946.8749
32 | 2586091.1767 | 1118063.0571
33 | 2586077.5295 | 1118021.8713
34 | 2586124.6884 | 1117970.986
35 | 2586080.0287 | 1117960.3839
36 | 2586053.5205 | 1117938.7065
37 | 2586077.4552 | 1118020.4454
38 | 2586076.9628 | 1118009.5414
39 | 2586077.4055 | 1117981.109
40 | 2585940.9512 | 1118028.6995
41 | 2585945.7074 | 1118026.0903
42 | 2585940.927 | 1118028.7127
43 | 2585950.9315 | 1118023.2244
44 | 2585929.516 | 1118034.9727
45 | 2585966.284 | 1118014.8022
46 | 2585982.572 | 1118030.0717
47 | 2585955.7336 | 1118001.8652
48 | 2585940.5901 | 1117968.5582
49 | 2585937.835 | 1117962.7416
50 | 2585943.0204 | 1117973.8095
51 | 2585933.5281 | 1117953.6484
52 | 2585946.1134 | 1117980.6352
53 | 2585912.2723 | 1117962.5358
54 | 2585993.3479 | 1118018.776
55 | 2585986.2656 | 1118033.3536
56 | 2585997.1075 | 1118014.835
57 | 2585997.1793 | 1118043.0503
58 | 2586050.8889 | 1117945.0094
59 | 2586006.6521 | 1118004.5966
60 | 2586020.6346 | 1117990.8195

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1