## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6021-8_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6021-8_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6021-8_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6021-8_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6021-8_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6021-8_0_8_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_6021-8_0_8_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_6021-8_0_8_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_6021-8_0_8_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_6021-8_0_8_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6021-8_0_8_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_6021-8_0_8_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6021-8_0_8_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6021-8_0_8_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6021-8_0_8_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6021-8_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6021-8_0_8_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6021-8_0_8_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_6021-8_0_8_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_6021-8_0_8_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_6021-8_0_8_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_6021-8_0_8_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_6021-8_0_8_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6021-8_0_8_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6021-8_0_8_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6021-8_0_8_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6021-8_0_8_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6021-8_0_8_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6021-8_0_8_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6021-8_0_8_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6021-8_0_8_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6021-8_0_8_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6021-8_0_8_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6021-8_0_8_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6021-8_0_8_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6021-8_0_8_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_6021-8_0_8_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_6021-8_0_8_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6021-8_0_8_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_6021-8_0_8_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_6021-8_0_8_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_6021-8_0_8_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_6021-8_0_8_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6021-8_0_8_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_6021-8_0_8_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_6021-8_0_8_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6021-8_0_8_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_6021-8_0_8_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_6021-8_0_8_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6021-8_0_8_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6021-8_0_8_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_6021-8_0_8_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6021-8_0_8_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_6021-8_0_8_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_6021-8_0_8_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6021-8_0_8_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6021-8_0_8_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_6021-8_0_8_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6021-8_0_8_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_6021-8_0_8_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6021-8_0_8_node_110 | 0.4 | n |  | TRUE
61 | bus_LV_6021-8_0_8_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_6021-8_0_8_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_6021-8_0_8_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_6021-8_0_8_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_6021-8_0_8_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_6021-8_0_8_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6021-8_0_8_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_6021-8_0_8_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_6021-8_0_8_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_6021-8_0_8_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_6021-8_0_8_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_6021-8_0_8_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_6021-8_0_8_node_98 | 0.4 | n |  | TRUE
74 | bus_LV_6021-8_0_8_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_6021-8_0_8_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_6021-8_0_8_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_6021-8_0_8_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_6021-8_0_8_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6021-8_0_8_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_6021-8_0_8_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_6021-8_0_8_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_6021-8_0_8_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_6021-8_0_8_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_6021-8_0_8_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_6021-8_0_8_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_6021-8_0_8_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_6021-8_0_8_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_6021-8_0_8_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_6021-8_0_8_node_111 | 0.4 | n |  | TRUE
90 | bus_LV_6021-8_0_8_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_6021-8_0_8_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_6021-8_0_8_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_6021-8_0_8_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_6021-8_0_8_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_6021-8_0_8_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_6021-8_0_8_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_6021-8_0_8_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_6021-8_0_8_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_6021-8_0_8_node_82 | 0.4 | n |  | TRUE
100 | bus_LV_6021-8_0_8_node_83 | 0.4 | n |  | TRUE
101 | bus_LV_6021-8_0_8_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_6021-8_0_8_node_109 | 0.4 | n |  | TRUE
103 | bus_LV_6021-8_0_8_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_6021-8_0_8_node_87 | 0.4 | n |  | TRUE
105 | bus_LV_6021-8_0_8_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_6021-8_0_8_node_88 | 0.4 | n |  | TRUE
107 | bus_LV_6021-8_0_8_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_6021-8_0_8_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_6021-8_0_8_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_6021-8_0_8_node_106 | 0.4 | n |  | TRUE
111 | bus_MV_91_1_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6021-8_0_8_load_0 | 0 | 0.012334 | 0.0030912 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6021-8_0_8_load_1 | 1 | 0.005416 | 0.0013574 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6021-8_0_8_load_2 | 2 | 0.0054668 | 0.0013701 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6021-8_0_8_load_4 | 4 | 0.0058158 | 0.0014576 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6021-8_0_8_load_23 | 5 | 0.01053 | 0.0026389 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6021-8_0_8_load_14 | 6 | 0.0092115 | 0.0023086 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6021-8_0_8_load_25 | 7 | 0.0074459 | 0.0018661 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6021-8_0_8_load_37 | 8 | 0.0050169 | 0.0012574 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6021-8_0_8_load_12 | 9 | 0.0069824 | 0.0017499 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6021-8_0_8_load_48 | 10 | 0.0059078 | 0.0014806 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6021-8_0_8_load_5 | 11 | 0.0081988 | 0.0020548 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6021-8_0_8_load_9 | 15 | 0.0075073 | 0.0018815 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6021-8_0_8_load_10 | 16 | 0.0085934 | 0.0021537 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6021-8_0_8_load_45 | 17 | 0.0067205 | 0.0016843 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6021-8_0_8_load_41 | 20 | 0.0027438 | 0.00068767 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6021-8_0_8_load_11 | 22 | 0.0096914 | 0.0024289 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6021-8_0_8_load_13 | 23 | 0.0054821 | 0.0013739 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6021-8_0_8_load_15 | 24 | 0.0052942 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6021-8_0_8_load_17 | 26 | 0.0027678 | 0.00069369 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6021-8_0_8_load_18 | 27 | 0.0097055 | 0.0024324 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6021-8_0_8_load_19 | 28 | 0.0022327 | 0.00055957 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6021-8_0_8_load_20 | 29 | 0.010389 | 0.0026037 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6021-8_0_8_load_21 | 30 | 0.002857 | 0.00071602 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6021-8_0_8_load_24 | 32 | 0.0090215 | 0.002261 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6021-8_0_8_load_29 | 33 | 0.0035762 | 0.00089628 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6021-8_0_8_load_26 | 34 | 0.0017986 | 0.00045078 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6021-8_0_8_load_94 | 35 | 0.0075556 | 0.0018936 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6021-8_0_8_load_93 | 38 | 0.0075504 | 0.0018923 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6021-8_0_8_load_56 | 39 | 0.0072168 | 0.0018087 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6021-8_0_8_load_40 | 42 | 0.0023532 | 0.00058978 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6021-8_0_8_load_105 | 43 | 0.00056719 | 0.00014215 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6021-8_0_8_load_39 | 45 | 0.0025033 | 0.00062738 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6021-8_0_8_load_112 | 47 | 0.0076153 | 0.0019086 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6021-8_0_8_load_32 | 48 | 0.0070836 | 0.0017753 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6021-8_0_8_load_33 | 49 | 0.019184 | 0.0048079 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6021-8_0_8_load_35 | 50 | 0.0038559 | 0.00096639 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6021-8_0_8_load_38 | 51 | 0.0070173 | 0.0017587 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6021-8_0_8_load_100 | 52 | 0.0022937 | 0.00057486 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6021-8_0_8_load_101 | 53 | 0.021189 | 0.0053105 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6021-8_0_8_load_42 | 54 | 0.0039741 | 0.00099599 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6021-8_0_8_load_43 | 55 | 0.0053287 | 0.0013355 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6021-8_0_8_load_58 | 57 | 0.0043065 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6021-8_0_8_load_59 | 58 | 0.0026648 | 0.00066786 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6021-8_0_8_load_53 | 59 | 0.011495 | 0.002881 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6021-8_0_8_load_110 | 60 | 0.003302 | 0.00082757 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6021-8_0_8_load_47 | 61 | 0.0021499 | 0.00053882 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6021-8_0_8_load_60 | 64 | 0.0088571 | 0.0022198 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6021-8_0_8_load_57 | 65 | 0.0073481 | 0.0018416 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6021-8_0_8_load_49 | 66 | 0.007122 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6021-8_0_8_load_50 | 67 | 0.0072151 | 0.0018083 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6021-8_0_8_load_52 | 69 | 0.005056 | 0.0012671 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6021-8_0_8_load_54 | 70 | 0.0087419 | 0.0021909 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6021-8_0_8_load_55 | 71 | 0.0099005 | 0.0024813 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6021-8_0_8_load_99 | 72 | 0.0083388 | 0.0020899 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6021-8_0_8_load_98 | 73 | 0.0028374 | 0.00071112 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6021-8_0_8_load_61 | 74 | 0.0071605 | 0.0017946 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6021-8_0_8_load_63 | 75 | 0.0073275 | 0.0018365 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6021-8_0_8_load_65 | 76 | 0.0068228 | 0.0017099 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6021-8_0_8_load_67 | 78 | 0.0073211 | 0.0018348 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6021-8_0_8_load_68 | 79 | 0.0022268 | 0.00055809 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6021-8_0_8_load_69 | 80 | 0.011439 | 0.0028669 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6021-8_0_8_load_70 | 81 | 0.011782 | 0.0029528 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6021-8_0_8_load_71 | 82 | 0.013992 | 0.0035067 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6021-8_0_8_load_72 | 83 | 0.0044422 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6021-8_0_8_load_73 | 84 | 0.0055535 | 0.0013918 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6021-8_0_8_load_111 | 89 | 0.0028615 | 0.00071717 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6021-8_0_8_load_96 | 90 | 0.0065745 | 0.0016477 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6021-8_0_8_load_76 | 91 | 0.005286 | 0.0013248 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6021-8_0_8_load_77 | 92 | 0.0037635 | 0.00094322 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6021-8_0_8_load_78 | 93 | 0.0030636 | 0.00076781 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6021-8_0_8_load_79 | 94 | 0.0041982 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6021-8_0_8_load_80 | 95 | 0.0022959 | 0.0005754 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6021-8_0_8_load_86 | 96 | 0.0020523 | 0.00051435 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6021-8_0_8_load_91 | 97 | 0.0027597 | 0.00069165 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6021-8_0_8_load_81 | 98 | 0.0016887 | 0.00042323 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6021-8_0_8_load_84 | 101 | 0.0031281 | 0.00078398 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6021-8_0_8_load_109 | 102 | 0.0036974 | 0.00092665 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6021-8_0_8_load_108 | 103 | 0.0025006 | 0.00062672 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6021-8_0_8_load_87 | 104 | 0.02124 | 0.0053232 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6021-8_0_8_load_92 | 105 | 0.0075983 | 0.0019043 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6021-8_0_8_load_88 | 106 | 0.00037837 | 9.4828e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6021-8_0_8_load_103 | 107 | 0.00056762 | 0.00014226 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6021-8_0_8_load_97 | 108 | 0.0040405 | 0.0010126 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6021-8_0_8_load_104 | 109 | 0.00056792 | 0.00014233 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6021-8_0_8_load_106 | 110 | 0.00063963 | 0.00016031 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6021-8_0_8_line_0 |  | 0 | 1 | 0.014155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6021-8_0_8_line_1 |  | 0 | 2 | 0.027181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6021-8_0_8_line_2 |  | 1 | 3 | 0.010688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6021-8_0_8_line_3 |  | 2 | 4 | 0.022903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6021-8_0_8_line_4 |  | 3 | 5 | 0.02928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6021-8_0_8_line_5 |  | 3 | 6 | 0.022461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6021-8_0_8_line_6 |  | 4 | 7 | 0.0087489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6021-8_0_8_line_7 |  | 5 | 8 | 0.02305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6021-8_0_8_line_8 |  | 6 | 9 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6021-8_0_8_line_9 |  | 7 | 10 | 0.018002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6021-8_0_8_line_10 |  | 8 | 21 | 0.020475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6021-8_0_8_line_11 |  | 9 | 22 | 0.057455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6021-8_0_8_line_12 |  | 10 | 39 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6021-8_0_8_line_13 |  | 11 | 12 | 0.022705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6021-8_0_8_line_14 |  | 11 | 13 | 0.045636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6021-8_0_8_line_15 |  | 12 | 14 | 0.075294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6021-8_0_8_line_16 |  | 12 | 15 | 0.040856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6021-8_0_8_line_17 |  | 13 | 16 | 0.011811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6021-8_0_8_line_18 |  | 14 | 17 | 0.0034129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6021-8_0_8_line_19 |  | 15 | 18 | 0.0098052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6021-8_0_8_line_20 |  | 17 | 19 | 0.03071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6021-8_0_8_line_21 |  | 18 | 20 | 0.01363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6021-8_0_8_line_22 |  | 18 | 21 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6021-8_0_8_line_23 |  | 19 | 61 | 0.010671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6021-8_0_8_line_24 |  | 20 | 52 | 0.018671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6021-8_0_8_line_25 |  | 21 | 48 | 0.017909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6021-8_0_8_line_26 |  | 22 | 23 | 0.019156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6021-8_0_8_line_27 |  | 23 | 24 | 0.027671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6021-8_0_8_line_28 |  | 24 | 25 | 0.0064315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6021-8_0_8_line_29 |  | 25 | 26 | 0.025995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6021-8_0_8_line_30 |  | 27 | 28 | 0.007908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6021-8_0_8_line_31 |  | 27 | 29 | 0.033935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6021-8_0_8_line_32 |  | 28 | 30 | 0.078369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6021-8_0_8_line_33 |  | 29 | 31 | 0.0043343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6021-8_0_8_line_34 |  | 30 | 32 | 0.039536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6021-8_0_8_line_35 |  | 31 | 33 | 0.0054177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6021-8_0_8_line_36 |  | 31 | 34 | 0.016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6021-8_0_8_line_37 |  | 32 | 35 | 0.029314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6021-8_0_8_line_38 |  | 33 | 36 | 0.054907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6021-8_0_8_line_39 |  | 34 | 37 | 0.10195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6021-8_0_8_line_40 |  | 35 | 38 | 0.002049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6021-8_0_8_line_41 |  | 36 | 46 | 0.054245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6021-8_0_8_line_42 |  | 37 | 40 | 0.049809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6021-8_0_8_line_43 |  | 38 | 105 | 0.047349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6021-8_0_8_line_44 |  | 39 | 65 | 0.0023653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6021-8_0_8_line_45 |  | 40 | 41 | 0.001312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6021-8_0_8_line_46 |  | 40 | 42 | 0.063841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6021-8_0_8_line_47 |  | 41 | 43 | 0.015379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6021-8_0_8_line_48 |  | 41 | 44 | 0.056461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6021-8_0_8_line_49 |  | 42 | 45 | 0.0018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6021-8_0_8_line_50 |  | 43 | 107 | 0.015715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6021-8_0_8_line_51 |  | 44 | 104 | 0.053963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6021-8_0_8_line_52 |  | 44 | 101 | 0.022786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6021-8_0_8_line_53 |  | 46 | 47 | 0.002898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6021-8_0_8_line_54 |  | 48 | 49 | 0.037443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6021-8_0_8_line_55 |  | 49 | 50 | 0.031608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6021-8_0_8_line_56 |  | 50 | 51 | 0.026565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6021-8_0_8_line_57 |  | 52 | 53 | 0.005923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6021-8_0_8_line_58 |  | 54 | 55 | 0.0456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6021-8_0_8_line_59 |  | 55 | 56 | 0.030731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6021-8_0_8_line_60 |  | 56 | 57 | 0.019107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6021-8_0_8_line_61 |  | 56 | 58 | 0.0042659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6021-8_0_8_line_62 |  | 57 | 59 | 0.0012039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6021-8_0_8_line_63 |  | 58 | 60 | 0.0012746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6021-8_0_8_line_64 |  | 59 | 68 | 0.029231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6021-8_0_8_line_65 |  | 60 | 73 | 0.020329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6021-8_0_8_line_66 |  | 61 | 62 | 0.002851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6021-8_0_8_line_67 |  | 62 | 63 | 0.011093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6021-8_0_8_line_68 |  | 62 | 64 | 0.017847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6021-8_0_8_line_69 |  | 63 | 76 | 0.036423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6021-8_0_8_line_70 |  | 64 | 74 | 0.0010544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6021-8_0_8_line_71 |  | 65 | 72 | 0.029911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6021-8_0_8_line_72 |  | 66 | 67 | 0.00059651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6021-8_0_8_line_73 |  | 66 | 68 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6021-8_0_8_line_74 |  | 67 | 69 | 0.031942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6021-8_0_8_line_75 |  | 68 | 70 | 0.00010608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_6021-8_0_8_line_76 |  | 69 | 71 | 0.025127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6021-8_0_8_line_77 |  | 70 | 72 | 0.0018005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6021-8_0_8_line_78 |  | 73 | 108 | 0.00021201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_6021-8_0_8_line_79 |  | 74 | 75 | 0.047296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6021-8_0_8_line_80 |  | 76 | 77 | 0.0066583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6021-8_0_8_line_81 |  | 77 | 78 | 0.015842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6021-8_0_8_line_82 |  | 77 | 79 | 0.016828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6021-8_0_8_line_83 |  | 78 | 80 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6021-8_0_8_line_84 |  | 80 | 81 | 0.023826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6021-8_0_8_line_85 |  | 82 | 83 | 0.025267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_6021-8_0_8_line_86 |  | 82 | 84 | 0.034863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_6021-8_0_8_line_87 |  | 83 | 85 | 0.018415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6021-8_0_8_line_88 |  | 84 | 86 | 0.042867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6021-8_0_8_line_89 |  | 85 | 87 | 0.008597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_6021-8_0_8_line_90 |  | 86 | 88 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_6021-8_0_8_line_91 |  | 87 | 89 | 0.052447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_6021-8_0_8_line_92 |  | 88 | 90 | 0.020202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_6021-8_0_8_line_93 |  | 89 | 95 | 0.021651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_6021-8_0_8_line_94 |  | 90 | 108 | 0.026038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_6021-8_0_8_line_95 |  | 91 | 92 | 0.022177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_6021-8_0_8_line_96 |  | 91 | 93 | 0.020264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_6021-8_0_8_line_97 |  | 92 | 94 | 0.0047384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_6021-8_0_8_line_98 |  | 93 | 95 | 0.0036361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_6021-8_0_8_line_99 |  | 94 | 96 | 0.015465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_6021-8_0_8_line_100 |  | 96 | 97 | 0.0023064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_6021-8_0_8_line_101 |  | 97 | 105 | 0.0017113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_6021-8_0_8_line_102 |  | 98 | 99 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6021-8_0_8_line_103 |  | 99 | 100 | 0.00199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6021-8_0_8_line_104 |  | 99 | 101 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6021-8_0_8_line_105 |  | 100 | 102 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6021-8_0_8_line_106 |  | 100 | 103 | 0.023906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6021-8_0_8_line_107 |  | 104 | 106 | 0.077091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6021-8_0_8_line_108 |  | 107 | 109 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6021-8_0_8_line_109 |  | 109 | 110 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6021-8_0_8_trafo_4 | 0.63 MVA 20/0.4 kV | 111 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2586436.6968 | 1117427.2971 | 2586448.3997 | 1117435.2606
1 | 2586436.6968 | 1117427.2971 | 2586419.7693 | 1117415.7784 | 2586414.2255 | 1117412.0057
2 | 2586457.2357 | 1117441.2733 | 2586448.3997 | 1117435.2606
3 | 2586395.2909 | 1117399.12 | 2586414.2255 | 1117412.0057
4 | 2586457.2357 | 1117441.2733 | 2586441.7257 | 1117466.1074
5 | 2586457.2357 | 1117441.2733 | 2586476.073 | 1117453.5073
6 | 2586395.2909 | 1117399.12 | 2586388.0581 | 1117394.1978
7 | 2586441.7257 | 1117466.1074 | 2586429.5154 | 1117485.6579
8 | 2586476.073 | 1117453.5073 | 2586491.9609 | 1117463.8258
9 | 2586373.1755 | 1117384.0697 | 2586388.0581 | 1117394.1978
10 | 2586418.6696 | 1117503.0239 | 2586429.5154 | 1117485.6579
11 | 2586539.3837 | 1117496.2542 | 2586502.5752 | 1117470.7193 | 2586491.9609 | 1117463.8258
12 | 2586373.1755 | 1117384.0697 | 2586360.3565 | 1117375.3459
13 | 2586383.5681 | 1117557.2966 | 2586401.6548 | 1117571.0221
14 | 2586438.0868 | 1117598.505 | 2586411.3766 | 1117578.3997 | 2586401.6548 | 1117571.0221
15 | 2586383.5681 | 1117557.2966 | 2586351.8582 | 1117534.6016 | 2586322.9586 | 1117512.4118
16 | 2586383.5681 | 1117557.2966 | 2586405.6045 | 1117522.8927
17 | 2586438.0868 | 1117598.505 | 2586447.5257 | 1117605.6048
18 | 2586322.9586 | 1117512.4118 | 2586320.2098 | 1117510.3889
19 | 2586410.8931 | 1117514.6361 | 2586405.6045 | 1117522.8927
20 | 2586295.4756 | 1117492.1865 | 2586320.2098 | 1117510.3889
21 | 2586410.8931 | 1117514.6361 | 2586399.9789 | 1117506.4709
22 | 2586418.6696 | 1117503.0239 | 2586410.8931 | 1117514.6361
23 | 2586295.4756 | 1117492.1865 | 2586286.8794 | 1117485.8634
24 | 2586385.029 | 1117495.2865 | 2586399.9789 | 1117506.4709
25 | 2586418.6696 | 1117503.0239 | 2586433.2228 | 1117513.4612
26 | 2586539.3837 | 1117496.2542 | 2586555.1233 | 1117507.173
27 | 2586577.859 | 1117522.9453 | 2586555.1233 | 1117507.173
28 | 2586583.1435 | 1117526.6112 | 2586577.859 | 1117522.9453
29 | 2586583.1435 | 1117526.6112 | 2586567.8379 | 1117547.622
30 | 2586570.1338 | 1117396.9708 | 2586564.0794 | 1117391.8835
31 | 2586596.1152 | 1117418.8016 | 2586570.1338 | 1117396.9708
32 | 2586503.4493 | 1117342.2329 | 2586519.0028 | 1117355.3034 | 2586558.0803 | 1117386.8427 | 2586564.0794 | 1117391.8835
33 | 2586599.4335 | 1117421.5899 | 2586596.1152 | 1117418.8016
34 | 2586503.4493 | 1117342.2329 | 2586473.1815 | 1117316.797
35 | 2586599.4335 | 1117421.5899 | 2586603.6353 | 1117425.01
36 | 2586599.4335 | 1117421.5899 | 2586609.2043 | 1117408.0905
37 | 2586473.1815 | 1117316.797 | 2586458.5256 | 1117304.4808 | 2586450.6207 | 1117298.0821
38 | 2586646.2194 | 1117459.6714 | 2586603.6353 | 1117425.01
39 | 2586668.8597 | 1117325.4217 | 2586641.4294 | 1117363.568 | 2586609.2043 | 1117408.0905
40 | 2586449.0281 | 1117296.793 | 2586450.6207 | 1117298.0821
41 | 2586646.2194 | 1117459.6714 | 2586631.9015 | 1117479.9909 | 2586615.1379 | 1117504.129
42 | 2586668.8597 | 1117325.4217 | 2586651.4011 | 1117311.3535 | 2586630.7766 | 1117293.2125
43 | 2586412.2251 | 1117267.0027 | 2586449.0281 | 1117296.793
44 | 2586358.401 | 1117374.0151 | 2586360.3565 | 1117375.3459
45 | 2586630.7766 | 1117293.2125 | 2586629.7867 | 1117292.3476
46 | 2586630.7766 | 1117293.2125 | 2586605.616 | 1117328.1412 | 2586593.0719 | 1117344.7248
47 | 2586629.7867 | 1117292.3476 | 2586633.5188 | 1117287.3035 | 2586639.1666 | 1117280.1632
48 | 2586586.9153 | 1117255.4804 | 2586603.0606 | 1117268.8399 | 2586629.7867 | 1117292.3476
49 | 2586591.9606 | 1117346.194 | 2586593.0719 | 1117344.7248
50 | 2586648.9154 | 1117267.8379 | 2586639.1666 | 1117280.1632
51 | 2586586.9153 | 1117255.4804 | 2586568.5121 | 1117240.2695 | 2586557.7871 | 1117231.4001 | 2586545.7239 | 1117220.6315
52 | 2586586.9153 | 1117255.4804 | 2586573.7743 | 1117274.095
53 | 2586612.7571 | 1117502.4668 | 2586615.1379 | 1117504.129
54 | 2586433.2228 | 1117513.4612 | 2586463.6493 | 1117535.2826
55 | 2586489.3342 | 1117553.7033 | 2586463.6493 | 1117535.2826
56 | 2586489.3342 | 1117553.7033 | 2586510.9217 | 1117569.1855
57 | 2586380.2863 | 1117491.7384 | 2586385.029 | 1117495.2865
58 | 2586262.809 | 1117393.7093 | 2586263.3669 | 1117393.1109 | 2586266.0376 | 1117389.8254 | 2586266.5161 | 1117386.4337 | 2586266.018 | 1117381.2323 | 2586263.7003 | 1117376.8688 | 2586262.7176 | 1117372.391 | 2586262.8234 | 1117368.022 | 2586265.0048 | 1117363.4147 | 2586272.7026 | 1117353.0582
59 | 2586291.0352 | 1117328.3937 | 2586272.7026 | 1117353.0582
60 | 2586291.0352 | 1117328.3937 | 2586306.8717 | 1117339.0849
61 | 2586291.0352 | 1117328.3937 | 2586287.4879 | 1117326.0242
62 | 2586306.8717 | 1117339.0849 | 2586307.8695 | 1117339.7585
63 | 2586287.4879 | 1117326.0242 | 2586286.428 | 1117325.3162
64 | 2586332.0966 | 1117356.1141 | 2586307.8695 | 1117339.7585
65 | 2586286.428 | 1117325.3162 | 2586269.5237 | 1117314.0244
66 | 2586284.5828 | 1117484.1741 | 2586286.8794 | 1117485.8634
67 | 2586284.5828 | 1117484.1741 | 2586275.5074 | 1117477.7582
68 | 2586284.5828 | 1117484.1741 | 2586294.3689 | 1117469.2489
69 | 2586275.5074 | 1117477.7582 | 2586245.7573 | 1117456.7454
70 | 2586294.3689 | 1117469.2489 | 2586294.9471 | 1117468.3672
71 | 2586358.401 | 1117374.0151 | 2586333.6728 | 1117357.1867
72 | 2586322.784 | 1117370.3531 | 2586323.1105 | 1117369.8539
73 | 2586332.0966 | 1117356.1141 | 2586323.1105 | 1117369.8539
74 | 2586305.3002 | 1117397.0858 | 2586322.784 | 1117370.3531
75 | 2586332.0966 | 1117356.1141 | 2586332.1843 | 1117356.1737
76 | 2586305.3002 | 1117397.0858 | 2586301.9083 | 1117402.2721 | 2586302.564 | 1117408.9183 | 2586312.3562 | 1117416.2806
77 | 2586333.6728 | 1117357.1867 | 2586332.1843 | 1117356.1737
78 | 2586269.3474 | 1117313.9067 | 2586269.5237 | 1117314.0244
79 | 2586327.1475 | 1117440.2556 | 2586313.271 | 1117440.4206 | 2586294.9471 | 1117468.3672
80 | 2586240.3187 | 1117452.9041 | 2586245.7573 | 1117456.7454
81 | 2586240.3187 | 1117452.9041 | 2586248.7078 | 1117439.4653
82 | 2586240.3187 | 1117452.9041 | 2586227.3532 | 1117442.1765
83 | 2586248.7078 | 1117439.4653 | 2586254.18 | 1117430.6992
84 | 2586270.0109 | 1117423.0438 | 2586261.8271 | 1117418.4491 | 2586254.18 | 1117430.6992
85 | 2586269.8951 | 1117213.3998 | 2586283.2358 | 1117191.9422
86 | 2586269.8951 | 1117213.3998 | 2586251.4878 | 1117243.0069
87 | 2586292.8498 | 1117176.2368 | 2586290.128 | 1117180.8564 | 2586283.2358 | 1117191.9422
88 | 2586228.8543 | 1117279.4115 | 2586251.4878 | 1117243.0069
89 | 2586300.6356 | 1117175.3742 | 2586299.3415 | 1117176.5111 | 2586297.7685 | 1117177.2039 | 2586296.0555 | 1117177.3968 | 2586294.3567 | 1117177.0671 | 2586292.8498 | 1117176.2368
90 | 2586228.8543 | 1117279.4115 | 2586230.4548 | 1117280.6751 | 2586231.5547 | 1117282.3845 | 2586232.0146 | 1117284.3733 | 2586231.7877 | 1117286.3971 | 2586230.8966 | 1117288.2222
91 | 2586300.6356 | 1117175.3742 | 2586333.0144 | 1117202.8475 | 2586340.7879 | 1117209.1116
92 | 2586230.8966 | 1117288.2222 | 2586247.6956 | 1117299.4437
93 | 2586340.7879 | 1117209.1116 | 2586357.6468 | 1117222.6967
94 | 2586247.6956 | 1117299.4437 | 2586269.3474 | 1117313.9067
95 | 2586376.2048 | 1117237.7573 | 2586391.309 | 1117250.0721 | 2586393.3991 | 1117251.7639
96 | 2586376.2048 | 1117237.7573 | 2586365.0263 | 1117228.6433 | 2586360.4781 | 1117224.9782
97 | 2586393.3991 | 1117251.7639 | 2586397.0821 | 1117254.7452
98 | 2586360.4781 | 1117224.9782 | 2586357.6468 | 1117222.6967
99 | 2586397.0821 | 1117254.7452 | 2586409.1023 | 1117264.4749
100 | 2586410.8949 | 1117265.926 | 2586409.1023 | 1117264.4749
101 | 2586410.8949 | 1117265.926 | 2586412.2251 | 1117267.0027
102 | 2586565.0955 | 1117286.3887 | 2586574.6547 | 1117294.1613
103 | 2586565.0955 | 1117286.3887 | 2586564.4437 | 1117288.2689
104 | 2586565.0955 | 1117286.3887 | 2586573.7743 | 1117274.095
105 | 2586550.5315 | 1117296.793 | 2586559.0357 | 1117292.8054 | 2586564.4437 | 1117288.2689
106 | 2586564.4437 | 1117288.2689 | 2586563.5541 | 1117290.8388 | 2586561.5493 | 1117298.5915 | 2586558.1805 | 1117303.8461 | 2586554.29 | 1117309.5895
107 | 2586545.7239 | 1117220.6315 | 2586524.1611 | 1117201.3827 | 2586488.2202 | 1117169.2868
108 | 2586648.9154 | 1117267.8379 | 2586653.399 | 1117262.1693 | 2586659.7428 | 1117254.426
109 | 2586659.7428 | 1117254.426 | 2586670.4849 | 1117241.314

## bus_geodata
| x | y | coords
0 | 2586436.6968 | 1117427.2971
1 | 2586448.3997 | 1117435.2606
2 | 2586414.2255 | 1117412.0057
3 | 2586457.2357 | 1117441.2733
4 | 2586395.2909 | 1117399.12
5 | 2586441.7257 | 1117466.1074
6 | 2586476.073 | 1117453.5073
7 | 2586388.0581 | 1117394.1978
8 | 2586429.5154 | 1117485.6579
9 | 2586491.9609 | 1117463.8258
10 | 2586373.1755 | 1117384.0697
11 | 2586401.6548 | 1117571.0221
12 | 2586383.5681 | 1117557.2966
13 | 2586438.0868 | 1117598.505
14 | 2586322.9586 | 1117512.4118
15 | 2586405.6045 | 1117522.8927
16 | 2586447.5257 | 1117605.6048
17 | 2586320.2098 | 1117510.3889
18 | 2586410.8931 | 1117514.6361
19 | 2586295.4756 | 1117492.1865
20 | 2586399.9789 | 1117506.4709
21 | 2586418.6696 | 1117503.0239
22 | 2586539.3837 | 1117496.2542
23 | 2586555.1233 | 1117507.173
24 | 2586577.859 | 1117522.9453
25 | 2586583.1435 | 1117526.6112
26 | 2586567.8379 | 1117547.622
27 | 2586570.1338 | 1117396.9708
28 | 2586564.0794 | 1117391.8835
29 | 2586596.1152 | 1117418.8016
30 | 2586503.4493 | 1117342.2329
31 | 2586599.4335 | 1117421.5899
32 | 2586473.1815 | 1117316.797
33 | 2586603.6353 | 1117425.01
34 | 2586609.2043 | 1117408.0905
35 | 2586450.6207 | 1117298.0821
36 | 2586646.2194 | 1117459.6714
37 | 2586668.8597 | 1117325.4217
38 | 2586449.0281 | 1117296.793
39 | 2586360.3565 | 1117375.3459
40 | 2586630.7766 | 1117293.2125
41 | 2586629.7867 | 1117292.3476
42 | 2586593.0719 | 1117344.7248
43 | 2586639.1666 | 1117280.1632
44 | 2586586.9153 | 1117255.4804
45 | 2586591.9606 | 1117346.194
46 | 2586615.1379 | 1117504.129
47 | 2586612.7571 | 1117502.4668
48 | 2586433.2228 | 1117513.4612
49 | 2586463.6493 | 1117535.2826
50 | 2586489.3342 | 1117553.7033
51 | 2586510.9217 | 1117569.1855
52 | 2586385.029 | 1117495.2865
53 | 2586380.2863 | 1117491.7384
54 | 2586262.809 | 1117393.7093
55 | 2586272.7026 | 1117353.0582
56 | 2586291.0352 | 1117328.3937
57 | 2586306.8717 | 1117339.0849
58 | 2586287.4879 | 1117326.0242
59 | 2586307.8695 | 1117339.7585
60 | 2586286.428 | 1117325.3162
61 | 2586286.8794 | 1117485.8634
62 | 2586284.5828 | 1117484.1741
63 | 2586275.5074 | 1117477.7582
64 | 2586294.3689 | 1117469.2489
65 | 2586358.401 | 1117374.0151
66 | 2586323.1105 | 1117369.8539
67 | 2586322.784 | 1117370.3531
68 | 2586332.0966 | 1117356.1141
69 | 2586305.3002 | 1117397.0858
70 | 2586332.1843 | 1117356.1737
71 | 2586312.3562 | 1117416.2806
72 | 2586333.6728 | 1117357.1867
73 | 2586269.5237 | 1117314.0244
74 | 2586294.9471 | 1117468.3672
75 | 2586327.1475 | 1117440.2556
76 | 2586245.7573 | 1117456.7454
77 | 2586240.3187 | 1117452.9041
78 | 2586248.7078 | 1117439.4653
79 | 2586227.3532 | 1117442.1765
80 | 2586254.18 | 1117430.6992
81 | 2586270.0109 | 1117423.0438
82 | 2586269.8951 | 1117213.3998
83 | 2586283.2358 | 1117191.9422
84 | 2586251.4878 | 1117243.0069
85 | 2586292.8498 | 1117176.2368
86 | 2586228.8543 | 1117279.4115
87 | 2586300.6356 | 1117175.3742
88 | 2586230.8966 | 1117288.2222
89 | 2586340.7879 | 1117209.1116
90 | 2586247.6956 | 1117299.4437
91 | 2586376.2048 | 1117237.7573
92 | 2586393.399 | 1117251.7639
93 | 2586360.4781 | 1117224.9782
94 | 2586397.0821 | 1117254.7452
95 | 2586357.6468 | 1117222.6967
96 | 2586409.1023 | 1117264.4749
97 | 2586410.8949 | 1117265.926
98 | 2586574.6547 | 1117294.1613
99 | 2586565.0955 | 1117286.3887
100 | 2586564.4437 | 1117288.2689
101 | 2586573.7743 | 1117274.095
102 | 2586550.5315 | 1117296.793
103 | 2586554.29 | 1117309.5895
104 | 2586545.7239 | 1117220.6315
105 | 2586412.2251 | 1117267.0027
106 | 2586488.2202 | 1117169.2868
107 | 2586648.9154 | 1117267.8379
108 | 2586269.3474 | 1117313.9067
109 | 2586659.7428 | 1117254.426
110 | 2586670.4849 | 1117241.314
111 | 2586457.2357 | 1117441.2733

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1