## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6021-9_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6021-9_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6021-9_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6021-9_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6021-9_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6021-9_0_7_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6021-9_0_7_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6021-9_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6021-9_0_7_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_6021-9_0_7_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_6021-9_0_7_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_6021-9_0_7_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_6021-9_0_7_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_6021-9_0_7_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_6021-9_0_7_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_6021-9_0_7_node_99 | 0.4 | n |  | TRUE
16 | bus_LV_6021-9_0_7_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6021-9_0_7_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_6021-9_0_7_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6021-9_0_7_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_6021-9_0_7_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_6021-9_0_7_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_6021-9_0_7_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_6021-9_0_7_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_6021-9_0_7_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_6021-9_0_7_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_6021-9_0_7_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_6021-9_0_7_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_6021-9_0_7_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_6021-9_0_7_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6021-9_0_7_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_6021-9_0_7_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6021-9_0_7_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6021-9_0_7_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6021-9_0_7_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6021-9_0_7_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_6021-9_0_7_node_103 | 0.4 | n |  | TRUE
37 | bus_LV_6021-9_0_7_node_104 | 0.4 | n |  | TRUE
38 | bus_LV_6021-9_0_7_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_6021-9_0_7_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_6021-9_0_7_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_6021-9_0_7_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6021-9_0_7_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_6021-9_0_7_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_6021-9_0_7_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_6021-9_0_7_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_6021-9_0_7_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_6021-9_0_7_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_6021-9_0_7_node_114 | 0.4 | n |  | TRUE
49 | bus_LV_6021-9_0_7_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_6021-9_0_7_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_6021-9_0_7_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6021-9_0_7_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_6021-9_0_7_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6021-9_0_7_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6021-9_0_7_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6021-9_0_7_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6021-9_0_7_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6021-9_0_7_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_6021-9_0_7_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_6021-9_0_7_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_6021-9_0_7_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_6021-9_0_7_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_6021-9_0_7_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_6021-9_0_7_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_6021-9_0_7_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_6021-9_0_7_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_6021-9_0_7_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_6021-9_0_7_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_6021-9_0_7_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_6021-9_0_7_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_6021-9_0_7_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_6021-9_0_7_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_6021-9_0_7_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_6021-9_0_7_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_6021-9_0_7_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_6021-9_0_7_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_6021-9_0_7_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_6021-9_0_7_node_109 | 0.4 | n |  | TRUE
79 | bus_LV_6021-9_0_7_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_6021-9_0_7_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_6021-9_0_7_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_6021-9_0_7_node_47 | 0.4 | n |  | TRUE
83 | bus_LV_6021-9_0_7_node_48 | 0.4 | n |  | TRUE
84 | bus_LV_6021-9_0_7_node_49 | 0.4 | n |  | TRUE
85 | bus_LV_6021-9_0_7_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_6021-9_0_7_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_6021-9_0_7_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_6021-9_0_7_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_6021-9_0_7_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_6021-9_0_7_node_58 | 0.4 | n |  | TRUE
91 | bus_LV_6021-9_0_7_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_6021-9_0_7_node_100 | 0.4 | n |  | TRUE
93 | bus_LV_6021-9_0_7_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_6021-9_0_7_node_63 | 0.4 | n |  | TRUE
95 | bus_LV_6021-9_0_7_node_64 | 0.4 | n |  | TRUE
96 | bus_LV_6021-9_0_7_node_66 | 0.4 | n |  | TRUE
97 | bus_LV_6021-9_0_7_node_69 | 0.4 | n |  | TRUE
98 | bus_LV_6021-9_0_7_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_6021-9_0_7_node_73 | 0.4 | n |  | TRUE
100 | bus_LV_6021-9_0_7_node_74 | 0.4 | n |  | TRUE
101 | bus_LV_6021-9_0_7_node_75 | 0.4 | n |  | TRUE
102 | bus_LV_6021-9_0_7_node_77 | 0.4 | n |  | TRUE
103 | bus_LV_6021-9_0_7_node_78 | 0.4 | n |  | TRUE
104 | bus_LV_6021-9_0_7_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_6021-9_0_7_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_6021-9_0_7_node_84 | 0.4 | n |  | TRUE
107 | bus_LV_6021-9_0_7_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_6021-9_0_7_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_6021-9_0_7_node_108 | 0.4 | n |  | TRUE
110 | bus_LV_6021-9_0_7_node_107 | 0.4 | n |  | TRUE
111 | bus_LV_6021-9_0_7_node_113 | 0.4 | n |  | TRUE
112 | bus_MV_91_1_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6021-9_0_7_load_0 | 0 | 0.01917 | 0.0048046 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6021-9_0_7_load_1 | 1 | 0.0051459 | 0.0012897 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6021-9_0_7_load_2 | 2 | 0.0065685 | 0.0016462 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6021-9_0_7_load_3 | 3 | 0.01251 | 0.0031353 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6021-9_0_7_load_4 | 4 | 0.0040875 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6021-9_0_7_load_6 | 5 | 0.0021274 | 0.00053317 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6021-9_0_7_load_8 | 6 | 0.0030962 | 0.00077599 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6021-9_0_7_load_5 | 7 | 0.0063335 | 0.0015873 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6021-9_0_7_load_68 | 8 | 0.0045735 | 0.0011462 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6021-9_0_7_load_23 | 9 | 0.0082849 | 0.0020764 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6021-9_0_7_load_21 | 10 | 0.01017 | 0.0025488 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6021-9_0_7_load_44 | 11 | 0.0047101 | 0.0011805 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6021-9_0_7_load_45 | 12 | 0.0039894 | 0.00099983 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6021-9_0_7_load_43 | 13 | 0.019236 | 0.0048211 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6021-9_0_7_load_98 | 14 | 0.0047076 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6021-9_0_7_load_99 | 15 | 0.0034517 | 0.00086507 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6021-9_0_7_load_17 | 18 | 0.0065015 | 0.0016294 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6021-9_0_7_load_18 | 19 | 0.0042651 | 0.0010689 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6021-9_0_7_load_59 | 21 | 0.0084847 | 0.0021265 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6021-9_0_7_load_7 | 22 | 0.0069601 | 0.0017444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6021-9_0_7_load_9 | 23 | 0.012063 | 0.0030232 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6021-9_0_7_load_10 | 24 | 0.016526 | 0.0041418 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6021-9_0_7_load_12 | 26 | 0.012058 | 0.0030221 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6021-9_0_7_load_13 | 27 | 0.0035614 | 0.00089257 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6021-9_0_7_load_14 | 28 | 0.017562 | 0.0044016 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6021-9_0_7_load_25 | 32 | 0.005116 | 0.0012822 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6021-9_0_7_load_28 | 33 | 0.010467 | 0.0026233 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6021-9_0_7_load_52 | 35 | 0.003082 | 0.00077242 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6021-9_0_7_load_103 | 36 | 0.0064093 | 0.0016063 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6021-9_0_7_load_104 | 37 | 0.010618 | 0.002661 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6021-9_0_7_load_102 | 38 | 0.0045709 | 0.0011456 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6021-9_0_7_load_19 | 39 | 0.032095 | 0.0080438 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6021-9_0_7_load_20 | 40 | 0.012001 | 0.0030077 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6021-9_0_7_load_22 | 41 | 0.0083457 | 0.0020916 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6021-9_0_7_load_81 | 42 | 0.02027 | 0.0050801 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6021-9_0_7_load_80 | 43 | 0.0035888 | 0.00089944 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6021-9_0_7_load_56 | 44 | 0.0055586 | 0.0013931 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6021-9_0_7_load_57 | 45 | 0.0075015 | 0.0018801 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6021-9_0_7_load_24 | 46 | 0.01027 | 0.0025739 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6021-9_0_7_load_67 | 47 | 0.010541 | 0.0026418 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6021-9_0_7_load_114 | 48 | 0.0094957 | 0.0023798 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6021-9_0_7_load_97 | 50 | 0.0067301 | 0.0016867 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6021-9_0_7_load_51 | 51 | 0.0089096 | 0.0022329 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6021-9_0_7_load_30 | 53 | 0.0047281 | 0.001185 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6021-9_0_7_load_31 | 54 | 0.0026854 | 0.00067303 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6021-9_0_7_load_32 | 55 | 0.010043 | 0.0025171 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6021-9_0_7_load_34 | 57 | 0.0033599 | 0.00084207 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6021-9_0_7_load_72 | 58 | 0.00056762 | 0.00014226 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6021-9_0_7_load_111 | 59 | 0.00056762 | 0.00014226 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6021-9_0_7_load_62 | 60 | 0.0049701 | 0.0012456 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6021-9_0_7_load_70 | 61 | 0.00056766 | 0.00014227 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6021-9_0_7_load_54 | 63 | 0.0079758 | 0.0019989 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6021-9_0_7_load_35 | 64 | 0.0080281 | 0.002012 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6021-9_0_7_load_38 | 67 | 0.0080332 | 0.0020133 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6021-9_0_7_load_41 | 70 | 0.0080293 | 0.0020123 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6021-9_0_7_load_42 | 71 | 0.0037201 | 0.00093235 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6021-9_0_7_load_82 | 72 | 0.010206 | 0.0025578 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6021-9_0_7_load_83 | 73 | 0.0020378 | 0.00051071 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6021-9_0_7_load_92 | 75 | 0.0085913 | 0.0021532 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6021-9_0_7_load_46 | 76 | 0.0080293 | 0.0020123 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6021-9_0_7_load_50 | 77 | 0.0017187 | 0.00043074 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6021-9_0_7_load_109 | 78 | 0.0049328 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6021-9_0_7_load_91 | 79 | 0.0043669 | 0.0010944 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6021-9_0_7_load_95 | 80 | 0.01104 | 0.0027668 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6021-9_0_7_load_47 | 82 | 0.0080281 | 0.002012 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6021-9_0_7_load_48 | 83 | 0.015473 | 0.003878 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6021-9_0_7_load_49 | 84 | 0.0080332 | 0.0020133 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6021-9_0_7_load_55 | 86 | 0.0028356 | 0.00071067 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6021-9_0_7_load_96 | 88 | 0.0065748 | 0.0016478 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6021-9_0_7_load_79 | 91 | 0.004178 | 0.0010471 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6021-9_0_7_load_100 | 92 | 0.0082661 | 0.0020717 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6021-9_0_7_load_63 | 94 | 0.0061168 | 0.001533 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6021-9_0_7_load_64 | 95 | 0.011187 | 0.0028036 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6021-9_0_7_load_66 | 96 | 0.0034961 | 0.0008762 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6021-9_0_7_load_69 | 97 | 0.0034832 | 0.00087298 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6021-9_0_7_load_73 | 99 | 0.0037383 | 0.0009369 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6021-9_0_7_load_74 | 100 | 0.0026413 | 0.00066198 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6021-9_0_7_load_75 | 101 | 0.00071909 | 0.00018022 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6021-9_0_7_load_78 | 103 | 0.010767 | 0.0026986 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6021-9_0_7_load_94 | 104 | 0.0030674 | 0.00076875 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6021-9_0_7_load_93 | 105 | 0.0042883 | 0.0010747 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6021-9_0_7_load_85 | 107 | 0.0021874 | 0.0005482 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6021-9_0_7_load_87 | 108 | 0.0022257 | 0.00055782 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6021-9_0_7_load_108 | 109 | 0.0034728 | 0.00087037 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6021-9_0_7_load_113 | 111 | 0.002819 | 0.00070651 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6021-9_0_7_line_0 |  | 0 | 1 | 0.0010617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6021-9_0_7_line_1 |  | 0 | 2 | 0.028634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6021-9_0_7_line_2 |  | 2 | 3 | 0.044606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6021-9_0_7_line_3 |  | 2 | 4 | 0.033307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6021-9_0_7_line_4 |  | 3 | 16 | 0.02961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6021-9_0_7_line_5 |  | 4 | 17 | 0.0016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6021-9_0_7_line_6 |  | 5 | 6 | 0.0021564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6021-9_0_7_line_7 |  | 5 | 7 | 0.040991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6021-9_0_7_line_8 |  | 6 | 8 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6021-9_0_7_line_9 |  | 7 | 22 | 0.050511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6021-9_0_7_line_10 |  | 8 | 9 | 0.013874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6021-9_0_7_line_11 |  | 9 | 10 | 0.031706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6021-9_0_7_line_12 |  | 10 | 39 | 0.0055419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6021-9_0_7_line_13 |  | 11 | 12 | 0.029836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6021-9_0_7_line_14 |  | 11 | 13 | 0.05991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6021-9_0_7_line_15 |  | 12 | 14 | 0.032522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6021-9_0_7_line_16 |  | 13 | 69 | 0.066899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6021-9_0_7_line_17 |  | 14 | 15 | 0.022735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6021-9_0_7_line_18 |  | 16 | 18 | 0.023368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6021-9_0_7_line_19 |  | 16 | 19 | 0.036809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6021-9_0_7_line_20 |  | 17 | 20 | 0.018659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6021-9_0_7_line_21 |  | 17 | 21 | 0.023231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6021-9_0_7_line_22 |  | 18 | 38 | 0.0042625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6021-9_0_7_line_23 |  | 20 | 91 | 0.0078142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6021-9_0_7_line_24 |  | 20 | 92 | 0.018481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6021-9_0_7_line_25 |  | 23 | 24 | 0.011286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6021-9_0_7_line_26 |  | 23 | 25 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6021-9_0_7_line_27 |  | 24 | 26 | 0.037949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6021-9_0_7_line_28 |  | 25 | 27 | 0.0095089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6021-9_0_7_line_29 |  | 26 | 28 | 0.0049604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6021-9_0_7_line_30 |  | 27 | 29 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6021-9_0_7_line_31 |  | 28 | 30 | 0.029996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6021-9_0_7_line_32 |  | 29 | 31 | 0.024837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6021-9_0_7_line_33 |  | 29 | 32 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6021-9_0_7_line_34 |  | 30 | 33 | 0.047422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6021-9_0_7_line_35 |  | 30 | 34 | 0.03679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6021-9_0_7_line_36 |  | 31 | 47 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6021-9_0_7_line_37 |  | 31 | 48 | 0.004309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6021-9_0_7_line_38 |  | 32 | 46 | 0.03143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6021-9_0_7_line_39 |  | 33 | 35 | 0.060531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6021-9_0_7_line_40 |  | 34 | 36 | 0.023457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6021-9_0_7_line_41 |  | 34 | 37 | 0.02318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6021-9_0_7_line_42 |  | 34 | 38 | 0.043152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6021-9_0_7_line_43 |  | 35 | 51 | 0.012099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6021-9_0_7_line_44 |  | 37 | 52 | 0.04813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6021-9_0_7_line_45 |  | 39 | 40 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6021-9_0_7_line_46 |  | 40 | 41 | 0.035518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6021-9_0_7_line_47 |  | 40 | 42 | 0.055102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6021-9_0_7_line_48 |  | 41 | 44 | 0.026081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6021-9_0_7_line_49 |  | 42 | 43 | 0.0048332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6021-9_0_7_line_50 |  | 43 | 103 | 0.017966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6021-9_0_7_line_51 |  | 44 | 45 | 0.027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6021-9_0_7_line_52 |  | 45 | 90 | 0.070205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6021-9_0_7_line_53 |  | 47 | 49 | 0.049728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6021-9_0_7_line_54 |  | 48 | 50 | 0.00058334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6021-9_0_7_line_55 |  | 49 | 94 | 0.036096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6021-9_0_7_line_56 |  | 52 | 110 | 0.0397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6021-9_0_7_line_57 |  | 53 | 54 | 0.022032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6021-9_0_7_line_58 |  | 53 | 55 | 0.017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6021-9_0_7_line_59 |  | 54 | 56 | 0.033017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6021-9_0_7_line_60 |  | 55 | 57 | 0.0012292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6021-9_0_7_line_61 |  | 56 | 58 | 0.0090633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6021-9_0_7_line_62 |  | 56 | 59 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6021-9_0_7_line_63 |  | 57 | 60 | 0.016761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6021-9_0_7_line_64 |  | 58 | 61 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6021-9_0_7_line_65 |  | 59 | 62 | 0.015306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6021-9_0_7_line_66 |  | 60 | 63 | 0.03788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6021-9_0_7_line_67 |  | 61 | 97 | 0.0086007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6021-9_0_7_line_68 |  | 62 | 96 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6021-9_0_7_line_69 |  | 63 | 85 | 0.0052017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6021-9_0_7_line_70 |  | 64 | 65 | 0.0055349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6021-9_0_7_line_71 |  | 64 | 66 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6021-9_0_7_line_72 |  | 65 | 67 | 0.017967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6021-9_0_7_line_73 |  | 65 | 68 | 0.078351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6021-9_0_7_line_74 |  | 65 | 69 | 0.063109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6021-9_0_7_line_75 |  | 66 | 70 | 0.0093793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6021-9_0_7_line_76 |  | 66 | 71 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6021-9_0_7_line_77 |  | 68 | 74 | 0.03838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6021-9_0_7_line_78 |  | 68 | 75 | 0.0252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_6021-9_0_7_line_79 |  | 70 | 76 | 0.023033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6021-9_0_7_line_80 |  | 71 | 77 | 0.0071939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6021-9_0_7_line_81 |  | 72 | 73 | 0.022404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6021-9_0_7_line_82 |  | 73 | 106 | 0.033247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6021-9_0_7_line_83 |  | 74 | 78 | 0.021258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6021-9_0_7_line_84 |  | 75 | 79 | 0.016736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_6021-9_0_7_line_85 |  | 76 | 82 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6021-9_0_7_line_86 |  | 78 | 109 | 0.0098101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6021-9_0_7_line_87 |  | 79 | 90 | 0.02139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6021-9_0_7_line_88 |  | 80 | 81 | 0.038526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6021-9_0_7_line_89 |  | 81 | 88 | 0.020055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6021-9_0_7_line_90 |  | 82 | 83 | 0.0072335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6021-9_0_7_line_91 |  | 83 | 84 | 0.015967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6021-9_0_7_line_92 |  | 85 | 86 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6021-9_0_7_line_93 |  | 87 | 88 | 0.036208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6021-9_0_7_line_94 |  | 87 | 89 | 0.028154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6021-9_0_7_line_95 |  | 89 | 107 | 0.015215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6021-9_0_7_line_96 |  | 89 | 106 | 0.004789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6021-9_0_7_line_97 |  | 91 | 93 | 0.010478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_6021-9_0_7_line_98 |  | 93 | 103 | 0.02028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_6021-9_0_7_line_99 |  | 93 | 100 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6021-9_0_7_line_100 |  | 94 | 95 | 0.049751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_6021-9_0_7_line_101 |  | 95 | 96 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_6021-9_0_7_line_102 |  | 97 | 98 | 0.05493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6021-9_0_7_line_103 |  | 98 | 99 | 0.066914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6021-9_0_7_line_104 |  | 100 | 101 | 0.0067028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6021-9_0_7_line_105 |  | 101 | 102 | 0.013158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6021-9_0_7_line_106 |  | 102 | 104 | 0.00025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6021-9_0_7_line_107 |  | 104 | 105 | 0.020306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6021-9_0_7_line_108 |  | 105 | 106 | 0.0019759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6021-9_0_7_line_109 |  | 107 | 108 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6021-9_0_7_line_110 |  | 110 | 111 | 0.012077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6021-9_0_7_trafo_61 | 0.63 MVA 20/0.4 kV | 112 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2586797.6773 | 1117580.1627 | 2586798.5919 | 1117580.7019
1 | 2586773.0107 | 1117565.6215 | 2586797.6773 | 1117580.1627
2 | 2586773.0107 | 1117565.6215 | 2586764.9215 | 1117579.2126 | 2586749.6175 | 1117603.5975
3 | 2586773.0107 | 1117565.6215 | 2586790.2951 | 1117537.1505
4 | 2586733.7039 | 1117628.5612 | 2586734.4418 | 1117627.2144 | 2586741.1955 | 1117617.0168 | 2586749.6175 | 1117603.5975
5 | 2586791.1283 | 1117535.7781 | 2586790.2951 | 1117537.1505
6 | 2586829.2226 | 1117645.3444 | 2586830.7952 | 1117643.8689
7 | 2586799.6192 | 1117673.6966 | 2586825.1805 | 1117649.1371 | 2586829.2226 | 1117645.3444
8 | 2586830.7952 | 1117643.8689 | 2586834.2533 | 1117640.6242 | 2586843.2773 | 1117630.9664 | 2586844.3231 | 1117629.1623
9 | 2586799.6192 | 1117673.6966 | 2586777.9015 | 1117694.5631 | 2586763.3347 | 1117708.8356
10 | 2586844.3231 | 1117629.1623 | 2586851.2814 | 1117617.1592
11 | 2586867.1827 | 1117589.7291 | 2586851.2814 | 1117617.1592
12 | 2586867.1827 | 1117589.7291 | 2586869.962 | 1117584.9346
13 | 2586874.3715 | 1117695.383 | 2586894.7217 | 1117673.5645
14 | 2586935.5851 | 1117629.753 | 2586894.7217 | 1117673.5645
15 | 2586874.3715 | 1117695.383 | 2586853.3921 | 1117717.876 | 2586852.1073 | 1117719.0844
16 | 2586981.2153 | 1117580.8307 | 2586935.5851 | 1117629.753
17 | 2586835.5461 | 1117734.6606 | 2586852.1073 | 1117719.0844
18 | 2586733.7039 | 1117628.5612 | 2586714.268 | 1117615.5877
19 | 2586733.7039 | 1117628.5612 | 2586724.7792 | 1117644.6999 | 2586714.853 | 1117660.153
20 | 2586791.1283 | 1117535.7781 | 2586800.8486 | 1117519.8378
21 | 2586791.1283 | 1117535.7781 | 2586811.2913 | 1117547.316
22 | 2586710.7227 | 1117613.2212 | 2586714.268 | 1117615.5877
23 | 2586800.8486 | 1117519.8378 | 2586804.8859 | 1117513.1474
24 | 2586800.8486 | 1117519.8378 | 2586816.8584 | 1117529.0695
25 | 2586624.3591 | 1117510.5462 | 2586633.6225 | 1117516.9928
26 | 2586615.1379 | 1117504.129 | 2586624.3591 | 1117510.5462
27 | 2586664.7712 | 1117538.67 | 2586633.6225 | 1117516.9928
28 | 2586615.1379 | 1117504.129 | 2586620.562 | 1117496.3188
29 | 2586664.7712 | 1117538.67 | 2586668.8426 | 1117541.5035
30 | 2586631.9015 | 1117479.9909 | 2586620.562 | 1117496.3188
31 | 2586693.4635 | 1117558.6378 | 2586668.8426 | 1117541.5035
32 | 2586646.2194 | 1117459.6714 | 2586631.9015 | 1117479.9909
33 | 2586631.9015 | 1117479.9909 | 2586644.0384 | 1117488.5755
34 | 2586717.8391 | 1117517.9306 | 2586713.603 | 1117525.388 | 2586710.7655 | 1117530.0744 | 2586702.1993 | 1117544.3003 | 2586693.4635 | 1117558.6378
35 | 2586674.3081 | 1117590.0734 | 2586693.4635 | 1117558.6378
36 | 2586646.2194 | 1117459.6714 | 2586638.001 | 1117452.9819
37 | 2586646.2194 | 1117459.6714 | 2586649.5574 | 1117462.3964
38 | 2586669.6987 | 1117506.7253 | 2586644.0384 | 1117488.5755
39 | 2586717.8391 | 1117517.9306 | 2586726.2939 | 1117502.1375 | 2586741.0822 | 1117474.5135 | 2586746.3264 | 1117464.5222
40 | 2586674.3081 | 1117590.0734 | 2586660.6935 | 1117609.1751
41 | 2586674.3081 | 1117590.0734 | 2586655.1902 | 1117576.9662
42 | 2586674.3081 | 1117590.0734 | 2586702.3314 | 1117607.6201 | 2586710.7227 | 1117613.2212
43 | 2586751.9496 | 1117453.8091 | 2586746.3264 | 1117464.5222
44 | 2586615.4941 | 1117549.7506 | 2586655.1902 | 1117576.9662
45 | 2586869.962 | 1117584.9346 | 2586874.5783 | 1117576.9715 | 2586878.0703 | 1117571.9561
46 | 2586901.4909 | 1117545.4084 | 2586901.4909 | 1117545.4084 | 2586884.8186 | 1117562.2641 | 2586878.0703 | 1117571.9561
47 | 2586847.2932 | 1117526.2505 | 2586878.0703 | 1117571.9561
48 | 2586920.5582 | 1117527.6139 | 2586901.4909 | 1117545.4084
49 | 2586847.2932 | 1117526.2505 | 2586843.1427 | 1117523.7739
50 | 2586843.1427 | 1117523.7739 | 2586827.7148 | 1117514.5679
51 | 2586920.5582 | 1117527.6139 | 2586940.3043 | 1117509.1858
52 | 2586992.7833 | 1117462.5808 | 2586964.603 | 1117486.5091 | 2586940.3043 | 1117509.1858
53 | 2586599.4335 | 1117421.5899 | 2586638.001 | 1117452.9819
54 | 2586649.5574 | 1117462.3964 | 2586650.0093 | 1117462.7653
55 | 2586599.4335 | 1117421.5899 | 2586620.5974 | 1117392.3497
56 | 2586615.4941 | 1117549.7506 | 2586583.1435 | 1117526.6112
57 | 2586726.148 | 1117339.904 | 2586709.5363 | 1117325.4316
58 | 2586726.148 | 1117339.904 | 2586739.129 | 1117351.2133
59 | 2586684.6415 | 1117303.7428 | 2586709.5363 | 1117325.4316
60 | 2586740.0558 | 1117352.0207 | 2586739.129 | 1117351.2133
61 | 2586684.6415 | 1117303.7428 | 2586690.061 | 1117296.4784
62 | 2586684.6415 | 1117303.7428 | 2586677.868 | 1117313.0474
63 | 2586752.6938 | 1117363.0311 | 2586740.0558 | 1117352.0207
64 | 2586690.061 | 1117296.4784 | 2586699.4353 | 1117283.9128
65 | 2586668.8597 | 1117325.4217 | 2586677.868 | 1117313.0474
66 | 2586781.2551 | 1117387.9142 | 2586752.6938 | 1117363.0311
67 | 2586704.5782 | 1117277.0192 | 2586699.4353 | 1117283.9128
68 | 2586668.8597 | 1117325.4217 | 2586659.3311 | 1117338.6728
69 | 2586785.1771 | 1117391.3311 | 2586781.2551 | 1117387.9142
70 | 2586992.1747 | 1117538.0971 | 2586990.1883 | 1117536.734 | 2586988.0372 | 1117534.4662
71 | 2586972.5889 | 1117517.6516 | 2586976.5186 | 1117521.8118 | 2586983.559 | 1117529.7449 | 2586988.0372 | 1117534.4662
72 | 2586992.1747 | 1117538.0971 | 2586978.9451 | 1117550.2545
73 | 2587041.4675 | 1117498.2823 | 2587040.379 | 1117501.7308 | 2587029.348 | 1117518.6184 | 2587011.6208 | 1117543.9469 | 2587009.2202 | 1117547.376 | 2587003.0381 | 1117543.6986 | 2586995.4674 | 1117540.3578 | 2586992.1747 | 1117538.0971
74 | 2586981.2153 | 1117580.8307 | 2587006.8197 | 1117550.8051 | 2587009.2202 | 1117547.376 | 2587003.0381 | 1117543.6986 | 2586995.4674 | 1117540.3578 | 2586992.1747 | 1117538.0971
75 | 2586972.5889 | 1117517.6516 | 2586965.6347 | 1117523.9452
76 | 2586972.5889 | 1117517.6516 | 2586983.2345 | 1117507.7179
77 | 2587041.4675 | 1117498.2823 | 2587066.518 | 1117490.28 | 2587073.9994 | 1117480.7926
78 | 2587041.4675 | 1117498.2823 | 2587041.5162 | 1117492.2125 | 2587038.437 | 1117488.7508 | 2587025.86 | 1117481.5413
79 | 2586948.5572 | 1117539.4005 | 2586965.6347 | 1117523.9452
80 | 2586988.4942 | 1117502.8099 | 2586983.2345 | 1117507.7179
81 | 2586874.0158 | 1117491.4624 | 2586878.4821 | 1117484.3396 | 2586866.551 | 1117477.0212
82 | 2586838.2102 | 1117459.6375 | 2586866.551 | 1117477.0212
83 | 2587073.9994 | 1117480.7926 | 2587070.823 | 1117478.7874 | 2587073.6052 | 1117473.3565 | 2587063.5553 | 1117467.9769
84 | 2587011.3403 | 1117473.2182 | 2587025.86 | 1117481.5413
85 | 2586948.5572 | 1117539.4005 | 2586931.8411 | 1117554.5288
86 | 2587054.9064 | 1117463.3473 | 2587063.5553 | 1117467.9769
87 | 2586992.7833 | 1117462.5808 | 2587011.3403 | 1117473.2182
88 | 2586881.7008 | 1117381.7931 | 2586910.2582 | 1117403.4305 | 2586912.4331 | 1117405.0253
89 | 2586881.7008 | 1117381.7931 | 2586872.4839 | 1117399.6052
90 | 2586931.8411 | 1117554.5288 | 2586926.4778 | 1117559.3826
91 | 2586914.6395 | 1117570.0964 | 2586926.4778 | 1117559.3826
92 | 2586785.1771 | 1117391.3311 | 2586808.0338 | 1117404.4055
93 | 2586854.8728 | 1117431.1982 | 2586861.0957 | 1117421.6132 | 2586872.4839 | 1117399.6052
94 | 2586854.8728 | 1117431.1982 | 2586840.6401 | 1117455.5079
95 | 2586840.6401 | 1117455.5079 | 2586853.54 | 1117463.5749
96 | 2586838.2102 | 1117459.6375 | 2586840.6401 | 1117455.5079
97 | 2586810.2995 | 1117504.1761 | 2586804.8859 | 1117513.1474
98 | 2586810.2995 | 1117504.1761 | 2586827.7148 | 1117514.5679
99 | 2586810.2995 | 1117504.1761 | 2586815.6123 | 1117495.5079
100 | 2586620.5974 | 1117392.3497 | 2586641.4294 | 1117363.568 | 2586649.7321 | 1117352.0218
101 | 2586659.3311 | 1117338.6728 | 2586649.7321 | 1117352.0218
102 | 2586737.4242 | 1117232.9915 | 2586704.5782 | 1117277.0192
103 | 2586737.4242 | 1117232.9915 | 2586787.5311 | 1117277.3405
104 | 2586815.6123 | 1117495.5079 | 2586819.115 | 1117489.7931
105 | 2586826.1966 | 1117478.7065 | 2586822.5734 | 1117484.1505 | 2586819.115 | 1117489.7931
106 | 2586826.3327 | 1117478.4904 | 2586826.1966 | 1117478.7065
107 | 2586837.157 | 1117461.3093 | 2586826.3327 | 1117478.4904
108 | 2586838.2102 | 1117459.6375 | 2586837.157 | 1117461.3093
109 | 2586873.7488 | 1117476.2125 | 2586853.54 | 1117463.5749
110 | 2586583.1435 | 1117526.6112 | 2586576.0328 | 1117536.3724

## bus_geodata
| x | y | coords
0 | 2586797.6773 | 1117580.1627
1 | 2586798.5919 | 1117580.7019
2 | 2586773.0107 | 1117565.6215
3 | 2586749.6175 | 1117603.5975
4 | 2586790.2951 | 1117537.1505
5 | 2586829.2226 | 1117645.3444
6 | 2586830.7952 | 1117643.8689
7 | 2586799.6192 | 1117673.6966
8 | 2586844.3231 | 1117629.1623
9 | 2586851.2814 | 1117617.1592
10 | 2586867.1827 | 1117589.7291
11 | 2586894.7217 | 1117673.5645
12 | 2586874.3715 | 1117695.383
13 | 2586935.5851 | 1117629.753
14 | 2586852.1073 | 1117719.0844
15 | 2586835.5461 | 1117734.6606
16 | 2586733.7039 | 1117628.5612
17 | 2586791.1283 | 1117535.7781
18 | 2586714.268 | 1117615.5877
19 | 2586714.853 | 1117660.153
20 | 2586800.8486 | 1117519.8378
21 | 2586811.2913 | 1117547.316
22 | 2586763.3347 | 1117708.8356
23 | 2586624.3591 | 1117510.5462
24 | 2586633.6225 | 1117516.9928
25 | 2586615.1379 | 1117504.129
26 | 2586664.7712 | 1117538.67
27 | 2586620.562 | 1117496.3188
28 | 2586668.8426 | 1117541.5035
29 | 2586631.9015 | 1117479.9909
30 | 2586693.4635 | 1117558.6378
31 | 2586646.2194 | 1117459.6714
32 | 2586644.0384 | 1117488.5755
33 | 2586717.8391 | 1117517.9306
34 | 2586674.3081 | 1117590.0734
35 | 2586746.3264 | 1117464.5222
36 | 2586660.6935 | 1117609.1751
37 | 2586655.1902 | 1117576.9662
38 | 2586710.7227 | 1117613.2212
39 | 2586869.962 | 1117584.9346
40 | 2586878.0703 | 1117571.9561
41 | 2586901.4909 | 1117545.4084
42 | 2586847.2932 | 1117526.2505
43 | 2586843.1427 | 1117523.7739
44 | 2586920.5582 | 1117527.6139
45 | 2586940.3043 | 1117509.1858
46 | 2586669.6987 | 1117506.7253
47 | 2586638.001 | 1117452.9819
48 | 2586649.5574 | 1117462.3964
49 | 2586599.4335 | 1117421.5899
50 | 2586650.0093 | 1117462.7653
51 | 2586751.9496 | 1117453.8091
52 | 2586615.4941 | 1117549.7506
53 | 2586726.148 | 1117339.904
54 | 2586709.5363 | 1117325.4316
55 | 2586739.129 | 1117351.2133
56 | 2586684.6415 | 1117303.7428
57 | 2586740.0558 | 1117352.0207
58 | 2586690.061 | 1117296.4784
59 | 2586677.868 | 1117313.0474
60 | 2586752.6938 | 1117363.0311
61 | 2586699.4353 | 1117283.9128
62 | 2586668.8597 | 1117325.4217
63 | 2586781.2551 | 1117387.9142
64 | 2586988.0372 | 1117534.4662
65 | 2586992.1747 | 1117538.0971
66 | 2586972.5889 | 1117517.6516
67 | 2586978.945 | 1117550.2545
68 | 2587041.4675 | 1117498.2823
69 | 2586981.2153 | 1117580.8307
70 | 2586965.6347 | 1117523.9452
71 | 2586983.2345 | 1117507.7179
72 | 2586874.0158 | 1117491.4624
73 | 2586866.551 | 1117477.0212
74 | 2587073.9994 | 1117480.7926
75 | 2587025.86 | 1117481.5413
76 | 2586948.5572 | 1117539.4005
77 | 2586988.4942 | 1117502.8099
78 | 2587063.5553 | 1117467.9769
79 | 2587011.3403 | 1117473.2182
80 | 2586912.4331 | 1117405.0253
81 | 2586881.7008 | 1117381.7931
82 | 2586931.8411 | 1117554.5288
83 | 2586926.4778 | 1117559.3826
84 | 2586914.6395 | 1117570.0964
85 | 2586785.1771 | 1117391.3311
86 | 2586808.0338 | 1117404.4055
87 | 2586854.8728 | 1117431.1982
88 | 2586872.4839 | 1117399.6052
89 | 2586840.6401 | 1117455.5079
90 | 2586992.7833 | 1117462.5808
91 | 2586804.8859 | 1117513.1474
92 | 2586816.8584 | 1117529.0695
93 | 2586810.2995 | 1117504.1761
94 | 2586620.5974 | 1117392.3497
95 | 2586649.7321 | 1117352.0218
96 | 2586659.3311 | 1117338.6728
97 | 2586704.5782 | 1117277.0192
98 | 2586737.4242 | 1117232.9915
99 | 2586787.5311 | 1117277.3405
100 | 2586815.6123 | 1117495.5079
101 | 2586819.115 | 1117489.7931
102 | 2586826.1966 | 1117478.7065
103 | 2586827.7148 | 1117514.5679
104 | 2586826.3327 | 1117478.4904
105 | 2586837.157 | 1117461.3093
106 | 2586838.2102 | 1117459.6375
107 | 2586853.54 | 1117463.5749
108 | 2586873.7488 | 1117476.2125
109 | 2587054.9064 | 1117463.3473
110 | 2586583.1435 | 1117526.6112
111 | 2586576.0328 | 1117536.3724
112 | 2586810.2995 | 1117504.1761

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1