## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6023-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6023-17_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6023-17_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_6023-17_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6023-17_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6023-17_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6023-17_0_5_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_6023-17_0_5_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_6023-17_0_5_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_6023-17_0_5_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_6023-17_0_5_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_6023-17_0_5_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_6023-17_0_5_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_6023-17_0_5_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_6023-17_0_5_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_6023-17_0_5_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_6023-17_0_5_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_6023-17_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_6023-17_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6023-17_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6023-17_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6023-17_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6023-17_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6023-17_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_6023-17_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6023-17_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_6023-17_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_6023-17_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_6023-17_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6023-17_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6023-17_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6023-17_0_5_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_6023-17_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_6023-17_0_5_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_6023-17_0_5_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_6023-17_0_5_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_6023-17_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_6023-17_0_5_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_6023-17_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_6023-17_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_6023-17_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_6023-17_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6023-17_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6023-17_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6023-17_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6023-17_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6023-17_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6023-17_0_5_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_6023-17_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_6023-17_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6023-17_0_5_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_6023-17_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_6023-17_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6023-17_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_6023-17_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_6023-17_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6023-17_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6023-17_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6023-17_0_5_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_6023-17_0_5_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_6023-17_0_5_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6023-17_0_5_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_6023-17_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6023-17_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_6023-17_0_5_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_6023-17_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_6023-17_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_6023-17_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_6023-17_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_6023-17_0_5_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_6023-17_0_5_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_6023-17_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_6023-17_0_5_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_6023-17_0_5_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6023-17_0_5_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_6023-17_0_5_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_6023-17_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_6023-17_0_5_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_6023-17_0_5_node_70 | 0.4 | n |  | TRUE
79 | bus_MV_266_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6023-17_0_5_load_0 | 0 | 0.026678 | 0.0066861 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6023-17_0_5_load_1 | 2 | 0.036621 | 0.0091781 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6023-17_0_5_load_4 | 4 | 0.029629 | 0.0074258 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6023-17_0_5_load_41 | 7 | 0.010535 | 0.0026403 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6023-17_0_5_load_40 | 8 | 0.0098144 | 0.0024597 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6023-17_0_5_load_68 | 11 | 0.013685 | 0.0034297 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6023-17_0_5_load_78 | 13 | 0.015142 | 0.0037949 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6023-17_0_5_load_38 | 15 | 0.0084639 | 0.0021213 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6023-17_0_5_load_6 | 16 | 0.011144 | 0.002793 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6023-17_0_5_load_7 | 17 | 0.0039569 | 0.0009917 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6023-17_0_5_load_9 | 19 | 0.0064651 | 0.0016203 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6023-17_0_5_load_25 | 23 | 0.004923 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6023-17_0_5_load_13 | 25 | 0.0059914 | 0.0015016 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6023-17_0_5_load_17 | 30 | 0.0063006 | 0.0015791 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6023-17_0_5_load_54 | 33 | 0.0038826 | 0.00097307 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6023-17_0_5_load_77 | 34 | 0.0032918 | 0.00082502 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6023-17_0_5_load_16 | 35 | 0.0073722 | 0.0018476 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6023-17_0_5_load_20 | 36 | 0.0093719 | 0.0023488 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6023-17_0_5_load_18 | 37 | 0.021964 | 0.0055046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6023-17_0_5_load_21 | 38 | 0.0069479 | 0.0017413 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6023-17_0_5_load_22 | 39 | 0.015338 | 0.0038441 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6023-17_0_5_load_23 | 40 | 0.0071435 | 0.0017903 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6023-17_0_5_load_32 | 41 | 0.0091704 | 0.0022983 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6023-17_0_5_load_28 | 42 | 0.006046 | 0.0015153 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6023-17_0_5_load_29 | 43 | 0.018342 | 0.004597 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6023-17_0_5_load_33 | 45 | 0.0098241 | 0.0024621 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6023-17_0_5_load_34 | 46 | 0.01737 | 0.0043535 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6023-17_0_5_load_35 | 48 | 0.01184 | 0.0029674 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6023-17_0_5_load_44 | 49 | 0.023254 | 0.0058281 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6023-17_0_5_load_36 | 51 | 0.011479 | 0.0028769 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6023-17_0_5_load_45 | 52 | 0.022161 | 0.0055541 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6023-17_0_5_load_39 | 54 | 0.023494 | 0.005888 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6023-17_0_5_load_52 | 57 | 0.0096614 | 0.0024214 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6023-17_0_5_load_79 | 58 | 0.028757 | 0.0072072 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6023-17_0_5_load_65 | 59 | 0.017202 | 0.0043112 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6023-17_0_5_load_61 | 60 | 0.015323 | 0.0038404 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6023-17_0_5_load_49 | 62 | 0.011949 | 0.0029947 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6023-17_0_5_load_51 | 64 | 0.0097428 | 0.0024418 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6023-17_0_5_load_55 | 65 | 0.023228 | 0.0058216 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6023-17_0_5_load_59 | 68 | 0.0071946 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6023-17_0_5_load_60 | 69 | 0.010647 | 0.0026683 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6023-17_0_5_load_72 | 70 | 0.0055764 | 0.0013976 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6023-17_0_5_load_73 | 72 | 0.0015926 | 0.00039913 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6023-17_0_5_load_62 | 74 | 0.017172 | 0.0043036 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6023-17_0_5_load_74 | 75 | 0.0045156 | 0.0011317 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6023-17_0_5_load_75 | 76 | 0.0053315 | 0.0013362 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6023-17_0_5_load_76 | 77 | 0.008265 | 0.0020714 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6023-17_0_5_load_70 | 78 | 0.0030666 | 0.00076857 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6023-17_0_5_line_0 |  | 0 | 1 | 0.030673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6023-17_0_5_line_1 |  | 1 | 4 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6023-17_0_5_line_2 |  | 1 | 5 | 0.028014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6023-17_0_5_line_3 |  | 2 | 3 | 0.023258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6023-17_0_5_line_4 |  | 3 | 6 | 0.013985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6023-17_0_5_line_5 |  | 4 | 6 | 0.027066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6023-17_0_5_line_6 |  | 5 | 7 | 0.0028569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6023-17_0_5_line_7 |  | 5 | 8 | 0.023734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6023-17_0_5_line_8 |  | 7 | 10 | 0.038589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6023-17_0_5_line_9 |  | 8 | 15 | 0.01455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6023-17_0_5_line_10 |  | 9 | 10 | 0.010449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6023-17_0_5_line_11 |  | 9 | 11 | 0.022334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6023-17_0_5_line_12 |  | 10 | 57 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6023-17_0_5_line_13 |  | 11 | 61 | 0.07663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6023-17_0_5_line_14 |  | 12 | 13 | 0.046035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6023-17_0_5_line_15 |  | 12 | 14 | 0.053467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6023-17_0_5_line_16 |  | 14 | 59 | 0.023629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6023-17_0_5_line_17 |  | 14 | 60 | 0.022163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6023-17_0_5_line_18 |  | 15 | 53 | 0.010733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6023-17_0_5_line_19 |  | 16 | 17 | 0.016717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6023-17_0_5_line_20 |  | 16 | 18 | 0.043209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6023-17_0_5_line_21 |  | 17 | 19 | 0.03734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6023-17_0_5_line_22 |  | 18 | 20 | 0.043055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6023-17_0_5_line_23 |  | 18 | 21 | 0.010151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6023-17_0_5_line_24 |  | 19 | 22 | 0.034298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6023-17_0_5_line_25 |  | 20 | 23 | 0.0029072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6023-17_0_5_line_26 |  | 21 | 24 | 0.02034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6023-17_0_5_line_27 |  | 21 | 25 | 0.029827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6023-17_0_5_line_28 |  | 22 | 26 | 0.019475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6023-17_0_5_line_29 |  | 22 | 27 | 0.044422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6023-17_0_5_line_30 |  | 23 | 28 | 0.014372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6023-17_0_5_line_31 |  | 24 | 29 | 0.04503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6023-17_0_5_line_32 |  | 24 | 30 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6023-17_0_5_line_33 |  | 25 | 31 | 0.01737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6023-17_0_5_line_34 |  | 26 | 32 | 0.025151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6023-17_0_5_line_35 |  | 26 | 33 | 0.013098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6023-17_0_5_line_36 |  | 27 | 34 | 0.011725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6023-17_0_5_line_37 |  | 28 | 40 | 0.060858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6023-17_0_5_line_38 |  | 29 | 36 | 0.028514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6023-17_0_5_line_39 |  | 30 | 37 | 0.050929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6023-17_0_5_line_40 |  | 31 | 35 | 0.022078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6023-17_0_5_line_41 |  | 32 | 41 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6023-17_0_5_line_42 |  | 32 | 42 | 0.0015314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6023-17_0_5_line_43 |  | 36 | 38 | 0.00031104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6023-17_0_5_line_44 |  | 38 | 39 | 0.010674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6023-17_0_5_line_45 |  | 41 | 47 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6023-17_0_5_line_46 |  | 42 | 43 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6023-17_0_5_line_47 |  | 43 | 44 | 0.022582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6023-17_0_5_line_48 |  | 44 | 45 | 0.0028941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6023-17_0_5_line_49 |  | 44 | 46 | 0.030755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6023-17_0_5_line_50 |  | 45 | 48 | 0.013854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6023-17_0_5_line_51 |  | 46 | 49 | 0.042674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6023-17_0_5_line_52 |  | 47 | 50 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6023-17_0_5_line_53 |  | 48 | 51 | 0.010144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6023-17_0_5_line_54 |  | 49 | 52 | 0.016891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6023-17_0_5_line_55 |  | 50 | 70 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6023-17_0_5_line_56 |  | 50 | 66 | 0.006018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6023-17_0_5_line_57 |  | 51 | 53 | 0.0084159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6023-17_0_5_line_58 |  | 53 | 54 | 0.016086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6023-17_0_5_line_59 |  | 54 | 55 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6023-17_0_5_line_60 |  | 55 | 56 | 0.019556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6023-17_0_5_line_61 |  | 56 | 58 | 0.014801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6023-17_0_5_line_62 |  | 57 | 64 | 0.001979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6023-17_0_5_line_63 |  | 60 | 74 | 0.0055144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6023-17_0_5_line_64 |  | 61 | 78 | 0.097908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6023-17_0_5_line_65 |  | 62 | 63 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6023-17_0_5_line_66 |  | 63 | 64 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6023-17_0_5_line_67 |  | 65 | 66 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6023-17_0_5_line_68 |  | 65 | 67 | 0.0027711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6023-17_0_5_line_69 |  | 67 | 68 | 0.018342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6023-17_0_5_line_70 |  | 67 | 69 | 0.025932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6023-17_0_5_line_71 |  | 69 | 71 | 0.037007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6023-17_0_5_line_72 |  | 70 | 72 | 0.010191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6023-17_0_5_line_73 |  | 71 | 73 | 0.017198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6023-17_0_5_line_74 |  | 71 | 74 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6023-17_0_5_line_75 |  | 73 | 75 | 0.008827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6023-17_0_5_line_76 |  | 73 | 76 | 0.008973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6023-17_0_5_line_77 |  | 73 | 77 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6023-17_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 79 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2589864.8657 | 1119779.0056 | 2589835.0134 | 1119771.9568
1 | 2589864.8657 | 1119779.0056 | 2589867.9993 | 1119779.7451 | 2589864.4799 | 1119796.0184
2 | 2589864.8657 | 1119779.0056 | 2589866.6655 | 1119771.1542 | 2589871.2849 | 1119751.7369
3 | 2589841.6007 | 1119817.3748 | 2589842.5448 | 1119809.9807 | 2589827.0939 | 1119806.6607 | 2589827.0939 | 1119806.6607
4 | 2589855.2384 | 1119820.6422 | 2589841.6007 | 1119817.3748
5 | 2589855.2384 | 1119820.6422 | 2589858.7202 | 1119817.4681 | 2589860.5125 | 1119814.3636 | 2589864.4799 | 1119796.0184
6 | 2589871.2849 | 1119751.7369 | 2589868.5008 | 1119751.0956
7 | 2589871.2849 | 1119751.7369 | 2589894.4136 | 1119757.0645
8 | 2589830.8967 | 1119742.4339 | 2589868.5008 | 1119751.0956
9 | 2589894.4136 | 1119757.0645 | 2589908.5927 | 1119760.3306
10 | 2589820.6857 | 1119740.0834 | 2589830.8967 | 1119742.4339
11 | 2589820.6857 | 1119740.0834 | 2589798.9215 | 1119735.0689
12 | 2589830.8967 | 1119742.4339 | 2589833.8412 | 1119726.9591
13 | 2589724.3255 | 1119717.5474 | 2589736.8216 | 1119720.761 | 2589798.9215 | 1119735.0689
14 | 2589888.1921 | 1119886.8192 | 2589899.5967 | 1119842.2225
15 | 2589888.1921 | 1119886.8192 | 2589893.0014 | 1119888.6119 | 2589919.0012 | 1119898.3286 | 2589938.2771 | 1119905.5331
16 | 2589938.2771 | 1119905.5331 | 2589943.0369 | 1119882.3916
17 | 2589938.2771 | 1119905.5331 | 2589959.0382 | 1119913.2892
18 | 2589919.0513 | 1119762.7398 | 2589908.5927 | 1119760.3306
19 | 2590039.5938 | 1119709.9549 | 2590039.7763 | 1119726.6714
20 | 2590039.1221 | 1119666.748 | 2590039.5938 | 1119709.9549
21 | 2590039.7763 | 1119726.6714 | 2590040.184 | 1119764.0094
22 | 2590039.1221 | 1119666.748 | 2590064.3279 | 1119671.7976 | 2590081.3155 | 1119675.8715
23 | 2590039.1221 | 1119666.748 | 2590029.082 | 1119665.0638
24 | 2590041.3076 | 1119798.2867 | 2590040.8724 | 1119787.1041 | 2590040.2683 | 1119771.7309 | 2590040.184 | 1119764.0094
25 | 2590081.3155 | 1119675.8715 | 2590084.1425 | 1119676.5495
26 | 2590029.082 | 1119665.0638 | 2590008.9631 | 1119661.6956
27 | 2590029.082 | 1119665.0638 | 2590023.2017 | 1119694.3058
28 | 2590041.3076 | 1119798.2867 | 2590023.2347 | 1119790.9019
29 | 2590041.3076 | 1119798.2867 | 2590042.5642 | 1119802.4088 | 2590042.5591 | 1119803.9763 | 2590043.4977 | 1119830.3432 | 2590043.4716 | 1119842.5048
30 | 2590098.1179 | 1119679.9013 | 2590084.1425 | 1119676.5495
31 | 2589964.4268 | 1119654.2217 | 2590008.9631 | 1119661.6956
32 | 2590008.9631 | 1119661.6956 | 2590006.1743 | 1119676.6997
33 | 2590019.7773 | 1119711.3353 | 2590023.2017 | 1119694.3058
34 | 2589999.8966 | 1119781.3582 | 2590023.2347 | 1119790.9019
35 | 2590023.2347 | 1119790.9019 | 2590018.9393 | 1119803.2756
36 | 2590032.0418 | 1119840.0447 | 2590040.4318 | 1119842.4097 | 2590043.4716 | 1119842.5048
37 | 2590098.1179 | 1119679.9013 | 2590087.9796 | 1119726.263 | 2590087.8617 | 1119729.6093 | 2590085.6369 | 1119739.4124
38 | 2589964.4268 | 1119654.2217 | 2589960.2695 | 1119668.7135 | 2589957.6172 | 1119681.8869
39 | 2589996.8676 | 1119726.771 | 2590006.1743 | 1119676.6997
40 | 2590019.7773 | 1119711.3353 | 2590015.426 | 1119732.9803
41 | 2589999.8966 | 1119781.3582 | 2589996.9963 | 1119798.4222
42 | 2589999.8966 | 1119781.3582 | 2589998.4042 | 1119781.0146
43 | 2589957.6172 | 1119681.8869 | 2589957.5558 | 1119682.1919
44 | 2589955.449 | 1119692.6555 | 2589957.5558 | 1119682.1919
45 | 2589993.5935 | 1119818.4425 | 2589996.9963 | 1119798.4222
46 | 2589998.4042 | 1119781.0146 | 2589975.4637 | 1119775.7316
47 | 2589953.4579 | 1119770.6638 | 2589975.4637 | 1119775.7316
48 | 2589953.4579 | 1119770.6638 | 2589950.6376 | 1119770.0143
49 | 2589953.4579 | 1119770.6638 | 2589947.0106 | 1119800.7358
50 | 2589950.6376 | 1119770.0143 | 2589937.1374 | 1119766.9051
51 | 2589947.0106 | 1119800.7358 | 2589938.3849 | 1119840.968 | 2589937.6746 | 1119842.3202
52 | 2589993.5935 | 1119818.4425 | 2589991.7137 | 1119829.2843
53 | 2589927.2526 | 1119764.6286 | 2589937.1374 | 1119766.9051
54 | 2589921.9364 | 1119841.2014 | 2589934.7952 | 1119844.1978 | 2589937.0699 | 1119843.4714 | 2589937.6746 | 1119842.3202
55 | 2589991.7137 | 1119829.2843 | 2590006.2322 | 1119833.5789
56 | 2589990.7438 | 1119835.2221 | 2589991.7137 | 1119829.2843
57 | 2589919.0513 | 1119762.7398 | 2589927.2526 | 1119764.6286
58 | 2589919.0513 | 1119762.7398 | 2589915.225 | 1119778.364
59 | 2589911.251 | 1119794.5907 | 2589915.225 | 1119778.364
60 | 2589906.6 | 1119813.5856 | 2589908.8067 | 1119804.5664 | 2589911.251 | 1119794.5907
61 | 2589892.1443 | 1119810.2194 | 2589906.6 | 1119813.5856
62 | 2589834.2111 | 1119725.015 | 2589833.8412 | 1119726.9591
63 | 2589959.0382 | 1119913.2892 | 2589964.2039 | 1119915.219
64 | 2589724.3255 | 1119717.5474 | 2589708.0371 | 1119770.4124 | 2589698.5751 | 1119804.3674 | 2589697.3385 | 1119811.6045
65 | 2589836.7007 | 1119711.9313 | 2589838.5569 | 1119710.0717 | 2589840.832 | 1119709.5565 | 2589850.7967 | 1119711.0136
66 | 2589836.7007 | 1119711.9313 | 2589834.2111 | 1119725.015
67 | 2589990.7438 | 1119835.2221 | 2589987.3878 | 1119854.9854
68 | 2589986.9239 | 1119857.7173 | 2589987.3878 | 1119854.9854
69 | 2589986.9239 | 1119857.7173 | 2590004.9671 | 1119861.0132
70 | 2589986.9239 | 1119857.7173 | 2589982.5768 | 1119883.2824
71 | 2589976.3733 | 1119919.7653 | 2589982.5768 | 1119883.2824
72 | 2590016.0044 | 1119836.4696 | 2590006.2322 | 1119833.5789
73 | 2589976.3733 | 1119919.7653 | 2589992.7607 | 1119925.1295
74 | 2589976.3733 | 1119919.7653 | 2589964.2039 | 1119915.219
75 | 2589992.7607 | 1119925.1295 | 2589996.7956 | 1119925.2229 | 2589999.5819 | 1119921.3052
76 | 2589992.7607 | 1119925.1295 | 2589990.0825 | 1119933.6938
77 | 2589992.7607 | 1119925.1295 | 2589995.2369 | 1119920.3786 | 2589998.3293 | 1119915.0153

## bus_geodata
| x | y | coords
0 | 2589835.0134 | 1119771.9568
1 | 2589864.8657 | 1119779.0056
2 | 2589827.0939 | 1119806.6607
3 | 2589841.6007 | 1119817.3748
4 | 2589864.4799 | 1119796.0184
5 | 2589871.2849 | 1119751.7369
6 | 2589855.2384 | 1119820.6422
7 | 2589868.5008 | 1119751.0956
8 | 2589894.4136 | 1119757.0645
9 | 2589820.6857 | 1119740.0834
10 | 2589830.8967 | 1119742.4339
11 | 2589798.9215 | 1119735.0689
12 | 2589888.1921 | 1119886.8192
13 | 2589899.5967 | 1119842.2225
14 | 2589938.2771 | 1119905.5331
15 | 2589908.5927 | 1119760.3306
16 | 2590039.5938 | 1119709.9549
17 | 2590039.7763 | 1119726.6714
18 | 2590039.1221 | 1119666.748
19 | 2590040.184 | 1119764.0094
20 | 2590081.3155 | 1119675.8715
21 | 2590029.082 | 1119665.0638
22 | 2590041.3076 | 1119798.2867
23 | 2590084.1425 | 1119676.5495
24 | 2590008.9631 | 1119661.6956
25 | 2590023.2017 | 1119694.3058
26 | 2590023.2347 | 1119790.9019
27 | 2590043.4716 | 1119842.5048
28 | 2590098.1179 | 1119679.9013
29 | 2589964.4268 | 1119654.2217
30 | 2590006.1743 | 1119676.6997
31 | 2590019.7773 | 1119711.3353
32 | 2589999.8966 | 1119781.3582
33 | 2590018.9393 | 1119803.2756
34 | 2590032.0418 | 1119840.0447
35 | 2590015.426 | 1119732.9803
36 | 2589957.6172 | 1119681.8869
37 | 2589996.8676 | 1119726.771
38 | 2589957.5558 | 1119682.1919
39 | 2589955.449 | 1119692.6555
40 | 2590085.6369 | 1119739.4124
41 | 2589996.9963 | 1119798.4222
42 | 2589998.4042 | 1119781.0146
43 | 2589975.4637 | 1119775.7316
44 | 2589953.4579 | 1119770.6638
45 | 2589950.6376 | 1119770.0143
46 | 2589947.0106 | 1119800.7358
47 | 2589993.5935 | 1119818.4425
48 | 2589937.1374 | 1119766.9051
49 | 2589937.6746 | 1119842.3202
50 | 2589991.7137 | 1119829.2843
51 | 2589927.2526 | 1119764.6286
52 | 2589921.9364 | 1119841.2014
53 | 2589919.0513 | 1119762.7398
54 | 2589915.225 | 1119778.364
55 | 2589911.251 | 1119794.5907
56 | 2589906.6 | 1119813.5856
57 | 2589833.8412 | 1119726.9591
58 | 2589892.1443 | 1119810.2194
59 | 2589943.0369 | 1119882.3916
60 | 2589959.0382 | 1119913.2892
61 | 2589724.3255 | 1119717.5474
62 | 2589850.7967 | 1119711.0136
63 | 2589836.7007 | 1119711.9313
64 | 2589834.2111 | 1119725.015
65 | 2589987.3878 | 1119854.9854
66 | 2589990.7438 | 1119835.2221
67 | 2589986.9239 | 1119857.7173
68 | 2590004.9671 | 1119861.0132
69 | 2589982.5768 | 1119883.2824
70 | 2590006.2322 | 1119833.5789
71 | 2589976.3733 | 1119919.7653
72 | 2590016.0044 | 1119836.4696
73 | 2589992.7607 | 1119925.1295
74 | 2589964.2039 | 1119915.219
75 | 2589999.5819 | 1119921.3052
76 | 2589990.0825 | 1119933.6938
77 | 2589998.3293 | 1119915.0153
78 | 2589697.3385 | 1119811.6045
79 | 2589953.4579 | 1119770.6638

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1