## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6023-19_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6023-19_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6023-19_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6023-19_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6023-19_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6023-19_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6023-19_0_7_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_6023-19_0_7_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6023-19_0_7_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_6023-19_0_7_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_6023-19_0_7_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_6023-19_0_7_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6023-19_0_7_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_6023-19_0_7_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6023-19_0_7_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6023-19_0_7_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_6023-19_0_7_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6023-19_0_7_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_6023-19_0_7_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_6023-19_0_7_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6023-19_0_7_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_6023-19_0_7_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6023-19_0_7_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6023-19_0_7_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_6023-19_0_7_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6023-19_0_7_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6023-19_0_7_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_6023-19_0_7_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_6023-19_0_7_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6023-19_0_7_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_6023-19_0_7_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6023-19_0_7_node_6 | 0.4 | n |  | TRUE
32 | bus_LV_6023-19_0_7_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_6023-19_0_7_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_6023-19_0_7_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_6023-19_0_7_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_6023-19_0_7_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6023-19_0_7_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_6023-19_0_7_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6023-19_0_7_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_6023-19_0_7_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_6023-19_0_7_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_6023-19_0_7_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6023-19_0_7_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_6023-19_0_7_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_6023-19_0_7_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_6023-19_0_7_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6023-19_0_7_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_6023-19_0_7_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6023-19_0_7_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_6023-19_0_7_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_6023-19_0_7_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_6023-19_0_7_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_6023-19_0_7_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_6023-19_0_7_node_50 | 0.4 | n |  | TRUE
55 | bus_MV_266_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6023-19_0_7_load_0 | 0 | 0.033027 | 0.0082774 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6023-19_0_7_load_1 | 1 | 0.053831 | 0.013491 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6023-19_0_7_load_4 | 4 | 0.046119 | 0.011558 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6023-19_0_7_load_35 | 9 | 0.022317 | 0.0055931 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6023-19_0_7_load_48 | 10 | 0.0070311 | 0.0017622 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6023-19_0_7_load_49 | 12 | 0.037113 | 0.0093015 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6023-19_0_7_load_57 | 15 | 0.0067438 | 0.0016901 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6023-19_0_7_load_52 | 18 | 0.001263 | 0.00031654 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6023-19_0_7_load_56 | 20 | 0.059722 | 0.014968 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6023-19_0_7_load_55 | 23 | 0.029515 | 0.0073971 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6023-19_0_7_load_53 | 27 | 0.020219 | 0.0050673 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6023-19_0_7_load_54 | 29 | 0.02423 | 0.0060727 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6023-19_0_7_load_6 | 31 | 0.010309 | 0.0025837 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6023-19_0_7_load_34 | 33 | 0.052885 | 0.013254 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6023-19_0_7_load_37 | 35 | 0.033124 | 0.0083016 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6023-19_0_7_load_29 | 36 | 0.022416 | 0.005618 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6023-19_0_7_load_47 | 37 | 0.023213 | 0.0058178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6023-19_0_7_load_27 | 38 | 0.0016044 | 0.00040211 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6023-19_0_7_load_46 | 39 | 0.0061727 | 0.001547 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6023-19_0_7_load_41 | 41 | 0.0063724 | 0.0015971 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6023-19_0_7_load_40 | 42 | 0.0074837 | 0.0018756 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6023-19_0_7_load_45 | 43 | 0.0061908 | 0.0015516 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6023-19_0_7_load_36 | 45 | 0.030723 | 0.0077 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6023-19_0_7_load_28 | 47 | 0.0032066 | 0.00080366 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6023-19_0_7_load_38 | 48 | 0.024936 | 0.0062495 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6023-19_0_7_load_31 | 50 | 0.0005912 | 0.00014817 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6023-19_0_7_load_32 | 51 | 0.005234 | 0.0013118 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6023-19_0_7_load_42 | 52 | 0.0078366 | 0.001964 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6023-19_0_7_load_44 | 53 | 0.0065008 | 0.0016293 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6023-19_0_7_load_50 | 54 | 0.00124 | 0.00031077 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6023-19_0_7_line_0 |  | 0 | 1 | 0.0016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6023-19_0_7_line_1 |  | 0 | 2 | 0.024722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6023-19_0_7_line_2 |  | 1 | 3 | 0.015949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6023-19_0_7_line_3 |  | 2 | 4 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6023-19_0_7_line_4 |  | 2 | 5 | 0.031697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6023-19_0_7_line_5 |  | 3 | 6 | 0.022348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6023-19_0_7_line_6 |  | 5 | 7 | 0.053581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6023-19_0_7_line_7 |  | 5 | 8 | 0.077128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6023-19_0_7_line_8 |  | 5 | 9 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6023-19_0_7_line_9 |  | 6 | 10 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6023-19_0_7_line_10 |  | 7 | 17 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6023-19_0_7_line_11 |  | 7 | 36 | 0.02075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6023-19_0_7_line_12 |  | 8 | 37 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6023-19_0_7_line_13 |  | 9 | 32 | 0.0037081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6023-19_0_7_line_14 |  | 11 | 12 | 0.0059814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6023-19_0_7_line_15 |  | 11 | 13 | 0.027453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6023-19_0_7_line_16 |  | 13 | 31 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6023-19_0_7_line_17 |  | 13 | 14 | 0.052789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6023-19_0_7_line_18 |  | 13 | 16 | 0.017961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6023-19_0_7_line_19 |  | 14 | 15 | 0.033159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6023-19_0_7_line_20 |  | 16 | 17 | 0.034549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6023-19_0_7_line_21 |  | 16 | 18 | 0.04526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6023-19_0_7_line_22 |  | 17 | 38 | 0.027094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6023-19_0_7_line_23 |  | 18 | 44 | 0.012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6023-19_0_7_line_24 |  | 19 | 20 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6023-19_0_7_line_25 |  | 19 | 21 | 0.066967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6023-19_0_7_line_26 |  | 21 | 30 | 0.0628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6023-19_0_7_line_27 |  | 21 | 39 | 0.010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6023-19_0_7_line_28 |  | 22 | 23 | 0.04347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6023-19_0_7_line_29 |  | 22 | 24 | 0.040491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6023-19_0_7_line_30 |  | 22 | 25 | 0.056794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6023-19_0_7_line_31 |  | 24 | 26 | 0.028168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6023-19_0_7_line_32 |  | 24 | 27 | 0.013225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6023-19_0_7_line_33 |  | 25 | 33 | 0.011885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6023-19_0_7_line_34 |  | 26 | 48 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6023-19_0_7_line_35 |  | 26 | 28 | 0.027689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6023-19_0_7_line_36 |  | 28 | 29 | 0.014857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6023-19_0_7_line_37 |  | 28 | 30 | 0.046818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6023-19_0_7_line_38 |  | 30 | 43 | 0.019251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6023-19_0_7_line_39 |  | 30 | 34 | 0.013634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6023-19_0_7_line_40 |  | 32 | 33 | 0.034874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6023-19_0_7_line_41 |  | 34 | 35 | 0.029338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6023-19_0_7_line_42 |  | 35 | 45 | 0.00018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6023-19_0_7_line_43 |  | 36 | 46 | 0.027452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6023-19_0_7_line_44 |  | 38 | 47 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6023-19_0_7_line_45 |  | 39 | 41 | 0.027098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6023-19_0_7_line_46 |  | 40 | 41 | 0.025624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6023-19_0_7_line_47 |  | 40 | 42 | 0.029305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6023-19_0_7_line_48 |  | 43 | 49 | 0.0060241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6023-19_0_7_line_49 |  | 44 | 54 | 0.024139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6023-19_0_7_line_50 |  | 46 | 50 | 0.015024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6023-19_0_7_line_51 |  | 46 | 51 | 0.018827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6023-19_0_7_line_52 |  | 49 | 53 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6023-19_0_7_line_53 |  | 49 | 52 | 0.031628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6023-19_0_7_trafo_22 | 0.63 MVA 20/0.4 kV | 55 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2589535 | 1118532.3071 | 2589533.3954 | 1118531.8753
1 | 2589558.8729 | 1118538.7317 | 2589535 | 1118532.3071
2 | 2589517.9947 | 1118527.7307 | 2589533.3954 | 1118531.8753
3 | 2589558.8729 | 1118538.7317 | 2589554.9666 | 1118523.9073
4 | 2589589.3226 | 1118547.8389 | 2589558.8729 | 1118538.7317
5 | 2589496.355 | 1118521.9101 | 2589517.9947 | 1118527.7307
6 | 2589589.3226 | 1118547.8389 | 2589596.7867 | 1118549.1155 | 2589600.7542 | 1118509.7115 | 2589607.0911 | 1118510.6454
7 | 2589589.3226 | 1118547.8389 | 2589596.7867 | 1118549.1155 | 2589596.3308 | 1118553.2405 | 2589602.2667 | 1118554.3308 | 2589647.7769 | 1118562.2895 | 2589660.912 | 1118563.234
8 | 2589589.3226 | 1118547.8389 | 2589589.1255 | 1118554.2979 | 2589589.5521 | 1118555.5756 | 2589589.6563 | 1118558.1195
9 | 2589496.355 | 1118521.9101 | 2589492.673 | 1118534.7259
10 | 2589607.0911 | 1118510.6454 | 2589609.0311 | 1118494.5675
11 | 2589607.0911 | 1118510.6454 | 2589627.6185 | 1118513.6775
12 | 2589660.912 | 1118563.234 | 2589666.3475 | 1118565.0144 | 2589673.5507 | 1118574.0076
13 | 2589589.5243 | 1118561.8232 | 2589589.681 | 1118558.7214 | 2589589.6563 | 1118558.1195
14 | 2589589.2846 | 1118472.4463 | 2589588.5197 | 1118478.3787
15 | 2589589.2846 | 1118472.4463 | 2589598.2151 | 1118473.8205 | 2589600.5524 | 1118455.5519
16 | 2589600.5524 | 1118455.5519 | 2589580.0333 | 1118456.1867
17 | 2589600.5524 | 1118455.5519 | 2589602.8922 | 1118438.6729 | 2589567.8158 | 1118431.7747
18 | 2589600.5524 | 1118455.5519 | 2589608.5387 | 1118455.3046 | 2589607.9516 | 1118459.4076 | 2589613.7022 | 1118460.3426
19 | 2589557.2021 | 1118456.5053 | 2589566.7686 | 1118455.2881 | 2589567.8158 | 1118431.7747
20 | 2589609.0311 | 1118494.5675 | 2589613.7022 | 1118460.3426
21 | 2589613.7022 | 1118460.3426 | 2589658.3751 | 1118467.6102
22 | 2589609.0311 | 1118494.5675 | 2589635.9223 | 1118497.8799
23 | 2589670.2963 | 1118469.5496 | 2589658.3751 | 1118467.6102
24 | 2589537.4046 | 1118804.0771 | 2589537.8127 | 1118821.3404 | 2589536.9136 | 1118823.4208
25 | 2589479.9114 | 1118799.7753 | 2589479.2364 | 1118802.0665 | 2589488.1396 | 1118805.7305 | 2589519.19 | 1118819.2941 | 2589522.7731 | 1118820.8552 | 2589535.6532 | 1118826.3244 | 2589536.9136 | 1118823.4208
26 | 2589479.9114 | 1118799.7753 | 2589480.9073 | 1118800.0515 | 2589481.6633 | 1118799.9612 | 2589482.9204 | 1118799.5922 | 2589484.0923 | 1118799.0454 | 2589485.2179 | 1118798.4543 | 2589486.2272 | 1118797.5743 | 2589486.9817 | 1118796.6614 | 2589487.4358 | 1118795.9825 | 2589490.8251 | 1118797.0326 | 2589495.8201 | 1118780.8827 | 2589504.5938 | 1118754.6322 | 2589506.3746 | 1118749.2598
27 | 2589479.9114 | 1118799.7753 | 2589475.9115 | 1118798.0592 | 2589470.0383 | 1118795.5013
28 | 2589558.6327 | 1118573.7048 | 2589550.1878 | 1118616.3404
29 | 2589541.887 | 1118652.9617 | 2589550.9377 | 1118625.9994 | 2589548.3752 | 1118625.6259 | 2589550.1878 | 1118616.3404
30 | 2589550.1878 | 1118616.3404 | 2589548.3752 | 1118625.6259 | 2589550.9377 | 1118625.9994 | 2589557.9921 | 1118626.8876 | 2589559.5146 | 1118619.3813 | 2589568.1015 | 1118618.5215 | 2589574.1198 | 1118618.2665 | 2589575.4943 | 1118609.9378 | 2589576.1461 | 1118603.0888
31 | 2589532.6969 | 1118679.5908 | 2589541.887 | 1118652.9617
32 | 2589541.887 | 1118652.9617 | 2589528.832 | 1118650.8462
33 | 2589576.1461 | 1118603.0888 | 2589577.272 | 1118591.2575
34 | 2589532.6969 | 1118679.5908 | 2589523.5264 | 1118677.5947 | 2589519.0242 | 1118676.6253
35 | 2589532.6969 | 1118679.5908 | 2589530.3629 | 1118686.3537 | 2589529.3178 | 1118688.8568 | 2589522.4404 | 1118705.2991
36 | 2589508.7568 | 1118699.4201 | 2589522.4404 | 1118705.2991
37 | 2589506.3746 | 1118749.2598 | 2589510.9107 | 1118735.3451 | 2589518.8455 | 1118714.6655 | 2589522.4404 | 1118705.2991
38 | 2589506.3746 | 1118749.2598 | 2589488.6536 | 1118741.7382
39 | 2589506.3746 | 1118749.2598 | 2589504.5938 | 1118754.6322 | 2589508.4771 | 1118755.7593 | 2589511.4571 | 1118756.6323 | 2589512.2827 | 1118756.6198
40 | 2589589.5243 | 1118561.8232 | 2589589.2631 | 1118566.9595 | 2589588.6685 | 1118571.1403 | 2589586.6039 | 1118573.0893 | 2589583.6288 | 1118575.0843 | 2589578.7106 | 1118577.9387 | 2589578.2907 | 1118580.5518 | 2589577.272 | 1118591.2575
41 | 2589512.2827 | 1118756.6198 | 2589519.2194 | 1118756.5076 | 2589521.3906 | 1118758.1602 | 2589541.0619 | 1118757.9764
42 | 2589541.2446 | 1118757.9747 | 2589541.0619 | 1118757.9764
43 | 2589654.7762 | 1118517.6888 | 2589627.6185 | 1118513.6775
44 | 2589635.9223 | 1118497.8799 | 2589654.5723 | 1118500.1772
45 | 2589470.0383 | 1118795.5013 | 2589452.9305 | 1118788.0502 | 2589445.2097 | 1118784.6462
46 | 2589421.7637 | 1118774.3093 | 2589445.2097 | 1118784.6462
47 | 2589421.7637 | 1118774.3093 | 2589429.9071 | 1118746.1589
48 | 2589483.1083 | 1118739.3845 | 2589488.6536 | 1118741.7382
49 | 2589670.2963 | 1118469.5496 | 2589672.7045 | 1118469.9457 | 2589677.1484 | 1118469.4156 | 2589681.1813 | 1118467.7634 | 2589682.8356 | 1118464.9703 | 2589684.842 | 1118455.5632
50 | 2589654.7762 | 1118517.6888 | 2589652.9234 | 1118530.6762 | 2589652.1125 | 1118532.3999
51 | 2589654.7762 | 1118517.6888 | 2589673.401 | 1118520.4385
52 | 2589483.1083 | 1118739.3845 | 2589487.4871 | 1118728.2492
53 | 2589483.1083 | 1118739.3845 | 2589465.2549 | 1118731.7898 | 2589454.1399 | 1118726.697

## bus_geodata
| x | y | coords
0 | 2589535 | 1118532.3071
1 | 2589533.3954 | 1118531.8753
2 | 2589558.8729 | 1118538.7317
3 | 2589517.9947 | 1118527.7307
4 | 2589554.9666 | 1118523.9073
5 | 2589589.3226 | 1118547.8389
6 | 2589496.355 | 1118521.9101
7 | 2589607.0911 | 1118510.6454
8 | 2589660.912 | 1118563.234
9 | 2589589.6563 | 1118558.1195
10 | 2589492.673 | 1118534.7259
11 | 2589589.2846 | 1118472.4463
12 | 2589588.5197 | 1118478.3787
13 | 2589600.5524 | 1118455.5519
14 | 2589567.8158 | 1118431.7747
15 | 2589557.2021 | 1118456.5053
16 | 2589613.7022 | 1118460.3426
17 | 2589609.0311 | 1118494.5675
18 | 2589658.3751 | 1118467.6102
19 | 2589536.9136 | 1118823.4208
20 | 2589537.4046 | 1118804.0771
21 | 2589479.9114 | 1118799.7753
22 | 2589550.1878 | 1118616.3404
23 | 2589558.6327 | 1118573.7048
24 | 2589541.887 | 1118652.9617
25 | 2589576.1461 | 1118603.0888
26 | 2589532.6969 | 1118679.5908
27 | 2589528.832 | 1118650.8462
28 | 2589522.4404 | 1118705.2991
29 | 2589508.7568 | 1118699.4201
30 | 2589506.3746 | 1118749.2598
31 | 2589580.0333 | 1118456.1867
32 | 2589589.5243 | 1118561.8232
33 | 2589577.272 | 1118591.2575
34 | 2589512.2827 | 1118756.6198
35 | 2589541.0619 | 1118757.9764
36 | 2589627.6185 | 1118513.6775
37 | 2589673.5507 | 1118574.0076
38 | 2589635.9223 | 1118497.8799
39 | 2589470.0383 | 1118795.5013
40 | 2589421.7637 | 1118774.3093
41 | 2589445.2097 | 1118784.6462
42 | 2589429.9071 | 1118746.1589
43 | 2589488.6536 | 1118741.7382
44 | 2589670.2963 | 1118469.5496
45 | 2589541.2446 | 1118757.9747
46 | 2589654.7762 | 1118517.6888
47 | 2589654.5723 | 1118500.1772
48 | 2589519.0242 | 1118676.6253
49 | 2589483.1083 | 1118739.3845
50 | 2589652.1125 | 1118532.3999
51 | 2589673.401 | 1118520.4385
52 | 2589454.1399 | 1118726.697
53 | 2589487.4871 | 1118728.2492
54 | 2589684.842 | 1118455.5632
55 | 2589548.3752 | 1118625.6259

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1