## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6023-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6023-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6023-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6023-1_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6023-1_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6023-1_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6023-1_0_5_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_6023-1_0_5_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_6023-1_0_5_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_6023-1_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6023-1_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6023-1_0_5_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_6023-1_0_5_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_6023-1_0_5_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_6023-1_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6023-1_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6023-1_0_5_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_6023-1_0_5_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_6023-1_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6023-1_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6023-1_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6023-1_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6023-1_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6023-1_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6023-1_0_5_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_6023-1_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6023-1_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6023-1_0_5_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_6023-1_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6023-1_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_6023-1_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_6023-1_0_5_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_6023-1_0_5_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_6023-1_0_5_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_6023-1_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6023-1_0_5_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6023-1_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_6023-1_0_5_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_6023-1_0_5_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_6023-1_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_6023-1_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_6023-1_0_5_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_6023-1_0_5_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_6023-1_0_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_6023-1_0_5_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_6023-1_0_5_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_6023-1_0_5_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_6023-1_0_5_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_6023-1_0_5_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_6023-1_0_5_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_6023-1_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_6023-1_0_5_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_6023-1_0_5_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_6023-1_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6023-1_0_5_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_6023-1_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_6023-1_0_5_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_6023-1_0_5_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6023-1_0_5_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_6023-1_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_MV_267_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6023-1_0_5_load_0 | 0 | 0.015759 | 0.0039495 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6023-1_0_5_load_40 | 7 | 0.031155 | 0.0078082 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6023-1_0_5_load_64 | 8 | 0.0004338 | 0.00010872 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6023-1_0_5_load_9 | 9 | 0.00073946 | 0.00018533 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6023-1_0_5_load_7 | 10 | 0.00089569 | 0.00022448 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6023-1_0_5_load_38 | 12 | 0.023665 | 0.0059309 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6023-1_0_5_load_63 | 13 | 0.009583 | 0.0024017 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6023-1_0_5_load_33 | 16 | 0.062636 | 0.015698 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6023-1_0_5_load_11 | 18 | 0.00081909 | 0.00020528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6023-1_0_5_load_14 | 21 | 0.0012284 | 0.00030786 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6023-1_0_5_load_41 | 24 | 0.0018813 | 0.0004715 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6023-1_0_5_load_21 | 26 | 0.0016044 | 0.0004021 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6023-1_0_5_load_31 | 28 | 0.00084466 | 0.00021169 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6023-1_0_5_load_43 | 30 | 0.013686 | 0.00343 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6023-1_0_5_load_61 | 31 | 0.0063001 | 0.001579 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6023-1_0_5_load_44 | 33 | 0.0015305 | 0.00038359 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6023-1_0_5_load_20 | 34 | 0.001128 | 0.00028271 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6023-1_0_5_load_36 | 35 | 0.021817 | 0.0054679 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6023-1_0_5_load_35 | 36 | 0.018292 | 0.0045845 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6023-1_0_5_load_45 | 37 | 0.0037792 | 0.00094715 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6023-1_0_5_load_46 | 38 | 0.0039289 | 0.00098467 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6023-1_0_5_load_48 | 39 | 0.0015466 | 0.00038762 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6023-1_0_5_load_49 | 40 | 0.0015249 | 0.00038218 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6023-1_0_5_load_53 | 42 | 0.00050406 | 0.00012633 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6023-1_0_5_load_54 | 44 | 0.0056585 | 0.0014181 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6023-1_0_5_load_65 | 48 | 0.0013068 | 0.00032751 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6023-1_0_5_load_22 | 49 | 0.026843 | 0.0067276 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6023-1_0_5_load_59 | 51 | 0.01243 | 0.0031152 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6023-1_0_5_load_60 | 52 | 0.029876 | 0.0074877 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6023-1_0_5_load_39 | 53 | 0.018334 | 0.004595 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6023-1_0_5_load_26 | 54 | 0.038113 | 0.009552 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6023-1_0_5_load_62 | 58 | 0.0011087 | 0.00027786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6023-1_0_5_load_50 | 59 | 0.0042093 | 0.001055 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6023-1_0_5_line_0 |  | 0 | 1 | 0.046557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6023-1_0_5_line_1 |  | 0 | 2 | 0.050341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6023-1_0_5_line_2 |  | 1 | 3 | 0.060576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6023-1_0_5_line_3 |  | 1 | 4 | 0.0814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6023-1_0_5_line_4 |  | 2 | 5 | 0.036729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6023-1_0_5_line_5 |  | 3 | 8 | 0.014127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6023-1_0_5_line_6 |  | 4 | 9 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6023-1_0_5_line_7 |  | 4 | 10 | 0.1029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6023-1_0_5_line_8 |  | 5 | 6 | 0.031775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6023-1_0_5_line_9 |  | 5 | 7 | 0.031449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6023-1_0_5_line_10 |  | 6 | 11 | 0.046652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6023-1_0_5_line_11 |  | 6 | 12 | 0.026853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6023-1_0_5_line_12 |  | 9 | 13 | 0.13148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6023-1_0_5_line_13 |  | 10 | 14 | 0.089175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6023-1_0_5_line_14 |  | 11 | 35 | 0.058318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6023-1_0_5_line_15 |  | 11 | 50 | 0.060143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6023-1_0_5_line_16 |  | 12 | 53 | 0.036218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6023-1_0_5_line_17 |  | 14 | 15 | 0.104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6023-1_0_5_line_18 |  | 15 | 16 | 0.051986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6023-1_0_5_line_19 |  | 16 | 17 | 0.063198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6023-1_0_5_line_20 |  | 17 | 57 | 0.010389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6023-1_0_5_line_21 |  | 18 | 19 | 0.0078389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6023-1_0_5_line_22 |  | 18 | 20 | 0.0053089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6023-1_0_5_line_23 |  | 19 | 21 | 0.019707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6023-1_0_5_line_24 |  | 19 | 22 | 0.026617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6023-1_0_5_line_25 |  | 20 | 23 | 0.030125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6023-1_0_5_line_26 |  | 22 | 24 | 0.04601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6023-1_0_5_line_27 |  | 23 | 27 | 0.02205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6023-1_0_5_line_28 |  | 23 | 28 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6023-1_0_5_line_29 |  | 23 | 25 | 0.059491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6023-1_0_5_line_30 |  | 24 | 29 | 0.016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6023-1_0_5_line_31 |  | 25 | 26 | 0.057831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6023-1_0_5_line_32 |  | 26 | 33 | 0.075304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6023-1_0_5_line_33 |  | 26 | 34 | 0.031901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6023-1_0_5_line_34 |  | 27 | 35 | 0.036754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6023-1_0_5_line_35 |  | 27 | 36 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6023-1_0_5_line_36 |  | 29 | 30 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6023-1_0_5_line_37 |  | 31 | 32 | 0.074037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6023-1_0_5_line_38 |  | 32 | 59 | 0.058688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6023-1_0_5_line_39 |  | 32 | 37 | 0.0020149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6023-1_0_5_line_40 |  | 33 | 37 | 0.03712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6023-1_0_5_line_41 |  | 33 | 38 | 0.022977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6023-1_0_5_line_42 |  | 38 | 39 | 0.016594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6023-1_0_5_line_43 |  | 38 | 40 | 0.03373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6023-1_0_5_line_44 |  | 40 | 41 | 0.018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6023-1_0_5_line_45 |  | 41 | 42 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6023-1_0_5_line_46 |  | 42 | 43 | 0.017042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6023-1_0_5_line_47 |  | 43 | 48 | 0.023024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6023-1_0_5_line_48 |  | 43 | 45 | 0.039664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6023-1_0_5_line_49 |  | 44 | 45 | 0.077917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6023-1_0_5_line_50 |  | 44 | 46 | 0.057376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6023-1_0_5_line_51 |  | 45 | 47 | 0.07497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6023-1_0_5_line_52 |  | 46 | 51 | 0.039336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6023-1_0_5_line_53 |  | 47 | 52 | 0.0036535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6023-1_0_5_line_54 |  | 49 | 50 | 0.064372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6023-1_0_5_line_55 |  | 54 | 55 | 0.0073183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6023-1_0_5_line_56 |  | 55 | 56 | 0.048855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6023-1_0_5_line_57 |  | 56 | 58 | 0.03027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6023-1_0_5_line_58 |  | 57 | 58 | 0.026949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6023-1_0_5_trafo_13 | 0.63 MVA 20/0.4 kV | 60 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2589056.5882 | 1118415.5311 | 2589070.1664 | 1118370.9979
1 | 2589084.8481 | 1118322.8453 | 2589070.1664 | 1118370.9979
2 | 2589056.5882 | 1118415.5311 | 2589063.7377 | 1118417.6524 | 2589081.1791 | 1118422.8233 | 2589070.6524 | 1118456.1254
3 | 2588994.2371 | 1118415.3781 | 2589005.4389 | 1118422.2832 | 2589011.3284 | 1118402.0959 | 2589056.5882 | 1118415.5311
4 | 2589084.8481 | 1118322.8453 | 2589089.2801 | 1118324.2046 | 2589110.3123 | 1118330.6251 | 2589113.3584 | 1118320.9927
5 | 2589070.6524 | 1118456.1254 | 2589083.0943 | 1118462.8158
6 | 2588994.2371 | 1118415.3781 | 2588996.5918 | 1118411.7831 | 2588999.5747 | 1118401.4615 | 2589001.9508 | 1118393.626
7 | 2588994.2371 | 1118415.3781 | 2588969.2385 | 1118400.4277 | 2588956.1566 | 1118395.0935 | 2588899.0223 | 1118377.9842
8 | 2589113.3584 | 1118320.9927 | 2589122.9341 | 1118290.6938
9 | 2589113.3584 | 1118320.9927 | 2589083.509 | 1118311.0892
10 | 2589122.9341 | 1118290.6938 | 2589123.5861 | 1118288.536 | 2589136.3465 | 1118248.2598 | 2589134.2926 | 1118247.6299
11 | 2589122.9341 | 1118290.6938 | 2589097.5859 | 1118281.8319
12 | 2589040.1061 | 1118267.7996 | 2589001.9508 | 1118393.626
13 | 2588813.5958 | 1118352.4027 | 2588899.0223 | 1118377.9842
14 | 2589134.2926 | 1118247.6299 | 2589078.5703 | 1118230.4244
15 | 2589134.2926 | 1118247.6299 | 2589136.3465 | 1118248.2598 | 2589191.8458 | 1118265.0903
16 | 2589097.5859 | 1118281.8319 | 2589094.4641 | 1118280.7405 | 2589089.1297 | 1118279.6162 | 2589086.2821 | 1118279.577 | 2589083.9613 | 1118280.6595 | 2589081.0089 | 1118282.4213 | 2589078.5794 | 1118283.1482 | 2589075.2145 | 1118282.9431 | 2589073.2461 | 1118282.591 | 2589063.029 | 1118279.393
17 | 2588713.7308 | 1118322.3856 | 2588726.4089 | 1118326.197 | 2588795.4976 | 1118346.9782 | 2588813.5958 | 1118352.4027
18 | 2588713.7308 | 1118322.3856 | 2588725.9409 | 1118271.8542
19 | 2588740.7846 | 1118210.4243 | 2588725.9409 | 1118271.8542
20 | 2588740.7846 | 1118210.4243 | 2588750.8908 | 1118212.9511
21 | 2588980.9791 | 1118200.2967 | 2588988.4691 | 1118202.6093
22 | 2588993.5417 | 1118204.1756 | 2588988.4691 | 1118202.6093
23 | 2588975.3881 | 1118219.194 | 2588980.9791 | 1118200.2967
24 | 2588957.5268 | 1118195.8153 | 2588958.386 | 1118193.0568 | 2588964.7334 | 1118195.2796 | 2588966.1233 | 1118195.7106 | 2588980.9791 | 1118200.2967
25 | 2588993.5417 | 1118204.1756 | 2589008.5905 | 1118208.817 | 2589022.3267 | 1118213.0607
26 | 2588957.5268 | 1118195.8153 | 2588948.7118 | 1118224.0231 | 2588932.8091 | 1118219.7873
27 | 2589022.3267 | 1118213.0607 | 2589043.4522 | 1118219.5809
28 | 2589022.3267 | 1118213.0607 | 2589016.8568 | 1118231.8563
29 | 2589022.3267 | 1118213.0607 | 2589008.5905 | 1118208.817 | 2589021.8081 | 1118165.6828
30 | 2588917.3348 | 1118215.6656 | 2588932.8091 | 1118219.7873
31 | 2589021.8081 | 1118165.6828 | 2589033.4838 | 1118127.5872 | 2589016.4055 | 1118121.9439
32 | 2589016.4055 | 1118121.9439 | 2589046.4513 | 1118052.8935
33 | 2588994.5123 | 1118138.1588 | 2588997.3742 | 1118130.9548 | 2589000.8841 | 1118126.0015 | 2589006.6702 | 1118120.8328 | 2589009.562 | 1118119.6825 | 2589016.4055 | 1118121.9439
34 | 2589043.4522 | 1118219.5809 | 2589078.5703 | 1118230.4244
35 | 2589043.4522 | 1118219.5809 | 2589038.551 | 1118235.9979 | 2589038.5018 | 1118235.9827
36 | 2588917.3348 | 1118215.6656 | 2588891.3599 | 1118208.7445
37 | 2588946.9122 | 1118081.0549 | 2589009.1711 | 1118040.989
38 | 2589009.1711 | 1118040.989 | 2588977.0638 | 1118030.4204 | 2588983.6992 | 1118006.4354
39 | 2589009.1711 | 1118040.989 | 2589011.0905 | 1118041.6019
40 | 2589046.4513 | 1118052.8935 | 2589011.0905 | 1118041.6019
41 | 2589053.5035 | 1118031.0255 | 2589046.4513 | 1118052.8935
42 | 2589053.5035 | 1118031.0255 | 2589069.4756 | 1118035.5261
43 | 2589053.5035 | 1118031.0255 | 2589063.8614 | 1117998.9257
44 | 2589069.5113 | 1117981.4164 | 2589063.8614 | 1117998.9257
45 | 2589069.5113 | 1117981.4164 | 2589074.4147 | 1117983.0083 | 2589087.4756 | 1117987.2402
46 | 2589103.6879 | 1117992.4932 | 2589087.4756 | 1117987.2402
47 | 2589096.0564 | 1118014.2177 | 2589103.6879 | 1117992.4932
48 | 2589103.6879 | 1117992.4932 | 2589140.6365 | 1118004.4767 | 2589141.4164 | 1118004.7309
49 | 2589141.4164 | 1118004.7309 | 2589119.1881 | 1118079.4103
50 | 2589142.5672 | 1118116.3726 | 2589119.156 | 1118109.1447 | 2589115.8409 | 1118106.6829 | 2589113.8676 | 1118103.6849 | 2589113.3422 | 1118099.0503 | 2589119.1881 | 1118079.4103
51 | 2589141.4164 | 1118004.7309 | 2589151.1843 | 1118007.8926 | 2589197.6921 | 1118022.9719 | 2589192.9114 | 1118038.0434
52 | 2589142.5672 | 1118116.3726 | 2589147.0991 | 1118108.8941 | 2589157.0579 | 1118079.969
53 | 2589192.9114 | 1118038.0434 | 2589191.8079 | 1118041.5263
54 | 2589191.8458 | 1118265.0903 | 2589198.6134 | 1118265.0448 | 2589201.3025 | 1118262.7721 | 2589217.142 | 1118211.0599
55 | 2588810.3528 | 1118160.6589 | 2588803.3023 | 1118158.6972
56 | 2588810.3528 | 1118160.6589 | 2588808.2782 | 1118169.6116 | 2588797.9084 | 1118207.8942
57 | 2588797.9084 | 1118207.8942 | 2588768.5723 | 1118200.4317
58 | 2588750.8908 | 1118212.9511 | 2588755.1356 | 1118200.8706 | 2588758.6507 | 1118198.7963 | 2588766.9333 | 1118200.0148 | 2588768.5723 | 1118200.4317

## bus_geodata
| x | y | coords
0 | 2589070.1664 | 1118370.9979
1 | 2589056.5882 | 1118415.5311
2 | 2589084.8481 | 1118322.8453
3 | 2589070.6524 | 1118456.1254
4 | 2588994.2371 | 1118415.3781
5 | 2589113.3584 | 1118320.9927
6 | 2589122.9341 | 1118290.6938
7 | 2589083.509 | 1118311.0892
8 | 2589083.0943 | 1118462.8158
9 | 2589001.9508 | 1118393.626
10 | 2588899.0223 | 1118377.9842
11 | 2589134.2926 | 1118247.6299
12 | 2589097.5859 | 1118281.8319
13 | 2589040.1061 | 1118267.7996
14 | 2588813.5958 | 1118352.4027
15 | 2588713.7308 | 1118322.3856
16 | 2588725.9409 | 1118271.8542
17 | 2588740.7846 | 1118210.4243
18 | 2588988.4691 | 1118202.6093
19 | 2588980.9791 | 1118200.2967
20 | 2588993.5417 | 1118204.1756
21 | 2588975.3881 | 1118219.194
22 | 2588957.5268 | 1118195.8153
23 | 2589022.3267 | 1118213.0607
24 | 2588932.8091 | 1118219.7873
25 | 2589021.8081 | 1118165.6828
26 | 2589016.4055 | 1118121.9439
27 | 2589043.4522 | 1118219.5809
28 | 2589016.8568 | 1118231.8563
29 | 2588917.3348 | 1118215.6656
30 | 2588891.3599 | 1118208.7445
31 | 2588946.9122 | 1118081.0549
32 | 2589009.1711 | 1118040.989
33 | 2589046.4513 | 1118052.8935
34 | 2588994.5123 | 1118138.1588
35 | 2589078.5703 | 1118230.4244
36 | 2589038.5018 | 1118235.9827
37 | 2589011.0905 | 1118041.6019
38 | 2589053.5035 | 1118031.0255
39 | 2589069.4756 | 1118035.5261
40 | 2589063.8614 | 1117998.9257
41 | 2589069.5113 | 1117981.4164
42 | 2589087.4756 | 1117987.2402
43 | 2589103.6879 | 1117992.4932
44 | 2589119.1881 | 1118079.4103
45 | 2589141.4164 | 1118004.7309
46 | 2589142.5672 | 1118116.3726
47 | 2589192.9114 | 1118038.0434
48 | 2589096.0564 | 1118014.2177
49 | 2589217.142 | 1118211.0599
50 | 2589191.8458 | 1118265.0903
51 | 2589157.0579 | 1118079.969
52 | 2589191.8079 | 1118041.5263
53 | 2589063.029 | 1118279.393
54 | 2588803.3023 | 1118158.6972
55 | 2588810.3528 | 1118160.6589
56 | 2588797.9084 | 1118207.8942
57 | 2588750.8908 | 1118212.9511
58 | 2588768.5723 | 1118200.4317
59 | 2588983.6992 | 1118006.4354
60 | 2588980.9791 | 1118200.2967

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1