## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6023-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6023-27_0_3_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_6023-27_0_3_node_30 | 0.4 | n |  | TRUE
3 | bus_LV_6023-27_0_3_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_6023-27_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_6023-27_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6023-27_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6023-27_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6023-27_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_6023-27_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_6023-27_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6023-27_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_6023-27_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6023-27_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6023-27_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6023-27_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6023-27_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_6023-27_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_6023-27_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6023-27_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6023-27_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6023-27_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6023-27_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_6023-27_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6023-27_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6023-27_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6023-27_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6023-27_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_6023-27_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6023-27_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6023-27_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6023-27_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_MV_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6023-27_0_3_load_0 | 0 | 0.010395 | 0.0026053 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6023-27_0_3_load_33 | 1 | 0.00067116 | 0.00016821 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6023-27_0_3_load_30 | 2 | 0.00069777 | 0.00017488 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6023-27_0_3_load_1 | 3 | 0.0013895 | 0.00034824 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6023-27_0_3_load_2 | 4 | 0.00086959 | 0.00021794 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6023-27_0_3_load_5 | 7 | 0.0010659 | 0.00026714 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6023-27_0_3_load_16 | 8 | 0.0040454 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6023-27_0_3_load_19 | 11 | 0.0009972 | 0.00024992 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6023-27_0_3_load_6 | 12 | 0.0038436 | 0.00096329 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6023-27_0_3_load_9 | 15 | 0.0040899 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6023-27_0_3_load_26 | 16 | 0.0031845 | 0.00079811 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6023-27_0_3_load_28 | 17 | 0.0036366 | 0.00091142 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6023-27_0_3_load_31 | 22 | 0.0021558 | 0.00054029 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6023-27_0_3_load_13 | 23 | 0.0016207 | 0.00040617 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6023-27_0_3_load_14 | 24 | 0.0031641 | 0.000793 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6023-27_0_3_load_25 | 26 | 0.00091212 | 0.0002286 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6023-27_0_3_load_32 | 27 | 0.00066349 | 0.00016629 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6023-27_0_3_load_21 | 29 | 0.0045003 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6023-27_0_3_load_23 | 30 | 0.0010747 | 0.00026935 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6023-27_0_3_load_24 | 31 | 0.00078298 | 0.00019623 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6023-27_0_3_line_0 |  | 0 | 1 | 0.25067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6023-27_0_3_line_1 |  | 1 | 2 | 0.1451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6023-27_0_3_line_2 |  | 2 | 11 | 0.17241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6023-27_0_3_line_3 |  | 3 | 4 | 0.0079677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6023-27_0_3_line_4 |  | 3 | 5 | 0.19284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6023-27_0_3_line_5 |  | 4 | 6 | 0.13581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6023-27_0_3_line_6 |  | 5 | 7 | 0.17586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6023-27_0_3_line_7 |  | 5 | 8 | 0.20816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6023-27_0_3_line_8 |  | 6 | 10 | 0.042344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6023-27_0_3_line_9 |  | 8 | 9 | 0.035893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6023-27_0_3_line_10 |  | 9 | 28 | 0.026513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6023-27_0_3_line_11 |  | 10 | 11 | 0.10943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6023-27_0_3_line_12 |  | 12 | 13 | 0.0063602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6023-27_0_3_line_13 |  | 12 | 14 | 0.073286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6023-27_0_3_line_14 |  | 13 | 15 | 0.062932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6023-27_0_3_line_15 |  | 14 | 16 | 0.22281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6023-27_0_3_line_16 |  | 15 | 19 | 0.055376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6023-27_0_3_line_17 |  | 16 | 17 | 0.18949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6023-27_0_3_line_18 |  | 16 | 18 | 0.23467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6023-27_0_3_line_19 |  | 18 | 29 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6023-27_0_3_line_20 |  | 18 | 28 | 0.054226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6023-27_0_3_line_21 |  | 19 | 23 | 0.027307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6023-27_0_3_line_22 |  | 19 | 24 | 0.018777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6023-27_0_3_line_23 |  | 19 | 25 | 0.031957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6023-27_0_3_line_24 |  | 20 | 21 | 0.009758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6023-27_0_3_line_25 |  | 20 | 22 | 0.031843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6023-27_0_3_line_26 |  | 21 | 25 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6023-27_0_3_line_27 |  | 21 | 26 | 0.020756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6023-27_0_3_line_28 |  | 25 | 27 | 0.023217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6023-27_0_3_line_29 |  | 26 | 31 | 0.0064953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6023-27_0_3_line_30 |  | 30 | 31 | 0.023606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6023-27_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 32 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52
0 | 2589426.0833 | 1122125.9455 | 2589526.471 | 1121896.2586
1 | 2589389.0902 | 1122266.2485 | 2589426.0833 | 1122125.9455
2 | 2589389.0902 | 1122266.2485 | 2589226.0403 | 1122322.269
3 | 2589128.7227 | 1122388.2936 | 2589128.7227 | 1122388.2936 | 2589130.1965 | 1122393.0377 | 2589129.9993 | 1122396.0311
4 | 2589052.2461 | 1122231.5001 | 2589055.7643 | 1122236.6295 | 2589058.59 | 1122242.594 | 2589061.2824 | 1122247.3358 | 2589063.9786 | 1122250.01 | 2589069.49 | 1122257.059 | 2589074.2667 | 1122263.0199 | 2589076.4701 | 1122266.0618 | 2589079.0408 | 1122271.7822 | 2589080.1498 | 1122275.1929 | 2589080.401 | 1122277.627 | 2589081.1469 | 1122284.9292 | 2589082.2521 | 1122290.53 | 2589082.8673 | 1122293.8193 | 2589081.9756 | 1122303.8592 | 2589082.2219 | 1122307.8163 | 2589082.291 | 1122311.8959 | 2589083.7633 | 1122315.7951 | 2589086.2145 | 1122319.448 | 2589092.3951 | 1122325.6398 | 2589096.9759 | 1122329.9003 | 2589100.8919 | 1122333.2948 | 2589104.3146 | 1122336.8237 | 2589106.7651 | 1122340.1098 | 2589108.3603 | 1122343.7531 | 2589108.6142 | 1122347.6545 | 2589108.3736 | 1122351.0678 | 2589106.7927 | 1122355.3283 | 2589103.5105 | 1122361.1815 | 2589102.2907 | 1122364.7077 | 2589101.8124 | 1122368.855 | 2589103.4105 | 1122374.088 | 2589107.2033 | 1122377.6162 | 2589113.1922 | 1122380.1622 | 2589118.0837 | 1122381.4873 | 2589123.091 | 1122382.8233 | 2589126.5194 | 1122385.2517 | 2589128.7227 | 1122388.2936
5 | 2589215.8084 | 1122460.4498 | 2589212.0474 | 1122461.6905 | 2589209.2418 | 1122462.4292 | 2589205.4539 | 1122461.5801 | 2589202.5094 | 1122458.0503 | 2589201.0355 | 1122453.1839 | 2589200.6632 | 1122447.7041 | 2589199.4274 | 1122442.3481 | 2589198.5638 | 1122438.092 | 2589195.9963 | 1122434.0725 | 2589191.586 | 1122430.1896 | 2589184.9852 | 1122426.055 | 2589178.0151 | 1122422.4213 | 2589171.7791 | 1122419.6312 | 2589166.6479 | 1122417.9285 | 2589162.2516 | 1122417.5807 | 2589158.4597 | 1122418.7993 | 2589153.7033 | 1122419.6638 | 2589148.3301 | 1122420.6407 | 2589144.5369 | 1122421.1367 | 2589138.4293 | 1122421.1477 | 2589133.176 | 1122420.1901 | 2589129.9955 | 1122418.3616 | 2589127.7918 | 1122415.0751 | 2589126.1955 | 1122410.8203 | 2589126.5584 | 1122406.8066 | 2589128.8692 | 1122401.0774 | 2589129.9563 | 1122396.6844 | 2589129.9993 | 1122396.0311
6 | 2589052.2461 | 1122231.5001 | 2589051.1482 | 1122234.17 | 2589049.5766 | 1122235.04 | 2589047.0532 | 1122234.1775 | 2589042.7842 | 1122231.7508 | 2589039.1572 | 1122230.4234 | 2589035.7719 | 1122230.5074 | 2589033.5443 | 1122231.1118 | 2589031.5811 | 1122232.9273 | 2589030.2432 | 1122235.1309 | 2589029.9313 | 1122237.4548 | 2589030.3337 | 1122242.4454 | 2589030.8083 | 1122244.7234 | 2589032.8678 | 1122249.1996 | 2589036.1114 | 1122255.9526 | 2589037.0687 | 1122260.7421 | 2589036.8359 | 1122264.1997 | 2589035.5838 | 1122266.87 | 2589033.6898 | 1122268.6076 | 2589031.2471 | 1122269.6348 | 2589028.0927 | 1122269.485 | 2589022.8073 | 1122267.9161 | 2589019.4953 | 1122265.9545 | 2589015.1577 | 1122264.0059 | 2589010.5835 | 1122263.3806 | 2589006.9514 | 1122263.4651 | 2589004.1998 | 1122264.2594 | 2589002.7837 | 1122265.8294 | 2589002.2372 | 1122270.6328 | 2589002.3953 | 1122272.7446 | 2589003.6684 | 1122277.3001 | 2589005.015 | 1122279.8989 | 2589006.989 | 1122283.9751 | 2589008.4989 | 1122287.3517 | 2589009.5285 | 1122289.4731 | 2589009.6876 | 1122292.1519 | 2589009.6916 | 1122294.353 | 2589008.7468 | 1122296.389 | 2589006.546 | 1122298.9943 | 2589002.6878 | 1122301.9028 | 2589000.0064 | 1122303.1639 | 2588996.2284 | 1122303.571 | 2588991.3385 | 1122303.1798 | 2588985.029 | 1122302.491 | 2588979.2752 | 1122302.0236 | 2588976.1213 | 1122302.1072 | 2588974.302 | 1122302.5107 | 2588973.5176 | 1122303.6905 | 2588973.0502 | 1122305.3366 | 2588973.8407 | 1122307.4584 | 2588975.1853 | 1122308.9567 | 2588976.7615 | 1122310.599 | 2588977.1174 | 1122311.1036
7 | 2589242.7206 | 1122147.5356 | 2589052.2461 | 1122231.5001
8 | 2589215.8084 | 1122460.4498 | 2589211.041 | 1122450.9092 | 2589209.7173 | 1122443.8415 | 2589211.5174 | 1122424.2286 | 2589213.7539 | 1122419.9892
9 | 2589237.5391 | 1122115.9421 | 2589233.1132 | 1122129.2676 | 2589232.1473 | 1122132.5488 | 2589234.0053 | 1122136.5252 | 2589242.7206 | 1122147.5356
10 | 2589230.3945 | 1122092.6101 | 2589228.8902 | 1122096.637 | 2589228.732 | 1122098.7383 | 2589228.4979 | 1122101.4956 | 2589231.4732 | 1122109.2608 | 2589237.5391 | 1122115.9421
11 | 2589213.7539 | 1122419.9892 | 2589240.7608 | 1122368.8824 | 2589242.5269 | 1122360.3529 | 2589241.2063 | 1122350.6505 | 2589236.4636 | 1122333.4506 | 2589226.0403 | 1122322.269
12 | 2588867.5651 | 1121911.9161 | 2588870.0679 | 1121914.1014 | 2588872.3481 | 1121916.1083
13 | 2588929.4834 | 1121960.4143 | 2588928.7475 | 1121958.6482 | 2588927.656 | 1121956.438 | 2588923.0715 | 1121950.3879 | 2588918.3913 | 1121946.7614 | 2588910.6244 | 1121942.2291 | 2588898.9735 | 1121935.0804 | 2588884.0093 | 1121925.3255 | 2588875.0968 | 1121918.5276 | 2588872.3481 | 1121916.1083
14 | 2588867.5651 | 1121911.9161 | 2588866.1708 | 1121912.7635 | 2588863.9475 | 1121911.6004 | 2588858.4594 | 1121909.0537 | 2588853.8961 | 1121906.1497 | 2588849.2237 | 1121902.6677 | 2588845.0182 | 1121901.3971 | 2588841.9868 | 1121901.1693 | 2588839.1809 | 1121901.8749 | 2588837.2027 | 1121903.9685 | 2588835.2287 | 1121908.2743 | 2588834.8916 | 1121913.6331 | 2588835.2512 | 1121920.3801 | 2588835.8518 | 1121928.1717 | 2588836.0555 | 1121931.7864
15 | 2589149.656 | 1121926.2435 | 2588929.4834 | 1121960.4143
16 | 2588802.4936 | 1121951.4452 | 2588808.1185 | 1121952.891 | 2588813.3741 | 1121954.8599 | 2588818.5141 | 1121956.8291 | 2588823.6446 | 1121957.8645 | 2588826.9144 | 1121957.7473 | 2588829.9501 | 1121956.2298 | 2588833.4458 | 1121953.1885 | 2588835.3052 | 1121949.461 | 2588836.2272 | 1121943.4118 | 2588836.3303 | 1121936.6639 | 2588836.0555 | 1121931.7864
17 | 2589149.656 | 1121926.2435 | 2589166.4094 | 1121737.4978
18 | 2589191.4288 | 1122055.6731 | 2589195.5928 | 1122042.5703 | 2589198.5591 | 1122028.1245 | 2589196.2674 | 1122018.8575 | 2589187.4556 | 1122007.7345 | 2589178.0937 | 1121999.4918 | 2589163.3454 | 1121997.9843 | 2589151.7695 | 1122002.2295 | 2589129.9897 | 1122018.8659 | 2589124.8463 | 1122019.1753 | 2589121.1117 | 1122018.1038 | 2589117.6069 | 1122016.1425 | 2589115.4881 | 1122013.0115 | 2589113.92 | 1121998.8407 | 2589114.7973 | 1121980.7969 | 2589117.5224 | 1121969.4865 | 2589123.024 | 1121958.3155 | 2589136.2052 | 1121937.5704 | 2589149.656 | 1121926.2435
19 | 2589191.4288 | 1122055.6731 | 2589185.7113 | 1122071.2466 | 2589185.7113 | 1122071.2466
20 | 2589191.4288 | 1122055.6731 | 2589196.2371 | 1122057.7321 | 2589200.6542 | 1122061.0147 | 2589218.1522 | 1122082.138 | 2589225.5914 | 1122089.117 | 2589230.3945 | 1122092.6101
21 | 2588777.6537 | 1121956.0938 | 2588779.515 | 1121953.4112 | 2588782.7815 | 1121951.5375 | 2588787.097 | 1121949.7842 | 2588792.7027 | 1121949.1957 | 2588799.1218 | 1121950.5844 | 2588802.4936 | 1121951.4452
22 | 2588802.4936 | 1121951.4452 | 2588800.8402 | 1121966.4 | 2588801.1725 | 1121970.1162
23 | 2588790.2308 | 1121922.2649 | 2588799.5471 | 1121938.7778 | 2588802.4936 | 1121951.4452
24 | 2588790.057 | 1121895.2519 | 2588793.0889 | 1121895.8021 | 2588799.7309 | 1121896.7124
25 | 2588789.8972 | 1121867.472 | 2588791.2953 | 1121868.6366 | 2588793.7526 | 1121871.1888 | 2588795.7486 | 1121874.5534 | 2588796.1011 | 1121877.4653 | 2588796.5708 | 1121881.1885 | 2588797.5182 | 1121884.6773 | 2588798.574 | 1121888.3994 | 2588799.3995 | 1121892.6999 | 2588799.7309 | 1121896.7124
26 | 2588790.057 | 1121895.2519 | 2588789.2523 | 1121897.9548 | 2588787.3937 | 1121902.1492 | 2588786.8117 | 1121904.3625 | 2588786.9315 | 1121906.5744 | 2588787.4065 | 1121909.0081 | 2588787.8753 | 1121912.2644 | 2588788.7004 | 1121916.3426 | 2588789.9931 | 1121918.897 | 2588790.2308 | 1121922.2649
27 | 2588790.057 | 1121895.2519 | 2588781.3624 | 1121893.6785 | 2588769.624 | 1121891.6039
28 | 2588790.2308 | 1121922.2649 | 2588789.7716 | 1121924.1333 | 2588788.1394 | 1121925.6482 | 2588785.2199 | 1121927.5101 | 2588781.4905 | 1121929.2624 | 2588778.6947 | 1121931.2463 | 2588776.0135 | 1121932.652 | 2588774.0265 | 1121934.1676 | 2588772.3953 | 1121936.1494
29 | 2588769.624 | 1121891.6039 | 2588768.4786 | 1121891.4015 | 2588763.1706 | 1121890.8951
30 | 2588763.1706 | 1121890.8951 | 2588756.5919 | 1121890.2676 | 2588747.5131 | 1121889.4619 | 2588739.9203 | 1121887.3418 | 2588739.9203 | 1121887.3418

## bus_geodata
| x | y | coords
0 | 2589526.471 | 1121896.2586
1 | 2589426.0833 | 1122125.9455
2 | 2589389.0902 | 1122266.2485
3 | 2589128.7227 | 1122388.2936
4 | 2589129.9993 | 1122396.0311
5 | 2589052.2461 | 1122231.5001
6 | 2589215.8084 | 1122460.4498
7 | 2588977.1174 | 1122311.1036
8 | 2589242.7206 | 1122147.5356
9 | 2589237.5391 | 1122115.9421
10 | 2589213.7539 | 1122419.9892
11 | 2589226.0403 | 1122322.269
12 | 2588872.3481 | 1121916.1083
13 | 2588867.5651 | 1121911.9161
14 | 2588929.4834 | 1121960.4143
15 | 2588836.0555 | 1121931.7864
16 | 2589149.656 | 1121926.2435
17 | 2589166.4094 | 1121737.4978
18 | 2589191.4288 | 1122055.6731
19 | 2588802.4936 | 1121951.4452
20 | 2588799.7309 | 1121896.7124
21 | 2588790.057 | 1121895.2519
22 | 2588789.8972 | 1121867.472
23 | 2588777.6537 | 1121956.0938
24 | 2588801.1725 | 1121970.1162
25 | 2588790.2308 | 1121922.2649
26 | 2588769.624 | 1121891.6039
27 | 2588772.3953 | 1121936.1494
28 | 2589230.3945 | 1122092.6101
29 | 2589185.7113 | 1122071.2466
30 | 2588739.9203 | 1121887.3418
31 | 2588763.1706 | 1121890.8951
32 | 2589149.656 | 1121926.2435

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1