## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6023-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6023-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6023-32_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6023-32_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6023-32_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6023-32_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6023-32_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6023-32_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6023-32_0_4_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_6023-32_0_4_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_6023-32_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_6023-32_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6023-32_0_4_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_6023-32_0_4_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_6023-32_0_4_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_6023-32_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_6023-32_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6023-32_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6023-32_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6023-32_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6023-32_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6023-32_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6023-32_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6023-32_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6023-32_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_6023-32_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_6023-32_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6023-32_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6023-32_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6023-32_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6023-32_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6023-32_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6023-32_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6023-32_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_6023-32_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6023-32_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_6023-32_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6023-32_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6023-32_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6023-32_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6023-32_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6023-32_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6023-32_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_6023-32_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_6023-32_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_MV_266_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6023-32_0_4_load_0 | 0 | 0.015525 | 0.0038908 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6023-32_0_4_load_1 | 1 | 0.021357 | 0.0053527 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6023-32_0_4_load_3 | 3 | 0.0055561 | 0.0013925 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6023-32_0_4_load_7 | 6 | 0.017258 | 0.0043252 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6023-32_0_4_load_37 | 8 | 0.011102 | 0.0027823 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6023-32_0_4_load_47 | 9 | 0.005976 | 0.0014977 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6023-32_0_4_load_36 | 10 | 0.012937 | 0.0032423 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6023-32_0_4_load_38 | 12 | 0.0072917 | 0.0018275 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6023-32_0_4_load_35 | 13 | 0.016695 | 0.0041843 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6023-32_0_4_load_45 | 15 | 0.024021 | 0.0060202 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6023-32_0_4_load_9 | 16 | 0.012788 | 0.0032049 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6023-32_0_4_load_12 | 18 | 0.004481 | 0.001123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6023-32_0_4_load_15 | 19 | 0.0041332 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6023-32_0_4_load_14 | 20 | 0.0058515 | 0.0014665 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6023-32_0_4_load_16 | 21 | 0.006369 | 0.0015962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6023-32_0_4_load_17 | 22 | 0.0040798 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6023-32_0_4_load_18 | 23 | 0.0059855 | 0.0015001 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6023-32_0_4_load_29 | 25 | 0.016533 | 0.0041437 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6023-32_0_4_load_27 | 26 | 0.0033721 | 0.00084513 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6023-32_0_4_load_19 | 27 | 0.0066193 | 0.0016589 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6023-32_0_4_load_20 | 28 | 0.004502 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6023-32_0_4_load_22 | 30 | 0.0028643 | 0.00071787 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6023-32_0_4_load_25 | 32 | 0.020568 | 0.0051549 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6023-32_0_4_load_48 | 33 | 0.0044998 | 0.0011278 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6023-32_0_4_load_26 | 34 | 0.024339 | 0.0061 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6023-32_0_4_load_43 | 35 | 0.016532 | 0.0041433 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6023-32_0_4_load_30 | 37 | 0.0037514 | 0.00094018 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6023-32_0_4_load_31 | 38 | 0.0078517 | 0.0019678 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6023-32_0_4_load_32 | 39 | 0.0094883 | 0.002378 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6023-32_0_4_load_33 | 40 | 0.0087844 | 0.0022016 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6023-32_0_4_load_34 | 41 | 0.01149 | 0.0028796 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6023-32_0_4_load_39 | 42 | 0.0095541 | 0.0023945 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6023-32_0_4_load_41 | 44 | 0.043818 | 0.010982 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6023-32_0_4_line_0 |  | 0 | 1 | 0.0042227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6023-32_0_4_line_1 |  | 0 | 2 | 0.0094397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6023-32_0_4_line_2 |  | 1 | 3 | 0.0093192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6023-32_0_4_line_3 |  | 2 | 4 | 0.004512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6023-32_0_4_line_4 |  | 2 | 5 | 0.078451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6023-32_0_4_line_5 |  | 3 | 6 | 0.031321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6023-32_0_4_line_6 |  | 4 | 7 | 0.006394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6023-32_0_4_line_7 |  | 4 | 8 | 0.0093282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6023-32_0_4_line_8 |  | 5 | 9 | 0.05126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6023-32_0_4_line_9 |  | 6 | 11 | 0.053776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6023-32_0_4_line_10 |  | 7 | 10 | 0.01719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6023-32_0_4_line_11 |  | 8 | 12 | 0.015781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6023-32_0_4_line_12 |  | 10 | 13 | 0.010553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6023-32_0_4_line_13 |  | 11 | 14 | 0.048219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6023-32_0_4_line_14 |  | 12 | 42 | 0.005952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6023-32_0_4_line_15 |  | 13 | 41 | 0.010345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6023-32_0_4_line_16 |  | 14 | 15 | 0.020315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6023-32_0_4_line_17 |  | 16 | 17 | 0.075631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6023-32_0_4_line_18 |  | 17 | 18 | 0.034505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6023-32_0_4_line_19 |  | 18 | 19 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6023-32_0_4_line_20 |  | 19 | 20 | 0.000644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6023-32_0_4_line_21 |  | 20 | 21 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6023-32_0_4_line_22 |  | 21 | 22 | 0.031399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6023-32_0_4_line_23 |  | 22 | 23 | 0.0078998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6023-32_0_4_line_24 |  | 23 | 24 | 0.008495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6023-32_0_4_line_25 |  | 24 | 25 | 0.015128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6023-32_0_4_line_26 |  | 24 | 26 | 0.026986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6023-32_0_4_line_27 |  | 25 | 37 | 0.0041549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6023-32_0_4_line_28 |  | 26 | 34 | 0.0022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6023-32_0_4_line_29 |  | 27 | 28 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6023-32_0_4_line_30 |  | 27 | 29 | 0.037459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6023-32_0_4_line_31 |  | 28 | 30 | 0.0028044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6023-32_0_4_line_32 |  | 29 | 31 | 0.091644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6023-32_0_4_line_33 |  | 30 | 32 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6023-32_0_4_line_34 |  | 31 | 33 | 0.044743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6023-32_0_4_line_35 |  | 32 | 34 | 0.011219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6023-32_0_4_line_36 |  | 35 | 36 | 0.020053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6023-32_0_4_line_37 |  | 36 | 44 | 0.069247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6023-32_0_4_line_38 |  | 37 | 38 | 0.009111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6023-32_0_4_line_39 |  | 38 | 39 | 0.011247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6023-32_0_4_line_40 |  | 39 | 40 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6023-32_0_4_line_41 |  | 40 | 41 | 0.0009027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6023-32_0_4_line_42 |  | 42 | 43 | 0.0079829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6023-32_0_4_line_43 |  | 43 | 44 | 0.023473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6023-32_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 45 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2589939.4577 | 1120103.3793 | 2589936.2205 | 1120100.668
1 | 2589947.2574 | 1120108.4954 | 2589944.046 | 1120107.2224 | 2589939.4577 | 1120103.3793
2 | 2589929.0762 | 1120094.6841 | 2589936.2205 | 1120100.668
3 | 2589947.2574 | 1120108.4954 | 2589947.0208 | 1120109.9855 | 2589947.2547 | 1120111.4636 | 2589947.9358 | 1120112.8075
4 | 2589947.2574 | 1120108.4954 | 2589947.9495 | 1120107.1603 | 2589949.02 | 1120106.1024 | 2589950.3612 | 1120105.4221 | 2589951.9809 | 1120105.1859 | 2589953.586 | 1120105.5056 | 2589954.9915 | 1120106.337 | 2589968.0057 | 1120069.2637 | 2589980.5294 | 1120047.9546 | 2589983.4542 | 1120043.87
5 | 2589929.0762 | 1120094.6841 | 2589926.0845 | 1120092.1785 | 2589905.7158 | 1120073.8232
6 | 2589947.9358 | 1120112.8075 | 2589948.9945 | 1120113.8729 | 2589950.4615 | 1120114.6042 | 2589952.0818 | 1120114.8016 | 2589953.6781 | 1120114.4432
7 | 2589947.9358 | 1120112.8075 | 2589940.0276 | 1120117.7548
8 | 2589983.3145 | 1120094.2616 | 2589986.9187 | 1120081.2714 | 2589987.5301 | 1120077.8576 | 2589987.4202 | 1120072.0883 | 2589984.5877 | 1120048.1702 | 2589983.4542 | 1120043.87
9 | 2589860.7781 | 1120044.8206 | 2589893.812 | 1120063.0962 | 2589905.7158 | 1120073.8232
10 | 2589953.6781 | 1120114.4432 | 2589962.4583 | 1120129.2215
11 | 2589940.0276 | 1120117.7548 | 2589936.8 | 1120119.774 | 2589930.2877 | 1120123.5979 | 2589926.4843 | 1120125.8533
12 | 2589967.8486 | 1120138.2942 | 2589962.4583 | 1120129.2215
13 | 2589836.7956 | 1120068.8729 | 2589844.0787 | 1120046.4052 | 2589847.0342 | 1120037.7515 | 2589860.7781 | 1120044.8206
14 | 2589926.4843 | 1120125.8533 | 2589921.3647 | 1120128.8891
15 | 2589967.8486 | 1120138.2942 | 2589973.1325 | 1120147.1877
16 | 2589836.7956 | 1120068.8729 | 2589830.5334 | 1120088.1986
17 | 2590108.4272 | 1120247.7629 | 2590113.0247 | 1120228.9127 | 2590116.5994 | 1120216.6008 | 2590125.186 | 1120188.7953 | 2590130.2144 | 1120175.4012
18 | 2590108.4272 | 1120247.7629 | 2590095.1756 | 1120244.1051 | 2590082.5927 | 1120238.9567 | 2590076.2383 | 1120235.652
19 | 2590059.4735 | 1120226.9333 | 2590076.2383 | 1120235.652
20 | 2590058.9021 | 1120226.6361 | 2590059.4735 | 1120226.9333
21 | 2590058.9021 | 1120226.6361 | 2590051.2918 | 1120222.6783 | 2590045.7314 | 1120219.6936
22 | 2590018.0659 | 1120204.8432 | 2590045.7314 | 1120219.6936
23 | 2590018.0659 | 1120204.8432 | 2590011.1054 | 1120201.107
24 | 2590003.6206 | 1120197.0893 | 2590011.1054 | 1120201.107
25 | 2590003.6206 | 1120197.0893 | 2590002.3852 | 1120196.4243 | 2589995.3746 | 1120184.6245
26 | 2590003.6206 | 1120197.0893 | 2590002.8788 | 1120200.9702 | 2590000.0029 | 1120215.8267 | 2589999.2845 | 1120219.8521 | 2589997.4737 | 1120223.2079
27 | 2589993.2524 | 1120181.0525 | 2589995.3746 | 1120184.6245
28 | 2589996.3994 | 1120225.1988 | 2589997.4737 | 1120223.2079
29 | 2589992.9808 | 1120266.4891 | 2589992.9503 | 1120265.7518 | 2589992.9371 | 1120257.8146 | 2589992.603 | 1120253.0322
30 | 2589988.0407 | 1120300.7883 | 2589992.2734 | 1120299.3139 | 2589991.6892 | 1120295.9243 | 2589993.4808 | 1120278.5683 | 2589992.9808 | 1120266.4891
31 | 2589992.4076 | 1120250.2346 | 2589992.603 | 1120253.0322
32 | 2590043.0581 | 1120365.4619 | 2590032.7875 | 1120363.6002 | 2590021.0538 | 1120358.7618 | 2590011.237 | 1120351.4857 | 2590003.3205 | 1120341.216 | 2589998.871 | 1120332.9082 | 2589991.1511 | 1120310.977 | 2589988.0407 | 1120300.7883
33 | 2589992.4076 | 1120250.2346 | 2589991.8781 | 1120242.6534 | 2589992.1796 | 1120238.4286 | 2589992.5698 | 1120235.5919
34 | 2590043.0581 | 1120365.4619 | 2590043.08 | 1120360.0259 | 2590041.3191 | 1120358.7949 | 2590028.3733 | 1120353.347 | 2590021.4378 | 1120348.4116 | 2590018.5309 | 1120344.6035 | 2590018.1083 | 1120340.9913 | 2590019.4482 | 1120334.9083
35 | 2589996.3994 | 1120225.1988 | 2589994.4394 | 1120228.8312 | 2589993.1019 | 1120231.7238 | 2589992.5698 | 1120235.5919
36 | 2589913.8834 | 1120208.934 | 2589918.1294 | 1120210.8055 | 2589926.6377 | 1120214.9711 | 2589931.5632 | 1120218.291
37 | 2589913.8834 | 1120208.934 | 2589915.9659 | 1120204.1059 | 2589907.904 | 1120199.3171 | 2589899.7347 | 1120185.6908 | 2589898.5428 | 1120183.4139 | 2589895.5551 | 1120177.4938 | 2589893.6242 | 1120171.5608 | 2589892.7885 | 1120165.4925 | 2589893.9633 | 1120157.5978 | 2589895.292 | 1120154.1272 | 2589897.9841 | 1120149.3759
38 | 2589993.2524 | 1120181.0525 | 2589988.5987 | 1120173.2196
39 | 2589982.8542 | 1120163.5508 | 2589988.5987 | 1120173.2196
40 | 2589982.8542 | 1120163.5508 | 2589973.5936 | 1120147.9638
41 | 2589973.1325 | 1120147.1877 | 2589973.5936 | 1120147.9638
42 | 2589914.3803 | 1120132.7513 | 2589919.1205 | 1120130.2199 | 2589921.3647 | 1120128.8891
43 | 2589914.3803 | 1120132.7513 | 2589908.6718 | 1120137.4966 | 2589901.6321 | 1120144.2228 | 2589897.9841 | 1120149.3759

## bus_geodata
| x | y | coords
0 | 2589939.4577 | 1120103.3793
1 | 2589936.2205 | 1120100.668
2 | 2589947.2574 | 1120108.4954
3 | 2589929.0762 | 1120094.6841
4 | 2589947.9358 | 1120112.8075
5 | 2589983.4542 | 1120043.87
6 | 2589905.7158 | 1120073.8232
7 | 2589953.6781 | 1120114.4432
8 | 2589940.0276 | 1120117.7548
9 | 2589983.3145 | 1120094.2616
10 | 2589962.4583 | 1120129.2215
11 | 2589860.7781 | 1120044.8206
12 | 2589926.4843 | 1120125.8533
13 | 2589967.8486 | 1120138.2942
14 | 2589836.7956 | 1120068.8729
15 | 2589830.5334 | 1120088.1986
16 | 2590130.2144 | 1120175.4012
17 | 2590108.4272 | 1120247.7629
18 | 2590076.2383 | 1120235.652
19 | 2590059.4735 | 1120226.9333
20 | 2590058.9021 | 1120226.6361
21 | 2590045.7314 | 1120219.6936
22 | 2590018.0659 | 1120204.8432
23 | 2590011.1054 | 1120201.107
24 | 2590003.6206 | 1120197.0893
25 | 2589995.3746 | 1120184.6245
26 | 2589997.4737 | 1120223.2079
27 | 2589992.9808 | 1120266.4891
28 | 2589992.603 | 1120253.0322
29 | 2589988.0407 | 1120300.7883
30 | 2589992.4076 | 1120250.2346
31 | 2590043.0581 | 1120365.4619
32 | 2589992.5698 | 1120235.5919
33 | 2590019.4482 | 1120334.9083
34 | 2589996.3994 | 1120225.1988
35 | 2589931.5632 | 1120218.291
36 | 2589913.8834 | 1120208.934
37 | 2589993.2524 | 1120181.0525
38 | 2589988.5987 | 1120173.2196
39 | 2589982.8542 | 1120163.5508
40 | 2589973.5936 | 1120147.9638
41 | 2589973.1325 | 1120147.1877
42 | 2589921.3647 | 1120128.8891
43 | 2589914.3803 | 1120132.7513
44 | 2589897.9841 | 1120149.3759
45 | 2589953.6781 | 1120114.4432

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1