## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6023-35_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6023-35_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6023-35_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6023-35_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6023-35_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6023-35_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6023-35_0_4_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_6023-35_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6023-35_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_6023-35_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6023-35_0_4_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_6023-35_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6023-35_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6023-35_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_6023-35_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6023-35_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_6023-35_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6023-35_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_6023-35_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6023-35_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6023-35_0_4_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_6023-35_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6023-35_0_4_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_6023-35_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6023-35_0_4_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_6023-35_0_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_6023-35_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_6023-35_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6023-35_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_6023-35_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6023-35_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6023-35_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6023-35_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6023-35_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6023-35_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_6023-35_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_6023-35_0_4_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_6023-35_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_6023-35_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6023-35_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6023-35_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_6023-35_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6023-35_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_6023-35_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6023-35_0_4_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_6023-35_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6023-35_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6023-35_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6023-35_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6023-35_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_6023-35_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6023-35_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_6023-35_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6023-35_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_6023-35_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_6023-35_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_6023-35_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_6023-35_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6023-35_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6023-35_0_4_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_6023-35_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_6023-35_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_MV_266_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6023-35_0_4_load_0 | 0 | 0.0057692 | 0.0014459 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6023-35_0_4_load_1 | 1 | 0.009504 | 0.0023819 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6023-35_0_4_load_3 | 3 | 0.019325 | 0.0048433 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6023-35_0_4_load_4 | 4 | 0.0052118 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6023-35_0_4_load_5 | 5 | 0.0126 | 0.0031579 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6023-35_0_4_load_64 | 6 | 0.011014 | 0.0027603 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6023-35_0_4_load_10 | 8 | 0.0031588 | 0.00079168 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6023-35_0_4_load_7 | 9 | 0.012818 | 0.0032124 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6023-35_0_4_load_65 | 10 | 0.0042454 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6023-35_0_4_load_8 | 11 | 0.0041914 | 0.0010505 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6023-35_0_4_load_14 | 13 | 0.0073795 | 0.0018495 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6023-35_0_4_load_11 | 14 | 0.0042328 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6023-35_0_4_load_53 | 15 | 0.0047651 | 0.0011942 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6023-35_0_4_load_12 | 16 | 0.0054461 | 0.0013649 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6023-35_0_4_load_13 | 18 | 0.0038515 | 0.00096527 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6023-35_0_4_load_15 | 19 | 0.0083761 | 0.0020992 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6023-35_0_4_load_54 | 20 | 0.0014437 | 0.00036183 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6023-35_0_4_load_56 | 22 | 0.0090061 | 0.0022571 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6023-35_0_4_load_55 | 24 | 0.0045585 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6023-35_0_4_load_49 | 25 | 0.0033275 | 0.00083395 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6023-35_0_4_load_26 | 26 | 0.0032195 | 0.00080689 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6023-35_0_4_load_25 | 27 | 0.0055834 | 0.0013993 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6023-35_0_4_load_50 | 28 | 0.0017089 | 0.00042829 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6023-35_0_4_load_20 | 29 | 0.0036184 | 0.00090686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6023-35_0_4_load_21 | 30 | 0.0086066 | 0.002157 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6023-35_0_4_load_22 | 31 | 0.007049 | 0.0017667 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6023-35_0_4_load_23 | 32 | 0.008816 | 0.0022095 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6023-35_0_4_load_24 | 33 | 0.0036635 | 0.00091816 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6023-35_0_4_load_41 | 36 | 0.0041849 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6023-35_0_4_load_43 | 37 | 0.0043931 | 0.001101 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6023-35_0_4_load_34 | 38 | 0.010095 | 0.0025301 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6023-35_0_4_load_31 | 39 | 0.020438 | 0.0051221 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6023-35_0_4_load_27 | 40 | 0.0042675 | 0.0010695 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6023-35_0_4_load_37 | 43 | 0.010591 | 0.0026545 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6023-35_0_4_load_51 | 44 | 0.0020246 | 0.0005074 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6023-35_0_4_load_39 | 45 | 0.0046711 | 0.0011707 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6023-35_0_4_load_44 | 46 | 0.0051698 | 0.0012957 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6023-35_0_4_load_58 | 49 | 0.0060672 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6023-35_0_4_load_57 | 50 | 0.0060676 | 0.0015207 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6023-35_0_4_load_45 | 52 | 0.0042703 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6023-35_0_4_load_60 | 53 | 0.0058841 | 0.0014747 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6023-35_0_4_load_38 | 54 | 0.0071925 | 0.0018026 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6023-35_0_4_load_40 | 55 | 0.0052226 | 0.0013089 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6023-35_0_4_load_42 | 56 | 0.0084793 | 0.0021251 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6023-35_0_4_load_46 | 57 | 0.010322 | 0.002587 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6023-35_0_4_load_66 | 59 | 0.0096023 | 0.0024066 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6023-35_0_4_load_59 | 60 | 0.012668 | 0.003175 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6023-35_0_4_load_61 | 61 | 0.013403 | 0.0033592 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6023-35_0_4_line_0 |  | 0 | 1 | 0.022744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6023-35_0_4_line_1 |  | 1 | 2 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6023-35_0_4_line_2 |  | 2 | 3 | 0.0067554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6023-35_0_4_line_3 |  | 2 | 4 | 0.024436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6023-35_0_4_line_4 |  | 3 | 5 | 0.011074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6023-35_0_4_line_5 |  | 4 | 6 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6023-35_0_4_line_6 |  | 5 | 7 | 0.010995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6023-35_0_4_line_7 |  | 7 | 8 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6023-35_0_4_line_8 |  | 7 | 9 | 0.012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6023-35_0_4_line_9 |  | 8 | 10 | 0.0022224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6023-35_0_4_line_10 |  | 9 | 11 | 0.0038073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6023-35_0_4_line_11 |  | 10 | 17 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6023-35_0_4_line_12 |  | 11 | 12 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6023-35_0_4_line_13 |  | 12 | 13 | 0.034123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6023-35_0_4_line_14 |  | 12 | 14 | 0.0019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6023-35_0_4_line_15 |  | 13 | 15 | 0.0018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6023-35_0_4_line_16 |  | 14 | 16 | 0.015162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6023-35_0_4_line_17 |  | 15 | 20 | 0.0070455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6023-35_0_4_line_18 |  | 16 | 18 | 0.0089202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6023-35_0_4_line_19 |  | 17 | 59 | 0.029717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6023-35_0_4_line_20 |  | 17 | 58 | 0.019005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6023-35_0_4_line_21 |  | 18 | 19 | 0.0073183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6023-35_0_4_line_22 |  | 20 | 21 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6023-35_0_4_line_23 |  | 21 | 22 | 0.023111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6023-35_0_4_line_24 |  | 21 | 23 | 0.055236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6023-35_0_4_line_25 |  | 21 | 24 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6023-35_0_4_line_26 |  | 23 | 25 | 0.016403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6023-35_0_4_line_27 |  | 25 | 28 | 0.0095782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6023-35_0_4_line_28 |  | 26 | 27 | 0.0028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6023-35_0_4_line_29 |  | 27 | 40 | 0.0030225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6023-35_0_4_line_30 |  | 28 | 44 | 0.0077008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6023-35_0_4_line_31 |  | 29 | 30 | 0.0054038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6023-35_0_4_line_32 |  | 29 | 31 | 0.00050193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6023-35_0_4_line_33 |  | 30 | 32 | 0.0076693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6023-35_0_4_line_34 |  | 31 | 33 | 0.0031607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6023-35_0_4_line_35 |  | 32 | 34 | 0.0069075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6023-35_0_4_line_36 |  | 33 | 35 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6023-35_0_4_line_37 |  | 34 | 36 | 0.0039388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6023-35_0_4_line_38 |  | 34 | 37 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6023-35_0_4_line_39 |  | 35 | 38 | 0.018219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6023-35_0_4_line_40 |  | 35 | 39 | 0.0077263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6023-35_0_4_line_41 |  | 36 | 45 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6023-35_0_4_line_42 |  | 37 | 46 | 0.0097892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6023-35_0_4_line_43 |  | 38 | 47 | 0.023538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6023-35_0_4_line_44 |  | 39 | 41 | 0.014946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6023-35_0_4_line_45 |  | 40 | 41 | 0.0020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6023-35_0_4_line_46 |  | 41 | 42 | 0.021188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6023-35_0_4_line_47 |  | 42 | 43 | 0.03843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6023-35_0_4_line_48 |  | 45 | 54 | 0.0038402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6023-35_0_4_line_49 |  | 46 | 52 | 0.0064853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6023-35_0_4_line_50 |  | 47 | 48 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6023-35_0_4_line_51 |  | 48 | 49 | 0.0011597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6023-35_0_4_line_52 |  | 49 | 50 | 0.022073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6023-35_0_4_line_53 |  | 50 | 60 | 0.0010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6023-35_0_4_line_54 |  | 51 | 52 | 0.0022413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6023-35_0_4_line_55 |  | 51 | 53 | 0.0083758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6023-35_0_4_line_56 |  | 53 | 61 | 0.0046325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6023-35_0_4_line_57 |  | 54 | 55 | 0.012849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6023-35_0_4_line_58 |  | 55 | 56 | 0.0088902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6023-35_0_4_line_59 |  | 56 | 57 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6023-35_0_4_line_60 |  | 57 | 58 | 0.0087193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6023-35_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 62 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2589470.4275 | 1119802.9537 | 2589466.1111 | 1119825.284
1 | 2589463.0723 | 1119841.0048 | 2589466.1111 | 1119825.284
2 | 2589463.0723 | 1119841.0048 | 2589469.8117 | 1119841.4698
3 | 2589463.0723 | 1119841.0048 | 2589438.6566 | 1119842.0006
4 | 2589480.8599 | 1119842.232 | 2589469.8117 | 1119841.4698
5 | 2589428.2986 | 1119842.4231 | 2589438.6566 | 1119842.0006
6 | 2589491.8291 | 1119842.9888 | 2589480.8599 | 1119842.232
7 | 2589491.8291 | 1119842.9888 | 2589491.0117 | 1119847.6369 | 2589485.0141 | 1119861.6924
8 | 2589491.8291 | 1119842.9888 | 2589504.4388 | 1119843.5259
9 | 2589484.1419 | 1119863.7364 | 2589485.0141 | 1119861.6924
10 | 2589508.2427 | 1119843.688 | 2589504.4388 | 1119843.5259
11 | 2589478.826 | 1119876.1945 | 2589484.1419 | 1119863.7364
12 | 2589518.9025 | 1119844.1421 | 2589508.2427 | 1119843.688
13 | 2589518.9025 | 1119844.1421 | 2589519.4268 | 1119839.5278 | 2589525.3048 | 1119825.833 | 2589533.0476 | 1119813.4835
14 | 2589518.9025 | 1119844.1421 | 2589520.8996 | 1119844.2316
15 | 2589533.0476 | 1119813.4835 | 2589533.7753 | 1119812.3228 | 2589534.0172 | 1119811.9478
16 | 2589520.8996 | 1119844.2316 | 2589536.0467 | 1119844.9104
17 | 2589534.0172 | 1119811.9478 | 2589537.8361 | 1119806.027
18 | 2589544.9286 | 1119845.6614 | 2589540.3901 | 1119845.1051 | 2589536.0467 | 1119844.9104
19 | 2589478.826 | 1119876.1945 | 2589450.4503 | 1119867.1064
20 | 2589471.8364 | 1119893.871 | 2589478.826 | 1119876.1945
21 | 2589544.9286 | 1119845.6614 | 2589552.1926 | 1119846.5518
22 | 2589546.7482 | 1119792.5127 | 2589542.4466 | 1119798.8788 | 2589537.8361 | 1119806.027
23 | 2589556.6515 | 1119813.1834 | 2589554.6921 | 1119808.8291 | 2589551.6472 | 1119801.4085 | 2589549.918 | 1119796.3535 | 2589548.6579 | 1119794.9105 | 2589546.7482 | 1119792.5127
24 | 2589546.7482 | 1119792.5127 | 2589548.772 | 1119789.5188 | 2589552.0548 | 1119787.3565 | 2589549.7548 | 1119769.0515 | 2589549.7962 | 1119757.4124 | 2589551.8311 | 1119743.0462 | 2589554.9024 | 1119743.4189
25 | 2589546.7482 | 1119792.5127 | 2589545.2714 | 1119790.6477 | 2589546.0471 | 1119788.6231 | 2589547.0359 | 1119784.9752 | 2589547.3627 | 1119782.1176 | 2589547.5076 | 1119779.4035
26 | 2589554.9024 | 1119743.4189 | 2589553.8191 | 1119754.8819 | 2589553.8032 | 1119759.7708
27 | 2589553.8032 | 1119759.7708 | 2589553.7889 | 1119764.1865 | 2589554.1485 | 1119769.3364
28 | 2589579.5717 | 1119889.5141 | 2589578.7432 | 1119892.2648
29 | 2589577.8715 | 1119895.1588 | 2589578.7432 | 1119892.2648
30 | 2589554.1485 | 1119769.3364 | 2589554.685 | 1119777.0185
31 | 2589543.477 | 1119916.8282 | 2589548.7992 | 1119915.8923
32 | 2589548.7992 | 1119915.8923 | 2589549.2935 | 1119915.8054
33 | 2589543.477 | 1119916.8282 | 2589538.395 | 1119917.722 | 2589535.8998 | 1119917.987
34 | 2589549.2935 | 1119915.8054 | 2589552.4064 | 1119915.2579
35 | 2589529.031 | 1119918.7166 | 2589535.8998 | 1119917.987
36 | 2589563.4217 | 1119913.3208 | 2589552.4064 | 1119915.2579
37 | 2589529.031 | 1119918.7166 | 2589525.1412 | 1119918.0972
38 | 2589529.031 | 1119918.7166 | 2589525.6264 | 1119930.6283 | 2589525.6261 | 1119930.656
39 | 2589563.4217 | 1119913.3208 | 2589562.5131 | 1119918.7361 | 2589560.1687 | 1119923.7204 | 2589557.9593 | 1119926.4256 | 2589554.9692 | 1119928.2872 | 2589554.7847 | 1119928.375
40 | 2589563.4217 | 1119913.3208 | 2589566.7149 | 1119912.7481 | 2589569.5125 | 1119911.098 | 2589570.25 | 1119910.2344
41 | 2589525.1412 | 1119918.0972 | 2589519.4311 | 1119917.1881 | 2589515.2532 | 1119915.8559
42 | 2589525.6261 | 1119930.656 | 2589525.5414 | 1119940.4448
43 | 2589545.8524 | 1119947.1568 | 2589545.5091 | 1119944.9452 | 2589545.0705 | 1119941.1774 | 2589545.2094 | 1119936.7639 | 2589548.1948 | 1119932.212 | 2589551.6855 | 1119929.8493 | 2589554.7847 | 1119928.375
44 | 2589577.2802 | 1119897.1221 | 2589571.8608 | 1119908.3481 | 2589570.25 | 1119910.2344
45 | 2589577.2802 | 1119897.1221 | 2589577.8715 | 1119895.1588
46 | 2589577.2802 | 1119897.1221 | 2589596.5518 | 1119906.0486
47 | 2589596.5518 | 1119906.0486 | 2589586.404 | 1119943.1142
48 | 2589511.6491 | 1119914.5465 | 2589512.8776 | 1119915.0985 | 2589515.2532 | 1119915.8559
49 | 2589525.4852 | 1119946.9298 | 2589525.5414 | 1119940.4448
50 | 2589545.8524 | 1119947.1568 | 2589549.2957 | 1119948.6404 | 2589548.9408 | 1119953.0432 | 2589549.8011 | 1119955.3206 | 2589554.8752 | 1119958.5133 | 2589556.5044 | 1119959.322
51 | 2589556.5044 | 1119959.322 | 2589557.5411 | 1119959.8418
52 | 2589565.4292 | 1119974.7624 | 2589568.0229 | 1119968.4509 | 2589568.8065 | 1119966.5264 | 2589567.879 | 1119965.5275 | 2589563.3765 | 1119962.7673 | 2589557.5411 | 1119959.8418
53 | 2589565.0422 | 1119975.7041 | 2589565.4292 | 1119974.7624
54 | 2589525.4658 | 1119949.171 | 2589525.4852 | 1119946.9298
55 | 2589525.4658 | 1119949.171 | 2589525.3952 | 1119957.5465
56 | 2589525.3952 | 1119957.5465 | 2589525.3572 | 1119962.0553 | 2589525.3544 | 1119962.1789
57 | 2589511.6491 | 1119914.5465 | 2589506.3227 | 1119912.1529 | 2589500.1297 | 1119908.8699
58 | 2589492.275 | 1119904.7059 | 2589500.1297 | 1119908.8699
59 | 2589479.5402 | 1119897.9549 | 2589492.275 | 1119904.7059
60 | 2589471.8364 | 1119893.871 | 2589479.5402 | 1119897.9549

## bus_geodata
| x | y | coords
0 | 2589470.4275 | 1119802.9537
1 | 2589466.1111 | 1119825.284
2 | 2589463.0723 | 1119841.0048
3 | 2589469.8117 | 1119841.4698
4 | 2589438.6566 | 1119842.0006
5 | 2589480.8599 | 1119842.232
6 | 2589428.2986 | 1119842.4231
7 | 2589491.8291 | 1119842.9888
8 | 2589485.0141 | 1119861.6924
9 | 2589504.4388 | 1119843.5259
10 | 2589484.1419 | 1119863.7364
11 | 2589508.2427 | 1119843.688
12 | 2589518.9025 | 1119844.1421
13 | 2589533.0476 | 1119813.4835
14 | 2589520.8996 | 1119844.2316
15 | 2589534.0172 | 1119811.9478
16 | 2589536.0467 | 1119844.9104
17 | 2589478.826 | 1119876.1945
18 | 2589544.9286 | 1119845.6614
19 | 2589552.1926 | 1119846.5518
20 | 2589537.8361 | 1119806.027
21 | 2589546.7482 | 1119792.5127
22 | 2589556.6515 | 1119813.1834
23 | 2589554.9024 | 1119743.4189
24 | 2589547.5076 | 1119779.4035
25 | 2589553.8032 | 1119759.7708
26 | 2589579.5717 | 1119889.5141
27 | 2589578.7432 | 1119892.2648
28 | 2589554.1485 | 1119769.3364
29 | 2589548.7992 | 1119915.8923
30 | 2589543.477 | 1119916.8282
31 | 2589549.2935 | 1119915.8054
32 | 2589535.8998 | 1119917.987
33 | 2589552.4064 | 1119915.2579
34 | 2589529.031 | 1119918.7166
35 | 2589563.4217 | 1119913.3208
36 | 2589525.1412 | 1119918.0972
37 | 2589525.6261 | 1119930.656
38 | 2589554.7847 | 1119928.375
39 | 2589570.25 | 1119910.2344
40 | 2589577.8715 | 1119895.1588
41 | 2589577.2802 | 1119897.1221
42 | 2589596.5518 | 1119906.0486
43 | 2589586.404 | 1119943.1142
44 | 2589554.685 | 1119777.0185
45 | 2589515.2532 | 1119915.8559
46 | 2589525.5414 | 1119940.4448
47 | 2589545.8524 | 1119947.1568
48 | 2589556.5044 | 1119959.322
49 | 2589557.5411 | 1119959.8418
50 | 2589565.4292 | 1119974.7624
51 | 2589525.4658 | 1119949.171
52 | 2589525.4853 | 1119946.9298
53 | 2589525.3952 | 1119957.5465
54 | 2589511.6491 | 1119914.5465
55 | 2589500.1297 | 1119908.8699
56 | 2589492.275 | 1119904.7059
57 | 2589479.5402 | 1119897.9549
58 | 2589471.8364 | 1119893.871
59 | 2589450.4503 | 1119867.1064
60 | 2589565.0422 | 1119975.7041
61 | 2589525.3544 | 1119962.1789
62 | 2589529.031 | 1119918.7166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1