## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6023-40_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6023-40_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6023-40_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6023-40_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6023-40_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6023-40_0_3_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_6023-40_0_3_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_6023-40_0_3_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_6023-40_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_6023-40_0_3_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_6023-40_0_3_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_6023-40_0_3_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_6023-40_0_3_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_6023-40_0_3_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_6023-40_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_6023-40_0_3_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_6023-40_0_3_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_6023-40_0_3_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_6023-40_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_6023-40_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_6023-40_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_6023-40_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6023-40_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6023-40_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6023-40_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6023-40_0_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_6023-40_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_6023-40_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6023-40_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6023-40_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6023-40_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_6023-40_0_3_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_6023-40_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_6023-40_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_6023-40_0_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_6023-40_0_3_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_6023-40_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6023-40_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_6023-40_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6023-40_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_6023-40_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_6023-40_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_6023-40_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6023-40_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6023-40_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6023-40_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6023-40_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6023-40_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6023-40_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_6023-40_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6023-40_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6023-40_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_6023-40_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_6023-40_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_6023-40_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6023-40_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_6023-40_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6023-40_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6023-40_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_6023-40_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6023-40_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_6023-40_0_3_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_6023-40_0_3_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_6023-40_0_3_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_6023-40_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_6023-40_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6023-40_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_6023-40_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6023-40_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_6023-40_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_6023-40_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_6023-40_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_6023-40_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_6023-40_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_MV_266_1_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6023-40_0_3_load_0 | 0 | 0.0027409 | 0.00068694 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6023-40_0_3_load_3 | 2 | 0.0022091 | 0.00055365 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6023-40_0_3_load_4 | 3 | 0.00099901 | 0.00025038 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6023-40_0_3_load_5 | 4 | 0.00099892 | 0.00025035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6023-40_0_3_load_49 | 5 | 0.0012459 | 0.00031225 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6023-40_0_3_load_50 | 6 | 0.0016226 | 0.00040665 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6023-40_0_3_load_70 | 7 | 0.00099847 | 0.00025024 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6023-40_0_3_load_20 | 8 | 0.00099847 | 0.00025024 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6023-40_0_3_load_73 | 9 | 0.00099837 | 0.00025022 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6023-40_0_3_load_62 | 10 | 0.0048776 | 0.0012224 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6023-40_0_3_load_61 | 12 | 0.0041265 | 0.0010342 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6023-40_0_3_load_65 | 13 | 0.0022573 | 0.00056573 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6023-40_0_3_load_64 | 15 | 0.00466 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6023-40_0_3_load_72 | 16 | 0.00099901 | 0.00025038 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6023-40_0_3_load_6 | 17 | 0.004879 | 0.0012228 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6023-40_0_3_load_7 | 18 | 0.0034613 | 0.00086747 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6023-40_0_3_load_21 | 24 | 0.0048905 | 0.0012257 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6023-40_0_3_load_12 | 26 | 0.0040786 | 0.0010222 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6023-40_0_3_load_18 | 27 | 0.0058501 | 0.0014662 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6023-40_0_3_load_16 | 28 | 0.0072537 | 0.001818 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6023-40_0_3_load_22 | 29 | 0.0024934 | 0.00062491 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6023-40_0_3_load_39 | 30 | 0.0045447 | 0.001139 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6023-40_0_3_load_13 | 31 | 0.0033727 | 0.00084528 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6023-40_0_3_load_14 | 32 | 0.006667 | 0.0016709 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6023-40_0_3_load_15 | 33 | 0.0050864 | 0.0012748 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6023-40_0_3_load_52 | 34 | 0.0054031 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6023-40_0_3_load_53 | 35 | 0.0065468 | 0.0016408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6023-40_0_3_load_23 | 36 | 0.0045951 | 0.0011517 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6023-40_0_3_load_24 | 37 | 0.002858 | 0.00071628 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6023-40_0_3_load_25 | 38 | 0.0038822 | 0.00097297 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6023-40_0_3_load_26 | 39 | 0.0040747 | 0.0010212 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6023-40_0_3_load_27 | 40 | 0.0055981 | 0.001403 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6023-40_0_3_load_51 | 41 | 0.0019419 | 0.00048669 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6023-40_0_3_load_28 | 42 | 0.0034872 | 0.00087397 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6023-40_0_3_load_29 | 43 | 0.0038951 | 0.0009762 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6023-40_0_3_load_31 | 45 | 0.0082613 | 0.0020705 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6023-40_0_3_load_32 | 46 | 0.0060458 | 0.0015152 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6023-40_0_3_load_33 | 47 | 0.0030055 | 0.00075325 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6023-40_0_3_load_48 | 48 | 0.002102 | 0.00052681 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6023-40_0_3_load_34 | 49 | 0.0030683 | 0.000769 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6023-40_0_3_load_41 | 50 | 0.0052956 | 0.0013272 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6023-40_0_3_load_35 | 51 | 0.0019509 | 0.00048894 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6023-40_0_3_load_36 | 53 | 0.0058765 | 0.0014728 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6023-40_0_3_load_37 | 54 | 0.0058265 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6023-40_0_3_load_38 | 55 | 0.0017982 | 0.00045067 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6023-40_0_3_load_43 | 56 | 0.0058581 | 0.0014682 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6023-40_0_3_load_44 | 57 | 0.0055622 | 0.001394 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6023-40_0_3_load_45 | 58 | 0.0066363 | 0.0016632 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6023-40_0_3_load_46 | 59 | 0.006369 | 0.0015962 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6023-40_0_3_load_47 | 60 | 0.0086159 | 0.0021593 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6023-40_0_3_load_68 | 61 | 0.00099838 | 0.00025022 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6023-40_0_3_load_69 | 62 | 0.00099901 | 0.00025038 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6023-40_0_3_load_71 | 63 | 0.00099901 | 0.00025038 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6023-40_0_3_load_67 | 64 | 0.00099901 | 0.00025038 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6023-40_0_3_load_54 | 65 | 0.0030764 | 0.00077103 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6023-40_0_3_load_57 | 66 | 0.0042352 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6023-40_0_3_load_55 | 67 | 0.0081578 | 0.0020445 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6023-40_0_3_load_56 | 68 | 0.0038368 | 0.00096158 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6023-40_0_3_load_58 | 69 | 0.0057436 | 0.0014395 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6023-40_0_3_load_59 | 70 | 0.006137 | 0.0015381 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6023-40_0_3_load_60 | 71 | 0.0045449 | 0.0011391 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6023-40_0_3_load_66 | 72 | 0.00099807 | 0.00025014 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6023-40_0_3_load_74 | 73 | 0.0027539 | 0.00069018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6023-40_0_3_line_0 |  | 0 | 1 | 0.018295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6023-40_0_3_line_1 |  | 1 | 2 | 0.029087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6023-40_0_3_line_2 |  | 1 | 3 | 0.0056943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6023-40_0_3_line_3 |  | 1 | 4 | 0.016733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6023-40_0_3_line_4 |  | 3 | 8 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6023-40_0_3_line_5 |  | 4 | 9 | 0.019808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6023-40_0_3_line_6 |  | 5 | 6 | 0.011512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6023-40_0_3_line_7 |  | 5 | 7 | 0.047478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6023-40_0_3_line_8 |  | 6 | 41 | 0.023764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6023-40_0_3_line_9 |  | 7 | 61 | 0.020457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6023-40_0_3_line_10 |  | 8 | 14 | 0.02664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6023-40_0_3_line_11 |  | 9 | 16 | 0.032428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6023-40_0_3_line_12 |  | 10 | 11 | 0.018615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6023-40_0_3_line_13 |  | 10 | 12 | 0.052766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6023-40_0_3_line_14 |  | 11 | 15 | 0.0068576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6023-40_0_3_line_15 |  | 12 | 71 | 0.007618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6023-40_0_3_line_16 |  | 13 | 14 | 0.032072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6023-40_0_3_line_17 |  | 13 | 15 | 0.00075064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6023-40_0_3_line_18 |  | 15 | 73 | 0.30448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6023-40_0_3_line_19 |  | 16 | 63 | 0.01645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6023-40_0_3_line_20 |  | 17 | 18 | 0.022343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6023-40_0_3_line_21 |  | 17 | 19 | 0.02393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6023-40_0_3_line_22 |  | 18 | 20 | 0.027722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6023-40_0_3_line_23 |  | 18 | 21 | 0.05746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6023-40_0_3_line_24 |  | 19 | 22 | 0.014013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6023-40_0_3_line_25 |  | 20 | 23 | 0.001357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6023-40_0_3_line_26 |  | 20 | 24 | 0.02966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6023-40_0_3_line_27 |  | 21 | 25 | 0.006193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6023-40_0_3_line_28 |  | 22 | 26 | 0.010013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6023-40_0_3_line_29 |  | 23 | 27 | 0.021454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6023-40_0_3_line_30 |  | 23 | 28 | 0.028738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6023-40_0_3_line_31 |  | 24 | 29 | 0.0091049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6023-40_0_3_line_32 |  | 25 | 30 | 0.052414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6023-40_0_3_line_33 |  | 26 | 31 | 0.0084888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6023-40_0_3_line_34 |  | 29 | 36 | 0.011505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6023-40_0_3_line_35 |  | 30 | 55 | 0.0074737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6023-40_0_3_line_36 |  | 31 | 32 | 0.002156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6023-40_0_3_line_37 |  | 32 | 33 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6023-40_0_3_line_38 |  | 33 | 34 | 0.0051888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6023-40_0_3_line_39 |  | 34 | 35 | 0.039228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6023-40_0_3_line_40 |  | 35 | 65 | 0.0010449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6023-40_0_3_line_41 |  | 36 | 37 | 0.011839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6023-40_0_3_line_42 |  | 37 | 38 | 0.026176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6023-40_0_3_line_43 |  | 38 | 39 | 0.0036399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6023-40_0_3_line_44 |  | 39 | 40 | 0.022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6023-40_0_3_line_45 |  | 40 | 41 | 0.0046443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6023-40_0_3_line_46 |  | 42 | 43 | 0.011597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6023-40_0_3_line_47 |  | 42 | 44 | 0.003337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6023-40_0_3_line_48 |  | 43 | 45 | 0.048489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6023-40_0_3_line_49 |  | 44 | 46 | 0.011849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6023-40_0_3_line_50 |  | 44 | 47 | 0.030942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6023-40_0_3_line_51 |  | 45 | 48 | 0.0019515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6023-40_0_3_line_52 |  | 46 | 49 | 0.001662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6023-40_0_3_line_53 |  | 47 | 50 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6023-40_0_3_line_54 |  | 49 | 51 | 0.014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6023-40_0_3_line_55 |  | 50 | 52 | 0.0081698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6023-40_0_3_line_56 |  | 51 | 53 | 0.009452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6023-40_0_3_line_57 |  | 52 | 56 | 0.016073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6023-40_0_3_line_58 |  | 53 | 54 | 0.0022732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6023-40_0_3_line_59 |  | 54 | 55 | 0.0031746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6023-40_0_3_line_60 |  | 56 | 57 | 0.00058169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6023-40_0_3_line_61 |  | 57 | 58 | 0.025232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6023-40_0_3_line_62 |  | 58 | 59 | 0.023273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6023-40_0_3_line_63 |  | 59 | 60 | 0.02559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6023-40_0_3_line_64 |  | 62 | 63 | 0.022336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6023-40_0_3_line_65 |  | 62 | 64 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6023-40_0_3_line_66 |  | 64 | 72 | 0.040887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6023-40_0_3_line_67 |  | 65 | 66 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6023-40_0_3_line_68 |  | 66 | 67 | 0.0076206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6023-40_0_3_line_69 |  | 67 | 68 | 0.0096908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6023-40_0_3_line_70 |  | 68 | 69 | 0.020769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6023-40_0_3_line_71 |  | 69 | 70 | 0.0016695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6023-40_0_3_line_72 |  | 70 | 71 | 0.014513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6023-40_0_3_trafo_23 | 0.63 MVA 20/0.4 kV | 74 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2589835.4897 | 1121307.1822 | 2589843.8905 | 1121307.9906 | 2589851.0487 | 1121308.2898 | 2589853.681 | 1121308.8463
1 | 2589835.4897 | 1121307.1822 | 2589833.5222 | 1121311.3098 | 2589824.7682 | 1121334.2136
2 | 2589835.4897 | 1121307.1822 | 2589829.8113 | 1121306.7569
3 | 2589835.4897 | 1121307.1822 | 2589838.0615 | 1121304.61 | 2589841.6764 | 1121303.1587 | 2589846.9517 | 1121302.9386 | 2589850.8425 | 1121303.4211
4 | 2589807.4888 | 1121303.9276 | 2589812.3623 | 1121304.9425 | 2589818.6886 | 1121305.8656 | 2589826.0555 | 1121306.4756 | 2589829.8113 | 1121306.7569
5 | 2589850.8425 | 1121303.4211 | 2589860.9229 | 1121304.6714 | 2589865.7838 | 1121305.697 | 2589870.2481 | 1121307.1077
6 | 2589904.4199 | 1121221.2734 | 2589896.5261 | 1121212.894
7 | 2589904.4199 | 1121221.2734 | 2589893.2711 | 1121267.4234
8 | 2589896.5261 | 1121212.894 | 2589887.1841 | 1121202.9773 | 2589879.8899 | 1121195.9331
9 | 2589893.2711 | 1121267.4234 | 2589883.712 | 1121266.3808 | 2589872.9382 | 1121265.1696
10 | 2589781.6442 | 1121297.4688 | 2589786.9529 | 1121298.7604 | 2589795.0397 | 1121300.8366 | 2589806.9613 | 1121303.8178 | 2589807.4888 | 1121303.9276
11 | 2589870.2481 | 1121307.1077 | 2589872.9221 | 1121307.9527 | 2589877.2721 | 1121307.8342 | 2589881.7102 | 1121305.1477 | 2589885.6376 | 1121301.4281 | 2589886.8705 | 1121296.1679 | 2589886.4453 | 1121291.0105 | 2589883.3402 | 1121288.3367
12 | 2589751.1434 | 1121286.3487 | 2589752.4802 | 1121283.2449 | 2589758.9829 | 1121269.4667
13 | 2589762.0719 | 1121219.9098 | 2589766.6561 | 1121228.5828 | 2589769.0574 | 1121239.095 | 2589764.8458 | 1121257.0443 | 2589758.9829 | 1121269.4667
14 | 2589751.1434 | 1121286.3487 | 2589749.4916 | 1121290.1645 | 2589749.7382 | 1121292.8528
15 | 2589758.5121 | 1121213.1747 | 2589762.0719 | 1121219.9098
16 | 2589749.8067 | 1121293.6003 | 2589781.6442 | 1121297.4688
17 | 2589749.8067 | 1121293.6003 | 2589749.7382 | 1121292.8528
18 | 2589749.7382 | 1121292.8528 | 2589445.4529 | 1121303.7896
19 | 2589867.2026 | 1121285.3843 | 2589877.1283 | 1121286.6018 | 2589883.3402 | 1121288.3367 | 2589883.3402 | 1121288.3367
20 | 2589802.5194 | 1121086.2409 | 2589794.3743 | 1121081.7748 | 2589785.3594 | 1121073.8529 | 2589784.5404 | 1121073.1919
21 | 2589765.4796 | 1121058.7349 | 2589777.0717 | 1121067.1637 | 2589784.5404 | 1121073.1919
22 | 2589794.9439 | 1121112.8335 | 2589799.6116 | 1121099.9526 | 2589801.2736 | 1121093.013 | 2589802.5194 | 1121086.2409
23 | 2589810.4913 | 1121029.5774 | 2589807.681 | 1121041.6214 | 2589804.548 | 1121054.4553 | 2589803.1207 | 1121067.8976 | 2589802.5194 | 1121086.2409
24 | 2589756.0254 | 1121069.1005 | 2589765.4796 | 1121058.7349
25 | 2589794.9439 | 1121112.8335 | 2589794.599 | 1121114.1458
26 | 2589794.9439 | 1121112.8335 | 2589800.8871 | 1121115.2024 | 2589804.393 | 1121117.642 | 2589817.4957 | 1121131.3884
27 | 2589816.6139 | 1121028.5332 | 2589810.4913 | 1121029.5774
28 | 2589756.0254 | 1121069.1005 | 2589754.75 | 1121072.0819 | 2589752.4167 | 1121078.4378
29 | 2589774.8617 | 1121105.6308 | 2589790.0376 | 1121112.4861 | 2589794.599 | 1121114.1458
30 | 2589794.599 | 1121114.1458 | 2589785.146 | 1121141.2841
31 | 2589817.4957 | 1121131.3884 | 2589822.7369 | 1121136.887 | 2589823.7426 | 1121138.0114
32 | 2589816.6139 | 1121028.5332 | 2589822.8187 | 1121034.9925 | 2589827.5926 | 1121043.6998 | 2589833.7163 | 1121056.9848 | 2589838.2564 | 1121068.8719 | 2589841.6666 | 1121074.0186
33 | 2589752.4167 | 1121078.4378 | 2589749.4912 | 1121086.4067
34 | 2589831.4133 | 1121146.5861 | 2589823.7426 | 1121138.0114
35 | 2589845.7947 | 1121080.2488 | 2589841.6666 | 1121074.0186
36 | 2589748.7482 | 1121088.4306 | 2589749.4912 | 1121086.4067
37 | 2589743.3144 | 1121103.8855 | 2589747.3872 | 1121092.1377 | 2589748.7482 | 1121088.4306
38 | 2589743.3144 | 1121103.8855 | 2589741.6147 | 1121108.788
39 | 2589741.6147 | 1121108.788 | 2589738.6296 | 1121117.3983 | 2589737.7718 | 1121125.5149 | 2589737.7095 | 1121138.6881 | 2589736.5176 | 1121147.3864
40 | 2589736.3757 | 1121148.4217 | 2589736.5176 | 1121147.3864
41 | 2589831.4133 | 1121146.5861 | 2589839.3068 | 1121155.4099
42 | 2589857.6548 | 1121174.0728 | 2589841.8014 | 1121158.1985 | 2589839.3068 | 1121155.4099
43 | 2589857.6548 | 1121174.0728 | 2589860.2269 | 1121176.6483
44 | 2589860.2269 | 1121176.6483 | 2589868.5342 | 1121184.9665 | 2589876.5491 | 1121192.7068
45 | 2589879.8899 | 1121195.9331 | 2589876.5491 | 1121192.7068
46 | 2589877.646 | 1121113.7571 | 2589885.6458 | 1121122.1532
47 | 2589875.3442 | 1121111.3412 | 2589877.646 | 1121113.7571
48 | 2589885.6458 | 1121122.1532 | 2589903.1455 | 1121140.5198 | 2589919.5118 | 1121156.8507
49 | 2589875.3442 | 1121111.3412 | 2589865.9024 | 1121104.1817
50 | 2589875.3442 | 1121111.3412 | 2589899.4948 | 1121091.9985
51 | 2589920.8932 | 1121158.2291 | 2589919.5118 | 1121156.8507
52 | 2589864.5781 | 1121103.1776 | 2589865.9024 | 1121104.1817
53 | 2589899.4948 | 1121091.9985 | 2589911.2058 | 1121082.619
54 | 2589864.5781 | 1121103.1776 | 2589864.5781 | 1121103.1776 | 2589854.2244 | 1121092.5343
55 | 2589917.5713 | 1121077.498 | 2589915.4299 | 1121079.2358 | 2589911.2058 | 1121082.619
56 | 2589854.2244 | 1121092.5343 | 2589854.2244 | 1121092.5343 | 2589848.8508 | 1121084.7583
57 | 2589917.5713 | 1121077.498 | 2589929.0257 | 1121088.773
58 | 2589848.8508 | 1121084.7583 | 2589847.5585 | 1121082.8882
59 | 2589845.7947 | 1121080.2488 | 2589847.1958 | 1121082.3634 | 2589847.5585 | 1121082.8882
60 | 2589929.4403 | 1121089.181 | 2589929.0257 | 1121088.773
61 | 2589929.4403 | 1121089.181 | 2589939.2969 | 1121098.8832 | 2589947.8127 | 1121106.465
62 | 2589947.8127 | 1121106.465 | 2589958.9255 | 1121116.3589 | 2589964.7964 | 1121122.3588
63 | 2589964.7964 | 1121122.3588 | 2589982.6934 | 1121140.6491
64 | 2589845.0325 | 1121282.665 | 2589867.2026 | 1121285.3843
65 | 2589824.3744 | 1121280.131 | 2589845.0325 | 1121282.665
66 | 2589819.1526 | 1121256.5851 | 2589819.1526 | 1121256.5851 | 2589814.9119 | 1121257.426 | 2589810.8834 | 1121260.6233 | 2589808.9256 | 1121265.9848 | 2589808.7261 | 1121271.1433 | 2589809.6669 | 1121275.5772 | 2589812.3635 | 1121278.3517 | 2589816.6071 | 1121279.1783 | 2589824.3744 | 1121280.131
67 | 2589737.8725 | 1121163.0178 | 2589735.2108 | 1121156.9235 | 2589736.3757 | 1121148.4217
68 | 2589740.9226 | 1121170.0014 | 2589737.8725 | 1121163.0178
69 | 2589740.9226 | 1121170.0014 | 2589743.4343 | 1121175.7521 | 2589744.6894 | 1121178.9286
70 | 2589744.6894 | 1121178.9286 | 2589749.3992 | 1121190.8493 | 2589752.2745 | 1121198.2631
71 | 2589752.8782 | 1121199.8196 | 2589752.2745 | 1121198.2631
72 | 2589752.8782 | 1121199.8196 | 2589756.8056 | 1121209.946 | 2589758.5121 | 1121213.1747

## bus_geodata
| x | y | coords
0 | 2589853.681 | 1121308.8463
1 | 2589835.4897 | 1121307.1822
2 | 2589824.7682 | 1121334.2136
3 | 2589829.8113 | 1121306.7569
4 | 2589850.8425 | 1121303.4211
5 | 2589904.4199 | 1121221.2734
6 | 2589896.5261 | 1121212.894
7 | 2589893.2711 | 1121267.4234
8 | 2589807.4888 | 1121303.9276
9 | 2589870.2481 | 1121307.1077
10 | 2589758.9829 | 1121269.4667
11 | 2589751.1434 | 1121286.3487
12 | 2589762.0719 | 1121219.9098
13 | 2589749.8067 | 1121293.6003
14 | 2589781.6442 | 1121297.4688
15 | 2589749.7382 | 1121292.8528
16 | 2589883.3402 | 1121288.3367
17 | 2589784.5404 | 1121073.1919
18 | 2589802.5194 | 1121086.2409
19 | 2589765.4796 | 1121058.7349
20 | 2589794.9439 | 1121112.8335
21 | 2589810.4913 | 1121029.5774
22 | 2589756.0254 | 1121069.1005
23 | 2589794.599 | 1121114.1458
24 | 2589817.4957 | 1121131.3884
25 | 2589816.6139 | 1121028.5332
26 | 2589752.4167 | 1121078.4378
27 | 2589774.8617 | 1121105.6308
28 | 2589785.146 | 1121141.2841
29 | 2589823.7426 | 1121138.0114
30 | 2589841.6666 | 1121074.0186
31 | 2589749.4912 | 1121086.4067
32 | 2589748.7482 | 1121088.4306
33 | 2589743.3144 | 1121103.8855
34 | 2589741.6147 | 1121108.788
35 | 2589736.5176 | 1121147.3864
36 | 2589831.4133 | 1121146.586
37 | 2589839.3068 | 1121155.4099
38 | 2589857.6548 | 1121174.0728
39 | 2589860.2269 | 1121176.6483
40 | 2589876.5491 | 1121192.7068
41 | 2589879.8899 | 1121195.9331
42 | 2589877.646 | 1121113.7571
43 | 2589885.6458 | 1121122.1532
44 | 2589875.3442 | 1121111.3412
45 | 2589919.5118 | 1121156.8507
46 | 2589865.9024 | 1121104.1817
47 | 2589899.4948 | 1121091.9985
48 | 2589920.8932 | 1121158.2291
49 | 2589864.5781 | 1121103.1776
50 | 2589911.2058 | 1121082.619
51 | 2589854.2244 | 1121092.5343
52 | 2589917.5713 | 1121077.498
53 | 2589848.8508 | 1121084.7583
54 | 2589847.5585 | 1121082.8882
55 | 2589845.7947 | 1121080.2488
56 | 2589929.0257 | 1121088.773
57 | 2589929.4403 | 1121089.181
58 | 2589947.8127 | 1121106.465
59 | 2589964.7964 | 1121122.3588
60 | 2589982.6934 | 1121140.6491
61 | 2589872.9382 | 1121265.1696
62 | 2589845.0325 | 1121282.665
63 | 2589867.2026 | 1121285.3843
64 | 2589824.3744 | 1121280.131
65 | 2589736.3757 | 1121148.4217
66 | 2589737.8725 | 1121163.0178
67 | 2589740.9226 | 1121170.0014
68 | 2589744.6894 | 1121178.9286
69 | 2589752.2745 | 1121198.2631
70 | 2589752.8782 | 1121199.8196
71 | 2589758.5121 | 1121213.1747
72 | 2589819.1526 | 1121256.5851
73 | 2589445.4529 | 1121303.7896
74 | 2589831.4133 | 1121146.586

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1