## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6025-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6025-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6025-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6025-14_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6025-14_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6025-14_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_6025-14_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_6025-14_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6025-14_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_6025-14_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6025-14_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6025-14_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6025-14_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6025-14_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_6025-14_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6025-14_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6025-14_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6025-14_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6025-14_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_6025-14_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6025-14_0_4_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_6025-14_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_6025-14_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_6025-14_0_4_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_6025-14_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6025-14_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6025-14_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6025-14_0_4_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_6025-14_0_4_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_6025-14_0_4_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_6025-14_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6025-14_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6025-14_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6025-14_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6025-14_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_6025-14_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_6025-14_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6025-14_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6025-14_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6025-14_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6025-14_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6025-14_0_4_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_6025-14_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_6025-14_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6025-14_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6025-14_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6025-14_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6025-14_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_6025-14_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_6025-14_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6025-14_0_4_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_6025-14_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6025-14_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6025-14_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6025-14_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6025-14_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_6025-14_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_6025-14_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6025-14_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6025-14_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_6025-14_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_6025-14_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6025-14_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_6025-14_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6025-14_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_6025-14_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_6025-14_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_6025-14_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_6025-14_0_4_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_6025-14_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_6025-14_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_6025-14_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6025-14_0_4_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_6025-14_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6025-14_0_4_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_6025-14_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_6025-14_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_6025-14_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_6025-14_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_6025-14_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6025-14_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6025-14_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_6025-14_0_4_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_6025-14_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_6025-14_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_6025-14_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_6025-14_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_MV_91_1_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6025-14_0_4_load_0 | 0 | 0.0044159 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6025-14_0_4_load_1 | 1 | 0.0062525 | 0.001567 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6025-14_0_4_load_5 | 4 | 0.0039452 | 0.00098875 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6025-14_0_4_load_23 | 5 | 0.0074517 | 0.0018676 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6025-14_0_4_load_21 | 6 | 0.0025004 | 0.00062665 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6025-14_0_4_load_20 | 8 | 0.0046643 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6025-14_0_4_load_9 | 9 | 0.0025119 | 0.00062955 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6025-14_0_4_load_6 | 10 | 0.0061692 | 0.0015461 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6025-14_0_4_load_8 | 12 | 0.0058708 | 0.0014714 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6025-14_0_4_load_11 | 14 | 0.0051418 | 0.0012887 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6025-14_0_4_load_13 | 16 | 0.0039437 | 0.00098839 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6025-14_0_4_load_38 | 18 | 0.0033038 | 0.00082801 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6025-14_0_4_load_86 | 20 | 0.0054703 | 0.001371 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6025-14_0_4_load_49 | 22 | 0.016498 | 0.0041348 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6025-14_0_4_load_87 | 23 | 0.0036836 | 0.00092319 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6025-14_0_4_load_15 | 24 | 0.015256 | 0.0038234 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6025-14_0_4_load_16 | 25 | 0.017638 | 0.0044204 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6025-14_0_4_load_18 | 26 | 0.016203 | 0.0040608 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6025-14_0_4_load_64 | 27 | 0.0056764 | 0.0014226 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6025-14_0_4_load_47 | 29 | 0.0049977 | 0.0012525 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6025-14_0_4_load_24 | 30 | 0.0029737 | 0.00074529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6025-14_0_4_load_25 | 31 | 0.005479 | 0.0013732 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6025-14_0_4_load_26 | 32 | 0.003872 | 0.00097042 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6025-14_0_4_load_27 | 33 | 0.0043368 | 0.0010869 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6025-14_0_4_load_28 | 34 | 0.0031941 | 0.00080052 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6025-14_0_4_load_32 | 36 | 0.0026033 | 0.00065246 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6025-14_0_4_load_34 | 37 | 0.0081082 | 0.0020321 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6025-14_0_4_load_30 | 38 | 0.0051576 | 0.0012926 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6025-14_0_4_load_31 | 39 | 0.0026041 | 0.00065264 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6025-14_0_4_load_33 | 40 | 0.003302 | 0.00082756 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6025-14_0_4_load_56 | 41 | 0.0031433 | 0.00078778 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6025-14_0_4_load_35 | 43 | 0.003898 | 0.00097694 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6025-14_0_4_load_37 | 44 | 0.0066433 | 0.001665 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6025-14_0_4_load_39 | 45 | 0.0046068 | 0.0011546 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6025-14_0_4_load_41 | 47 | 0.0050179 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6025-14_0_4_load_42 | 48 | 0.0034588 | 0.00086686 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6025-14_0_4_load_44 | 49 | 0.0067737 | 0.0016976 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6025-14_0_4_load_85 | 50 | 0.0040302 | 0.0010101 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6025-14_0_4_load_43 | 51 | 0.0053411 | 0.0013386 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6025-14_0_4_load_45 | 52 | 0.0028679 | 0.00071877 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6025-14_0_4_load_46 | 53 | 0.0034299 | 0.00085961 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6025-14_0_4_load_48 | 54 | 0.010752 | 0.0026948 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6025-14_0_4_load_50 | 55 | 0.0028387 | 0.00071144 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6025-14_0_4_load_51 | 56 | 0.0024388 | 0.00061123 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6025-14_0_4_load_53 | 58 | 0.003234 | 0.00081053 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6025-14_0_4_load_57 | 60 | 0.014586 | 0.0036557 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6025-14_0_4_load_59 | 61 | 0.0051616 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6025-14_0_4_load_63 | 62 | 0.0055794 | 0.0013983 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6025-14_0_4_load_58 | 63 | 0.0027366 | 0.00068586 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6025-14_0_4_load_61 | 65 | 0.023088 | 0.0057864 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6025-14_0_4_load_62 | 66 | 0.016966 | 0.0042521 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6025-14_0_4_load_68 | 67 | 0.01105 | 0.0027695 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6025-14_0_4_load_69 | 68 | 0.021697 | 0.0054377 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6025-14_0_4_load_66 | 69 | 0.0042816 | 0.0010731 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6025-14_0_4_load_67 | 70 | 0.0082722 | 0.0020732 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6025-14_0_4_load_70 | 71 | 0.011228 | 0.002814 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6025-14_0_4_load_84 | 72 | 0.0046215 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6025-14_0_4_load_71 | 73 | 0.0058062 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6025-14_0_4_load_83 | 74 | 0.0052496 | 0.0013157 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6025-14_0_4_load_73 | 77 | 0.01182 | 0.0029623 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6025-14_0_4_load_80 | 78 | 0.017185 | 0.0043069 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6025-14_0_4_load_77 | 81 | 0.0022743 | 0.00056999 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6025-14_0_4_load_88 | 82 | 0.015749 | 0.0039471 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6025-14_0_4_load_78 | 83 | 0.001471 | 0.00036868 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6025-14_0_4_load_79 | 84 | 0.0080397 | 0.0020149 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6025-14_0_4_load_81 | 85 | 0.0050483 | 0.0012652 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6025-14_0_4_load_82 | 86 | 0.0071481 | 0.0017915 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6025-14_0_4_line_0 |  | 0 | 1 | 0.0089312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6025-14_0_4_line_1 |  | 0 | 2 | 0.03351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6025-14_0_4_line_2 |  | 2 | 3 | 0.013567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6025-14_0_4_line_3 |  | 2 | 4 | 0.020349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6025-14_0_4_line_4 |  | 3 | 5 | 0.056751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6025-14_0_4_line_5 |  | 3 | 6 | 0.017754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6025-14_0_4_line_6 |  | 4 | 7 | 0.0065605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6025-14_0_4_line_7 |  | 7 | 8 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6025-14_0_4_line_8 |  | 7 | 9 | 0.019086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6025-14_0_4_line_9 |  | 8 | 13 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6025-14_0_4_line_10 |  | 9 | 12 | 0.0037897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6025-14_0_4_line_11 |  | 10 | 11 | 0.016951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6025-14_0_4_line_12 |  | 11 | 12 | 0.0048244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6025-14_0_4_line_13 |  | 13 | 19 | 0.028966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6025-14_0_4_line_14 |  | 13 | 24 | 0.02489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6025-14_0_4_line_15 |  | 14 | 15 | 0.018793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6025-14_0_4_line_16 |  | 15 | 16 | 0.0056086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6025-14_0_4_line_17 |  | 15 | 17 | 0.023546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6025-14_0_4_line_18 |  | 16 | 18 | 0.002518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6025-14_0_4_line_19 |  | 17 | 19 | 0.050074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6025-14_0_4_line_20 |  | 17 | 20 | 0.018897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6025-14_0_4_line_21 |  | 18 | 21 | 0.031636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6025-14_0_4_line_22 |  | 19 | 22 | 0.048293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6025-14_0_4_line_23 |  | 20 | 23 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6025-14_0_4_line_24 |  | 21 | 43 | 0.017197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6025-14_0_4_line_25 |  | 22 | 29 | 0.024889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6025-14_0_4_line_26 |  | 24 | 25 | 0.035145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6025-14_0_4_line_27 |  | 25 | 26 | 0.023075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6025-14_0_4_line_28 |  | 26 | 27 | 0.0085223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6025-14_0_4_line_29 |  | 27 | 28 | 0.052614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6025-14_0_4_line_30 |  | 28 | 69 | 0.00044897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6025-14_0_4_line_31 |  | 28 | 70 | 0.014166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6025-14_0_4_line_32 |  | 29 | 54 | 0.017923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6025-14_0_4_line_33 |  | 30 | 31 | 0.012004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6025-14_0_4_line_34 |  | 30 | 32 | 0.0076085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6025-14_0_4_line_35 |  | 31 | 33 | 0.0081715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6025-14_0_4_line_36 |  | 32 | 34 | 0.018987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6025-14_0_4_line_37 |  | 33 | 35 | 0.047165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6025-14_0_4_line_38 |  | 34 | 36 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6025-14_0_4_line_39 |  | 35 | 37 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6025-14_0_4_line_40 |  | 36 | 38 | 0.0017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6025-14_0_4_line_41 |  | 38 | 39 | 0.020938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6025-14_0_4_line_42 |  | 39 | 40 | 0.0092677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6025-14_0_4_line_43 |  | 40 | 41 | 0.012392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6025-14_0_4_line_44 |  | 41 | 42 | 0.029599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6025-14_0_4_line_45 |  | 42 | 50 | 0.046672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6025-14_0_4_line_46 |  | 42 | 57 | 0.069983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6025-14_0_4_line_47 |  | 43 | 44 | 0.01726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6025-14_0_4_line_48 |  | 45 | 46 | 0.047604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6025-14_0_4_line_49 |  | 46 | 47 | 0.020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6025-14_0_4_line_50 |  | 46 | 48 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6025-14_0_4_line_51 |  | 47 | 49 | 0.017649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6025-14_0_4_line_52 |  | 48 | 50 | 0.020627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6025-14_0_4_line_53 |  | 49 | 51 | 0.0095773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6025-14_0_4_line_54 |  | 51 | 52 | 0.012155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6025-14_0_4_line_55 |  | 52 | 53 | 0.019217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6025-14_0_4_line_56 |  | 54 | 55 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6025-14_0_4_line_57 |  | 55 | 56 | 0.012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6025-14_0_4_line_58 |  | 56 | 57 | 0.0066438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6025-14_0_4_line_59 |  | 57 | 58 | 0.056455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6025-14_0_4_line_60 |  | 57 | 59 | 0.030007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6025-14_0_4_line_61 |  | 58 | 60 | 0.0083793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6025-14_0_4_line_62 |  | 59 | 61 | 0.017687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6025-14_0_4_line_63 |  | 59 | 62 | 0.011951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6025-14_0_4_line_64 |  | 61 | 63 | 0.0049911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6025-14_0_4_line_65 |  | 63 | 64 | 0.018218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6025-14_0_4_line_66 |  | 64 | 65 | 0.020853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6025-14_0_4_line_67 |  | 64 | 66 | 0.014756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6025-14_0_4_line_68 |  | 65 | 67 | 0.020065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6025-14_0_4_line_69 |  | 67 | 68 | 0.016565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6025-14_0_4_line_70 |  | 69 | 71 | 0.0082181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6025-14_0_4_line_71 |  | 70 | 72 | 0.011745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6025-14_0_4_line_72 |  | 71 | 73 | 0.030008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6025-14_0_4_line_73 |  | 72 | 74 | 0.012654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6025-14_0_4_line_74 |  | 73 | 75 | 0.039217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6025-14_0_4_line_75 |  | 74 | 86 | 0.0047186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6025-14_0_4_line_76 |  | 75 | 76 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6025-14_0_4_line_77 |  | 75 | 77 | 0.018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6025-14_0_4_line_78 |  | 76 | 78 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6025-14_0_4_line_79 |  | 77 | 79 | 0.033636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6025-14_0_4_line_80 |  | 79 | 80 | 0.066478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6025-14_0_4_line_81 |  | 79 | 81 | 0.017085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6025-14_0_4_line_82 |  | 80 | 82 | 0.031265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6025-14_0_4_line_83 |  | 81 | 83 | 0.001056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6025-14_0_4_line_84 |  | 83 | 84 | 0.022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6025-14_0_4_line_85 |  | 85 | 86 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6025-14_0_4_trafo_57 | 0.63 MVA 20/0.4 kV | 87 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2586690.4921 | 1118475.0208 | 2586697.2475 | 1118480.863
1 | 2586663.0549 | 1118456.7583 | 2586668.6605 | 1118458.2467 | 2586673.8977 | 1118460.6696 | 2586690.4921 | 1118475.0208
2 | 2586663.0549 | 1118456.7583 | 2586659.9821 | 1118469.9717
3 | 2586663.0549 | 1118456.7583 | 2586667.5391 | 1118436.9093
4 | 2586659.9821 | 1118469.9717 | 2586655.959 | 1118468.7244 | 2586649.1979 | 1118464.6485 | 2586617.3998 | 1118444.8093 | 2586614.4141 | 1118438.1794
5 | 2586659.9821 | 1118469.9717 | 2586659.1803 | 1118473.7975 | 2586656.0147 | 1118487.2759
6 | 2586668.9848 | 1118430.5101 | 2586667.5391 | 1118436.9093
7 | 2586668.9848 | 1118430.5101 | 2586671.6319 | 1118418.2304
8 | 2586668.9848 | 1118430.5101 | 2586687.5508 | 1118434.9345
9 | 2586674.408 | 1118405.3524 | 2586671.6319 | 1118418.2304
10 | 2586691.2372 | 1118435.813 | 2586687.5508 | 1118434.9345
11 | 2586695.9302 | 1118436.9314 | 2586705.867 | 1118439.3884 | 2586705.7703 | 1118441.0339 | 2586704.3011 | 1118445.8833
12 | 2586695.9302 | 1118436.9314 | 2586691.2372 | 1118435.813
13 | 2586674.408 | 1118405.3524 | 2586681.0823 | 1118377.1682
14 | 2586674.408 | 1118405.3524 | 2586666.9298 | 1118401.5782 | 2586653.0099 | 1118392.6944
15 | 2586749.1992 | 1118402.2635 | 2586743.5687 | 1118420.1934
16 | 2586749.1992 | 1118402.2635 | 2586753.4707 | 1118405.8982
17 | 2586729.9393 | 1118388.6993 | 2586744.6378 | 1118398.3828 | 2586749.1992 | 1118402.2635
18 | 2586753.4707 | 1118405.8982 | 2586755.3884 | 1118407.53
19 | 2586681.0823 | 1118377.1682 | 2586687.9683 | 1118378.3646 | 2586729.9393 | 1118388.6993
20 | 2586729.9393 | 1118388.6993 | 2586735.9535 | 1118379.4926 | 2586741.1582 | 1118373.5495
21 | 2586779.4822 | 1118428.0318 | 2586755.3884 | 1118407.53
22 | 2586681.0823 | 1118377.1682 | 2586682.3882 | 1118367.505 | 2586682.2157 | 1118345.3611 | 2586678.7359 | 1118331.6176 | 2586678.1355 | 1118329.4806
23 | 2586761.4728 | 1118358.4928 | 2586757.5321 | 1118356.1336 | 2586755.7742 | 1118356.86 | 2586741.1582 | 1118373.5495
24 | 2586779.4822 | 1118428.0318 | 2586790.5296 | 1118414.853
25 | 2586669.2755 | 1118306.3325 | 2586674.7846 | 1118317.5527 | 2586678.1355 | 1118329.4806
26 | 2586623.384 | 1118373.7869 | 2586653.0099 | 1118392.6944
27 | 2586623.384 | 1118373.7869 | 2586603.9328 | 1118361.373
28 | 2586596.7488 | 1118356.7882 | 2586603.9328 | 1118361.373
29 | 2586552.1545 | 1118344.2608 | 2586559.3402 | 1118337.9527 | 2586566.5312 | 1118337.5031 | 2586596.7488 | 1118356.7882
30 | 2586552.1545 | 1118344.2608 | 2586551.8228 | 1118344.5634
31 | 2586552.1545 | 1118344.2608 | 2586542.8363 | 1118333.5909
32 | 2586669.2755 | 1118306.3325 | 2586661.3764 | 1118290.2445
33 | 2586755.8216 | 1118259.1293 | 2586764.4276 | 1118267.4973
34 | 2586750.3666 | 1118253.8252 | 2586755.8216 | 1118259.1293
35 | 2586770.2862 | 1118273.1938 | 2586764.4276 | 1118267.4973
36 | 2586736.5265 | 1118240.8378 | 2586740.8263 | 1118244.5488 | 2586750.3666 | 1118253.8252
37 | 2586804.101 | 1118306.0734 | 2586770.2862 | 1118273.1938
38 | 2586721.6888 | 1118229.7921 | 2586727.0022 | 1118232.6178 | 2586736.5265 | 1118240.8378
39 | 2586804.101 | 1118306.0734 | 2586788.2485 | 1118324.4346
40 | 2586721.6888 | 1118229.7921 | 2586720.1827 | 1118228.9912
41 | 2586701.6964 | 1118219.16 | 2586720.1827 | 1118228.9912
42 | 2586693.5138 | 1118214.8084 | 2586701.6964 | 1118219.16
43 | 2586693.5138 | 1118214.8084 | 2586682.5731 | 1118208.9901
44 | 2586657.7705 | 1118192.9402 | 2586673.6694 | 1118204.255 | 2586682.5731 | 1118208.9901
45 | 2586657.7705 | 1118192.9402 | 2586663.0753 | 1118183.9574 | 2586677.7213 | 1118169.6401 | 2586691.7838 | 1118162.528
46 | 2586648.794 | 1118261.7606 | 2586648.3672 | 1118260.6833 | 2586650.187 | 1118225.2952 | 2586652.0444 | 1118210.2948 | 2586657.7705 | 1118192.9402
47 | 2586801.6175 | 1118401.6258 | 2586790.5296 | 1118414.853
48 | 2586725.8321 | 1118146.4891 | 2586736.7251 | 1118141.4293 | 2586769.4826 | 1118127.506
49 | 2586725.8321 | 1118146.4891 | 2586740.3188 | 1118161.2553
50 | 2586725.8321 | 1118146.4891 | 2586710.2263 | 1118153.2937
51 | 2586740.3188 | 1118161.2553 | 2586750.8838 | 1118172.0243 | 2586752.7335 | 1118173.7979
52 | 2586710.2263 | 1118153.2937 | 2586708.8941 | 1118153.8746 | 2586691.7838 | 1118162.528
53 | 2586759.6463 | 1118180.4264 | 2586752.7335 | 1118173.7979
54 | 2586759.6463 | 1118180.4264 | 2586768.4195 | 1118188.8387
55 | 2586768.4195 | 1118188.8387 | 2586782.2904 | 1118202.1391
56 | 2586661.3764 | 1118290.2445 | 2586656.2763 | 1118279.8572
57 | 2586651.2488 | 1118267.9343 | 2586654.7693 | 1118276.7881 | 2586656.2763 | 1118279.8572
58 | 2586648.794 | 1118261.7606 | 2586651.2488 | 1118267.9343
59 | 2586648.794 | 1118261.7606 | 2586641.8275 | 1118266.0893 | 2586633.9772 | 1118275.4892 | 2586611.8286 | 1118303.877
60 | 2586624.0943 | 1118245.3407 | 2586631.2305 | 1118251.3834 | 2586648.3672 | 1118260.6833 | 2586648.794 | 1118261.7606
61 | 2586611.8286 | 1118303.877 | 2586606.6742 | 1118310.4835
62 | 2586624.0943 | 1118245.3407 | 2586613.2489 | 1118259.3119
63 | 2586624.0943 | 1118245.3407 | 2586617.1515 | 1118239.4644 | 2586614.9862 | 1118237.6038
64 | 2586610.1883 | 1118263.2545 | 2586613.2489 | 1118259.3119
65 | 2586599.0168 | 1118277.6457 | 2586610.1883 | 1118263.2545
66 | 2586599.0168 | 1118277.6457 | 2586586.2329 | 1118294.1206
67 | 2586599.0168 | 1118277.6457 | 2586587.641 | 1118268.2479
68 | 2586573.932 | 1118309.9731 | 2586573.932 | 1118309.9731 | 2586586.2329 | 1118294.1206
69 | 2586573.932 | 1118309.9731 | 2586572.0663 | 1118310.7999 | 2586560.6057 | 1118301.878
70 | 2586545.7518 | 1118350.1023 | 2586551.8228 | 1118344.5634
71 | 2586542.8363 | 1118333.5909 | 2586535.1108 | 1118324.7448 | 2586535.1108 | 1118324.7448
72 | 2586545.7518 | 1118350.1023 | 2586523.5838 | 1118370.3276
73 | 2586525.253 | 1118332.6788 | 2586535.1108 | 1118324.7448
74 | 2586494.6125 | 1118396.7599 | 2586523.5838 | 1118370.3276
75 | 2586525.253 | 1118332.6788 | 2586521.5771 | 1118335.6374
76 | 2586494.6125 | 1118396.7599 | 2586484.4187 | 1118386.4443
77 | 2586494.6125 | 1118396.7599 | 2586507.3529 | 1118410.5737
78 | 2586484.4187 | 1118386.4443 | 2586471.9771 | 1118373.9584
79 | 2586530.1571 | 1118435.2992 | 2586507.3529 | 1118410.5737
80 | 2586530.1571 | 1118435.2992 | 2586566.1623 | 1118472.9484 | 2586576.3403 | 1118483.2308
81 | 2586530.1571 | 1118435.2992 | 2586543.1604 | 1118424.2179
82 | 2586576.3403 | 1118483.2308 | 2586595.6158 | 1118458.6148
83 | 2586543.1604 | 1118424.2179 | 2586543.9641 | 1118423.533
84 | 2586560.9189 | 1118409.0842 | 2586543.9641 | 1118423.533
85 | 2586508.8628 | 1118345.8705 | 2586521.5771 | 1118335.6374

## bus_geodata
| x | y | coords
0 | 2586690.4921 | 1118475.0208
1 | 2586697.2475 | 1118480.863
2 | 2586663.0549 | 1118456.7583
3 | 2586659.9821 | 1118469.9717
4 | 2586667.5391 | 1118436.9093
5 | 2586614.4141 | 1118438.1794
6 | 2586656.0147 | 1118487.2759
7 | 2586668.9848 | 1118430.5101
8 | 2586671.6319 | 1118418.2304
9 | 2586687.5508 | 1118434.9345
10 | 2586704.3011 | 1118445.8833
11 | 2586695.9302 | 1118436.9314
12 | 2586691.2372 | 1118435.813
13 | 2586674.408 | 1118405.3524
14 | 2586743.5687 | 1118420.1934
15 | 2586749.1992 | 1118402.2635
16 | 2586753.4707 | 1118405.8982
17 | 2586729.9393 | 1118388.6993
18 | 2586755.3884 | 1118407.53
19 | 2586681.0823 | 1118377.1682
20 | 2586741.1582 | 1118373.5495
21 | 2586779.4822 | 1118428.0318
22 | 2586678.1355 | 1118329.4806
23 | 2586761.4728 | 1118358.4928
24 | 2586653.0099 | 1118392.6944
25 | 2586623.384 | 1118373.7869
26 | 2586603.9328 | 1118361.373
27 | 2586596.7488 | 1118356.7882
28 | 2586552.1545 | 1118344.2608
29 | 2586669.2755 | 1118306.3325
30 | 2586755.8216 | 1118259.1293
31 | 2586764.4276 | 1118267.4973
32 | 2586750.3666 | 1118253.8252
33 | 2586770.2862 | 1118273.1938
34 | 2586736.5265 | 1118240.8378
35 | 2586804.101 | 1118306.0734
36 | 2586721.6888 | 1118229.7921
37 | 2586788.2485 | 1118324.4346
38 | 2586720.1827 | 1118228.9912
39 | 2586701.6964 | 1118219.16
40 | 2586693.5138 | 1118214.8084
41 | 2586682.5731 | 1118208.9901
42 | 2586657.7705 | 1118192.9402
43 | 2586790.5296 | 1118414.853
44 | 2586801.6175 | 1118401.6258
45 | 2586769.4826 | 1118127.506
46 | 2586725.8321 | 1118146.4891
47 | 2586740.3188 | 1118161.2553
48 | 2586710.2263 | 1118153.2937
49 | 2586752.7335 | 1118173.7979
50 | 2586691.7838 | 1118162.528
51 | 2586759.6463 | 1118180.4264
52 | 2586768.4195 | 1118188.8387
53 | 2586782.2904 | 1118202.1391
54 | 2586661.3764 | 1118290.2445
55 | 2586656.2763 | 1118279.8572
56 | 2586651.2488 | 1118267.9343
57 | 2586648.794 | 1118261.7606
58 | 2586611.8286 | 1118303.877
59 | 2586624.0943 | 1118245.3407
60 | 2586606.6742 | 1118310.4835
61 | 2586613.2489 | 1118259.3119
62 | 2586614.9862 | 1118237.6038
63 | 2586610.1883 | 1118263.2545
64 | 2586599.0168 | 1118277.6457
65 | 2586586.2329 | 1118294.1206
66 | 2586587.641 | 1118268.2479
67 | 2586573.932 | 1118309.9731
68 | 2586560.6057 | 1118301.878
69 | 2586551.8228 | 1118344.5634
70 | 2586542.8363 | 1118333.5909
71 | 2586545.7518 | 1118350.1023
72 | 2586535.1108 | 1118324.7448
73 | 2586523.5838 | 1118370.3276
74 | 2586525.253 | 1118332.6788
75 | 2586494.6125 | 1118396.7599
76 | 2586484.4187 | 1118386.4443
77 | 2586507.3529 | 1118410.5737
78 | 2586471.9771 | 1118373.9584
79 | 2586530.1571 | 1118435.2992
80 | 2586576.3403 | 1118483.2308
81 | 2586543.1604 | 1118424.2179
82 | 2586595.6158 | 1118458.6148
83 | 2586543.9641 | 1118423.533
84 | 2586560.9189 | 1118409.0842
85 | 2586508.8628 | 1118345.8705
86 | 2586521.5771 | 1118335.6374
87 | 2586603.0205 | 1118315.1664

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1