## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6025-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6025-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6025-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6025-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6025-1_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6025-1_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6025-1_0_5_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_6025-1_0_5_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_6025-1_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6025-1_0_5_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_6025-1_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_6025-1_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_6025-1_0_5_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_6025-1_0_5_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_6025-1_0_5_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_6025-1_0_5_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_6025-1_0_5_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_6025-1_0_5_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6025-1_0_5_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_6025-1_0_5_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_6025-1_0_5_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_6025-1_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6025-1_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6025-1_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6025-1_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6025-1_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_6025-1_0_5_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_6025-1_0_5_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_6025-1_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_6025-1_0_5_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_6025-1_0_5_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_6025-1_0_5_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_6025-1_0_5_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_6025-1_0_5_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_6025-1_0_5_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_6025-1_0_5_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_6025-1_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_6025-1_0_5_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_6025-1_0_5_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_6025-1_0_5_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_6025-1_0_5_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_6025-1_0_5_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6025-1_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_6025-1_0_5_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_6025-1_0_5_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_6025-1_0_5_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_6025-1_0_5_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_6025-1_0_5_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_6025-1_0_5_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_6025-1_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_6025-1_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_6025-1_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_6025-1_0_5_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_6025-1_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6025-1_0_5_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6025-1_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6025-1_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6025-1_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_6025-1_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_6025-1_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_6025-1_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_6025-1_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_6025-1_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6025-1_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6025-1_0_5_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6025-1_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_6025-1_0_5_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_6025-1_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_6025-1_0_5_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6025-1_0_5_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6025-1_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_MV_267_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6025-1_0_5_load_0 | 0 | 0.0089589 | 0.0022453 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6025-1_0_5_load_1 | 1 | 0.0040101 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6025-1_0_5_load_3 | 3 | 0.0013976 | 0.00035028 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6025-1_0_5_load_45 | 6 | 0.0037654 | 0.00094369 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6025-1_0_5_load_64 | 7 | 0.0045578 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6025-1_0_5_load_37 | 9 | 0.0054513 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6025-1_0_5_load_36 | 10 | 0.0045391 | 0.0011376 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6025-1_0_5_load_27 | 11 | 0.0069392 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6025-1_0_5_load_47 | 12 | 0.0080594 | 0.0020199 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6025-1_0_5_load_34 | 16 | 0.0099201 | 0.0024862 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6025-1_0_5_load_26 | 17 | 0.0059563 | 0.0014928 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6025-1_0_5_load_46 | 18 | 0.0053283 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6025-1_0_5_load_7 | 19 | 0.0067994 | 0.0017041 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6025-1_0_5_load_73 | 20 | 0.093916 | 0.023538 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6025-1_0_5_load_10 | 21 | 0.03725 | 0.0093356 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6025-1_0_5_load_52 | 27 | 0.0027883 | 0.00069882 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6025-1_0_5_load_43 | 28 | 0.017713 | 0.0044393 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6025-1_0_5_load_65 | 29 | 0.0052553 | 0.0013171 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6025-1_0_5_load_74 | 31 | 0.0041796 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6025-1_0_5_load_66 | 33 | 0.0027635 | 0.00069259 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6025-1_0_5_load_60 | 34 | 0.0029872 | 0.00074867 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6025-1_0_5_load_50 | 35 | 0.0046897 | 0.0011753 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6025-1_0_5_load_40 | 36 | 0.0066603 | 0.0016692 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6025-1_0_5_load_44 | 37 | 0.0063373 | 0.0015883 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6025-1_0_5_load_16 | 38 | 0.0084438 | 0.0021162 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6025-1_0_5_load_19 | 41 | 0.002139 | 0.00053609 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6025-1_0_5_load_25 | 42 | 0.0031457 | 0.00078838 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6025-1_0_5_load_24 | 45 | 0.0087475 | 0.0021923 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6025-1_0_5_load_69 | 46 | 0.0040685 | 0.0010197 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6025-1_0_5_load_21 | 47 | 0.0041087 | 0.0010297 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6025-1_0_5_load_22 | 48 | 0.0048413 | 0.0012133 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6025-1_0_5_load_23 | 49 | 0.0071826 | 0.0018001 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6025-1_0_5_load_29 | 51 | 0.0023215 | 0.00058181 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6025-1_0_5_load_68 | 52 | 0.007306 | 0.0018311 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6025-1_0_5_load_30 | 53 | 0.0076551 | 0.0019185 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6025-1_0_5_load_31 | 54 | 0.0073808 | 0.0018498 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6025-1_0_5_load_33 | 56 | 0.0037859 | 0.00094883 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6025-1_0_5_load_35 | 57 | 0.0070647 | 0.0017706 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6025-1_0_5_load_38 | 58 | 0.0049637 | 0.001244 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6025-1_0_5_load_39 | 59 | 0.019884 | 0.0049833 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6025-1_0_5_load_41 | 60 | 0.0038516 | 0.00096529 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6025-1_0_5_load_48 | 61 | 0.0066766 | 0.0016733 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6025-1_0_5_load_49 | 62 | 0.0021576 | 0.00054075 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6025-1_0_5_load_55 | 64 | 0.0038578 | 0.00096685 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6025-1_0_5_load_56 | 65 | 0.0041219 | 0.001033 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6025-1_0_5_load_57 | 66 | 0.0037729 | 0.00094557 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6025-1_0_5_load_59 | 67 | 0.0056375 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6025-1_0_5_load_61 | 68 | 0.0057092 | 0.0014309 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6025-1_0_5_load_62 | 69 | 0.0087931 | 0.0022038 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6025-1_0_5_load_71 | 70 | 0.0090445 | 0.0022668 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6025-1_0_5_line_0 |  | 0 | 1 | 0.0051085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6025-1_0_5_line_1 |  | 0 | 2 | 0.018206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6025-1_0_5_line_2 |  | 1 | 3 | 0.01702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6025-1_0_5_line_3 |  | 2 | 4 | 0.060431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6025-1_0_5_line_4 |  | 2 | 5 | 0.057573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6025-1_0_5_line_5 |  | 3 | 6 | 0.0072068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6025-1_0_5_line_6 |  | 4 | 7 | 0.026865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6025-1_0_5_line_7 |  | 5 | 11 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6025-1_0_5_line_8 |  | 5 | 12 | 0.020493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6025-1_0_5_line_9 |  | 5 | 8 | 0.030125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6025-1_0_5_line_10 |  | 6 | 13 | 0.10165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6025-1_0_5_line_11 |  | 7 | 14 | 0.018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6025-1_0_5_line_12 |  | 8 | 9 | 0.047927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6025-1_0_5_line_13 |  | 8 | 10 | 0.012978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6025-1_0_5_line_14 |  | 10 | 16 | 0.026835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6025-1_0_5_line_15 |  | 11 | 17 | 0.0077111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6025-1_0_5_line_16 |  | 12 | 18 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6025-1_0_5_line_17 |  | 13 | 20 | 0.063961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6025-1_0_5_line_18 |  | 14 | 15 | 0.018289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6025-1_0_5_line_19 |  | 15 | 36 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6025-1_0_5_line_20 |  | 15 | 23 | 0.030356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6025-1_0_5_line_21 |  | 16 | 55 | 0.011359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6025-1_0_5_line_22 |  | 17 | 50 | 0.008287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6025-1_0_5_line_23 |  | 18 | 61 | 0.0018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6025-1_0_5_line_24 |  | 19 | 20 | 0.4117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6025-1_0_5_line_25 |  | 21 | 22 | 0.062581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6025-1_0_5_line_26 |  | 22 | 23 | 0.039049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6025-1_0_5_line_27 |  | 22 | 24 | 0.027621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6025-1_0_5_line_28 |  | 23 | 28 | 0.016244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6025-1_0_5_line_29 |  | 24 | 29 | 0.019745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6025-1_0_5_line_30 |  | 24 | 25 | 0.023766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6025-1_0_5_line_31 |  | 25 | 26 | 0.009186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6025-1_0_5_line_32 |  | 25 | 27 | 0.021666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6025-1_0_5_line_33 |  | 26 | 33 | 0.025282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6025-1_0_5_line_34 |  | 26 | 34 | 0.015178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6025-1_0_5_line_35 |  | 27 | 35 | 0.027093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6025-1_0_5_line_36 |  | 28 | 37 | 0.03265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6025-1_0_5_line_37 |  | 30 | 31 | 0.031991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6025-1_0_5_line_38 |  | 30 | 32 | 0.002721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6025-1_0_5_line_39 |  | 32 | 33 | 0.022349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6025-1_0_5_line_40 |  | 34 | 63 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6025-1_0_5_line_41 |  | 35 | 62 | 0.025936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6025-1_0_5_line_42 |  | 36 | 59 | 0.001506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6025-1_0_5_line_43 |  | 38 | 39 | 0.028445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6025-1_0_5_line_44 |  | 39 | 40 | 0.022366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6025-1_0_5_line_45 |  | 39 | 41 | 0.033682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6025-1_0_5_line_46 |  | 40 | 42 | 0.026649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6025-1_0_5_line_47 |  | 40 | 43 | 0.02256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6025-1_0_5_line_48 |  | 41 | 44 | 0.0087113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6025-1_0_5_line_49 |  | 42 | 45 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6025-1_0_5_line_50 |  | 43 | 46 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6025-1_0_5_line_51 |  | 44 | 47 | 0.0090036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6025-1_0_5_line_52 |  | 44 | 48 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6025-1_0_5_line_53 |  | 46 | 70 | 0.0075885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6025-1_0_5_line_54 |  | 47 | 49 | 0.024474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6025-1_0_5_line_55 |  | 48 | 50 | 0.017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6025-1_0_5_line_56 |  | 50 | 51 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6025-1_0_5_line_57 |  | 51 | 52 | 0.011669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6025-1_0_5_line_58 |  | 53 | 54 | 0.041726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6025-1_0_5_line_59 |  | 53 | 55 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6025-1_0_5_line_60 |  | 54 | 56 | 0.034569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6025-1_0_5_line_61 |  | 55 | 57 | 0.014809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6025-1_0_5_line_62 |  | 57 | 58 | 0.018739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6025-1_0_5_line_63 |  | 59 | 60 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6025-1_0_5_line_64 |  | 63 | 67 | 0.010909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6025-1_0_5_line_65 |  | 63 | 65 | 0.010055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6025-1_0_5_line_66 |  | 64 | 65 | 0.015068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6025-1_0_5_line_67 |  | 64 | 66 | 0.0069349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6025-1_0_5_line_68 |  | 67 | 68 | 0.015824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6025-1_0_5_line_69 |  | 68 | 69 | 0.003827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6025-1_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 71 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2588879.0111 | 1119126.865 | 2588882.0286 | 1119122.743
1 | 2588868.2568 | 1119141.5556 | 2588879.0111 | 1119126.865
2 | 2588882.0286 | 1119122.743 | 2588892.0823 | 1119109.0095
3 | 2588868.2568 | 1119141.5556 | 2588891.311 | 1119187.2354 | 2588894.6756 | 1119195.889
4 | 2588833.0351 | 1119096.2654 | 2588840.8575 | 1119103.799 | 2588865.8564 | 1119136.9689 | 2588868.2568 | 1119141.5556
5 | 2588896.3392 | 1119103.1944 | 2588892.0823 | 1119109.0095
6 | 2588894.6756 | 1119195.889 | 2588888.0544 | 1119199.4141 | 2588887.6588 | 1119206.6295 | 2588875.7322 | 1119208.8837
7 | 2588833.0351 | 1119096.2654 | 2588821.1863 | 1119084.8594
8 | 2588833.0351 | 1119096.2654 | 2588839.6904 | 1119090.2612 | 2588845.4525 | 1119085.2369 | 2588848.352 | 1119082.6516
9 | 2588826.3908 | 1119116.521 | 2588840.8575 | 1119103.799 | 2588833.0351 | 1119096.2654
10 | 2588896.3392 | 1119103.1944 | 2588958.3436 | 1119022.6422
11 | 2588863.8049 | 1119216.5674 | 2588862.8307 | 1119211.3222 | 2588875.7322 | 1119208.8837
12 | 2588826.3908 | 1119116.521 | 2588831.2489 | 1119144.0255 | 2588831.3572 | 1119148.3607 | 2588830.2284 | 1119151.2531 | 2588827.8554 | 1119153.114 | 2588818.3993 | 1119154.3743
13 | 2588826.3908 | 1119116.521 | 2588818.8465 | 1119121.5819 | 2588815.3568 | 1119123.3093
14 | 2588815.3568 | 1119123.3093 | 2588811.0916 | 1119125.4205 | 2588798.8833 | 1119128.5336 | 2588789.4659 | 1119129.5928
15 | 2588815.6309 | 1119079.5116 | 2588821.1863 | 1119084.8594
16 | 2588859.4847 | 1119067.2422 | 2588854.4677 | 1119074.4482 | 2588851.4994 | 1119079.8453 | 2588848.352 | 1119082.6516
17 | 2588958.3436 | 1119022.6422 | 2588973.7345 | 1118991.9323 | 2588977.4151 | 1118983.577 | 2588979.3144 | 1118963.1746
18 | 2588845.6392 | 1119219.1023 | 2588863.8049 | 1119216.5674
19 | 2588845.6392 | 1119219.1023 | 2588842.9808 | 1119203.8623
20 | 2588815.5646 | 1119223.8272 | 2588845.6392 | 1119219.1023
21 | 2588778.1785 | 1119130.8623 | 2588789.4659 | 1119129.5928
22 | 2588809.6606 | 1119073.7644 | 2588815.6309 | 1119079.5116
23 | 2588859.4847 | 1119067.2422 | 2588860.5377 | 1119065.7297
24 | 2588979.3144 | 1118963.1746 | 2589137.6728 | 1118583.1466
25 | 2588779.6869 | 1119232.1092 | 2588780.4543 | 1119234.0087 | 2588783.2521 | 1119236.5825 | 2588786.4663 | 1119238.9443 | 2588824.7858 | 1119257.5488 | 2588834.1104 | 1119261.5457
26 | 2588779.6869 | 1119232.1092 | 2588779.3662 | 1119229.7642 | 2588815.5646 | 1119223.8272
27 | 2588754.4055 | 1119233.6016 | 2588779.3662 | 1119229.7642 | 2588779.6869 | 1119232.1092
28 | 2588815.5646 | 1119223.8272 | 2588812.6818 | 1119207.8406
29 | 2588754.4055 | 1119233.6016 | 2588750.9978 | 1119214.1532
30 | 2588733.7692 | 1119239.3208 | 2588733.3942 | 1119236.8425 | 2588754.4055 | 1119233.6016
31 | 2588726.7758 | 1119237.7442 | 2588733.3942 | 1119236.8425 | 2588733.7692 | 1119239.3208
32 | 2588733.7692 | 1119239.3208 | 2588733.8482 | 1119240.31 | 2588733.3357 | 1119242.6899 | 2588729.5296 | 1119260.5273
33 | 2588726.7758 | 1119237.7442 | 2588701.7973 | 1119241.6501
34 | 2588726.7758 | 1119237.7442 | 2588724.2592 | 1119222.7759
35 | 2588723.8759 | 1119287.0237 | 2588729.5296 | 1119260.5273
36 | 2588806.8875 | 1119175.7086 | 2588812.6818 | 1119207.8406
37 | 2588676.8035 | 1119275.59 | 2588680.0043 | 1119274.9615 | 2588681.97 | 1119274.0351 | 2588682.8988 | 1119271.4543 | 2588680.0457 | 1119247.8036
38 | 2588679.7166 | 1119245.1029 | 2588680.0457 | 1119247.8036
39 | 2588679.7166 | 1119245.1029 | 2588701.7973 | 1119241.6501
40 | 2588721.3686 | 1119205.583 | 2588724.2592 | 1119222.7759
41 | 2588718.442 | 1119312.3837 | 2588721.0295 | 1119300.3635 | 2588723.8759 | 1119287.0237
42 | 2588842.722 | 1119202.3787 | 2588842.9808 | 1119203.8623
43 | 2588753.8761 | 1119020.7425 | 2588759.668 | 1119015.1622 | 2588774.2884 | 1119000.9326
44 | 2588753.8761 | 1119020.7425 | 2588747.1219 | 1119027.5362 | 2588736.6499 | 1119034.9372
45 | 2588753.8761 | 1119020.7425 | 2588778.41 | 1119043.8194
46 | 2588736.6499 | 1119034.9372 | 2588740.7902 | 1119061.2626
47 | 2588736.6499 | 1119034.9372 | 2588726.7 | 1119040.9811 | 2588716.2901 | 1119044.4467
48 | 2588784.7554 | 1119049.7879 | 2588778.41 | 1119043.8194
49 | 2588740.7902 | 1119061.2626 | 2588743.0494 | 1119075.6269
50 | 2588716.2901 | 1119044.4467 | 2588719.7107 | 1119065.7816
51 | 2588784.7554 | 1119049.7879 | 2588780.8958 | 1119053.0412 | 2588779.0299 | 1119053.7672 | 2588777.0936 | 1119054.0268
52 | 2588784.7554 | 1119049.7879 | 2588797.0447 | 1119061.619
53 | 2588720.912 | 1119073.2744 | 2588719.7107 | 1119065.7816
54 | 2588752.8362 | 1119057.2781 | 2588777.0936 | 1119054.0268
55 | 2588809.6606 | 1119073.7644 | 2588797.0447 | 1119061.619
56 | 2588809.6606 | 1119073.7644 | 2588824.7404 | 1119055.2532
57 | 2588830.6486 | 1119045.2114 | 2588825.596 | 1119054.203 | 2588824.7404 | 1119055.2532
58 | 2588764.5978 | 1119132.9346 | 2588723.3498 | 1119139.2291
59 | 2588778.1785 | 1119130.8623 | 2588764.5978 | 1119132.9346
60 | 2588723.3498 | 1119139.2291 | 2588689.1761 | 1119144.4439
61 | 2588778.1785 | 1119130.8623 | 2588776.2839 | 1119116.1752
62 | 2588780.7803 | 1119102.7658 | 2588775.087 | 1119103.2878 | 2588774.7806 | 1119104.5223 | 2588776.2839 | 1119116.1752
63 | 2588838.87 | 1119180.2958 | 2588842.722 | 1119202.3787
64 | 2588721.3686 | 1119205.583 | 2588722.0915 | 1119204.3366 | 2588731.4417 | 1119202.8443
65 | 2588721.3686 | 1119205.583 | 2588719.816 | 1119204.6521 | 2588711.6664 | 1119205.9038
66 | 2588696.7732 | 1119208.1911 | 2588711.6664 | 1119205.9038
67 | 2588689.9186 | 1119209.2439 | 2588696.7732 | 1119208.1911
68 | 2588731.4417 | 1119202.8443 | 2588747.0678 | 1119200.3503
69 | 2588750.847 | 1119199.7472 | 2588747.0678 | 1119200.3503

## bus_geodata
| x | y | coords
0 | 2588879.0111 | 1119126.865
1 | 2588882.0286 | 1119122.743
2 | 2588868.2568 | 1119141.5556
3 | 2588892.0823 | 1119109.0095
4 | 2588894.6756 | 1119195.889
5 | 2588833.0351 | 1119096.2654
6 | 2588896.3392 | 1119103.1944
7 | 2588875.7322 | 1119208.8837
8 | 2588826.3908 | 1119116.521
9 | 2588818.3993 | 1119154.3743
10 | 2588815.3568 | 1119123.3093
11 | 2588821.1863 | 1119084.8594
12 | 2588848.352 | 1119082.6516
13 | 2588958.3436 | 1119022.6422
14 | 2588863.8049 | 1119216.5674
15 | 2588845.6392 | 1119219.1023
16 | 2588789.4659 | 1119129.5928
17 | 2588815.6309 | 1119079.5116
18 | 2588859.4847 | 1119067.2422
19 | 2589137.6728 | 1118583.1466
20 | 2588979.3144 | 1118963.1746
21 | 2588834.1104 | 1119261.5457
22 | 2588779.6869 | 1119232.1092
23 | 2588815.5646 | 1119223.8272
24 | 2588754.4055 | 1119233.6016
25 | 2588733.7692 | 1119239.3208
26 | 2588726.7758 | 1119237.7442
27 | 2588729.5296 | 1119260.5273
28 | 2588812.6818 | 1119207.8406
29 | 2588750.9978 | 1119214.1532
30 | 2588680.0457 | 1119247.8036
31 | 2588676.8035 | 1119275.59
32 | 2588679.7166 | 1119245.1029
33 | 2588701.7973 | 1119241.6501
34 | 2588724.2592 | 1119222.7759
35 | 2588723.8759 | 1119287.0237
36 | 2588842.9808 | 1119203.8623
37 | 2588806.8875 | 1119175.7086
38 | 2588774.2884 | 1119000.9326
39 | 2588753.8761 | 1119020.7425
40 | 2588736.6499 | 1119034.9372
41 | 2588778.41 | 1119043.8194
42 | 2588740.7902 | 1119061.2626
43 | 2588716.2901 | 1119044.4467
44 | 2588784.7554 | 1119049.7879
45 | 2588743.0494 | 1119075.6269
46 | 2588719.7107 | 1119065.7816
47 | 2588777.0936 | 1119054.0268
48 | 2588797.0447 | 1119061.619
49 | 2588752.8362 | 1119057.2781
50 | 2588809.6605 | 1119073.7644
51 | 2588824.7404 | 1119055.2532
52 | 2588830.6486 | 1119045.2114
53 | 2588764.5978 | 1119132.9346
54 | 2588723.3498 | 1119139.2291
55 | 2588778.1785 | 1119130.8623
56 | 2588689.1761 | 1119144.4439
57 | 2588776.2839 | 1119116.1752
58 | 2588780.7803 | 1119102.7658
59 | 2588842.722 | 1119202.3787
60 | 2588838.87 | 1119180.2958
61 | 2588860.5377 | 1119065.7297
62 | 2588718.442 | 1119312.3837
63 | 2588721.3686 | 1119205.583
64 | 2588696.7732 | 1119208.1911
65 | 2588711.6664 | 1119205.9038
66 | 2588689.9186 | 1119209.2439
67 | 2588731.4417 | 1119202.8443
68 | 2588747.0678 | 1119200.3503
69 | 2588750.847 | 1119199.7472
70 | 2588720.912 | 1119073.2744
71 | 2588840.8575 | 1119103.799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1