## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6025-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6025-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6025-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6025-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6025-6_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6025-6_0_6_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_6025-6_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6025-6_0_6_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_6025-6_0_6_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_6025-6_0_6_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_6025-6_0_6_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_6025-6_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6025-6_0_6_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_6025-6_0_6_node_105 | 0.4 | n |  | TRUE
14 | bus_LV_6025-6_0_6_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_6025-6_0_6_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_6025-6_0_6_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_6025-6_0_6_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_6025-6_0_6_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_6025-6_0_6_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_6025-6_0_6_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_6025-6_0_6_node_99 | 0.4 | n |  | TRUE
22 | bus_LV_6025-6_0_6_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_6025-6_0_6_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_6025-6_0_6_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_6025-6_0_6_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_6025-6_0_6_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_6025-6_0_6_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_6025-6_0_6_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_6025-6_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6025-6_0_6_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_6025-6_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6025-6_0_6_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_6025-6_0_6_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_6025-6_0_6_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_6025-6_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6025-6_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6025-6_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6025-6_0_6_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_6025-6_0_6_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_6025-6_0_6_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_6025-6_0_6_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_6025-6_0_6_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_6025-6_0_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6025-6_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6025-6_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6025-6_0_6_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6025-6_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6025-6_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_6025-6_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6025-6_0_6_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_6025-6_0_6_node_103 | 0.4 | n |  | TRUE
52 | bus_LV_6025-6_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6025-6_0_6_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_6025-6_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6025-6_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6025-6_0_6_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6025-6_0_6_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6025-6_0_6_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_6025-6_0_6_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_6025-6_0_6_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_6025-6_0_6_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_6025-6_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6025-6_0_6_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_6025-6_0_6_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_6025-6_0_6_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_6025-6_0_6_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6025-6_0_6_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_6025-6_0_6_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_6025-6_0_6_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_6025-6_0_6_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_6025-6_0_6_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_6025-6_0_6_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_6025-6_0_6_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_6025-6_0_6_node_92 | 0.4 | n |  | TRUE
75 | bus_LV_6025-6_0_6_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_6025-6_0_6_node_91 | 0.4 | n |  | TRUE
77 | bus_LV_6025-6_0_6_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_6025-6_0_6_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_6025-6_0_6_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_6025-6_0_6_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_6025-6_0_6_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6025-6_0_6_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_6025-6_0_6_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_6025-6_0_6_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_6025-6_0_6_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_6025-6_0_6_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_6025-6_0_6_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_6025-6_0_6_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_6025-6_0_6_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_6025-6_0_6_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_6025-6_0_6_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_6025-6_0_6_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_6025-6_0_6_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_6025-6_0_6_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_6025-6_0_6_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_6025-6_0_6_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_6025-6_0_6_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_6025-6_0_6_node_104 | 0.4 | n |  | TRUE
99 | bus_LV_6025-6_0_6_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_6025-6_0_6_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_6025-6_0_6_node_78 | 0.4 | n |  | TRUE
102 | bus_LV_6025-6_0_6_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_6025-6_0_6_node_102 | 0.4 | n |  | TRUE
104 | bus_MV_267_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6025-6_0_6_load_0 | 0 | 0.0044051 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6025-6_0_6_load_60 | 5 | 0.0048192 | 0.0012078 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6025-6_0_6_load_59 | 7 | 0.0024185 | 0.00060614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6025-6_0_6_load_87 | 10 | 0.0061405 | 0.001539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6025-6_0_6_load_11 | 11 | 0.0049329 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6025-6_0_6_load_105 | 13 | 0.059161 | 0.014827 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6025-6_0_6_load_88 | 16 | 0.0037863 | 0.00094893 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6025-6_0_6_load_98 | 20 | 0.018436 | 0.0046205 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6025-6_0_6_load_99 | 21 | 0.012704 | 0.0031839 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6025-6_0_6_load_97 | 22 | 0.0025139 | 0.00063003 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6025-6_0_6_load_77 | 23 | 0.0050676 | 0.0012701 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6025-6_0_6_load_6 | 24 | 0.0048083 | 0.0012051 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6025-6_0_6_load_7 | 25 | 0.0069339 | 0.0017378 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6025-6_0_6_load_8 | 26 | 0.0070605 | 0.0017695 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6025-6_0_6_load_10 | 28 | 0.0060612 | 0.0015191 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6025-6_0_6_load_17 | 31 | 0.0053859 | 0.0013498 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6025-6_0_6_load_16 | 32 | 0.0039041 | 0.00097845 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6025-6_0_6_load_55 | 33 | 0.0040933 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6025-6_0_6_load_23 | 37 | 0.0039136 | 0.00098084 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6025-6_0_6_load_18 | 38 | 0.004967 | 0.0012449 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6025-6_0_6_load_19 | 39 | 0.0038098 | 0.00095482 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6025-6_0_6_load_20 | 40 | 0.0033956 | 0.00085102 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6025-6_0_6_load_21 | 41 | 0.0028331 | 0.00071004 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6025-6_0_6_load_22 | 42 | 0.0050037 | 0.0012541 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6025-6_0_6_load_27 | 43 | 0.0047534 | 0.0011913 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6025-6_0_6_load_29 | 46 | 0.0073392 | 0.0018394 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6025-6_0_6_load_40 | 47 | 0.0062017 | 0.0015543 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6025-6_0_6_load_30 | 48 | 0.0062786 | 0.0015736 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6025-6_0_6_load_103 | 51 | 0.0087848 | 0.0022017 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6025-6_0_6_load_70 | 53 | 0.0027166 | 0.00068084 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6025-6_0_6_load_31 | 54 | 0.0024569 | 0.00061575 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6025-6_0_6_load_32 | 55 | 0.0046669 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6025-6_0_6_load_33 | 56 | 0.0046273 | 0.0011597 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6025-6_0_6_load_36 | 59 | 0.007062 | 0.0017699 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6025-6_0_6_load_37 | 60 | 0.0058041 | 0.0014547 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6025-6_0_6_load_43 | 62 | 0.0071164 | 0.0017836 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6025-6_0_6_load_38 | 63 | 0.013856 | 0.0034728 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6025-6_0_6_load_46 | 64 | 0.0094684 | 0.002373 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6025-6_0_6_load_44 | 65 | 0.006407 | 0.0016057 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6025-6_0_6_load_49 | 66 | 0.0026063 | 0.0006532 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6025-6_0_6_load_41 | 67 | 0.0057516 | 0.0014415 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6025-6_0_6_load_50 | 68 | 0.013479 | 0.0033781 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6025-6_0_6_load_51 | 69 | 0.014423 | 0.0036146 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6025-6_0_6_load_48 | 70 | 0.0076851 | 0.0019261 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6025-6_0_6_load_52 | 71 | 0.0033332 | 0.00083538 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6025-6_0_6_load_96 | 72 | 0.006042 | 0.0015143 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6025-6_0_6_load_53 | 73 | 0.0023147 | 0.00058012 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6025-6_0_6_load_92 | 74 | 0.0031306 | 0.00078461 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6025-6_0_6_load_95 | 75 | 0.0054556 | 0.0013673 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6025-6_0_6_load_57 | 77 | 0.0043217 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6025-6_0_6_load_58 | 78 | 0.0025175 | 0.00063095 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6025-6_0_6_load_71 | 79 | 0.0042868 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6025-6_0_6_load_62 | 80 | 0.0040486 | 0.0010147 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6025-6_0_6_load_69 | 82 | 0.0061347 | 0.0015375 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6025-6_0_6_load_64 | 83 | 0.00349 | 0.00087468 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6025-6_0_6_load_86 | 84 | 0.0043938 | 0.0011012 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6025-6_0_6_load_66 | 86 | 0.0036353 | 0.0009111 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6025-6_0_6_load_93 | 90 | 0.0033224 | 0.00083267 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6025-6_0_6_load_72 | 91 | 0.0036272 | 0.00090906 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6025-6_0_6_load_73 | 93 | 0.0061237 | 0.0015347 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6025-6_0_6_load_94 | 94 | 0.0055755 | 0.0013974 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6025-6_0_6_load_100 | 95 | 0.0032304 | 0.00080961 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6025-6_0_6_load_101 | 96 | 0.0038362 | 0.00096145 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6025-6_0_6_load_75 | 97 | 0.0023985 | 0.00060112 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6025-6_0_6_load_104 | 98 | 0.0089778 | 0.0022501 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6025-6_0_6_load_89 | 100 | 0.0068849 | 0.0017255 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6025-6_0_6_load_78 | 101 | 0.021654 | 0.0054269 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6025-6_0_6_load_80 | 102 | 0.016105 | 0.0040363 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6025-6_0_6_load_102 | 103 | 0.0031236 | 0.00078284 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6025-6_0_6_line_0 |  | 0 | 1 | 0.0088057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6025-6_0_6_line_1 |  | 0 | 2 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6025-6_0_6_line_2 |  | 1 | 3 | 0.057697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6025-6_0_6_line_3 |  | 2 | 4 | 0.005869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6025-6_0_6_line_4 |  | 3 | 5 | 0.030969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6025-6_0_6_line_5 |  | 3 | 6 | 0.078939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6025-6_0_6_line_6 |  | 3 | 7 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6025-6_0_6_line_7 |  | 4 | 11 | 0.015169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6025-6_0_6_line_8 |  | 5 | 12 | 0.0071425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6025-6_0_6_line_9 |  | 6 | 8 | 0.043604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6025-6_0_6_line_10 |  | 6 | 9 | 0.035522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6025-6_0_6_line_11 |  | 6 | 10 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6025-6_0_6_line_12 |  | 8 | 13 | 0.01196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6025-6_0_6_line_13 |  | 9 | 22 | 0.012812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6025-6_0_6_line_14 |  | 10 | 14 | 0.039374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6025-6_0_6_line_15 |  | 12 | 80 | 0.018452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6025-6_0_6_line_16 |  | 12 | 81 | 0.022821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6025-6_0_6_line_17 |  | 14 | 15 | 0.01613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6025-6_0_6_line_18 |  | 15 | 16 | 0.023024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6025-6_0_6_line_19 |  | 15 | 17 | 0.03442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6025-6_0_6_line_20 |  | 17 | 23 | 0.048217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6025-6_0_6_line_21 |  | 17 | 19 | 0.036046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6025-6_0_6_line_22 |  | 18 | 19 | 0.061539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6025-6_0_6_line_23 |  | 18 | 20 | 0.0145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6025-6_0_6_line_24 |  | 19 | 21 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6025-6_0_6_line_25 |  | 23 | 101 | 0.0060369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6025-6_0_6_line_26 |  | 24 | 25 | 0.033701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6025-6_0_6_line_27 |  | 24 | 26 | 0.0030868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6025-6_0_6_line_28 |  | 25 | 27 | 0.0243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6025-6_0_6_line_29 |  | 26 | 28 | 0.058817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6025-6_0_6_line_30 |  | 27 | 29 | 0.004444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6025-6_0_6_line_31 |  | 28 | 30 | 0.022184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6025-6_0_6_line_32 |  | 29 | 31 | 0.012232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6025-6_0_6_line_33 |  | 29 | 32 | 0.028918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6025-6_0_6_line_34 |  | 30 | 33 | 0.018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6025-6_0_6_line_35 |  | 30 | 34 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6025-6_0_6_line_36 |  | 31 | 35 | 0.047673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6025-6_0_6_line_37 |  | 33 | 77 | 0.001661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6025-6_0_6_line_38 |  | 34 | 53 | 0.014909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6025-6_0_6_line_39 |  | 35 | 36 | 0.02994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6025-6_0_6_line_40 |  | 35 | 37 | 0.018192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6025-6_0_6_line_41 |  | 36 | 45 | 0.04363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6025-6_0_6_line_42 |  | 36 | 46 | 0.026823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6025-6_0_6_line_43 |  | 37 | 41 | 0.03357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6025-6_0_6_line_44 |  | 38 | 39 | 0.0080811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6025-6_0_6_line_45 |  | 38 | 40 | 0.020403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6025-6_0_6_line_46 |  | 39 | 41 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6025-6_0_6_line_47 |  | 40 | 42 | 0.0042644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6025-6_0_6_line_48 |  | 42 | 43 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6025-6_0_6_line_49 |  | 43 | 44 | 0.062606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6025-6_0_6_line_50 |  | 44 | 50 | 0.025002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6025-6_0_6_line_51 |  | 45 | 47 | 0.021281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6025-6_0_6_line_52 |  | 46 | 48 | 0.0076656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6025-6_0_6_line_53 |  | 47 | 49 | 0.019307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6025-6_0_6_line_54 |  | 48 | 54 | 0.0077749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6025-6_0_6_line_55 |  | 49 | 67 | 0.042227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6025-6_0_6_line_56 |  | 49 | 63 | 0.016153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6025-6_0_6_line_57 |  | 50 | 51 | 0.021926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6025-6_0_6_line_58 |  | 50 | 52 | 0.001014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6025-6_0_6_line_59 |  | 52 | 70 | 0.026521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6025-6_0_6_line_60 |  | 53 | 79 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6025-6_0_6_line_61 |  | 55 | 56 | 0.023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6025-6_0_6_line_62 |  | 55 | 57 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6025-6_0_6_line_63 |  | 56 | 58 | 0.0040199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6025-6_0_6_line_64 |  | 57 | 59 | 0.01882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6025-6_0_6_line_65 |  | 57 | 60 | 0.036408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6025-6_0_6_line_66 |  | 58 | 61 | 0.009832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6025-6_0_6_line_67 |  | 58 | 62 | 0.045825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6025-6_0_6_line_68 |  | 60 | 63 | 0.013478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6025-6_0_6_line_69 |  | 61 | 64 | 0.040291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6025-6_0_6_line_70 |  | 61 | 65 | 0.0057387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6025-6_0_6_line_71 |  | 62 | 66 | 0.014471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6025-6_0_6_line_72 |  | 67 | 68 | 0.035495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6025-6_0_6_line_73 |  | 67 | 69 | 0.033543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6025-6_0_6_line_74 |  | 71 | 72 | 0.028102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6025-6_0_6_line_75 |  | 72 | 75 | 0.027158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6025-6_0_6_line_76 |  | 73 | 74 | 0.037822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6025-6_0_6_line_77 |  | 74 | 76 | 0.06202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6025-6_0_6_line_78 |  | 75 | 94 | 0.026538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6025-6_0_6_line_79 |  | 76 | 99 | 0.017067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6025-6_0_6_line_80 |  | 77 | 78 | 0.011256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6025-6_0_6_line_81 |  | 79 | 88 | 0.010609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_6025-6_0_6_line_82 |  | 81 | 82 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6025-6_0_6_line_83 |  | 81 | 83 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_6025-6_0_6_line_84 |  | 82 | 84 | 0.0044056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6025-6_0_6_line_85 |  | 83 | 85 | 0.0069948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6025-6_0_6_line_86 |  | 85 | 86 | 0.01636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6025-6_0_6_line_87 |  | 85 | 87 | 0.056958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6025-6_0_6_line_88 |  | 87 | 88 | 0.027678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_6025-6_0_6_line_89 |  | 87 | 89 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6025-6_0_6_line_90 |  | 87 | 90 | 0.025435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6025-6_0_6_line_91 |  | 88 | 91 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6025-6_0_6_line_92 |  | 89 | 92 | 0.044547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6025-6_0_6_line_93 |  | 89 | 93 | 0.037255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6025-6_0_6_line_94 |  | 90 | 94 | 0.00054082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6025-6_0_6_line_95 |  | 91 | 95 | 0.03156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6025-6_0_6_line_96 |  | 92 | 98 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6025-6_0_6_line_97 |  | 92 | 99 | 0.008934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6025-6_0_6_line_98 |  | 93 | 97 | 0.0065156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6025-6_0_6_line_99 |  | 95 | 96 | 0.01629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6025-6_0_6_line_100 |  | 96 | 103 | 0.014215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6025-6_0_6_line_101 |  | 99 | 100 | 0.04808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6025-6_0_6_line_102 |  | 101 | 102 | 0.028524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6025-6_0_6_trafo_10 | 0.63 MVA 20/0.4 kV | 104 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2588768.3019 | 1119415.5538 | 2588777.0039 | 1119414.2068
1 | 2588792.6524 | 1119411.7843 | 2588777.0039 | 1119414.2068
2 | 2588711.3096 | 1119424.5428 | 2588730.2376 | 1119421.5502 | 2588768.3019 | 1119415.5538
3 | 2588792.6524 | 1119411.7843 | 2588798.476 | 1119410.9286
4 | 2588711.3096 | 1119424.5428 | 2588680.6858 | 1119429.1531
5 | 2588717.94 | 1119364.423 | 2588724.967 | 1119412.778 | 2588726.2122 | 1119414.4321 | 2588728.2823 | 1119415.6621 | 2588729.4263 | 1119416.7939 | 2588730.2376 | 1119421.5502 | 2588711.3096 | 1119424.5428
6 | 2588711.3096 | 1119424.5428 | 2588714.3768 | 1119434.9643 | 2588715.0083 | 1119438.4649 | 2588715.9611 | 1119440.0293
7 | 2588798.476 | 1119410.9286 | 2588813.4698 | 1119408.63
8 | 2588673.6229 | 1119430.2164 | 2588680.6858 | 1119429.1531
9 | 2588717.94 | 1119364.423 | 2588718.558 | 1119360.7089 | 2588720.7216 | 1119358.3259 | 2588720.7718 | 1119356.2804 | 2588725.8201 | 1119357.5826 | 2588735.4396 | 1119356.6419 | 2588741.1318 | 1119355.6975 | 2588744.8548 | 1119353.734 | 2588747.8535 | 1119352.3833 | 2588751.5788 | 1119351.6537 | 2588754.1338 | 1119352.2826
10 | 2588714.2667 | 1119335.2378 | 2588714.8957 | 1119341.5286 | 2588715.2234 | 1119343.44 | 2588716.3076 | 1119349.6855 | 2588720.8661 | 1119348.9988 | 2588720.7718 | 1119356.2804 | 2588720.7216 | 1119358.3259 | 2588718.558 | 1119360.7089 | 2588717.94 | 1119364.423
11 | 2588717.94 | 1119364.423 | 2588711.7407 | 1119366.4912 | 2588704.2651 | 1119367.5522
12 | 2588756.2544 | 1119364.0511 | 2588754.1338 | 1119352.2826
13 | 2588714.2667 | 1119335.2378 | 2588701.7307 | 1119332.5908
14 | 2588670.92 | 1119363.3887 | 2588671.4906 | 1119367.2895 | 2588673.2561 | 1119370.699 | 2588674.9092 | 1119371.7186 | 2588704.2651 | 1119367.5522
15 | 2588673.6229 | 1119430.2164 | 2588673.7003 | 1119426.2699 | 2588675.3487 | 1119424.8216 | 2588687.2396 | 1119421.4976
16 | 2588652.8994 | 1119438.4039 | 2588655.849 | 1119435.5859 | 2588660.5964 | 1119432.7867 | 2588665.7325 | 1119431.5319 | 2588673.6229 | 1119430.2164
17 | 2588654.9148 | 1119365.7311 | 2588658.4782 | 1119365.1352 | 2588667.4721 | 1119363.8843 | 2588670.92 | 1119363.3887
18 | 2588654.9148 | 1119365.7311 | 2588655.0648 | 1119367.5206 | 2588654.5548 | 1119371.2345 | 2588653.3189 | 1119374.5385 | 2588651.5642 | 1119376.9096 | 2588649.392 | 1119378.7702 | 2588648.8784 | 1119380.5275 | 2588649.1007 | 1119386.8344
19 | 2588620.8148 | 1119371.0982 | 2588652.1689 | 1119366.181 | 2588654.9148 | 1119365.7311
20 | 2588620.8148 | 1119371.0982 | 2588620.1866 | 1119377.5025 | 2588614.6526 | 1119404.9487 | 2588613.0029 | 1119409.7986 | 2588610.5219 | 1119411.5486 | 2588604.9604 | 1119412.3865
21 | 2588607.4017 | 1119348.8126 | 2588608.9814 | 1119359.9707 | 2588609.8572 | 1119366.1609 | 2588621.5893 | 1119364.4712 | 2588620.8148 | 1119371.0982
22 | 2588607.4017 | 1119348.8126 | 2588608.9814 | 1119359.9707 | 2588570.2224 | 1119365.9471 | 2588569.7675 | 1119362.0239 | 2588572.2462 | 1119359.0288 | 2588572.2434 | 1119357.5836 | 2588572.0163 | 1119355.8277
23 | 2588572.0163 | 1119355.8277 | 2588586.3988 | 1119353.9825
24 | 2588607.4017 | 1119348.8126 | 2588621.3336 | 1119346.8809
25 | 2588604.9604 | 1119412.3865 | 2588598.9909 | 1119413.2859
26 | 2588785.3531 | 1119480.8618 | 2588818.658 | 1119475.713
27 | 2588785.3531 | 1119480.8618 | 2588782.3026 | 1119481.3334
28 | 2588842.6832 | 1119472.1098 | 2588841.8118 | 1119472.3449 | 2588819.4665 | 1119475.588 | 2588818.658 | 1119475.713
29 | 2588724.1542 | 1119490.1748 | 2588745.4438 | 1119487.0317 | 2588782.3026 | 1119481.3334
30 | 2588843.6633 | 1119476.4434 | 2588842.6832 | 1119472.1098
31 | 2588702.2506 | 1119493.6826 | 2588715.5475 | 1119491.4454 | 2588724.1542 | 1119490.1748
32 | 2588843.6633 | 1119476.4434 | 2588844.4213 | 1119477.4425 | 2588845.0262 | 1119479.0978 | 2588847.5208 | 1119487.9689
33 | 2588843.6633 | 1119476.4434 | 2588842.76 | 1119476.0894 | 2588841.4477 | 1119475.7472 | 2588839.4881 | 1119475.7509 | 2588815.1923 | 1119479.8091
34 | 2588702.2506 | 1119493.6826 | 2588699.5221 | 1119475.3225
35 | 2588685.6605 | 1119496.6708 | 2588702.2506 | 1119493.6826
36 | 2588862.5397 | 1119533.0585 | 2588859.9843 | 1119528.0385 | 2588858.2413 | 1119524.2288 | 2588856.0713 | 1119518.9635 | 2588853.8899 | 1119511.7418 | 2588848.0163 | 1119489.7308 | 2588847.5208 | 1119487.9689
37 | 2588699.2779 | 1119473.6796 | 2588699.5221 | 1119475.3225
38 | 2588685.6605 | 1119496.6708 | 2588670.9267 | 1119498.9509
39 | 2588862.5397 | 1119533.0585 | 2588865.741 | 1119536.9767 | 2588876.347 | 1119548.1181 | 2588880.4757 | 1119552.8572 | 2588882.4093 | 1119555.466
40 | 2588862.5397 | 1119533.0585 | 2588859.1855 | 1119534.143 | 2588844.7223 | 1119536.5791
41 | 2588882.4093 | 1119555.466 | 2588885.3872 | 1119559.5292 | 2588889.3405 | 1119565.3692 | 2588893.3265 | 1119572.2319 | 2588896.1771 | 1119578.4074 | 2588898.9134 | 1119585.328 | 2588900.0236 | 1119589.0833 | 2588901.4683 | 1119594.3499
42 | 2588882.4093 | 1119555.466 | 2588879.9122 | 1119556.8825 | 2588868.637 | 1119559.2712 | 2588856.3652 | 1119561.2272
43 | 2588811.6188 | 1119542.1548 | 2588844.7223 | 1119536.5791
44 | 2588800.9452 | 1119543.9525 | 2588792.9763 | 1119545.2948
45 | 2588772.8227 | 1119548.4719 | 2588784.0394 | 1119546.8 | 2588792.9763 | 1119545.2948
46 | 2588800.9452 | 1119543.9525 | 2588811.6188 | 1119542.1548
47 | 2588768.6049 | 1119549.1006 | 2588772.8227 | 1119548.4719
48 | 2588768.6049 | 1119549.1006 | 2588757.8929 | 1119550.6973
49 | 2588695.9714 | 1119559.9269 | 2588757.8929 | 1119550.6973
50 | 2588695.9714 | 1119559.9269 | 2588699.9295 | 1119584.6094
51 | 2588901.4683 | 1119594.3499 | 2588880.4835 | 1119597.8898
52 | 2588856.3652 | 1119561.2272 | 2588848.7952 | 1119562.4338
53 | 2588861.4702 | 1119601.2384 | 2588868.6196 | 1119599.8911 | 2588880.4835 | 1119597.8898
54 | 2588841.1172 | 1119563.6577 | 2588848.7952 | 1119562.4338
55 | 2588861.4702 | 1119601.2384 | 2588866.3351 | 1119632.7559 | 2588870.1324 | 1119642.369
56 | 2588861.4702 | 1119601.2384 | 2588845.4883 | 1119603.5805
57 | 2588682.6962 | 1119598.2263 | 2588699.9295 | 1119584.6094
58 | 2588699.9295 | 1119584.6094 | 2588700.0934 | 1119585.6096
59 | 2588726.5043 | 1119582.4585 | 2588700.0934 | 1119585.6096
60 | 2588670.9267 | 1119498.9509 | 2588655.5661 | 1119501.328
61 | 2588775.8473 | 1119613.9391 | 2588753.0144 | 1119617.6168
62 | 2588796.1094 | 1119610.6756 | 2588775.8473 | 1119613.9391
63 | 2588749.0457 | 1119618.256 | 2588753.0144 | 1119617.6168
64 | 2588796.1094 | 1119610.6756 | 2588793.7832 | 1119592.0041
65 | 2588796.1094 | 1119610.6756 | 2588832.1519 | 1119605.5279
66 | 2588749.0457 | 1119618.256 | 2588739.3043 | 1119619.7861
67 | 2588749.0457 | 1119618.256 | 2588756.4981 | 1119663.4706
68 | 2588832.1519 | 1119605.5279 | 2588834.0425 | 1119605.2579 | 2588845.4883 | 1119603.5805
69 | 2588741.5613 | 1119654.9547 | 2588744.9785 | 1119654.6482 | 2588745.901 | 1119652.89 | 2588747.2423 | 1119648.1408 | 2588746.4972 | 1119637.5258 | 2588744.0017 | 1119631.5387 | 2588740.0535 | 1119624.3314 | 2588739.3043 | 1119619.7861
70 | 2588739.3043 | 1119619.7861 | 2588733.6395 | 1119620.704
71 | 2588756.4981 | 1119663.4706 | 2588758.8515 | 1119677.749
72 | 2588870.1324 | 1119642.369 | 2588847.9498 | 1119670.0789
73 | 2588870.1324 | 1119642.369 | 2588888.7559 | 1119670.2671
74 | 2588599.9797 | 1119584.0331 | 2588615.3833 | 1119607.537
75 | 2588599.9797 | 1119584.0331 | 2588606.1882 | 1119557.5939
76 | 2588511.9 | 1119541.1891 | 2588512.0491 | 1119579.0113
77 | 2588529.5823 | 1119481.7481 | 2588527.8031 | 1119487.3987 | 2588525.1286 | 1119496.9307 | 2588521.8155 | 1119507.3199 | 2588512.2489 | 1119539.8319 | 2588511.9 | 1119541.1891
78 | 2588606.1882 | 1119557.5939 | 2588612.2549 | 1119531.759
79 | 2588529.5823 | 1119481.7481 | 2588545.9329 | 1119486.7972
80 | 2588699.2779 | 1119473.6796 | 2588697.6234 | 1119462.5463
81 | 2588645.0822 | 1119502.9504 | 2588655.5661 | 1119501.328
82 | 2588652.8994 | 1119438.4039 | 2588651.2334 | 1119434.6275 | 2588649.154 | 1119428.4394 | 2588647.5794 | 1119417.5409
83 | 2588652.8994 | 1119438.4039 | 2588650.8226 | 1119441.7873 | 2588649.3867 | 1119445.4362 | 2588645.4152 | 1119456.4335
84 | 2588646.9495 | 1119413.1806 | 2588647.5794 | 1119417.5409
85 | 2588643.0393 | 1119463.0124 | 2588645.4152 | 1119456.4335
86 | 2588643.0393 | 1119463.0124 | 2588627.3479 | 1119458.3817
87 | 2588617.6299 | 1119506.3706 | 2588621.8574 | 1119506.1069 | 2588627.365 | 1119505.5296 | 2588630.2498 | 1119505.135 | 2588630.4023 | 1119500.1212 | 2588630.9896 | 1119496.5294 | 2588632.6011 | 1119491.913 | 2588643.0393 | 1119463.0124
88 | 2588617.6299 | 1119506.3706 | 2588621.8574 | 1119506.1069 | 2588627.365 | 1119505.5296 | 2588630.2498 | 1119505.135 | 2588645.0822 | 1119502.9504
89 | 2588597.2616 | 1119502.3183 | 2588605.0733 | 1119504.349 | 2588612.1201 | 1119505.803 | 2588617.6299 | 1119506.3706
90 | 2588617.6299 | 1119506.3706 | 2588616.9764 | 1119511.6522 | 2588612.3785 | 1119531.2325
91 | 2588645.0822 | 1119502.9504 | 2588645.4281 | 1119506.3625 | 2588645.1516 | 1119511.1098 | 2588643.3645 | 1119522.5825
92 | 2588597.2616 | 1119502.3183 | 2588554.4789 | 1119489.4822
93 | 2588597.2616 | 1119502.3183 | 2588599.1733 | 1119497.3901 | 2588601.2858 | 1119492.5059 | 2588603.0055 | 1119488.0004 | 2588604.8786 | 1119483.05 | 2588610.1451 | 1119467.3793
94 | 2588612.2549 | 1119531.759 | 2588612.3785 | 1119531.2325
95 | 2588638.5069 | 1119553.7664 | 2588643.3645 | 1119522.5825
96 | 2588554.4789 | 1119489.4822 | 2588557.4674 | 1119478.7379 | 2588559.2234 | 1119477.0893 | 2588562.7402 | 1119476.36
97 | 2588554.4789 | 1119489.4822 | 2588545.9329 | 1119486.7972
98 | 2588612.2208 | 1119461.2031 | 2588610.1451 | 1119467.3793
99 | 2588638.5069 | 1119553.7664 | 2588635.9997 | 1119569.8618
100 | 2588633.8118 | 1119583.9074 | 2588635.9997 | 1119569.8618
101 | 2588545.9329 | 1119486.7972 | 2588554.9362 | 1119454.0973 | 2588554.2078 | 1119452.4423 | 2588542.2474 | 1119449.3443
102 | 2588571.2161 | 1119417.8152 | 2588575.669 | 1119418.4292 | 2588578.9777 | 1119417.8004 | 2588584.1427 | 1119415.5228 | 2588598.9909 | 1119413.2859

## bus_geodata
| x | y | coords
0 | 2588777.0039 | 1119414.2068
1 | 2588768.3019 | 1119415.5538
2 | 2588792.6524 | 1119411.7843
3 | 2588711.3096 | 1119424.5428
4 | 2588798.476 | 1119410.9286
5 | 2588680.6858 | 1119429.1531
6 | 2588717.94 | 1119364.423
7 | 2588715.9611 | 1119440.0294
8 | 2588754.1338 | 1119352.2826
9 | 2588714.2667 | 1119335.2378
10 | 2588704.2651 | 1119367.5522
11 | 2588813.4698 | 1119408.63
12 | 2588673.6229 | 1119430.2164
13 | 2588756.2544 | 1119364.0511
14 | 2588670.92 | 1119363.3887
15 | 2588654.9148 | 1119365.7311
16 | 2588649.1007 | 1119386.8344
17 | 2588620.8148 | 1119371.0982
18 | 2588572.0163 | 1119355.8277
19 | 2588607.4017 | 1119348.8126
20 | 2588586.3988 | 1119353.9825
21 | 2588621.3336 | 1119346.8809
22 | 2588701.7307 | 1119332.5908
23 | 2588604.9604 | 1119412.3865
24 | 2588785.3531 | 1119480.8618
25 | 2588818.658 | 1119475.713
26 | 2588782.3026 | 1119481.3334
27 | 2588842.6832 | 1119472.1098
28 | 2588724.1542 | 1119490.1748
29 | 2588843.6633 | 1119476.4434
30 | 2588702.2506 | 1119493.6826
31 | 2588847.5208 | 1119487.9689
32 | 2588815.1923 | 1119479.8091
33 | 2588699.5221 | 1119475.3225
34 | 2588685.6605 | 1119496.6708
35 | 2588862.5397 | 1119533.0585
36 | 2588882.4093 | 1119555.466
37 | 2588844.7223 | 1119536.5791
38 | 2588792.9763 | 1119545.2948
39 | 2588800.9452 | 1119543.9525
40 | 2588772.8227 | 1119548.4719
41 | 2588811.6188 | 1119542.1548
42 | 2588768.6049 | 1119549.1006
43 | 2588757.8929 | 1119550.6973
44 | 2588695.9714 | 1119559.9269
45 | 2588901.4683 | 1119594.3499
46 | 2588856.3652 | 1119561.2272
47 | 2588880.4835 | 1119597.8898
48 | 2588848.7952 | 1119562.4338
49 | 2588861.4702 | 1119601.2384
50 | 2588699.9295 | 1119584.6094
51 | 2588682.6962 | 1119598.2263
52 | 2588700.0934 | 1119585.6096
53 | 2588670.9267 | 1119498.9509
54 | 2588841.1172 | 1119563.6577
55 | 2588775.8473 | 1119613.9391
56 | 2588753.0144 | 1119617.6168
57 | 2588796.1094 | 1119610.6756
58 | 2588749.0457 | 1119618.256
59 | 2588793.7832 | 1119592.0041
60 | 2588832.1519 | 1119605.5279
61 | 2588739.3043 | 1119619.7861
62 | 2588756.4981 | 1119663.4706
63 | 2588845.4883 | 1119603.5805
64 | 2588741.5613 | 1119654.9547
65 | 2588733.6395 | 1119620.704
66 | 2588758.8515 | 1119677.749
67 | 2588870.1324 | 1119642.369
68 | 2588847.9498 | 1119670.0789
69 | 2588888.7559 | 1119670.2671
70 | 2588726.5043 | 1119582.4585
71 | 2588615.3833 | 1119607.537
72 | 2588599.9797 | 1119584.0331
73 | 2588512.0491 | 1119579.0113
74 | 2588511.9 | 1119541.1891
75 | 2588606.1882 | 1119557.5939
76 | 2588529.5823 | 1119481.7481
77 | 2588699.2779 | 1119473.6796
78 | 2588697.6235 | 1119462.5463
79 | 2588655.5661 | 1119501.328
80 | 2588687.2396 | 1119421.4976
81 | 2588652.8994 | 1119438.4039
82 | 2588647.5794 | 1119417.5409
83 | 2588645.4152 | 1119456.4335
84 | 2588646.9495 | 1119413.1806
85 | 2588643.0393 | 1119463.0124
86 | 2588627.3479 | 1119458.3817
87 | 2588617.6299 | 1119506.3706
88 | 2588645.0822 | 1119502.9504
89 | 2588597.2616 | 1119502.3183
90 | 2588612.3785 | 1119531.2325
91 | 2588643.3645 | 1119522.5825
92 | 2588554.4789 | 1119489.4822
93 | 2588610.1451 | 1119467.3793
94 | 2588612.2549 | 1119531.759
95 | 2588638.5069 | 1119553.7664
96 | 2588635.9997 | 1119569.8618
97 | 2588612.2208 | 1119461.2031
98 | 2588562.7402 | 1119476.36
99 | 2588545.9329 | 1119486.7972
100 | 2588542.2474 | 1119449.3443
101 | 2588598.9909 | 1119413.2859
102 | 2588571.2161 | 1119417.8152
103 | 2588633.8118 | 1119583.9074
104 | 2588702.2506 | 1119493.6826

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1