## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6136-84_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6136-84_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6136-84_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6136-84_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6136-84_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6136-84_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_6136-84_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6136-84_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6136-84_0_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_6136-84_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6136-84_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6136-84_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_6136-84_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6136-84_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6136-84_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6136-84_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6136-84_0_4_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_6136-84_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_6136-84_0_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_6136-84_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_6136-84_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6136-84_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_6136-84_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6136-84_0_4_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_6136-84_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_6136-84_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6136-84_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_6136-84_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6136-84_0_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_6136-84_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6136-84_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6136-84_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6136-84_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_6136-84_0_4_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_6136-84_0_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_6136-84_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6136-84_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6136-84_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6136-84_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_6136-84_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6136-84_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_6136-84_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_6136-84_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_MV_203_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6136-84_0_4_load_0 | 0 | 0.0086506 | 0.002168 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6136-84_0_4_load_1 | 1 | 0.0040978 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6136-84_0_4_load_2 | 2 | 0.014207 | 0.0035606 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6136-84_0_4_load_3 | 3 | 0.007516 | 0.0018837 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6136-84_0_4_load_35 | 5 | 0.0022267 | 0.00055806 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6136-84_0_4_load_11 | 7 | 0.014209 | 0.003561 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6136-84_0_4_load_6 | 9 | 0.073045 | 0.018307 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6136-84_0_4_load_5 | 12 | 0.0084928 | 0.0021285 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6136-84_0_4_load_10 | 14 | 0.036611 | 0.0091755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6136-84_0_4_load_33 | 16 | 0.031723 | 0.0079506 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6136-84_0_4_load_32 | 17 | 0.028207 | 0.0070693 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6136-84_0_4_load_34 | 21 | 0.010047 | 0.0025181 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6136-84_0_4_load_28 | 24 | 0.007068 | 0.0017714 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6136-84_0_4_load_12 | 26 | 0.010058 | 0.0025209 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6136-84_0_4_load_48 | 28 | 0.03108 | 0.0077893 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6136-84_0_4_load_37 | 32 | 0.006899 | 0.0017291 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6136-84_0_4_load_42 | 33 | 0.047304 | 0.011855 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6136-84_0_4_load_47 | 34 | 0.040941 | 0.010261 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6136-84_0_4_load_31 | 35 | 0.065855 | 0.016505 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6136-84_0_4_load_29 | 36 | 0.0050546 | 0.0012668 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6136-84_0_4_load_36 | 37 | 0.012638 | 0.0031673 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6136-84_0_4_load_43 | 39 | 0.038197 | 0.0095731 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6136-84_0_4_load_46 | 41 | 0.0035418 | 0.00088765 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6136-84_0_4_load_44 | 42 | 0.0041008 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6136-84_0_4_line_0 |  | 0 | 1 | 0.018426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6136-84_0_4_line_1 |  | 0 | 2 | 0.014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6136-84_0_4_line_2 |  | 1 | 3 | 0.0029526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6136-84_0_4_line_3 |  | 2 | 4 | 0.016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6136-84_0_4_line_4 |  | 3 | 5 | 0.014296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6136-84_0_4_line_5 |  | 4 | 6 | 0.022468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6136-84_0_4_line_6 |  | 4 | 7 | 0.025186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6136-84_0_4_line_7 |  | 5 | 8 | 0.24025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6136-84_0_4_line_8 |  | 6 | 9 | 0.023199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6136-84_0_4_line_9 |  | 7 | 10 | 0.010356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6136-84_0_4_line_10 |  | 7 | 11 | 0.017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6136-84_0_4_line_11 |  | 8 | 38 | 0.13519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6136-84_0_4_line_12 |  | 9 | 12 | 0.014486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6136-84_0_4_line_13 |  | 10 | 20 | 0.003109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6136-84_0_4_line_14 |  | 11 | 26 | 0.0061154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6136-84_0_4_line_15 |  | 12 | 13 | 0.0016249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6136-84_0_4_line_16 |  | 13 | 14 | 0.018055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6136-84_0_4_line_17 |  | 14 | 18 | 0.02944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6136-84_0_4_line_18 |  | 15 | 16 | 0.017143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6136-84_0_4_line_19 |  | 15 | 17 | 0.0081406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6136-84_0_4_line_20 |  | 16 | 22 | 0.051033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6136-84_0_4_line_21 |  | 17 | 23 | 0.065841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6136-84_0_4_line_22 |  | 18 | 24 | 0.027011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6136-84_0_4_line_23 |  | 18 | 25 | 0.039556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6136-84_0_4_line_24 |  | 19 | 20 | 0.04398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6136-84_0_4_line_25 |  | 19 | 21 | 0.033937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6136-84_0_4_line_26 |  | 20 | 34 | 0.008776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6136-84_0_4_line_27 |  | 22 | 31 | 0.005546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6136-84_0_4_line_28 |  | 23 | 36 | 0.011327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6136-84_0_4_line_29 |  | 25 | 35 | 0.016498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6136-84_0_4_line_30 |  | 25 | 36 | 0.020331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6136-84_0_4_line_31 |  | 27 | 28 | 0.006347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6136-84_0_4_line_32 |  | 27 | 29 | 0.029157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6136-84_0_4_line_33 |  | 29 | 33 | 0.020513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6136-84_0_4_line_34 |  | 30 | 31 | 0.018285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6136-84_0_4_line_35 |  | 30 | 32 | 0.016506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6136-84_0_4_line_36 |  | 31 | 33 | 0.017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6136-84_0_4_line_37 |  | 32 | 37 | 0.0010224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6136-84_0_4_line_38 |  | 38 | 39 | 0.062736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6136-84_0_4_line_39 |  | 39 | 42 | 0.024249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6136-84_0_4_line_40 |  | 40 | 41 | 0.029147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6136-84_0_4_line_41 |  | 40 | 42 | 0.05143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6136-84_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 43 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2571494.3774 | 1106137.1086 | 2571487.8028 | 1106135.2237 | 2571480.8179 | 1106134.7008 | 2571476.3791 | 1106133.5624
1 | 2571494.3774 | 1106137.1086 | 2571507.0673 | 1106140.7468 | 2571507.9855 | 1106141.5462
2 | 2571476.3791 | 1106133.5624 | 2571473.5191 | 1106132.829
3 | 2571520.6315 | 1106152.5556 | 2571507.9855 | 1106141.5462
4 | 2571459.344 | 1106132.5356 | 2571470.2193 | 1106131.9827 | 2571473.5191 | 1106132.829
5 | 2571520.6315 | 1106152.5556 | 2571530.2542 | 1106140.1596 | 2571534.482 | 1106134.837
6 | 2571504.9657 | 1106172.2839 | 2571510.5735 | 1106164.4424 | 2571520.6315 | 1106152.5556
7 | 2571423.8188 | 1106091.559 | 2571413.3017 | 1106112.6527 | 2571411.8501 | 1106116.3614 | 2571401.6844 | 1106152.8725 | 2571401.9181 | 1106154.8613 | 2571403.1268 | 1106157.0233 | 2571404.9788 | 1106157.8483 | 2571406.5857 | 1106157.5406 | 2571408.6448 | 1106154.7516 | 2571414.1663 | 1106141.7745 | 2571434.3357 | 1106121.1465 | 2571446.9876 | 1106105.0898 | 2571450.7092 | 1106103.9272 | 2571454.3173 | 1106104.9329 | 2571456.7632 | 1106107.0891 | 2571456.9071 | 1106109.7231 | 2571456.2179 | 1106112.7946 | 2571454.843 | 1106114.7354 | 2571440.8416 | 1106128.2972 | 2571437.2079 | 1106134.9844 | 2571432.1702 | 1106147.2478 | 2571432.4458 | 1106149.9367 | 2571433.878 | 1106151.931 | 2571436.1706 | 1106152.7317 | 2571439.021 | 1106152.129 | 2571451.7953 | 1106134.1596 | 2571455.5156 | 1106132.7302 | 2571459.344 | 1106132.5356
8 | 2571534.482 | 1106134.837 | 2571536.9034 | 1106131.7907 | 2571539.6398 | 1106128.2983 | 2571541.7147 | 1106125.576 | 2571545.0557 | 1106122.392 | 2571548.8322 | 1106119.7618 | 2571550.3393 | 1106118.1179
9 | 2571504.9657 | 1106172.2839 | 2571508.5715 | 1106174.4346 | 2571511.0664 | 1106177.1576 | 2571512.2983 | 1106179.3084
10 | 2571504.9657 | 1106172.2839 | 2571494.1668 | 1106186.0973
11 | 2571464.2701 | 1106054.3713 | 2571461.8342 | 1106059.2409 | 2571469.1394 | 1106060.4515 | 2571480.9161 | 1106057.1609 | 2571482.2844 | 1106053.7972 | 2571484.3506 | 1106054.1432 | 2571487.2427 | 1106057.4313 | 2571487.4163 | 1106059.8205 | 2571484.4586 | 1106062.2913 | 2571483.8595 | 1106066.4184 | 2571485.0733 | 1106069.6477 | 2571487.8041 | 1106073.1922 | 2571487.4907 | 1106075.606 | 2571483.6047 | 1106077.9811 | 2571487.0547 | 1106079.888 | 2571481.1689 | 1106086.1745 | 2571458.4616 | 1106093.3963 | 2571445.0445 | 1106091.5143 | 2571434.4819 | 1106084.983 | 2571426.8304 | 1106089.0434 | 2571423.8188 | 1106091.559
12 | 2571559.7642 | 1106107.1209 | 2571556.4384 | 1106110.9994 | 2571552.3941 | 1106115.8764 | 2571550.3393 | 1106118.1179
13 | 2571514.9427 | 1106177.6618 | 2571512.2983 | 1106179.3084
14 | 2571494.1668 | 1106186.0973 | 2571491.2805 | 1106184.0098 | 2571489.7302 | 1106186.0387
15 | 2571560.8219 | 1106105.8873 | 2571559.7642 | 1106107.1209
16 | 2571560.8219 | 1106105.8873 | 2571564.3972 | 1106101.5572 | 2571565.8313 | 1106099.0381 | 2571566.9294 | 1106095.7534 | 2571567.9346 | 1106090.824 | 2571568.0012 | 1106089.7799
17 | 2571566.4001 | 1106060.4825 | 2571567.4532 | 1106065.7357 | 2571568.017 | 1106072.1697 | 2571568.0049 | 1106077.8059 | 2571568.2703 | 1106083.2741 | 2571568.1579 | 1106087.3212 | 2571568.0012 | 1106089.7799
18 | 2571630.997 | 1106099.7992 | 2571635.7945 | 1106110.4043 | 2571637.9147 | 1106115.4823
19 | 2571630.997 | 1106099.7992 | 2571630.7861 | 1106099.3444 | 2571626.8044 | 1106092.8248
20 | 2571656.9027 | 1106162.8431 | 2571655.3754 | 1106158.6815 | 2571653.096 | 1106152.4445 | 2571648.957 | 1106142.1031 | 2571641.2375 | 1106123.4409 | 2571637.9147 | 1106115.4823
21 | 2571587.6073 | 1106040.028 | 2571600.4642 | 1106055.9757 | 2571614.2007 | 1106073.1867 | 2571622.2153 | 1106085.4998 | 2571626.5548 | 1106092.4163 | 2571626.8044 | 1106092.8248
22 | 2571566.4001 | 1106060.4825 | 2571577.1933 | 1106058.5196 | 2571580.0055 | 1106058.0062 | 2571581.5702 | 1106058.5658 | 2571582.7644 | 1106059.305 | 2571583.8365 | 1106060.356 | 2571589.1101 | 1106067.1676
23 | 2571563.1453 | 1106021.1556 | 2571563.1369 | 1106024.3017 | 2571562.8975 | 1106027.6489 | 2571562.8875 | 1106030.4615 | 2571563.1013 | 1106033.173 | 2571564.5411 | 1106046.662 | 2571565.4465 | 1106053.3722 | 2571566.2337 | 1106059.6384 | 2571566.4001 | 1106060.4825
24 | 2571543.3421 | 1106195.3371 | 2571528.9603 | 1106202.0193 | 2571523.4367 | 1106193.2297 | 2571520.0927 | 1106187.5426 | 2571516.6834 | 1106181.1332 | 2571514.9427 | 1106177.6618
25 | 2571543.3421 | 1106195.3371 | 2571554.7005 | 1106190.3034 | 2571568.2938 | 1106186.9378 | 2571575.2011 | 1106183.9914
26 | 2571514.9427 | 1106177.6618 | 2571514.3087 | 1106176.0195 | 2571513.7274 | 1106174.0991 | 2571513.4554 | 1106172.166 | 2571513.4776 | 1106170.3094 | 2571513.6344 | 1106169.1192
27 | 2571656.9027 | 1106162.8431 | 2571652.0829 | 1106165.6115
28 | 2571587.6073 | 1106040.028 | 2571585.8495 | 1106037.8574 | 2571579.8544 | 1106031.7839
29 | 2571563.1453 | 1106021.1556 | 2571559.9382 | 1106019.9145 | 2571549.1394 | 1106012.5709
30 | 2571563.1453 | 1106021.1556 | 2571567.5745 | 1106022.4688 | 2571570.455 | 1106023.3112 | 2571573.4414 | 1106025.2871 | 2571579.8544 | 1106031.7839
31 | 2571594.9597 | 1106191.1925 | 2571597.9321 | 1106196.8036
32 | 2571597.9321 | 1106196.8036 | 2571600.076 | 1106195.5818 | 2571613.1398 | 1106188.15 | 2571623.3115 | 1106182.3216
33 | 2571623.3115 | 1106182.3216 | 2571623.2734 | 1106179.1312 | 2571624.8397 | 1106176.7782 | 2571637.2864 | 1106169.3471
34 | 2571652.0829 | 1106165.6115 | 2571655.1788 | 1106171.1887 | 2571650.1506 | 1106174.036 | 2571652.983 | 1106179.4699
35 | 2571652.983 | 1106179.4699 | 2571653.8107 | 1106181.2002 | 2571653.821 | 1106183.4013 | 2571652.7798 | 1106185.6073 | 2571650.4838 | 1106187.3856 | 2571644.2575 | 1106190.6784
36 | 2571652.0829 | 1106165.6115 | 2571650.9851 | 1106164.0159 | 2571648.6317 | 1106163.4266 | 2571645.127 | 1106164.6659 | 2571637.2864 | 1106169.3471
37 | 2571643.3537 | 1106191.1563 | 2571644.2575 | 1106190.6784
38 | 2571464.2701 | 1106054.3713 | 2571466.982 | 1106050.6011 | 2571466.7768 | 1106046.4555 | 2571464.7372 | 1106041.9184 | 2571464.0511 | 1106037.4416 | 2571461.983 | 1106025.234 | 2571459.6748 | 1106016.2292 | 2571459.3309 | 1106008.9049 | 2571455.5388 | 1106004.9652 | 2571446.8001 | 1106000.1876
39 | 2571446.8001 | 1106000.1876 | 2571443.8865 | 1105998.5947 | 2571436.9025 | 1105995.0148 | 2571431.9815 | 1105991.1027 | 2571429.3004 | 1105994.8284 | 2571427.1043 | 1105995.0146
40 | 2571397.9655 | 1106023.8134 | 2571384.5519 | 1106016.1729 | 2571377.0882 | 1106020.7328 | 2571372.9345 | 1106023.4496
41 | 2571397.9655 | 1106023.8134 | 2571404.1409 | 1106019.9267 | 2571406.861 | 1106016.2675 | 2571406.3531 | 1106005.331 | 2571407.2247 | 1105996.7003 | 2571427.1043 | 1105995.0146

## bus_geodata
| x | y | coords
0 | 2571494.3774 | 1106137.1086
1 | 2571476.3791 | 1106133.5624
2 | 2571507.9855 | 1106141.5462
3 | 2571473.5191 | 1106132.829
4 | 2571520.6315 | 1106152.5556
5 | 2571459.344 | 1106132.5356
6 | 2571534.482 | 1106134.837
7 | 2571504.9657 | 1106172.2839
8 | 2571423.8188 | 1106091.559
9 | 2571550.3393 | 1106118.1179
10 | 2571512.2983 | 1106179.3084
11 | 2571494.1668 | 1106186.0973
12 | 2571559.7642 | 1106107.1209
13 | 2571560.8219 | 1106105.8873
14 | 2571568.0012 | 1106089.7799
15 | 2571630.997 | 1106099.7992
16 | 2571637.9147 | 1106115.4823
17 | 2571626.8044 | 1106092.8248
18 | 2571566.4001 | 1106060.4825
19 | 2571543.3421 | 1106195.3371
20 | 2571514.9427 | 1106177.6618
21 | 2571575.2011 | 1106183.9914
22 | 2571656.9027 | 1106162.8431
23 | 2571587.6073 | 1106040.028
24 | 2571589.1101 | 1106067.1676
25 | 2571563.1453 | 1106021.1556
26 | 2571489.7302 | 1106186.0387
27 | 2571597.9321 | 1106196.8036
28 | 2571594.9597 | 1106191.1925
29 | 2571623.3115 | 1106182.3216
30 | 2571652.983 | 1106179.4699
31 | 2571652.0829 | 1106165.6115
32 | 2571644.2575 | 1106190.6784
33 | 2571637.2864 | 1106169.3471
34 | 2571513.6344 | 1106169.1192
35 | 2571549.1394 | 1106012.5709
36 | 2571579.8544 | 1106031.7839
37 | 2571643.3537 | 1106191.1563
38 | 2571464.2701 | 1106054.3713
39 | 2571446.8001 | 1106000.1876
40 | 2571397.9655 | 1106023.8134
41 | 2571372.9345 | 1106023.4496
42 | 2571427.1043 | 1105995.0146
43 | 2571560.8219 | 1106105.8873

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1