## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6137-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6137-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6137-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6137-6_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_6137-6_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_6137-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6137-6_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_6137-6_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6137-6_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6137-6_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6137-6_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6137-6_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6137-6_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6137-6_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6137-6_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6137-6_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6137-6_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6137-6_0_4_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_6137-6_0_4_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_6137-6_0_4_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_6137-6_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_6137-6_0_4_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_6137-6_0_4_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_6137-6_0_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_6137-6_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6137-6_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6137-6_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6137-6_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_6137-6_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6137-6_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6137-6_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6137-6_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_6137-6_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_6137-6_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_6137-6_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_6137-6_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_6137-6_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6137-6_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6137-6_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6137-6_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6137-6_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6137-6_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6137-6_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6137-6_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6137-6_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6137-6_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6137-6_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6137-6_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_6137-6_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_6137-6_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_6137-6_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6137-6_0_4_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_6137-6_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6137-6_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6137-6_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_6137-6_0_4_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_6137-6_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_6137-6_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6137-6_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6137-6_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_6137-6_0_4_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_6137-6_0_4_node_94 | 0.4 | n |  | TRUE
62 | bus_LV_6137-6_0_4_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_6137-6_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6137-6_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_6137-6_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_6137-6_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6137-6_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6137-6_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_6137-6_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6137-6_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6137-6_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6137-6_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6137-6_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_6137-6_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6137-6_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6137-6_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_6137-6_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_6137-6_0_4_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_6137-6_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_6137-6_0_4_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_6137-6_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_6137-6_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_6137-6_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_6137-6_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_6137-6_0_4_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_6137-6_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_6137-6_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_6137-6_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_6137-6_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_6137-6_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_6137-6_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_6137-6_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_6137-6_0_4_node_91 | 0.4 | n |  | TRUE
94 | bus_MV_101_0_node_229 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6137-6_0_4_load_0 | 0 | 0.0022867 | 0.00057311 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6137-6_0_4_load_1 | 1 | 0.0031113 | 0.00077977 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6137-6_0_4_load_17 | 4 | 0.0031314 | 0.00078479 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6137-6_0_4_load_18 | 6 | 0.0019614 | 0.00049157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6137-6_0_4_load_3 | 7 | 0.0017548 | 0.00043979 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6137-6_0_4_load_4 | 8 | 0.0011411 | 0.00028599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6137-6_0_4_load_12 | 9 | 0.0042717 | 0.0010706 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6137-6_0_4_load_13 | 10 | 0.0047916 | 0.0012009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6137-6_0_4_load_14 | 11 | 0.0073553 | 0.0018434 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6137-6_0_4_load_7 | 12 | 0.004345 | 0.001089 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6137-6_0_4_load_50 | 17 | 0.0077301 | 0.0019373 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6137-6_0_4_load_53 | 19 | 0.0025491 | 0.00063886 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6137-6_0_4_load_56 | 20 | 0.0010742 | 0.00026922 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6137-6_0_4_load_55 | 21 | 0.0027267 | 0.00068339 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6137-6_0_4_load_52 | 23 | 0.0015075 | 0.00037782 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6137-6_0_4_load_15 | 24 | 0.0095624 | 0.0023966 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6137-6_0_4_load_16 | 25 | 0.0036797 | 0.00092223 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6137-6_0_4_load_35 | 27 | 0.0023783 | 0.00059605 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6137-6_0_4_load_21 | 28 | 0.0053715 | 0.0013462 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6137-6_0_4_load_19 | 30 | 0.0013517 | 0.00033877 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6137-6_0_4_load_39 | 32 | 0.0013642 | 0.00034191 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6137-6_0_4_load_40 | 33 | 0.0073505 | 0.0018422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6137-6_0_4_load_41 | 34 | 0.0040087 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6137-6_0_4_load_42 | 35 | 0.0044243 | 0.0011088 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6137-6_0_4_load_22 | 36 | 0.0081738 | 0.0020486 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6137-6_0_4_load_23 | 37 | 0.0011449 | 0.00028694 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6137-6_0_4_load_24 | 38 | 0.0028488 | 0.00071399 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6137-6_0_4_load_25 | 39 | 0.0038233 | 0.00095821 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6137-6_0_4_load_27 | 41 | 0.0033111 | 0.00082983 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6137-6_0_4_load_34 | 42 | 0.0022937 | 0.00057485 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6137-6_0_4_load_37 | 44 | 0.0025607 | 0.00064176 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6137-6_0_4_load_31 | 45 | 0.0034106 | 0.00085479 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6137-6_0_4_load_28 | 46 | 0.0025054 | 0.00062792 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6137-6_0_4_load_33 | 48 | 0.0019705 | 0.00049384 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6137-6_0_4_load_38 | 49 | 0.0018475 | 0.00046302 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6137-6_0_4_load_48 | 50 | 0.0026036 | 0.00065252 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6137-6_0_4_load_87 | 51 | 0.0021545 | 0.00053996 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6137-6_0_4_load_45 | 52 | 0.0029288 | 0.00073402 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6137-6_0_4_load_49 | 54 | 0.0097497 | 0.0024435 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6137-6_0_4_load_86 | 55 | 0.0029094 | 0.00072917 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6137-6_0_4_load_46 | 57 | 0.0022202 | 0.00055644 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6137-6_0_4_load_51 | 59 | 0.0040388 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6137-6_0_4_load_93 | 60 | 0.0031633 | 0.00079279 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6137-6_0_4_load_94 | 61 | 0.0028464 | 0.00071337 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6137-6_0_4_load_92 | 62 | 0.0039896 | 0.00099989 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6137-6_0_4_load_57 | 63 | 0.0015681 | 0.000393 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6137-6_0_4_load_59 | 64 | 0.0034313 | 0.00085997 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6137-6_0_4_load_60 | 65 | 0.0019898 | 0.0004987 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6137-6_0_4_load_64 | 66 | 0.0018265 | 0.00045776 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6137-6_0_4_load_63 | 67 | 0.008364 | 0.0020962 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6137-6_0_4_load_65 | 69 | 0.0038094 | 0.00095473 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6137-6_0_4_load_66 | 70 | 0.00331 | 0.00082957 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6137-6_0_4_load_67 | 71 | 0.0031275 | 0.00078382 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6137-6_0_4_load_68 | 72 | 0.0037061 | 0.00092884 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6137-6_0_4_load_69 | 73 | 0.0048596 | 0.0012179 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6137-6_0_4_load_70 | 74 | 0.0054383 | 0.001363 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6137-6_0_4_load_77 | 76 | 0.0049244 | 0.0012342 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6137-6_0_4_load_74 | 77 | 0.0024055 | 0.00060287 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6137-6_0_4_load_88 | 78 | 0.0026865 | 0.0006733 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6137-6_0_4_load_72 | 79 | 0.0034521 | 0.00086518 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6137-6_0_4_load_73 | 80 | 0.0043534 | 0.0010911 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6137-6_0_4_load_75 | 81 | 0.00298 | 0.00074687 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6137-6_0_4_load_76 | 82 | 0.0030299 | 0.00075938 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6137-6_0_4_load_78 | 83 | 0.024019 | 0.0060196 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6137-6_0_4_load_79 | 84 | 0.0029265 | 0.00073345 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6137-6_0_4_load_89 | 85 | 0.0043072 | 0.0010795 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6137-6_0_4_load_80 | 86 | 0.0039805 | 0.0009976 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6137-6_0_4_load_83 | 87 | 0.0034364 | 0.00086124 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6137-6_0_4_load_81 | 88 | 0.0042162 | 0.0010567 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6137-6_0_4_load_82 | 89 | 0.0026365 | 0.00066076 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6137-6_0_4_load_84 | 90 | 0.0031119 | 0.0007799 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6137-6_0_4_load_85 | 91 | 0.004012 | 0.0010055 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6137-6_0_4_load_90 | 92 | 0.0067084 | 0.0016813 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6137-6_0_4_load_91 | 93 | 0.0051692 | 0.0012955 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6137-6_0_4_line_0 |  | 0 | 1 | 0.038438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6137-6_0_4_line_1 |  | 1 | 2 | 0.050578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6137-6_0_4_line_2 |  | 2 | 5 | 0.1734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6137-6_0_4_line_3 |  | 3 | 4 | 0.054016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6137-6_0_4_line_4 |  | 3 | 5 | 0.086917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6137-6_0_4_line_5 |  | 4 | 6 | 0.033437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6137-6_0_4_line_6 |  | 5 | 7 | 0.02324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6137-6_0_4_line_7 |  | 6 | 30 | 0.028093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6137-6_0_4_line_8 |  | 7 | 8 | 0.059349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6137-6_0_4_line_9 |  | 9 | 10 | 0.024243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6137-6_0_4_line_10 |  | 9 | 11 | 0.024882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6137-6_0_4_line_11 |  | 10 | 24 | 0.044535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6137-6_0_4_line_12 |  | 11 | 25 | 0.0039797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6137-6_0_4_line_13 |  | 12 | 13 | 0.07064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6137-6_0_4_line_14 |  | 12 | 14 | 0.022893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6137-6_0_4_line_15 |  | 13 | 15 | 0.050027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6137-6_0_4_line_16 |  | 14 | 16 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6137-6_0_4_line_17 |  | 15 | 17 | 0.069151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6137-6_0_4_line_18 |  | 16 | 18 | 0.071268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6137-6_0_4_line_19 |  | 16 | 19 | 0.034694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6137-6_0_4_line_20 |  | 18 | 20 | 0.057513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6137-6_0_4_line_21 |  | 18 | 21 | 0.0083607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6137-6_0_4_line_22 |  | 19 | 22 | 0.1518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6137-6_0_4_line_23 |  | 19 | 23 | 0.023265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6137-6_0_4_line_24 |  | 22 | 63 | 0.094406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6137-6_0_4_line_25 |  | 24 | 26 | 0.0074291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6137-6_0_4_line_26 |  | 25 | 27 | 0.034177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6137-6_0_4_line_27 |  | 26 | 28 | 0.04065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6137-6_0_4_line_28 |  | 27 | 29 | 0.0086648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6137-6_0_4_line_29 |  | 28 | 36 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6137-6_0_4_line_30 |  | 29 | 47 | 0.00573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6137-6_0_4_line_31 |  | 30 | 31 | 0.061054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6137-6_0_4_line_32 |  | 31 | 32 | 0.033069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6137-6_0_4_line_33 |  | 31 | 33 | 0.020326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6137-6_0_4_line_34 |  | 31 | 34 | 0.035094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6137-6_0_4_line_35 |  | 31 | 35 | 0.0272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6137-6_0_4_line_36 |  | 32 | 41 | 0.027081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6137-6_0_4_line_37 |  | 34 | 50 | 0.0268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6137-6_0_4_line_38 |  | 35 | 51 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6137-6_0_4_line_39 |  | 37 | 38 | 0.003193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6137-6_0_4_line_40 |  | 37 | 39 | 0.035495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6137-6_0_4_line_41 |  | 38 | 40 | 0.0082692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6137-6_0_4_line_42 |  | 39 | 41 | 0.0071091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6137-6_0_4_line_43 |  | 40 | 42 | 0.045949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6137-6_0_4_line_44 |  | 40 | 43 | 0.043598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6137-6_0_4_line_45 |  | 42 | 44 | 0.02982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6137-6_0_4_line_46 |  | 43 | 45 | 0.012433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6137-6_0_4_line_47 |  | 43 | 46 | 0.027168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6137-6_0_4_line_48 |  | 44 | 49 | 0.044005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6137-6_0_4_line_49 |  | 46 | 47 | 0.0074254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6137-6_0_4_line_50 |  | 47 | 48 | 0.017654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6137-6_0_4_line_51 |  | 50 | 54 | 0.011131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6137-6_0_4_line_52 |  | 51 | 55 | 0.0082652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6137-6_0_4_line_53 |  | 52 | 53 | 0.043011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6137-6_0_4_line_54 |  | 53 | 56 | 0.042007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6137-6_0_4_line_55 |  | 53 | 57 | 0.044452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6137-6_0_4_line_56 |  | 53 | 58 | 0.004129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6137-6_0_4_line_57 |  | 55 | 91 | 0.0038968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6137-6_0_4_line_58 |  | 56 | 59 | 0.0062953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6137-6_0_4_line_59 |  | 57 | 60 | 0.0061944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6137-6_0_4_line_60 |  | 58 | 61 | 0.023786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6137-6_0_4_line_61 |  | 60 | 62 | 0.010891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6137-6_0_4_line_62 |  | 62 | 93 | 0.004698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6137-6_0_4_line_63 |  | 63 | 64 | 0.02375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6137-6_0_4_line_64 |  | 64 | 65 | 0.024738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6137-6_0_4_line_65 |  | 65 | 66 | 0.043622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6137-6_0_4_line_66 |  | 66 | 67 | 0.032831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6137-6_0_4_line_67 |  | 67 | 68 | 0.013933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6137-6_0_4_line_68 |  | 68 | 69 | 0.027877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6137-6_0_4_line_69 |  | 69 | 70 | 0.0091433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6137-6_0_4_line_70 |  | 70 | 71 | 0.0051081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6137-6_0_4_line_71 |  | 71 | 72 | 0.016711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6137-6_0_4_line_72 |  | 72 | 73 | 0.012204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6137-6_0_4_line_73 |  | 73 | 74 | 0.020195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6137-6_0_4_line_74 |  | 74 | 75 | 0.011738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6137-6_0_4_line_75 |  | 75 | 76 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_6137-6_0_4_line_76 |  | 75 | 77 | 0.0061061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_6137-6_0_4_line_77 |  | 76 | 78 | 0.030815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6137-6_0_4_line_78 |  | 77 | 79 | 0.008976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_6137-6_0_4_line_79 |  | 78 | 85 | 0.0096033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_6137-6_0_4_line_80 |  | 79 | 80 | 0.0019526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_6137-6_0_4_line_81 |  | 80 | 81 | 0.0030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_6137-6_0_4_line_82 |  | 81 | 82 | 0.0045999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_6137-6_0_4_line_83 |  | 82 | 83 | 0.011644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_6137-6_0_4_line_84 |  | 83 | 84 | 0.0083865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_6137-6_0_4_line_85 |  | 84 | 86 | 0.013367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6137-6_0_4_line_86 |  | 85 | 92 | 0.026562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_6137-6_0_4_line_87 |  | 86 | 87 | 0.0089782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6137-6_0_4_line_88 |  | 87 | 88 | 0.0028233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_6137-6_0_4_line_89 |  | 88 | 89 | 0.0065457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_6137-6_0_4_line_90 |  | 89 | 90 | 0.017525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_6137-6_0_4_line_91 |  | 90 | 91 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_6137-6_0_4_line_92 |  | 92 | 93 | 0.021258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6137-6_0_4_trafo_93 | 0.63 MVA 20/0.4 kV | 94 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2570312.5673 | 1105783.3757 | 2570348.411 | 1105794.5829 | 2570349.1322 | 1105795.0928
1 | 2570390.4304 | 1105824.2922 | 2570349.1322 | 1105795.0928
2 | 2570532.5098 | 1105724.8814 | 2570390.4304 | 1105824.2922
3 | 2570495.6914 | 1105614.81 | 2570495.2183 | 1105668.8234
4 | 2570495.2183 | 1105668.8234 | 2570546.729 | 1105718.1643 | 2570532.5098 | 1105724.8814
5 | 2570478.5612 | 1105586.094 | 2570495.6914 | 1105614.81
6 | 2570532.5098 | 1105724.8814 | 2570550.8063 | 1105739.2107 | 2570550.8063 | 1105739.2107
7 | 2570478.5612 | 1105586.094 | 2570468.9613 | 1105570.0012 | 2570463.3569 | 1105562.5116
8 | 2570550.8063 | 1105739.2107 | 2570607.2859 | 1105757.4412
9 | 2570677.9898 | 1105645.5711 | 2570697.9291 | 1105659.3599
10 | 2570657.8034 | 1105631.0283 | 2570670.2264 | 1105640.2025 | 2570677.9898 | 1105645.5711
11 | 2570731.7372 | 1105687.9112 | 2570723.039 | 1105677.5657 | 2570706.1124 | 1105665.019 | 2570697.9291 | 1105659.3599
12 | 2570654.602 | 1105628.6642 | 2570657.8034 | 1105631.0283
13 | 2570371.2541 | 1105238.9547 | 2570323.3668 | 1105187.0233
14 | 2570308.2952 | 1105169.7948 | 2570319.9234 | 1105183.289 | 2570323.3668 | 1105187.0233
15 | 2570404.9762 | 1105275.9864 | 2570391.3835 | 1105260.7896 | 2570371.2541 | 1105238.9547
16 | 2570299.5088 | 1105155.4417 | 2570308.2952 | 1105169.7948
17 | 2570404.9762 | 1105275.9864 | 2570401.3917 | 1105279.9503 | 2570400.3654 | 1105283.5572 | 2570402.5766 | 1105288.1821 | 2570408.4882 | 1105293.5559 | 2570415.1704 | 1105299.9709 | 2570426.7306 | 1105312.3207 | 2570432.9195 | 1105323.8186 | 2570436.3777 | 1105330.703
18 | 2570295.3638 | 1105090.9292 | 2570302.4122 | 1105134.0499 | 2570306.7441 | 1105143.7002 | 2570308.1062 | 1105148.6071 | 2570307.2845 | 1105151.3681 | 2570304.6753 | 1105153.9267 | 2570299.5088 | 1105155.4417
19 | 2570299.5088 | 1105155.4417 | 2570291.6713 | 1105139.0385 | 2570285.5229 | 1105123.7116
20 | 2570330.6098 | 1105099.405 | 2570322.9222 | 1105093.0617 | 2570320.0022 | 1105092.1867 | 2570318.9633 | 1105093.2256 | 2570320.8428 | 1105099.5752 | 2570320.3375 | 1105100.6115 | 2570313.4619 | 1105095.8428 | 2570311.7383 | 1105096.0514 | 2570310.8648 | 1105100.8693 | 2570309.3866 | 1105102.2439 | 2570307.4195 | 1105101.6866 | 2570303.1726 | 1105098.3279 | 2570300.0208 | 1105094.3303 | 2570295.3638 | 1105090.9292
21 | 2570295.3638 | 1105090.9292 | 2570292.8855 | 1105082.9442
22 | 2570285.5229 | 1105123.7116 | 2570143.7695 | 1105178.0085
23 | 2570276.8609 | 1105102.119 | 2570285.5229 | 1105123.7116
24 | 2570143.7695 | 1105178.0085 | 2570184.2793 | 1105195.3731 | 2570218.8096 | 1105231.992
25 | 2570736.5181 | 1105693.5975 | 2570731.7372 | 1105687.9112
26 | 2570627.1091 | 1105608.3614 | 2570654.602 | 1105628.6642
27 | 2570736.5181 | 1105693.5975 | 2570745.9095 | 1105708.7154 | 2570752.0568 | 1105716.6008 | 2570754.9885 | 1105719.9772 | 2570755.2913 | 1105721.8434 | 2570755.3942 | 1105723.9328 | 2570752.6905 | 1105724.5128 | 2570751.0731 | 1105724.2761
28 | 2570620.2216 | 1105603.104 | 2570626.796 | 1105608.1302 | 2570627.1091 | 1105608.3614
29 | 2570743.092 | 1105716.1439 | 2570745.927 | 1105720.3101 | 2570748.8958 | 1105723.375 | 2570751.0731 | 1105724.2761
30 | 2570615.6653 | 1105599.6132 | 2570620.2216 | 1105603.104
31 | 2570450.2038 | 1105507.372 | 2570445.7672 | 1105512.5964 | 2570450.7541 | 1105517.1188 | 2570460.5156 | 1105558.7145 | 2570463.3569 | 1105562.5116
32 | 2570450.2038 | 1105507.372 | 2570456.9802 | 1105510.9519 | 2570475.5089 | 1105528.3337
33 | 2570450.2038 | 1105507.372 | 2570451.5538 | 1105497.2047 | 2570460.6862 | 1105501.4456
34 | 2570450.2038 | 1105507.372 | 2570421.0164 | 1105492.7516 | 2570419.0023 | 1105491.3578
35 | 2570450.2038 | 1105507.372 | 2570449.1711 | 1105498.6171 | 2570436.9019 | 1105484.926
36 | 2570498.2917 | 1105542.6804 | 2570480.2868 | 1105532.8159 | 2570475.5089 | 1105528.3337
37 | 2570419.0023 | 1105491.3578 | 2570411.829 | 1105486.3933 | 2570401.7129 | 1105478.3054 | 2570398.0887 | 1105474.6822
38 | 2570429.1648 | 1105472.9313 | 2570433.8763 | 1105481.5498 | 2570436.9019 | 1105484.926
39 | 2570541.1698 | 1105557.261 | 2570538.0039 | 1105556.8456
40 | 2570504.5264 | 1105546.0962 | 2570514.195 | 1105551.3934 | 2570530.9054 | 1105555.9143 | 2570538.0039 | 1105556.8456
41 | 2570549.3687 | 1105558.3367 | 2570541.1698 | 1105557.261
42 | 2570498.2917 | 1105542.6804 | 2570504.5264 | 1105546.0962
43 | 2570549.3687 | 1105558.3367 | 2570580.1216 | 1105559.4766 | 2570590.7195 | 1105561.7596 | 2570594.7797 | 1105563.2756
44 | 2570587.6575 | 1105579.3167 | 2570583.8396 | 1105576.6117 | 2570549.3687 | 1105558.3367
45 | 2570622.0265 | 1105565.5316 | 2570622.0265 | 1105565.5316 | 2570620.2207 | 1105567.8972 | 2570617.0345 | 1105569.4579 | 2570614.1196 | 1105569.5721 | 2570607.7946 | 1105568.1354 | 2570594.7797 | 1105563.2756
46 | 2570587.6575 | 1105579.3167 | 2570586.6323 | 1105581.5895 | 2570585.926 | 1105582.6491 | 2570585.1498 | 1105583.6422 | 2570583.846 | 1105584.2822 | 2570582.7797 | 1105584.4653 | 2570581.5343 | 1105584.4046 | 2570580.1171 | 1105583.9891 | 2570578.0187 | 1105583.4323
47 | 2570587.6575 | 1105579.3167 | 2570607.4453 | 1105593.3277 | 2570609.7667 | 1105595.1028
48 | 2570622.0265 | 1105565.5316 | 2570622.5084 | 1105562.839 | 2570622.2714 | 1105560.2277 | 2570620.6797 | 1105557.3118 | 2570615.4504 | 1105553.802 | 2570595.9392 | 1105542.6133 | 2570590.9386 | 1105538.4043
49 | 2570615.6653 | 1105599.6132 | 2570609.7667 | 1105595.1028
50 | 2570599.2062 | 1105599.0262 | 2570603.5753 | 1105600.5946 | 2570606.5656 | 1105601.6807 | 2570609.5061 | 1105602.0555 | 2570610.998 | 1105601.937 | 2570612.6986 | 1105601.7954 | 2570613.7245 | 1105601.2568 | 2570614.5414 | 1105600.6859 | 2570615.6653 | 1105599.6132
51 | 2570398.0887 | 1105474.6822 | 2570390.2169 | 1105466.8125
52 | 2570425.2003 | 1105465.6791 | 2570429.1648 | 1105472.9313
53 | 2570518.9802 | 1105470.1398 | 2570513.0518 | 1105470.7801 | 2570509.9385 | 1105473.0187 | 2570509.3693 | 1105481.5925 | 2570505.4467 | 1105489.1488 | 2570502.059 | 1105504.8955
54 | 2570518.9802 | 1105470.1398 | 2570506.3539 | 1105456.3277 | 2570494.7787 | 1105436.0738
55 | 2570518.9802 | 1105470.1398 | 2570510.0141 | 1105464.7474 | 2570483.5422 | 1105443.428
56 | 2570522.747 | 1105471.8557 | 2570518.9802 | 1105470.1398
57 | 2570423.3311 | 1105462.2599 | 2570425.2003 | 1105465.6791
58 | 2570494.7787 | 1105436.0738 | 2570491.3807 | 1105433.8559 | 2570489.8705 | 1105432.2049
59 | 2570478.7178 | 1105439.5426 | 2570483.5422 | 1105443.428
60 | 2570543.1575 | 1105483.4177 | 2570538.2576 | 1105482.4522 | 2570535.195 | 1105480.8329 | 2570532.0622 | 1105479.0806 | 2570522.747 | 1105471.8557
61 | 2570470.3926 | 1105432.5427 | 2570471.5285 | 1105433.7527 | 2570478.7178 | 1105439.5426
62 | 2570470.3926 | 1105432.5427 | 2570467.1772 | 1105429.1175
63 | 2570233.9525 | 1105250.2788 | 2570220.9974 | 1105234.3122 | 2570218.8096 | 1105231.992
64 | 2570233.9525 | 1105250.2788 | 2570229.4169 | 1105274.5973
65 | 2570271.7024 | 1105285.3111 | 2570229.4169 | 1105274.5973
66 | 2570271.7024 | 1105285.3111 | 2570282.9087 | 1105301.1085 | 2570291.393 | 1105311.5611
67 | 2570300.1739 | 1105322.379 | 2570291.393 | 1105311.5611
68 | 2570300.1739 | 1105322.379 | 2570322.4824 | 1105339.0956
69 | 2570322.4824 | 1105339.0956 | 2570329.3128 | 1105344.2139 | 2570329.7474 | 1105344.6391
70 | 2570329.7474 | 1105344.6391 | 2570333.3983 | 1105348.2118
71 | 2570333.3983 | 1105348.2118 | 2570343.0127 | 1105357.6202 | 2570346.1256 | 1105358.5844
72 | 2570346.1256 | 1105358.5844 | 2570355.6607 | 1105361.538 | 2570357.8604 | 1105361.2235
73 | 2570357.8604 | 1105361.2235 | 2570364.5171 | 1105360.2717 | 2570373.5425 | 1105360.3609 | 2570377.5876 | 1105362.2038
74 | 2570388.269 | 1105367.07 | 2570377.5876 | 1105362.2038
75 | 2570388.269 | 1105367.07 | 2570399.451 | 1105375.4798
76 | 2570388.269 | 1105367.07 | 2570387.9453 | 1105372.0297 | 2570388.1923 | 1105373.1385
77 | 2570399.451 | 1105375.4798 | 2570406.0829 | 1105380.4675 | 2570420.9412 | 1105385.6642 | 2570427.0322 | 1105388.6324
78 | 2570390.144 | 1105381.8997 | 2570388.1923 | 1105373.1385
79 | 2570435.1031 | 1105393.7574 | 2570430.6078 | 1105390.3749 | 2570427.0322 | 1105388.6324
80 | 2570390.144 | 1105381.8997 | 2570390.2384 | 1105382.3237 | 2570390.9372 | 1105383.6715
81 | 2570390.9372 | 1105383.6715 | 2570392.3452 | 1105386.3871
82 | 2570392.3452 | 1105386.3871 | 2570394.4625 | 1105390.4707
83 | 2570394.4625 | 1105390.4707 | 2570399.8222 | 1105400.8078
84 | 2570399.8222 | 1105400.8078 | 2570403.6825 | 1105408.2531
85 | 2570409.8354 | 1105420.1201 | 2570403.6825 | 1105408.2531
86 | 2570435.1031 | 1105393.7574 | 2570437.3452 | 1105395.4445 | 2570442.6076 | 1105400.9216 | 2570452.88 | 1105413.3966
87 | 2570409.8354 | 1105420.1201 | 2570413.968 | 1105428.0906
88 | 2570415.2676 | 1105430.597 | 2570413.968 | 1105428.0906
89 | 2570415.2676 | 1105430.597 | 2570418.2806 | 1105436.4081
90 | 2570418.2806 | 1105436.4081 | 2570420.5144 | 1105440.7165 | 2570418.6704 | 1105447.9181 | 2570419.3399 | 1105453.1133
91 | 2570423.3311 | 1105462.2599 | 2570419.6511 | 1105455.5283 | 2570419.3399 | 1105453.1133
92 | 2570467.1772 | 1105429.1175 | 2570464.6098 | 1105426.3827 | 2570456.1285 | 1105417.3417 | 2570452.88 | 1105413.3966

## bus_geodata
| x | y | coords
0 | 2570312.5673 | 1105783.3757
1 | 2570349.1322 | 1105795.0928
2 | 2570390.4304 | 1105824.2922
3 | 2570495.2183 | 1105668.8234
4 | 2570495.6914 | 1105614.81
5 | 2570532.5098 | 1105724.8814
6 | 2570478.5612 | 1105586.094
7 | 2570550.8063 | 1105739.2107
8 | 2570607.2859 | 1105757.4412
9 | 2570677.9898 | 1105645.5711
10 | 2570697.9291 | 1105659.3599
11 | 2570657.8034 | 1105631.0283
12 | 2570323.3668 | 1105187.0233
13 | 2570371.2541 | 1105238.9547
14 | 2570308.2952 | 1105169.7948
15 | 2570404.9762 | 1105275.9864
16 | 2570299.5088 | 1105155.4417
17 | 2570436.3777 | 1105330.703
18 | 2570295.3638 | 1105090.9292
19 | 2570285.5229 | 1105123.7116
20 | 2570330.6098 | 1105099.405
21 | 2570292.8855 | 1105082.9442
22 | 2570143.7695 | 1105178.0085
23 | 2570276.8609 | 1105102.119
24 | 2570731.7372 | 1105687.9112
25 | 2570654.602 | 1105628.6642
26 | 2570736.5181 | 1105693.5975
27 | 2570627.1091 | 1105608.3614
28 | 2570751.0731 | 1105724.2761
29 | 2570620.2216 | 1105603.104
30 | 2570463.3569 | 1105562.5116
31 | 2570450.2038 | 1105507.372
32 | 2570475.5089 | 1105528.3337
33 | 2570460.6862 | 1105501.4456
34 | 2570419.0023 | 1105491.3578
35 | 2570436.9019 | 1105484.926
36 | 2570743.092 | 1105716.1439
37 | 2570538.0039 | 1105556.8456
38 | 2570541.1698 | 1105557.261
39 | 2570504.5264 | 1105546.0962
40 | 2570549.3687 | 1105558.3367
41 | 2570498.2917 | 1105542.6804
42 | 2570594.7797 | 1105563.2756
43 | 2570587.6575 | 1105579.3167
44 | 2570622.0265 | 1105565.5316
45 | 2570578.0187 | 1105583.4323
46 | 2570609.7667 | 1105595.1028
47 | 2570615.6653 | 1105599.6132
48 | 2570599.2062 | 1105599.0262
49 | 2570590.9386 | 1105538.4043
50 | 2570398.0887 | 1105474.6822
51 | 2570429.1648 | 1105472.9313
52 | 2570502.059 | 1105504.8955
53 | 2570518.9802 | 1105470.1398
54 | 2570390.2169 | 1105466.8125
55 | 2570425.2003 | 1105465.6791
56 | 2570494.7787 | 1105436.0738
57 | 2570483.5422 | 1105443.428
58 | 2570522.747 | 1105471.8557
59 | 2570489.8705 | 1105432.2049
60 | 2570478.7178 | 1105439.5426
61 | 2570543.1575 | 1105483.4177
62 | 2570470.3926 | 1105432.5427
63 | 2570218.8096 | 1105231.992
64 | 2570233.9525 | 1105250.2788
65 | 2570229.4169 | 1105274.5973
66 | 2570271.7024 | 1105285.3111
67 | 2570291.393 | 1105311.5611
68 | 2570300.1739 | 1105322.379
69 | 2570322.4824 | 1105339.0956
70 | 2570329.7474 | 1105344.6391
71 | 2570333.3983 | 1105348.2118
72 | 2570346.1256 | 1105358.5844
73 | 2570357.8604 | 1105361.2235
74 | 2570377.5876 | 1105362.2038
75 | 2570388.269 | 1105367.07
76 | 2570399.451 | 1105375.4798
77 | 2570388.1923 | 1105373.1385
78 | 2570427.0322 | 1105388.6324
79 | 2570390.144 | 1105381.8997
80 | 2570390.9372 | 1105383.6715
81 | 2570392.3452 | 1105386.3871
82 | 2570394.4625 | 1105390.4707
83 | 2570399.8222 | 1105400.8078
84 | 2570403.6825 | 1105408.2531
85 | 2570435.1031 | 1105393.7574
86 | 2570409.8354 | 1105420.1201
87 | 2570413.968 | 1105428.0906
88 | 2570415.2676 | 1105430.597
89 | 2570418.2806 | 1105436.4081
90 | 2570419.3399 | 1105453.1133
91 | 2570423.3311 | 1105462.2599
92 | 2570452.88 | 1105413.3966
93 | 2570467.1772 | 1105429.1175
94 | 2570518.9802 | 1105470.1398

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1