## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6137-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6137-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6137-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6137-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6137-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6137-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6137-9_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_6137-9_0_4_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_6137-9_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6137-9_0_4_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_6137-9_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6137-9_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_6137-9_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_6137-9_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_6137-9_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_6137-9_0_4_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_6137-9_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6137-9_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6137-9_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6137-9_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6137-9_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6137-9_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6137-9_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_6137-9_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_6137-9_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_6137-9_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6137-9_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6137-9_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6137-9_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6137-9_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_6137-9_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6137-9_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_6137-9_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_6137-9_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6137-9_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_6137-9_0_4_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_6137-9_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6137-9_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_6137-9_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_6137-9_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_6137-9_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6137-9_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6137-9_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_6137-9_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6137-9_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6137-9_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_6137-9_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_6137-9_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_6137-9_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6137-9_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_6137-9_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_6137-9_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_6137-9_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_6137-9_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6137-9_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_6137-9_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_6137-9_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_6137-9_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_MV_203_0_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6137-9_0_4_load_0 | 0 | 0.020573 | 0.0051561 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6137-9_0_4_load_1 | 1 | 0.023122 | 0.005795 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6137-9_0_4_load_34 | 6 | 0.0018196 | 0.00045602 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6137-9_0_4_load_59 | 7 | 0.0010352 | 0.00025944 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6137-9_0_4_load_58 | 9 | 0.032184 | 0.008066 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6137-9_0_4_load_26 | 12 | 0.0010912 | 0.00027348 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6137-9_0_4_load_33 | 13 | 0.004676 | 0.0011719 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6137-9_0_4_load_32 | 14 | 0.039642 | 0.0099352 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6137-9_0_4_load_27 | 15 | 0.00098743 | 0.00024747 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6137-9_0_4_load_8 | 16 | 0.0018132 | 0.00045443 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6137-9_0_4_load_9 | 17 | 0.00074714 | 0.00018725 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6137-9_0_4_load_11 | 19 | 0.0010831 | 0.00027145 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6137-9_0_4_load_12 | 20 | 0.00096189 | 0.00024107 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6137-9_0_4_load_13 | 21 | 0.00092473 | 0.00023176 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6137-9_0_4_load_23 | 22 | 0.00084504 | 0.00021179 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6137-9_0_4_load_28 | 23 | 0.00074301 | 0.00018622 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6137-9_0_4_load_24 | 24 | 0.0012939 | 0.00032428 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6137-9_0_4_load_14 | 25 | 0.023177 | 0.0058088 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6137-9_0_4_load_17 | 28 | 0.023255 | 0.0058282 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6137-9_0_4_load_18 | 29 | 0.020906 | 0.0052395 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6137-9_0_4_load_20 | 30 | 0.027149 | 0.0068043 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6137-9_0_4_load_36 | 31 | 0.030729 | 0.0077014 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6137-9_0_4_load_37 | 32 | 0.022666 | 0.0056807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6137-9_0_4_load_57 | 35 | 0.00061147 | 0.00015325 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6137-9_0_4_load_31 | 36 | 0.031624 | 0.0079258 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6137-9_0_4_load_35 | 37 | 0.028669 | 0.0071852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6137-9_0_4_load_38 | 38 | 0.019025 | 0.0047682 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6137-9_0_4_load_40 | 40 | 0.019311 | 0.0048397 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6137-9_0_4_load_25 | 41 | 0.0014764 | 0.00037003 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6137-9_0_4_load_30 | 42 | 0.0010039 | 0.00025159 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6137-9_0_4_load_29 | 43 | 0.0017491 | 0.00043836 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6137-9_0_4_load_39 | 44 | 0.066661 | 0.016707 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6137-9_0_4_load_50 | 46 | 0.0016858 | 0.00042249 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6137-9_0_4_load_43 | 47 | 0.0030279 | 0.00075887 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6137-9_0_4_load_44 | 48 | 0.0034857 | 0.00087359 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6137-9_0_4_load_46 | 49 | 0.0019514 | 0.00048907 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6137-9_0_4_load_47 | 50 | 0.0013648 | 0.00034204 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6137-9_0_4_load_48 | 51 | 0.0021266 | 0.00053298 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6137-9_0_4_load_49 | 52 | 0.00089158 | 0.00022345 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6137-9_0_4_load_51 | 53 | 0.001695 | 0.0004248 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6137-9_0_4_load_52 | 54 | 0.0012185 | 0.00030538 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6137-9_0_4_load_53 | 55 | 0.00075349 | 0.00018884 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6137-9_0_4_load_54 | 56 | 0.001424 | 0.00035688 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6137-9_0_4_load_55 | 57 | 0.00081085 | 0.00020322 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6137-9_0_4_line_0 |  | 0 | 1 | 0.0091355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6137-9_0_4_line_1 |  | 0 | 2 | 0.032267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6137-9_0_4_line_2 |  | 1 | 3 | 0.011066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6137-9_0_4_line_3 |  | 2 | 4 | 0.17424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6137-9_0_4_line_4 |  | 3 | 5 | 0.36295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6137-9_0_4_line_5 |  | 4 | 6 | 0.0049362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6137-9_0_4_line_6 |  | 5 | 7 | 0.058554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6137-9_0_4_line_7 |  | 6 | 13 | 0.034045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6137-9_0_4_line_8 |  | 8 | 9 | 0.05774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6137-9_0_4_line_9 |  | 8 | 10 | 0.27809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6137-9_0_4_line_10 |  | 10 | 11 | 0.078276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6137-9_0_4_line_11 |  | 10 | 12 | 0.050504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6137-9_0_4_line_12 |  | 11 | 14 | 0.039554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6137-9_0_4_line_13 |  | 12 | 15 | 0.02402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6137-9_0_4_line_14 |  | 13 | 21 | 0.047221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6137-9_0_4_line_15 |  | 14 | 36 | 0.0058598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6137-9_0_4_line_16 |  | 15 | 23 | 0.045827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6137-9_0_4_line_17 |  | 16 | 17 | 0.0078082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6137-9_0_4_line_18 |  | 16 | 18 | 0.0033492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6137-9_0_4_line_19 |  | 17 | 19 | 0.0078465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6137-9_0_4_line_20 |  | 18 | 20 | 0.026256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6137-9_0_4_line_21 |  | 18 | 21 | 0.017963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6137-9_0_4_line_22 |  | 19 | 22 | 0.0051723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6137-9_0_4_line_23 |  | 20 | 23 | 0.011785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6137-9_0_4_line_24 |  | 22 | 24 | 0.0047601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6137-9_0_4_line_25 |  | 24 | 41 | 0.0065079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6137-9_0_4_line_26 |  | 25 | 26 | 0.18851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6137-9_0_4_line_27 |  | 25 | 27 | 0.015991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6137-9_0_4_line_28 |  | 26 | 28 | 0.023652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6137-9_0_4_line_29 |  | 26 | 29 | 0.0032408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6137-9_0_4_line_30 |  | 27 | 30 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6137-9_0_4_line_31 |  | 28 | 31 | 0.044736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6137-9_0_4_line_32 |  | 29 | 32 | 0.0099359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6137-9_0_4_line_33 |  | 30 | 36 | 0.00073452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6137-9_0_4_line_34 |  | 31 | 37 | 0.016434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6137-9_0_4_line_35 |  | 32 | 38 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6137-9_0_4_line_36 |  | 33 | 34 | 0.072658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6137-9_0_4_line_37 |  | 33 | 35 | 0.010128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6137-9_0_4_line_38 |  | 34 | 39 | 0.010628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6137-9_0_4_line_39 |  | 34 | 40 | 0.091946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6137-9_0_4_line_40 |  | 38 | 44 | 0.006635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6137-9_0_4_line_41 |  | 39 | 45 | 0.030577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6137-9_0_4_line_42 |  | 39 | 46 | 0.065608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6137-9_0_4_line_43 |  | 40 | 44 | 0.0088924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6137-9_0_4_line_44 |  | 41 | 42 | 0.016898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6137-9_0_4_line_45 |  | 42 | 43 | 0.16577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6137-9_0_4_line_46 |  | 45 | 47 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6137-9_0_4_line_47 |  | 47 | 48 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6137-9_0_4_line_48 |  | 48 | 49 | 0.010426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6137-9_0_4_line_49 |  | 49 | 50 | 0.024754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6137-9_0_4_line_50 |  | 50 | 51 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6137-9_0_4_line_51 |  | 51 | 52 | 0.010647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6137-9_0_4_line_52 |  | 52 | 53 | 0.0034966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6137-9_0_4_line_53 |  | 53 | 54 | 0.007333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6137-9_0_4_line_54 |  | 54 | 55 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6137-9_0_4_line_55 |  | 55 | 56 | 0.020326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6137-9_0_4_line_56 |  | 56 | 57 | 0.030581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6137-9_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 58 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2568898.2379 | 1105337.8685 | 2568897.0316 | 1105337.9806 | 2568889.2493 | 1105339.4726
1 | 2568930.0368 | 1105333.1531 | 2568921.2106 | 1105335.733 | 2568898.2379 | 1105337.8685
2 | 2568878.3812 | 1105341.5561 | 2568889.2493 | 1105339.4726
3 | 2569087.7521 | 1105379.5468 | 2569082.0455 | 1105384.2228 | 2569072.0603 | 1105386.9975 | 2569056.3979 | 1105389.6122 | 2569030.0436 | 1105382.3211 | 2568974.397 | 1105361.9068 | 2568954.4857 | 1105341.3095 | 2568930.0368 | 1105333.1531
4 | 2568878.3812 | 1105341.5561 | 2568855.4133 | 1105347.6885 | 2568828.3225 | 1105331.1418 | 2568827.1187 | 1105339.1632 | 2568860.0409 | 1105408.3623 | 2568893.5332 | 1105486.2965 | 2568916.7905 | 1105556.1127 | 2568953.6931 | 1105608.739
5 | 2569087.7521 | 1105379.5468 | 2569092.6855 | 1105379.3794
6 | 2568953.6931 | 1105608.739 | 2569011.5051 | 1105619.0368
7 | 2569092.6855 | 1105379.3794 | 2569100.4793 | 1105379.115 | 2569124.2056 | 1105390.3382
8 | 2568975.4802 | 1105007.6648 | 2568976.1267 | 1105053.7962 | 2568970.6494 | 1105064.0184
9 | 2568970.6494 | 1105064.0184 | 2568989.4713 | 1105101.2743 | 2569000.5931 | 1105139.1144 | 2569007.8889 | 1105151.7279 | 2569028.3874 | 1105175.1572 | 2569032.1658 | 1105179.0398 | 2569058.9248 | 1105201.759 | 2569075.2635 | 1105213.348 | 2569102.4648 | 1105218.256 | 2569112.1159 | 1105222.6868 | 2569123.8029 | 1105242.6596 | 2569131.162 | 1105254.1279 | 2569138.2867 | 1105259.0719 | 2569144.3948 | 1105255.739
10 | 2569144.3948 | 1105255.739 | 2569144.0574 | 1105250.2491 | 2569138.7688 | 1105242.9056 | 2569134.0561 | 1105230.2232 | 2569131.0988 | 1105215.9865 | 2569126.0913 | 1105203.1055 | 2569113.6718 | 1105185.1153
11 | 2569144.3948 | 1105255.739 | 2569153.6771 | 1105269.7766 | 2569165.1904 | 1105301.4226
12 | 2569113.6718 | 1105185.1153 | 2569113.7551 | 1105171.1188 | 2569120.8816 | 1105164.2789 | 2569136.264 | 1105161.2434
13 | 2569171.2186 | 1105324.6504 | 2569166.5954 | 1105305.2845 | 2569165.1904 | 1105301.4226
14 | 2569169.9874 | 1105401.3019 | 2569156.8628 | 1105398.5706 | 2569129.5888 | 1105392.8845 | 2569124.2056 | 1105390.3382
15 | 2569136.264 | 1105161.2434 | 2569136.264 | 1105161.2434 | 2569140.8501 | 1105157.5957
16 | 2569187.2533 | 1105367.4616 | 2569180.9804 | 1105352.4353 | 2569173.7707 | 1105335.3411 | 2569171.2186 | 1105324.6504
17 | 2569189.8244 | 1105407.4424 | 2569192.3725 | 1105410.2512 | 2569196.1892 | 1105411.5002
18 | 2569187.574 | 1105404.9618 | 2569189.8244 | 1105407.4424
19 | 2569203.6465 | 1105413.9406 | 2569196.1892 | 1105411.5002
20 | 2569187.574 | 1105404.9618 | 2569189.3374 | 1105391.3348 | 2569189.3664 | 1105378.8199
21 | 2569187.574 | 1105404.9618 | 2569169.9874 | 1105401.3019
22 | 2569203.6465 | 1105413.9406 | 2569208.5624 | 1105415.5493
23 | 2569187.2533 | 1105367.4616 | 2569189.381 | 1105372.5583 | 2569189.3664 | 1105378.8199
24 | 2569212.7449 | 1105417.822 | 2569208.5624 | 1105415.5493 | 2569208.5624 | 1105415.5493
25 | 2569218.6252 | 1105420.575 | 2569215.9605 | 1105419.5693 | 2569212.7449 | 1105417.822
26 | 2569180.2418 | 1104998.0248 | 2569181.6397 | 1105003.7095 | 2569181.1816 | 1105010.9377 | 2569175.8227 | 1105009.5643 | 2569173.096 | 1105007.1992 | 2569170.7897 | 1105006.8886 | 2569169.9837 | 1105009.5941 | 2569170.8361 | 1105015.993 | 2569172.5085 | 1105020.9092 | 2569173.0954 | 1105038.9599 | 2569174.1167 | 1105045.1023 | 2569179.5084 | 1105054.4351 | 2569182.2863 | 1105065.3376 | 2569184.3486 | 1105083.0473 | 2569184.3676 | 1105103.4799 | 2569183.1361 | 1105119.8167 | 2569180.0853 | 1105134.2729 | 2569176.7776 | 1105148.397 | 2569174.0791 | 1105151.5346 | 2569166.7399 | 1105148.5371 | 2569160.2064 | 1105145.5938
27 | 2569146.3142 | 1105148.3856 | 2569151.3024 | 1105143.8133 | 2569157.0039 | 1105144.1511 | 2569160.2064 | 1105145.5938
28 | 2569180.2418 | 1104998.0248 | 2569192.0435 | 1105008.5701 | 2569198.9449 | 1105012.2584
29 | 2569180.2418 | 1104998.0248 | 2569179.8937 | 1104994.8028
30 | 2569146.3142 | 1105148.3856 | 2569144.2823 | 1105154.8659 | 2569141.425 | 1105157.1385
31 | 2569231.9776 | 1105040.4677 | 2569226.6259 | 1105032.1395 | 2569221.8249 | 1105024.8825 | 2569212.5866 | 1105019.5489 | 2569198.9449 | 1105012.2584
32 | 2569179.8937 | 1104994.8028 | 2569178.8264 | 1104984.9244
33 | 2569141.425 | 1105157.1385 | 2569140.8501 | 1105157.5957
34 | 2569240.862 | 1105054.2933 | 2569231.9776 | 1105040.4677
35 | 2569178.8264 | 1104984.9244 | 2569177.7906 | 1104975.3368 | 2569177.6056 | 1104970.9133
36 | 2569153.1746 | 1104817.8707 | 2569167.5476 | 1104827.5469 | 2569185.0487 | 1104863.7095 | 2569192.5872 | 1104876.9223
37 | 2569153.1746 | 1104817.8707 | 2569146.2669 | 1104810.4643
38 | 2569200.5506 | 1104883.9854 | 2569192.5872 | 1104876.9223
39 | 2569192.5872 | 1104876.9223 | 2569184.3446 | 1104883.3898 | 2569182.3685 | 1104888.6915 | 2569182.3318 | 1104913.3598 | 2569182.5473 | 1104923.7863 | 2569186.0637 | 1104935.4187 | 2569192.7323 | 1104950.9705 | 2569192.8512 | 1104957.6178 | 2569189.0934 | 1104960.9036
40 | 2569182.9277 | 1104967.2404 | 2569181.7099 | 1104968.9136 | 2569177.6056 | 1104970.9133 | 2569177.6056 | 1104970.9133
41 | 2569200.5506 | 1104883.9854 | 2569214.7221 | 1104884.4802 | 2569225.7858 | 1104879.1768 | 2569226.2596 | 1104875.0056
42 | 2569200.5506 | 1104883.9854 | 2569207.9033 | 1104903.2467 | 2569212.6779 | 1104917.4408 | 2569219.581 | 1104928.9226 | 2569224.7969 | 1104932.598 | 2569229.5762 | 1104931.0062 | 2569229.6389 | 1104928.1267 | 2569228.989 | 1104925.9
43 | 2569182.9277 | 1104967.2404 | 2569184.8204 | 1104964.64 | 2569189.0934 | 1104960.9036
44 | 2569218.6252 | 1105420.575 | 2569226.4517 | 1105423.529 | 2569232.3561 | 1105428.8351 | 2569232.7787 | 1105429.2528
45 | 2569232.7787 | 1105429.2528 | 2569249.922 | 1105446.1991 | 2569265.2942 | 1105458.0381 | 2569279.1121 | 1105469.8851 | 2569287.7621 | 1105478.3122 | 2569302.0263 | 1105485.1544 | 2569316.8808 | 1105489.4813 | 2569326.8393 | 1105496.7011 | 2569338.9614 | 1105505.1107 | 2569350.8316 | 1105511.1314 | 2569365.3741 | 1105516.4827 | 2569368.8436 | 1105519.8436
46 | 2569226.2596 | 1104875.0056 | 2569230.7454 | 1104885.6549 | 2569231.157 | 1104886.5892
47 | 2569231.157 | 1104886.5892 | 2569236.4181 | 1104898.5326 | 2569237.6948 | 1104901.5914
48 | 2569241.711 | 1104911.2132 | 2569237.6948 | 1104901.5914
49 | 2569241.711 | 1104911.2132 | 2569242.9792 | 1104914.2518 | 2569247.7922 | 1104919.2854 | 2569256.1201 | 1104926.5579 | 2569257.8343 | 1104929.5414
50 | 2569257.8343 | 1104929.5414 | 2569262.901 | 1104938.3597
51 | 2569262.901 | 1104938.3597 | 2569266.2719 | 1104944.2265 | 2569268.2263 | 1104947.5798
52 | 2569268.2263 | 1104947.5798 | 2569269.987 | 1104950.6007
53 | 2569273.6795 | 1104956.9362 | 2569269.987 | 1104950.6007
54 | 2569273.6795 | 1104956.9362 | 2569274.347 | 1104958.0815 | 2569279.1135 | 1104963.1154 | 2569280.7584 | 1104963.9591
55 | 2569280.7584 | 1104963.9591 | 2569288.1704 | 1104967.7607 | 2569294.9208 | 1104972.0397 | 2569297.439 | 1104975.1525
56 | 2569297.439 | 1104975.1525 | 2569301.8086 | 1104980.5536 | 2569307.6893 | 1104993.3192 | 2569310.4721 | 1105002.4852

## bus_geodata
| x | y | coords
0 | 2568898.2379 | 1105337.8685
1 | 2568889.2493 | 1105339.4726
2 | 2568930.0368 | 1105333.1531
3 | 2568878.3812 | 1105341.5561
4 | 2569087.7521 | 1105379.5468
5 | 2568953.6931 | 1105608.739
6 | 2569092.6855 | 1105379.3794
7 | 2569011.5051 | 1105619.0368
8 | 2568970.6494 | 1105064.0184
9 | 2568975.4802 | 1105007.6648
10 | 2569144.3948 | 1105255.739
11 | 2569113.6718 | 1105185.1153
12 | 2569165.1904 | 1105301.4226
13 | 2569124.2056 | 1105390.3382
14 | 2569136.264 | 1105161.2434
15 | 2569171.2186 | 1105324.6504
16 | 2569189.8244 | 1105407.4424
17 | 2569196.1892 | 1105411.5002
18 | 2569187.574 | 1105404.9618
19 | 2569203.6465 | 1105413.9406
20 | 2569189.3664 | 1105378.8199
21 | 2569169.9874 | 1105401.3019
22 | 2569208.5624 | 1105415.5493
23 | 2569187.2533 | 1105367.4616
24 | 2569212.7449 | 1105417.822
25 | 2569160.2064 | 1105145.5938
26 | 2569180.2418 | 1104998.0248
27 | 2569146.3142 | 1105148.3856
28 | 2569198.9449 | 1105012.2584
29 | 2569179.8937 | 1104994.8028
30 | 2569141.425 | 1105157.1385
31 | 2569231.9776 | 1105040.4677
32 | 2569178.8264 | 1104984.9244
33 | 2569153.1746 | 1104817.8707
34 | 2569192.5872 | 1104876.9223
35 | 2569146.2669 | 1104810.4643
36 | 2569140.8501 | 1105157.5957
37 | 2569240.862 | 1105054.2933
38 | 2569177.6056 | 1104970.9133
39 | 2569200.5506 | 1104883.9854
40 | 2569189.0934 | 1104960.9036
41 | 2569218.6252 | 1105420.575
42 | 2569232.7787 | 1105429.2528
43 | 2569368.8436 | 1105519.8436
44 | 2569182.9277 | 1104967.2404
45 | 2569226.2596 | 1104875.0056
46 | 2569228.989 | 1104925.9
47 | 2569231.157 | 1104886.5892
48 | 2569237.6948 | 1104901.5914
49 | 2569241.711 | 1104911.2132
50 | 2569257.8343 | 1104929.5414
51 | 2569262.901 | 1104938.3597
52 | 2569268.2263 | 1104947.5798
53 | 2569269.987 | 1104950.6007
54 | 2569273.6795 | 1104956.9362
55 | 2569280.7584 | 1104963.9591
56 | 2569297.439 | 1104975.1525
57 | 2569310.4721 | 1105002.4852
58 | 2569146.3142 | 1105148.3856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1