## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6152-18_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6152-18_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6152-18_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6152-18_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6152-18_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6152-18_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6152-18_0_6_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_6152-18_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6152-18_0_6_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_6152-18_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6152-18_0_6_node_86 | 0.4 | n |  | TRUE
11 | bus_LV_6152-18_0_6_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_6152-18_0_6_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_6152-18_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6152-18_0_6_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_6152-18_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6152-18_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6152-18_0_6_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_6152-18_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6152-18_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6152-18_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6152-18_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6152-18_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6152-18_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6152-18_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6152-18_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6152-18_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6152-18_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_6152-18_0_6_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_6152-18_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6152-18_0_6_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6152-18_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6152-18_0_6_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_6152-18_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6152-18_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_6152-18_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6152-18_0_6_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_6152-18_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_6152-18_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_6152-18_0_6_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_6152-18_0_6_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_6152-18_0_6_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_6152-18_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6152-18_0_6_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_6152-18_0_6_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_6152-18_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6152-18_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_6152-18_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6152-18_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_6152-18_0_6_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_6152-18_0_6_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_6152-18_0_6_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_6152-18_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6152-18_0_6_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_6152-18_0_6_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_6152-18_0_6_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_6152-18_0_6_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_6152-18_0_6_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_6152-18_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_6152-18_0_6_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_6152-18_0_6_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6152-18_0_6_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_6152-18_0_6_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_6152-18_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_6152-18_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_6152-18_0_6_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_6152-18_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_6152-18_0_6_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_6152-18_0_6_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_6152-18_0_6_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_6152-18_0_6_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_6152-18_0_6_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_6152-18_0_6_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_6152-18_0_6_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_6152-18_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_6152-18_0_6_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_6152-18_0_6_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6152-18_0_6_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_6152-18_0_6_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_6152-18_0_6_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_6152-18_0_6_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_6152-18_0_6_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_6152-18_0_6_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_6152-18_0_6_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_6152-18_0_6_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_6152-18_0_6_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_6152-18_0_6_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_6152-18_0_6_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_6152-18_0_6_node_66 | 0.4 | n |  | TRUE
89 | bus_LV_6152-18_0_6_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_6152-18_0_6_node_70 | 0.4 | n |  | TRUE
91 | bus_MV_192_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6152-18_0_6_load_0 | 0 | 0.007992 | 0.002003 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6152-18_0_6_load_1 | 1 | 0.0085369 | 0.0021395 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6152-18_0_6_load_4 | 4 | 0.0057619 | 0.0014441 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6152-18_0_6_load_38 | 6 | 0.0079099 | 0.0019824 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6152-18_0_6_load_36 | 8 | 0.017888 | 0.0044831 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6152-18_0_6_load_9 | 9 | 0.014798 | 0.0037088 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6152-18_0_6_load_86 | 10 | 0.004294 | 0.0010762 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6152-18_0_6_load_84 | 11 | 0.0051904 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6152-18_0_6_load_7 | 13 | 0.03519 | 0.0088195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6152-18_0_6_load_10 | 15 | 0.0052062 | 0.0013048 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6152-18_0_6_load_11 | 16 | 0.0023639 | 0.00059244 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6152-18_0_6_load_90 | 17 | 0.0041794 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6152-18_0_6_load_12 | 18 | 0.0060227 | 0.0015094 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6152-18_0_6_load_13 | 19 | 0.0063827 | 0.0015997 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6152-18_0_6_load_14 | 20 | 0.0058989 | 0.0014784 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6152-18_0_6_load_20 | 24 | 0.02528 | 0.0063359 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6152-18_0_6_load_18 | 25 | 0.0051062 | 0.0012797 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6152-18_0_6_load_34 | 27 | 0.0029361 | 0.00073587 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6152-18_0_6_load_35 | 28 | 0.012834 | 0.0032166 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6152-18_0_6_load_22 | 31 | 0.0046514 | 0.0011657 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6152-18_0_6_load_33 | 32 | 0.013395 | 0.0033571 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6152-18_0_6_load_28 | 35 | 0.0047763 | 0.0011971 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6152-18_0_6_load_81 | 36 | 0.0065693 | 0.0016464 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6152-18_0_6_load_26 | 38 | 0.0086764 | 0.0021745 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6152-18_0_6_load_95 | 39 | 0.032489 | 0.0081424 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6152-18_0_6_load_94 | 41 | 0.0058824 | 0.0014743 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6152-18_0_6_load_89 | 43 | 0.0053265 | 0.0013349 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6152-18_0_6_load_87 | 44 | 0.012062 | 0.003023 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6152-18_0_6_load_45 | 47 | 0.0059543 | 0.0014923 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6152-18_0_6_load_48 | 48 | 0.030233 | 0.007577 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6152-18_0_6_load_91 | 49 | 0.018113 | 0.0045394 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6152-18_0_6_load_88 | 50 | 0.0030087 | 0.00075405 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6152-18_0_6_load_44 | 52 | 0.020652 | 0.0051759 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6152-18_0_6_load_80 | 53 | 0.0060756 | 0.0015227 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6152-18_0_6_load_76 | 56 | 0.003452 | 0.00086514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6152-18_0_6_load_75 | 57 | 0.0043103 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6152-18_0_6_load_42 | 58 | 0.007038 | 0.0017639 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6152-18_0_6_load_72 | 61 | 0.0073103 | 0.0018321 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6152-18_0_6_load_77 | 62 | 0.0038416 | 0.0009628 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6152-18_0_6_load_51 | 64 | 0.021066 | 0.0052795 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6152-18_0_6_load_82 | 65 | 0.0039311 | 0.00098522 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6152-18_0_6_load_52 | 66 | 0.0046036 | 0.0011538 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6152-18_0_6_load_54 | 68 | 0.0049023 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6152-18_0_6_load_83 | 69 | 0.01962 | 0.0049173 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6152-18_0_6_load_92 | 71 | 0.012814 | 0.0032114 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6152-18_0_6_load_73 | 72 | 0.0069476 | 0.0017412 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6152-18_0_6_load_78 | 76 | 0.0063074 | 0.0015808 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6152-18_0_6_load_65 | 77 | 0.0091952 | 0.0023045 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6152-18_0_6_load_59 | 78 | 0.024352 | 0.0061033 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6152-18_0_6_load_79 | 79 | 0.0032713 | 0.00081987 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6152-18_0_6_load_71 | 80 | 0.0042767 | 0.0010718 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6152-18_0_6_load_56 | 81 | 0.0036936 | 0.00092569 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6152-18_0_6_load_57 | 82 | 0.0074047 | 0.0018558 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6152-18_0_6_load_58 | 83 | 0.0023924 | 0.00059958 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6152-18_0_6_load_68 | 84 | 0.0082504 | 0.0020677 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6152-18_0_6_load_67 | 85 | 0.0057704 | 0.0014462 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6152-18_0_6_load_63 | 86 | 0.004884 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6152-18_0_6_load_64 | 87 | 0.0049314 | 0.0012359 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6152-18_0_6_load_66 | 88 | 0.0037998 | 0.00095233 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6152-18_0_6_load_69 | 89 | 0.005787 | 0.0014504 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6152-18_0_6_load_70 | 90 | 0.0064164 | 0.0016081 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6152-18_0_6_line_0 |  | 0 | 1 | 0.052368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6152-18_0_6_line_1 |  | 0 | 2 | 0.0083505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6152-18_0_6_line_2 |  | 1 | 3 | 0.020116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6152-18_0_6_line_3 |  | 2 | 4 | 0.015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6152-18_0_6_line_4 |  | 2 | 5 | 0.058812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6152-18_0_6_line_5 |  | 3 | 6 | 0.013596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6152-18_0_6_line_6 |  | 3 | 7 | 0.04099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6152-18_0_6_line_7 |  | 3 | 8 | 0.032699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6152-18_0_6_line_8 |  | 4 | 9 | 0.002184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6152-18_0_6_line_9 |  | 5 | 10 | 0.0042379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6152-18_0_6_line_10 |  | 5 | 11 | 0.0041844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6152-18_0_6_line_11 |  | 6 | 12 | 0.0093179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6152-18_0_6_line_12 |  | 7 | 13 | 0.029568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6152-18_0_6_line_13 |  | 8 | 14 | 0.057121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6152-18_0_6_line_14 |  | 9 | 15 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6152-18_0_6_line_15 |  | 10 | 17 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6152-18_0_6_line_16 |  | 12 | 58 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6152-18_0_6_line_17 |  | 12 | 59 | 0.044151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6152-18_0_6_line_18 |  | 14 | 51 | 0.041662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6152-18_0_6_line_19 |  | 14 | 46 | 0.059855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6152-18_0_6_line_20 |  | 15 | 16 | 0.0081932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6152-18_0_6_line_21 |  | 17 | 49 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6152-18_0_6_line_22 |  | 18 | 19 | 0.018785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6152-18_0_6_line_23 |  | 19 | 20 | 0.0070269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6152-18_0_6_line_24 |  | 20 | 21 | 0.020359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6152-18_0_6_line_25 |  | 21 | 22 | 0.032288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6152-18_0_6_line_26 |  | 21 | 23 | 0.00917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6152-18_0_6_line_27 |  | 22 | 24 | 0.027733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6152-18_0_6_line_28 |  | 22 | 25 | 0.012488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6152-18_0_6_line_29 |  | 23 | 26 | 0.032692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6152-18_0_6_line_30 |  | 23 | 27 | 0.020855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6152-18_0_6_line_31 |  | 24 | 28 | 0.0015683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6152-18_0_6_line_32 |  | 25 | 29 | 0.041625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6152-18_0_6_line_33 |  | 26 | 30 | 0.09211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6152-18_0_6_line_34 |  | 26 | 31 | 0.016266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6152-18_0_6_line_35 |  | 27 | 32 | 0.0044324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6152-18_0_6_line_36 |  | 29 | 33 | 0.0285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6152-18_0_6_line_37 |  | 30 | 39 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6152-18_0_6_line_38 |  | 30 | 40 | 0.043723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6152-18_0_6_line_39 |  | 31 | 37 | 0.0091018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6152-18_0_6_line_40 |  | 33 | 34 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6152-18_0_6_line_41 |  | 33 | 35 | 0.022623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6152-18_0_6_line_42 |  | 34 | 36 | 0.021656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6152-18_0_6_line_43 |  | 36 | 53 | 0.010782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6152-18_0_6_line_44 |  | 37 | 38 | 0.018369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6152-18_0_6_line_45 |  | 40 | 41 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6152-18_0_6_line_46 |  | 42 | 43 | 0.0071493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6152-18_0_6_line_47 |  | 42 | 44 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6152-18_0_6_line_48 |  | 43 | 49 | 0.019268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6152-18_0_6_line_49 |  | 44 | 50 | 0.036586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6152-18_0_6_line_50 |  | 45 | 46 | 0.021284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6152-18_0_6_line_51 |  | 45 | 47 | 0.018255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6152-18_0_6_line_52 |  | 46 | 48 | 0.023855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6152-18_0_6_line_53 |  | 47 | 52 | 0.03089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6152-18_0_6_line_54 |  | 51 | 54 | 0.039109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6152-18_0_6_line_55 |  | 51 | 55 | 0.02269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6152-18_0_6_line_56 |  | 51 | 56 | 0.023696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6152-18_0_6_line_57 |  | 53 | 79 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6152-18_0_6_line_58 |  | 54 | 57 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6152-18_0_6_line_59 |  | 55 | 60 | 0.030611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6152-18_0_6_line_60 |  | 55 | 61 | 0.018752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6152-18_0_6_line_61 |  | 56 | 62 | 0.058396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6152-18_0_6_line_62 |  | 59 | 63 | 0.013758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6152-18_0_6_line_63 |  | 59 | 64 | 0.024386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6152-18_0_6_line_64 |  | 60 | 84 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6152-18_0_6_line_65 |  | 60 | 75 | 0.05148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6152-18_0_6_line_66 |  | 61 | 80 | 0.040776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6152-18_0_6_line_67 |  | 63 | 65 | 0.03616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6152-18_0_6_line_68 |  | 64 | 66 | 0.013421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6152-18_0_6_line_69 |  | 65 | 69 | 0.024932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6152-18_0_6_line_70 |  | 67 | 68 | 0.030269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6152-18_0_6_line_71 |  | 67 | 69 | 0.075671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6152-18_0_6_line_72 |  | 70 | 71 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6152-18_0_6_line_73 |  | 70 | 72 | 0.047143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6152-18_0_6_line_74 |  | 72 | 80 | 0.033031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6152-18_0_6_line_75 |  | 73 | 74 | 0.029377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6152-18_0_6_line_76 |  | 73 | 75 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_6152-18_0_6_line_77 |  | 73 | 76 | 0.014865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6152-18_0_6_line_78 |  | 74 | 77 | 0.018298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6152-18_0_6_line_79 |  | 75 | 78 | 0.029776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6152-18_0_6_line_80 |  | 76 | 79 | 0.029864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6152-18_0_6_line_81 |  | 77 | 86 | 0.032809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6152-18_0_6_line_82 |  | 78 | 82 | 0.009661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6152-18_0_6_line_83 |  | 81 | 82 | 0.046002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6152-18_0_6_line_84 |  | 81 | 83 | 0.013799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6152-18_0_6_line_85 |  | 84 | 85 | 0.029437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6152-18_0_6_line_86 |  | 85 | 89 | 0.026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6152-18_0_6_line_87 |  | 86 | 87 | 0.027576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6152-18_0_6_line_88 |  | 87 | 88 | 0.024242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6152-18_0_6_line_89 |  | 89 | 90 | 0.01779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6152-18_0_6_trafo_31 | 0.63 MVA 20/0.4 kV | 91 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2562073.8883 | 1124434.6801 | 2562091.5616 | 1124445.2893 | 2562119.0442 | 1124461.1983
1 | 2562066.7288 | 1124430.3822 | 2562073.8883 | 1124434.6801
2 | 2562136.4539 | 1124471.2762 | 2562119.0442 | 1124461.1983
3 | 2562066.7288 | 1124430.3822 | 2562061.5539 | 1124441.1091 | 2562059.9367 | 1124444.6116
4 | 2562010.7468 | 1124419.829 | 2562015.4172 | 1124419.5995 | 2562027.9735 | 1124419.2536 | 2562039.6986 | 1124419.1353 | 2562045.902 | 1124419.9523 | 2562050.3463 | 1124420.5469 | 2562066.7288 | 1124430.3822
5 | 2562136.4539 | 1124471.2762 | 2562148.2658 | 1124478.0094
6 | 2562136.4539 | 1124471.2762 | 2562145.7224 | 1124450.7188 | 2562153.5195 | 1124433.9947
7 | 2562136.4539 | 1124471.2762 | 2562132.8153 | 1124481.1374 | 2562124.019 | 1124501.5077
8 | 2562059.0212 | 1124446.5944 | 2562059.9367 | 1124444.6116
9 | 2562010.7468 | 1124419.829 | 2562010.6096 | 1124424.0647
10 | 2562010.7468 | 1124419.829 | 2562010.8134 | 1124415.6451
11 | 2562156.3609 | 1124482.6238 | 2562148.2658 | 1124478.0094
12 | 2562153.5195 | 1124433.9947 | 2562127.8785 | 1124419.2703
13 | 2562102.2918 | 1124554.3328 | 2562104.1058 | 1124549.7969 | 2562109.3201 | 1124536.7575 | 2562111.4073 | 1124531.5306 | 2562123.9248 | 1124501.7258 | 2562124.019 | 1124501.5077
14 | 2562059.0212 | 1124446.5944 | 2562059.0212 | 1124446.5944 | 2562058.8155 | 1124450.6645 | 2562057.1988 | 1124453.4649 | 2562052.6729 | 1124458.2736 | 2562049.1847 | 1124460.1521 | 2562046.3201 | 1124458.4323
15 | 2562010.2058 | 1124436.5321 | 2562010.6096 | 1124424.0647
16 | 2562156.3609 | 1124482.6238 | 2562150.7029 | 1124493.7649
17 | 2562156.3609 | 1124482.6238 | 2562171.4427 | 1124490.3999 | 2562193.0752 | 1124501.5477 | 2562195.6043 | 1124502.8548
18 | 2562084.4892 | 1124591.997 | 2562091.9344 | 1124575.7642 | 2562102.2918 | 1124554.3328
19 | 2562046.56 | 1124535.5512 | 2562049.2567 | 1124534.0891 | 2562051.645 | 1124535.0746 | 2562087.1799 | 1124547.88 | 2562102.2918 | 1124554.3328
20 | 2562039.2955 | 1124454.2151 | 2562046.3201 | 1124458.4323
21 | 2562010.2058 | 1124436.5321 | 2562009.8368 | 1124447.9267 | 2562009.7578 | 1124449.2372
22 | 2561843.7297 | 1124523.1787 | 2561846.1389 | 1124528.4891 | 2561848.6285 | 1124534.5209 | 2561851.3893 | 1124537.0936 | 2561853.8547 | 1124538.0786 | 2561853.8547 | 1124538.0786
23 | 2561860.8677 | 1124538.4581 | 2561859.9234 | 1124538.3292 | 2561853.8547 | 1124538.0786
24 | 2561881.1427 | 1124540.1294 | 2561872.9355 | 1124539.4031 | 2561865.9957 | 1124539.1579 | 2561860.8677 | 1124538.4581
25 | 2561881.1427 | 1124540.1294 | 2561879.89 | 1124548.0636 | 2561880.5327 | 1124558.2758 | 2561882.1779 | 1124572.1947
26 | 2561883.0982 | 1124531.1792 | 2561882.8253 | 1124531.9146 | 2561881.1427 | 1124540.1294
27 | 2561882.1779 | 1124572.1947 | 2561884.9675 | 1124572.0214 | 2561908.9605 | 1124578.8212
28 | 2561882.1779 | 1124572.1947 | 2561882.3654 | 1124573.8166 | 2561884.1333 | 1124584.527
29 | 2561897.2048 | 1124501.7085 | 2561892.5163 | 1124511.254 | 2561885.3804 | 1124525.1284 | 2561883.0982 | 1124531.1792
30 | 2561883.0982 | 1124531.1792 | 2561880.0771 | 1124530.0977 | 2561869.285 | 1124525.3413 | 2561863.9153 | 1124523.0138
31 | 2561910.4694 | 1124579.2489 | 2561908.9605 | 1124578.8212
32 | 2561894.2439 | 1124624.8675 | 2561891.7361 | 1124615.9565 | 2561885.5237 | 1124592.9508 | 2561884.1333 | 1124584.527
33 | 2561939.3508 | 1124419.8121 | 2561935.2436 | 1124427.4308 | 2561906.4983 | 1124482.7958 | 2561901.6346 | 1124492.6871 | 2561897.2048 | 1124501.7085
34 | 2561897.2048 | 1124501.7085 | 2561902.1686 | 1124505.2123 | 2561910.6892 | 1124510.8019
35 | 2561859.8486 | 1124521.2511 | 2561863.9153 | 1124523.0138
36 | 2561894.2439 | 1124624.8675 | 2561896.5765 | 1124628.021 | 2561901.366 | 1124632.0261 | 2561908.3157 | 1124633.8498 | 2561916.1196 | 1124634.2341 | 2561918.8639 | 1124634.2168 | 2561919.4429 | 1124634.3354
37 | 2561939.3508 | 1124419.8121 | 2561958.7078 | 1124424.5258
38 | 2561920.9155 | 1124392.5701 | 2561922.7943 | 1124394.6482 | 2561925.7256 | 1124396.1416 | 2561946.1861 | 1124407.1293 | 2561939.3508 | 1124419.8121
39 | 2561918.0721 | 1124516.1174 | 2561913.2463 | 1124512.4794 | 2561910.6892 | 1124510.8019
40 | 2561919.4429 | 1124634.3354 | 2561924.7302 | 1124635.3915 | 2561928.0813 | 1124637.4603 | 2561935.735 | 1124640.9138
41 | 2561919.4429 | 1124634.3354 | 2561924.652 | 1124625.4425 | 2561930.6946 | 1124614.7096
42 | 2561935.735 | 1124640.9138 | 2561954.6743 | 1124651.4158
43 | 2561954.6743 | 1124651.4158 | 2561964.1034 | 1124656.6443
44 | 2561918.0721 | 1124516.1174 | 2561933.4006 | 1124526.3037
45 | 2561920.9155 | 1124392.5701 | 2561916.6036 | 1124393.4089 | 2561914.8555 | 1124394.9318 | 2561913.7024 | 1124396.6844 | 2561910.1174 | 1124402.7657
46 | 2562008.1686 | 1124475.6068 | 2562008.5987 | 1124468.4705
47 | 2562008.1686 | 1124475.6068 | 2561990.3546 | 1124474.4613
48 | 2562009.7578 | 1124449.2372 | 2562008.5987 | 1124468.4705
49 | 2561976.6095 | 1124449.0921 | 2561976.2085 | 1124458.8663 | 2561976.0018 | 1124463.9924 | 2561976.3589 | 1124470.4935 | 2561977.7963 | 1124472.2742 | 2561979.8999 | 1124473.3281 | 2561986.9133 | 1124474.24 | 2561990.3546 | 1124474.4613
50 | 2562035.9661 | 1124521.8443 | 2562042.8198 | 1124529.2382 | 2562046.2246 | 1124532.4851 | 2562049.2567 | 1124534.0891 | 2562046.56 | 1124535.5512
51 | 2562035.9661 | 1124521.8443 | 2562053.3133 | 1124527.529
52 | 2562046.56 | 1124535.5512 | 2562048.8959 | 1124536.7927 | 2562068.6822 | 1124544.4309
53 | 2562082.7997 | 1124536.7282 | 2562074.8746 | 1124534.1503 | 2562056.1364 | 1124528.4541 | 2562053.3133 | 1124527.529
54 | 2562084.4892 | 1124591.997 | 2562091.9344 | 1124575.7642 | 2562110.074 | 1124586.8337
55 | 2562072.244 | 1124611.117 | 2562078.7182 | 1124601.0712 | 2562084.4892 | 1124591.997
56 | 2562084.4892 | 1124591.997 | 2562104.6815 | 1124604.3968
57 | 2561982.2712 | 1124666.7185 | 2561964.1034 | 1124656.6443
58 | 2562110.074 | 1124586.8337 | 2562122.6589 | 1124594.5237
59 | 2562057.0007 | 1124637.6818 | 2562072.244 | 1124611.117
60 | 2562072.244 | 1124611.117 | 2562076.6388 | 1124613.6685 | 2562088.4847 | 1124620.4908
61 | 2562154.9822 | 1124633.9536 | 2562145.4411 | 1124629.4667 | 2562114.6478 | 1124610.517 | 2562104.6815 | 1124604.3968
62 | 2562195.6043 | 1124502.8548 | 2562206.9932 | 1124510.6207
63 | 2562195.6043 | 1124502.8548 | 2562191.0339 | 1124512.8774 | 2562188.4247 | 1124518.4632 | 2562186.4255 | 1124524.2231 | 2562186.0067 | 1124525.2495
64 | 2562057.0007 | 1124637.6818 | 2562073.6267 | 1124647.9227
65 | 2562057.0007 | 1124637.6818 | 2562030.6601 | 1124681.9477
66 | 2562123.7498 | 1124640.9611 | 2562112.5929 | 1124634.3754 | 2562088.4847 | 1124620.4908
67 | 2562206.9932 | 1124510.6207 | 2562223.4068 | 1124521.8236 | 2562224.7551 | 1124524.1608 | 2562224.2571 | 1124527.1099 | 2562222.9598 | 1124531.6981 | 2562221.5122 | 1124537.3456
68 | 2562180.9361 | 1124537.6754 | 2562186.0067 | 1124525.2495
69 | 2562207.3582 | 1124552.8843 | 2562212.9843 | 1124553.8607 | 2562214.8222 | 1124553.1377 | 2562216.9436 | 1124549.6671 | 2562220.3711 | 1124541.7972 | 2562221.5122 | 1124537.3456
70 | 2562255.1289 | 1124611.5707 | 2562250.079 | 1124627.5214 | 2562247.3014 | 1124640.7712
71 | 2562207.3582 | 1124552.8843 | 2562255.1289 | 1124611.5707
72 | 2562198.7825 | 1124665.5618 | 2562214.428 | 1124669.8771
73 | 2562152.3316 | 1124657.5155 | 2562198.7825 | 1124665.5618
74 | 2562152.3316 | 1124657.5155 | 2562134.6376 | 1124647.388 | 2562123.7498 | 1124640.9611
75 | 2562013.4814 | 1124712.06 | 2562025.6354 | 1124690.7616 | 2562021.3883 | 1124688.4094
76 | 2562030.6601 | 1124681.9477 | 2562025.6354 | 1124690.7616 | 2562021.3883 | 1124688.4094
77 | 2562021.3883 | 1124688.4094 | 2562008.3883 | 1124681.2007
78 | 2562013.4814 | 1124712.06 | 2562028.7681 | 1124722.1164
79 | 2562030.6601 | 1124681.9477 | 2562056.2937 | 1124697.0988
80 | 2562008.3883 | 1124681.2007 | 2561982.2712 | 1124666.7185
81 | 2562056.8562 | 1124739.0475 | 2562037.8191 | 1124728.0705 | 2562028.7681 | 1124722.1164
82 | 2562056.2937 | 1124697.0988 | 2562064.6105 | 1124702.0146
83 | 2562108.8498 | 1124706.113 | 2562105.4835 | 1124704.0553 | 2562071.5462 | 1124706.114 | 2562064.6105 | 1124702.0146
84 | 2562110.2157 | 1124719.8447 | 2562108.8498 | 1124706.113
85 | 2562098.779 | 1124663.2146 | 2562091.3386 | 1124658.8323 | 2562073.6267 | 1124647.9227
86 | 2562098.779 | 1124663.2146 | 2562121.8398 | 1124676.7968
87 | 2562056.8562 | 1124739.0475 | 2562080.7457 | 1124752.8225
88 | 2562080.7457 | 1124752.8225 | 2562101.7464 | 1124764.9317
89 | 2562137.1684 | 1124685.825 | 2562121.8398 | 1124676.7968

## bus_geodata
| x | y | coords
0 | 2562073.8883 | 1124434.6801
1 | 2562119.0442 | 1124461.1983
2 | 2562066.7288 | 1124430.3822
3 | 2562136.4539 | 1124471.2762
4 | 2562059.9367 | 1124444.6116
5 | 2562010.7468 | 1124419.829
6 | 2562148.2658 | 1124478.0094
7 | 2562153.5195 | 1124433.9947
8 | 2562124.019 | 1124501.5077
9 | 2562059.0212 | 1124446.5944
10 | 2562010.6096 | 1124424.0647
11 | 2562010.8134 | 1124415.6451
12 | 2562156.3609 | 1124482.6238
13 | 2562127.8785 | 1124419.2703
14 | 2562102.2918 | 1124554.3328
15 | 2562046.3201 | 1124458.4323
16 | 2562039.2955 | 1124454.2151
17 | 2562010.2058 | 1124436.5321
18 | 2561843.7297 | 1124523.1787
19 | 2561853.8547 | 1124538.0786
20 | 2561860.8677 | 1124538.4581
21 | 2561881.1427 | 1124540.1294
22 | 2561882.1779 | 1124572.1947
23 | 2561883.0982 | 1124531.1792
24 | 2561908.9605 | 1124578.8212
25 | 2561884.1333 | 1124584.527
26 | 2561897.2048 | 1124501.7085
27 | 2561863.9153 | 1124523.0138
28 | 2561910.4694 | 1124579.2489
29 | 2561894.2439 | 1124624.8675
30 | 2561939.3508 | 1124419.8121
31 | 2561910.6892 | 1124510.8019
32 | 2561859.8486 | 1124521.2511
33 | 2561919.4429 | 1124634.3354
34 | 2561935.735 | 1124640.9138
35 | 2561930.6946 | 1124614.7096
36 | 2561954.6743 | 1124651.4158
37 | 2561918.0721 | 1124516.1174
38 | 2561933.4006 | 1124526.3037
39 | 2561958.7078 | 1124424.5258
40 | 2561920.9155 | 1124392.5701
41 | 2561910.1174 | 1124402.7657
42 | 2562008.1686 | 1124475.6068
43 | 2562008.5987 | 1124468.4705
44 | 2561990.3546 | 1124474.4613
45 | 2562035.9661 | 1124521.8443
46 | 2562046.56 | 1124535.5512
47 | 2562053.3133 | 1124527.529
48 | 2562068.6822 | 1124544.4309
49 | 2562009.7578 | 1124449.2372
50 | 2561976.6095 | 1124449.0921
51 | 2562084.4892 | 1124591.997
52 | 2562082.7997 | 1124536.7282
53 | 2561964.1034 | 1124656.6443
54 | 2562110.074 | 1124586.8337
55 | 2562072.244 | 1124611.117
56 | 2562104.6815 | 1124604.3968
57 | 2562122.6589 | 1124594.5237
58 | 2562150.7029 | 1124493.7649
59 | 2562195.6043 | 1124502.8548
60 | 2562057.0007 | 1124637.6818
61 | 2562088.4847 | 1124620.4908
62 | 2562154.9822 | 1124633.9536
63 | 2562206.9932 | 1124510.6207
64 | 2562186.0067 | 1124525.2495
65 | 2562221.5122 | 1124537.3456
66 | 2562180.9361 | 1124537.6754
67 | 2562255.1289 | 1124611.5707
68 | 2562247.3014 | 1124640.7712
69 | 2562207.3582 | 1124552.8843
70 | 2562198.7825 | 1124665.5618
71 | 2562214.428 | 1124669.8771
72 | 2562152.3316 | 1124657.5155
73 | 2562021.3883 | 1124688.4093
74 | 2562013.4814 | 1124712.06
75 | 2562030.6601 | 1124681.9477
76 | 2562008.3883 | 1124681.2007
77 | 2562028.7681 | 1124722.1164
78 | 2562056.2937 | 1124697.0988
79 | 2561982.2712 | 1124666.7185
80 | 2562123.7498 | 1124640.9611
81 | 2562108.8498 | 1124706.113
82 | 2562064.6105 | 1124702.0146
83 | 2562110.2157 | 1124719.8447
84 | 2562073.6267 | 1124647.9227
85 | 2562098.779 | 1124663.2146
86 | 2562056.8562 | 1124739.0475
87 | 2562080.7457 | 1124752.8225
88 | 2562101.7464 | 1124764.9317
89 | 2562121.8398 | 1124676.7968
90 | 2562137.1684 | 1124685.825
91 | 2562049.2567 | 1124534.0891

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1