## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6152-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6152-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6152-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6152-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6152-22_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6152-22_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_6152-22_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6152-22_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6152-22_0_4_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_6152-22_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6152-22_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6152-22_0_4_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_6152-22_0_4_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_6152-22_0_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_6152-22_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6152-22_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_6152-22_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6152-22_0_4_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_6152-22_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6152-22_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6152-22_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6152-22_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6152-22_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6152-22_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6152-22_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6152-22_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6152-22_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_6152-22_0_4_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_6152-22_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_6152-22_0_4_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_6152-22_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6152-22_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_6152-22_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6152-22_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6152-22_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6152-22_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6152-22_0_4_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_6152-22_0_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_6152-22_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6152-22_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6152-22_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_6152-22_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6152-22_0_4_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_6152-22_0_4_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_6152-22_0_4_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_6152-22_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_6152-22_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6152-22_0_4_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_6152-22_0_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_6152-22_0_4_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_6152-22_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_6152-22_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_6152-22_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_6152-22_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_6152-22_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_6152-22_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_6152-22_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6152-22_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6152-22_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_6152-22_0_4_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_6152-22_0_4_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_6152-22_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_6152-22_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_6152-22_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_6152-22_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_6152-22_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_6152-22_0_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_6152-22_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_6152-22_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_6152-22_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_6152-22_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_6152-22_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_6152-22_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_6152-22_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_6152-22_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_6152-22_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_6152-22_0_4_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_6152-22_0_4_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_6152-22_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_6152-22_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_6152-22_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_6152-22_0_4_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_6152-22_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_6152-22_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_6152-22_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_6152-22_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_6152-22_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_MV_192_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6152-22_0_4_load_0 | 0 | 0.0029474 | 0.0007387 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6152-22_0_4_load_1 | 1 | 0.0017697 | 0.00044353 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6152-22_0_4_load_2 | 2 | 0.0092894 | 0.0023281 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6152-22_0_4_load_4 | 4 | 0.0041665 | 0.0010442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6152-22_0_4_load_5 | 6 | 0.0024535 | 0.0006149 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6152-22_0_4_load_9 | 7 | 0.0027832 | 0.00069754 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6152-22_0_4_load_78 | 8 | 0.0029721 | 0.00074488 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6152-22_0_4_load_6 | 9 | 0.0035153 | 0.00088103 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6152-22_0_4_load_7 | 10 | 0.0031728 | 0.00079518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6152-22_0_4_load_80 | 11 | 0.0053063 | 0.0013299 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6152-22_0_4_load_77 | 13 | 0.0024575 | 0.0006159 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6152-22_0_4_load_11 | 14 | 0.002492 | 0.00062455 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6152-22_0_4_load_87 | 17 | 0.078648 | 0.019711 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6152-22_0_4_load_13 | 19 | 0.003398 | 0.00085163 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6152-22_0_4_load_15 | 20 | 0.0089264 | 0.0022372 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6152-22_0_4_load_19 | 23 | 0.010214 | 0.0025598 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6152-22_0_4_load_45 | 26 | 0.0045036 | 0.0011287 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6152-22_0_4_load_56 | 29 | 0.019151 | 0.0047996 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6152-22_0_4_load_42 | 31 | 0.005008 | 0.0012551 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6152-22_0_4_load_28 | 33 | 0.010085 | 0.0025276 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6152-22_0_4_load_27 | 35 | 0.014808 | 0.0037113 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6152-22_0_4_load_71 | 36 | 0.01214 | 0.0030425 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6152-22_0_4_load_57 | 37 | 0.0024982 | 0.00062611 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6152-22_0_4_load_43 | 39 | 0.0060493 | 0.0015161 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6152-22_0_4_load_41 | 40 | 0.0042646 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6152-22_0_4_load_29 | 41 | 0.0078333 | 0.0019632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6152-22_0_4_load_70 | 42 | 0.0044001 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6152-22_0_4_load_74 | 43 | 0.010804 | 0.0027077 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6152-22_0_4_load_82 | 44 | 0.0056394 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6152-22_0_4_load_44 | 45 | 0.0039597 | 0.00099239 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6152-22_0_4_load_36 | 46 | 0.0078834 | 0.0019758 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6152-22_0_4_load_72 | 47 | 0.0098978 | 0.0024806 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6152-22_0_4_load_75 | 49 | 0.017543 | 0.0043966 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6152-22_0_4_load_30 | 50 | 0.006065 | 0.00152 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6152-22_0_4_load_31 | 51 | 0.0062883 | 0.001576 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6152-22_0_4_load_32 | 52 | 0.0045232 | 0.0011336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6152-22_0_4_load_33 | 53 | 0.010543 | 0.0026424 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6152-22_0_4_load_51 | 55 | 0.008556 | 0.0021443 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6152-22_0_4_load_48 | 56 | 0.0073836 | 0.0018505 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6152-22_0_4_load_39 | 57 | 0.0063045 | 0.0015801 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6152-22_0_4_load_49 | 58 | 0.0068474 | 0.0017161 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6152-22_0_4_load_35 | 59 | 0.0083016 | 0.0020806 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6152-22_0_4_load_37 | 60 | 0.011809 | 0.0029595 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6152-22_0_4_load_40 | 61 | 0.0089242 | 0.0022366 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6152-22_0_4_load_58 | 62 | 0.0050583 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6152-22_0_4_load_59 | 63 | 0.0083616 | 0.0020956 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6152-22_0_4_load_73 | 64 | 0.0097733 | 0.0024494 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6152-22_0_4_load_46 | 65 | 0.0085328 | 0.0021385 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6152-22_0_4_load_81 | 66 | 0.0068234 | 0.0017101 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6152-22_0_4_load_50 | 67 | 0.008458 | 0.0021198 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6152-22_0_4_load_52 | 68 | 0.010423 | 0.0026123 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6152-22_0_4_load_54 | 70 | 0.01517 | 0.003802 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6152-22_0_4_load_60 | 72 | 0.011984 | 0.0030036 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6152-22_0_4_load_62 | 73 | 0.0065676 | 0.001646 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6152-22_0_4_load_61 | 74 | 0.0075705 | 0.0018973 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6152-22_0_4_load_83 | 76 | 0.0045851 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6152-22_0_4_load_64 | 78 | 0.0066934 | 0.0016775 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6152-22_0_4_load_67 | 81 | 0.016053 | 0.0040231 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6152-22_0_4_load_69 | 82 | 0.0067335 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6152-22_0_4_load_76 | 84 | 0.0034185 | 0.00085675 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6152-22_0_4_load_79 | 85 | 0.0017805 | 0.00044624 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6152-22_0_4_load_86 | 86 | 0.013432 | 0.0033665 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6152-22_0_4_line_0 |  | 0 | 1 | 0.024775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6152-22_0_4_line_1 |  | 0 | 2 | 0.041809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6152-22_0_4_line_2 |  | 1 | 3 | 0.020871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6152-22_0_4_line_3 |  | 2 | 4 | 0.043904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6152-22_0_4_line_4 |  | 3 | 5 | 0.030842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6152-22_0_4_line_5 |  | 3 | 6 | 0.04791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6152-22_0_4_line_6 |  | 4 | 7 | 0.0019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6152-22_0_4_line_7 |  | 5 | 8 | 0.017199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6152-22_0_4_line_8 |  | 6 | 9 | 0.040407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6152-22_0_4_line_9 |  | 8 | 13 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6152-22_0_4_line_10 |  | 9 | 10 | 0.0079689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6152-22_0_4_line_11 |  | 10 | 11 | 0.0044828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6152-22_0_4_line_12 |  | 11 | 12 | 0.011114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6152-22_0_4_line_13 |  | 12 | 32 | 0.043698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6152-22_0_4_line_14 |  | 13 | 85 | 0.005355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6152-22_0_4_line_15 |  | 14 | 15 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6152-22_0_4_line_16 |  | 15 | 18 | 0.003682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6152-22_0_4_line_17 |  | 15 | 16 | 0.063623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6152-22_0_4_line_18 |  | 16 | 17 | 0.038152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6152-22_0_4_line_19 |  | 18 | 20 | 0.02696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6152-22_0_4_line_20 |  | 18 | 19 | 0.016824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6152-22_0_4_line_21 |  | 20 | 21 | 0.056787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6152-22_0_4_line_22 |  | 21 | 22 | 0.034106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6152-22_0_4_line_23 |  | 21 | 23 | 0.012153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6152-22_0_4_line_24 |  | 22 | 30 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6152-22_0_4_line_25 |  | 22 | 31 | 0.006474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6152-22_0_4_line_26 |  | 23 | 41 | 0.035054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6152-22_0_4_line_27 |  | 24 | 25 | 0.04438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6152-22_0_4_line_28 |  | 24 | 26 | 0.0082039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6152-22_0_4_line_29 |  | 25 | 27 | 0.14924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6152-22_0_4_line_30 |  | 25 | 28 | 0.001387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6152-22_0_4_line_31 |  | 25 | 29 | 0.023641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6152-22_0_4_line_32 |  | 26 | 45 | 0.0097902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6152-22_0_4_line_33 |  | 27 | 44 | 0.017956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6152-22_0_4_line_34 |  | 28 | 46 | 0.019312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6152-22_0_4_line_35 |  | 29 | 37 | 0.043064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6152-22_0_4_line_36 |  | 30 | 36 | 0.017276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6152-22_0_4_line_37 |  | 30 | 37 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6152-22_0_4_line_38 |  | 31 | 40 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6152-22_0_4_line_39 |  | 32 | 33 | 0.038123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6152-22_0_4_line_40 |  | 32 | 34 | 0.030881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6152-22_0_4_line_41 |  | 32 | 35 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6152-22_0_4_line_42 |  | 33 | 36 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6152-22_0_4_line_43 |  | 34 | 42 | 0.018784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6152-22_0_4_line_44 |  | 34 | 43 | 0.016305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6152-22_0_4_line_45 |  | 38 | 39 | 0.027503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6152-22_0_4_line_46 |  | 38 | 40 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6152-22_0_4_line_47 |  | 39 | 47 | 0.021263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6152-22_0_4_line_48 |  | 42 | 48 | 0.0024799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6152-22_0_4_line_49 |  | 43 | 49 | 0.0096725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6152-22_0_4_line_50 |  | 44 | 66 | 0.012038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6152-22_0_4_line_51 |  | 45 | 65 | 0.0086578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6152-22_0_4_line_52 |  | 46 | 59 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6152-22_0_4_line_53 |  | 47 | 64 | 0.002046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6152-22_0_4_line_54 |  | 48 | 82 | 0.024141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6152-22_0_4_line_55 |  | 48 | 81 | 0.022718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6152-22_0_4_line_56 |  | 49 | 84 | 0.024919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6152-22_0_4_line_57 |  | 50 | 51 | 0.034038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6152-22_0_4_line_58 |  | 50 | 52 | 0.015649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6152-22_0_4_line_59 |  | 51 | 53 | 0.00012704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6152-22_0_4_line_60 |  | 53 | 54 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6152-22_0_4_line_61 |  | 54 | 55 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6152-22_0_4_line_62 |  | 54 | 56 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6152-22_0_4_line_63 |  | 55 | 57 | 0.027032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6152-22_0_4_line_64 |  | 56 | 58 | 0.018558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6152-22_0_4_line_65 |  | 57 | 60 | 0.024176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6152-22_0_4_line_66 |  | 58 | 67 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6152-22_0_4_line_67 |  | 59 | 60 | 0.0025872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6152-22_0_4_line_68 |  | 61 | 62 | 0.020399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6152-22_0_4_line_69 |  | 62 | 63 | 0.0054188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6152-22_0_4_line_70 |  | 63 | 76 | 0.0035052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6152-22_0_4_line_71 |  | 68 | 69 | 0.064249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6152-22_0_4_line_72 |  | 69 | 70 | 0.021714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6152-22_0_4_line_73 |  | 69 | 71 | 0.050366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6152-22_0_4_line_74 |  | 70 | 72 | 0.04145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6152-22_0_4_line_75 |  | 71 | 73 | 0.067049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6152-22_0_4_line_76 |  | 72 | 74 | 0.032057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6152-22_0_4_line_77 |  | 73 | 75 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6152-22_0_4_line_78 |  | 75 | 78 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6152-22_0_4_line_79 |  | 76 | 77 | 0.0020566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6152-22_0_4_line_80 |  | 77 | 86 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6152-22_0_4_line_81 |  | 77 | 83 | 0.008109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6152-22_0_4_line_82 |  | 78 | 79 | 0.013942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6152-22_0_4_line_83 |  | 79 | 80 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6152-22_0_4_line_84 |  | 80 | 81 | 0.0078205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6152-22_0_4_line_85 |  | 82 | 83 | 0.0026079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6152-22_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 87 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2562249.4161 | 1125637.1371 | 2562231.6302 | 1125654.3847
1 | 2562249.4161 | 1125637.1371 | 2562279.4306 | 1125608.0312
2 | 2562216.6473 | 1125668.9141 | 2562231.6302 | 1125654.3847
3 | 2562279.4306 | 1125608.0312 | 2562287.238 | 1125600.46 | 2562310.4317 | 1125576.9459
4 | 2562216.6473 | 1125668.9141 | 2562194.6311 | 1125690.5741
5 | 2562216.6473 | 1125668.9141 | 2562187.1478 | 1125634.159 | 2562185.5832 | 1125632.4414
6 | 2562310.4317 | 1125576.9459 | 2562311.7868 | 1125575.5721
7 | 2562194.6311 | 1125690.5741 | 2562183.1197 | 1125677.7957
8 | 2562185.5832 | 1125632.4414 | 2562158.374 | 1125602.5693
9 | 2562168.8682 | 1125661.9757 | 2562183.1197 | 1125677.7957
10 | 2562158.374 | 1125602.5693 | 2562153.0078 | 1125596.6779
11 | 2562153.0078 | 1125596.6779 | 2562149.9891 | 1125593.3638
12 | 2562142.5051 | 1125585.1474 | 2562149.9891 | 1125593.3638
13 | 2562142.5051 | 1125585.1474 | 2562145.7409 | 1125582.448 | 2562145.3046 | 1125581.7059 | 2562144.6072 | 1125579.8871 | 2562144.245 | 1125577.4437 | 2562144.2612 | 1125575.1091 | 2562144.8178 | 1125572.9156 | 2562145.6617 | 1125571.0538 | 2562146.0745 | 1125570.5176 | 2562143.1203 | 1125567.7236 | 2562140.3599 | 1125565.1063 | 2562140.72 | 1125564.7705 | 2562144.2826 | 1125561.3353 | 2562145.2055 | 1125559.7732 | 2562145.4287 | 1125558.5045 | 2562145.1888 | 1125557.1164 | 2562144.776 | 1125556.4297 | 2562147.3515 | 1125554.1458 | 2562150.9541 | 1125550.9438
14 | 2562165.284 | 1125657.997 | 2562168.8682 | 1125661.9757
15 | 2562323.1094 | 1125510.2791 | 2562339.6731 | 1125518.9816
16 | 2562320.4585 | 1125512.8414 | 2562323.1094 | 1125510.2791
17 | 2562323.1094 | 1125510.2791 | 2562338.9575 | 1125490.6369 | 2562349.488 | 1125473.5737 | 2562357.8414 | 1125457.2021
18 | 2562322.965 | 1125441.5118 | 2562357.8414 | 1125457.2021
19 | 2562320.4585 | 1125512.8414 | 2562297.3759 | 1125500.924 | 2562296.4905 | 1125500.497
20 | 2562320.4585 | 1125512.8414 | 2562308.3715 | 1125524.5437
21 | 2562244.2995 | 1125510.8275 | 2562258.9856 | 1125503.8432 | 2562273.5638 | 1125496.8597 | 2562278.0946 | 1125495.3861 | 2562280.6662 | 1125494.9365 | 2562283.5187 | 1125495.0298 | 2562286.9542 | 1125495.8977 | 2562296.4905 | 1125500.497
22 | 2562244.2995 | 1125510.8275 | 2562230.8384 | 1125518.9604 | 2562220.8857 | 1125524.8256 | 2562214.9184 | 1125528.287
23 | 2562244.2995 | 1125510.8275 | 2562249.5857 | 1125521.7707
24 | 2562209.4083 | 1125519.8505 | 2562212.0389 | 1125523.8805 | 2562214.9184 | 1125528.287
25 | 2562214.9184 | 1125528.287 | 2562214.3424 | 1125528.6241 | 2562209.2126 | 1125531.3447
26 | 2562249.5857 | 1125521.7707 | 2562252.5927 | 1125527.9955 | 2562255.7759 | 1125534.1231 | 2562257.9489 | 1125535.2545 | 2562275.108 | 1125527.6065
27 | 2562232.2404 | 1125451.1172 | 2562242.2342 | 1125451.7994 | 2562240.7742 | 1125469.7621 | 2562255.2738 | 1125477.2975
28 | 2562255.2738 | 1125477.2975 | 2562258.8606 | 1125469.9192
29 | 2562232.2404 | 1125451.1172 | 2562232.6017 | 1125446.0457 | 2562234.2054 | 1125446.1135 | 2562235.9911 | 1125445.7021 | 2562237.1192 | 1125444.9169 | 2562237.9903 | 1125443.6886 | 2562238.3681 | 1125442.4745 | 2562239.0485 | 1125439.1241 | 2562240.4925 | 1125432.1448 | 2562243.6645 | 1125416.7839 | 2562246.2518 | 1125405.2841 | 2562255.3334 | 1125361.1938 | 2562262.6449 | 1125326.1414 | 2562265.9198 | 1125308.7232
30 | 2562230.8524 | 1125451.0258 | 2562232.2404 | 1125451.1172
31 | 2562232.2404 | 1125451.1172 | 2562231.9287 | 1125455.4991 | 2562232.4634 | 1125455.9627 | 2562232.9485 | 1125458.3498 | 2562232.8508 | 1125463.6642 | 2562232.7366 | 1125467.5891 | 2562233.4355 | 1125472.1092 | 2562233.7546 | 1125474.3754
32 | 2562263.3274 | 1125461.2079 | 2562259.5887 | 1125468.4215 | 2562258.8606 | 1125469.9192
33 | 2562265.9198 | 1125308.7232 | 2562263.7819 | 1125308.2808 | 2562252.5059 | 1125304.7607 | 2562248.7404 | 1125303.5358
34 | 2562230.8524 | 1125451.0258 | 2562226.9292 | 1125447.3708 | 2562215.0082 | 1125440.126
35 | 2562233.7546 | 1125474.3754 | 2562234.2019 | 1125477.5517 | 2562234.5716 | 1125483.6747 | 2562233.7425 | 1125489.1271 | 2562232.8982 | 1125493.3901 | 2562231.1277 | 1125497.4588 | 2562228.5484 | 1125501.5992 | 2562224.9099 | 1125506.4689 | 2562221.5342 | 1125510.2142 | 2562219.0101 | 1125512.5299
36 | 2562209.4083 | 1125519.8505 | 2562207.1978 | 1125521.3429 | 2562196.628 | 1125527.1232 | 2562194.3675 | 1125528.3292
37 | 2562209.4083 | 1125519.8505 | 2562213.3689 | 1125517.1799 | 2562217.8862 | 1125513.5609 | 2562219.0101 | 1125512.5299
38 | 2562196.0718 | 1125536.5563 | 2562198.9613 | 1125535.3794 | 2562203.9769 | 1125533.7916 | 2562207.5973 | 1125532.2015 | 2562209.2126 | 1125531.3447
39 | 2562150.9541 | 1125550.9438 | 2562151.5501 | 1125551.3513 | 2562153.4259 | 1125551.7954 | 2562155.1585 | 1125551.5177 | 2562156.9494 | 1125550.7172 | 2562159.3441 | 1125549.1013 | 2562168.1771 | 1125542.9317 | 2562174.6187 | 1125538.9004 | 2562183.261 | 1125534.255 | 2562183.8632 | 1125533.9337
40 | 2562150.9541 | 1125550.9438 | 2562147.3515 | 1125554.1458 | 2562128.7457 | 1125535.8977
41 | 2562150.9541 | 1125550.9438 | 2562149.677 | 1125550.0958 | 2562140.803 | 1125541.6206
42 | 2562194.3675 | 1125528.3292 | 2562183.8632 | 1125533.9337
43 | 2562128.7457 | 1125535.8977 | 2562114.7698 | 1125523.3468
44 | 2562128.7457 | 1125535.8977 | 2562119.5134 | 1125547.2058 | 2562118.2279 | 1125548.3286
45 | 2562180.4362 | 1125544.7224 | 2562190.8238 | 1125557.8306 | 2562188.8102 | 1125563.6907 | 2562185.8776 | 1125567.2112
46 | 2562180.4362 | 1125544.7224 | 2562192.7799 | 1125537.8972 | 2562196.0718 | 1125536.5563
47 | 2562192.8011 | 1125584.8215 | 2562184.6598 | 1125575.4115 | 2562183.8164 | 1125571.2036 | 2562185.161 | 1125568.0713 | 2562185.8776 | 1125567.2112
48 | 2562112.9247 | 1125521.6898 | 2562114.7698 | 1125523.3468
49 | 2562118.2279 | 1125548.3286 | 2562113.4497 | 1125552.5021 | 2562110.4022 | 1125553.84
50 | 2562237.494 | 1125299.2853 | 2562242.5807 | 1125301.5322 | 2562248.7404 | 1125303.5358
51 | 2562267.3113 | 1125453.5212 | 2562263.3274 | 1125461.2079
52 | 2562194.3367 | 1125427.5634 | 2562215.0082 | 1125440.126
53 | 2562194.1397 | 1125586.3688 | 2562192.8011 | 1125584.8215
54 | 2562112.9247 | 1125521.6898 | 2562131.9757 | 1125506.8619
55 | 2562112.9247 | 1125521.6898 | 2562094.6573 | 1125508.1841
56 | 2562088.323 | 1125551.415 | 2562088.323 | 1125551.415 | 2562093.5258 | 1125556.3292 | 2562097.9745 | 1125557.7464 | 2562104.8945 | 1125556.2578 | 2562110.4022 | 1125553.84
57 | 2562099.6433 | 1125388.0549 | 2562102.4086 | 1125382.6632 | 2562105.0345 | 1125377.3551 | 2562107.74 | 1125376.1264 | 2562124.0229 | 1125386.0817
58 | 2562092.5018 | 1125401.9796 | 2562099.6433 | 1125388.0549
59 | 2562124.0229 | 1125386.0817 | 2562124.1313 | 1125386.148
60 | 2562134.5205 | 1125392.4999 | 2562124.1313 | 1125386.148
61 | 2562134.5205 | 1125392.4999 | 2562147.9608 | 1125400.3071
62 | 2562134.5205 | 1125392.4999 | 2562125.9203 | 1125412.5095
63 | 2562171.3349 | 1125413.8848 | 2562147.9608 | 1125400.3071
64 | 2562125.9203 | 1125412.5095 | 2562118.5923 | 1125429.5593
65 | 2562171.3349 | 1125413.8848 | 2562182.5161 | 1125420.3797 | 2562192.1258 | 1125426.2198
66 | 2562118.3304 | 1125442.3045 | 2562115.9078 | 1125435.8053 | 2562118.5923 | 1125429.5593
67 | 2562194.3367 | 1125427.5634 | 2562192.1258 | 1125426.2198
68 | 2562165.8467 | 1125481.8539 | 2562149.244 | 1125493.7063
69 | 2562144.8337 | 1125496.8547 | 2562144.8337 | 1125496.8547 | 2562149.244 | 1125493.7063
70 | 2562144.8337 | 1125496.8547 | 2562142.0686 | 1125499.0089
71 | 2561997.0401 | 1125385.2605 | 2562020.8436 | 1125337.6754 | 2562025.7152 | 1125327.7661
72 | 2561997.0401 | 1125385.2605 | 2562002.9932 | 1125389.3139 | 2562014.661 | 1125397.9431
73 | 2561991.0663 | 1125426.8303 | 2561980.5979 | 1125418.1363 | 2561997.0401 | 1125385.2605
74 | 2562046.5319 | 1125424.3989 | 2562043.062 | 1125421.5225 | 2562024.5451 | 1125405.253 | 2562014.661 | 1125397.9431
75 | 2561991.0663 | 1125426.8303 | 2562043.4293 | 1125468.7075
76 | 2562071.212 | 1125444.8574 | 2562046.5319 | 1125424.3989
77 | 2562053.2669 | 1125476.5751 | 2562043.4293 | 1125468.7075
78 | 2562053.2669 | 1125476.5751 | 2562064.6185 | 1125485.2325
79 | 2562140.4462 | 1125500.2729 | 2562142.0686 | 1125499.0089
80 | 2562154.932 | 1125514.2002 | 2562140.4462 | 1125500.2729
81 | 2562140.4462 | 1125500.2729 | 2562134.0337 | 1125505.2601
82 | 2562075.7045 | 1125493.6872 | 2562064.6185 | 1125485.2325
83 | 2562075.7045 | 1125493.6872 | 2562088.3689 | 1125503.5348
84 | 2562088.3689 | 1125503.5348 | 2562094.6573 | 1125508.1841
85 | 2562134.0337 | 1125505.2601 | 2562131.9757 | 1125506.8619

## bus_geodata
| x | y | coords
0 | 2562249.4161 | 1125637.1371
1 | 2562231.6302 | 1125654.3847
2 | 2562279.4306 | 1125608.0312
3 | 2562216.6473 | 1125668.9141
4 | 2562310.4317 | 1125576.9459
5 | 2562194.6311 | 1125690.5741
6 | 2562185.5832 | 1125632.4414
7 | 2562311.7868 | 1125575.5721
8 | 2562183.1197 | 1125677.7957
9 | 2562158.374 | 1125602.5693
10 | 2562153.0078 | 1125596.6779
11 | 2562149.9891 | 1125593.3638
12 | 2562142.5051 | 1125585.1474
13 | 2562168.8682 | 1125661.9757
14 | 2562339.6731 | 1125518.9816
15 | 2562323.1094 | 1125510.2791
16 | 2562357.8414 | 1125457.2021
17 | 2562322.965 | 1125441.5118
18 | 2562320.4585 | 1125512.8414
19 | 2562308.3715 | 1125524.5437
20 | 2562296.4905 | 1125500.497
21 | 2562244.2995 | 1125510.8275
22 | 2562214.9184 | 1125528.287
23 | 2562249.5857 | 1125521.7707
24 | 2562255.2738 | 1125477.2975
25 | 2562232.2404 | 1125451.1172
26 | 2562258.8606 | 1125469.9192
27 | 2562265.9198 | 1125308.7232
28 | 2562230.8524 | 1125451.0258
29 | 2562233.7546 | 1125474.3754
30 | 2562209.4083 | 1125519.8505
31 | 2562209.2126 | 1125531.3447
32 | 2562150.9541 | 1125550.9438
33 | 2562183.8632 | 1125533.9337
34 | 2562128.7457 | 1125535.8977
35 | 2562140.803 | 1125541.6206
36 | 2562194.3675 | 1125528.3292
37 | 2562219.0101 | 1125512.5299
38 | 2562180.4362 | 1125544.7224
39 | 2562185.8776 | 1125567.2112
40 | 2562196.0718 | 1125536.5563
41 | 2562275.108 | 1125527.6065
42 | 2562114.7698 | 1125523.3468
43 | 2562118.2279 | 1125548.3286
44 | 2562248.7404 | 1125303.5358
45 | 2562263.3274 | 1125461.2079
46 | 2562215.0082 | 1125440.126
47 | 2562192.8011 | 1125584.8215
48 | 2562112.9247 | 1125521.6898
49 | 2562110.4022 | 1125553.84
50 | 2562099.6433 | 1125388.0549
51 | 2562124.0229 | 1125386.0817
52 | 2562092.5018 | 1125401.9796
53 | 2562124.1313 | 1125386.148
54 | 2562134.5205 | 1125392.4999
55 | 2562147.9608 | 1125400.3071
56 | 2562125.9203 | 1125412.5095
57 | 2562171.3349 | 1125413.8848
58 | 2562118.5923 | 1125429.5593
59 | 2562194.3367 | 1125427.5634
60 | 2562192.1258 | 1125426.2198
61 | 2562165.8467 | 1125481.8539
62 | 2562149.244 | 1125493.7063
63 | 2562144.8337 | 1125496.8547
64 | 2562194.1397 | 1125586.3688
65 | 2562267.3113 | 1125453.5212
66 | 2562237.494 | 1125299.2853
67 | 2562118.3304 | 1125442.3045
68 | 2562025.7152 | 1125327.7661
69 | 2561997.0401 | 1125385.2605
70 | 2562014.661 | 1125397.9431
71 | 2561991.0663 | 1125426.8303
72 | 2562046.5319 | 1125424.3989
73 | 2562043.4293 | 1125468.7075
74 | 2562071.212 | 1125444.8574
75 | 2562053.2669 | 1125476.5751
76 | 2562142.0686 | 1125499.0089
77 | 2562140.4462 | 1125500.2729
78 | 2562064.6185 | 1125485.2325
79 | 2562075.7045 | 1125493.6872
80 | 2562088.3689 | 1125503.5348
81 | 2562094.6573 | 1125508.1841
82 | 2562131.9757 | 1125506.8619
83 | 2562134.0337 | 1125505.2601
84 | 2562088.323 | 1125551.415
85 | 2562165.284 | 1125657.9971
86 | 2562154.932 | 1125514.2002
87 | 2562140.4462 | 1125500.2729

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1