## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6152-29_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6152-29_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6152-29_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6152-29_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6152-29_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6152-29_0_5_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_6152-29_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6152-29_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6152-29_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_6152-29_0_5_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_6152-29_0_5_node_88 | 0.4 | n |  | TRUE
11 | bus_LV_6152-29_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6152-29_0_5_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_6152-29_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6152-29_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6152-29_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6152-29_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6152-29_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6152-29_0_5_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_6152-29_0_5_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_6152-29_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6152-29_0_5_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_6152-29_0_5_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_6152-29_0_5_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_6152-29_0_5_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_6152-29_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6152-29_0_5_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_6152-29_0_5_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_6152-29_0_5_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_6152-29_0_5_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_6152-29_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_6152-29_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_6152-29_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6152-29_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6152-29_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6152-29_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6152-29_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6152-29_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6152-29_0_5_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_6152-29_0_5_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_6152-29_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6152-29_0_5_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_6152-29_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6152-29_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6152-29_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6152-29_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_6152-29_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6152-29_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_6152-29_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6152-29_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_6152-29_0_5_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_6152-29_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6152-29_0_5_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_6152-29_0_5_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_6152-29_0_5_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_6152-29_0_5_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_6152-29_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_6152-29_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_6152-29_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_6152-29_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_6152-29_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_6152-29_0_5_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6152-29_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_6152-29_0_5_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6152-29_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_6152-29_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_6152-29_0_5_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_6152-29_0_5_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_6152-29_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_6152-29_0_5_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_6152-29_0_5_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_6152-29_0_5_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_6152-29_0_5_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_6152-29_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_6152-29_0_5_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_6152-29_0_5_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_6152-29_0_5_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_6152-29_0_5_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_6152-29_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_6152-29_0_5_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_6152-29_0_5_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_6152-29_0_5_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_6152-29_0_5_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_6152-29_0_5_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_6152-29_0_5_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_6152-29_0_5_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_6152-29_0_5_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_6152-29_0_5_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_6152-29_0_5_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_6152-29_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_6152-29_0_5_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_6152-29_0_5_node_86 | 0.4 | n |  | TRUE
92 | bus_MV_192_0_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6152-29_0_5_load_0 | 0 | 0.012825 | 0.0032142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6152-29_0_5_load_2 | 2 | 0.0070183 | 0.0017589 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6152-29_0_5_load_3 | 3 | 0.0028093 | 0.00070407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6152-29_0_5_load_5 | 6 | 0.0037165 | 0.00093145 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6152-29_0_5_load_6 | 7 | 0.0043906 | 0.0011004 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6152-29_0_5_load_36 | 8 | 0.0036333 | 0.00091059 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6152-29_0_5_load_53 | 9 | 0.0038242 | 0.00095844 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6152-29_0_5_load_88 | 10 | 0.0038661 | 0.00096893 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6152-29_0_5_load_7 | 13 | 0.0065014 | 0.0016294 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6152-29_0_5_load_8 | 14 | 0.0029999 | 0.00075184 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6152-29_0_5_load_10 | 16 | 0.0065603 | 0.0016442 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6152-29_0_5_load_34 | 18 | 0.0025949 | 0.00065035 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6152-29_0_5_load_51 | 19 | 0.0089834 | 0.0022514 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6152-29_0_5_load_17 | 20 | 0.0090127 | 0.0022588 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6152-29_0_5_load_64 | 22 | 0.0079582 | 0.0019945 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6152-29_0_5_load_52 | 23 | 0.0044489 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6152-29_0_5_load_93 | 24 | 0.0067224 | 0.0016848 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6152-29_0_5_load_60 | 27 | 0.0036116 | 0.00090516 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6152-29_0_5_load_63 | 28 | 0.0090437 | 0.0022666 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6152-29_0_5_load_13 | 29 | 0.0063473 | 0.0015908 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6152-29_0_5_load_14 | 30 | 0.002235 | 0.00056014 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6152-29_0_5_load_16 | 31 | 0.0047139 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6152-29_0_5_load_18 | 32 | 0.0038695 | 0.00096978 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6152-29_0_5_load_19 | 33 | 0.0052142 | 0.0013068 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6152-29_0_5_load_21 | 35 | 0.01363 | 0.0034161 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6152-29_0_5_load_22 | 36 | 0.0098849 | 0.0024774 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6152-29_0_5_load_23 | 37 | 0.0070507 | 0.0017671 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6152-29_0_5_load_79 | 38 | 0.0062365 | 0.001563 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6152-29_0_5_load_81 | 39 | 0.0090012 | 0.0022559 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6152-29_0_5_load_80 | 41 | 0.0091328 | 0.0022889 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6152-29_0_5_load_24 | 42 | 0.0072917 | 0.0018275 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6152-29_0_5_load_25 | 43 | 0.011618 | 0.0029116 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6152-29_0_5_load_28 | 46 | 0.0050759 | 0.0012721 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6152-29_0_5_load_42 | 47 | 0.010298 | 0.0025809 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6152-29_0_5_load_29 | 48 | 0.0044344 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6152-29_0_5_load_32 | 50 | 0.022367 | 0.0056058 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6152-29_0_5_load_30 | 51 | 0.0048795 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6152-29_0_5_load_31 | 52 | 0.0043627 | 0.0010934 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6152-29_0_5_load_90 | 53 | 0.0058682 | 0.0014707 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6152-29_0_5_load_89 | 54 | 0.0027497 | 0.00068914 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6152-29_0_5_load_94 | 55 | 0.0046007 | 0.001153 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6152-29_0_5_load_37 | 56 | 0.0068586 | 0.0017189 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6152-29_0_5_load_38 | 57 | 0.0037021 | 0.00092783 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6152-29_0_5_load_39 | 58 | 0.0031784 | 0.00079659 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6152-29_0_5_load_40 | 59 | 0.0056848 | 0.0014248 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6152-29_0_5_load_41 | 60 | 0.0031781 | 0.00079651 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6152-29_0_5_load_59 | 61 | 0.0028579 | 0.00071625 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6152-29_0_5_load_58 | 62 | 0.0065438 | 0.00164 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6152-29_0_5_load_43 | 64 | 0.0079629 | 0.0019957 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6152-29_0_5_load_71 | 69 | 0.0076828 | 0.0019255 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6152-29_0_5_load_75 | 70 | 0.0074797 | 0.0018746 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6152-29_0_5_load_73 | 71 | 0.0047394 | 0.0011878 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6152-29_0_5_load_70 | 72 | 0.0087771 | 0.0021998 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6152-29_0_5_load_67 | 73 | 0.0076712 | 0.0019226 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6152-29_0_5_load_46 | 74 | 0.011077 | 0.0027762 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6152-29_0_5_load_49 | 76 | 0.0056458 | 0.001415 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6152-29_0_5_load_50 | 77 | 0.0046578 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6152-29_0_5_load_92 | 80 | 0.0090502 | 0.0022682 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6152-29_0_5_load_84 | 82 | 0.0057867 | 0.0014503 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6152-29_0_5_load_78 | 83 | 0.0082757 | 0.0020741 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6152-29_0_5_load_76 | 84 | 0.013636 | 0.0034175 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6152-29_0_5_load_82 | 85 | 0.0079229 | 0.0019857 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6152-29_0_5_load_65 | 86 | 0.011227 | 0.0028138 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6152-29_0_5_load_66 | 87 | 0.0084544 | 0.0021189 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6152-29_0_5_load_68 | 88 | 0.005839 | 0.0014634 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6152-29_0_5_load_77 | 89 | 0.0079446 | 0.0019911 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6152-29_0_5_load_85 | 90 | 0.0078368 | 0.0019641 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6152-29_0_5_load_86 | 91 | 0.0072728 | 0.0018227 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6152-29_0_5_line_0 |  | 0 | 1 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6152-29_0_5_line_1 |  | 1 | 2 | 0.019267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6152-29_0_5_line_2 |  | 1 | 3 | 0.029981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6152-29_0_5_line_3 |  | 2 | 4 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6152-29_0_5_line_4 |  | 3 | 5 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6152-29_0_5_line_5 |  | 4 | 6 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6152-29_0_5_line_6 |  | 4 | 7 | 0.0054225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6152-29_0_5_line_7 |  | 5 | 8 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6152-29_0_5_line_8 |  | 6 | 9 | 0.0069727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6152-29_0_5_line_9 |  | 7 | 10 | 0.0070514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6152-29_0_5_line_10 |  | 8 | 55 | 0.019824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6152-29_0_5_line_11 |  | 9 | 11 | 0.031498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6152-29_0_5_line_12 |  | 10 | 12 | 0.080309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6152-29_0_5_line_13 |  | 11 | 19 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6152-29_0_5_line_14 |  | 11 | 15 | 0.001987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6152-29_0_5_line_15 |  | 12 | 90 | 0.025069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6152-29_0_5_line_16 |  | 13 | 14 | 0.0363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6152-29_0_5_line_17 |  | 13 | 15 | 0.015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6152-29_0_5_line_18 |  | 14 | 16 | 0.020363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6152-29_0_5_line_19 |  | 15 | 17 | 0.044743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6152-29_0_5_line_20 |  | 16 | 18 | 0.00033723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6152-29_0_5_line_21 |  | 17 | 20 | 0.01682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6152-29_0_5_line_22 |  | 17 | 21 | 0.049092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6152-29_0_5_line_23 |  | 17 | 22 | 0.021037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6152-29_0_5_line_24 |  | 19 | 23 | 0.0003716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6152-29_0_5_line_25 |  | 20 | 24 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6152-29_0_5_line_26 |  | 20 | 25 | 0.028567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6152-29_0_5_line_27 |  | 21 | 26 | 0.044001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6152-29_0_5_line_28 |  | 21 | 27 | 0.011669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6152-29_0_5_line_29 |  | 22 | 28 | 0.0010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6152-29_0_5_line_30 |  | 23 | 77 | 0.009035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6152-29_0_5_line_31 |  | 25 | 31 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6152-29_0_5_line_32 |  | 25 | 29 | 0.013106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6152-29_0_5_line_33 |  | 26 | 40 | 0.040947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6152-29_0_5_line_34 |  | 26 | 35 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6152-29_0_5_line_35 |  | 27 | 62 | 0.0022714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6152-29_0_5_line_36 |  | 28 | 86 | 0.033314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6152-29_0_5_line_37 |  | 29 | 30 | 0.016788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6152-29_0_5_line_38 |  | 32 | 33 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6152-29_0_5_line_39 |  | 32 | 34 | 0.0057073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6152-29_0_5_line_40 |  | 33 | 35 | 0.00090658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6152-29_0_5_line_41 |  | 34 | 36 | 0.030728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6152-29_0_5_line_42 |  | 34 | 37 | 0.020106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6152-29_0_5_line_43 |  | 36 | 38 | 0.0001173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6152-29_0_5_line_44 |  | 37 | 39 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6152-29_0_5_line_45 |  | 38 | 41 | 0.018012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6152-29_0_5_line_46 |  | 40 | 50 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6152-29_0_5_line_47 |  | 40 | 45 | 0.024349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6152-29_0_5_line_48 |  | 42 | 43 | 0.0048125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6152-29_0_5_line_49 |  | 42 | 44 | 0.02832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6152-29_0_5_line_50 |  | 43 | 45 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6152-29_0_5_line_51 |  | 44 | 46 | 0.010444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6152-29_0_5_line_52 |  | 45 | 47 | 0.027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6152-29_0_5_line_53 |  | 46 | 48 | 0.020165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6152-29_0_5_line_54 |  | 47 | 49 | 0.043311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6152-29_0_5_line_55 |  | 48 | 51 | 0.0029564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6152-29_0_5_line_56 |  | 49 | 63 | 0.089437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6152-29_0_5_line_57 |  | 50 | 52 | 0.035474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6152-29_0_5_line_58 |  | 52 | 53 | 0.038324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6152-29_0_5_line_59 |  | 53 | 54 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6152-29_0_5_line_60 |  | 56 | 57 | 0.0018655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6152-29_0_5_line_61 |  | 56 | 58 | 0.0070876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6152-29_0_5_line_62 |  | 57 | 59 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6152-29_0_5_line_63 |  | 58 | 60 | 0.007266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6152-29_0_5_line_64 |  | 60 | 61 | 0.023115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6152-29_0_5_line_65 |  | 61 | 62 | 0.0048955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6152-29_0_5_line_66 |  | 63 | 78 | 0.007469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6152-29_0_5_line_67 |  | 63 | 79 | 0.026475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6152-29_0_5_line_68 |  | 63 | 71 | 0.034525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6152-29_0_5_line_69 |  | 64 | 65 | 0.11231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6152-29_0_5_line_70 |  | 65 | 66 | 0.075756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6152-29_0_5_line_71 |  | 66 | 67 | 0.1216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6152-29_0_5_line_72 |  | 66 | 68 | 0.079016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6152-29_0_5_line_73 |  | 66 | 69 | 0.1183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6152-29_0_5_line_74 |  | 67 | 70 | 0.030397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6152-29_0_5_line_75 |  | 67 | 71 | 0.026007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6152-29_0_5_line_76 |  | 68 | 72 | 0.01672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6152-29_0_5_line_77 |  | 68 | 73 | 0.018077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6152-29_0_5_line_78 |  | 73 | 88 | 0.020339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6152-29_0_5_line_79 |  | 74 | 75 | 0.027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6152-29_0_5_line_80 |  | 75 | 76 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6152-29_0_5_line_81 |  | 75 | 77 | 0.017693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6152-29_0_5_line_82 |  | 78 | 83 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6152-29_0_5_line_83 |  | 78 | 84 | 0.035366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6152-29_0_5_line_84 |  | 79 | 80 | 0.020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6152-29_0_5_line_85 |  | 79 | 81 | 0.006894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6152-29_0_5_line_86 |  | 81 | 82 | 0.018687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6152-29_0_5_line_87 |  | 82 | 85 | 0.047365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6152-29_0_5_line_88 |  | 84 | 89 | 0.0064601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6152-29_0_5_line_89 |  | 86 | 87 | 0.022201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6152-29_0_5_line_90 |  | 90 | 91 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6152-29_0_5_trafo_61 | 0.63 MVA 20/0.4 kV | 92 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2561216.3468 | 1125108.9649 | 2561208.0867 | 1125120.0164
1 | 2561216.3468 | 1125108.9649 | 2561207.2064 | 1125102.0646 | 2561201.1158 | 1125097.1688
2 | 2561216.3468 | 1125108.9649 | 2561240.2625 | 1125127.0448
3 | 2561189.2608 | 1125087.6393 | 2561201.1158 | 1125097.1688
4 | 2561248.4499 | 1125133.7713 | 2561244.4882 | 1125130.2394 | 2561240.2625 | 1125127.0448
5 | 2561189.2608 | 1125087.6393 | 2561182.3221 | 1125095.1526
6 | 2561189.2608 | 1125087.6393 | 2561192.8258 | 1125083.5534
7 | 2561248.4499 | 1125133.7713 | 2561245.0884 | 1125139.6736 | 2561243.4768 | 1125141.9851 | 2561242.2693 | 1125143.6048 | 2561240.4472 | 1125144.3614 | 2561236.3851 | 1125144.3875
8 | 2561182.3221 | 1125095.1526 | 2561177.5915 | 1125100.275
9 | 2561197.4617 | 1125078.2401 | 2561192.8258 | 1125083.5534
10 | 2561236.3851 | 1125144.3875 | 2561234.716 | 1125164.1416
11 | 2561156.2215 | 1125123.4145 | 2561177.5915 | 1125100.275
12 | 2561161.1246 | 1125027.7232 | 2561173.2871 | 1125035.8713 | 2561206.721 | 1125057.7452 | 2561208.9155 | 1125059.7654 | 2561209.4105 | 1125062.4303 | 2561208.7701 | 1125064.7244 | 2561207.0136 | 1125067.2926 | 2561197.4617 | 1125078.2401
13 | 2561156.2215 | 1125123.4145 | 2561143.1646 | 1125112.8503
14 | 2561156.2215 | 1125123.4145 | 2561154.6413 | 1125124.6253
15 | 2561161.1246 | 1125027.7232 | 2561154.8804 | 1125040.859 | 2561147.7852 | 1125048.633
16 | 2561193.5118 | 1125157.9908 | 2561185.9256 | 1125151.5265 | 2561184.8128 | 1125148.6878 | 2561166.6086 | 1125134.1695
17 | 2561154.6413 | 1125124.6253 | 2561166.6086 | 1125134.1695
18 | 2561189.8868 | 1125169.2722 | 2561192.4976 | 1125166.5919 | 2561196.6605 | 1125166.6541 | 2561199.4715 | 1125162.6673 | 2561195.9088 | 1125160.0333 | 2561193.5118 | 1125157.9908
19 | 2561125.0264 | 1125158.233 | 2561154.6413 | 1125124.6253
20 | 2561189.8868 | 1125169.2722 | 2561189.6515 | 1125169.5137
21 | 2561125.0264 | 1125158.233 | 2561112.2292 | 1125147.2766
22 | 2561125.0264 | 1125158.233 | 2561097.7674 | 1125187.7793 | 2561091.9685 | 1125194.5979
23 | 2561125.0264 | 1125158.233 | 2561140.8429 | 1125172.1043
24 | 2561142.8757 | 1125112.6166 | 2561143.1646 | 1125112.8503
25 | 2561117.781 | 1125136.791 | 2561116.504 | 1125140.7791 | 2561115.4402 | 1125143.1649 | 2561112.2292 | 1125147.2766
26 | 2561112.2292 | 1125147.2766 | 2561108.4854 | 1125144.0769 | 2561089.7835 | 1125129.5345
27 | 2561063.5105 | 1125228.2207 | 2561091.9685 | 1125194.5979
28 | 2561091.9685 | 1125194.5979 | 2561082.8949 | 1125187.2608
29 | 2561141.6296 | 1125172.7943 | 2561140.8429 | 1125172.1043
30 | 2561142.8757 | 1125112.6166 | 2561135.8518 | 1125106.9337
31 | 2561096.3973 | 1125121.1542 | 2561089.7835 | 1125129.5345
32 | 2561089.7835 | 1125129.5345 | 2561080.6883 | 1125122.4673 | 2561079.448 | 1125121.4753
33 | 2561063.5105 | 1125228.2207 | 2561056.9074 | 1125235.8339 | 2561036.701 | 1125259.2317
34 | 2561063.5105 | 1125228.2207 | 2561073.3367 | 1125236.3632
35 | 2561081.1287 | 1125185.8326 | 2561082.8949 | 1125187.2608
36 | 2561141.6296 | 1125172.7943 | 2561166.6763 | 1125194.7605
37 | 2561066.3376 | 1125110.9892 | 2561079.448 | 1125121.4753
38 | 2561074.0347 | 1125236.9417 | 2561079.072 | 1125241.1158 | 2561083.8959 | 1125245.0662
39 | 2561089.1326 | 1125247.2985 | 2561084.1632 | 1125245.2851 | 2561083.8959 | 1125245.0662
40 | 2561074.0347 | 1125236.9417 | 2561073.3367 | 1125236.3632
41 | 2561089.1326 | 1125247.2985 | 2561105.9223 | 1125229.5368 | 2561110.0477 | 1125224.7931
42 | 2561089.1326 | 1125247.2985 | 2561088.4946 | 1125249.9595 | 2561102.0641 | 1125260.8019
43 | 2561110.1246 | 1125224.7046 | 2561110.0477 | 1125224.7931
44 | 2561102.7414 | 1125281.3392 | 2561111.5439 | 1125270.5325 | 2561103.5105 | 1125261.9577 | 2561102.0641 | 1125260.8019
45 | 2561121.9447 | 1125211.1131 | 2561110.1246 | 1125224.7046
46 | 2561036.701 | 1125259.2317 | 2561025.2294 | 1125250.0478
47 | 2561020.8956 | 1125277.7877 | 2561028.0018 | 1125269.3041 | 2561036.701 | 1125259.2317
48 | 2561007.0266 | 1125266.6925 | 2561003.2686 | 1125263.6862
49 | 2560981.1545 | 1125245.995 | 2561003.2686 | 1125263.6862
50 | 2561020.8956 | 1125277.7877 | 2561007.0266 | 1125266.6925
51 | 2560981.1545 | 1125245.995 | 2560973.0009 | 1125239.4689
52 | 2561020.8956 | 1125277.7877 | 2561002.165 | 1125298.2454
53 | 2560957.2575 | 1125226.8679 | 2560973.0009 | 1125239.4689
54 | 2560976.2055 | 1125331.7261 | 2560976.6724 | 1125326.4649 | 2560986.6979 | 1125315.2944 | 2560994.2438 | 1125306.8969 | 2561002.165 | 1125298.2454
55 | 2560954.9494 | 1125225.0205 | 2560957.2575 | 1125226.8679
56 | 2560976.2055 | 1125331.7261 | 2561004.8848 | 1125330.1177 | 2561065.7562 | 1125326.5451
57 | 2560997.5364 | 1125227.8773 | 2561025.2294 | 1125250.0478
58 | 2560997.5364 | 1125227.8773 | 2560997.8296 | 1125189.5545
59 | 2560988.9724 | 1125182.3154 | 2560997.8296 | 1125189.5545
60 | 2561048.1869 | 1125159.195 | 2561046.7364 | 1125158.022
61 | 2561048.1869 | 1125159.195 | 2561053.6981 | 1125163.6515
62 | 2561037.7268 | 1125150.7367 | 2561046.7364 | 1125158.022
63 | 2561053.6981 | 1125163.6515 | 2561059.348 | 1125168.2202
64 | 2561059.348 | 1125168.2202 | 2561077.322 | 1125182.7544
65 | 2561081.1287 | 1125185.8326 | 2561077.322 | 1125182.7544
66 | 2561065.7562 | 1125326.5451 | 2561060.8712 | 1125320.8848
67 | 2561065.7562 | 1125326.5451 | 2561066.5679 | 1125330.4863 | 2561083.6734 | 1125329.4643 | 2561083.5998 | 1125334.7786
68 | 2561065.7562 | 1125326.5451 | 2561100.2196 | 1125324.4779
69 | 2561278.3612 | 1125278.2749 | 2561232.3553 | 1125241.7962 | 2561190.7945 | 1125207.9564
70 | 2561239.982 | 1125301.0773 | 2561238.4619 | 1125306.8344 | 2561238.7748 | 1125308.7445 | 2561250.9544 | 1125305.2423 | 2561258.4608 | 1125302.6261 | 2561263.3152 | 1125299.9491 | 2561267.3674 | 1125297.1884 | 2561270.1932 | 1125295.5027 | 2561288.4241 | 1125287.2593 | 2561286.8285 | 1125286.0578 | 2561278.3612 | 1125278.2749
71 | 2561126.1632 | 1125322.6648 | 2561141.5801 | 1125321.5538 | 2561177.4999 | 1125319.1214 | 2561190.0563 | 1125317.8956 | 2561204.9762 | 1125316.1988 | 2561218.2635 | 1125313.5676 | 2561238.7748 | 1125308.7445 | 2561238.4619 | 1125306.8344 | 2561239.982 | 1125301.0773
72 | 2561190.2305 | 1125246.7361 | 2561207.8264 | 1125260.7857 | 2561224.145 | 1125275.2103 | 2561235.1795 | 1125284.2329 | 2561240.6128 | 1125288.8781 | 2561242.6106 | 1125291.5 | 2561242.4192 | 1125294.0914 | 2561240.9829 | 1125297.3023 | 2561239.982 | 1125301.0773
73 | 2561239.982 | 1125301.0773 | 2561209.1886 | 1125309.5906 | 2561190.7834 | 1125312.2992 | 2561182.6062 | 1125312.4741 | 2561176.8808 | 1125309.1537 | 2561136.0676 | 1125275.4122
74 | 2561126.1632 | 1125322.6648 | 2561125.0916 | 1125319.0588 | 2561121.3946 | 1125301.5737 | 2561119.6974 | 1125292.9803
75 | 2561126.1632 | 1125322.6648 | 2561105.2145 | 1125324.1783 | 2561100.2196 | 1125324.4779
76 | 2561190.2305 | 1125246.7361 | 2561179.5407 | 1125259.593
77 | 2561190.2305 | 1125246.7361 | 2561176.1058 | 1125235.4546 | 2561176.1058 | 1125235.4546
78 | 2561176.1058 | 1125235.4546 | 2561172.4788 | 1125236.0115 | 2561161.2867 | 1125248.3656
79 | 2561122.1033 | 1125095.7979 | 2561113.0371 | 1125088.4637 | 2561100.8675 | 1125079.1114
80 | 2561122.1033 | 1125095.7979 | 2561113.8351 | 1125106.2483
81 | 2561122.1033 | 1125095.7979 | 2561134.2613 | 1125105.6468 | 2561135.8518 | 1125106.9337
82 | 2561066.4103 | 1125309.6545 | 2561060.8712 | 1125320.8848
83 | 2561060.8712 | 1125320.8848 | 2561060.6072 | 1125320.5864 | 2561049.5099 | 1125311.4089 | 2561037.6829 | 1125299.0679 | 2561039.7093 | 1125296.2463
84 | 2561070.2414 | 1125349.0943 | 2561071.671 | 1125344.8607 | 2561077.4577 | 1125340.9547 | 2561082.4043 | 1125337.0542 | 2561083.5998 | 1125334.7786
85 | 2561083.5998 | 1125334.7786 | 2561086.7281 | 1125334.6028 | 2561090.5038 | 1125334.4006
86 | 2561090.5038 | 1125334.4006 | 2561090.8429 | 1125353.0847
87 | 2561090.8429 | 1125353.0847 | 2561114.6703 | 1125394.0195
88 | 2561039.7093 | 1125296.2463 | 2561043.4776 | 1125290.9993
89 | 2561166.6763 | 1125194.7605 | 2561172.3144 | 1125199.7052 | 2561162.749 | 1125210.8693
90 | 2561147.7852 | 1125048.633 | 2561139.3806 | 1125057.8419

## bus_geodata
| x | y | coords
0 | 2561208.0867 | 1125120.0164
1 | 2561216.3468 | 1125108.9649
2 | 2561201.1158 | 1125097.1688
3 | 2561240.2625 | 1125127.0448
4 | 2561189.2608 | 1125087.6393
5 | 2561248.4499 | 1125133.7713
6 | 2561182.3221 | 1125095.1526
7 | 2561192.8258 | 1125083.5534
8 | 2561236.3851 | 1125144.3875
9 | 2561177.5915 | 1125100.275
10 | 2561197.4617 | 1125078.2401
11 | 2561156.2215 | 1125123.4145
12 | 2561161.1246 | 1125027.7232
13 | 2561166.6086 | 1125134.1695
14 | 2561193.5118 | 1125157.9908
15 | 2561154.6413 | 1125124.6253
16 | 2561189.8868 | 1125169.2722
17 | 2561125.0264 | 1125158.233
18 | 2561189.6515 | 1125169.5137
19 | 2561143.1646 | 1125112.8503
20 | 2561112.2292 | 1125147.2766
21 | 2561091.9685 | 1125194.5979
22 | 2561140.8429 | 1125172.1043
23 | 2561142.8757 | 1125112.6166
24 | 2561117.781 | 1125136.791
25 | 2561089.7835 | 1125129.5345
26 | 2561063.5105 | 1125228.2207
27 | 2561082.8949 | 1125187.2608
28 | 2561141.6296 | 1125172.7943
29 | 2561079.448 | 1125121.4753
30 | 2561066.3376 | 1125110.9892
31 | 2561096.3973 | 1125121.1542
32 | 2561083.8959 | 1125245.0662
33 | 2561074.0347 | 1125236.9417
34 | 2561089.1326 | 1125247.2985
35 | 2561073.3367 | 1125236.3632
36 | 2561110.0477 | 1125224.7931
37 | 2561102.0641 | 1125260.8019
38 | 2561110.1246 | 1125224.7046
39 | 2561102.7414 | 1125281.3392
40 | 2561036.701 | 1125259.2317
41 | 2561121.9447 | 1125211.1131
42 | 2561003.2686 | 1125263.6862
43 | 2561007.0266 | 1125266.6925
44 | 2560981.1545 | 1125245.995
45 | 2561020.8956 | 1125277.7877
46 | 2560973.0009 | 1125239.4689
47 | 2561002.165 | 1125298.2454
48 | 2560957.2575 | 1125226.8679
49 | 2560976.2055 | 1125331.7261
50 | 2561025.2294 | 1125250.0478
51 | 2560954.9494 | 1125225.0205
52 | 2560997.5364 | 1125227.8773
53 | 2560997.8296 | 1125189.5545
54 | 2560988.9724 | 1125182.3154
55 | 2561234.716 | 1125164.1416
56 | 2561048.1869 | 1125159.195
57 | 2561046.7364 | 1125158.022
58 | 2561053.6981 | 1125163.6515
59 | 2561037.7268 | 1125150.7367
60 | 2561059.348 | 1125168.2202
61 | 2561077.322 | 1125182.7544
62 | 2561081.1287 | 1125185.8326
63 | 2561065.7562 | 1125326.5451
64 | 2561190.7945 | 1125207.9564
65 | 2561278.3612 | 1125278.2749
66 | 2561239.982 | 1125301.0773
67 | 2561126.1632 | 1125322.6648
68 | 2561190.2305 | 1125246.7361
69 | 2561136.0676 | 1125275.4122
70 | 2561119.6974 | 1125292.9803
71 | 2561100.2196 | 1125324.4779
72 | 2561179.5407 | 1125259.593
73 | 2561176.1058 | 1125235.4546
74 | 2561100.8675 | 1125079.1114
75 | 2561122.1033 | 1125095.7979
76 | 2561113.8351 | 1125106.2483
77 | 2561135.8518 | 1125106.9337
78 | 2561060.8712 | 1125320.8848
79 | 2561083.5998 | 1125334.7786
80 | 2561070.2414 | 1125349.0943
81 | 2561090.5038 | 1125334.4006
82 | 2561090.8429 | 1125353.0847
83 | 2561066.4103 | 1125309.6545
84 | 2561039.7093 | 1125296.2463
85 | 2561114.6703 | 1125394.0195
86 | 2561166.6763 | 1125194.7605
87 | 2561162.749 | 1125210.8693
88 | 2561161.2867 | 1125248.3656
89 | 2561043.4776 | 1125290.9993
90 | 2561147.7852 | 1125048.633
91 | 2561139.3806 | 1125057.8419
92 | 2561063.5105 | 1125228.2207

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1