## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6152-47_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6152-47_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6152-47_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6152-47_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6152-47_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6152-47_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6152-47_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6152-47_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6152-47_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6152-47_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6152-47_0_4_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_6152-47_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_6152-47_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_6152-47_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6152-47_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6152-47_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6152-47_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6152-47_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6152-47_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6152-47_0_4_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_6152-47_0_4_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_6152-47_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_6152-47_0_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_6152-47_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_6152-47_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6152-47_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6152-47_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6152-47_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6152-47_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6152-47_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6152-47_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6152-47_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_6152-47_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_6152-47_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6152-47_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6152-47_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6152-47_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6152-47_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6152-47_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6152-47_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6152-47_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6152-47_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_6152-47_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6152-47_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6152-47_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6152-47_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6152-47_0_4_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_6152-47_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_6152-47_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6152-47_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6152-47_0_4_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_6152-47_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_6152-47_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_6152-47_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_6152-47_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_6152-47_0_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_6152-47_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_6152-47_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6152-47_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6152-47_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_6152-47_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_6152-47_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6152-47_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_6152-47_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6152-47_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_MV_191_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6152-47_0_4_load_0 | 0 | 0.0072597 | 0.0018195 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6152-47_0_4_load_2 | 2 | 0.0057138 | 0.001432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6152-47_0_4_load_3 | 3 | 0.0068156 | 0.0017082 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6152-47_0_4_load_7 | 5 | 0.0078326 | 0.001963 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6152-47_0_4_load_5 | 7 | 0.006952 | 0.0017423 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6152-47_0_4_load_14 | 9 | 0.0056211 | 0.0014088 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6152-47_0_4_load_41 | 10 | 0.0062821 | 0.0015745 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6152-47_0_4_load_12 | 11 | 0.0041164 | 0.0010317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6152-47_0_4_load_36 | 12 | 0.0063953 | 0.0016028 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6152-47_0_4_load_9 | 13 | 0.0089363 | 0.0022396 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6152-47_0_4_load_10 | 14 | 0.0070857 | 0.0017759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6152-47_0_4_load_11 | 15 | 0.0039884 | 0.00099959 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6152-47_0_4_load_16 | 18 | 0.004111 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6152-47_0_4_load_46 | 19 | 0.0056755 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6152-47_0_4_load_45 | 21 | 0.0059953 | 0.0015026 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6152-47_0_4_load_47 | 23 | 0.0069509 | 0.0017421 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6152-47_0_4_load_17 | 24 | 0.0037345 | 0.00093596 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6152-47_0_4_load_18 | 25 | 0.0039484 | 0.00098956 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6152-47_0_4_load_19 | 26 | 0.006503 | 0.0016298 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6152-47_0_4_load_21 | 28 | 0.0041345 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6152-47_0_4_load_22 | 29 | 0.0043648 | 0.0010939 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6152-47_0_4_load_32 | 31 | 0.0053887 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6152-47_0_4_load_33 | 32 | 0.001748 | 0.0004381 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6152-47_0_4_load_29 | 33 | 0.0056387 | 0.0014132 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6152-47_0_4_load_24 | 35 | 0.0032431 | 0.00081279 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6152-47_0_4_load_26 | 36 | 0.0057534 | 0.0014419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6152-47_0_4_load_27 | 37 | 0.0033648 | 0.0008433 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6152-47_0_4_load_28 | 38 | 0.0063384 | 0.0015885 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6152-47_0_4_load_31 | 39 | 0.0034787 | 0.00087185 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6152-47_0_4_load_34 | 40 | 0.0095818 | 0.0024014 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6152-47_0_4_load_35 | 41 | 0.0090456 | 0.002267 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6152-47_0_4_load_37 | 42 | 0.0070118 | 0.0017573 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6152-47_0_4_load_39 | 44 | 0.0060832 | 0.0015246 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6152-47_0_4_load_40 | 45 | 0.0041155 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6152-47_0_4_load_65 | 46 | 0.0041124 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6152-47_0_4_load_42 | 47 | 0.010265 | 0.0025728 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6152-47_0_4_load_43 | 48 | 0.0090405 | 0.0022658 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6152-47_0_4_load_44 | 49 | 0.014746 | 0.0036958 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6152-47_0_4_load_61 | 50 | 0.0076459 | 0.0019162 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6152-47_0_4_load_55 | 51 | 0.0053695 | 0.0013457 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6152-47_0_4_load_54 | 53 | 0.0088114 | 0.0022084 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6152-47_0_4_load_64 | 55 | 0.0083832 | 0.002101 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6152-47_0_4_load_59 | 56 | 0.0076684 | 0.0019219 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6152-47_0_4_load_48 | 57 | 0.0049554 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6152-47_0_4_load_50 | 58 | 0.0054138 | 0.0013568 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6152-47_0_4_load_52 | 59 | 0.011595 | 0.002906 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6152-47_0_4_load_53 | 60 | 0.013865 | 0.0034748 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6152-47_0_4_load_63 | 61 | 0.0046376 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6152-47_0_4_load_56 | 62 | 0.0040998 | 0.0010275 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6152-47_0_4_load_58 | 63 | 0.0067443 | 0.0016903 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6152-47_0_4_load_62 | 64 | 0.0081733 | 0.0020484 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6152-47_0_4_line_0 |  | 0 | 1 | 0.021591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6152-47_0_4_line_1 |  | 1 | 2 | 0.020359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6152-47_0_4_line_2 |  | 1 | 3 | 0.028853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6152-47_0_4_line_3 |  | 3 | 4 | 0.011233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6152-47_0_4_line_4 |  | 4 | 7 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6152-47_0_4_line_5 |  | 4 | 8 | 0.008005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6152-47_0_4_line_6 |  | 5 | 6 | 0.018014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6152-47_0_4_line_7 |  | 5 | 7 | 0.023046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6152-47_0_4_line_8 |  | 6 | 13 | 0.024059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6152-47_0_4_line_9 |  | 6 | 14 | 0.009044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6152-47_0_4_line_10 |  | 8 | 9 | 0.0074988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6152-47_0_4_line_11 |  | 8 | 10 | 0.031041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6152-47_0_4_line_12 |  | 9 | 11 | 0.025179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6152-47_0_4_line_13 |  | 10 | 12 | 0.033098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6152-47_0_4_line_14 |  | 11 | 15 | 0.0093874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6152-47_0_4_line_15 |  | 12 | 41 | 0.0017438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6152-47_0_4_line_16 |  | 15 | 16 | 0.022753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6152-47_0_4_line_17 |  | 16 | 17 | 0.004745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6152-47_0_4_line_18 |  | 16 | 18 | 0.018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6152-47_0_4_line_19 |  | 17 | 19 | 0.016699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6152-47_0_4_line_20 |  | 18 | 20 | 0.02403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6152-47_0_4_line_21 |  | 19 | 21 | 0.0021639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6152-47_0_4_line_22 |  | 20 | 22 | 0.006588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6152-47_0_4_line_23 |  | 20 | 23 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6152-47_0_4_line_24 |  | 21 | 48 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6152-47_0_4_line_25 |  | 22 | 46 | 0.016611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6152-47_0_4_line_26 |  | 23 | 57 | 9.7036e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6152-47_0_4_line_27 |  | 24 | 25 | 0.019061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6152-47_0_4_line_28 |  | 24 | 26 | 0.010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6152-47_0_4_line_29 |  | 25 | 27 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6152-47_0_4_line_30 |  | 26 | 28 | 0.038516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6152-47_0_4_line_31 |  | 27 | 34 | 0.022073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6152-47_0_4_line_32 |  | 28 | 29 | 0.033334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6152-47_0_4_line_33 |  | 29 | 30 | 0.022018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6152-47_0_4_line_34 |  | 30 | 35 | 0.021493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6152-47_0_4_line_35 |  | 31 | 32 | 0.015672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6152-47_0_4_line_36 |  | 31 | 33 | 0.046485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6152-47_0_4_line_37 |  | 32 | 40 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6152-47_0_4_line_38 |  | 33 | 37 | 0.0001997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6152-47_0_4_line_39 |  | 34 | 39 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6152-47_0_4_line_40 |  | 36 | 37 | 0.019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6152-47_0_4_line_41 |  | 36 | 38 | 0.0025397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6152-47_0_4_line_42 |  | 36 | 39 | 0.042463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6152-47_0_4_line_43 |  | 40 | 41 | 0.041295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6152-47_0_4_line_44 |  | 42 | 43 | 0.012702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6152-47_0_4_line_45 |  | 43 | 44 | 0.015272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6152-47_0_4_line_46 |  | 43 | 45 | 0.0026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6152-47_0_4_line_47 |  | 45 | 46 | 0.014053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6152-47_0_4_line_48 |  | 47 | 48 | 0.0027167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6152-47_0_4_line_49 |  | 47 | 49 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6152-47_0_4_line_50 |  | 49 | 50 | 0.028063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6152-47_0_4_line_51 |  | 51 | 52 | 0.0055427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6152-47_0_4_line_52 |  | 51 | 53 | 0.019857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6152-47_0_4_line_53 |  | 52 | 54 | 0.021491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6152-47_0_4_line_54 |  | 52 | 55 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6152-47_0_4_line_55 |  | 53 | 62 | 0.00065486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6152-47_0_4_line_56 |  | 54 | 56 | 0.011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6152-47_0_4_line_57 |  | 57 | 58 | 0.02447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6152-47_0_4_line_58 |  | 58 | 59 | 0.004935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6152-47_0_4_line_59 |  | 59 | 60 | 0.015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6152-47_0_4_line_60 |  | 60 | 61 | 0.025165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6152-47_0_4_line_61 |  | 61 | 64 | 0.0125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6152-47_0_4_line_62 |  | 62 | 63 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6152-47_0_4_line_63 |  | 63 | 64 | 0.019015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6152-47_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 65 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2560722.3442 | 1129201.1164 | 2560730.3802 | 1129206.0777 | 2560740.7057 | 1129212.4756
1 | 2560722.3442 | 1129201.1164 | 2560729.3945 | 1129182.017
2 | 2560697.9867 | 1129216.5822 | 2560722.3442 | 1129201.1164
3 | 2560688.2981 | 1129210.8988 | 2560697.9867 | 1129216.5822
4 | 2560688.2981 | 1129210.8988 | 2560694.6289 | 1129192.6365
5 | 2560681.3773 | 1129206.8418 | 2560688.2981 | 1129210.8988
6 | 2560708.0778 | 1129153.8409 | 2560702.1774 | 1129170.8616
7 | 2560694.6289 | 1129192.6365 | 2560702.1774 | 1129170.8616
8 | 2560708.0778 | 1129153.8409 | 2560685.2559 | 1129146.0301
9 | 2560708.0778 | 1129153.8409 | 2560711.0418 | 1129145.295
10 | 2560681.3773 | 1129206.8418 | 2560677.0361 | 1129203.8241 | 2560675.2459 | 1129202.5252
11 | 2560681.3773 | 1129206.8418 | 2560683.4893 | 1129210.5855 | 2560675.4188 | 1129233.4053 | 2560674.9371 | 1129235.8967
12 | 2560675.2459 | 1129202.5252 | 2560669.064 | 1129198.0399 | 2560660.5378 | 1129193.5154 | 2560653.0824 | 1129190.9373
13 | 2560674.9371 | 1129235.8967 | 2560674.614 | 1129237.5682 | 2560675.8959 | 1129241.5952 | 2560700.3584 | 1129253.4175
14 | 2560653.0824 | 1129190.9373 | 2560644.2104 | 1129187.8694
15 | 2560701.9285 | 1129254.1763 | 2560700.3584 | 1129253.4175
16 | 2560622.7065 | 1129180.4334 | 2560644.2104 | 1129187.8694
17 | 2560622.7065 | 1129180.4334 | 2560623.3845 | 1129175.7377
18 | 2560622.7065 | 1129180.4334 | 2560618.8999 | 1129198.4565
19 | 2560623.3845 | 1129175.7377 | 2560607.3127 | 1129171.204
20 | 2560613.9343 | 1129221.9673 | 2560618.8999 | 1129198.4565
21 | 2560605.2301 | 1129170.6165 | 2560607.3127 | 1129171.204
22 | 2560612.5744 | 1129228.4128 | 2560613.9343 | 1129221.9673
23 | 2560613.9343 | 1129221.9673 | 2560598.4637 | 1129216.8257
24 | 2560605.2301 | 1129170.6165 | 2560583.2504 | 1129164.4163
25 | 2560612.5744 | 1129228.4128 | 2560628.1973 | 1129234.0571
26 | 2560598.3717 | 1129216.7951 | 2560598.4637 | 1129216.8257
27 | 2560605.1342 | 1129346.2639 | 2560623.2313 | 1129352.2494
28 | 2560633.4255 | 1129355.6211 | 2560623.2313 | 1129352.2494
29 | 2560589.0219 | 1129340.9349 | 2560605.1342 | 1129346.2639
30 | 2560633.4255 | 1129355.6211 | 2560622.937 | 1129392.6811
31 | 2560593.5179 | 1129319.3279 | 2560589.0219 | 1129340.9349
32 | 2560596.5016 | 1129412.9862 | 2560622.937 | 1129392.6811
33 | 2560575.2511 | 1129407.2253 | 2560596.5016 | 1129412.9862
34 | 2560575.2511 | 1129407.2253 | 2560570.8842 | 1129428.2701
35 | 2560676.9997 | 1129320.6398 | 2560686.1041 | 1129307.8833
36 | 2560641.7416 | 1129290.3462 | 2560676.9997 | 1129320.6398
37 | 2560695.3404 | 1129294.9421 | 2560686.1041 | 1129307.8833
38 | 2560641.5525 | 1129290.2819 | 2560641.7416 | 1129290.3462
39 | 2560593.5179 | 1129319.3279 | 2560615.0927 | 1129325.746
40 | 2560623.3706 | 1129284.0973 | 2560641.5525 | 1129290.2819
41 | 2560623.3706 | 1129284.0973 | 2560620.9662 | 1129283.2794
42 | 2560623.3706 | 1129284.0973 | 2560615.0927 | 1129325.746
43 | 2560701.9285 | 1129254.1763 | 2560695.3404 | 1129294.9421
44 | 2560643.9465 | 1129239.7471 | 2560640.8094 | 1129252.0561
45 | 2560643.9465 | 1129239.7471 | 2560658.456 | 1129244.5118
46 | 2560643.9465 | 1129239.7471 | 2560641.4138 | 1129238.8321
47 | 2560641.4138 | 1129238.8321 | 2560628.1973 | 1129234.0571
48 | 2560580.6357 | 1129163.6787 | 2560583.2504 | 1129164.4163
49 | 2560569.3466 | 1129160.4941 | 2560580.6357 | 1129163.6787
50 | 2560569.3466 | 1129160.4941 | 2560542.7804 | 1129151.4522
51 | 2560500.3897 | 1129155.0648 | 2560498.1629 | 1129160.1405
52 | 2560492.3331 | 1129178.7185 | 2560492.094 | 1129173.9732 | 2560498.1629 | 1129160.1405
53 | 2560509.0194 | 1129135.3761 | 2560500.3897 | 1129155.0648
54 | 2560500.3897 | 1129155.0648 | 2560513.7169 | 1129160.7694
55 | 2560492.3331 | 1129178.7185 | 2560492.3331 | 1129178.7185 | 2560492.9539 | 1129178.9267
56 | 2560509.0194 | 1129135.3761 | 2560519.8961 | 1129139.4012
57 | 2560575.1501 | 1129209.0774 | 2560598.3717 | 1129216.7951
58 | 2560575.1501 | 1129209.0774 | 2560570.4669 | 1129207.5209
59 | 2560555.741 | 1129202.6267 | 2560570.4669 | 1129207.5209
60 | 2560555.741 | 1129202.6267 | 2560530.9246 | 1129198.4536
61 | 2560530.9246 | 1129198.4536 | 2560531.5313 | 1129193.4582 | 2560531.1857 | 1129192.4377 | 2560529.8458 | 1129191.3348 | 2560526.1997 | 1129189.7801 | 2560525.5367 | 1129189.5852
62 | 2560492.9539 | 1129178.9267 | 2560507.4319 | 1129183.7818
63 | 2560525.5367 | 1129189.5852 | 2560519.0604 | 1129187.6814 | 2560507.4319 | 1129183.7818

## bus_geodata
| x | y | coords
0 | 2560740.7057 | 1129212.4756
1 | 2560722.3442 | 1129201.1164
2 | 2560729.3945 | 1129182.017
3 | 2560697.9867 | 1129216.5822
4 | 2560688.2981 | 1129210.8988
5 | 2560702.1774 | 1129170.8616
6 | 2560708.0778 | 1129153.8409
7 | 2560694.6289 | 1129192.6365
8 | 2560681.3773 | 1129206.8418
9 | 2560675.2459 | 1129202.5252
10 | 2560674.9371 | 1129235.8967
11 | 2560653.0824 | 1129190.9373
12 | 2560700.3584 | 1129253.4175
13 | 2560685.2559 | 1129146.0301
14 | 2560711.0418 | 1129145.295
15 | 2560644.2104 | 1129187.8694
16 | 2560622.7065 | 1129180.4334
17 | 2560623.3845 | 1129175.7377
18 | 2560618.8999 | 1129198.4565
19 | 2560607.3127 | 1129171.204
20 | 2560613.9343 | 1129221.9673
21 | 2560605.2301 | 1129170.6165
22 | 2560612.5744 | 1129228.4128
23 | 2560598.4637 | 1129216.8257
24 | 2560623.2313 | 1129352.2494
25 | 2560605.1342 | 1129346.2639
26 | 2560633.4255 | 1129355.6211
27 | 2560589.0219 | 1129340.9349
28 | 2560622.937 | 1129392.6811
29 | 2560596.5016 | 1129412.9862
30 | 2560575.251 | 1129407.2253
31 | 2560676.9997 | 1129320.6398
32 | 2560686.1041 | 1129307.8833
33 | 2560641.7416 | 1129290.3462
34 | 2560593.5179 | 1129319.3279
35 | 2560570.8842 | 1129428.2701
36 | 2560623.3706 | 1129284.0973
37 | 2560641.5525 | 1129290.2819
38 | 2560620.9662 | 1129283.2794
39 | 2560615.0927 | 1129325.746
40 | 2560695.3404 | 1129294.9421
41 | 2560701.9285 | 1129254.1763
42 | 2560640.8094 | 1129252.0561
43 | 2560643.9465 | 1129239.7471
44 | 2560658.456 | 1129244.5118
45 | 2560641.4138 | 1129238.8321
46 | 2560628.1973 | 1129234.0571
47 | 2560580.6357 | 1129163.6787
48 | 2560583.2504 | 1129164.4163
49 | 2560569.3466 | 1129160.4941
50 | 2560542.7804 | 1129151.4522
51 | 2560498.1629 | 1129160.1405
52 | 2560500.3897 | 1129155.0648
53 | 2560492.3331 | 1129178.7185
54 | 2560509.0194 | 1129135.3761
55 | 2560513.7169 | 1129160.7694
56 | 2560519.8961 | 1129139.4012
57 | 2560598.3717 | 1129216.7951
58 | 2560575.1501 | 1129209.0774
59 | 2560570.4669 | 1129207.5209
60 | 2560555.741 | 1129202.6267
61 | 2560530.9246 | 1129198.4536
62 | 2560492.9539 | 1129178.9267
63 | 2560507.4319 | 1129183.7818
64 | 2560525.5367 | 1129189.5852
65 | 2560612.5744 | 1129228.4128

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1