## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6152-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6152-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6152-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6152-8_0_6_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_6152-8_0_6_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_6152-8_0_6_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_6152-8_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_6152-8_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6152-8_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6152-8_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6152-8_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6152-8_0_6_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6152-8_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6152-8_0_6_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_6152-8_0_6_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_6152-8_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6152-8_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6152-8_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6152-8_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6152-8_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6152-8_0_6_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_6152-8_0_6_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_6152-8_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6152-8_0_6_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_6152-8_0_6_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_6152-8_0_6_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_6152-8_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6152-8_0_6_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_6152-8_0_6_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_6152-8_0_6_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_6152-8_0_6_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_6152-8_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6152-8_0_6_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_6152-8_0_6_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_6152-8_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6152-8_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6152-8_0_6_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_6152-8_0_6_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_6152-8_0_6_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_6152-8_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_6152-8_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_6152-8_0_6_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_6152-8_0_6_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_6152-8_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6152-8_0_6_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_6152-8_0_6_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6152-8_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6152-8_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6152-8_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_6152-8_0_6_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6152-8_0_6_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_6152-8_0_6_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_6152-8_0_6_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_6152-8_0_6_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6152-8_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6152-8_0_6_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_6152-8_0_6_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_6152-8_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6152-8_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_6152-8_0_6_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_6152-8_0_6_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_6152-8_0_6_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_6152-8_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6152-8_0_6_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_6152-8_0_6_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_6152-8_0_6_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_6152-8_0_6_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_6152-8_0_6_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_6152-8_0_6_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_6152-8_0_6_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_6152-8_0_6_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_6152-8_0_6_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_6152-8_0_6_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_6152-8_0_6_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_6152-8_0_6_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_6152-8_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6152-8_0_6_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_6152-8_0_6_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_6152-8_0_6_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_6152-8_0_6_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_6152-8_0_6_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_6152-8_0_6_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_6152-8_0_6_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_6152-8_0_6_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_6152-8_0_6_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_6152-8_0_6_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_6152-8_0_6_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_6152-8_0_6_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_6152-8_0_6_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_6152-8_0_6_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_6152-8_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_6152-8_0_6_node_88 | 0.4 | n |  | TRUE
92 | bus_MV_192_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6152-8_0_6_load_0 | 0 | 0.0083354 | 0.002089 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6152-8_0_6_load_1 | 1 | 0.0067226 | 0.0016848 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6152-8_0_6_load_2 | 2 | 0.0071715 | 0.0017973 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6152-8_0_6_load_3 | 6 | 0.013984 | 0.0035047 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6152-8_0_6_load_4 | 7 | 0.0075917 | 0.0019027 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6152-8_0_6_load_6 | 9 | 0.016818 | 0.0042151 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6152-8_0_6_load_11 | 12 | 0.0041063 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6152-8_0_6_load_74 | 14 | 0.0079196 | 0.0019848 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6152-8_0_6_load_8 | 16 | 0.0062069 | 0.0015556 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6152-8_0_6_load_9 | 17 | 0.01101 | 0.0027593 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6152-8_0_6_load_24 | 20 | 0.0067067 | 0.0016809 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6152-8_0_6_load_91 | 21 | 0.0091059 | 0.0022822 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6152-8_0_6_load_25 | 23 | 0.0045214 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6152-8_0_6_load_29 | 25 | 0.0042514 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6152-8_0_6_load_13 | 26 | 0.0039303 | 0.00098503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6152-8_0_6_load_75 | 28 | 0.007229 | 0.0018117 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6152-8_0_6_load_64 | 29 | 0.0056959 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6152-8_0_6_load_62 | 30 | 0.0086722 | 0.0021735 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6152-8_0_6_load_49 | 32 | 0.0060806 | 0.0015239 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6152-8_0_6_load_83 | 33 | 0.0047849 | 0.0011992 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6152-8_0_6_load_48 | 36 | 0.0075954 | 0.0019036 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6152-8_0_6_load_40 | 37 | 0.0064223 | 0.0016096 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6152-8_0_6_load_90 | 38 | 0.0089897 | 0.002253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6152-8_0_6_load_26 | 39 | 0.0039624 | 0.00099306 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6152-8_0_6_load_28 | 40 | 0.0081939 | 0.0020536 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6152-8_0_6_load_89 | 41 | 0.018683 | 0.0046823 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6152-8_0_6_load_84 | 42 | 0.0050629 | 0.0012689 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6152-8_0_6_load_27 | 44 | 0.0083269 | 0.0020869 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6152-8_0_6_load_31 | 45 | 0.0085306 | 0.002138 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6152-8_0_6_load_30 | 46 | 0.0040334 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6152-8_0_6_load_32 | 47 | 0.0079494 | 0.0019923 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6152-8_0_6_load_34 | 49 | 0.0059718 | 0.0014967 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6152-8_0_6_load_66 | 52 | 0.0048062 | 0.0012045 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6152-8_0_6_load_37 | 54 | 0.005698 | 0.001428 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6152-8_0_6_load_73 | 55 | 0.0061846 | 0.00155 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6152-8_0_6_load_57 | 56 | 0.0086562 | 0.0021694 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6152-8_0_6_load_54 | 57 | 0.015114 | 0.0037879 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6152-8_0_6_load_38 | 58 | 0.020791 | 0.0052107 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6152-8_0_6_load_55 | 60 | 0.012207 | 0.0030594 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6152-8_0_6_load_43 | 62 | 0.0024024 | 0.00060209 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6152-8_0_6_load_81 | 63 | 0.0083083 | 0.0020823 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6152-8_0_6_load_46 | 64 | 0.0055828 | 0.0013992 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6152-8_0_6_load_82 | 65 | 0.0062393 | 0.0015637 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6152-8_0_6_load_80 | 66 | 0.01571 | 0.0039373 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6152-8_0_6_load_44 | 67 | 0.0046215 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6152-8_0_6_load_45 | 68 | 0.0069307 | 0.001737 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6152-8_0_6_load_47 | 69 | 0.0064162 | 0.0016081 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6152-8_0_6_load_50 | 70 | 0.0057842 | 0.0014497 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6152-8_0_6_load_52 | 72 | 0.0074854 | 0.001876 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6152-8_0_6_load_53 | 73 | 0.0099499 | 0.0024937 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6152-8_0_6_load_85 | 74 | 0.010981 | 0.002752 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6152-8_0_6_load_56 | 76 | 0.0072407 | 0.0018147 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6152-8_0_6_load_77 | 77 | 0.0050501 | 0.0012657 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6152-8_0_6_load_58 | 78 | 0.0082147 | 0.0020588 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6152-8_0_6_load_60 | 80 | 0.011016 | 0.0027608 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6152-8_0_6_load_61 | 81 | 0.0083619 | 0.0020957 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6152-8_0_6_load_70 | 82 | 0.0088929 | 0.0022288 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6152-8_0_6_load_72 | 85 | 0.012816 | 0.003212 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6152-8_0_6_load_67 | 86 | 0.010975 | 0.0027507 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6152-8_0_6_load_76 | 87 | 0.010035 | 0.002515 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6152-8_0_6_load_87 | 89 | 0.017597 | 0.0044103 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6152-8_0_6_load_78 | 90 | 0.0078844 | 0.001976 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6152-8_0_6_load_88 | 91 | 0.016048 | 0.0040221 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6152-8_0_6_line_0 |  | 0 | 1 | 0.03789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6152-8_0_6_line_1 |  | 1 | 2 | 0.021786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6152-8_0_6_line_2 |  | 2 | 3 | 0.085089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6152-8_0_6_line_3 |  | 3 | 4 | 0.17364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6152-8_0_6_line_4 |  | 3 | 5 | 0.080871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6152-8_0_6_line_5 |  | 4 | 19 | 0.030562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6152-8_0_6_line_6 |  | 4 | 20 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6152-8_0_6_line_7 |  | 5 | 22 | 0.024475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6152-8_0_6_line_8 |  | 5 | 23 | 0.059809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6152-8_0_6_line_9 |  | 6 | 7 | 0.0093469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6152-8_0_6_line_10 |  | 6 | 8 | 0.042154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6152-8_0_6_line_11 |  | 8 | 9 | 0.013066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6152-8_0_6_line_12 |  | 8 | 10 | 0.052394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6152-8_0_6_line_13 |  | 10 | 11 | 0.032656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6152-8_0_6_line_14 |  | 10 | 12 | 0.046593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6152-8_0_6_line_15 |  | 11 | 13 | 0.055249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6152-8_0_6_line_16 |  | 11 | 14 | 0.02704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6152-8_0_6_line_17 |  | 12 | 15 | 0.089737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6152-8_0_6_line_18 |  | 13 | 29 | 0.021262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6152-8_0_6_line_19 |  | 13 | 30 | 0.014853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6152-8_0_6_line_20 |  | 13 | 27 | 0.081242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6152-8_0_6_line_21 |  | 15 | 26 | 0.02101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6152-8_0_6_line_22 |  | 15 | 18 | 0.00425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6152-8_0_6_line_23 |  | 16 | 17 | 0.033246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6152-8_0_6_line_24 |  | 17 | 18 | 0.041246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6152-8_0_6_line_25 |  | 19 | 21 | 0.009265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6152-8_0_6_line_26 |  | 22 | 24 | 0.057355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6152-8_0_6_line_27 |  | 22 | 25 | 0.05425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6152-8_0_6_line_28 |  | 23 | 39 | 0.0078117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6152-8_0_6_line_29 |  | 24 | 37 | 0.018199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6152-8_0_6_line_30 |  | 24 | 35 | 0.005068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6152-8_0_6_line_31 |  | 25 | 40 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6152-8_0_6_line_32 |  | 27 | 28 | 0.053852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6152-8_0_6_line_33 |  | 28 | 87 | 0.008232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6152-8_0_6_line_34 |  | 30 | 50 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6152-8_0_6_line_35 |  | 31 | 32 | 0.033874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6152-8_0_6_line_36 |  | 31 | 33 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6152-8_0_6_line_37 |  | 31 | 34 | 0.039483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6152-8_0_6_line_38 |  | 32 | 36 | 0.020053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6152-8_0_6_line_39 |  | 33 | 42 | 0.012774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6152-8_0_6_line_40 |  | 34 | 38 | 0.02038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6152-8_0_6_line_41 |  | 35 | 36 | 0.033761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6152-8_0_6_line_42 |  | 37 | 43 | 0.024184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6152-8_0_6_line_43 |  | 38 | 41 | 0.027494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6152-8_0_6_line_44 |  | 39 | 44 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6152-8_0_6_line_45 |  | 40 | 46 | 0.016661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6152-8_0_6_line_46 |  | 41 | 88 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6152-8_0_6_line_47 |  | 43 | 61 | 0.014544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6152-8_0_6_line_48 |  | 43 | 62 | 0.008908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6152-8_0_6_line_49 |  | 44 | 45 | 0.027007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6152-8_0_6_line_50 |  | 47 | 48 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6152-8_0_6_line_51 |  | 47 | 49 | 0.021733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6152-8_0_6_line_52 |  | 48 | 50 | 0.021758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6152-8_0_6_line_53 |  | 48 | 51 | 0.022662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6152-8_0_6_line_54 |  | 50 | 52 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6152-8_0_6_line_55 |  | 51 | 53 | 0.019381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6152-8_0_6_line_56 |  | 51 | 54 | 0.013518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6152-8_0_6_line_57 |  | 52 | 55 | 0.0033537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6152-8_0_6_line_58 |  | 53 | 56 | 0.017841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6152-8_0_6_line_59 |  | 53 | 57 | 0.017649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6152-8_0_6_line_60 |  | 54 | 58 | 0.017875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6152-8_0_6_line_61 |  | 56 | 59 | 0.023066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6152-8_0_6_line_62 |  | 57 | 60 | 0.028668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6152-8_0_6_line_63 |  | 59 | 66 | 0.011324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6152-8_0_6_line_64 |  | 59 | 77 | 0.012295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6152-8_0_6_line_65 |  | 60 | 76 | 0.019664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6152-8_0_6_line_66 |  | 61 | 63 | 0.0042039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6152-8_0_6_line_67 |  | 61 | 64 | 0.011683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6152-8_0_6_line_68 |  | 62 | 65 | 0.026254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6152-8_0_6_line_69 |  | 63 | 66 | 0.027059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6152-8_0_6_line_70 |  | 64 | 67 | 0.0079477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6152-8_0_6_line_71 |  | 67 | 68 | 0.026854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6152-8_0_6_line_72 |  | 68 | 69 | 0.0024894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6152-8_0_6_line_73 |  | 70 | 71 | 0.009969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6152-8_0_6_line_74 |  | 71 | 72 | 0.009863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6152-8_0_6_line_75 |  | 71 | 73 | 0.023965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6152-8_0_6_line_76 |  | 73 | 74 | 0.0017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6152-8_0_6_line_77 |  | 74 | 75 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6152-8_0_6_line_78 |  | 75 | 88 | 0.052788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_6152-8_0_6_line_79 |  | 75 | 83 | 0.053534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6152-8_0_6_line_80 |  | 77 | 90 | 0.025244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6152-8_0_6_line_81 |  | 78 | 79 | 0.0089054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6152-8_0_6_line_82 |  | 79 | 80 | 0.009043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6152-8_0_6_line_83 |  | 79 | 81 | 0.024348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6152-8_0_6_line_84 |  | 81 | 82 | 0.00070968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6152-8_0_6_line_85 |  | 82 | 83 | 0.014338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6152-8_0_6_line_86 |  | 83 | 86 | 0.036579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6152-8_0_6_line_87 |  | 84 | 85 | 0.037175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6152-8_0_6_line_88 |  | 84 | 86 | 0.015423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6152-8_0_6_line_89 |  | 88 | 89 | 0.015532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6152-8_0_6_line_90 |  | 89 | 91 | 0.029712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6152-8_0_6_trafo_57 | 0.63 MVA 20/0.4 kV | 92 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2562235.6835 | 1124731.9212 | 2562272.661 | 1124740.1861
1 | 2562293.9221 | 1124744.9382 | 2562272.661 | 1124740.1861
2 | 2562377.5901 | 1124760.3592 | 2562361.6477 | 1124757.8017 | 2562304.5751 | 1124747.3193 | 2562293.9221 | 1124744.9382
3 | 2562293.6194 | 1124662.0112 | 2562323.527 | 1124668.8834 | 2562346.3783 | 1124674.1324 | 2562351.9127 | 1124675.254 | 2562381.352 | 1124681.2401 | 2562383.1704 | 1124684.8083 | 2562383.3694 | 1124691.9885 | 2562381.2014 | 1124705.2977 | 2562382.2563 | 1124706.3361 | 2562385.7151 | 1124707.1705 | 2562384.9839 | 1124708.5869 | 2562384.2542 | 1124710.2478 | 2562382.3169 | 1124720.9987 | 2562380.9322 | 1124730.1119 | 2562380.6102 | 1124734.1048 | 2562380.4035 | 1124736.8075 | 2562380.5538 | 1124739.897 | 2562380.5799 | 1124744.0767 | 2562380.1734 | 1124748.1258 | 2562379.6198 | 1124750.8195 | 2562377.5901 | 1124760.3592
4 | 2562362.8766 | 1124839.8579 | 2562367.4263 | 1124817.8628 | 2562371.3512 | 1124797.0389 | 2562377.5901 | 1124760.3592
5 | 2562263.7504 | 1124655.15 | 2562293.6194 | 1124662.0112
6 | 2562293.6194 | 1124662.0112 | 2562289.7867 | 1124679.9825
7 | 2562357.6682 | 1124863.7692 | 2562362.8766 | 1124839.8579
8 | 2562362.8766 | 1124839.8579 | 2562304.0987 | 1124828.7982
9 | 2562225.99 | 1124837.0562 | 2562216.8255 | 1124835.2188
10 | 2562175.5555 | 1124826.6335 | 2562197.3313 | 1124831.3105 | 2562216.8255 | 1124835.2188
11 | 2562175.5555 | 1124826.6335 | 2562179.8104 | 1124814.2783
12 | 2562125.069 | 1124812.8542 | 2562130.528 | 1124815.5102 | 2562138.1862 | 1124818.497 | 2562151.9116 | 1124821.5569 | 2562175.5555 | 1124826.6335
13 | 2562110.2583 | 1124841.9731 | 2562117.7585 | 1124827.1851 | 2562125.069 | 1124812.8542
14 | 2562125.069 | 1124812.8542 | 2562146.2445 | 1124771.3507
15 | 2562110.2583 | 1124841.9731 | 2562096.3697 | 1124869.3853 | 2562120.4201 | 1124874.1589
16 | 2562110.2583 | 1124841.9731 | 2562123.741 | 1124845.6792 | 2562134.0911 | 1124847.693 | 2562136.57 | 1124848.1068
17 | 2562186.694 | 1124691.2506 | 2562183.727 | 1124697.5612 | 2562158.6975 | 1124746.9432 | 2562146.2445 | 1124771.3507
18 | 2562120.4201 | 1124874.1589 | 2562116.085 | 1124885.9921 | 2562111.4319 | 1124893.2958
19 | 2562120.4201 | 1124874.1589 | 2562134.9661 | 1124877.1643
20 | 2562070.7326 | 1124919.9831 | 2562096.3697 | 1124869.3853 | 2562120.4201 | 1124874.1589
21 | 2562186.694 | 1124691.2506 | 2562204.075 | 1124703.1255
22 | 2562188.5046 | 1124687.4039 | 2562186.694 | 1124691.2506
23 | 2562261.2697 | 1124703.1088 | 2562228.6631 | 1124696.6195
24 | 2562188.5046 | 1124687.4039 | 2562199.874 | 1124690.89 | 2562228.6631 | 1124696.6195
25 | 2562263.7504 | 1124655.15 | 2562261.2468 | 1124664.0701
26 | 2562345.9083 | 1124919.9043 | 2562352.3823 | 1124890.071 | 2562357.6682 | 1124863.7692
27 | 2562357.6682 | 1124863.7692 | 2562304.5811 | 1124852.5985
28 | 2562304.0987 | 1124828.7982 | 2562296.4217 | 1124827.3537
29 | 2562345.9083 | 1124919.9043 | 2562343.1452 | 1124919.3657 | 2562328.0744 | 1124916.2787
30 | 2562344.8909 | 1124924.8687 | 2562345.9083 | 1124919.9043
31 | 2562278.3351 | 1124847.0758 | 2562304.5811 | 1124852.5985
32 | 2562070.7326 | 1124919.9831 | 2562123.4514 | 1124930.9725
33 | 2562131.5102 | 1124932.6523 | 2562123.4514 | 1124930.9725
34 | 2562145.5369 | 1124879.3484 | 2562134.9661 | 1124877.1643
35 | 2562327.1654 | 1125010.7451 | 2562332.8432 | 1124983.0401 | 2562333.9915 | 1124977.5662
36 | 2562327.1654 | 1125010.7451 | 2562326.2161 | 1125010.5509 | 2562313.1264 | 1125007.4627
37 | 2562318.2556 | 1125049.198 | 2562320.4982 | 1125040.4685 | 2562322.2808 | 1125033.376 | 2562327.1654 | 1125010.7451
38 | 2562338.1419 | 1124957.9475 | 2562336.4064 | 1124966.0537 | 2562333.9915 | 1124977.5662
39 | 2562300.694 | 1125004.5295 | 2562313.1264 | 1125007.4627
40 | 2562318.2556 | 1125049.198 | 2562317.3063 | 1125049.0038 | 2562298.2641 | 1125045.2356
41 | 2562344.8909 | 1124924.8687 | 2562340.8107 | 1124945.4824 | 2562338.1419 | 1124957.9475
42 | 2562304.3827 | 1124911.4259 | 2562328.0744 | 1124916.2787
43 | 2562271.2926 | 1125039.8983 | 2562298.2641 | 1125045.2356
44 | 2562277.5628 | 1124823.8052 | 2562296.4217 | 1124827.3537
45 | 2562262.0311 | 1124843.6451 | 2562278.3351 | 1124847.0758
46 | 2562256.7504 | 1125037.0206 | 2562271.2926 | 1125039.8983
47 | 2562290.0956 | 1124908.4915 | 2562304.3827 | 1124911.4259
48 | 2562304.3827 | 1124911.4259 | 2562305.9214 | 1124902.6518
49 | 2562277.5628 | 1124823.8052 | 2562251.0216 | 1124818.8112
50 | 2562166.9098 | 1124883.7388 | 2562168.802 | 1124873.2439 | 2562169.0612 | 1124871.2143
51 | 2562164.2907 | 1124852.0836 | 2562169.6394 | 1124856.8081 | 2562170.4614 | 1124860.0379 | 2562169.963 | 1124864.1542 | 2562169.0612 | 1124871.2143
52 | 2562166.9098 | 1124883.7388 | 2562145.5369 | 1124879.3484
53 | 2562189.1928 | 1124888.2014 | 2562166.9098 | 1124883.7388
54 | 2562145.5369 | 1124879.3484 | 2562145.7269 | 1124882.6044 | 2562145.1339 | 1124887.6107 | 2562143.8899 | 1124893.4502
55 | 2562208.1747 | 1124892.3735 | 2562189.1928 | 1124888.2014
56 | 2562189.1928 | 1124888.2014 | 2562191.6423 | 1124874.907
57 | 2562143.0389 | 1124896.6932 | 2562143.7561 | 1124894.0782 | 2562143.8899 | 1124893.4502
58 | 2562208.1747 | 1124892.3735 | 2562225.7081 | 1124895.6721
59 | 2562208.1747 | 1124892.3735 | 2562204.1442 | 1124909.5558
60 | 2562194.8811 | 1124857.3279 | 2562191.6423 | 1124874.907
61 | 2562248.3766 | 1124899.9369 | 2562225.7081 | 1124895.6721
62 | 2562204.1442 | 1124909.5558 | 2562202.2883 | 1124917.4676 | 2562202.6781 | 1124925.547 | 2562200.0663 | 1124937.7223
63 | 2562248.3766 | 1124899.9369 | 2562259.4698 | 1124902.2116
64 | 2562248.3766 | 1124899.9369 | 2562245.5922 | 1124911.9127
65 | 2562210.7257 | 1124947.6523 | 2562204.5908 | 1124947.8352 | 2562199.1154 | 1124945.0125 | 2562199.4949 | 1124940.3856 | 2562200.0663 | 1124937.7223
66 | 2562290.0956 | 1124908.4915 | 2562285.9773 | 1124907.647
67 | 2562290.0956 | 1124908.4915 | 2562287.3529 | 1124919.8477
68 | 2562310.4565 | 1124876.7927 | 2562305.9214 | 1124902.6518
69 | 2562285.9773 | 1124907.647 | 2562259.4698 | 1124902.2116
70 | 2562286.052 | 1124927.6882 | 2562287.3529 | 1124919.8477 | 2562287.3529 | 1124919.8477
71 | 2562286.052 | 1124927.6882 | 2562282.8808 | 1124946.8004 | 2562281.3203 | 1124954.1159
72 | 2562281.3203 | 1124954.1159 | 2562280.801 | 1124956.5505
73 | 2562212.7679 | 1124986.9372 | 2562203.0577 | 1124984.6803
74 | 2562212.7679 | 1124986.9372 | 2562222.6527 | 1124987.3199
75 | 2562212.7679 | 1124986.9372 | 2562208.076 | 1125010.4386
76 | 2562208.076 | 1125010.4386 | 2562207.7417 | 1125012.1133
77 | 2562204.8081 | 1125026.8072 | 2562207.7417 | 1125012.1133
78 | 2562204.8081 | 1125026.8072 | 2562256.7504 | 1125037.0206
79 | 2562152.4137 | 1125015.8189 | 2562177.3601 | 1125020.9873 | 2562204.8081 | 1125026.8072
80 | 2562240.9445 | 1124936.7242 | 2562245.2989 | 1124913.1739 | 2562245.5922 | 1124911.9127
81 | 2562159.5014 | 1124977.0659 | 2562150.9139 | 1124974.7076
82 | 2562159.5014 | 1124977.0659 | 2562168.5616 | 1124977.476
83 | 2562159.5014 | 1124977.0659 | 2562155.1209 | 1125001.0171
84 | 2562155.1209 | 1125001.0171 | 2562154.9932 | 1125001.7152
85 | 2562152.4137 | 1125015.8189 | 2562154.9932 | 1125001.7152
86 | 2562152.4137 | 1125015.8189 | 2562116.612 | 1125008.3179
87 | 2562101.5166 | 1125005.1551 | 2562103.5336 | 1124987.5669 | 2562107.5535 | 1124968.5209
88 | 2562101.5166 | 1125005.1551 | 2562116.612 | 1125008.3179
89 | 2562256.7504 | 1125037.0206 | 2562260.0698 | 1125021.848
90 | 2562265.5612 | 1124992.6542 | 2562264.3822 | 1125000.1209 | 2562261.2169 | 1125016.6046 | 2562260.0698 | 1125021.848

## bus_geodata
| x | y | coords
0 | 2562235.6835 | 1124731.9212
1 | 2562272.661 | 1124740.1861
2 | 2562293.9221 | 1124744.9382
3 | 2562377.5901 | 1124760.3592
4 | 2562293.6194 | 1124662.0112
5 | 2562362.8766 | 1124839.8579
6 | 2562216.8255 | 1124835.2188
7 | 2562225.99 | 1124837.0562
8 | 2562175.5555 | 1124826.6335
9 | 2562179.8104 | 1124814.2783
10 | 2562125.069 | 1124812.8542
11 | 2562110.2583 | 1124841.9731
12 | 2562146.2445 | 1124771.3507
13 | 2562120.4201 | 1124874.1589
14 | 2562136.57 | 1124848.1068
15 | 2562186.694 | 1124691.2506
16 | 2562261.2697 | 1124703.1088
17 | 2562228.6631 | 1124696.6195
18 | 2562188.5046 | 1124687.4039
19 | 2562263.7504 | 1124655.15
20 | 2562289.7867 | 1124679.9825
21 | 2562261.2468 | 1124664.0701
22 | 2562357.6682 | 1124863.7692
23 | 2562304.0987 | 1124828.7982
24 | 2562345.9083 | 1124919.9043
25 | 2562304.5811 | 1124852.5985
26 | 2562204.075 | 1124703.1255
27 | 2562070.7326 | 1124919.9831
28 | 2562123.4514 | 1124930.9725
29 | 2562111.4319 | 1124893.2958
30 | 2562134.9661 | 1124877.1643
31 | 2562327.1654 | 1125010.7451
32 | 2562333.9915 | 1124977.5662
33 | 2562313.1264 | 1125007.4627
34 | 2562318.2556 | 1125049.198
35 | 2562344.8909 | 1124924.8687
36 | 2562338.1419 | 1124957.9475
37 | 2562328.0744 | 1124916.2787
38 | 2562298.2641 | 1125045.2356
39 | 2562296.4217 | 1124827.3537
40 | 2562278.3351 | 1124847.0758
41 | 2562271.2926 | 1125039.8983
42 | 2562300.694 | 1125004.5295
43 | 2562304.3827 | 1124911.4259
44 | 2562277.5628 | 1124823.8052
45 | 2562251.0216 | 1124818.8112
46 | 2562262.0311 | 1124843.6451
47 | 2562169.0612 | 1124871.2143
48 | 2562166.9098 | 1124883.7388
49 | 2562164.2907 | 1124852.0836
50 | 2562145.5369 | 1124879.3484
51 | 2562189.1928 | 1124888.2014
52 | 2562143.8899 | 1124893.4502
53 | 2562208.1747 | 1124892.3735
54 | 2562191.6423 | 1124874.907
55 | 2562143.0389 | 1124896.6932
56 | 2562225.7081 | 1124895.6721
57 | 2562204.1442 | 1124909.5558
58 | 2562194.8811 | 1124857.3279
59 | 2562248.3766 | 1124899.9369
60 | 2562200.0663 | 1124937.7223
61 | 2562290.0956 | 1124908.4915
62 | 2562305.9214 | 1124902.6518
63 | 2562285.9773 | 1124907.647
64 | 2562287.3529 | 1124919.8477
65 | 2562310.4565 | 1124876.7927
66 | 2562259.4698 | 1124902.2116
67 | 2562286.052 | 1124927.6882
68 | 2562281.3203 | 1124954.1159
69 | 2562280.801 | 1124956.5505
70 | 2562203.0577 | 1124984.6803
71 | 2562212.7679 | 1124986.9372
72 | 2562222.6527 | 1124987.3199
73 | 2562208.076 | 1125010.4386
74 | 2562207.7417 | 1125012.1133
75 | 2562204.8081 | 1125026.8072
76 | 2562210.7257 | 1124947.6523
77 | 2562245.5922 | 1124911.9127
78 | 2562150.9139 | 1124974.7076
79 | 2562159.5014 | 1124977.0659
80 | 2562168.5616 | 1124977.476
81 | 2562155.1209 | 1125001.0171
82 | 2562154.9932 | 1125001.7152
83 | 2562152.4137 | 1125015.8189
84 | 2562101.5166 | 1125005.1551
85 | 2562107.5535 | 1124968.5209
86 | 2562116.612 | 1125008.3179
87 | 2562131.5102 | 1124932.6523
88 | 2562256.7504 | 1125037.0206
89 | 2562260.0698 | 1125021.848
90 | 2562240.9445 | 1124936.7242
91 | 2562265.5612 | 1124992.6542
92 | 2562208.1747 | 1124892.3735

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1