## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6153-33_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6153-33_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6153-33_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6153-33_0_8_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6153-33_0_8_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_6153-33_0_8_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6153-33_0_8_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6153-33_0_8_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6153-33_0_8_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6153-33_0_8_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_6153-33_0_8_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6153-33_0_8_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6153-33_0_8_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_6153-33_0_8_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6153-33_0_8_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6153-33_0_8_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6153-33_0_8_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6153-33_0_8_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6153-33_0_8_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_6153-33_0_8_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6153-33_0_8_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6153-33_0_8_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_6153-33_0_8_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6153-33_0_8_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6153-33_0_8_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6153-33_0_8_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_6153-33_0_8_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_6153-33_0_8_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_6153-33_0_8_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_6153-33_0_8_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_6153-33_0_8_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6153-33_0_8_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_6153-33_0_8_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6153-33_0_8_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_6153-33_0_8_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6153-33_0_8_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_6153-33_0_8_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_6153-33_0_8_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_6153-33_0_8_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_6153-33_0_8_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_6153-33_0_8_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_6153-33_0_8_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_6153-33_0_8_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6153-33_0_8_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6153-33_0_8_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_6153-33_0_8_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_6153-33_0_8_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_6153-33_0_8_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_6153-33_0_8_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_6153-33_0_8_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_6153-33_0_8_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_6153-33_0_8_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_6153-33_0_8_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6153-33_0_8_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6153-33_0_8_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_6153-33_0_8_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_6153-33_0_8_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_6153-33_0_8_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_6153-33_0_8_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6153-33_0_8_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_6153-33_0_8_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_6153-33_0_8_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6153-33_0_8_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_6153-33_0_8_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_6153-33_0_8_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_6153-33_0_8_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6153-33_0_8_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_6153-33_0_8_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6153-33_0_8_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_6153-33_0_8_node_69 | 0.4 | n |  | TRUE
70 | bus_MV_270_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6153-33_0_8_load_0 | 0 | 0.027761 | 0.0069575 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6153-33_0_8_load_2 | 3 | 0.0077986 | 0.0019545 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6153-33_0_8_load_9 | 4 | 0.0051037 | 0.0012791 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6153-33_0_8_load_7 | 5 | 0.097492 | 0.024434 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6153-33_0_8_load_6 | 8 | 0.080791 | 0.020248 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6153-33_0_8_load_22 | 9 | 0.07536 | 0.018887 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6153-33_0_8_load_20 | 10 | 0.0047439 | 0.0011889 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6153-33_0_8_load_8 | 11 | 0.0060251 | 0.00151 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6153-33_0_8_load_21 | 12 | 0.01661 | 0.0041628 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6153-33_0_8_load_12 | 15 | 0.0058636 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6153-33_0_8_load_15 | 16 | 0.0042541 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6153-33_0_8_load_13 | 17 | 0.0043853 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6153-33_0_8_load_14 | 20 | 0.0062689 | 0.0015711 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6153-33_0_8_load_24 | 21 | 0.0073026 | 0.0018302 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6153-33_0_8_load_16 | 24 | 0.0073077 | 0.0018315 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6153-33_0_8_load_40 | 26 | 0.0066293 | 0.0016615 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6153-33_0_8_load_36 | 27 | 0.0044493 | 0.0011151 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6153-33_0_8_load_41 | 28 | 0.0068294 | 0.0017116 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6153-33_0_8_load_65 | 29 | 0.0046424 | 0.0011635 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6153-33_0_8_load_25 | 30 | 0.0058586 | 0.0014683 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6153-33_0_8_load_26 | 31 | 0.0061755 | 0.0015477 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6153-33_0_8_load_28 | 32 | 0.0040286 | 0.0010097 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6153-33_0_8_load_54 | 36 | 0.0027558 | 0.00069068 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6153-33_0_8_load_48 | 37 | 0.0061715 | 0.0015467 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6153-33_0_8_load_39 | 39 | 0.0043888 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6153-33_0_8_load_53 | 40 | 0.0099371 | 0.0024905 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6153-33_0_8_load_30 | 41 | 0.0048571 | 0.0012173 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6153-33_0_8_load_31 | 42 | 0.0085518 | 0.0021433 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6153-33_0_8_load_56 | 47 | 0.0032227 | 0.00080768 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6153-33_0_8_load_67 | 48 | 0.0062802 | 0.001574 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6153-33_0_8_load_66 | 49 | 0.011429 | 0.0028644 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6153-33_0_8_load_68 | 50 | 0.0061903 | 0.0015514 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6153-33_0_8_load_37 | 52 | 0.0060478 | 0.0015157 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6153-33_0_8_load_43 | 53 | 0.0087285 | 0.0021876 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6153-33_0_8_load_44 | 54 | 0.0066795 | 0.001674 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6153-33_0_8_load_49 | 56 | 0.007255 | 0.0018183 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6153-33_0_8_load_52 | 59 | 0.0037936 | 0.00095077 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6153-33_0_8_load_55 | 60 | 0.0089629 | 0.0022463 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6153-33_0_8_load_60 | 64 | 0.0074625 | 0.0018703 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6153-33_0_8_load_62 | 65 | 0.030148 | 0.0075559 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6153-33_0_8_load_70 | 68 | 0.011635 | 0.002916 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6153-33_0_8_load_69 | 69 | 0.0063926 | 0.0016021 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6153-33_0_8_line_0 |  | 0 | 1 | 0.011676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6153-33_0_8_line_1 |  | 1 | 2 | 0.026195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6153-33_0_8_line_2 |  | 2 | 5 | 0.070874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6153-33_0_8_line_3 |  | 2 | 6 | 0.10868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6153-33_0_8_line_4 |  | 2 | 7 | 0.071561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6153-33_0_8_line_5 |  | 2 | 8 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6153-33_0_8_line_6 |  | 3 | 4 | 0.044073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6153-33_0_8_line_7 |  | 4 | 11 | 0.0088656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6153-33_0_8_line_8 |  | 6 | 9 | 0.050715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6153-33_0_8_line_9 |  | 7 | 10 | 0.067102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6153-33_0_8_line_10 |  | 10 | 12 | 0.019056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6153-33_0_8_line_11 |  | 11 | 13 | 0.018134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6153-33_0_8_line_12 |  | 12 | 22 | 0.024466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6153-33_0_8_line_13 |  | 13 | 14 | 0.025082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6153-33_0_8_line_14 |  | 13 | 15 | 0.044796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6153-33_0_8_line_15 |  | 14 | 16 | 0.0089631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6153-33_0_8_line_16 |  | 14 | 17 | 0.0070252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6153-33_0_8_line_17 |  | 15 | 18 | 0.016218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6153-33_0_8_line_18 |  | 16 | 19 | 0.030441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6153-33_0_8_line_19 |  | 17 | 20 | 0.025004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6153-33_0_8_line_20 |  | 18 | 21 | 0.020673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6153-33_0_8_line_21 |  | 19 | 22 | 0.0047364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6153-33_0_8_line_22 |  | 19 | 23 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6153-33_0_8_line_23 |  | 19 | 24 | 0.036896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6153-33_0_8_line_24 |  | 21 | 29 | 0.01949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6153-33_0_8_line_25 |  | 23 | 25 | 0.014781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6153-33_0_8_line_26 |  | 23 | 26 | 0.038476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6153-33_0_8_line_27 |  | 25 | 27 | 0.027159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6153-33_0_8_line_28 |  | 26 | 28 | 0.010522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6153-33_0_8_line_29 |  | 27 | 52 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6153-33_0_8_line_30 |  | 30 | 31 | 0.0034269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6153-33_0_8_line_31 |  | 31 | 32 | 0.03242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6153-33_0_8_line_32 |  | 32 | 33 | 0.027873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6153-33_0_8_line_33 |  | 33 | 37 | 0.079861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6153-33_0_8_line_34 |  | 33 | 38 | 0.028454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6153-33_0_8_line_35 |  | 34 | 35 | 0.08051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6153-33_0_8_line_36 |  | 34 | 36 | 0.01923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6153-33_0_8_line_37 |  | 35 | 39 | 0.11591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6153-33_0_8_line_38 |  | 36 | 40 | 0.025375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6153-33_0_8_line_39 |  | 37 | 45 | 0.0027253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6153-33_0_8_line_40 |  | 38 | 56 | 0.014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6153-33_0_8_line_41 |  | 38 | 55 | 0.015321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6153-33_0_8_line_42 |  | 39 | 52 | 0.033577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6153-33_0_8_line_43 |  | 40 | 58 | 0.0049046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6153-33_0_8_line_44 |  | 41 | 42 | 0.11484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6153-33_0_8_line_45 |  | 41 | 43 | 0.070065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6153-33_0_8_line_46 |  | 42 | 44 | 0.074337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6153-33_0_8_line_47 |  | 43 | 45 | 0.008499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6153-33_0_8_line_48 |  | 43 | 46 | 0.077844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6153-33_0_8_line_49 |  | 44 | 47 | 0.090102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6153-33_0_8_line_50 |  | 45 | 48 | 0.044447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6153-33_0_8_line_51 |  | 46 | 49 | 0.036053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6153-33_0_8_line_52 |  | 48 | 50 | 0.009262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6153-33_0_8_line_53 |  | 49 | 51 | 0.069028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6153-33_0_8_line_54 |  | 50 | 69 | 0.0062238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6153-33_0_8_line_55 |  | 51 | 61 | 0.066353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6153-33_0_8_line_56 |  | 53 | 54 | 0.0074158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6153-33_0_8_line_57 |  | 53 | 55 | 0.016167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6153-33_0_8_line_58 |  | 56 | 57 | 0.010437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6153-33_0_8_line_59 |  | 57 | 58 | 0.02394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6153-33_0_8_line_60 |  | 57 | 59 | 0.020234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6153-33_0_8_line_61 |  | 58 | 60 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6153-33_0_8_line_62 |  | 61 | 62 | 0.13529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6153-33_0_8_line_63 |  | 62 | 63 | 0.092555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6153-33_0_8_line_64 |  | 62 | 64 | 0.018438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6153-33_0_8_line_65 |  | 63 | 65 | 0.094721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6153-33_0_8_line_66 |  | 65 | 66 | 0.090958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6153-33_0_8_line_67 |  | 66 | 67 | 0.031632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6153-33_0_8_line_68 |  | 67 | 68 | 0.096193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6153-33_0_8_trafo_20 | 0.63 MVA 20/0.4 kV | 70 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2561871.6821 | 1122227.7707 | 2561869.0057 | 1122232.6122 | 2561868.0503 | 1122236.4202 | 2561867.458 | 1122238.5578
1 | 2561871.6821 | 1122227.7707 | 2561875.4128 | 1122227.4581 | 2561881.95 | 1122227.0499 | 2561886.0843 | 1122227.135 | 2561891.4493 | 1122226.7231 | 2561895.697 | 1122227.6857 | 2561897.4099 | 1122226.5965
2 | 2561897.4099 | 1122226.5965 | 2561893.3352 | 1122223.7208 | 2561893.3297 | 1122219.1852 | 2561893.6962 | 1122208.8332 | 2561894.2314 | 1122201.993 | 2561895.6684 | 1122184.0637 | 2561895.7426 | 1122179.9389 | 2561894.4518 | 1122178.2684 | 2561890.0951 | 1122175.9392 | 2561886.8414 | 1122176.0598 | 2561883.9902 | 1122177.6564 | 2561882.4297 | 1122180.9012 | 2561882.729 | 1122185.7355
3 | 2561959.2231 | 1122185.0968 | 2561944.2218 | 1122187.3702 | 2561935.4383 | 1122189.9158 | 2561929.9045 | 1122194.1417 | 2561926.8511 | 1122199.1302 | 2561925.624 | 1122203.8737 | 2561923.7218 | 1122212.8569 | 2561920.0644 | 1122235.7916 | 2561898.329 | 1122235.3507 | 2561895.6304 | 1122235.4567 | 2561895.697 | 1122227.6857 | 2561897.4099 | 1122226.5965
4 | 2561892.7087 | 1122296.7063 | 2561892.3771 | 1122291.8281 | 2561891.6731 | 1122282.928 | 2561892.8188 | 1122271.4038 | 2561895.8225 | 1122259.7678 | 2561896.0095 | 1122251.5291 | 2561895.969 | 1122246.3379 | 2561896.2106 | 1122243.068 | 2561895.6304 | 1122235.4567 | 2561895.697 | 1122227.6857 | 2561897.4099 | 1122226.5965
5 | 2561897.4099 | 1122226.5965 | 2561897.8729 | 1122218.0782 | 2561899.0004 | 1122210.9897
6 | 2561806.9679 | 1122236.7876 | 2561787.6306 | 1122239.1634 | 2561777.0831 | 1122242.0205 | 2561778.6724 | 1122246.9796 | 2561777.5944 | 1122248.465 | 2561771.0168 | 1122249.2138
7 | 2561771.0168 | 1122249.2138 | 2561764.9788 | 1122249.9011 | 2561762.7089 | 1122248.2814
8 | 2561959.2231 | 1122185.0968 | 2561959.6955 | 1122176.8452 | 2561960.8675 | 1122176.8155 | 2561961.2476 | 1122171.0436 | 2561925.9618 | 1122167.2144
9 | 2561892.7087 | 1122296.7063 | 2561878.8711 | 1122298.7836 | 2561866.466 | 1122300.5628 | 2561851.5877 | 1122302.7134 | 2561844.0461 | 1122304.0507 | 2561842.7039 | 1122304.0147 | 2561841.6686 | 1122303.71 | 2561841.3985 | 1122302.4666 | 2561841.3397 | 1122301.6999 | 2561839.7893 | 1122301.6541 | 2561837.1099 | 1122302.3492 | 2561828.3254 | 1122303.4831 | 2561828.0801 | 1122303.4991
10 | 2561809.1558 | 1122303.6044 | 2561809.239 | 1122303.6039 | 2561811.3086 | 1122304.0577 | 2561814.2115 | 1122304.5507 | 2561818.7048 | 1122304.1109 | 2561828.0801 | 1122303.4991
11 | 2561747.3134 | 1122254.0151 | 2561752.5204 | 1122254.2267 | 2561757.5319 | 1122251.5825 | 2561762.5754 | 1122250.3388 | 2561762.7089 | 1122248.2814
12 | 2561784.8995 | 1122304.7585 | 2561789.2915 | 1122305.3754 | 2561794.1004 | 1122304.8336 | 2561797.0478 | 1122305.0706 | 2561805.2057 | 1122303.6294 | 2561809.1558 | 1122303.6044
13 | 2561764.3505 | 1122272.461 | 2561762.7346 | 1122270.5925 | 2561753.4713 | 1122260.6795 | 2561747.3134 | 1122254.0151
14 | 2561747.3134 | 1122254.0151 | 2561745.341 | 1122251.8821 | 2561737.5396 | 1122243.883 | 2561726.7962 | 1122230.4332 | 2561719.8446 | 1122218.8571
15 | 2561764.3505 | 1122272.461 | 2561770.2161 | 1122279.2384
16 | 2561764.3505 | 1122272.461 | 2561761.7831 | 1122276.2236 | 2561762.2766 | 1122278.644
17 | 2561711.0122 | 1122205.3205 | 2561712.9299 | 1122207.3427 | 2561719.8446 | 1122218.8571
18 | 2561782.531 | 1122307.0635 | 2561781.0327 | 1122304.2827 | 2561776.7646 | 1122294.0045 | 2561770.2161 | 1122279.2384
19 | 2561760.4888 | 1122301.9894 | 2561762.0833 | 1122299.2446 | 2561764.1671 | 1122295.8519 | 2561765.1117 | 1122292.7888 | 2561764.9253 | 1122288.9213 | 2561764.7358 | 1122284.5759 | 2561762.2766 | 1122278.644
20 | 2561711.0122 | 1122205.3205 | 2561709.3864 | 1122206.7649 | 2561704.2884 | 1122217.6694 | 2561703.6808 | 1122220.3524 | 2561704.3287 | 1122224.0057
21 | 2561784.8995 | 1122304.7585 | 2561784.9102 | 1122306.4592 | 2561782.8432 | 1122307.6396 | 2561782.531 | 1122307.0635
22 | 2561782.531 | 1122307.0635 | 2561782.8432 | 1122307.6396 | 2561788.2197 | 1122317.5884 | 2561790.4594 | 1122320.5202
23 | 2561782.531 | 1122307.0635 | 2561781.2106 | 1122308.0057 | 2561780.9828 | 1122308.5741 | 2561780.963 | 1122309.0967 | 2561781.1151 | 1122312.4196 | 2561781.3789 | 1122321.2002 | 2561781.1399 | 1122324.8591 | 2561780.4311 | 1122327.3982 | 2561779.671 | 1122329.1484 | 2561778.2319 | 1122330.8584 | 2561772.0983 | 1122334.0988 | 2561767.9664 | 1122336.2193
24 | 2561712.1459 | 1122241.7985 | 2561710.775 | 1122237.216 | 2561707.6226 | 1122230.2213 | 2561704.3287 | 1122224.0057
25 | 2561790.4594 | 1122320.5202 | 2561795.2183 | 1122326.7154 | 2561800.0088 | 1122331.7988
26 | 2561790.4594 | 1122320.5202 | 2561789.0338 | 1122321.9188 | 2561789.0542 | 1122325.1425 | 2561789.8899 | 1122330.451 | 2561791.0713 | 1122338.0029 | 2561790.2983 | 1122343.7997 | 2561788.0693 | 1122348.6385 | 2561784.8673 | 1122352.0382 | 2561781.3285 | 1122354.6397
27 | 2561800.0088 | 1122331.7988 | 2561801.5538 | 1122333.4343 | 2561813.5619 | 1122342.0516 | 2561820.7788 | 1122349.1583
28 | 2561772.9693 | 1122360.8069 | 2561776.1791 | 1122357.4071 | 2561781.3285 | 1122354.6397
29 | 2561820.7788 | 1122349.1583 | 2561824.7678 | 1122353.0863 | 2561828.6711 | 1122357.1379
30 | 2561785.1983 | 1122497.4385 | 2561784.3324 | 1122494.1228
31 | 2561773.3719 | 1122463.7737 | 2561775.4209 | 1122467.8235 | 2561779.1781 | 1122475.3702 | 2561781.3215 | 1122482.5937 | 2561784.3324 | 1122494.1228
32 | 2561762.6405 | 1122438.3006 | 2561762.8218 | 1122441.3565 | 2561764.6281 | 1122446.4922 | 2561773.3719 | 1122463.7737
33 | 2561762.6405 | 1122438.3006 | 2561754.8974 | 1122434.5811 | 2561740.0604 | 1122423.7251 | 2561735.892 | 1122417.0259 | 2561729.725 | 1122406.4707 | 2561726.0902 | 1122402.4251 | 2561720.3629 | 1122397.9702 | 2561716.2557 | 1122388.7582 | 2561715.3558 | 1122380.6376 | 2561714.8281 | 1122378.8956
34 | 2561789.9837 | 1122431.7464 | 2561770.2093 | 1122435.1955 | 2561764.7258 | 1122436.353 | 2561762.6405 | 1122438.3006
35 | 2561879.7639 | 1122462.0942 | 2561886.4973 | 1122461.029 | 2561888.3067 | 1122460.5729 | 2561893.45 | 1122459.2842 | 2561900.1729 | 1122457.7632 | 2561908.9733 | 1122459.1862 | 2561922.2326 | 1122462.0595 | 2561927.0291 | 1122462.0293 | 2561928.5142 | 1122461.5085 | 2561931.3614 | 1122460.5234 | 2561936.3643 | 1122457.7571 | 2561941.1422 | 1122454.7699 | 2561944.9953 | 1122450.6436 | 2561947.8198 | 1122446.079 | 2561949.1796 | 1122444.0249 | 2561950.1492 | 1122441.2507
36 | 2561879.7639 | 1122462.0942 | 2561875.3144 | 1122462.1223 | 2561865.4876 | 1122460.5947 | 2561860.7603 | 1122459.5773
37 | 2561950.1492 | 1122441.2507 | 2561936.2131 | 1122436.2249 | 2561920.3261 | 1122426.3534 | 2561891.7867 | 1122405.9342 | 2561881.2374 | 1122397.4743 | 2561873.4496 | 1122391.5649 | 2561869.5585 | 1122389.6552 | 2561864.0644 | 1122387.9224 | 2561852.7226 | 1122382.2022 | 2561851.822 | 1122381.3976
38 | 2561836.0146 | 1122453.966 | 2561852.6917 | 1122457.8408 | 2561860.7603 | 1122459.5773
39 | 2561712.2619 | 1122377.9781 | 2561714.8281 | 1122378.8956
40 | 2561789.9837 | 1122431.7464 | 2561801.8334 | 1122432.4162 | 2561804.4653 | 1122432.8662
41 | 2561786.1728 | 1122416.9296 | 2561789.033 | 1122426.5275 | 2561789.9837 | 1122431.7464
42 | 2561851.822 | 1122381.3976 | 2561845.7424 | 1122375.9654 | 2561836.6373 | 1122365.4065 | 2561828.6711 | 1122357.1379
43 | 2561831.3048 | 1122452.6289 | 2561833.129 | 1122453.2955 | 2561836.0146 | 1122453.966
44 | 2561731.0975 | 1122452.6602 | 2561734.9262 | 1122461.7214 | 2561737.8778 | 1122468.7062 | 2561749.6737 | 1122499.8473 | 2561756.1359 | 1122526.5644 | 2561759.2761 | 1122551.157 | 2561761.5026 | 1122562.7832
45 | 2561710.6788 | 1122386.1367 | 2561714.4632 | 1122408.9021 | 2561719.5577 | 1122427.8683 | 2561729.8058 | 1122449.6033 | 2561731.0975 | 1122452.6602
46 | 2561749.2858 | 1122632.0836 | 2561758.5758 | 1122623.1758 | 2561763.588 | 1122603.6564 | 2561765.4687 | 1122586.4579 | 2561764.0774 | 1122576.2282 | 2561761.5026 | 1122562.7832
47 | 2561710.6788 | 1122386.1367 | 2561712.4694 | 1122381.5008 | 2561712.2619 | 1122377.9781
48 | 2561710.6788 | 1122386.1367 | 2561702.9325 | 1122367.3541 | 2561690.3067 | 1122335.5514 | 2561685.0474 | 1122316.1638 | 2561684.2101 | 1122313.0453
49 | 2561749.2858 | 1122632.0836 | 2561750.0016 | 1122628.2105 | 2561752.083 | 1122612.2781 | 2561752.7994 | 1122607.2932 | 2561754.9936 | 1122592.1161 | 2561755.315 | 1122574.6941 | 2561754.3388 | 1122555.7351 | 2561751.7125 | 1122542.681
50 | 2561712.2619 | 1122377.9781 | 2561711.709 | 1122368.6213 | 2561707.8533 | 1122352.8599 | 2561706.0692 | 1122339.0865 | 2561706.8724 | 1122335.613 | 2561707.7036 | 1122336.7317
51 | 2561684.2101 | 1122313.0453 | 2561676.8491 | 1122285.7337 | 2561674.5403 | 1122278.3183
52 | 2561707.7036 | 1122336.7317 | 2561710.0537 | 1122339.895 | 2561711.6109 | 1122344.9833
53 | 2561639.4725 | 1122219.5707 | 2561654.8988 | 1122239.3161 | 2561670.1337 | 1122264.1653 | 2561674.5403 | 1122278.3183
54 | 2561713.4322 | 1122350.9347 | 2561711.6109 | 1122344.9833
55 | 2561639.4725 | 1122219.5707 | 2561639.0338 | 1122222.1415 | 2561640.5703 | 1122226.0559 | 2561647.766 | 1122237.0269 | 2561659.6938 | 1122254.8046 | 2561663.1888 | 1122261.0967 | 2561665.0946 | 1122266.0983 | 2561664.9935 | 1122269.6007 | 2561662.901 | 1122272.849 | 2561658.7558 | 1122275.8769
56 | 2561767.1501 | 1122405.1552 | 2561773.1992 | 1122405.6282 | 2561774.391 | 1122406.2587
57 | 2561786.1728 | 1122416.9296 | 2561780.3658 | 1122412.0639 | 2561777.664 | 1122407.99 | 2561774.391 | 1122406.2587
58 | 2561813.5167 | 1122437.2781 | 2561812.0263 | 1122435.7311 | 2561809.1058 | 1122433.6597 | 2561804.4653 | 1122432.8662
59 | 2561831.3048 | 1122452.6289 | 2561826.6515 | 1122450.9241 | 2561822.2721 | 1122447.4167 | 2561817.7165 | 1122441.6537 | 2561813.5167 | 1122437.2781
60 | 2561813.5167 | 1122437.2781 | 2561811.8707 | 1122441.624 | 2561812.321 | 1122457.2045
61 | 2561831.3048 | 1122452.6289 | 2561829.5044 | 1122461.8228 | 2561828.9502 | 1122464.4387 | 2561828.5082 | 1122466.487
62 | 2561613.349 | 1122276.1544 | 2561614.7757 | 1122276.1453 | 2561617.3051 | 1122274.9175 | 2561618.8198 | 1122272.9847 | 2561620.0202 | 1122270.1423 | 2561619.679 | 1122264.9863 | 2561618.9367 | 1122259.8328 | 2561617.3769 | 1122254.6846 | 2561613.7458 | 1122246.3923 | 2561608.8092 | 1122236.552 | 2561606.4828 | 1122232.1312 | 2561606.5979 | 1122228.4064 | 2561608.0159 | 1122225.8183 | 2561609.2988 | 1122223.8091 | 2561613.6182 | 1122221.4916 | 2561628.6654 | 1122238.6046 | 2561637.474 | 1122248.5315 | 2561643.2998 | 1122255.0978 | 2561648.3868 | 1122261.9023 | 2561656.0483 | 1122272.1588 | 2561658.7558 | 1122275.8769
63 | 2561586.5942 | 1122268.6096 | 2561585.4883 | 1122268.1386 | 2561584.6451 | 1122262.8858 | 2561583.7987 | 1122257.1216 | 2561582.9445 | 1122251.3574 | 2561582.2041 | 1122246.5041 | 2561581.4766 | 1122243.674 | 2561581.4611 | 1122241.2506 | 2561582.2554 | 1122238.8221 | 2561584.9853 | 1122236.3701 | 2561592.0808 | 1122235.2133 | 2561593.708 | 1122235.2029 | 2561596.4502 | 1122235.897 | 2561599.4076 | 1122237.6902 | 2561602.175 | 1122242.3305 | 2561605.1524 | 1122247.2696 | 2561607.1422 | 1122256.973 | 2561608.1171 | 1122265.9714 | 2561608.7598 | 1122271.2255 | 2561610.1004 | 1122274.6632 | 2561612.439 | 1122276.1602 | 2561613.349 | 1122276.1544
64 | 2561613.349 | 1122276.1544 | 2561613.5496 | 1122282.234 | 2561614.1339 | 1122284.3758 | 2561619.1956 | 1122293.1562
65 | 2561586.5942 | 1122268.6096 | 2561584.6493 | 1122275.6589 | 2561583.8148 | 1122280.2443 | 2561583.5631 | 1122285.5375 | 2561584.0277 | 1122290.6816 | 2561587.8286 | 1122301.3962 | 2561592.4871 | 1122312.3833 | 2561597.7464 | 1122325.6566 | 2561602.4167 | 1122338.5001 | 2561608.2298 | 1122358.7185
66 | 2561651.6083 | 1122435.1032 | 2561649.1598 | 1122434.5073 | 2561645.2861 | 1122431.7083 | 2561642.9193 | 1122426.9654 | 2561632.4712 | 1122395.6603 | 2561624.0194 | 1122387.2319 | 2561615.3673 | 1122378.8605 | 2561609.5855 | 1122363.4338 | 2561608.2298 | 1122358.7185
67 | 2561651.6083 | 1122435.1032 | 2561654.8523 | 1122435.8941 | 2561656.5413 | 1122435.9167 | 2561660.4361 | 1122435.9587 | 2561664.3876 | 1122435.2221 | 2561668.6405 | 1122433.3719 | 2561671.1634 | 1122431.1325 | 2561673.0689 | 1122427.5853 | 2561673.651 | 1122423.3239 | 2561673.3663 | 1122420.9912
68 | 2561704.518 | 1122509.0382 | 2561702.0958 | 1122501.6387 | 2561702.1593 | 1122499.4928 | 2561702.2865 | 1122496.4349 | 2561701.5672 | 1122491.2479 | 2561699.9113 | 1122484.2993 | 2561697.3325 | 1122476.5229 | 2561693.9699 | 1122466.7615 | 2561691.7877 | 1122460.7278 | 2561688.4449 | 1122452.8783 | 2561685.0814 | 1122442.9724 | 2561680.0662 | 1122425.5732 | 2561679.1267 | 1122423.3669 | 2561676.9722 | 1122421.6909 | 2561673.3663 | 1122420.9912

## bus_geodata
| x | y | coords
0 | 2561867.458 | 1122238.5578
1 | 2561871.6821 | 1122227.7707
2 | 2561897.4099 | 1122226.5965
3 | 2561806.9679 | 1122236.7876
4 | 2561771.0168 | 1122249.2138
5 | 2561882.729 | 1122185.7355
6 | 2561959.2231 | 1122185.0968
7 | 2561892.7087 | 1122296.7063
8 | 2561899.0004 | 1122210.9897
9 | 2561925.9618 | 1122167.2144
10 | 2561828.0801 | 1122303.4991
11 | 2561762.7089 | 1122248.2814
12 | 2561809.1558 | 1122303.6044
13 | 2561747.3134 | 1122254.0151
14 | 2561764.3505 | 1122272.461
15 | 2561719.8446 | 1122218.8571
16 | 2561770.2161 | 1122279.2384
17 | 2561762.2766 | 1122278.644
18 | 2561711.0122 | 1122205.3205
19 | 2561782.531 | 1122307.0635
20 | 2561760.4888 | 1122301.9894
21 | 2561704.3287 | 1122224.0057
22 | 2561784.8995 | 1122304.7585
23 | 2561790.4594 | 1122320.5202
24 | 2561767.9664 | 1122336.2193
25 | 2561800.0088 | 1122331.7988
26 | 2561781.3285 | 1122354.6397
27 | 2561820.7788 | 1122349.1583
28 | 2561772.9693 | 1122360.8069
29 | 2561712.1459 | 1122241.7985
30 | 2561785.1983 | 1122497.4385
31 | 2561784.3324 | 1122494.1228
32 | 2561773.3719 | 1122463.7737
33 | 2561762.6405 | 1122438.3006
34 | 2561879.7639 | 1122462.0942
35 | 2561950.1492 | 1122441.2507
36 | 2561860.7603 | 1122459.5773
37 | 2561714.8281 | 1122378.8956
38 | 2561789.9837 | 1122431.7464
39 | 2561851.822 | 1122381.3976
40 | 2561836.0146 | 1122453.966
41 | 2561731.0975 | 1122452.6602
42 | 2561761.5026 | 1122562.7832
43 | 2561710.6788 | 1122386.1367
44 | 2561749.2858 | 1122632.0836
45 | 2561712.2619 | 1122377.9781
46 | 2561684.2101 | 1122313.0453
47 | 2561751.7125 | 1122542.681
48 | 2561707.7036 | 1122336.7317
49 | 2561674.5403 | 1122278.3183
50 | 2561711.6109 | 1122344.9833
51 | 2561639.4725 | 1122219.5707
52 | 2561828.6711 | 1122357.1379
53 | 2561774.391 | 1122406.2587
54 | 2561767.1501 | 1122405.1552
55 | 2561786.1728 | 1122416.9296
56 | 2561804.4653 | 1122432.8662
57 | 2561813.5167 | 1122437.2781
58 | 2561831.3048 | 1122452.6289
59 | 2561812.321 | 1122457.2045
60 | 2561828.5082 | 1122466.487
61 | 2561658.7558 | 1122275.8769
62 | 2561613.349 | 1122276.1544
63 | 2561586.5942 | 1122268.6096
64 | 2561619.1956 | 1122293.1562
65 | 2561608.2298 | 1122358.7185
66 | 2561651.6083 | 1122435.1032
67 | 2561673.3663 | 1122420.9912
68 | 2561704.518 | 1122509.0382
69 | 2561713.4322 | 1122350.9347
70 | 2561784.8995 | 1122304.7585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1