## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6153-70_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6153-70_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6153-70_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6153-70_0_4_node_76 | 0.4 | n |  | TRUE
4 | bus_LV_6153-70_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6153-70_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6153-70_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6153-70_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6153-70_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_6153-70_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6153-70_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6153-70_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6153-70_0_4_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_6153-70_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6153-70_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6153-70_0_4_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_6153-70_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_6153-70_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6153-70_0_4_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_6153-70_0_4_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_6153-70_0_4_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_6153-70_0_4_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_6153-70_0_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_6153-70_0_4_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_6153-70_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6153-70_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6153-70_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6153-70_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6153-70_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6153-70_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6153-70_0_4_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_6153-70_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_6153-70_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_6153-70_0_4_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_6153-70_0_4_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_6153-70_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_6153-70_0_4_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_6153-70_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_6153-70_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_6153-70_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_6153-70_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_6153-70_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_6153-70_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6153-70_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6153-70_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6153-70_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6153-70_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_6153-70_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_6153-70_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_6153-70_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6153-70_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_6153-70_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_6153-70_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_6153-70_0_4_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6153-70_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6153-70_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6153-70_0_4_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6153-70_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6153-70_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6153-70_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6153-70_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6153-70_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_6153-70_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6153-70_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6153-70_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_6153-70_0_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_6153-70_0_4_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_6153-70_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_6153-70_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_6153-70_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_6153-70_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_6153-70_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_6153-70_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_6153-70_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_6153-70_0_4_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_6153-70_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_6153-70_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_6153-70_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_MV_204_1_node_216 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6153-70_0_4_load_0 | 0 | 0.0024912 | 0.00062435 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6153-70_0_4_load_1 | 1 | 0.0020847 | 0.00052249 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6153-70_0_4_load_76 | 3 | 0.002825 | 0.00070802 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6153-70_0_4_load_5 | 6 | 0.0017492 | 0.00043839 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6153-70_0_4_load_12 | 7 | 0.0082961 | 0.0020792 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6153-70_0_4_load_13 | 8 | 0.0032701 | 0.00081955 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6153-70_0_4_load_9 | 10 | 0.0016391 | 0.00041079 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6153-70_0_4_load_14 | 11 | 0.001846 | 0.00046264 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6153-70_0_4_load_51 | 12 | 0.0013875 | 0.00034775 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6153-70_0_4_load_6 | 13 | 0.0023979 | 0.00060096 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6153-70_0_4_load_66 | 15 | 0.0031228 | 0.00078265 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6153-70_0_4_load_7 | 16 | 0.001779 | 0.00044585 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6153-70_0_4_load_11 | 17 | 0.0018447 | 0.00046233 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6153-70_0_4_load_73 | 20 | 0.0019907 | 0.00049892 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6153-70_0_4_load_65 | 22 | 0.0036821 | 0.00092282 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6153-70_0_4_load_72 | 23 | 0.0025495 | 0.00063898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6153-70_0_4_load_15 | 24 | 0.0011956 | 0.00029965 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6153-70_0_4_load_16 | 25 | 0.0012137 | 0.00030419 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6153-70_0_4_load_18 | 27 | 0.0017465 | 0.00043771 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6153-70_0_4_load_20 | 29 | 0.00098193 | 0.0002461 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6153-70_0_4_load_43 | 32 | 0.00096238 | 0.0002412 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6153-70_0_4_load_63 | 33 | 0.0042646 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6153-70_0_4_load_41 | 35 | 0.0012568 | 0.00031498 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6153-70_0_4_load_77 | 36 | 0.0009747 | 0.00024428 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6153-70_0_4_load_44 | 37 | 0.0018467 | 0.00046281 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6153-70_0_4_load_21 | 39 | 0.0048233 | 0.0012088 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6153-70_0_4_load_22 | 40 | 0.0026884 | 0.00067377 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6153-70_0_4_load_23 | 41 | 0.0029942 | 0.00075043 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6153-70_0_4_load_24 | 42 | 0.0029871 | 0.00074863 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6153-70_0_4_load_25 | 43 | 0.0047596 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6153-70_0_4_load_26 | 44 | 0.0023806 | 0.00059665 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6153-70_0_4_load_35 | 45 | 0.0030642 | 0.00076797 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6153-70_0_4_load_27 | 46 | 0.0022926 | 0.00057458 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6153-70_0_4_load_36 | 47 | 0.0033295 | 0.00083445 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6153-70_0_4_load_28 | 48 | 0.0035983 | 0.00090182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6153-70_0_4_load_42 | 49 | 0.0026587 | 0.00066633 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6153-70_0_4_load_52 | 50 | 0.0033716 | 0.000845 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6153-70_0_4_load_60 | 51 | 0.0051635 | 0.0012941 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6153-70_0_4_load_29 | 52 | 0.0008708 | 0.00021824 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6153-70_0_4_load_30 | 53 | 0.00087339 | 0.00021889 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6153-70_0_4_load_32 | 55 | 0.0012719 | 0.00031876 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6153-70_0_4_load_33 | 56 | 0.00080839 | 0.0002026 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6153-70_0_4_load_34 | 57 | 0.00094304 | 0.00023635 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6153-70_0_4_load_49 | 59 | 0.0028073 | 0.00070357 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6153-70_0_4_load_46 | 60 | 0.0016225 | 0.00040663 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6153-70_0_4_load_54 | 64 | 0.0021288 | 0.00053353 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6153-70_0_4_load_75 | 65 | 0.0019539 | 0.00048969 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6153-70_0_4_load_39 | 66 | 0.0011998 | 0.0003007 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6153-70_0_4_load_40 | 67 | 0.001549 | 0.00038822 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6153-70_0_4_load_59 | 68 | 0.0018166 | 0.00045528 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6153-70_0_4_load_48 | 69 | 0.0028771 | 0.00072107 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6153-70_0_4_load_74 | 70 | 0.0094214 | 0.0023612 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6153-70_0_4_load_62 | 71 | 0.00063484 | 0.00015911 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6153-70_0_4_load_69 | 72 | 0.0024457 | 0.00061294 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6153-70_0_4_load_61 | 73 | 0.0072025 | 0.0018051 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6153-70_0_4_load_56 | 74 | 0.0024849 | 0.00062279 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6153-70_0_4_load_64 | 75 | 0.0044385 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6153-70_0_4_load_71 | 76 | 0.0014177 | 0.00035532 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6153-70_0_4_line_0 |  | 0 | 1 | 0.039401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6153-70_0_4_line_1 |  | 0 | 2 | 0.068482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6153-70_0_4_line_2 |  | 0 | 3 | 0.096349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6153-70_0_4_line_3 |  | 1 | 4 | 0.016758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6153-70_0_4_line_4 |  | 2 | 5 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6153-70_0_4_line_5 |  | 2 | 6 | 0.013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6153-70_0_4_line_6 |  | 4 | 7 | 0.033816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6153-70_0_4_line_7 |  | 4 | 8 | 0.060915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6153-70_0_4_line_8 |  | 5 | 9 | 0.045388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6153-70_0_4_line_9 |  | 5 | 10 | 0.02559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6153-70_0_4_line_10 |  | 6 | 11 | 0.015824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6153-70_0_4_line_11 |  | 8 | 12 | 0.0071403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6153-70_0_4_line_12 |  | 9 | 13 | 0.032886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6153-70_0_4_line_13 |  | 10 | 14 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6153-70_0_4_line_14 |  | 11 | 15 | 0.057891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6153-70_0_4_line_15 |  | 12 | 21 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6153-70_0_4_line_16 |  | 13 | 16 | 0.0069927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6153-70_0_4_line_17 |  | 14 | 17 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6153-70_0_4_line_18 |  | 15 | 22 | 0.0024208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6153-70_0_4_line_19 |  | 17 | 18 | 0.072876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6153-70_0_4_line_20 |  | 18 | 19 | 0.069439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6153-70_0_4_line_21 |  | 19 | 20 | 0.056442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6153-70_0_4_line_22 |  | 20 | 23 | 0.036959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6153-70_0_4_line_23 |  | 21 | 56 | 0.047786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6153-70_0_4_line_24 |  | 24 | 25 | 0.0047315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6153-70_0_4_line_25 |  | 24 | 26 | 0.016305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6153-70_0_4_line_26 |  | 25 | 27 | 0.030211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6153-70_0_4_line_27 |  | 26 | 28 | 0.013979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6153-70_0_4_line_28 |  | 26 | 29 | 0.050592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6153-70_0_4_line_29 |  | 27 | 30 | 0.051071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6153-70_0_4_line_30 |  | 28 | 31 | 0.004404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6153-70_0_4_line_31 |  | 28 | 32 | 0.0084477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6153-70_0_4_line_32 |  | 29 | 33 | 0.038134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6153-70_0_4_line_33 |  | 30 | 34 | 0.030236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6153-70_0_4_line_34 |  | 30 | 35 | 0.05146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6153-70_0_4_line_35 |  | 31 | 36 | 0.038156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6153-70_0_4_line_36 |  | 32 | 37 | 0.043431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6153-70_0_4_line_37 |  | 33 | 38 | 0.036008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6153-70_0_4_line_38 |  | 34 | 65 | 0.040054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6153-70_0_4_line_39 |  | 35 | 66 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6153-70_0_4_line_40 |  | 38 | 75 | 0.043188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6153-70_0_4_line_41 |  | 38 | 62 | 0.024591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6153-70_0_4_line_42 |  | 39 | 40 | 0.0069559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6153-70_0_4_line_43 |  | 39 | 41 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6153-70_0_4_line_44 |  | 40 | 42 | 0.013077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6153-70_0_4_line_45 |  | 41 | 43 | 0.010306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6153-70_0_4_line_46 |  | 42 | 44 | 0.060271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6153-70_0_4_line_47 |  | 43 | 45 | 0.021572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6153-70_0_4_line_48 |  | 44 | 46 | 0.027258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6153-70_0_4_line_49 |  | 45 | 47 | 0.007943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6153-70_0_4_line_50 |  | 46 | 48 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6153-70_0_4_line_51 |  | 47 | 61 | 0.029285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6153-70_0_4_line_52 |  | 48 | 49 | 0.034021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6153-70_0_4_line_53 |  | 49 | 50 | 0.014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6153-70_0_4_line_54 |  | 49 | 51 | 0.12908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6153-70_0_4_line_55 |  | 51 | 68 | 0.0076379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6153-70_0_4_line_56 |  | 52 | 53 | 0.024436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6153-70_0_4_line_57 |  | 52 | 54 | 0.028789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6153-70_0_4_line_58 |  | 53 | 55 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6153-70_0_4_line_59 |  | 54 | 56 | 0.0065904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6153-70_0_4_line_60 |  | 54 | 57 | 0.019239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6153-70_0_4_line_61 |  | 57 | 58 | 0.0058049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6153-70_0_4_line_62 |  | 58 | 59 | 0.010303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6153-70_0_4_line_63 |  | 58 | 60 | 0.022961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6153-70_0_4_line_64 |  | 59 | 71 | 0.034817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6153-70_0_4_line_65 |  | 60 | 69 | 0.028784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6153-70_0_4_line_66 |  | 61 | 62 | 0.00893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6153-70_0_4_line_67 |  | 62 | 63 | 0.088547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6153-70_0_4_line_68 |  | 62 | 64 | 0.065354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6153-70_0_4_line_69 |  | 63 | 76 | 0.24713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6153-70_0_4_line_70 |  | 64 | 74 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6153-70_0_4_line_71 |  | 66 | 67 | 0.0077517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6153-70_0_4_line_72 |  | 69 | 70 | 0.13959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_6153-70_0_4_line_73 |  | 70 | 72 | 0.19089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6153-70_0_4_line_74 |  | 71 | 73 | 0.069558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6153-70_0_4_line_75 |  | 72 | 77 | 0.043489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_6153-70_0_4_line_76 |  | 76 | 77 | 0.10196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6153-70_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 78 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2561850.8914 | 1120644.7456 | 2561869.8994 | 1120641.7089 | 2561878.452 | 1120641.3325 | 2561885.5325 | 1120643.6112 | 2561889.2624 | 1120645.4371
1 | 2561782.9249 | 1120653.0311 | 2561836.7159 | 1120647.0101 | 2561850.8914 | 1120644.7456
2 | 2561850.8914 | 1120644.7456 | 2561856.1041 | 1120548.5376
3 | 2561904.328 | 1120652.7751 | 2561903.4461 | 1120652.3804 | 2561889.2624 | 1120645.4371
4 | 2561759.8606 | 1120655.6118 | 2561776.4497 | 1120653.7614 | 2561782.9249 | 1120653.0311
5 | 2561782.9249 | 1120653.0311 | 2561784.4651 | 1120661.1477 | 2561785.116 | 1120665.2679 | 2561784.9814 | 1120666.2826
6 | 2561904.328 | 1120652.7751 | 2561907.031 | 1120660.5953 | 2561911.7253 | 1120666.1352 | 2561919.1984 | 1120670.7349 | 2561928.5225 | 1120672.8327
7 | 2561904.328 | 1120652.7751 | 2561919.7538 | 1120659.7258 | 2561930.7251 | 1120662.4691 | 2561946.7977 | 1120663.1237 | 2561963.0175 | 1120659.5895
8 | 2561719.9261 | 1120638.8118 | 2561725.4744 | 1120643.957 | 2561734.9966 | 1120646.8648 | 2561745.279 | 1120649.2231 | 2561752.2439 | 1120650.2795 | 2561756.222 | 1120651.1325 | 2561759.1014 | 1120652.6595 | 2561759.8606 | 1120655.6118
9 | 2561759.8606 | 1120655.6118 | 2561734.4331 | 1120658.4875
10 | 2561773.9038 | 1120675.6553 | 2561778.6541 | 1120674.18 | 2561781.5376 | 1120672.7166 | 2561783.1869 | 1120671.261 | 2561784.6227 | 1120668.9841 | 2561784.9814 | 1120666.2826
11 | 2561969.5198 | 1120656.7003 | 2561964.0305 | 1120659.3688 | 2561963.0175 | 1120659.5895
12 | 2561719.9261 | 1120638.8118 | 2561730.1891 | 1120638.0908 | 2561752.7867 | 1120637.9476
13 | 2561724.4551 | 1120659.6159 | 2561734.4331 | 1120658.4875
14 | 2561773.9038 | 1120675.6553 | 2561760.6746 | 1120732.0145
15 | 2561984.6241 | 1120647.8666 | 2561975.1048 | 1120653.9852 | 2561969.5198 | 1120656.7003
16 | 2561759.7793 | 1120637.9033 | 2561752.7867 | 1120637.9476
17 | 2561724.4551 | 1120659.6159 | 2561708.3421 | 1120661.4012
18 | 2561758.2557 | 1120732.1112 | 2561760.6746 | 1120732.0145
19 | 2561708.3421 | 1120661.4012 | 2561662.1163 | 1120717.7409
20 | 2561662.1163 | 1120717.7409 | 2561668.0621 | 1120722.3277 | 2561675.7043 | 1120729.2383 | 2561683.139 | 1120736.2725 | 2561691.332 | 1120748.5378 | 2561699.9769 | 1120762.7458 | 2561705.2615 | 1120771.3277
21 | 2561705.2615 | 1120771.3277 | 2561709.3996 | 1120770.6567 | 2561714.6007 | 1120773.3807 | 2561720.911 | 1120775.8642 | 2561727.2173 | 1120777.7029 | 2561736.5107 | 1120779.8451 | 2561740.5006 | 1120782.5657 | 2561746.6083 | 1120787.1515 | 2561751.8149 | 1120790.7537 | 2561756.4669 | 1120792.0471
22 | 2561756.4669 | 1120792.0471 | 2561790.3483 | 1120777.2806
23 | 2561984.6241 | 1120647.8666 | 2561992.0902 | 1120646.4522 | 2562004.1522 | 1120641.0958 | 2562015.544 | 1120638.3339 | 2562030.6629 | 1120636.211
24 | 2562075.251 | 1120532.6938 | 2562075.251 | 1120532.6938 | 2562079.6286 | 1120534.4894 | 2562079.6286 | 1120534.4894
25 | 2562083.9636 | 1120549.1697 | 2562084.0424 | 1120542.0545 | 2562082.9955 | 1120537.5032 | 2562079.6286 | 1120534.4894
26 | 2562075.251 | 1120532.6938 | 2562068.0371 | 1120532.5279 | 2562062.35 | 1120533.4752 | 2562054.9573 | 1120536.7678 | 2562048.7859 | 1120540.4529 | 2562047.0978 | 1120541.426
27 | 2562083.9636 | 1120549.1697 | 2562076.3383 | 1120552.2747 | 2562071.3267 | 1120555.1521
28 | 2562083.9636 | 1120549.1697 | 2562092.827 | 1120547.8912 | 2562104.704 | 1120547.4275 | 2562120.477 | 1120549.474 | 2562134.2888 | 1120550.4446
29 | 2562002.0593 | 1120563.5251 | 2562005.04 | 1120564.0066 | 2562007.9901 | 1120563.2988 | 2562016.9076 | 1120559.5964 | 2562021.238 | 1120557.5681 | 2562024.8017 | 1120555.0777 | 2562031.4933 | 1120551.923 | 2562040.792 | 1120545.061 | 2562047.0978 | 1120541.426
30 | 2562071.3267 | 1120555.1521 | 2562067.7792 | 1120557.7757
31 | 2562071.3267 | 1120555.1521 | 2562062.8987 | 1120555.7275
32 | 2562168.5087 | 1120535.8756 | 2562163.8902 | 1120540.4417 | 2562151.327 | 1120547.135 | 2562135.5805 | 1120550.5354 | 2562134.2888 | 1120550.4446
33 | 2562002.0593 | 1120563.5251 | 2561988.7459 | 1120572.3133 | 2561978.8134 | 1120582.6478
34 | 2562002.0593 | 1120563.5251 | 2562000.4667 | 1120560.5225 | 2562001.4793 | 1120557.17 | 2562006.0591 | 1120553.1057 | 2562015.2765 | 1120546.789 | 2562020.1372 | 1120542.0115 | 2562028.1091 | 1120528.9992 | 2562030.223 | 1120524.2634
35 | 2562067.7792 | 1120557.7757 | 2562072.2264 | 1120558.3814 | 2562081.5404 | 1120558.8454 | 2562090.7554 | 1120559.5101 | 2562095.0084 | 1120561.1287 | 2562104.8618 | 1120565.1911
36 | 2562026.2138 | 1120578.4363 | 2562036.2974 | 1120570.0242 | 2562042.0639 | 1120565.7524 | 2562050.8305 | 1120561.3729 | 2562062.8987 | 1120555.7275
37 | 2562191.4128 | 1120508.1307 | 2562186.6204 | 1120513.997 | 2562172.1396 | 1120532.2859 | 2562168.5087 | 1120535.8756
38 | 2561978.8134 | 1120582.6478 | 2561969.1415 | 1120591.491 | 2561963.3288 | 1120594.5402 | 2561960.9742 | 1120597.9346 | 2561961.9147 | 1120601.5082 | 2561965.4641 | 1120604.0983 | 2561973.5944 | 1120602.802
39 | 2562039.4725 | 1120501.6677 | 2562038.0011 | 1120504.8359 | 2562034.5979 | 1120514.4622 | 2562030.223 | 1120524.2634
40 | 2562191.4128 | 1120508.1307 | 2562167.574 | 1120518.9522 | 2562152.5204 | 1120527.084
41 | 2562191.4128 | 1120508.1307 | 2562203.3861 | 1120493.4594 | 2562206.9612 | 1120489.0793
42 | 2562134.4466 | 1120465.4399 | 2562132.7475 | 1120465.3877 | 2562127.5052 | 1120465.7663
43 | 2562134.4466 | 1120465.4399 | 2562148.2711 | 1120465.8653
44 | 2562114.4588 | 1120466.6372 | 2562115.8915 | 1120466.6051 | 2562127.5052 | 1120465.7663
45 | 2562148.2711 | 1120465.8653 | 2562153.4568 | 1120466.0248 | 2562158.5745 | 1120466.0969
46 | 2562126.6834 | 1120437.1902 | 2562118.788 | 1120442.5858 | 2562109.8836 | 1120448.4113 | 2562103.4201 | 1120453.5211 | 2562099.1721 | 1120456.3826 | 2562096.855 | 1120459.6321 | 2562096.3567 | 1120461.3583 | 2562096.7809 | 1120463.7903 | 2562099.3302 | 1120465.5974 | 2562103.504 | 1120466.883 | 2562114.4588 | 1120466.6372
47 | 2562180.1286 | 1120466.8913 | 2562176.3652 | 1120466.7484 | 2562166.0168 | 1120466.2018 | 2562158.5745 | 1120466.0969
48 | 2562126.6834 | 1120437.1902 | 2562131.9386 | 1120433.5988 | 2562139.2197 | 1120428.4839 | 2562144.3838 | 1120426.5283 | 2562150.5052 | 1120424.4244
49 | 2562180.1286 | 1120466.8913 | 2562184.4054 | 1120467.0537 | 2562188.0673 | 1120467.1468
50 | 2562150.5052 | 1120424.4244 | 2562150.9732 | 1120424.2636 | 2562159.0886 | 1120421.7782 | 2562165.4747 | 1120420.3263 | 2562165.4747 | 1120420.3263
51 | 2562212.2157 | 1120481.8538 | 2562208.7083 | 1120478.5741 | 2562205.5382 | 1120474.9477 | 2562201.1498 | 1120471.4289 | 2562196.7595 | 1120468.8328 | 2562191.7738 | 1120467.241 | 2562188.0673 | 1120467.1468
52 | 2562165.4747 | 1120420.3263 | 2562169.7292 | 1120418.4765 | 2562172.0519 | 1120416.1274 | 2562173.2542 | 1120413.4852 | 2562173.1343 | 1120410.351 | 2562171.6921 | 1120406.7138 | 2562168.9338 | 1120404.8079 | 2562164.3607 | 1120403.8249 | 2562156.2743 | 1120403.4384
53 | 2562141.5095 | 1120404.8797 | 2562147.2874 | 1120403.6318 | 2562155.1083 | 1120403.3826 | 2562156.2743 | 1120403.4384
54 | 2562156.2743 | 1120403.4384 | 2562238.2013 | 1120303.6946
55 | 2562245.5572 | 1120301.6387 | 2562238.2013 | 1120303.6946
56 | 2562050.6743 | 1120610.4734 | 2562060.6834 | 1120598.4854 | 2562066.0414 | 1120593.0268 | 2562066.8775 | 1120592.2088
57 | 2562037.2108 | 1120635.5295 | 2562040.5561 | 1120626.5373 | 2562044.9926 | 1120616.86 | 2562050.1864 | 1120611.0578 | 2562050.6743 | 1120610.4734
58 | 2562077.5597 | 1120579.6921 | 2562069.6096 | 1120588.8022 | 2562068.1345 | 1120590.9792 | 2562066.8775 | 1120592.2088
59 | 2562037.2108 | 1120635.5295 | 2562034.7738 | 1120635.6338 | 2562030.6629 | 1120636.211
60 | 2562037.2108 | 1120635.5295 | 2562046.5965 | 1120635.1481 | 2562056.4266 | 1120634.5998
61 | 2562062.1866 | 1120633.894 | 2562057.1534 | 1120634.5593 | 2562056.4266 | 1120634.5998
62 | 2562062.1866 | 1120633.894 | 2562065.1018 | 1120633.7756 | 2562070.3318 | 1120633.7538 | 2562072.4649 | 1120633.4462
63 | 2562062.1866 | 1120633.894 | 2562083.5197 | 1120625.4031
64 | 2562105.5365 | 1120636.2792 | 2562102.9852 | 1120634.8939 | 2562096.4808 | 1120632.2222 | 2562091.3458 | 1120630.1756 | 2562086.6313 | 1120629.994 | 2562081.5139 | 1120630.7599 | 2562074.2008 | 1120633.1959 | 2562072.4649 | 1120633.4462
65 | 2562111.4077 | 1120619.9445 | 2562102.511 | 1120619.5779 | 2562087.018 | 1120624.0108 | 2562083.5197 | 1120625.4031
66 | 2562212.2157 | 1120481.8538 | 2562208.1938 | 1120487.5708 | 2562206.9612 | 1120489.0793
67 | 2562206.9612 | 1120489.0793 | 2562203.3861 | 1120493.4594 | 2562205.7562 | 1120494.9898 | 2562208.0547 | 1120496.1538 | 2562211.2612 | 1120495.7335 | 2562216.3807 | 1120494.0562 | 2562221.0169 | 1120491.5815 | 2562224.5719 | 1120488.9023 | 2562227.8172 | 1120484.8244 | 2562236.1027 | 1120477.4689 | 2562240.3978 | 1120474.7184 | 2562243.0453 | 1120473.7235 | 2562246.0001 | 1120473.7606 | 2562248.9344 | 1120475.4432 | 2562250.7694 | 1120478.9779 | 2562251.7181 | 1120483.8967 | 2562251.1608 | 1120489.7587 | 2562249.154 | 1120496.9861 | 2562246.3344 | 1120502.5398
68 | 2562206.9612 | 1120489.0793 | 2562210.227 | 1120490.7263 | 2562216.197 | 1120485.6531 | 2562221.3973 | 1120478.3946 | 2562226.6802 | 1120470.7799 | 2562234.1292 | 1120462.896 | 2562242.773 | 1120458.5509 | 2562253.3543 | 1120451.948 | 2562255.2473 | 1120450.0623
69 | 2562246.3344 | 1120502.5398 | 2562483.9479 | 1120570.4491
70 | 2562263.7196 | 1120441.6224 | 2562255.2473 | 1120450.0623
71 | 2562039.4725 | 1120501.6677 | 2562042.2938 | 1120495.5931 | 2562042.8235 | 1120494.682
72 | 2562111.4077 | 1120619.9445 | 2562241.3552 | 1120670.9232
73 | 2562241.3552 | 1120670.9232 | 2562430.811 | 1120647.5655
74 | 2562105.5365 | 1120636.2792 | 2562090.4192 | 1120704.1749
75 | 2562473.5421 | 1120652.4443 | 2562455.7452 | 1120652.366 | 2562448.686 | 1120652.2432 | 2562442.0972 | 1120650.8501 | 2562432.6194 | 1120648.8303 | 2562430.811 | 1120647.5655
76 | 2562483.9479 | 1120570.4491 | 2562491.1444 | 1120577.7526 | 2562495.8183 | 1120581.3365 | 2562499.46 | 1120583.9152 | 2562503.7988 | 1120588.1904 | 2562505.8746 | 1120593.269 | 2562505.6776 | 1120597.5613 | 2562502.2983 | 1120602.4514 | 2562497.1167 | 1120607.7974 | 2562491.7058 | 1120613.4784 | 2562484.9423 | 1120619.9681 | 2562481.2215 | 1120624.5158 | 2562478.5372 | 1120630.7578 | 2562475.4336 | 1120641.5159 | 2562474.1125 | 1120648.65 | 2562473.5421 | 1120652.4443

## bus_geodata
| x | y | coords
0 | 2561850.8914 | 1120644.7456
1 | 2561889.2624 | 1120645.4371
2 | 2561782.9249 | 1120653.0311
3 | 2561856.1041 | 1120548.5376
4 | 2561904.328 | 1120652.7751
5 | 2561759.8606 | 1120655.6118
6 | 2561784.9814 | 1120666.2826
7 | 2561928.5225 | 1120672.8327
8 | 2561963.0175 | 1120659.5895
9 | 2561719.9261 | 1120638.8118
10 | 2561734.4331 | 1120658.4875
11 | 2561773.9038 | 1120675.6553
12 | 2561969.5198 | 1120656.7003
13 | 2561752.7867 | 1120637.9476
14 | 2561724.4551 | 1120659.6159
15 | 2561760.6746 | 1120732.0145
16 | 2561759.7793 | 1120637.9033
17 | 2561708.3421 | 1120661.4012
18 | 2561662.1163 | 1120717.7409
19 | 2561705.2615 | 1120771.3277
20 | 2561756.4669 | 1120792.0471
21 | 2561984.6241 | 1120647.8666
22 | 2561758.2557 | 1120732.1112
23 | 2561790.3483 | 1120777.2806
24 | 2562079.6286 | 1120534.4894
25 | 2562075.251 | 1120532.6938
26 | 2562083.9636 | 1120549.1697
27 | 2562047.0978 | 1120541.426
28 | 2562071.3267 | 1120555.1521
29 | 2562134.2888 | 1120550.4446
30 | 2562002.0593 | 1120563.5251
31 | 2562067.7792 | 1120557.7757
32 | 2562062.8987 | 1120555.7275
33 | 2562168.5087 | 1120535.8756
34 | 2561978.8134 | 1120582.6478
35 | 2562030.223 | 1120524.2634
36 | 2562104.8618 | 1120565.1911
37 | 2562026.2138 | 1120578.4363
38 | 2562191.4128 | 1120508.1307
39 | 2562134.4466 | 1120465.4399
40 | 2562127.5052 | 1120465.7663
41 | 2562148.2711 | 1120465.8653
42 | 2562114.4588 | 1120466.6372
43 | 2562158.5745 | 1120466.0969
44 | 2562126.6834 | 1120437.1902
45 | 2562180.1286 | 1120466.8913
46 | 2562150.5052 | 1120424.4244
47 | 2562188.0673 | 1120467.1468
48 | 2562165.4747 | 1120420.3263
49 | 2562156.2743 | 1120403.4384
50 | 2562141.5095 | 1120404.8797
51 | 2562238.2013 | 1120303.6946
52 | 2562050.6743 | 1120610.4734
53 | 2562066.8775 | 1120592.2088
54 | 2562037.2108 | 1120635.5295
55 | 2562077.5597 | 1120579.6921
56 | 2562030.6629 | 1120636.211
57 | 2562056.4266 | 1120634.5998
58 | 2562062.1866 | 1120633.894
59 | 2562072.4649 | 1120633.4462
60 | 2562083.5197 | 1120625.4031
61 | 2562212.2157 | 1120481.8538
62 | 2562206.9612 | 1120489.0793
63 | 2562246.3344 | 1120502.5398
64 | 2562255.2473 | 1120450.0623
65 | 2561973.5944 | 1120602.802
66 | 2562039.4725 | 1120501.6677
67 | 2562042.8235 | 1120494.682
68 | 2562245.5572 | 1120301.6387
69 | 2562111.4077 | 1120619.9445
70 | 2562241.3552 | 1120670.9232
71 | 2562105.5365 | 1120636.2792
72 | 2562430.811 | 1120647.5655
73 | 2562090.4192 | 1120704.1749
74 | 2562263.7196 | 1120441.6224
75 | 2562152.5204 | 1120527.084
76 | 2562483.9479 | 1120570.4491
77 | 2562473.5421 | 1120652.4443
78 | 2562071.3267 | 1120555.1521

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1