## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6153-85_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6153-85_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6153-85_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6153-85_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6153-85_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6153-85_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6153-85_0_2_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_6153-85_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6153-85_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6153-85_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6153-85_0_2_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_6153-85_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6153-85_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6153-85_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6153-85_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6153-85_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6153-85_0_2_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_6153-85_0_2_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_6153-85_0_2_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_6153-85_0_2_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_6153-85_0_2_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_6153-85_0_2_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_6153-85_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6153-85_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6153-85_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6153-85_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6153-85_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6153-85_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6153-85_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6153-85_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6153-85_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6153-85_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6153-85_0_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_6153-85_0_2_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_6153-85_0_2_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_6153-85_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6153-85_0_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_6153-85_0_2_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_6153-85_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6153-85_0_2_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_6153-85_0_2_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6153-85_0_2_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6153-85_0_2_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6153-85_0_2_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6153-85_0_2_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_6153-85_0_2_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_6153-85_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6153-85_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_6153-85_0_2_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6153-85_0_2_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6153-85_0_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_6153-85_0_2_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6153-85_0_2_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6153-85_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6153-85_0_2_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_6153-85_0_2_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_6153-85_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6153-85_0_2_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_6153-85_0_2_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_6153-85_0_2_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_6153-85_0_2_node_63 | 0.4 | n |  | TRUE
61 | bus_MV_192_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6153-85_0_2_load_0 | 0 | 0.0076587 | 0.0019194 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6153-85_0_2_load_1 | 1 | 0.0013564 | 0.00033994 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6153-85_0_2_load_4 | 4 | 0.00026575 | 6.6603e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6153-85_0_2_load_6 | 5 | 0.0041557 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6153-85_0_2_load_8 | 9 | 0.0049734 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6153-85_0_2_load_11 | 12 | 0.0015871 | 0.00039777 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6153-85_0_2_load_12 | 15 | 0.0011015 | 0.00027605 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6153-85_0_2_load_56 | 16 | 0.0013705 | 0.00034347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6153-85_0_2_load_60 | 19 | 0.0010764 | 0.00026978 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6153-85_0_2_load_14 | 22 | 0.0073022 | 0.0018301 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6153-85_0_2_load_15 | 23 | 0.0023076 | 0.00057833 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6153-85_0_2_load_16 | 24 | 0.0012391 | 0.00031056 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6153-85_0_2_load_22 | 25 | 0.00040741 | 0.00010211 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6153-85_0_2_load_17 | 27 | 0.017227 | 0.0043175 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6153-85_0_2_load_18 | 28 | 0.0053712 | 0.0013461 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6153-85_0_2_load_19 | 29 | 0.017155 | 0.0042995 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6153-85_0_2_load_36 | 32 | 0.018285 | 0.0045827 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6153-85_0_2_load_51 | 33 | 0.0034623 | 0.00086773 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6153-85_0_2_load_54 | 37 | 0.00069528 | 0.00017425 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6153-85_0_2_load_48 | 39 | 0.0029781 | 0.00074638 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6153-85_0_2_load_24 | 42 | 0.00075208 | 0.00018849 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6153-85_0_2_load_25 | 43 | 0.00032736 | 8.2045e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6153-85_0_2_load_27 | 44 | 0.0061666 | 0.0015455 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6153-85_0_2_load_41 | 45 | 0.010693 | 0.0026799 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6153-85_0_2_load_34 | 46 | 0.0023834 | 0.00059734 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6153-85_0_2_load_32 | 48 | 0.0031615 | 0.00079234 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6153-85_0_2_load_33 | 49 | 0.0029983 | 0.00075143 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6153-85_0_2_load_42 | 51 | 0.0058822 | 0.0014742 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6153-85_0_2_load_50 | 52 | 0.0014695 | 0.0003683 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6153-85_0_2_load_53 | 53 | 0.0049622 | 0.0012436 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6153-85_0_2_load_38 | 55 | 0.0074007 | 0.0018548 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6153-85_0_2_load_45 | 57 | 0.0031737 | 0.0007954 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6153-85_0_2_load_59 | 59 | 0.00082341 | 0.00020637 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6153-85_0_2_load_63 | 60 | 0.00036955 | 9.2617e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6153-85_0_2_line_0 |  | 0 | 1 | 0.053611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6153-85_0_2_line_1 |  | 0 | 2 | 0.058496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6153-85_0_2_line_2 |  | 1 | 3 | 0.060816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6153-85_0_2_line_3 |  | 2 | 4 | 0.10163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6153-85_0_2_line_4 |  | 3 | 5 | 0.067008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6153-85_0_2_line_5 |  | 4 | 6 | 0.039961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6153-85_0_2_line_6 |  | 5 | 7 | 0.050872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6153-85_0_2_line_7 |  | 6 | 10 | 0.01217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6153-85_0_2_line_8 |  | 7 | 8 | 0.015164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6153-85_0_2_line_9 |  | 7 | 9 | 0.054927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6153-85_0_2_line_10 |  | 8 | 11 | 0.024121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6153-85_0_2_line_11 |  | 8 | 12 | 0.024892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6153-85_0_2_line_12 |  | 10 | 60 | 0.016929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6153-85_0_2_line_13 |  | 11 | 13 | 0.002928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6153-85_0_2_line_14 |  | 13 | 14 | 0.010075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6153-85_0_2_line_15 |  | 13 | 15 | 0.10745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6153-85_0_2_line_16 |  | 14 | 16 | 0.025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6153-85_0_2_line_17 |  | 16 | 21 | 0.038292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6153-85_0_2_line_18 |  | 17 | 18 | 0.10671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6153-85_0_2_line_19 |  | 17 | 19 | 0.027163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6153-85_0_2_line_20 |  | 18 | 36 | 0.041444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6153-85_0_2_line_21 |  | 18 | 37 | 0.10015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6153-85_0_2_line_22 |  | 18 | 26 | 0.12895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6153-85_0_2_line_23 |  | 19 | 20 | 0.014247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6153-85_0_2_line_24 |  | 20 | 21 | 0.022121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6153-85_0_2_line_25 |  | 21 | 59 | 0.0133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6153-85_0_2_line_26 |  | 22 | 23 | 0.0097934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6153-85_0_2_line_27 |  | 23 | 24 | 0.01333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6153-85_0_2_line_28 |  | 24 | 25 | 0.052427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6153-85_0_2_line_29 |  | 25 | 26 | 0.075252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6153-85_0_2_line_30 |  | 26 | 35 | 0.13399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6153-85_0_2_line_31 |  | 27 | 28 | 0.026371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6153-85_0_2_line_32 |  | 27 | 29 | 0.072082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6153-85_0_2_line_33 |  | 28 | 30 | 0.0031529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6153-85_0_2_line_34 |  | 29 | 31 | 0.062128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6153-85_0_2_line_35 |  | 30 | 32 | 0.016636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6153-85_0_2_line_36 |  | 31 | 33 | 0.02789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6153-85_0_2_line_37 |  | 32 | 34 | 0.045436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6153-85_0_2_line_38 |  | 34 | 50 | 0.060265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6153-85_0_2_line_39 |  | 34 | 51 | 0.020336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6153-85_0_2_line_40 |  | 35 | 38 | 0.000739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6153-85_0_2_line_41 |  | 35 | 39 | 0.022705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6153-85_0_2_line_42 |  | 35 | 40 | 0.093868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6153-85_0_2_line_43 |  | 36 | 53 | 0.075814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6153-85_0_2_line_44 |  | 36 | 54 | 0.055097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6153-85_0_2_line_45 |  | 38 | 46 | 0.024913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6153-85_0_2_line_46 |  | 39 | 47 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6153-85_0_2_line_47 |  | 40 | 41 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6153-85_0_2_line_48 |  | 40 | 42 | 0.039524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6153-85_0_2_line_49 |  | 41 | 45 | 0.023033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6153-85_0_2_line_50 |  | 42 | 43 | 0.067415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6153-85_0_2_line_51 |  | 43 | 44 | 0.0087231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6153-85_0_2_line_52 |  | 46 | 49 | 0.0022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6153-85_0_2_line_53 |  | 47 | 58 | 0.012883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6153-85_0_2_line_54 |  | 48 | 49 | 0.046501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6153-85_0_2_line_55 |  | 50 | 52 | 0.042216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6153-85_0_2_line_56 |  | 51 | 56 | 0.019368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6153-85_0_2_line_57 |  | 52 | 58 | 0.021321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6153-85_0_2_line_58 |  | 54 | 55 | 0.019394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6153-85_0_2_line_59 |  | 56 | 57 | 0.014123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6153-85_0_2_trafo_32 | 0.63 MVA 20/0.4 kV | 61 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2563146.5135 | 1124772.2098 | 2563189.4213 | 1124797.5826 | 2563190.5686 | 1124801.1663
1 | 2563096.1619 | 1124742.4354 | 2563146.5135 | 1124772.2098
2 | 2563146.4038 | 1124811.0742 | 2563170.2609 | 1124823.4348 | 2563175.3355 | 1124823.804 | 2563181.1947 | 1124821.367 | 2563184.074 | 1124818.2145 | 2563190.5686 | 1124801.1663
3 | 2563096.1619 | 1124742.4354 | 2563100.196 | 1124735.2515 | 2563145.6462 | 1124653.6718
4 | 2563146.4038 | 1124811.0742 | 2563125.8379 | 1124846.5733 | 2563103.083 | 1124834.0324
5 | 2563165.0949 | 1124618.7628 | 2563145.6462 | 1124653.6718
6 | 2563058.5293 | 1124809.4773 | 2563103.083 | 1124834.0324
7 | 2563165.0949 | 1124618.7628 | 2563169.3946 | 1124622.2272 | 2563174.524 | 1124626.4869
8 | 2563058.5293 | 1124809.4773 | 2563051.1019 | 1124822.7073
9 | 2563058.5293 | 1124809.4773 | 2563010.9812 | 1124781.9791
10 | 2563051.1019 | 1124822.7073 | 2563039.2977 | 1124843.7569
11 | 2563051.1019 | 1124822.7073 | 2563061.7911 | 1124828.5337 | 2563073.0759 | 1124834.3999
12 | 2563174.524 | 1124626.4869 | 2563184.0077 | 1124634.333 | 2563188.3682 | 1124635.8619
13 | 2563039.2977 | 1124843.7569 | 2563037.8641 | 1124846.3114
14 | 2563037.8641 | 1124846.3114 | 2563032.9305 | 1124855.1016
15 | 2563037.8641 | 1124846.3114 | 2563067.0854 | 1124862.2517 | 2563085.4163 | 1124872.2557 | 2563093.9707 | 1124876.928 | 2563099.7721 | 1124866.3093 | 2563085.7207 | 1124856.5014 | 2563092.9889 | 1124844.1931
16 | 2563032.9305 | 1124855.1016 | 2563010.4731 | 1124842.7562
17 | 2562985.4412 | 1124852.0245 | 2562988.1531 | 1124846.7385 | 2562992.9351 | 1124837.1043 | 2562994.6122 | 1124834.0369 | 2563010.4731 | 1124842.7562
18 | 2562971.7771 | 1124964.3541 | 2562976.4023 | 1124955.5657 | 2562974.0792 | 1124953.8457 | 2562972.4431 | 1124952.2883 | 2562970.96 | 1124950.541 | 2562969.3492 | 1124948.0718 | 2562968.6625 | 1124946.7198 | 2562967.8484 | 1124944.6905 | 2562967.305 | 1124942.8262 | 2562966.8738 | 1124940.3943 | 2562966.7478 | 1124938.6942 | 2562967.0544 | 1124933.3896 | 2562967.4802 | 1124932.431 | 2562967.9869 | 1124930.8493 | 2562968.7086 | 1124929.1106 | 2562969.6382 | 1124927.3485 | 2562970.761 | 1124925.6518 | 2562971.6176 | 1124924.5571 | 2562972.5747 | 1124923.4952 | 2562975.5499 | 1124920.9312 | 2562976.9243 | 1124920.0445 | 2562978.4379 | 1124919.2237 | 2562979.6063 | 1124918.694 | 2562981.1292 | 1124918.1289 | 2562983.207 | 1124917.5603 | 2562985.3401 | 1124917.2026 | 2562988.1145 | 1124917.0744 | 2562990.7676 | 1124917.3027 | 2562993.1758 | 1124917.7993 | 2562995.2922 | 1124918.4977 | 2562996.9463 | 1124919.2213 | 2563008.4834 | 1124898.6624 | 2563013.2798 | 1124890.1175
19 | 2563013.2798 | 1124890.1175 | 2562995.0608 | 1124880.7801 | 2562998.2518 | 1124874.8989
20 | 2562971.7771 | 1124964.3541 | 2562964.1076 | 1124978.2526 | 2562947.5385 | 1124997.7753
21 | 2562971.7771 | 1124964.3541 | 2562965.2 | 1124960.3146 | 2562965.6539 | 1124957.6549 | 2562965.6343 | 1124954.4645 | 2562964.3367 | 1124949.0142 | 2562963.246 | 1124945.8971 | 2562961.3598 | 1124942.5181 | 2562959.0029 | 1124939.0752 | 2562953.9026 | 1124934.5153 | 2562942.9163 | 1124926.7344 | 2562926.7713 | 1124916.1949 | 2562901.0726 | 1124900.6915
22 | 2563069.5945 | 1125036.6023 | 2562980.4432 | 1124987.2236 | 2562975.9361 | 1124983.8495 | 2562973.3691 | 1124981.3307 | 2562970.9462 | 1124978.4219 | 2562970.1917 | 1124974.8024 | 2562971.7771 | 1124964.3541
23 | 2563005.0463 | 1124862.3762 | 2562998.2518 | 1124874.8989
24 | 2562985.4412 | 1124852.0245 | 2563005.0463 | 1124862.3762
25 | 2562978.7043 | 1124862.1599 | 2562984.3817 | 1124851.4641 | 2562985.4412 | 1124852.0245
26 | 2562955.3885 | 1125134.9871 | 2562962.7723 | 1125128.5536
27 | 2562972.8227 | 1125119.7967 | 2562962.7723 | 1125128.5536
28 | 2563012.3502 | 1125085.3564 | 2562972.8227 | 1125119.7967
29 | 2563069.5945 | 1125036.6023 | 2563062.4475 | 1125041.4374 | 2563022.3096 | 1125076.6788 | 2563012.3502 | 1125085.3564
30 | 2563069.5945 | 1125036.6023 | 2563139.1254 | 1125074.4741 | 2563151.1854 | 1125081.4373 | 2563144.0286 | 1125094.7656 | 2563132.4061 | 1125117.7593
31 | 2563043.2527 | 1125168.1884 | 2563040.9886 | 1125166.232 | 2563031.6535 | 1125156.1174 | 2563025.1566 | 1125149.0297
32 | 2562975.9346 | 1125151.8679 | 2562974.8479 | 1125148.1283 | 2562975.8366 | 1125143.442 | 2562980.2866 | 1125138.7902 | 2562988.4789 | 1125132.2255 | 2562994.2371 | 1125128.466 | 2562999.0554 | 1125127.3026 | 2563003.9646 | 1125128.3841 | 2563008.3284 | 1125132.3038 | 2563015.5152 | 1125139.0076 | 2563023.0707 | 1125146.7541 | 2563025.1566 | 1125149.0297
33 | 2563045.6382 | 1125170.25 | 2563043.2527 | 1125168.1884
34 | 2562975.9346 | 1125151.8679 | 2562971.1747 | 1125149.9962 | 2562966.6218 | 1125150.4355 | 2562962.1015 | 1125152.4309 | 2562952.3182 | 1125160.9841 | 2562943.5209 | 1125168.1751 | 2562934.7876 | 1125176.9888 | 2562927.4056 | 1125184.927
35 | 2563045.6382 | 1125170.25 | 2563048.6838 | 1125172.8882 | 2563054.185 | 1125176.2562 | 2563059.7119 | 1125178.9684
36 | 2562927.4056 | 1125184.927 | 2562947.2776 | 1125204.4967
37 | 2563100.8675 | 1125197.8148 | 2563093.7962 | 1125196.1016 | 2563087.1567 | 1125193.1519 | 2563065.9988 | 1125182.0535 | 2563059.7119 | 1125178.9684
38 | 2563100.8675 | 1125197.8148 | 2563101.1355 | 1125196.268 | 2563105.3529 | 1125176.2543 | 2563110.4036 | 1125157.6473 | 2563114.9496 | 1125149.7711 | 2563121.8815 | 1125152.6302 | 2563123.8475 | 1125153.9521
39 | 2563100.8675 | 1125197.8148 | 2563097.4447 | 1125217.8612
40 | 2563132.0478 | 1125118.4063 | 2563132.4061 | 1125117.7593
41 | 2563132.4061 | 1125117.7593 | 2563152.6171 | 1125128.1061
42 | 2563132.4061 | 1125117.7593 | 2563144.0286 | 1125094.7656 | 2563151.1854 | 1125081.4373 | 2563153.6621 | 1125076.7643 | 2563158.2552 | 1125067.7428 | 2563173.6266 | 1125038.8344 | 2563175.6658 | 1125034.4641
43 | 2562947.5385 | 1124997.7753 | 2562904.4726 | 1124972.994 | 2562916.9775 | 1124950.0535
44 | 2562912.4173 | 1125040.2237 | 2562922.454 | 1125027.7335 | 2562938.592 | 1125008.3134 | 2562947.5385 | 1124997.7753
45 | 2563132.0478 | 1125118.4063 | 2563122.3094 | 1125114.1859 | 2563109.5291 | 1125107.7725
46 | 2563162.0837 | 1125132.9524 | 2563152.6171 | 1125128.1061
47 | 2563190.4529 | 1125042.4002 | 2563175.6658 | 1125034.4641
48 | 2563175.6658 | 1125034.4641 | 2563186.4577 | 1125012.9874 | 2563188.1318 | 1125004.3729 | 2563186.6118 | 1124997.8344
49 | 2563190.4529 | 1125042.4002 | 2563210.8817 | 1125053.0395
50 | 2563186.6118 | 1124997.8344 | 2563186.6118 | 1124997.8344 | 2563163.3828 | 1124988.4714 | 2563151.5403 | 1124988.1324 | 2563141.0092 | 1124985.4065 | 2563135.9292 | 1124982.8807 | 2563127.9354 | 1124979.0831 | 2563123.6088 | 1124978.7538 | 2563122.8268 | 1124978.7248
51 | 2563114.1097 | 1124978.4006 | 2563122.8268 | 1124978.7248
52 | 2563107.5547 | 1125106.7817 | 2563109.5291 | 1125107.7725
53 | 2563163.8886 | 1125141.9682 | 2563167.1563 | 1125135.5561 | 2563162.0837 | 1125132.9524
54 | 2563065.9929 | 1125085.925 | 2563107.5547 | 1125106.7817
55 | 2563123.8475 | 1125153.9521 | 2563123.6553 | 1125155.2984 | 2563124.2845 | 1125157.3512 | 2563149.3805 | 1125169.5707 | 2563151.0268 | 1125169.0382 | 2563155.2257 | 1125161.0034
56 | 2563094.1849 | 1125236.9533 | 2563097.4447 | 1125217.8612
57 | 2563163.8886 | 1125141.9682 | 2563164.3149 | 1125143.6109 | 2563155.2257 | 1125161.0034
58 | 2562912.4173 | 1125040.2237 | 2562905.2651 | 1125050.4617 | 2562901.7137 | 1125056.3833
59 | 2563094.1849 | 1125236.9533 | 2563087.337 | 1125249.3053

## bus_geodata
| x | y | coords
0 | 2563146.5135 | 1124772.2098
1 | 2563190.5686 | 1124801.1663
2 | 2563096.1619 | 1124742.4354
3 | 2563146.4038 | 1124811.0742
4 | 2563145.6462 | 1124653.6718
5 | 2563103.083 | 1124834.0324
6 | 2563165.0949 | 1124618.7628
7 | 2563058.5293 | 1124809.4773
8 | 2563051.1019 | 1124822.7073
9 | 2563010.9812 | 1124781.9791
10 | 2563174.524 | 1124626.4869
11 | 2563039.2977 | 1124843.7569
12 | 2563073.0759 | 1124834.3999
13 | 2563037.8641 | 1124846.3114
14 | 2563032.9305 | 1124855.1016
15 | 2563092.9889 | 1124844.1931
16 | 2563010.4731 | 1124842.7562
17 | 2563013.2798 | 1124890.1175
18 | 2562971.7771 | 1124964.3541
19 | 2562998.2518 | 1124874.8989
20 | 2563005.0463 | 1124862.3762
21 | 2562985.4412 | 1124852.0245
22 | 2562955.3885 | 1125134.9871
23 | 2562962.7723 | 1125128.5536
24 | 2562972.8227 | 1125119.7967
25 | 2563012.3502 | 1125085.3564
26 | 2563069.5945 | 1125036.6023
27 | 2563025.1566 | 1125149.0297
28 | 2563043.2527 | 1125168.1884
29 | 2562975.9346 | 1125151.8679
30 | 2563045.6382 | 1125170.25
31 | 2562927.4056 | 1125184.927
32 | 2563059.7119 | 1125178.9684
33 | 2562947.2776 | 1125204.4967
34 | 2563100.8675 | 1125197.8148
35 | 2563132.4061 | 1125117.7593
36 | 2562947.5385 | 1124997.7753
37 | 2562901.0726 | 1124900.6915
38 | 2563132.0478 | 1125118.4063
39 | 2563152.6171 | 1125128.1061
40 | 2563175.6658 | 1125034.4641
41 | 2563190.4529 | 1125042.4002
42 | 2563186.6118 | 1124997.8344
43 | 2563122.8268 | 1124978.7248
44 | 2563114.1097 | 1124978.4006
45 | 2563210.8817 | 1125053.0395
46 | 2563109.5291 | 1125107.7725
47 | 2563162.0837 | 1125132.9524
48 | 2563065.9929 | 1125085.925
49 | 2563107.5547 | 1125106.7817
50 | 2563123.8475 | 1125153.9521
51 | 2563097.4447 | 1125217.8612
52 | 2563155.2257 | 1125161.0034
53 | 2562916.9775 | 1124950.0535
54 | 2562912.4173 | 1125040.2237
55 | 2562901.7137 | 1125056.3833
56 | 2563094.1849 | 1125236.9533
57 | 2563087.337 | 1125249.3053
58 | 2563163.8886 | 1125141.9682
59 | 2562978.7043 | 1124862.1599
60 | 2563188.3682 | 1124635.8619
61 | 2563054.2663 | 1125080.0404

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1