## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6153-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6153-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6153-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6153-9_0_5_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_6153-9_0_5_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_6153-9_0_5_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_6153-9_0_5_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_6153-9_0_5_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_6153-9_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6153-9_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6153-9_0_5_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_6153-9_0_5_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_6153-9_0_5_node_3 | 0.4 | n |  | TRUE
13 | bus_LV_6153-9_0_5_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_6153-9_0_5_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_6153-9_0_5_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_6153-9_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6153-9_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6153-9_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6153-9_0_5_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_6153-9_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_6153-9_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6153-9_0_5_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_6153-9_0_5_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_6153-9_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_6153-9_0_5_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_6153-9_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6153-9_0_5_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_6153-9_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6153-9_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6153-9_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6153-9_0_5_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_6153-9_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_6153-9_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6153-9_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_6153-9_0_5_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_6153-9_0_5_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_6153-9_0_5_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_6153-9_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6153-9_0_5_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6153-9_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_6153-9_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6153-9_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_6153-9_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_6153-9_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_6153-9_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6153-9_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6153-9_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_6153-9_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_6153-9_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6153-9_0_5_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_6153-9_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6153-9_0_5_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_6153-9_0_5_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_6153-9_0_5_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_6153-9_0_5_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_6153-9_0_5_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_6153-9_0_5_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_6153-9_0_5_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_6153-9_0_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_6153-9_0_5_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_6153-9_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_6153-9_0_5_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_6153-9_0_5_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_6153-9_0_5_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_6153-9_0_5_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_6153-9_0_5_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_6153-9_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_6153-9_0_5_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6153-9_0_5_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_6153-9_0_5_node_74 | 0.4 | n |  | TRUE
71 | bus_MV_271_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6153-9_0_5_load_0 | 0 | 0.012748 | 0.003195 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6153-9_0_5_load_51 | 5 | 0.024461 | 0.0061305 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6153-9_0_5_load_53 | 6 | 0.0023483 | 0.00058853 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6153-9_0_5_load_7 | 8 | 0.0029478 | 0.00073879 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6153-9_0_5_load_46 | 10 | 0.0013495 | 0.00033821 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6153-9_0_5_load_3 | 12 | 0.01562 | 0.0039147 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6153-9_0_5_load_5 | 14 | 0.0078861 | 0.0019764 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6153-9_0_5_load_6 | 15 | 0.01008 | 0.0025263 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6153-9_0_5_load_30 | 17 | 0.0045513 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6153-9_0_5_load_10 | 21 | 0.016169 | 0.0040524 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6153-9_0_5_load_75 | 23 | 0.001105 | 0.00027694 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6153-9_0_5_load_32 | 24 | 0.0042424 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6153-9_0_5_load_31 | 25 | 0.0041375 | 0.0010369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6153-9_0_5_load_17 | 28 | 0.0074467 | 0.0018663 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6153-9_0_5_load_20 | 30 | 0.0088712 | 0.0022233 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6153-9_0_5_load_33 | 33 | 0.013586 | 0.003405 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6153-9_0_5_load_41 | 34 | 0.018327 | 0.0045931 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6153-9_0_5_load_63 | 35 | 0.015307 | 0.0038362 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6153-9_0_5_load_19 | 36 | 0.0087831 | 0.0022012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6153-9_0_5_load_42 | 37 | 0.043384 | 0.010873 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6153-9_0_5_load_44 | 39 | 0.024048 | 0.0060271 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6153-9_0_5_load_45 | 40 | 0.011484 | 0.002878 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6153-9_0_5_load_22 | 41 | 0.091961 | 0.023048 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6153-9_0_5_load_38 | 46 | 0.0067958 | 0.0017032 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6153-9_0_5_load_27 | 47 | 0.012593 | 0.0031561 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6153-9_0_5_load_49 | 48 | 0.005731 | 0.0014363 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6153-9_0_5_load_26 | 50 | 0.037285 | 0.0093446 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6153-9_0_5_load_50 | 51 | 0.0078394 | 0.0019647 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6153-9_0_5_load_73 | 53 | 0.015407 | 0.0038614 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6153-9_0_5_load_57 | 56 | 0.019943 | 0.0049981 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6153-9_0_5_load_55 | 57 | 0.011014 | 0.0027604 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6153-9_0_5_load_62 | 59 | 0.019601 | 0.0049126 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6153-9_0_5_load_37 | 60 | 0.01695 | 0.0042482 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6153-9_0_5_load_72 | 63 | 0.021563 | 0.0054042 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6153-9_0_5_load_70 | 64 | 0.017948 | 0.0044982 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6153-9_0_5_load_67 | 65 | 0.01796 | 0.0045011 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6153-9_0_5_load_71 | 66 | 0.020752 | 0.0052011 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6153-9_0_5_load_61 | 68 | 0.016274 | 0.0040786 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6153-9_0_5_load_60 | 69 | 0.0053378 | 0.0013378 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6153-9_0_5_load_74 | 70 | 0.0031902 | 0.00079955 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6153-9_0_5_line_0 |  | 0 | 1 | 0.029555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6153-9_0_5_line_1 |  | 1 | 2 | 0.099577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6153-9_0_5_line_2 |  | 2 | 6 | 0.0088125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6153-9_0_5_line_3 |  | 3 | 4 | 0.034458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6153-9_0_5_line_4 |  | 3 | 5 | 0.045528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6153-9_0_5_line_5 |  | 4 | 32 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6153-9_0_5_line_6 |  | 4 | 34 | 0.0095961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6153-9_0_5_line_7 |  | 6 | 7 | 0.042153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6153-9_0_5_line_8 |  | 7 | 22 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6153-9_0_5_line_9 |  | 8 | 9 | 0.017117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6153-9_0_5_line_10 |  | 8 | 10 | 0.098725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6153-9_0_5_line_11 |  | 8 | 11 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6153-9_0_5_line_12 |  | 9 | 20 | 0.011391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6153-9_0_5_line_13 |  | 9 | 21 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6153-9_0_5_line_14 |  | 10 | 22 | 0.0066632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6153-9_0_5_line_15 |  | 11 | 23 | 0.02456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6153-9_0_5_line_16 |  | 12 | 13 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6153-9_0_5_line_17 |  | 13 | 14 | 0.013294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6153-9_0_5_line_18 |  | 13 | 15 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6153-9_0_5_line_19 |  | 14 | 16 | 0.025551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6153-9_0_5_line_20 |  | 15 | 17 | 0.0014191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6153-9_0_5_line_21 |  | 16 | 18 | 0.046217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6153-9_0_5_line_22 |  | 17 | 19 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6153-9_0_5_line_23 |  | 18 | 29 | 0.002878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6153-9_0_5_line_24 |  | 18 | 30 | 0.020418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6153-9_0_5_line_25 |  | 19 | 52 | 0.085853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6153-9_0_5_line_26 |  | 19 | 50 | 0.007961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6153-9_0_5_line_27 |  | 20 | 24 | 0.028968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6153-9_0_5_line_28 |  | 20 | 25 | 0.0045616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6153-9_0_5_line_29 |  | 21 | 26 | 0.0028195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6153-9_0_5_line_30 |  | 24 | 27 | 0.015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6153-9_0_5_line_31 |  | 26 | 28 | 0.017404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6153-9_0_5_line_32 |  | 27 | 29 | 0.030552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6153-9_0_5_line_33 |  | 29 | 35 | 0.027375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6153-9_0_5_line_34 |  | 30 | 36 | 0.030062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6153-9_0_5_line_35 |  | 31 | 32 | 0.017846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6153-9_0_5_line_36 |  | 31 | 33 | 0.033951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6153-9_0_5_line_37 |  | 32 | 37 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6153-9_0_5_line_38 |  | 33 | 38 | 0.037841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6153-9_0_5_line_39 |  | 37 | 61 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6153-9_0_5_line_40 |  | 38 | 60 | 0.035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6153-9_0_5_line_41 |  | 39 | 40 | 0.0014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6153-9_0_5_line_42 |  | 40 | 61 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6153-9_0_5_line_43 |  | 41 | 42 | 0.022457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6153-9_0_5_line_44 |  | 42 | 43 | 0.030147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6153-9_0_5_line_45 |  | 42 | 44 | 0.066694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6153-9_0_5_line_46 |  | 43 | 45 | 0.017416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6153-9_0_5_line_47 |  | 43 | 46 | 0.022211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6153-9_0_5_line_48 |  | 44 | 47 | 0.017441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6153-9_0_5_line_49 |  | 44 | 48 | 0.13788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6153-9_0_5_line_50 |  | 45 | 49 | 0.016266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6153-9_0_5_line_51 |  | 47 | 50 | 0.02198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6153-9_0_5_line_52 |  | 48 | 51 | 0.01145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6153-9_0_5_line_53 |  | 49 | 62 | 0.03812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6153-9_0_5_line_54 |  | 49 | 63 | 0.014935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6153-9_0_5_line_55 |  | 52 | 53 | 0.021601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6153-9_0_5_line_56 |  | 52 | 54 | 0.035254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6153-9_0_5_line_57 |  | 52 | 55 | 0.0374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6153-9_0_5_line_58 |  | 54 | 56 | 0.033189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6153-9_0_5_line_59 |  | 54 | 57 | 0.026853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6153-9_0_5_line_60 |  | 55 | 58 | 0.019746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6153-9_0_5_line_61 |  | 55 | 59 | 0.010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6153-9_0_5_line_62 |  | 58 | 70 | 0.010438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6153-9_0_5_line_63 |  | 59 | 69 | 0.0081554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6153-9_0_5_line_64 |  | 61 | 67 | 0.016812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_6153-9_0_5_line_65 |  | 62 | 64 | 0.028412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6153-9_0_5_line_66 |  | 62 | 65 | 0.015718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6153-9_0_5_line_67 |  | 63 | 66 | 0.018742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6153-9_0_5_line_68 |  | 64 | 67 | 0.0074591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6153-9_0_5_line_69 |  | 68 | 69 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6153-9_0_5_trafo_3 | 0.63 MVA 20/0.4 kV | 71 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2562777.4791 | 1122164.6195 | 2562775.332 | 1122155.3503 | 2562781.2196 | 1122150.8784 | 2562786.4612 | 1122145.4433 | 2562785.2319 | 1122140.4979
1 | 2562877.2525 | 1122168.5516 | 2562872.7179 | 1122168.5684 | 2562848.6076 | 1122168.2388 | 2562825.8864 | 1122166.789 | 2562798.8856 | 1122165.4658 | 2562777.4791 | 1122164.6195
2 | 2562877.2525 | 1122168.5516 | 2562877.6034 | 1122165.4146 | 2562877.5119 | 1122159.7595
3 | 2562698.6303 | 1121992.4966 | 2562711.1857 | 1121989.9511 | 2562713.0797 | 1122005.6474 | 2562715.9693 | 1122005.2404 | 2562718.8341 | 1122005.8008
4 | 2562718.8341 | 1122005.8008 | 2562722.2708 | 1121995.3298 | 2562718.8393 | 1121986.68 | 2562715.7105 | 1121961.6728
5 | 2562680.3209 | 1121996.2117 | 2562698.6303 | 1121992.4966
6 | 2562698.6303 | 1121992.4966 | 2562696.3718 | 1121983.1701
7 | 2562876.4996 | 1122117.6193 | 2562877.3297 | 1122148.5077 | 2562877.5119 | 1122159.7595
8 | 2562876.4996 | 1122117.6193 | 2562889.7888 | 1122117.7933
9 | 2562901.3687 | 1122002.9972 | 2562905.6154 | 1122019.5789
10 | 2562905.6154 | 1122019.5789 | 2562896.4514 | 1122117.8775
11 | 2562905.6154 | 1122019.5789 | 2562914.6291 | 1122038.6005
12 | 2562890.3271 | 1122005.9221 | 2562901.3687 | 1122002.9972
13 | 2562901.3687 | 1122002.9972 | 2562913.9584 | 1121999.6574
14 | 2562889.7888 | 1122117.7933 | 2562896.4514 | 1122117.8775
15 | 2562914.6291 | 1122038.6005 | 2562914.1553 | 1122063.1492
16 | 2562799.5231 | 1121943.6049 | 2562777.5 | 1121947.9428
17 | 2562799.5231 | 1121943.6049 | 2562800.2244 | 1121956.8805
18 | 2562799.5231 | 1121943.6049 | 2562798.6795 | 1121927.6295
19 | 2562802.2914 | 1121982.3075 | 2562801.2956 | 1121977.1554 | 2562800.2244 | 1121956.8805
20 | 2562798.6795 | 1121927.6295 | 2562798.6046 | 1121926.2124
21 | 2562802.2914 | 1121982.3075 | 2562847.2865 | 1121971.2026
22 | 2562797.2266 | 1121900.1192 | 2562798.6046 | 1121926.2124
23 | 2562847.2865 | 1121971.2026 | 2562850.1055 | 1121970.5849
24 | 2562847.2865 | 1121971.2026 | 2562845.8297 | 1121950.8364
25 | 2562797.2266 | 1121900.1192 | 2562819.8445 | 1121894.6438 | 2562880.1406 | 1121877.0305
26 | 2562797.2266 | 1121900.1192 | 2562799.0644 | 1121892.3732
27 | 2562890.3271 | 1122005.9221 | 2562883.3651 | 1121977.8033
28 | 2562890.3271 | 1122005.9221 | 2562886.9603 | 1122008.9999
29 | 2562916.6836 | 1121998.9344 | 2562913.9584 | 1121999.6574
30 | 2562879.7134 | 1121963.0545 | 2562883.3651 | 1121977.8033
31 | 2562916.6836 | 1121998.9344 | 2562920.8974 | 1122015.8202
32 | 2562850.1055 | 1121970.5849 | 2562852.8464 | 1121969.8232 | 2562866.2152 | 1121966.5838 | 2562868.0709 | 1121966.0943 | 2562879.7134 | 1121963.0545
33 | 2562850.1055 | 1121970.5849 | 2562854.9417 | 1121953.1352 | 2562863.9407 | 1121950.9193
34 | 2562843.6848 | 1121920.8512 | 2562845.8297 | 1121950.8364
35 | 2562680.3209 | 1121996.2117 | 2562684.5388 | 1122013.5499
36 | 2562684.5388 | 1122013.5499 | 2562676.0188 | 1122015.1479 | 2562651.5006 | 1122021.3192
37 | 2562680.3209 | 1121996.2117 | 2562678.746 | 1121988.473 | 2562677.1713 | 1121980.7677
38 | 2562614.7534 | 1122030.3457 | 2562622.2994 | 1122028.3869 | 2562638.6182 | 1122024.5617 | 2562651.5006 | 1122021.3192
39 | 2562673.2106 | 1121961.3824 | 2562675.3182 | 1121971.7079 | 2562677.1713 | 1121980.7677
40 | 2562614.7534 | 1122030.3457 | 2562616.3744 | 1122038.0396 | 2562621.8271 | 1122043.0306 | 2562638.1522 | 1122040.2392 | 2562641.3354 | 1122040.2705
41 | 2562689.3709 | 1121958.1037 | 2562687.9634 | 1121958.3892
42 | 2562673.2106 | 1121961.3824 | 2562687.9634 | 1121958.3892
43 | 2562744.2123 | 1121871.6205 | 2562746.3801 | 1121879.1999 | 2562750.0851 | 1121892.1836 | 2562750.3792 | 1121893.2142
44 | 2562744.2123 | 1121871.6205 | 2562726.643 | 1121876.5982 | 2562718.2357 | 1121878.9846 | 2562715.21 | 1121879.8482
45 | 2562744.2123 | 1121871.6205 | 2562754.8755 | 1121868.5977 | 2562803.0324 | 1121853.5376 | 2562808.1642 | 1121854.0173
46 | 2562715.21 | 1121879.8482 | 2562707.9806 | 1121881.8939 | 2562698.3476 | 1121884.388
47 | 2562715.21 | 1121879.8482 | 2562721.3959 | 1121901.1799
48 | 2562808.1642 | 1121854.0173 | 2562804.1382 | 1121870.9872
49 | 2562808.1642 | 1121854.0173 | 2562809.668 | 1121841.4795 | 2562811.6002 | 1121833.3746 | 2562814.6689 | 1121816.9585 | 2562820.4459 | 1121789.4534 | 2562825.8418 | 1121763.9405 | 2562830.646 | 1121740.0099 | 2562834.4307 | 1121718.7164
50 | 2562684.1371 | 1121889.9675 | 2562686.3943 | 1121887.0632 | 2562694.7113 | 1121883.7879 | 2562698.3476 | 1121884.388
51 | 2562799.0644 | 1121892.3732 | 2562804.1382 | 1121870.9872
52 | 2562834.4307 | 1121718.7164 | 2562834.8652 | 1121716.2719 | 2562836.5434 | 1121707.4628
53 | 2562658.1906 | 1121910.9052 | 2562657.5333 | 1121905.6399 | 2562659.9704 | 1121899.3884 | 2562665.3619 | 1121895.7309 | 2562675.5823 | 1121892.1993 | 2562684.1371 | 1121889.9675
54 | 2562684.1371 | 1121889.9675 | 2562687.7653 | 1121904.4546
55 | 2562875.3888 | 1121895.6914 | 2562878.6825 | 1121894.515 | 2562880.9864 | 1121890.3987 | 2562880.1406 | 1121877.0305
56 | 2562880.1406 | 1121877.0305 | 2562884.8221 | 1121875.7789 | 2562886.5282 | 1121906.1393
57 | 2562880.1406 | 1121877.0305 | 2562884.8221 | 1121875.7789 | 2562889.6888 | 1121874.5372 | 2562890.3399 | 1121898.89 | 2562893.3808 | 1121897.9931
58 | 2562878.3235 | 1121933.9483 | 2562887.5768 | 1121928.6665 | 2562886.5282 | 1121906.1393
59 | 2562886.5282 | 1121906.1393 | 2562860.5154 | 1121912.8032
60 | 2562895.3603 | 1121917.6353 | 2562893.3808 | 1121897.9931
61 | 2562893.3808 | 1121897.9931 | 2562903.1447 | 1121895.4606
62 | 2562905.4859 | 1121914.9829 | 2562895.3603 | 1121917.6353
63 | 2562911.0486 | 1121893.4509 | 2562906.9024 | 1121894.486 | 2562903.1447 | 1121895.4606
64 | 2562669.03 | 1121945.1 | 2562673.2106 | 1121961.3824
65 | 2562658.1906 | 1121910.9052 | 2562666.776 | 1121937.9895
66 | 2562658.1906 | 1121910.9052 | 2562642.9583 | 1121914.7816
67 | 2562687.7653 | 1121904.4546 | 2562692.3185 | 1121922.635
68 | 2562669.03 | 1121945.1 | 2562666.776 | 1121937.9895
69 | 2562911.0486 | 1121893.4509 | 2562920.8632 | 1121891.0006

## bus_geodata
| x | y | coords
0 | 2562785.2319 | 1122140.4979
1 | 2562777.4791 | 1122164.6195
2 | 2562877.2525 | 1122168.5516
3 | 2562718.8341 | 1122005.8008
4 | 2562698.6303 | 1121992.4966
5 | 2562715.7105 | 1121961.6728
6 | 2562877.5119 | 1122159.7595
7 | 2562876.4996 | 1122117.6193
8 | 2562905.6154 | 1122019.5789
9 | 2562901.3687 | 1122002.9972
10 | 2562896.4514 | 1122117.8775
11 | 2562914.6291 | 1122038.6005
12 | 2562777.5 | 1121947.9428
13 | 2562799.5231 | 1121943.6049
14 | 2562800.2244 | 1121956.8805
15 | 2562798.6795 | 1121927.6295
16 | 2562802.2914 | 1121982.3075
17 | 2562798.6046 | 1121926.2124
18 | 2562847.2865 | 1121971.2026
19 | 2562797.2266 | 1121900.1192
20 | 2562890.3271 | 1122005.9221
21 | 2562913.9584 | 1121999.6574
22 | 2562889.7888 | 1122117.7933
23 | 2562914.1553 | 1122063.1492
24 | 2562883.3651 | 1121977.8033
25 | 2562886.9603 | 1122008.9999
26 | 2562916.6836 | 1121998.9344
27 | 2562879.7134 | 1121963.0545
28 | 2562920.8974 | 1122015.8202
29 | 2562850.1055 | 1121970.5849
30 | 2562845.8297 | 1121950.8364
31 | 2562684.5388 | 1122013.5499
32 | 2562680.3209 | 1121996.2117
33 | 2562651.5006 | 1122021.3192
34 | 2562696.3718 | 1121983.1701
35 | 2562863.9407 | 1121950.9193
36 | 2562843.6848 | 1121920.8512
37 | 2562677.1713 | 1121980.7677
38 | 2562614.7534 | 1122030.3457
39 | 2562689.3709 | 1121958.1037
40 | 2562687.9634 | 1121958.3892
41 | 2562750.3792 | 1121893.2142
42 | 2562744.2123 | 1121871.6205
43 | 2562715.21 | 1121879.8482
44 | 2562808.1642 | 1121854.0173
45 | 2562698.3476 | 1121884.388
46 | 2562721.3959 | 1121901.1799
47 | 2562804.1382 | 1121870.9872
48 | 2562834.4307 | 1121718.7164
49 | 2562684.1371 | 1121889.9675
50 | 2562799.0644 | 1121892.3732
51 | 2562836.5434 | 1121707.4628
52 | 2562880.1406 | 1121877.0305
53 | 2562875.3888 | 1121895.6914
54 | 2562886.5282 | 1121906.1393
55 | 2562893.3808 | 1121897.9931
56 | 2562878.3235 | 1121933.9483
57 | 2562860.5154 | 1121912.8032
58 | 2562895.3603 | 1121917.6353
59 | 2562903.1447 | 1121895.4606
60 | 2562641.3354 | 1122040.2705
61 | 2562673.2106 | 1121961.3824
62 | 2562658.1906 | 1121910.9052
63 | 2562687.7653 | 1121904.4546
64 | 2562666.776 | 1121937.9895
65 | 2562642.9583 | 1121914.7816
66 | 2562692.3185 | 1121922.635
67 | 2562669.03 | 1121945.1
68 | 2562920.8632 | 1121891.0006
69 | 2562911.0486 | 1121893.4509
70 | 2562905.4859 | 1121914.9829
71 | 2562799.5231 | 1121943.6049

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1