## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6156-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6156-18_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6156-18_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6156-18_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6156-18_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6156-18_0_3_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_6156-18_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_6156-18_0_3_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_6156-18_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6156-18_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_6156-18_0_3_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_6156-18_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_6156-18_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_6156-18_0_3_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_6156-18_0_3_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_6156-18_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6156-18_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6156-18_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_6156-18_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6156-18_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6156-18_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6156-18_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_6156-18_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6156-18_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6156-18_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6156-18_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6156-18_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6156-18_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6156-18_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6156-18_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_6156-18_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_6156-18_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_6156-18_0_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_6156-18_0_3_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_6156-18_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6156-18_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6156-18_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_6156-18_0_3_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_6156-18_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_6156-18_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_6156-18_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6156-18_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_6156-18_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6156-18_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_6156-18_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_6156-18_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6156-18_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6156-18_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6156-18_0_3_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_6156-18_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6156-18_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6156-18_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6156-18_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_6156-18_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_6156-18_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6156-18_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6156-18_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6156-18_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_6156-18_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6156-18_0_3_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_6156-18_0_3_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_6156-18_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6156-18_0_3_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_6156-18_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_6156-18_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_6156-18_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_6156-18_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_6156-18_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6156-18_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_6156-18_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_6156-18_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6156-18_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6156-18_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_6156-18_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_6156-18_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_6156-18_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_6156-18_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6156-18_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6156-18_0_3_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_6156-18_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_6156-18_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_6156-18_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_6156-18_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_6156-18_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_6156-18_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6156-18_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_MV_204_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-18_0_3_load_0 | 0 | 0.0013721 | 0.00034387 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-18_0_3_load_3 | 3 | 0.0038444 | 0.00096351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-18_0_3_load_4 | 4 | 0.0057428 | 0.0014393 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-18_0_3_load_82 | 9 | 0.0057267 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-18_0_3_load_13 | 11 | 0.0060464 | 0.0015154 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-18_0_3_load_84 | 12 | 0.005855 | 0.0014674 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-18_0_3_load_33 | 13 | 0.0037913 | 0.0009502 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-18_0_3_load_30 | 14 | 0.0065433 | 0.0016399 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-18_0_3_load_81 | 15 | 0.0088194 | 0.0022104 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-18_0_3_load_88 | 16 | 0.0054183 | 0.001358 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-18_0_3_load_12 | 18 | 0.0071919 | 0.0018025 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-18_0_3_load_7 | 19 | 0.0034241 | 0.00085816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-18_0_3_load_14 | 21 | 0.0059295 | 0.0014861 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-18_0_3_load_15 | 22 | 0.0058895 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-18_0_3_load_11 | 23 | 0.0082146 | 0.0020588 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-18_0_3_load_16 | 24 | 0.0053794 | 0.0013482 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-18_0_3_load_17 | 25 | 0.001643 | 0.00041176 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-18_0_3_load_20 | 28 | 0.004669 | 0.0011702 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-18_0_3_load_24 | 29 | 0.0046609 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-18_0_3_load_21 | 30 | 0.0034085 | 0.00085425 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-18_0_3_load_29 | 31 | 0.0043471 | 0.0010895 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-18_0_3_load_27 | 32 | 0.0031466 | 0.00078861 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-18_0_3_load_25 | 33 | 0.0040471 | 0.0010143 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-18_0_3_load_61 | 34 | 0.0084083 | 0.0021073 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-18_0_3_load_60 | 35 | 0.0070262 | 0.0017609 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-18_0_3_load_22 | 36 | 0.0060991 | 0.0015286 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-18_0_3_load_42 | 38 | 0.0067428 | 0.0016899 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-18_0_3_load_59 | 39 | 0.0078296 | 0.0019623 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-18_0_3_load_38 | 41 | 0.010372 | 0.0025994 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-18_0_3_load_35 | 42 | 0.004474 | 0.0011213 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-18_0_3_load_26 | 43 | 0.0030062 | 0.00075342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-18_0_3_load_28 | 44 | 0.0028436 | 0.00071268 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-18_0_3_load_50 | 45 | 0.0028359 | 0.00071074 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-18_0_3_load_49 | 46 | 0.0027393 | 0.00068654 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-18_0_3_load_34 | 48 | 0.0062766 | 0.0015731 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-18_0_3_load_87 | 50 | 0.005192 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-18_0_3_load_56 | 51 | 0.0075251 | 0.001886 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-18_0_3_load_40 | 54 | 0.0054189 | 0.0013581 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-18_0_3_load_44 | 55 | 0.0071608 | 0.0017947 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-18_0_3_load_48 | 56 | 0.0021814 | 0.00054672 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-18_0_3_load_51 | 57 | 0.0046401 | 0.0011629 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-18_0_3_load_43 | 58 | 0.0051112 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-18_0_3_load_47 | 59 | 0.004713 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-18_0_3_load_52 | 60 | 0.0032673 | 0.00081886 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-18_0_3_load_85 | 61 | 0.0036933 | 0.00092562 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-18_0_3_load_86 | 62 | 0.0049406 | 0.0012382 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-18_0_3_load_55 | 63 | 0.0066143 | 0.0016577 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-18_0_3_load_70 | 64 | 0.0080483 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-18_0_3_load_45 | 65 | 0.008745 | 0.0021917 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-18_0_3_load_57 | 67 | 0.0075697 | 0.0018971 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-18_0_3_load_58 | 68 | 0.0055492 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-18_0_3_load_62 | 69 | 0.0038665 | 0.00096903 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6156-18_0_3_load_63 | 70 | 0.0065719 | 0.0016471 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6156-18_0_3_load_66 | 73 | 0.011328 | 0.002839 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6156-18_0_3_load_71 | 74 | 0.0061804 | 0.0015489 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6156-18_0_3_load_65 | 75 | 0.0072804 | 0.0018246 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6156-18_0_3_load_72 | 76 | 0.0050961 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6156-18_0_3_load_67 | 78 | 0.003817 | 0.00095663 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6156-18_0_3_load_89 | 80 | 0.0069618 | 0.0017448 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6156-18_0_3_load_79 | 83 | 0.0086135 | 0.0021587 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6156-18_0_3_load_76 | 84 | 0.0081994 | 0.002055 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6156-18_0_3_load_77 | 85 | 0.0081677 | 0.002047 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6156-18_0_3_load_80 | 87 | 0.005929 | 0.0014859 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-18_0_3_line_0 |  | 0 | 1 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-18_0_3_line_1 |  | 0 | 2 | 0.045667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-18_0_3_line_2 |  | 1 | 3 | 0.012745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-18_0_3_line_3 |  | 1 | 4 | 0.045496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-18_0_3_line_4 |  | 2 | 5 | 0.007264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6156-18_0_3_line_5 |  | 2 | 6 | 0.015413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-18_0_3_line_6 |  | 4 | 7 | 0.010703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-18_0_3_line_7 |  | 5 | 8 | 0.028077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-18_0_3_line_8 |  | 5 | 9 | 0.059202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6156-18_0_3_line_9 |  | 6 | 10 | 0.053879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6156-18_0_3_line_10 |  | 6 | 11 | 0.016201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-18_0_3_line_11 |  | 7 | 12 | 0.023649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-18_0_3_line_12 |  | 8 | 13 | 0.020749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-18_0_3_line_13 |  | 8 | 14 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6156-18_0_3_line_14 |  | 9 | 15 | 0.022133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-18_0_3_line_15 |  | 10 | 16 | 0.013512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6156-18_0_3_line_16 |  | 10 | 17 | 0.010248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6156-18_0_3_line_17 |  | 11 | 18 | 0.030732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6156-18_0_3_line_18 |  | 14 | 47 | 0.037157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-18_0_3_line_19 |  | 15 | 86 | 0.016364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6156-18_0_3_line_20 |  | 17 | 20 | 0.011321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-18_0_3_line_21 |  | 17 | 19 | 0.035518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-18_0_3_line_22 |  | 18 | 23 | 0.01882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6156-18_0_3_line_23 |  | 20 | 21 | 0.025487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6156-18_0_3_line_24 |  | 21 | 22 | 0.053577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6156-18_0_3_line_25 |  | 24 | 25 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-18_0_3_line_26 |  | 25 | 26 | 0.038631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-18_0_3_line_27 |  | 26 | 27 | 0.020054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6156-18_0_3_line_28 |  | 26 | 28 | 0.0046026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6156-18_0_3_line_29 |  | 27 | 29 | 0.022412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6156-18_0_3_line_30 |  | 27 | 30 | 0.01356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6156-18_0_3_line_31 |  | 28 | 31 | 0.027112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6156-18_0_3_line_32 |  | 30 | 36 | 0.020327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6156-18_0_3_line_33 |  | 32 | 33 | 0.02457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6156-18_0_3_line_34 |  | 33 | 43 | 0.008233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6156-18_0_3_line_35 |  | 34 | 35 | 0.034043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6156-18_0_3_line_36 |  | 35 | 39 | 0.03444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6156-18_0_3_line_37 |  | 35 | 47 | 0.058622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6156-18_0_3_line_38 |  | 36 | 37 | 0.019883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6156-18_0_3_line_39 |  | 37 | 40 | 0.009104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6156-18_0_3_line_40 |  | 38 | 39 | 0.040918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6156-18_0_3_line_41 |  | 39 | 67 | 0.027724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6156-18_0_3_line_42 |  | 40 | 41 | 0.0066198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6156-18_0_3_line_43 |  | 40 | 42 | 0.024679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6156-18_0_3_line_44 |  | 41 | 55 | 0.020515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6156-18_0_3_line_45 |  | 42 | 52 | 0.016275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6156-18_0_3_line_46 |  | 43 | 44 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6156-18_0_3_line_47 |  | 44 | 45 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-18_0_3_line_48 |  | 45 | 46 | 0.0025248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-18_0_3_line_49 |  | 46 | 59 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6156-18_0_3_line_50 |  | 47 | 48 | 0.01457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6156-18_0_3_line_51 |  | 49 | 50 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6156-18_0_3_line_52 |  | 49 | 51 | 0.037118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6156-18_0_3_line_53 |  | 50 | 62 | 0.025516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6156-18_0_3_line_54 |  | 51 | 67 | 0.025107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6156-18_0_3_line_55 |  | 51 | 68 | 0.048273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6156-18_0_3_line_56 |  | 52 | 53 | 0.003915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6156-18_0_3_line_57 |  | 52 | 54 | 0.043519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6156-18_0_3_line_58 |  | 53 | 56 | 0.020426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6156-18_0_3_line_59 |  | 53 | 57 | 0.0097977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6156-18_0_3_line_60 |  | 55 | 58 | 0.022602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6156-18_0_3_line_61 |  | 56 | 59 | 0.011322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6156-18_0_3_line_62 |  | 57 | 60 | 0.025308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6156-18_0_3_line_63 |  | 58 | 65 | 0.0040905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6156-18_0_3_line_64 |  | 61 | 62 | 0.027166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6156-18_0_3_line_65 |  | 61 | 63 | 0.060989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6156-18_0_3_line_66 |  | 61 | 64 | 0.025542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6156-18_0_3_line_67 |  | 63 | 66 | 0.015149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_6156-18_0_3_line_68 |  | 64 | 75 | 0.039085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6156-18_0_3_line_69 |  | 64 | 70 | 0.021574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6156-18_0_3_line_70 |  | 65 | 66 | 0.045496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6156-18_0_3_line_71 |  | 69 | 70 | 0.030274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6156-18_0_3_line_72 |  | 69 | 71 | 0.020455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6156-18_0_3_line_73 |  | 69 | 72 | 0.029843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6156-18_0_3_line_74 |  | 71 | 73 | 0.037901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6156-18_0_3_line_75 |  | 72 | 74 | 0.010079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6156-18_0_3_line_76 |  | 73 | 78 | 0.038275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6156-18_0_3_line_77 |  | 75 | 76 | 0.039412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6156-18_0_3_line_78 |  | 75 | 77 | 0.033117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6156-18_0_3_line_79 |  | 77 | 79 | 0.037379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6156-18_0_3_line_80 |  | 78 | 81 | 0.020727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6156-18_0_3_line_81 |  | 79 | 80 | 0.021035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6156-18_0_3_line_82 |  | 81 | 82 | 0.042228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6156-18_0_3_line_83 |  | 82 | 83 | 0.025571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6156-18_0_3_line_84 |  | 84 | 85 | 0.029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6156-18_0_3_line_85 |  | 85 | 86 | 0.023211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6156-18_0_3_line_86 |  | 86 | 87 | 0.018047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-18_0_3_trafo_42 | 0.63 MVA 20/0.4 kV | 88 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2560141.7532 | 1120401.9668 | 2560146.5641 | 1120410.8729 | 2560147.163 | 1120412.181
1 | 2560157.9105 | 1120456.2212 | 2560156.9299 | 1120446.745 | 2560155.7771 | 1120438.0482 | 2560153.8998 | 1120429.4562 | 2560150.9787 | 1120420.5153 | 2560147.163 | 1120412.181
2 | 2560141.7532 | 1120401.9668 | 2560137.4392 | 1120394.7026 | 2560134.8902 | 1120391.2436
3 | 2560141.7532 | 1120401.9668 | 2560164.3103 | 1120418.3374 | 2560177.5078 | 1120430.018
4 | 2560157.9105 | 1120456.2212 | 2560158.56 | 1120463.4539
5 | 2560144.0449 | 1120449.9428 | 2560151.5752 | 1120454.7845 | 2560157.9105 | 1120456.2212
6 | 2560184.8127 | 1120437.8233 | 2560179.209 | 1120431.5237 | 2560177.5078 | 1120430.018
7 | 2560161.9607 | 1120491.3124 | 2560160.9806 | 1120484.2486 | 2560160.0518 | 1120477.9293 | 2560158.56 | 1120463.4539
8 | 2560158.56 | 1120463.4539 | 2560164.2785 | 1120467.2959 | 2560168.1079 | 1120472.44 | 2560173.8134 | 1120478.9724 | 2560179.8089 | 1120485.047 | 2560184.5141 | 1120489.6406 | 2560190.4111 | 1120497.15 | 2560197.8502 | 1120507.2793
9 | 2560144.0449 | 1120449.9428 | 2560137.6423 | 1120446.4944 | 2560132.0469 | 1120443.7855 | 2560118.4127 | 1120437.5168 | 2560107.6301 | 1120432.0074 | 2560096.0372 | 1120425.2916
10 | 2560144.0449 | 1120449.9428 | 2560143.0551 | 1120447.2591 | 2560141.1011 | 1120444.5817 | 2560137.6495 | 1120441.7475 | 2560134.0122 | 1120437.6583 | 2560133.955 | 1120437.5923
11 | 2560184.8127 | 1120437.8233 | 2560185.3993 | 1120443.7224 | 2560188.4732 | 1120448.9382 | 2560195.8078 | 1120458.0278
12 | 2560147.0171 | 1120478.3154 | 2560153.3778 | 1120487.1113 | 2560157.5127 | 1120490.6191 | 2560161.9607 | 1120491.3124
13 | 2560161.9607 | 1120491.3124 | 2560164.6492 | 1120506.3799
14 | 2560210.5181 | 1120525.4265 | 2560200.9899 | 1120511.5543 | 2560197.8502 | 1120507.2793
15 | 2560096.0372 | 1120425.2916 | 2560095.5247 | 1120438.7908
16 | 2560087.6128 | 1120419.4221 | 2560096.0372 | 1120425.2916
17 | 2560119.3485 | 1120410.7373 | 2560123.144 | 1120419.1984 | 2560126.4931 | 1120426.3577 | 2560129.2203 | 1120431.6313 | 2560131.7423 | 1120435.0386 | 2560133.955 | 1120437.5923
18 | 2560174.4926 | 1120542.1668 | 2560170.5346 | 1120530.398 | 2560165.4854 | 1120511.0659 | 2560164.6492 | 1120506.3799
19 | 2560218.8322 | 1120539.5177 | 2560211.0767 | 1120526.2398 | 2560210.5181 | 1120525.4265
20 | 2560087.6128 | 1120419.4221 | 2560077.9002 | 1120413.5611
21 | 2560087.6128 | 1120419.4221 | 2560087.3671 | 1120416.0998 | 2560086.7338 | 1120412.4799 | 2560084.5859 | 1120403.823 | 2560082.304 | 1120395.9007 | 2560080.4339 | 1120391.911 | 2560077.5704 | 1120388.1947 | 2560076.1008 | 1120386.4909
22 | 2560113.0526 | 1120393.7693 | 2560112.1597 | 1120396.0035 | 2560114.977 | 1120400.8985 | 2560119.0569 | 1120410.0874 | 2560119.3485 | 1120410.7373
23 | 2560077.9002 | 1120413.5611 | 2560074.6304 | 1120420.7419 | 2560072.39 | 1120427.2489 | 2560071.2928 | 1120435.1491 | 2560072.014 | 1120437.7916
24 | 2560072.014 | 1120437.7916 | 2560072.5103 | 1120439.61 | 2560074.3528 | 1120442.9217 | 2560078.384 | 1120448.2311 | 2560088.3248 | 1120461.7723 | 2560092.1747 | 1120466.4937 | 2560097.5935 | 1120470.5044 | 2560105.1358 | 1120479.3234
25 | 2560036.4441 | 1120507.3481 | 2560041.8762 | 1120516.5074 | 2560047.5366 | 1120524.1794
26 | 2560070.0066 | 1120555.5969 | 2560063.1591 | 1120545.5148 | 2560051.6298 | 1120529.7274 | 2560047.5366 | 1120524.1794
27 | 2560070.0066 | 1120555.5969 | 2560077.3116 | 1120566.0317 | 2560081.6706 | 1120571.9281
28 | 2560070.0066 | 1120555.5969 | 2560067.3491 | 1120555.0141 | 2560065.8851 | 1120553.8317
29 | 2560076.6047 | 1120550.1282 | 2560079.4779 | 1120559.9921 | 2560081.6706 | 1120571.9281
30 | 2560081.6706 | 1120571.9281 | 2560089.4812 | 1120583.0122
31 | 2560042.1328 | 1120549.4447 | 2560046.5286 | 1120546.9144 | 2560050.5022 | 1120545.8542 | 2560053.7035 | 1120545.833 | 2560056.5563 | 1120546.7813 | 2560060.7785 | 1120549.4881 | 2560064.6733 | 1120552.853 | 2560065.8851 | 1120553.8317
32 | 2560089.4812 | 1120583.0122 | 2560093.7253 | 1120589.035 | 2560100.5991 | 1120598.4277 | 2560101.3795 | 1120599.4926
33 | 2560044.7031 | 1120582.3001 | 2560060.7766 | 1120600.8834
34 | 2560060.7766 | 1120600.8834 | 2560066.1625 | 1120607.1103
35 | 2560098.5572 | 1120538.3809 | 2560109.3952 | 1120550.8564 | 2560120.3139 | 1120564.5547
36 | 2560141.2048 | 1120591.8248 | 2560138.3971 | 1120588.8399 | 2560135.2061 | 1120584.581 | 2560129.2655 | 1120575.1376 | 2560122.8991 | 1120567.7981 | 2560120.3139 | 1120564.5547
37 | 2560174.4926 | 1120542.1668 | 2560120.3139 | 1120564.5547
38 | 2560111.5183 | 1120616.487 | 2560107.4182 | 1120607.7318 | 2560101.3795 | 1120599.4926
39 | 2560111.5183 | 1120616.487 | 2560117.5266 | 1120623.3397
40 | 2560179.3164 | 1120576.933 | 2560141.2048 | 1120591.8248
41 | 2560141.2048 | 1120591.8248 | 2560143.1671 | 1120593.911 | 2560150.9249 | 1120602.8532 | 2560156.3058 | 1120611.6556 | 2560157.6998 | 1120613.9737
42 | 2560117.5266 | 1120623.3397 | 2560119.738 | 1120622.9471 | 2560122.7562 | 1120624.4057 | 2560123.3797 | 1120625.215
43 | 2560117.5266 | 1120623.3397 | 2560115.3725 | 1120625.3883 | 2560114.3275 | 1120629.5195 | 2560116.4608 | 1120646.503 | 2560116.5002 | 1120646.8291
44 | 2560133.8488 | 1120642.8083 | 2560129.5502 | 1120635.7555 | 2560125.6195 | 1120628.122 | 2560123.3797 | 1120625.215
45 | 2560118.452 | 1120662.9872 | 2560116.5002 | 1120646.8291
46 | 2560066.1625 | 1120607.1103 | 2560068.4517 | 1120609.757 | 2560073.5039 | 1120615.8057
47 | 2560084.7372 | 1120629.2546 | 2560073.5039 | 1120615.8057
48 | 2560086.3557 | 1120631.1924 | 2560084.7372 | 1120629.2546
49 | 2560096.959 | 1120643.7266 | 2560089.2752 | 1120634.6877 | 2560086.3557 | 1120631.1924
50 | 2560174.4926 | 1120542.1668 | 2560177.5494 | 1120551.8182 | 2560179.0001 | 1120556.0205
51 | 2560196.9957 | 1120612.4432 | 2560220.1235 | 1120622.3312
52 | 2560196.9957 | 1120612.4432 | 2560168.7076 | 1120636.4747
53 | 2560227.1207 | 1120646.8671 | 2560226.5642 | 1120645.2318 | 2560220.1235 | 1120622.3312
54 | 2560168.7076 | 1120636.4747 | 2560167.9188 | 1120634.335 | 2560162.4052 | 1120621.7983 | 2560157.6998 | 1120613.9737
55 | 2560168.7076 | 1120636.4747 | 2560173.6056 | 1120649.7609 | 2560177.7861 | 1120662.5399 | 2560180.1243 | 1120673.1966 | 2560182.2638 | 1120682.716
56 | 2560118.452 | 1120662.9872 | 2560118.5473 | 1120666.8996
57 | 2560118.452 | 1120662.9872 | 2560121.2047 | 1120667.4713 | 2560128.1911 | 1120677.597 | 2560137.4405 | 1120691.632 | 2560142.0241 | 1120699.5477
58 | 2560118.5473 | 1120666.8996 | 2560116.2067 | 1120665.2587 | 2560106.2938 | 1120654.7077 | 2560104.292 | 1120652.3529
59 | 2560118.5473 | 1120666.8996 | 2560119.549 | 1120676.646
60 | 2560145.5375 | 1120662.1527 | 2560139.7742 | 1120652.53 | 2560133.8488 | 1120642.8083
61 | 2560096.959 | 1120643.7266 | 2560104.292 | 1120652.3529
62 | 2560119.549 | 1120676.646 | 2560119.7097 | 1120678.2088 | 2560123.878 | 1120700.8151 | 2560124.0208 | 1120701.5506
63 | 2560145.5375 | 1120662.1527 | 2560147.6393 | 1120665.662
64 | 2560236.0791 | 1120672.5115 | 2560232.8337 | 1120663.6555 | 2560227.1207 | 1120646.8671
65 | 2560236.0791 | 1120672.5115 | 2560177.9978 | 1120691.1197
66 | 2560258.0645 | 1120659.5092 | 2560236.0791 | 1120672.5115
67 | 2560177.9978 | 1120691.1197 | 2560175.6597 | 1120696.8603 | 2560173.5623 | 1120701.6655 | 2560171.2363 | 1120704.5601
68 | 2560258.0645 | 1120659.5092 | 2560293.266 | 1120642.5249
69 | 2560258.0645 | 1120659.5092 | 2560277.3105 | 1120649.7616
70 | 2560171.2363 | 1120704.5601 | 2560159.8512 | 1120685.9923 | 2560149.9144 | 1120669.4606 | 2560147.6393 | 1120665.662
71 | 2560284.428 | 1120620.5048 | 2560281.519 | 1120628.7062 | 2560278.22 | 1120640.823 | 2560277.1835 | 1120648.6115 | 2560277.3105 | 1120649.7616
72 | 2560291.282 | 1120601.2502 | 2560289.7764 | 1120604.5729 | 2560286.8585 | 1120613.6523 | 2560284.428 | 1120620.5048
73 | 2560255.5882 | 1120628.1765 | 2560284.428 | 1120620.5048
74 | 2560255.1787 | 1120589.7162 | 2560291.282 | 1120601.2502
75 | 2560247.767 | 1120622.4584 | 2560248.985 | 1120624.6737 | 2560252.5735 | 1120627.2403 | 2560255.5882 | 1120628.1765
76 | 2560255.1787 | 1120589.7162 | 2560254.7202 | 1120587.7282 | 2560253.8847 | 1120581.5083 | 2560254.1167 | 1120576.9156 | 2560255.8588 | 1120570.8455 | 2560259.4162 | 1120562.818 | 2560260.5181 | 1120557.9416 | 2560260.7257 | 1120554.3272 | 2560260.3952 | 1120552.7159
77 | 2560293.266 | 1120642.5249 | 2560312.5216 | 1120676.9132
78 | 2560293.266 | 1120642.5249 | 2560322.6113 | 1120657.8732
79 | 2560322.6113 | 1120657.8732 | 2560328.5829 | 1120675.6208 | 2560335.4391 | 1120692.9735
80 | 2560256.9353 | 1120532.8301 | 2560255.8666 | 1120535.7164 | 2560256.2746 | 1120539.0932 | 2560257.4145 | 1120542.3429 | 2560258.5597 | 1120546.3819 | 2560259.9287 | 1120550.4416 | 2560260.3952 | 1120552.7159
81 | 2560336.0815 | 1120672.1698 | 2560336.7481 | 1120689.0852 | 2560335.4391 | 1120692.9735
82 | 2560256.9353 | 1120532.8301 | 2560248.5744 | 1120526.0039 | 2560244.3553 | 1120521.4182 | 2560237.8432 | 1120511.8673 | 2560230.339 | 1120500.422
83 | 2560230.339 | 1120500.422 | 2560229.2824 | 1120503.9752 | 2560229.1117 | 1120508.5231 | 2560230.0019 | 1120512.497 | 2560231.098 | 1120517.2811 | 2560235.3719 | 1120524.4345
84 | 2560240.6419 | 1120586.8347 | 2560235.7342 | 1120571.1336 | 2560231.7304 | 1120562.9225 | 2560230.0837 | 1120559.8146
85 | 2560218.8322 | 1120539.5177 | 2560224.5283 | 1120549.3296 | 2560230.0837 | 1120559.8146
86 | 2560218.8322 | 1120539.5177 | 2560217.8482 | 1120542.3812 | 2560218.2204 | 1120546.1807 | 2560219.9841 | 1120549.2595 | 2560221.5917 | 1120556.7416

## bus_geodata
| x | y | coords
0 | 2560147.163 | 1120412.181
1 | 2560141.7532 | 1120401.9668
2 | 2560157.9105 | 1120456.2212
3 | 2560134.8902 | 1120391.2436
4 | 2560177.5078 | 1120430.018
5 | 2560158.56 | 1120463.4539
6 | 2560144.0449 | 1120449.9428
7 | 2560184.8127 | 1120437.8233
8 | 2560161.9607 | 1120491.3124
9 | 2560197.8502 | 1120507.2793
10 | 2560096.0372 | 1120425.2916
11 | 2560133.955 | 1120437.5923
12 | 2560195.8078 | 1120458.0278
13 | 2560147.0171 | 1120478.3154
14 | 2560164.6492 | 1120506.3799
15 | 2560210.5181 | 1120525.4265
16 | 2560095.5247 | 1120438.7908
17 | 2560087.6128 | 1120419.4221
18 | 2560119.3485 | 1120410.7373
19 | 2560076.1008 | 1120386.4909
20 | 2560077.9002 | 1120413.5611
21 | 2560072.014 | 1120437.7916
22 | 2560105.1358 | 1120479.3234
23 | 2560113.0526 | 1120393.7693
24 | 2560036.4441 | 1120507.3481
25 | 2560047.5366 | 1120524.1794
26 | 2560070.0066 | 1120555.5969
27 | 2560081.6706 | 1120571.9281
28 | 2560065.8851 | 1120553.8317
29 | 2560076.6047 | 1120550.1282
30 | 2560089.4812 | 1120583.0122
31 | 2560042.1328 | 1120549.4447
32 | 2560044.7031 | 1120582.3001
33 | 2560060.7766 | 1120600.8834
34 | 2560098.5572 | 1120538.3809
35 | 2560120.3139 | 1120564.5547
36 | 2560101.3795 | 1120599.4926
37 | 2560111.5183 | 1120616.487
38 | 2560179.3164 | 1120576.933
39 | 2560141.2048 | 1120591.8248
40 | 2560117.5266 | 1120623.3397
41 | 2560123.3797 | 1120625.215
42 | 2560116.5002 | 1120646.8291
43 | 2560066.1625 | 1120607.1103
44 | 2560073.5039 | 1120615.8057
45 | 2560084.7372 | 1120629.2546
46 | 2560086.3557 | 1120631.1924
47 | 2560174.4926 | 1120542.1668
48 | 2560179.0001 | 1120556.0205
49 | 2560196.9957 | 1120612.4432
50 | 2560220.1235 | 1120622.3312
51 | 2560168.7076 | 1120636.4747
52 | 2560118.452 | 1120662.9872
53 | 2560118.5473 | 1120666.8996
54 | 2560142.0241 | 1120699.5477
55 | 2560133.8488 | 1120642.8083
56 | 2560104.292 | 1120652.3529
57 | 2560119.549 | 1120676.646
58 | 2560145.5375 | 1120662.1527
59 | 2560096.959 | 1120643.7266
60 | 2560124.0208 | 1120701.5506
61 | 2560236.0791 | 1120672.5115
62 | 2560227.1207 | 1120646.8671
63 | 2560177.9978 | 1120691.1197
64 | 2560258.0645 | 1120659.5092
65 | 2560147.6393 | 1120665.662
66 | 2560171.2363 | 1120704.5601
67 | 2560157.6998 | 1120613.9737
68 | 2560182.2638 | 1120682.716
69 | 2560284.428 | 1120620.5048
70 | 2560277.3105 | 1120649.7616
71 | 2560291.282 | 1120601.2502
72 | 2560255.5882 | 1120628.1765
73 | 2560255.1787 | 1120589.7162
74 | 2560247.767 | 1120622.4584
75 | 2560293.266 | 1120642.5249
76 | 2560312.5216 | 1120676.9132
77 | 2560322.6113 | 1120657.8732
78 | 2560260.3952 | 1120552.7159
79 | 2560335.4391 | 1120692.9735
80 | 2560336.0815 | 1120672.1698
81 | 2560256.9353 | 1120532.8301
82 | 2560230.339 | 1120500.422
83 | 2560235.3719 | 1120524.4345
84 | 2560240.6419 | 1120586.8347
85 | 2560230.0837 | 1120559.8146
86 | 2560218.8322 | 1120539.5177
87 | 2560221.5917 | 1120556.7416
88 | 2560178.7837 | 1120575.2109

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1