## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6156-1_0_2_node_167 | 0.4 | n |  | TRUE
3 | bus_LV_6156-1_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6156-1_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6156-1_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6156-1_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6156-1_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6156-1_0_2_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_6156-1_0_2_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_6156-1_0_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6156-1_0_2_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_6156-1_0_2_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_6156-1_0_2_node_144 | 0.4 | n |  | TRUE
14 | bus_LV_6156-1_0_2_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_6156-1_0_2_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_6156-1_0_2_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_6156-1_0_2_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_6156-1_0_2_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_6156-1_0_2_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_6156-1_0_2_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_6156-1_0_2_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_6156-1_0_2_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_6156-1_0_2_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_6156-1_0_2_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_6156-1_0_2_node_203 | 0.4 | n |  | TRUE
26 | bus_LV_6156-1_0_2_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_6156-1_0_2_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_6156-1_0_2_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_6156-1_0_2_node_194 | 0.4 | n |  | TRUE
30 | bus_LV_6156-1_0_2_node_193 | 0.4 | n |  | TRUE
31 | bus_LV_6156-1_0_2_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_6156-1_0_2_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_6156-1_0_2_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_6156-1_0_2_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_6156-1_0_2_node_143 | 0.4 | n |  | TRUE
36 | bus_LV_6156-1_0_2_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_6156-1_0_2_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_6156-1_0_2_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_6156-1_0_2_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_6156-1_0_2_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_6156-1_0_2_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_6156-1_0_2_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_6156-1_0_2_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_6156-1_0_2_node_110 | 0.4 | n |  | TRUE
45 | bus_LV_6156-1_0_2_node_134 | 0.4 | n |  | TRUE
46 | bus_LV_6156-1_0_2_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_6156-1_0_2_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_6156-1_0_2_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_6156-1_0_2_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_6156-1_0_2_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_6156-1_0_2_node_169 | 0.4 | n |  | TRUE
52 | bus_LV_6156-1_0_2_node_135 | 0.4 | n |  | TRUE
53 | bus_LV_6156-1_0_2_node_164 | 0.4 | n |  | TRUE
54 | bus_LV_6156-1_0_2_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_6156-1_0_2_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_6156-1_0_2_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_6156-1_0_2_node_111 | 0.4 | n |  | TRUE
58 | bus_LV_6156-1_0_2_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_6156-1_0_2_node_113 | 0.4 | n |  | TRUE
60 | bus_LV_6156-1_0_2_node_132 | 0.4 | n |  | TRUE
61 | bus_LV_6156-1_0_2_node_124 | 0.4 | n |  | TRUE
62 | bus_LV_6156-1_0_2_node_123 | 0.4 | n |  | TRUE
63 | bus_LV_6156-1_0_2_node_125 | 0.4 | n |  | TRUE
64 | bus_LV_6156-1_0_2_node_126 | 0.4 | n |  | TRUE
65 | bus_LV_6156-1_0_2_node_162 | 0.4 | n |  | TRUE
66 | bus_LV_6156-1_0_2_node_160 | 0.4 | n |  | TRUE
67 | bus_LV_6156-1_0_2_node_163 | 0.4 | n |  | TRUE
68 | bus_LV_6156-1_0_2_node_136 | 0.4 | n |  | TRUE
69 | bus_LV_6156-1_0_2_node_137 | 0.4 | n |  | TRUE
70 | bus_LV_6156-1_0_2_node_138 | 0.4 | n |  | TRUE
71 | bus_LV_6156-1_0_2_node_139 | 0.4 | n |  | TRUE
72 | bus_LV_6156-1_0_2_node_145 | 0.4 | n |  | TRUE
73 | bus_LV_6156-1_0_2_node_146 | 0.4 | n |  | TRUE
74 | bus_LV_6156-1_0_2_node_147 | 0.4 | n |  | TRUE
75 | bus_LV_6156-1_0_2_node_155 | 0.4 | n |  | TRUE
76 | bus_LV_6156-1_0_2_node_159 | 0.4 | n |  | TRUE
77 | bus_LV_6156-1_0_2_node_165 | 0.4 | n |  | TRUE
78 | bus_LV_6156-1_0_2_node_166 | 0.4 | n |  | TRUE
79 | bus_LV_6156-1_0_2_node_171 | 0.4 | n |  | TRUE
80 | bus_LV_6156-1_0_2_node_168 | 0.4 | n |  | TRUE
81 | bus_LV_6156-1_0_2_node_172 | 0.4 | n |  | TRUE
82 | bus_LV_6156-1_0_2_node_173 | 0.4 | n |  | TRUE
83 | bus_LV_6156-1_0_2_node_199 | 0.4 | n |  | TRUE
84 | bus_LV_6156-1_0_2_node_205 | 0.4 | n |  | TRUE
85 | bus_LV_6156-1_0_2_node_195 | 0.4 | n |  | TRUE
86 | bus_LV_6156-1_0_2_node_196 | 0.4 | n |  | TRUE
87 | bus_LV_6156-1_0_2_node_197 | 0.4 | n |  | TRUE
88 | bus_LV_6156-1_0_2_node_198 | 0.4 | n |  | TRUE
89 | bus_LV_6156-1_0_2_node_212 | 0.4 | n |  | TRUE
90 | bus_LV_6156-1_0_2_node_202 | 0.4 | n |  | TRUE
91 | bus_LV_6156-1_0_2_node_206 | 0.4 | n |  | TRUE
92 | bus_MV_105_1_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-1_0_2_load_0 | 0 | 0.002724 | 0.00068269 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-1_0_2_load_167 | 2 | 0.012446 | 0.0031194 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-1_0_2_load_2 | 3 | 0.00048083 | 0.00012051 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-1_0_2_load_3 | 4 | 0.0026758 | 0.00067061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-1_0_2_load_4 | 5 | 0.0020067 | 0.00050292 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-1_0_2_load_5 | 6 | 0.00058769 | 0.00014729 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-1_0_2_load_7 | 7 | 0.0016595 | 0.00041592 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-1_0_2_load_19 | 9 | 0.00073615 | 0.0001845 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-1_0_2_load_20 | 10 | 0.0014022 | 0.00035142 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-1_0_2_load_40 | 11 | 0.0018242 | 0.0004572 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-1_0_2_load_144 | 13 | 0.0018715 | 0.00046904 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-1_0_2_load_51 | 15 | 0.0027192 | 0.0006815 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-1_0_2_load_42 | 16 | 0.00098903 | 0.00024788 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-1_0_2_load_44 | 17 | 0.0025719 | 0.00064457 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-1_0_2_load_47 | 19 | 0.00111 | 0.00027819 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-1_0_2_load_50 | 22 | 0.00072066 | 0.00018061 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-1_0_2_load_54 | 23 | 0.0030858 | 0.00077338 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-1_0_2_load_52 | 24 | 0.0027949 | 0.00070047 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-1_0_2_load_203 | 25 | 0.0043698 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-1_0_2_load_53 | 26 | 0.002014 | 0.00050476 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-1_0_2_load_194 | 29 | 0.0028977 | 0.00072623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-1_0_2_load_193 | 30 | 0.0017989 | 0.00045084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-1_0_2_load_57 | 31 | 0.0026149 | 0.00065536 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-1_0_2_load_58 | 32 | 0.0020945 | 0.00052492 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-1_0_2_load_59 | 33 | 0.0042704 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-1_0_2_load_60 | 34 | 0.0022323 | 0.00055946 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-1_0_2_load_143 | 35 | 0.003167 | 0.00079373 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-1_0_2_load_61 | 36 | 0.0030967 | 0.00077611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-1_0_2_load_84 | 37 | 0.0028366 | 0.00071092 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-1_0_2_load_62 | 38 | 0.0032164 | 0.00080611 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-1_0_2_load_65 | 41 | 0.0016816 | 0.00042144 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-1_0_2_load_66 | 42 | 0.0025515 | 0.00063947 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-1_0_2_load_67 | 43 | 0.0017166 | 0.00043021 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-1_0_2_load_110 | 44 | 0.0019078 | 0.00047815 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-1_0_2_load_134 | 45 | 0.0015567 | 0.00039014 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-1_0_2_load_69 | 46 | 0.00089268 | 0.00022373 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-1_0_2_load_71 | 48 | 0.00073258 | 0.0001836 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-1_0_2_load_72 | 49 | 0.0040237 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-1_0_2_load_169 | 51 | 0.0024669 | 0.00061826 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-1_0_2_load_135 | 52 | 0.0033317 | 0.00083501 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-1_0_2_load_164 | 53 | 0.0025989 | 0.00065134 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-1_0_2_load_85 | 54 | 0.0042705 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-1_0_2_load_86 | 55 | 0.0042685 | 0.0010698 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-1_0_2_load_109 | 56 | 0.0010642 | 0.00026671 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-1_0_2_load_111 | 57 | 0.0022206 | 0.00055654 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-1_0_2_load_112 | 58 | 0.00063115 | 0.00015818 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-1_0_2_load_132 | 60 | 0.001695 | 0.00042482 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-1_0_2_load_124 | 61 | 0.0024095 | 0.00060387 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-1_0_2_load_123 | 62 | 0.0032556 | 0.00081594 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-1_0_2_load_162 | 65 | 0.0039491 | 0.00098974 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-1_0_2_load_160 | 66 | 0.0025107 | 0.00062924 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-1_0_2_load_163 | 67 | 0.0026141 | 0.00065515 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6156-1_0_2_load_137 | 69 | 0.0019118 | 0.00047914 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6156-1_0_2_load_146 | 73 | 0.0064897 | 0.0016265 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6156-1_0_2_load_147 | 74 | 0.0043553 | 0.0010915 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6156-1_0_2_load_155 | 75 | 0.0087075 | 0.0021823 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6156-1_0_2_load_159 | 76 | 0.0030721 | 0.00076995 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6156-1_0_2_load_171 | 79 | 0.002063 | 0.00051705 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6156-1_0_2_load_168 | 80 | 0.0016498 | 0.00041349 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6156-1_0_2_load_173 | 82 | 0.0020057 | 0.00050267 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6156-1_0_2_load_199 | 83 | 0.0028374 | 0.00071113 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6156-1_0_2_load_195 | 85 | 0.0017625 | 0.00044173 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6156-1_0_2_load_197 | 87 | 0.0037113 | 0.00093013 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6156-1_0_2_load_198 | 88 | 0.0024349 | 0.00061023 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6156-1_0_2_load_212 | 89 | 0.0032726 | 0.00082019 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6156-1_0_2_load_202 | 90 | 0.0016802 | 0.00042111 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6156-1_0_2_load_206 | 91 | 0.002765 | 0.00069298 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-1_0_2_line_0 |  | 0 | 1 | 0.10139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-1_0_2_line_1 |  | 1 | 2 | 0.11055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-1_0_2_line_2 |  | 2 | 77 | 0.06291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-1_0_2_line_3 |  | 3 | 4 | 0.010292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-1_0_2_line_4 |  | 4 | 5 | 0.072504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6156-1_0_2_line_5 |  | 5 | 6 | 0.072477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-1_0_2_line_6 |  | 6 | 7 | 0.05528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-1_0_2_line_7 |  | 7 | 8 | 0.23486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-1_0_2_line_8 |  | 8 | 18 | 0.093106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6156-1_0_2_line_9 |  | 8 | 16 | 0.0051893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6156-1_0_2_line_10 |  | 9 | 10 | 0.033144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-1_0_2_line_11 |  | 10 | 11 | 0.012207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-1_0_2_line_12 |  | 11 | 14 | 0.061252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-1_0_2_line_13 |  | 11 | 12 | 0.048365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6156-1_0_2_line_14 |  | 12 | 13 | 0.002856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-1_0_2_line_15 |  | 13 | 35 | 0.027639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6156-1_0_2_line_16 |  | 14 | 15 | 0.0082085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6156-1_0_2_line_17 |  | 15 | 25 | 0.044834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6156-1_0_2_line_18 |  | 15 | 18 | 0.044376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-1_0_2_line_19 |  | 16 | 17 | 0.023801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6156-1_0_2_line_20 |  | 18 | 19 | 0.094659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-1_0_2_line_21 |  | 19 | 20 | 0.029001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-1_0_2_line_22 |  | 20 | 21 | 0.076224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6156-1_0_2_line_23 |  | 20 | 22 | 0.023259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6156-1_0_2_line_24 |  | 21 | 23 | 0.032736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6156-1_0_2_line_25 |  | 22 | 24 | 0.029933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-1_0_2_line_26 |  | 23 | 26 | 0.021377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-1_0_2_line_27 |  | 25 | 71 | 0.051523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6156-1_0_2_line_28 |  | 26 | 27 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6156-1_0_2_line_29 |  | 27 | 28 | 0.054523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6156-1_0_2_line_30 |  | 28 | 29 | 0.014656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6156-1_0_2_line_31 |  | 28 | 30 | 0.016295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6156-1_0_2_line_32 |  | 29 | 83 | 0.074647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6156-1_0_2_line_33 |  | 29 | 84 | 0.14434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6156-1_0_2_line_34 |  | 31 | 32 | 0.020903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6156-1_0_2_line_35 |  | 31 | 33 | 0.012191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6156-1_0_2_line_36 |  | 32 | 34 | 0.027154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6156-1_0_2_line_37 |  | 32 | 35 | 0.10776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6156-1_0_2_line_38 |  | 33 | 36 | 0.021232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6156-1_0_2_line_39 |  | 35 | 72 | 0.050657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6156-1_0_2_line_40 |  | 36 | 37 | 0.0096285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6156-1_0_2_line_41 |  | 37 | 54 | 0.0023962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6156-1_0_2_line_42 |  | 38 | 39 | 0.0037058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6156-1_0_2_line_43 |  | 38 | 40 | 0.0087749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6156-1_0_2_line_44 |  | 39 | 41 | 0.012653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6156-1_0_2_line_45 |  | 39 | 42 | 0.022577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6156-1_0_2_line_46 |  | 40 | 43 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6156-1_0_2_line_47 |  | 41 | 44 | 0.040327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-1_0_2_line_48 |  | 43 | 45 | 0.03115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-1_0_2_line_49 |  | 44 | 58 | 0.0048807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6156-1_0_2_line_50 |  | 44 | 56 | 0.013058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6156-1_0_2_line_51 |  | 46 | 47 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6156-1_0_2_line_52 |  | 46 | 48 | 0.0088552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6156-1_0_2_line_53 |  | 47 | 49 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6156-1_0_2_line_54 |  | 47 | 50 | 0.0039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6156-1_0_2_line_55 |  | 48 | 51 | 0.099506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6156-1_0_2_line_56 |  | 49 | 52 | 0.060012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6156-1_0_2_line_57 |  | 50 | 53 | 0.093077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6156-1_0_2_line_58 |  | 52 | 68 | 0.059737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6156-1_0_2_line_59 |  | 53 | 77 | 0.053266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6156-1_0_2_line_60 |  | 54 | 55 | 0.014786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6156-1_0_2_line_61 |  | 55 | 56 | 0.031609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6156-1_0_2_line_62 |  | 56 | 57 | 0.023296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6156-1_0_2_line_63 |  | 57 | 59 | 0.033663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6156-1_0_2_line_64 |  | 59 | 60 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6156-1_0_2_line_65 |  | 59 | 61 | 0.0027078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6156-1_0_2_line_66 |  | 60 | 67 | 0.063963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6156-1_0_2_line_67 |  | 61 | 62 | 0.031186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6156-1_0_2_line_68 |  | 62 | 63 | 0.0013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6156-1_0_2_line_69 |  | 63 | 64 | 0.018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6156-1_0_2_line_70 |  | 64 | 65 | 0.046723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6156-1_0_2_line_71 |  | 64 | 66 | 0.019629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6156-1_0_2_line_72 |  | 66 | 76 | 0.017543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6156-1_0_2_line_73 |  | 67 | 68 | 0.034912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6156-1_0_2_line_74 |  | 69 | 70 | 0.024253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6156-1_0_2_line_75 |  | 70 | 71 | 0.005395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6156-1_0_2_line_76 |  | 72 | 73 | 0.024552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6156-1_0_2_line_77 |  | 72 | 74 | 0.016625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6156-1_0_2_line_78 |  | 73 | 75 | 0.022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6156-1_0_2_line_79 |  | 77 | 78 | 0.084375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6156-1_0_2_line_80 |  | 78 | 79 | 0.090801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6156-1_0_2_line_81 |  | 78 | 80 | 0.031436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6156-1_0_2_line_82 |  | 79 | 81 | 0.030819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6156-1_0_2_line_83 |  | 81 | 82 | 0.064683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6156-1_0_2_line_84 |  | 84 | 91 | 0.044004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6156-1_0_2_line_85 |  | 84 | 85 | 0.046966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6156-1_0_2_line_86 |  | 85 | 86 | 0.021257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6156-1_0_2_line_87 |  | 85 | 87 | 0.025196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6156-1_0_2_line_88 |  | 86 | 88 | 0.0050141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6156-1_0_2_line_89 |  | 88 | 89 | 0.13373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6156-1_0_2_line_90 |  | 89 | 90 | 0.05823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-1_0_2_trafo_60 | 0.63 MVA 20/0.4 kV | 92 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2559006.4142 | 1118951.8674 | 2558997.0954 | 1118943.1484 | 2558982.4679 | 1118931.0415 | 2558971.4892 | 1118924.4682 | 2558965.7025 | 1118918.8824 | 2558950.1767 | 1118905.192 | 2558935.3062 | 1118894.8211 | 2558928.5437 | 1118887.4931
1 | 2559107.0564 | 1118906.1215 | 2559006.4142 | 1118951.8674
2 | 2559164.3918 | 1118928.0743 | 2559156.5867 | 1118928.6495 | 2559144.8063 | 1118926.7393 | 2559125.7488 | 1118917.897 | 2559115.0604 | 1118912.0219 | 2559107.0564 | 1118906.1215
3 | 2558765.5164 | 1119562.157 | 2558760.0293 | 1119553.45
4 | 2558727.2687 | 1119489.6973 | 2558729.1117 | 1119491.3874 | 2558731.0758 | 1119494.2755 | 2558732.3803 | 1119497.7461 | 2558733.194 | 1119503.9104 | 2558735.9776 | 1119512.6848 | 2558742.2357 | 1119525.2151 | 2558760.0293 | 1119553.45
5 | 2558727.2687 | 1119489.6973 | 2558797.1971 | 1119470.6479
6 | 2558797.1971 | 1119470.6479 | 2558789.05 | 1119415.972
7 | 2558991.5742 | 1119297.045 | 2558789.05 | 1119415.972
8 | 2558942.5468 | 1119218.6378 | 2558945.3572 | 1119226.8451 | 2558949.2606 | 1119236.9349 | 2558955.2014 | 1119248.2114 | 2558962.0402 | 1119258.7926 | 2558975.5998 | 1119276.2316 | 2558991.5742 | 1119297.045
9 | 2558991.5742 | 1119297.045 | 2558996.7605 | 1119297.221
10 | 2559052.8411 | 1119276.2129 | 2559054.3254 | 1119277.3759 | 2559058.4506 | 1119281.5168 | 2559062.6564 | 1119285.0234 | 2559067.06 | 1119290.3963 | 2559071.5626 | 1119294.4345 | 2559077.1689 | 1119298.5294
11 | 2559052.8411 | 1119276.2129 | 2559049.8805 | 1119273.8932 | 2559042.797 | 1119269.2944
12 | 2558986.7632 | 1119246.4628 | 2558992.1534 | 1119250.5283 | 2558998.1431 | 1119254.2562 | 2559006.9037 | 1119258.0987 | 2559019.3708 | 1119261.2491 | 2559026.409 | 1119262.5687 | 2559031.4309 | 1119263.524 | 2559036.8971 | 1119266.2884 | 2559042.797 | 1119269.2944
13 | 2559042.797 | 1119269.2944 | 2559072.0028 | 1119230.7434
14 | 2559072.0028 | 1119230.7434 | 2559071.6234 | 1119227.9127
15 | 2559071.6234 | 1119227.9127 | 2559071.507 | 1119227.0448 | 2559069.7956 | 1119220.4308 | 2559068.1102 | 1119214.2613 | 2559066.3306 | 1119205.5689 | 2559066.3198 | 1119201.7003 | 2559066.6806 | 1119200.9918
16 | 2558986.7632 | 1119246.4628 | 2558983.5829 | 1119243.9943 | 2558980.1662 | 1119241.5817
17 | 2558980.1662 | 1119241.5817 | 2559003.9564 | 1119203.5797
18 | 2558942.5468 | 1119218.6378 | 2558946.3577 | 1119219.668 | 2558949.3202 | 1119221.8601 | 2558951.7726 | 1119223.9556 | 2558959.4485 | 1119228.2723 | 2558967.8645 | 1119232.4951 | 2558978.0471 | 1119240.0854 | 2558980.1662 | 1119241.5817
19 | 2559018.3101 | 1119307.3244 | 2558996.7605 | 1119297.221
20 | 2558942.5468 | 1119218.6378 | 2558941.3015 | 1119212.5209 | 2558938.4233 | 1119200.0229 | 2558932.8314 | 1119173.1249 | 2558927.6953 | 1119141.766 | 2558925.116 | 1119125.6289
21 | 2558920.5388 | 1119096.9917 | 2558925.116 | 1119125.6289
22 | 2558920.5388 | 1119096.9917 | 2558918.309 | 1119087.9356 | 2558916.1373 | 1119081.7694 | 2558912.5714 | 1119075.9351 | 2558908.3415 | 1119070.0609 | 2558904.3443 | 1119065.4968 | 2558899.0451 | 1119060.0857 | 2558893.6152 | 1119054.7643 | 2558890.6289 | 1119051.3384 | 2558889.0961 | 1119047.2134 | 2558888.5886 | 1119042.9369 | 2558889.0256 | 1119040.2548 | 2558890.1705 | 1119037.2788 | 2558893.9978 | 1119032.7504
23 | 2558920.5388 | 1119096.9917 | 2558924.4695 | 1119100.867 | 2558926.4728 | 1119104.9666 | 2558930.7699 | 1119111.663 | 2558934.5186 | 1119115.2947
24 | 2558893.9978 | 1119032.7504 | 2558870.5027 | 1119009.9558
25 | 2558951.4207 | 1119139.2702 | 2558949.3303 | 1119133.6815 | 2558945.6382 | 1119126.3139 | 2558941.3663 | 1119121.0625 | 2558937.8672 | 1119118.2515 | 2558934.9176 | 1119115.6813 | 2558934.5186 | 1119115.2947
26 | 2558855.16 | 1118995.0704 | 2558870.5027 | 1119009.9558
27 | 2559026.4352 | 1119199.3362 | 2559023.3544 | 1119194.4768 | 2559019.6217 | 1119190.211 | 2559015.8148 | 1119185.2232 | 2559013.0125 | 1119181.6181 | 2559009.6263 | 1119180.6517 | 2559006.9843 | 1119181.3255 | 2559005.0238 | 1119184.6405 | 2559003.9336 | 1119189.9951 | 2559003.244 | 1119196.392 | 2559003.2146 | 1119201.1502 | 2559003.9564 | 1119203.5797
28 | 2558843.6239 | 1118985.9916 | 2558845.9009 | 1118986.0873 | 2558855.16 | 1118995.0704
29 | 2558795.5212 | 1118963.4635 | 2558801.0403 | 1118966.005 | 2558812.035 | 1118970.3878 | 2558819.3113 | 1118973.751 | 2558824.6588 | 1118974.893 | 2558828.0329 | 1118974.0695 | 2558836.2351 | 1118979.6943 | 2558843.6239 | 1118985.9916
30 | 2558783.7582 | 1118955.0617 | 2558788.3904 | 1118959.9437 | 2558795.5212 | 1118963.4635
31 | 2558795.5212 | 1118963.4635 | 2558796.1411 | 1118964.9823 | 2558799.5931 | 1118971.0396 | 2558800.1256 | 1118973.315 | 2558799.629 | 1118976.3088 | 2558798.1087 | 1118978.0489
32 | 2558783.7582 | 1118955.0617 | 2558788.5846 | 1118880.5711
33 | 2558783.7582 | 1118955.0617 | 2558639.9657 | 1118967.6508
34 | 2559152.2763 | 1119129.4779 | 2559145.4371 | 1119126.0371 | 2559138.3628 | 1119120.5377 | 2559135.1122 | 1119117.7429
35 | 2559162.6939 | 1119135.7966 | 2559153.8532 | 1119130.2713 | 2559152.2763 | 1119129.4779
36 | 2559113.2031 | 1119102.6766 | 2559123.6532 | 1119112.1552 | 2559128.4281 | 1119113.1011 | 2559132.1538 | 1119115.1992 | 2559135.1122 | 1119117.7429
37 | 2559066.6806 | 1119200.9918 | 2559135.1122 | 1119117.7429
38 | 2559180.9292 | 1119146.6362 | 2559178.8301 | 1119145.099 | 2559166.91 | 1119138.4316 | 2559162.6939 | 1119135.7966
39 | 2559105.7821 | 1119227.1461 | 2559100.0217 | 1119223.0941 | 2559090.9478 | 1119216.2743 | 2559082.7533 | 1119209.4263 | 2559076.0658 | 1119202.9349 | 2559072.483 | 1119199.135 | 2559069.2951 | 1119198.9677 | 2559067.7057 | 1119198.9784 | 2559066.6806 | 1119200.9918
40 | 2559180.9292 | 1119146.6362 | 2559188.6974 | 1119152.3251
41 | 2559190.5388 | 1119153.858 | 2559188.8023 | 1119152.402 | 2559188.6974 | 1119152.3251
42 | 2559270.8468 | 1119113.4395 | 2559271.8949 | 1119116.994
43 | 2559274.3767 | 1119125.4107 | 2559271.8949 | 1119116.994
44 | 2559270.8468 | 1119113.4395 | 2559260.4871 | 1119120.7464
45 | 2559270.8468 | 1119113.4395 | 2559265.0663 | 1119093.824 | 2559264.4008 | 1119091.8033
46 | 2559274.3767 | 1119125.4107 | 2559281.0427 | 1119126.4552 | 2559285.9342 | 1119128.6567 | 2559290.3309 | 1119129.5942
47 | 2559260.4871 | 1119120.7464 | 2559236.6169 | 1119153.2503
48 | 2559302.9911 | 1119102.9731 | 2559300.327 | 1119111.8289 | 2559297.387 | 1119124.3996 | 2559293.9403 | 1119128.1803 | 2559290.3309 | 1119129.5942
49 | 2559236.6169 | 1119153.2503 | 2559240.325 | 1119156.4239
50 | 2559226.9564 | 1119144.4733 | 2559231.8439 | 1119149.1653 | 2559236.6169 | 1119153.2503
51 | 2559260.3043 | 1118991.8705 | 2559265.872 | 1118997.069 | 2559268.3694 | 1119001.2543 | 2559271.227 | 1119006.2042 | 2559272.2951 | 1119007.7659
52 | 2559276.8981 | 1119015.3151 | 2559274.9131 | 1119011.5932 | 2559272.2951 | 1119007.7659
53 | 2559260.3043 | 1118991.8705 | 2559257.7879 | 1118992.8769 | 2559248.0595 | 1118994.2877 | 2559244.8367 | 1118994.4362
54 | 2559263.2828 | 1118989.5715 | 2559262.0897 | 1118991.1581 | 2559260.3043 | 1118991.8705
55 | 2559276.8981 | 1119015.3151 | 2559376.3147 | 1119011.1018
56 | 2559187.5877 | 1119000.0877 | 2559189.7701 | 1118996.4712 | 2559194.8374 | 1118993.8467 | 2559206.6965 | 1118994.8671 | 2559224.3864 | 1118995.4925 | 2559236.4733 | 1118994.8217 | 2559244.8367 | 1118994.4362
57 | 2559263.2828 | 1118989.5715 | 2559264.0474 | 1118988.5436 | 2559268.0116 | 1118977.9448 | 2559266.4274 | 1118967.3056 | 2559263.0983 | 1118955.3663 | 2559259.5727 | 1118948.62 | 2559256.4684 | 1118944.839 | 2559243.2427 | 1118936.8463 | 2559228.5119 | 1118929.9533 | 2559216.2366 | 1118925.3553
58 | 2559236.7373 | 1119027.0809 | 2559228.6011 | 1119020.8659 | 2559218.2275 | 1119015.8556 | 2559206.2177 | 1119013.0908 | 2559196.6107 | 1119010.7656 | 2559191.589 | 1119008.7096 | 2559187.4327 | 1119004.5466 | 2559187.5877 | 1119000.0877 | 2559187.5877 | 1119000.0877
59 | 2559164.3918 | 1118928.0743 | 2559168.1815 | 1118927.0815 | 2559175.3675 | 1118923.9647 | 2559186.063 | 1118921.7802 | 2559195.2738 | 1118921.4066 | 2559213.5274 | 1118924.3404 | 2559216.2366 | 1118925.3553
60 | 2559190.5388 | 1119153.858 | 2559197.6798 | 1119159.8458 | 2559201.7291 | 1119163.5183
61 | 2559226.9564 | 1119144.4733 | 2559201.7291 | 1119163.5183
62 | 2559209.9451 | 1119128.5676 | 2559213.7559 | 1119131.8007 | 2559226.9564 | 1119144.4733
63 | 2559184.4724 | 1119106.5633 | 2559194.6726 | 1119115.6102 | 2559209.9451 | 1119128.5676
64 | 2559196.4715 | 1119096.3548 | 2559193.2888 | 1119095.8205 | 2559190.2183 | 1119098.1758 | 2559187.6283 | 1119103.1402 | 2559184.4724 | 1119106.5633
65 | 2559184.4724 | 1119106.5633 | 2559182.4142 | 1119104.8038
66 | 2559202.214 | 1119032.6501 | 2559196.4715 | 1119096.3548
67 | 2559158.9811 | 1119084.2305 | 2559170.1767 | 1119094.3425 | 2559182.4142 | 1119104.8038
68 | 2559157.9724 | 1119083.3194 | 2559158.9811 | 1119084.2305
69 | 2559144.3495 | 1119071.3498 | 2559152.493 | 1119078.6318 | 2559157.9724 | 1119083.3194
70 | 2559100.3562 | 1119057.1736 | 2559111.9061 | 1119062.6871 | 2559124.1969 | 1119067.0839 | 2559136.307 | 1119071.0152 | 2559141.8314 | 1119072.1006 | 2559144.3495 | 1119071.3498
71 | 2559144.3495 | 1119071.3498 | 2559134.0553 | 1119062.1036 | 2559129.7097 | 1119058.275
72 | 2559129.7097 | 1119058.275 | 2559117.6143 | 1119047.6185 | 2559116.5288 | 1119046.698
73 | 2559236.7373 | 1119027.0809 | 2559230.3598 | 1119028.7914 | 2559219.0976 | 1119030.4461 | 2559202.214 | 1119032.6501
74 | 2559031.2643 | 1119196.9022 | 2559022.9556 | 1119183.4627 | 2559018.3939 | 1119176.3462
75 | 2559031.2643 | 1119196.9022 | 2559026.4352 | 1119199.3362
76 | 2559105.7821 | 1119227.1461 | 2559107.7732 | 1119227.1993 | 2559110.8861 | 1119229.9797 | 2559115.1361 | 1119235.4537 | 2559118.0746 | 1119238.6799 | 2559122.4012 | 1119244.0868 | 2559122.5053 | 1119244.2178
77 | 2559105.7821 | 1119227.1461 | 2559108.6399 | 1119230.9954 | 2559110.8362 | 1119237.4172 | 2559113.2518 | 1119241.8451
78 | 2559141.1095 | 1119256.1886 | 2559133.3159 | 1119252.6951 | 2559125.4208 | 1119247.8905 | 2559122.5053 | 1119244.2178
79 | 2559225.5192 | 1118895.8449 | 2559215.1355 | 1118896.2374 | 2559204.6651 | 1118898.6316 | 2559196.7433 | 1118902.487 | 2559188.2869 | 1118906.0237 | 2559179.0876 | 1118909.2542 | 2559171.6813 | 1118911.7389 | 2559163.0116 | 1118914.5433 | 2559158.8951 | 1118917.4282 | 2559158.1879 | 1118922.3911 | 2559160.5439 | 1118926.1771 | 2559164.3918 | 1118928.0743
80 | 2559225.5192 | 1118895.8449 | 2559223.8032 | 1118886.2738 | 2559195.4096 | 1118846.7119 | 2559175.4561 | 1118821.2098
81 | 2559225.5192 | 1118895.8449 | 2559231.3646 | 1118897.6064 | 2559237.5478 | 1118902.5227 | 2559248.3156 | 1118912.1772 | 2559250.6314 | 1118914.0362
82 | 2559156.5212 | 1118796.8936 | 2559165.2476 | 1118808.1626 | 2559175.4561 | 1118821.2098
83 | 2559156.5212 | 1118796.8936 | 2559156.598 | 1118796.8486 | 2559159.8733 | 1118795.0811 | 2559166.6199 | 1118794.2796 | 2559182.1648 | 1118794.8526 | 2559197.0993 | 1118794.1514 | 2559206.2014 | 1118797.0803 | 2559210.426 | 1118799.8976 | 2559213.0818 | 1118804.671 | 2559214.2317 | 1118808.1095
84 | 2558616.4783 | 1118936.2733 | 2558616.4968 | 1118938.9746 | 2558621.584 | 1118944.9205 | 2558629.9055 | 1118952.1562 | 2558635.7967 | 1118958.319 | 2558639.4151 | 1118962.7409 | 2558642.0742 | 1118966.8026 | 2558642.0214 | 1118968.1036 | 2558639.9657 | 1118967.6508
85 | 2558605.587 | 1118999.649 | 2558639.9657 | 1118967.6508
86 | 2558591.3735 | 1118984.1588 | 2558600.2072 | 1118991.8244 | 2558604.1913 | 1118996.6885 | 2558605.587 | 1118999.649
87 | 2558607.2356 | 1119024.304 | 2558608.1187 | 1119014.6708 | 2558608.1604 | 1119009.4901 | 2558607.754 | 1119004.2457 | 2558605.587 | 1118999.649
88 | 2558591.3735 | 1118984.1588 | 2558588.3701 | 1118983.8903 | 2558586.575 | 1118983.0116
89 | 2558586.575 | 1118983.0116 | 2558453.0206 | 1118989.8004
90 | 2558404.8494 | 1119022.5153 | 2558453.0206 | 1118989.8004

## bus_geodata
| x | y | coords
0 | 2558928.5437 | 1118887.4931
1 | 2559006.4142 | 1118951.8674
2 | 2559107.0564 | 1118906.1215
3 | 2558765.5164 | 1119562.157
4 | 2558760.0293 | 1119553.45
5 | 2558727.2687 | 1119489.6973
6 | 2558797.1971 | 1119470.6479
7 | 2558789.05 | 1119415.972
8 | 2558991.5742 | 1119297.045
9 | 2559077.1689 | 1119298.5294
10 | 2559052.8411 | 1119276.2129
11 | 2559042.797 | 1119269.2944
12 | 2559072.0028 | 1119230.7434
13 | 2559071.6234 | 1119227.9127
14 | 2558986.7632 | 1119246.4628
15 | 2558980.1662 | 1119241.5817
16 | 2558996.7605 | 1119297.221
17 | 2559018.3101 | 1119307.3244
18 | 2558942.5468 | 1119218.6378
19 | 2558925.116 | 1119125.6289
20 | 2558920.5388 | 1119096.9917
21 | 2558893.9978 | 1119032.7504
22 | 2558934.5186 | 1119115.2947
23 | 2558870.5027 | 1119009.9558
24 | 2558951.4207 | 1119139.2702
25 | 2559003.9564 | 1119203.5797
26 | 2558855.16 | 1118995.0704
27 | 2558843.6239 | 1118985.9916
28 | 2558795.5212 | 1118963.4635
29 | 2558783.7582 | 1118955.0617
30 | 2558798.1087 | 1118978.0489
31 | 2559152.2763 | 1119129.4779
32 | 2559135.1122 | 1119117.7429
33 | 2559162.6939 | 1119135.7966
34 | 2559113.2031 | 1119102.6766
35 | 2559066.6806 | 1119200.9918
36 | 2559180.9292 | 1119146.6362
37 | 2559188.6974 | 1119152.3251
38 | 2559271.8949 | 1119116.994
39 | 2559270.8468 | 1119113.4395
40 | 2559274.3767 | 1119125.4107
41 | 2559260.4871 | 1119120.7464
42 | 2559264.4008 | 1119091.8033
43 | 2559290.3309 | 1119129.5942
44 | 2559236.6169 | 1119153.2503
45 | 2559302.9911 | 1119102.9731
46 | 2559272.2951 | 1119007.7659
47 | 2559260.3043 | 1118991.8705
48 | 2559276.8981 | 1119015.3151
49 | 2559244.8367 | 1118994.4362
50 | 2559263.2828 | 1118989.5715
51 | 2559376.3147 | 1119011.1018
52 | 2559187.5877 | 1119000.0877
53 | 2559216.2366 | 1118925.3553
54 | 2559190.5388 | 1119153.858
55 | 2559201.7291 | 1119163.5183
56 | 2559226.9564 | 1119144.4733
57 | 2559209.9451 | 1119128.5676
58 | 2559240.325 | 1119156.4239
59 | 2559184.4724 | 1119106.5633
60 | 2559196.4715 | 1119096.3548
61 | 2559182.4142 | 1119104.8038
62 | 2559158.9811 | 1119084.2305
63 | 2559157.9724 | 1119083.3194
64 | 2559144.3495 | 1119071.3498
65 | 2559100.3562 | 1119057.1736
66 | 2559129.7097 | 1119058.275
67 | 2559202.214 | 1119032.6501
68 | 2559236.7373 | 1119027.0809
69 | 2559018.3939 | 1119176.3462
70 | 2559031.2643 | 1119196.9022
71 | 2559026.4352 | 1119199.3362
72 | 2559105.7821 | 1119227.1461
73 | 2559122.5053 | 1119244.2179
74 | 2559113.2518 | 1119241.8451
75 | 2559141.1095 | 1119256.1886
76 | 2559116.5288 | 1119046.698
77 | 2559164.3918 | 1118928.0743
78 | 2559225.5192 | 1118895.8449
79 | 2559175.4561 | 1118821.2098
80 | 2559250.6314 | 1118914.0362
81 | 2559156.5212 | 1118796.8936
82 | 2559214.2317 | 1118808.1095
83 | 2558788.5846 | 1118880.5711
84 | 2558639.9657 | 1118967.6508
85 | 2558605.587 | 1118999.649
86 | 2558591.3735 | 1118984.1588
87 | 2558607.2356 | 1119024.304
88 | 2558586.575 | 1118983.0116
89 | 2558453.0206 | 1118989.8004
90 | 2558404.8494 | 1119022.5153
91 | 2558616.4783 | 1118936.2733
92 | 2559259.7628 | 1119183.7947

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1