## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-1_1_6_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_6156-1_1_6_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_6156-1_1_6_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_6156-1_1_6_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_6156-1_1_6_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_6156-1_1_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_6156-1_1_6_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_6156-1_1_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_6156-1_1_6_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_6156-1_1_6_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_6156-1_1_6_node_118 | 0.4 | n |  | TRUE
11 | bus_LV_6156-1_1_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6156-1_1_6_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_6156-1_1_6_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_6156-1_1_6_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_6156-1_1_6_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_6156-1_1_6_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_6156-1_1_6_node_204 | 0.4 | n |  | TRUE
18 | bus_LV_6156-1_1_6_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_6156-1_1_6_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_6156-1_1_6_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_6156-1_1_6_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_6156-1_1_6_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_6156-1_1_6_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_6156-1_1_6_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_6156-1_1_6_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_6156-1_1_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_6156-1_1_6_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_6156-1_1_6_node_120 | 0.4 | n |  | TRUE
29 | bus_LV_6156-1_1_6_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6156-1_1_6_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_6156-1_1_6_node_142 | 0.4 | n |  | TRUE
32 | bus_LV_6156-1_1_6_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_6156-1_1_6_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_6156-1_1_6_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_6156-1_1_6_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_6156-1_1_6_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_6156-1_1_6_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_6156-1_1_6_node_122 | 0.4 | n |  | TRUE
39 | bus_LV_6156-1_1_6_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_6156-1_1_6_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_6156-1_1_6_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_6156-1_1_6_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_6156-1_1_6_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_6156-1_1_6_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_6156-1_1_6_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_6156-1_1_6_node_114 | 0.4 | n |  | TRUE
47 | bus_LV_6156-1_1_6_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_6156-1_1_6_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_6156-1_1_6_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_6156-1_1_6_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_6156-1_1_6_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_6156-1_1_6_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_6156-1_1_6_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_6156-1_1_6_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_6156-1_1_6_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_6156-1_1_6_node_154 | 0.4 | n |  | TRUE
57 | bus_LV_6156-1_1_6_node_158 | 0.4 | n |  | TRUE
58 | bus_LV_6156-1_1_6_node_156 | 0.4 | n |  | TRUE
59 | bus_LV_6156-1_1_6_node_140 | 0.4 | n |  | TRUE
60 | bus_LV_6156-1_1_6_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_6156-1_1_6_node_100 | 0.4 | n |  | TRUE
62 | bus_LV_6156-1_1_6_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_6156-1_1_6_node_103 | 0.4 | n |  | TRUE
64 | bus_LV_6156-1_1_6_node_102 | 0.4 | n |  | TRUE
65 | bus_LV_6156-1_1_6_node_200 | 0.4 | n |  | TRUE
66 | bus_LV_6156-1_1_6_node_133 | 0.4 | n |  | TRUE
67 | bus_LV_6156-1_1_6_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_6156-1_1_6_node_105 | 0.4 | n |  | TRUE
69 | bus_LV_6156-1_1_6_node_106 | 0.4 | n |  | TRUE
70 | bus_LV_6156-1_1_6_node_107 | 0.4 | n |  | TRUE
71 | bus_LV_6156-1_1_6_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_6156-1_1_6_node_116 | 0.4 | n |  | TRUE
73 | bus_LV_6156-1_1_6_node_117 | 0.4 | n |  | TRUE
74 | bus_LV_6156-1_1_6_node_153 | 0.4 | n |  | TRUE
75 | bus_LV_6156-1_1_6_node_115 | 0.4 | n |  | TRUE
76 | bus_LV_6156-1_1_6_node_121 | 0.4 | n |  | TRUE
77 | bus_LV_6156-1_1_6_node_151 | 0.4 | n |  | TRUE
78 | bus_LV_6156-1_1_6_node_119 | 0.4 | n |  | TRUE
79 | bus_LV_6156-1_1_6_node_131 | 0.4 | n |  | TRUE
80 | bus_LV_6156-1_1_6_node_127 | 0.4 | n |  | TRUE
81 | bus_LV_6156-1_1_6_node_128 | 0.4 | n |  | TRUE
82 | bus_LV_6156-1_1_6_node_129 | 0.4 | n |  | TRUE
83 | bus_LV_6156-1_1_6_node_130 | 0.4 | n |  | TRUE
84 | bus_LV_6156-1_1_6_node_207 | 0.4 | n |  | TRUE
85 | bus_LV_6156-1_1_6_node_141 | 0.4 | n |  | TRUE
86 | bus_LV_6156-1_1_6_node_148 | 0.4 | n |  | TRUE
87 | bus_LV_6156-1_1_6_node_149 | 0.4 | n |  | TRUE
88 | bus_LV_6156-1_1_6_node_150 | 0.4 | n |  | TRUE
89 | bus_LV_6156-1_1_6_node_152 | 0.4 | n |  | TRUE
90 | bus_LV_6156-1_1_6_node_209 | 0.4 | n |  | TRUE
91 | bus_LV_6156-1_1_6_node_208 | 0.4 | n |  | TRUE
92 | bus_LV_6156-1_1_6_node_157 | 0.4 | n |  | TRUE
93 | bus_LV_6156-1_1_6_node_161 | 0.4 | n |  | TRUE
94 | bus_MV_105_1_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-1_1_6_load_8 | 0 | 0.0015496 | 0.00038837 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-1_1_6_load_9 | 1 | 0.0013012 | 0.00032612 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-1_1_6_load_10 | 2 | 0.0015631 | 0.00039176 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-1_1_6_load_11 | 3 | 0.0013822 | 0.00034641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-1_1_6_load_13 | 5 | 0.0019568 | 0.00049042 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-1_1_6_load_14 | 7 | 0.0052821 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-1_1_6_load_15 | 8 | 0.0082478 | 0.0020671 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-1_1_6_load_16 | 9 | 0.004189 | 0.0010499 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-1_1_6_load_118 | 10 | 0.0060696 | 0.0015212 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-1_1_6_load_17 | 11 | 0.002543 | 0.00063735 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-1_1_6_load_37 | 12 | 0.0022371 | 0.00056068 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-1_1_6_load_18 | 13 | 0.0030706 | 0.00076957 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-1_1_6_load_21 | 14 | 0.0026178 | 0.00065607 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-1_1_6_load_204 | 17 | 0.0026742 | 0.00067023 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-1_1_6_load_25 | 18 | 0.0017543 | 0.00043967 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-1_1_6_load_26 | 19 | 0.0020024 | 0.00050186 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-1_1_6_load_28 | 20 | 0.0015848 | 0.0003972 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-1_1_6_load_29 | 21 | 0.0010996 | 0.00027558 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-1_1_6_load_33 | 22 | 0.017407 | 0.0043627 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-1_1_6_load_30 | 24 | 0.00247 | 0.00061903 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-1_1_6_load_32 | 25 | 0.0028232 | 0.00070757 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-1_1_6_load_38 | 29 | 0.0037972 | 0.00095168 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-1_1_6_load_68 | 30 | 0.0027145 | 0.00068033 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-1_1_6_load_74 | 32 | 0.00247 | 0.00061904 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-1_1_6_load_75 | 33 | 0.0033135 | 0.00083044 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-1_1_6_load_77 | 35 | 0.0024382 | 0.00061107 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-1_1_6_load_79 | 37 | 0.0045277 | 0.0011347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-1_1_6_load_122 | 38 | 0.0025726 | 0.00064474 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-1_1_6_load_90 | 39 | 0.0072284 | 0.0018116 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-1_1_6_load_87 | 40 | 0.0082845 | 0.0020763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-1_1_6_load_80 | 42 | 0.0041037 | 0.0010285 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-1_1_6_load_81 | 43 | 0.0051355 | 0.0012871 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-1_1_6_load_82 | 44 | 0.0046689 | 0.0011701 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-1_1_6_load_83 | 45 | 0.0076371 | 0.001914 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-1_1_6_load_88 | 47 | 0.0012371 | 0.00031005 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-1_1_6_load_98 | 49 | 0.0058601 | 0.0014687 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-1_1_6_load_91 | 50 | 0.0069631 | 0.0017451 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-1_1_6_load_92 | 51 | 0.009201 | 0.002306 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-1_1_6_load_94 | 53 | 0.0074752 | 0.0018735 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-1_1_6_load_95 | 54 | 0.010111 | 0.002534 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-1_1_6_load_154 | 56 | 0.0072073 | 0.0018063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-1_1_6_load_158 | 57 | 0.003608 | 0.00090425 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-1_1_6_load_156 | 58 | 0.0051987 | 0.0013029 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-1_1_6_load_140 | 59 | 0.0052001 | 0.0013033 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-1_1_6_load_99 | 60 | 0.012149 | 0.0030447 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-1_1_6_load_101 | 62 | 0.021238 | 0.0053227 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-1_1_6_load_200 | 65 | 0.024456 | 0.0061293 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-1_1_6_load_133 | 66 | 0.0014381 | 0.00036043 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-1_1_6_load_104 | 67 | 0.0048445 | 0.0012142 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-1_1_6_load_105 | 68 | 0.0044594 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-1_1_6_load_106 | 69 | 0.0054832 | 0.0013742 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-1_1_6_load_116 | 72 | 0.01006 | 0.0025213 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6156-1_1_6_load_117 | 73 | 0.0065626 | 0.0016448 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6156-1_1_6_load_153 | 74 | 0.0075679 | 0.0018967 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6156-1_1_6_load_115 | 75 | 0.0019 | 0.00047618 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6156-1_1_6_load_121 | 76 | 0.0082843 | 0.0020762 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6156-1_1_6_load_119 | 78 | 0.010294 | 0.0025799 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6156-1_1_6_load_131 | 79 | 0.0054886 | 0.0013756 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6156-1_1_6_load_127 | 80 | 0.0042598 | 0.0010676 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6156-1_1_6_load_129 | 82 | 0.0077283 | 0.0019369 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6156-1_1_6_load_207 | 84 | 0.0045829 | 0.0011486 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6156-1_1_6_load_141 | 85 | 0.0067677 | 0.0016962 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6156-1_1_6_load_148 | 86 | 0.0065244 | 0.0016352 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6156-1_1_6_load_150 | 88 | 0.0047886 | 0.0012001 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6156-1_1_6_load_209 | 90 | 0.0039292 | 0.00098476 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6156-1_1_6_load_208 | 91 | 0.0083324 | 0.0020883 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6156-1_1_6_load_157 | 92 | 0.0055845 | 0.0013996 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6156-1_1_6_load_161 | 93 | 0.0051871 | 0.0013 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-1_1_6_line_0 |  | 0 | 1 | 0.19039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-1_1_6_line_1 |  | 1 | 2 | 0.016669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-1_1_6_line_2 |  | 2 | 3 | 0.025037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-1_1_6_line_3 |  | 3 | 4 | 0.041745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-1_1_6_line_4 |  | 4 | 5 | 0.0029835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6156-1_1_6_line_5 |  | 4 | 6 | 0.058131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6156-1_1_6_line_6 |  | 6 | 21 | 0.021902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-1_1_6_line_7 |  | 6 | 18 | 0.014591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-1_1_6_line_8 |  | 7 | 8 | 0.11157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6156-1_1_6_line_9 |  | 7 | 9 | 0.045387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6156-1_1_6_line_10 |  | 7 | 10 | 0.027303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-1_1_6_line_11 |  | 8 | 11 | 0.035512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-1_1_6_line_12 |  | 8 | 12 | 0.045596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-1_1_6_line_13 |  | 9 | 13 | 0.0008844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6156-1_1_6_line_14 |  | 10 | 78 | 0.04327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-1_1_6_line_15 |  | 11 | 14 | 0.018894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6156-1_1_6_line_16 |  | 12 | 23 | 0.044891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6156-1_1_6_line_17 |  | 13 | 15 | 0.010444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6156-1_1_6_line_18 |  | 14 | 16 | 0.068156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-1_1_6_line_19 |  | 15 | 25 | 0.029209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6156-1_1_6_line_20 |  | 15 | 24 | 0.027631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-1_1_6_line_21 |  | 16 | 17 | 0.050005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-1_1_6_line_22 |  | 18 | 19 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6156-1_1_6_line_23 |  | 19 | 20 | 0.001803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6156-1_1_6_line_24 |  | 20 | 22 | 0.025854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6156-1_1_6_line_25 |  | 21 | 23 | 0.0073715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-1_1_6_line_26 |  | 23 | 29 | 0.029716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-1_1_6_line_27 |  | 25 | 26 | 0.039237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6156-1_1_6_line_28 |  | 26 | 27 | 0.005493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6156-1_1_6_line_29 |  | 27 | 28 | 0.053201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6156-1_1_6_line_30 |  | 28 | 49 | 0.03199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6156-1_1_6_line_31 |  | 30 | 31 | 0.0089319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6156-1_1_6_line_32 |  | 31 | 63 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6156-1_1_6_line_33 |  | 31 | 75 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6156-1_1_6_line_34 |  | 32 | 33 | 0.028027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6156-1_1_6_line_35 |  | 32 | 34 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6156-1_1_6_line_36 |  | 33 | 35 | 0.00081499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6156-1_1_6_line_37 |  | 34 | 36 | 0.016079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6156-1_1_6_line_38 |  | 34 | 37 | 0.016929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6156-1_1_6_line_39 |  | 35 | 38 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6156-1_1_6_line_40 |  | 36 | 39 | 0.033479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6156-1_1_6_line_41 |  | 36 | 40 | 0.019993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6156-1_1_6_line_42 |  | 37 | 41 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6156-1_1_6_line_43 |  | 38 | 79 | 0.0011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6156-1_1_6_line_44 |  | 40 | 47 | 0.019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6156-1_1_6_line_45 |  | 41 | 59 | 0.020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6156-1_1_6_line_46 |  | 41 | 55 | 0.071375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6156-1_1_6_line_47 |  | 42 | 43 | 0.03127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-1_1_6_line_48 |  | 42 | 44 | 0.02462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-1_1_6_line_49 |  | 43 | 45 | 0.048225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6156-1_1_6_line_50 |  | 45 | 46 | 0.041097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6156-1_1_6_line_51 |  | 46 | 75 | 0.011973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6156-1_1_6_line_52 |  | 46 | 71 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6156-1_1_6_line_53 |  | 47 | 48 | 0.016958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6156-1_1_6_line_54 |  | 48 | 49 | 0.025536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6156-1_1_6_line_55 |  | 50 | 51 | 0.019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6156-1_1_6_line_56 |  | 50 | 52 | 0.025253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6156-1_1_6_line_57 |  | 51 | 53 | 0.022947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6156-1_1_6_line_58 |  | 52 | 54 | 0.011203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6156-1_1_6_line_59 |  | 52 | 55 | 0.050962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6156-1_1_6_line_60 |  | 54 | 56 | 0.070015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_6156-1_1_6_line_61 |  | 55 | 57 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6156-1_1_6_line_62 |  | 55 | 58 | 0.037523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6156-1_1_6_line_63 |  | 56 | 74 | 0.0070424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6156-1_1_6_line_64 |  | 57 | 93 | 0.017444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6156-1_1_6_line_65 |  | 58 | 92 | 0.026685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6156-1_1_6_line_66 |  | 59 | 85 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6156-1_1_6_line_67 |  | 60 | 61 | 0.043751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6156-1_1_6_line_68 |  | 61 | 62 | 0.036416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6156-1_1_6_line_69 |  | 61 | 63 | 0.032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6156-1_1_6_line_70 |  | 63 | 66 | 0.013482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6156-1_1_6_line_71 |  | 63 | 64 | 0.012708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6156-1_1_6_line_72 |  | 64 | 65 | 0.033696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6156-1_1_6_line_73 |  | 67 | 68 | 0.027202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6156-1_1_6_line_74 |  | 67 | 69 | 0.00066867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6156-1_1_6_line_75 |  | 68 | 70 | 0.018098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6156-1_1_6_line_76 |  | 69 | 71 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6156-1_1_6_line_77 |  | 70 | 72 | 0.01195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6156-1_1_6_line_78 |  | 70 | 73 | 0.11106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6156-1_1_6_line_79 |  | 71 | 74 | 0.035656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_6156-1_1_6_line_80 |  | 72 | 76 | 0.036829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6156-1_1_6_line_81 |  | 73 | 77 | 0.028557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6156-1_1_6_line_82 |  | 77 | 83 | 0.023161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6156-1_1_6_line_83 |  | 77 | 87 | 0.003534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6156-1_1_6_line_84 |  | 80 | 81 | 0.039378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6156-1_1_6_line_85 |  | 80 | 82 | 0.022019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6156-1_1_6_line_86 |  | 81 | 83 | 0.072968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6156-1_1_6_line_87 |  | 83 | 84 | 0.024986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6156-1_1_6_line_88 |  | 86 | 87 | 0.031453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6156-1_1_6_line_89 |  | 86 | 88 | 0.041707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6156-1_1_6_line_90 |  | 87 | 89 | 0.044073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6156-1_1_6_line_91 |  | 89 | 90 | 0.021327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6156-1_1_6_line_92 |  | 89 | 91 | 0.016123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-1_1_6_trafo_96 | 0.63 MVA 20/0.4 kV | 94 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2559075.61 | 1119466.0203 | 2558962.8041 | 1119619.3916
1 | 2559089.3036 | 1119475.5143 | 2559076.8661 | 1119466.7313 | 2559075.61 | 1119466.0203
2 | 2559109.1644 | 1119490.7567 | 2559090.7125 | 1119476.5092 | 2559089.3036 | 1119475.5143
3 | 2559142.2728 | 1119514.7687 | 2559140.245 | 1119514.9714 | 2559138.3524 | 1119514.6396 | 2559134.4519 | 1119510.6084 | 2559126.5966 | 1119503.6468 | 2559110.0798 | 1119491.4635 | 2559109.1644 | 1119490.7567
4 | 2559142.2728 | 1119514.7687 | 2559140.9791 | 1119512.0802
5 | 2559142.2728 | 1119514.7687 | 2559196.3697 | 1119493.4922
6 | 2559196.3697 | 1119493.4922 | 2559198.4075 | 1119492.4779 | 2559198.9804 | 1119490.4841 | 2559198.9425 | 1119488.2944 | 2559198.0329 | 1119486.1327 | 2559194.0772 | 1119480.7789 | 2559189.8026 | 1119476.2055 | 2559189.7386 | 1119476.1301
7 | 2559196.3697 | 1119493.4922 | 2559197.8775 | 1119495.105 | 2559202.2049 | 1119498.3775 | 2559206.6927 | 1119503.6944
8 | 2559291.2273 | 1119488.5397 | 2559275.0425 | 1119473.5178 | 2559261.928 | 1119460.1104 | 2559236.1322 | 1119426.6228 | 2559231.0161 | 1119423.1111 | 2559225.6698 | 1119420.935 | 2559217.7985 | 1119421.8886 | 2559211.0754 | 1119416.5894
9 | 2559291.2273 | 1119488.5397 | 2559297.5044 | 1119494.3659 | 2559310.0774 | 1119506.4318 | 2559321.3951 | 1119515.438 | 2559325.773 | 1119517.7116
10 | 2559291.2273 | 1119488.5397 | 2559311.9775 | 1119470.7948
11 | 2559211.0754 | 1119416.5894 | 2559209.7157 | 1119415.5177 | 2559204.3168 | 1119411.2631 | 2559198.8937 | 1119411.422 | 2559189.9184 | 1119397.4421 | 2559185.2319 | 1119396.125
12 | 2559211.0754 | 1119416.5894 | 2559197.0692 | 1119459.9814
13 | 2559325.773 | 1119517.7116 | 2559326.5579 | 1119518.1192
14 | 2559311.9775 | 1119470.7948 | 2559308.1027 | 1119467.5919 | 2559280.8921 | 1119440.7197
15 | 2559185.2319 | 1119396.125 | 2559181.687 | 1119377.5663
16 | 2559197.0692 | 1119459.9814 | 2559193.191 | 1119454.6938 | 2559191.211 | 1119452.8395 | 2559188.2961 | 1119450.8026 | 2559184.9222 | 1119449.3358 | 2559181.8975 | 1119448.1779 | 2559179.3446 | 1119449.4624 | 2559178.4725 | 1119452.859 | 2559180.6408 | 1119459.7256 | 2559183.6372 | 1119466.9757 | 2559184.965 | 1119470.513
17 | 2559335.9492 | 1119522.6771 | 2559331.8555 | 1119520.8704 | 2559326.5579 | 1119518.1192
18 | 2559181.687 | 1119377.5663 | 2559154.2552 | 1119315.1744
19 | 2559335.9492 | 1119522.6771 | 2559339.6789 | 1119523.13 | 2559346.0308 | 1119525.7219 | 2559350.5329 | 1119527.4369 | 2559356.9015 | 1119529.0727 | 2559362.3403 | 1119531.2594 | 2559363.5242 | 1119531.8788
20 | 2559335.9492 | 1119522.6771 | 2559334.0029 | 1119526.9701 | 2559333.7543 | 1119530.1512 | 2559334.5813 | 1119532.6469 | 2559337.5198 | 1119539.3528 | 2559341.7155 | 1119547.1397 | 2559342.2648 | 1119547.8908
21 | 2559154.2552 | 1119315.1744 | 2559111.2032 | 1119340.612
22 | 2559206.6927 | 1119503.6944 | 2559206.6927 | 1119503.6944 | 2559209.8381 | 1119506.7302 | 2559211.8933 | 1119509.44 | 2559214.2133 | 1119512.5036 | 2559215.4346 | 1119516.264 | 2559215.8074 | 1119517.7738
23 | 2559216.2397 | 1119519.5242 | 2559215.8074 | 1119517.7738
24 | 2559223.2631 | 1119544.4033 | 2559217.0846 | 1119522.9452 | 2559216.2397 | 1119519.5242
25 | 2559184.965 | 1119470.513 | 2559189.7386 | 1119476.1301
26 | 2559162.9327 | 1119450.5072 | 2559184.965 | 1119470.513
27 | 2559396.7262 | 1119552.6947 | 2559392.2646 | 1119550.1012 | 2559386.309 | 1119545.6278 | 2559378.8629 | 1119540.9644 | 2559373.4228 | 1119537.4214 | 2559368.9062 | 1119534.6948 | 2559363.5242 | 1119531.8788
28 | 2559399.464 | 1119547.9294 | 2559396.7262 | 1119552.6947
29 | 2559399.464 | 1119547.9294 | 2559405.3878 | 1119551.1024 | 2559414.3723 | 1119555.0774 | 2559430.7586 | 1119561.7485 | 2559439.5417 | 1119565.6137 | 2559447.7827 | 1119570.3275
30 | 2559447.7827 | 1119570.3275 | 2559445.117 | 1119562.8638 | 2559442.3127 | 1119560.0367 | 2559435.5911 | 1119554.0899 | 2559428.8634 | 1119545.2517
31 | 2559293.0146 | 1119199.1784 | 2559290.9013 | 1119190.5001
32 | 2559272.2567 | 1119182.8989 | 2559281.3306 | 1119192.0313 | 2559286.5493 | 1119196.9986 | 2559290.5972 | 1119198.839 | 2559293.0146 | 1119199.1784
33 | 2559293.0146 | 1119199.1784 | 2559296.3168 | 1119210.0858
34 | 2559398.2282 | 1119462.0539 | 2559399.047 | 1119466.4016 | 2559401.6643 | 1119471.2421 | 2559404.1763 | 1119474.1934 | 2559408.7779 | 1119476.9416 | 2559412.9499 | 1119480.0708 | 2559415.4238 | 1119482.7536
35 | 2559389.4843 | 1119456.7832 | 2559391.4105 | 1119456.3701 | 2559394.0958 | 1119456.4076 | 2559396.8381 | 1119458.0455 | 2559398.0308 | 1119461.0057 | 2559398.2282 | 1119462.0539
36 | 2559415.9763 | 1119483.3528 | 2559415.4238 | 1119482.7536
37 | 2559389.4843 | 1119456.7832 | 2559390.9815 | 1119462.565 | 2559394.2247 | 1119472.137
38 | 2559389.4843 | 1119456.7832 | 2559387.9414 | 1119454.5258 | 2559381.6887 | 1119446.0524 | 2559379.5878 | 1119443.0502
39 | 2559415.9763 | 1119483.3528 | 2559417.7687 | 1119485.2966 | 2559420.8737 | 1119490.3784 | 2559422.5997 | 1119497.33
40 | 2559369.435 | 1119456.1844 | 2559372.6449 | 1119453.9172 | 2559375.6657 | 1119453.3633 | 2559377.6242 | 1119454.3284 | 2559381.557 | 1119458.5819 | 2559389.0339 | 1119466.6691 | 2559394.2247 | 1119472.137
41 | 2559394.2247 | 1119472.137 | 2559397.594 | 1119485.5434 | 2559398.5951 | 1119491.631
42 | 2559361.2111 | 1119426.5356 | 2559368.4783 | 1119432.123 | 2559377.8713 | 1119440.5975 | 2559379.5878 | 1119443.0502
43 | 2559422.888 | 1119498.4912 | 2559422.5997 | 1119497.33
44 | 2559398.5951 | 1119491.631 | 2559399.3799 | 1119496.4036 | 2559402.2085 | 1119506.2786 | 2559403.69 | 1119508.592 | 2559404.8437 | 1119510.2515
45 | 2559361.2111 | 1119426.5356 | 2559354.0205 | 1119424.3162 | 2559342.7381 | 1119418.2033
46 | 2559312.0274 | 1119376.7523 | 2559318.6284 | 1119384.2117 | 2559323.8476 | 1119390.4353 | 2559325.7555 | 1119390.7559 | 2559327.4547 | 1119395.5914 | 2559332.3513 | 1119403.1735 | 2559340.3205 | 1119411.0238 | 2559361.2111 | 1119426.5356
47 | 2559376.4807 | 1119289.9675 | 2559375.0974 | 1119287.4822 | 2559365.5333 | 1119271.9608 | 2559360.1498 | 1119263.3046
48 | 2559387.3611 | 1119312.0345 | 2559380.713 | 1119297.5718 | 2559376.4807 | 1119289.9675
49 | 2559334.2551 | 1119222.6236 | 2559337.7311 | 1119228.1588 | 2559350.9232 | 1119248.4693 | 2559360.1498 | 1119263.3046
50 | 2559299.8627 | 1119221.5215 | 2559305.2437 | 1119218.5393 | 2559309.6453 | 1119215.6192 | 2559317.6261 | 1119212.5417 | 2559323.4273 | 1119212.3581 | 2559330.6334 | 1119216.8563 | 2559334.2551 | 1119222.6236
51 | 2559299.8627 | 1119221.5215 | 2559296.7395 | 1119211.4818 | 2559296.3168 | 1119210.0858
52 | 2559309.1148 | 1119246.8054 | 2559302.8674 | 1119231.1617 | 2559299.8627 | 1119221.5215
53 | 2559414.8957 | 1119523.9023 | 2559409.1515 | 1119516.4482 | 2559404.8437 | 1119510.2515
54 | 2559414.8957 | 1119523.9023 | 2559417.6199 | 1119528.5864 | 2559425.2692 | 1119540.5301 | 2559428.8634 | 1119545.2517
55 | 2559334.0733 | 1119377.2375 | 2559335.9867 | 1119379.3146 | 2559341.6739 | 1119383.9898 | 2559347.0228 | 1119387.7001 | 2559349.0594 | 1119389.9444
56 | 2559315.0204 | 1119361.7578 | 2559318.1024 | 1119362.2596 | 2559320.105 | 1119362.8797 | 2559324.6801 | 1119367.4179 | 2559330.7247 | 1119373.6026 | 2559334.0733 | 1119377.2375
57 | 2559361.3706 | 1119408.9589 | 2559358.6894 | 1119402.6626 | 2559356.1163 | 1119397.5217 | 2559351.1038 | 1119392.1972 | 2559349.0594 | 1119389.9444
58 | 2559315.0204 | 1119361.7578 | 2559310.9687 | 1119351.3131
59 | 2559312.0274 | 1119376.7523 | 2559318.6284 | 1119384.2117 | 2559323.8476 | 1119390.4353 | 2559325.7555 | 1119390.7559 | 2559324.1274 | 1119385.0084 | 2559319.3549 | 1119372.9455 | 2559315.0204 | 1119361.7578
60 | 2559310.9687 | 1119351.3131 | 2559305.8159 | 1119341.2093 | 2559303.2596 | 1119334.0006 | 2559301.8295 | 1119321.0036 | 2559298.8553 | 1119309.0286 | 2559295.9427 | 1119289.0158 | 2559295.5863 | 1119283.6405
61 | 2559312.0274 | 1119376.7523 | 2559307.977 | 1119376.813 | 2559301.1764 | 1119374.0796 | 2559293.9187 | 1119372.2053 | 2559290.1073 | 1119369.9521
62 | 2559312.0274 | 1119376.7523 | 2559309.4448 | 1119373.6348 | 2559299.2933 | 1119360.263 | 2559289.5874 | 1119346.6904
63 | 2559295.5863 | 1119283.6405 | 2559295.1205 | 1119276.6136
64 | 2559279.3822 | 1119356.1951 | 2559290.1073 | 1119369.9521
65 | 2559273.5188 | 1119325.3966 | 2559281.6584 | 1119335.6026 | 2559289.5874 | 1119346.6904
66 | 2559342.7381 | 1119418.2033 | 2559331.8495 | 1119412.3037 | 2559326.3498 | 1119409.1058 | 2559324.3514 | 1119409.097 | 2559323.3214 | 1119409.682
67 | 2559253.5277 | 1119204.3028 | 2559254.0431 | 1119206.3559 | 2559257.2353 | 1119208.302 | 2559261.5771 | 1119213.6866 | 2559270.1045 | 1119228.7368 | 2559270.8838 | 1119233.3117 | 2559275.057 | 1119241.3301
68 | 2559253.5277 | 1119204.3028 | 2559251.8949 | 1119207.0263 | 2559253.2261 | 1119209.9077 | 2559256.1662 | 1119215.6797 | 2559258.259 | 1119220.5125 | 2559260.0613 | 1119224.6136 | 2559261.3969 | 1119228.1508 | 2559260.6749 | 1119232.0688 | 2559262.866 | 1119237.7458
69 | 2559272.2567 | 1119182.8989 | 2559266.9038 | 1119184.3468 | 2559265.8903 | 1119186.2213 | 2559263.0868 | 1119186.985 | 2559258.8003 | 1119189.8154 | 2559256.1978 | 1119192.9123 | 2559252.588 | 1119198.8174 | 2559253.1789 | 1119202.9155 | 2559253.5277 | 1119204.3028
70 | 2559272.2567 | 1119182.8989 | 2559261.7107 | 1119174.4999
71 | 2559259.7628 | 1119183.7947 | 2559266.9038 | 1119184.3468 | 2559272.2567 | 1119182.8989
72 | 2559259.7628 | 1119183.7947 | 2559259.2368 | 1119185.8882 | 2559255.8803 | 1119187.0336 | 2559249.3415 | 1119189.9681 | 2559240.9468 | 1119194.5938 | 2559234.145 | 1119198.5639 | 2559233.1331 | 1119201.8391
73 | 2559316.1305 | 1119258.157 | 2559317.298 | 1119260.046 | 2559325.6228 | 1119272.5408 | 2559331.9392 | 1119280.2507
74 | 2559316.1305 | 1119258.157 | 2559315.779 | 1119257.5882
75 | 2559343.4306 | 1119294.232 | 2559336.818 | 1119286.2057 | 2559331.9392 | 1119280.2507
76 | 2559309.1148 | 1119246.8054 | 2559315.779 | 1119257.5882
77 | 2559343.4306 | 1119294.232 | 2559341.4218 | 1119296.1354 | 2559340.7455 | 1119298.8302 | 2559341.1867 | 1119302.4736 | 2559342.166 | 1119304.6681 | 2559342.4265 | 1119304.872
78 | 2559343.4306 | 1119294.232 | 2559356.8884 | 1119308.1819 | 2559383.8222 | 1119336.5264 | 2559393.839 | 1119347.0978 | 2559403.1507 | 1119359.5194 | 2559415.3532 | 1119378.4093
79 | 2559309.1148 | 1119246.8054 | 2559303.5063 | 1119250.3895 | 2559298.8524 | 1119254.8009 | 2559296.1804 | 1119260.1883 | 2559294.6285 | 1119269.1923 | 2559295.1205 | 1119276.6136
80 | 2559342.4265 | 1119304.872 | 2559345.2221 | 1119307.0599 | 2559349.4549 | 1119311.1557 | 2559354.6732 | 1119317.2459 | 2559361.2906 | 1119326.0059 | 2559366.771 | 1119332.3592
81 | 2559430.2537 | 1119402.7705 | 2559415.6491 | 1119378.8675 | 2559415.3532 | 1119378.4093
82 | 2559430.2537 | 1119402.7705 | 2559434.074 | 1119408.6701 | 2559440.0074 | 1119416.7011 | 2559443.6593 | 1119421.6457
83 | 2559430.2537 | 1119402.7705 | 2559427.2572 | 1119404.6583
84 | 2559492.1177 | 1119476.2485 | 2559490.0965 | 1119477.4405 | 2559487.3644 | 1119477.3365 | 2559483.4549 | 1119474.2278 | 2559480.3536 | 1119471.9919 | 2559477.0923 | 1119472.3473 | 2559475.655 | 1119475.4808 | 2559475.5242 | 1119478.9723 | 2559477.3683 | 1119482.4395 | 2559481.197 | 1119486.138 | 2559485.042 | 1119490.7528
85 | 2559498.9949 | 1119507.6963 | 2559495.6029 | 1119502.3719 | 2559487.2485 | 1119493.4011 | 2559485.042 | 1119490.7528
86 | 2559443.6593 | 1119421.6457 | 2559459.7327 | 1119441.4258 | 2559474.8377 | 1119458.3219 | 2559492.1177 | 1119476.2485
87 | 2559443.6593 | 1119421.6457 | 2559447.1075 | 1119420.3997 | 2559449.9775 | 1119421.5033 | 2559454.5493 | 1119423.2624 | 2559460.4443 | 1119427.8918 | 2559464.6157 | 1119432.066
88 | 2559427.2572 | 1119404.6583 | 2559428.0277 | 1119407.9326 | 2559430.5941 | 1119412.0952 | 2559436.7862 | 1119420.7359 | 2559440.8021 | 1119427.0343 | 2559442.965 | 1119429.7101 | 2559443.9141 | 1119431.0695
89 | 2559455.9316 | 1119469.3989 | 2559452.8787 | 1119467.4851 | 2559451.6815 | 1119463.8468 | 2559450.5372 | 1119457.7403 | 2559449.5559 | 1119446.0409 | 2559447.5615 | 1119436.2937 | 2559443.9141 | 1119431.0695
90 | 2559395.2551 | 1119376.3922 | 2559402.4037 | 1119378.1006 | 2559406.1534 | 1119381.5104 | 2559413.6766 | 1119390.7535 | 2559423.3469 | 1119402.5946 | 2559425.1622 | 1119404.0609 | 2559427.2572 | 1119404.6583
91 | 2559395.2551 | 1119376.3922 | 2559395.9548 | 1119380.623 | 2559395.378 | 1119387.7861 | 2559395.0276 | 1119397.6268
92 | 2559379.3938 | 1119373.2972 | 2559389.4745 | 1119375.0192 | 2559395.2551 | 1119376.3922

## bus_geodata
| x | y | coords
0 | 2558962.8041 | 1119619.3916
1 | 2559075.61 | 1119466.0203
2 | 2559089.3036 | 1119475.5143
3 | 2559109.1644 | 1119490.7567
4 | 2559142.2728 | 1119514.7687
5 | 2559140.9791 | 1119512.0802
6 | 2559196.3697 | 1119493.4922
7 | 2559291.2273 | 1119488.5397
8 | 2559211.0754 | 1119416.5894
9 | 2559325.773 | 1119517.7116
10 | 2559311.9775 | 1119470.7948
11 | 2559185.2319 | 1119396.125
12 | 2559197.0692 | 1119459.9814
13 | 2559326.5579 | 1119518.1192
14 | 2559181.687 | 1119377.5663
15 | 2559335.9492 | 1119522.6771
16 | 2559154.2552 | 1119315.1744
17 | 2559111.2032 | 1119340.612
18 | 2559206.6927 | 1119503.6944
19 | 2559215.8074 | 1119517.7738
20 | 2559216.2397 | 1119519.5242
21 | 2559189.7386 | 1119476.1301
22 | 2559223.2631 | 1119544.4033
23 | 2559184.965 | 1119470.513
24 | 2559342.2648 | 1119547.8908
25 | 2559363.5242 | 1119531.8788
26 | 2559396.7262 | 1119552.6947
27 | 2559399.464 | 1119547.9294
28 | 2559447.7827 | 1119570.3275
29 | 2559162.9327 | 1119450.5072
30 | 2559290.9013 | 1119190.5001
31 | 2559293.0146 | 1119199.1784
32 | 2559398.2282 | 1119462.0539
33 | 2559415.4238 | 1119482.7536
34 | 2559389.4843 | 1119456.7832
35 | 2559415.9763 | 1119483.3528
36 | 2559394.2247 | 1119472.137
37 | 2559379.5878 | 1119443.0502
38 | 2559422.5997 | 1119497.33
39 | 2559369.435 | 1119456.1844
40 | 2559398.5951 | 1119491.631
41 | 2559361.2111 | 1119426.5356
42 | 2559376.4807 | 1119289.9675
43 | 2559360.1498 | 1119263.3046
44 | 2559387.3611 | 1119312.0345
45 | 2559334.2551 | 1119222.6236
46 | 2559299.8627 | 1119221.5215
47 | 2559404.8437 | 1119510.2515
48 | 2559414.8957 | 1119523.9023
49 | 2559428.8634 | 1119545.2517
50 | 2559334.0733 | 1119377.2375
51 | 2559349.0594 | 1119389.9444
52 | 2559315.0204 | 1119361.7578
53 | 2559361.3706 | 1119408.9589
54 | 2559310.9687 | 1119351.3131
55 | 2559312.0274 | 1119376.7523
56 | 2559295.5863 | 1119283.6405
57 | 2559290.1073 | 1119369.9521
58 | 2559289.5874 | 1119346.6904
59 | 2559342.7381 | 1119418.2033
60 | 2559275.057 | 1119241.3301
61 | 2559253.5277 | 1119204.3028
62 | 2559262.866 | 1119237.7458
63 | 2559272.2567 | 1119182.8989
64 | 2559259.7628 | 1119183.7947
65 | 2559233.1331 | 1119201.8391
66 | 2559261.7107 | 1119174.4999
67 | 2559316.1305 | 1119258.157
68 | 2559331.9392 | 1119280.2507
69 | 2559315.779 | 1119257.5882
70 | 2559343.4306 | 1119294.232
71 | 2559309.1148 | 1119246.8054
72 | 2559342.4265 | 1119304.872
73 | 2559415.3532 | 1119378.4093
74 | 2559295.1205 | 1119276.6136
75 | 2559296.3168 | 1119210.0858
76 | 2559366.771 | 1119332.3592
77 | 2559430.2537 | 1119402.7705
78 | 2559280.8921 | 1119440.7197
79 | 2559422.888 | 1119498.4912
80 | 2559485.042 | 1119490.7528
81 | 2559492.1177 | 1119476.2485
82 | 2559498.9949 | 1119507.6963
83 | 2559443.6593 | 1119421.6457
84 | 2559464.6157 | 1119432.066
85 | 2559323.3214 | 1119409.682
86 | 2559443.9141 | 1119431.0695
87 | 2559427.2572 | 1119404.6583
88 | 2559455.9316 | 1119469.3989
89 | 2559395.2551 | 1119376.3922
90 | 2559395.0276 | 1119397.6268
91 | 2559379.3938 | 1119373.2972
92 | 2559273.5188 | 1119325.3966
93 | 2559279.3822 | 1119356.1951
94 | 2559325.7555 | 1119390.756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1