## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6156-23_0_9_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6156-23_0_9_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6156-23_0_9_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_6156-23_0_9_node_72 | 0.4 | n |  | TRUE
4 | bus_LV_6156-23_0_9_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_6156-23_0_9_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6156-23_0_9_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_6156-23_0_9_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_6156-23_0_9_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6156-23_0_9_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_6156-23_0_9_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_6156-23_0_9_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6156-23_0_9_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6156-23_0_9_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6156-23_0_9_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_6156-23_0_9_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6156-23_0_9_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_6156-23_0_9_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_6156-23_0_9_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6156-23_0_9_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6156-23_0_9_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6156-23_0_9_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_6156-23_0_9_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_6156-23_0_9_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_6156-23_0_9_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_6156-23_0_9_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6156-23_0_9_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6156-23_0_9_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6156-23_0_9_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_6156-23_0_9_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6156-23_0_9_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6156-23_0_9_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_6156-23_0_9_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_6156-23_0_9_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_6156-23_0_9_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_6156-23_0_9_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_6156-23_0_9_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_6156-23_0_9_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_6156-23_0_9_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6156-23_0_9_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_6156-23_0_9_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6156-23_0_9_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6156-23_0_9_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6156-23_0_9_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6156-23_0_9_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6156-23_0_9_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_6156-23_0_9_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_6156-23_0_9_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_6156-23_0_9_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_6156-23_0_9_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_6156-23_0_9_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_6156-23_0_9_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_6156-23_0_9_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_6156-23_0_9_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_6156-23_0_9_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_6156-23_0_9_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_6156-23_0_9_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_6156-23_0_9_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_6156-23_0_9_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6156-23_0_9_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6156-23_0_9_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_6156-23_0_9_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_6156-23_0_9_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_6156-23_0_9_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_6156-23_0_9_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_6156-23_0_9_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_6156-23_0_9_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_6156-23_0_9_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_6156-23_0_9_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_6156-23_0_9_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_6156-23_0_9_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_6156-23_0_9_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_6156-23_0_9_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_6156-23_0_9_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_6156-23_0_9_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_6156-23_0_9_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_6156-23_0_9_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_6156-23_0_9_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_6156-23_0_9_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_6156-23_0_9_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_6156-23_0_9_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_6156-23_0_9_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_6156-23_0_9_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_6156-23_0_9_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_6156-23_0_9_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_6156-23_0_9_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_6156-23_0_9_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_6156-23_0_9_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_6156-23_0_9_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_6156-23_0_9_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_6156-23_0_9_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_6156-23_0_9_node_89 | 0.4 | n |  | TRUE
92 | bus_MV_105_1_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6156-23_0_9_load_0 | 0 | 0.0050557 | 0.0012671 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6156-23_0_9_load_2 | 1 | 0.0017144 | 0.00042966 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6156-23_0_9_load_72 | 3 | 0.0086994 | 0.0021803 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6156-23_0_9_load_84 | 6 | 0.0014838 | 0.00037188 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6156-23_0_9_load_71 | 7 | 0.0054399 | 0.0013634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6156-23_0_9_load_4 | 8 | 0.0023922 | 0.00059955 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6156-23_0_9_load_70 | 9 | 0.0090701 | 0.0022732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6156-23_0_9_load_6 | 12 | 0.006467 | 0.0016208 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6156-23_0_9_load_74 | 14 | 0.0036813 | 0.00092262 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6156-23_0_9_load_9 | 15 | 0.0030098 | 0.00075432 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6156-23_0_9_load_61 | 16 | 0.0044236 | 0.0011087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6156-23_0_9_load_60 | 17 | 0.012594 | 0.0031564 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6156-23_0_9_load_8 | 18 | 0.011147 | 0.0027936 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6156-23_0_9_load_10 | 19 | 0.0015523 | 0.00038903 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6156-23_0_9_load_75 | 21 | 0.0014876 | 0.00037282 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6156-23_0_9_load_90 | 23 | 0.0035642 | 0.00089327 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6156-23_0_9_load_12 | 25 | 0.0058283 | 0.0014607 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6156-23_0_9_load_13 | 26 | 0.0073231 | 0.0018353 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6156-23_0_9_load_14 | 27 | 0.022875 | 0.0057331 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6156-23_0_9_load_15 | 29 | 0.0056653 | 0.0014198 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6156-23_0_9_load_16 | 30 | 0.007043 | 0.0017652 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6156-23_0_9_load_43 | 32 | 0.012071 | 0.0030252 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6156-23_0_9_load_17 | 33 | 0.0075293 | 0.001887 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6156-23_0_9_load_53 | 34 | 0.0077364 | 0.0019389 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6156-23_0_9_load_40 | 35 | 0.019024 | 0.0047679 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6156-23_0_9_load_88 | 36 | 0.011086 | 0.0027784 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6156-23_0_9_load_18 | 39 | 0.0071 | 0.0017794 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6156-23_0_9_load_29 | 41 | 0.0082888 | 0.0020774 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6156-23_0_9_load_36 | 43 | 0.0094722 | 0.002374 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6156-23_0_9_load_37 | 45 | 0.0042897 | 0.0010751 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6156-23_0_9_load_19 | 46 | 0.0076605 | 0.0019199 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6156-23_0_9_load_20 | 47 | 0.0056308 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6156-23_0_9_load_22 | 49 | 0.0088046 | 0.0022067 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6156-23_0_9_load_23 | 50 | 0.0081131 | 0.0020333 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6156-23_0_9_load_32 | 52 | 0.0061414 | 0.0015392 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6156-23_0_9_load_31 | 53 | 0.0057177 | 0.001433 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6156-23_0_9_load_27 | 54 | 0.0049524 | 0.0012412 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6156-23_0_9_load_33 | 55 | 0.006114 | 0.0015323 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6156-23_0_9_load_91 | 56 | 0.0078884 | 0.001977 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6156-23_0_9_load_30 | 57 | 0.0047345 | 0.0011866 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6156-23_0_9_load_51 | 58 | 0.0069956 | 0.0017533 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6156-23_0_9_load_49 | 59 | 0.0057586 | 0.0014432 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6156-23_0_9_load_34 | 60 | 0.007166 | 0.001796 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6156-23_0_9_load_35 | 61 | 0.0076098 | 0.0019072 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6156-23_0_9_load_39 | 62 | 0.0053458 | 0.0013398 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6156-23_0_9_load_42 | 63 | 0.0035486 | 0.00088937 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6156-23_0_9_load_92 | 65 | 0.0087066 | 0.0021821 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6156-23_0_9_load_48 | 67 | 0.0050676 | 0.0012701 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6156-23_0_9_load_87 | 69 | 0.0089167 | 0.0022347 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6156-23_0_9_load_52 | 70 | 0.0039502 | 0.00099002 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6156-23_0_9_load_58 | 71 | 0.0042723 | 0.0010707 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6156-23_0_9_load_54 | 73 | 0.0043122 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6156-23_0_9_load_55 | 74 | 0.0056483 | 0.0014156 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6156-23_0_9_load_59 | 77 | 0.008689 | 0.0021777 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6156-23_0_9_load_66 | 78 | 0.0092947 | 0.0023295 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6156-23_0_9_load_63 | 80 | 0.004722 | 0.0011835 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6156-23_0_9_load_67 | 82 | 0.0053042 | 0.0013294 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6156-23_0_9_load_69 | 83 | 0.005093 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6156-23_0_9_load_73 | 84 | 0.012805 | 0.0032093 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6156-23_0_9_load_82 | 86 | 0.0017059 | 0.00042754 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6156-23_0_9_load_83 | 87 | 0.0026457 | 0.00066308 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6156-23_0_9_load_77 | 88 | 0.0017352 | 0.00043487 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6156-23_0_9_load_85 | 90 | 0.0018343 | 0.00045971 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6156-23_0_9_load_89 | 91 | 0.003586 | 0.00089874 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6156-23_0_9_line_0 |  | 0 | 1 | 0.1903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6156-23_0_9_line_1 |  | 1 | 2 | 0.054464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6156-23_0_9_line_2 |  | 2 | 5 | 0.093246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6156-23_0_9_line_3 |  | 3 | 4 | 0.020037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6156-23_0_9_line_4 |  | 4 | 9 | 0.0059596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6156-23_0_9_line_5 |  | 4 | 81 | 0.049877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6156-23_0_9_line_6 |  | 5 | 6 | 0.11992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6156-23_0_9_line_7 |  | 6 | 10 | 0.010402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6156-23_0_9_line_8 |  | 7 | 8 | 0.20616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6156-23_0_9_line_9 |  | 7 | 9 | 0.0238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6156-23_0_9_line_10 |  | 8 | 11 | 0.044572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6156-23_0_9_line_11 |  | 10 | 90 | 0.035732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6156-23_0_9_line_12 |  | 10 | 89 | 0.098554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6156-23_0_9_line_13 |  | 11 | 12 | 0.15049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6156-23_0_9_line_14 |  | 11 | 13 | 0.20099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6156-23_0_9_line_15 |  | 13 | 14 | 0.015139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6156-23_0_9_line_16 |  | 13 | 15 | 0.0090094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6156-23_0_9_line_17 |  | 15 | 18 | 0.019356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6156-23_0_9_line_18 |  | 16 | 17 | 0.0074269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6156-23_0_9_line_19 |  | 17 | 77 | 0.0033863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6156-23_0_9_line_20 |  | 18 | 19 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6156-23_0_9_line_21 |  | 19 | 20 | 0.067806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6156-23_0_9_line_22 |  | 20 | 21 | 0.015464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6156-23_0_9_line_23 |  | 20 | 22 | 0.012975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6156-23_0_9_line_24 |  | 22 | 23 | 0.062129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6156-23_0_9_line_25 |  | 22 | 24 | 0.03191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6156-23_0_9_line_26 |  | 24 | 91 | 0.039334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6156-23_0_9_line_27 |  | 24 | 89 | 0.010459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6156-23_0_9_line_28 |  | 25 | 26 | 0.02455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6156-23_0_9_line_29 |  | 25 | 27 | 0.018964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6156-23_0_9_line_30 |  | 25 | 28 | 0.040551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6156-23_0_9_line_31 |  | 26 | 29 | 0.005589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6156-23_0_9_line_32 |  | 27 | 30 | 0.001491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6156-23_0_9_line_33 |  | 28 | 31 | 0.032989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6156-23_0_9_line_34 |  | 28 | 32 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6156-23_0_9_line_35 |  | 29 | 33 | 0.013814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6156-23_0_9_line_36 |  | 30 | 38 | 0.032799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6156-23_0_9_line_37 |  | 31 | 34 | 0.01052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6156-23_0_9_line_38 |  | 31 | 35 | 0.035351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6156-23_0_9_line_39 |  | 33 | 39 | 0.0078087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6156-23_0_9_line_40 |  | 35 | 42 | 0.021396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6156-23_0_9_line_41 |  | 36 | 37 | 0.038931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6156-23_0_9_line_42 |  | 37 | 42 | 0.029916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6156-23_0_9_line_43 |  | 38 | 40 | 0.09078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6156-23_0_9_line_44 |  | 39 | 41 | 0.0087541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6156-23_0_9_line_45 |  | 40 | 56 | 0.030725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6156-23_0_9_line_46 |  | 41 | 44 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6156-23_0_9_line_47 |  | 42 | 43 | 0.020592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6156-23_0_9_line_48 |  | 43 | 45 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6156-23_0_9_line_49 |  | 44 | 57 | 0.01746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6156-23_0_9_line_50 |  | 44 | 54 | 0.01636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6156-23_0_9_line_51 |  | 45 | 62 | 0.012993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6156-23_0_9_line_52 |  | 46 | 47 | 0.0021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6156-23_0_9_line_53 |  | 46 | 48 | 0.0068444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6156-23_0_9_line_54 |  | 47 | 49 | 0.018854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6156-23_0_9_line_55 |  | 48 | 50 | 0.010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6156-23_0_9_line_56 |  | 48 | 51 | 0.041135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6156-23_0_9_line_57 |  | 49 | 52 | 0.12469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6156-23_0_9_line_58 |  | 51 | 53 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6156-23_0_9_line_59 |  | 51 | 54 | 0.040531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6156-23_0_9_line_60 |  | 52 | 55 | 0.017036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6156-23_0_9_line_61 |  | 55 | 60 | 0.0215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6156-23_0_9_line_62 |  | 57 | 58 | 0.012797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6156-23_0_9_line_63 |  | 58 | 59 | 0.01073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6156-23_0_9_line_64 |  | 59 | 67 | 0.01178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6156-23_0_9_line_65 |  | 60 | 61 | 0.011609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6156-23_0_9_line_66 |  | 62 | 63 | 0.015676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6156-23_0_9_line_67 |  | 64 | 65 | 0.011431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6156-23_0_9_line_68 |  | 64 | 66 | 0.007323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6156-23_0_9_line_69 |  | 66 | 69 | 0.030142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6156-23_0_9_line_70 |  | 67 | 68 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6156-23_0_9_line_71 |  | 68 | 70 | 0.022292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6156-23_0_9_line_72 |  | 68 | 69 | 0.069599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6156-23_0_9_line_73 |  | 70 | 71 | 0.0056858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6156-23_0_9_line_74 |  | 71 | 72 | 0.068057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6156-23_0_9_line_75 |  | 72 | 73 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_6156-23_0_9_line_76 |  | 73 | 74 | 0.018838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_6156-23_0_9_line_77 |  | 74 | 75 | 0.054889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6156-23_0_9_line_78 |  | 75 | 76 | 0.012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_6156-23_0_9_line_79 |  | 75 | 77 | 0.035789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6156-23_0_9_line_80 |  | 76 | 78 | 0.0038807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6156-23_0_9_line_81 |  | 78 | 79 | 0.016791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6156-23_0_9_line_82 |  | 79 | 82 | 0.0095245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6156-23_0_9_line_83 |  | 79 | 80 | 0.0084974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_6156-23_0_9_line_84 |  | 80 | 81 | 0.015391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_6156-23_0_9_line_85 |  | 81 | 83 | 0.0088036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6156-23_0_9_line_86 |  | 83 | 84 | 0.015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6156-23_0_9_line_87 |  | 85 | 86 | 0.014975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6156-23_0_9_line_88 |  | 85 | 87 | 0.009223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6156-23_0_9_line_89 |  | 85 | 88 | 0.015816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6156-23_0_9_line_90 |  | 88 | 89 | 0.034891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6156-23_0_9_trafo_65 | 0.63 MVA 20/0.4 kV | 92 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2555352.4877 | 1121571.9373 | 2555511.3267 | 1121676.7392
1 | 2555311.8768 | 1121600.8859 | 2555313.3315 | 1121591.1035 | 2555325.1027 | 1121580.8333 | 2555338.3224 | 1121574.5101 | 2555352.4877 | 1121571.9373
2 | 2555229.2007 | 1121620.6084 | 2555274.0792 | 1121625.3561 | 2555283.6824 | 1121624.3956 | 2555296.9076 | 1121618.8393 | 2555308.8183 | 1121609.702 | 2555311.8768 | 1121600.8859
3 | 2554999.2916 | 1121375.357 | 2555002.3525 | 1121373.1108 | 2555008.2058 | 1121366.764 | 2555013.0357 | 1121360.888
4 | 2554999.2916 | 1121375.357 | 2555000.1094 | 1121376.4182 | 2554998.7173 | 1121379.0299 | 2554997.9936 | 1121380.5241
5 | 2554999.2916 | 1121375.357 | 2554995.1184 | 1121378.423 | 2554989.7723 | 1121382.4538 | 2554984.2242 | 1121387.331 | 2554981.296 | 1121390.8102 | 2554979.2217 | 1121395.0279 | 2554977.225 | 1121396.1989 | 2554975.3261 | 1121396.013 | 2554974.6795 | 1121394.1168 | 2554976.7544 | 1121388.9542 | 2554979.332 | 1121381.898 | 2554979.8721 | 1121379.8485
6 | 2555229.2007 | 1121620.6084 | 2555248.69 | 1121614.1717 | 2555257.5229 | 1121612.2942 | 2555265.152 | 1121611.3928 | 2555270.8261 | 1121609.9834 | 2555274.3353 | 1121607.8785 | 2555277.7057 | 1121604.7297 | 2555279.5871 | 1121602.5702 | 2555281.309 | 1121597.6105 | 2555283.1554 | 1121585.5239 | 2555284.7059 | 1121570.9716 | 2555286.2841 | 1121564.3232 | 2555289.6193 | 1121556.4166 | 2555295.3471 | 1121546.6358 | 2555299.1882 | 1121541.504
7 | 2555305.421 | 1121533.1766 | 2555299.1882 | 1121541.504
8 | 2554988.7566 | 1121402.4384 | 2555157.498 | 1121520.8863
9 | 2554988.7566 | 1121402.4384 | 2554994.1671 | 1121388.4242 | 2554997.9936 | 1121380.5241
10 | 2555188.3811 | 1121489.3656 | 2555186.6686 | 1121492.4577 | 2555179.9769 | 1121501.2119 | 2555173.9358 | 1121508.2492 | 2555167.6958 | 1121513.4426 | 2555157.498 | 1121520.8863
11 | 2555305.421 | 1121533.1766 | 2555319.5839 | 1121535.473 | 2555333.1086 | 1121541.1759 | 2555339.6858 | 1121542.4842
12 | 2555291.3736 | 1121511.0469 | 2555299.9197 | 1121510.0053 | 2555313.8836 | 1121509.3906 | 2555323.5573 | 1121510.6196 | 2555331.8561 | 1121511.5921 | 2555337.9385 | 1121513.2369 | 2555341.4305 | 1121517.1242 | 2555342.8312 | 1121520.8824 | 2555341.6796 | 1121524.7373 | 2555336.8101 | 1121526.4743 | 2555320.9941 | 1121525.9243 | 2555311.8248 | 1121528.2266 | 2555305.421 | 1121533.1766
13 | 2555188.3811 | 1121489.3656 | 2555187.0045 | 1121487.8306 | 2555187.6891 | 1121480.2994 | 2555188.786 | 1121469.0855 | 2555188.8706 | 1121460.7472 | 2555190.3733 | 1121453.2878 | 2555194.5942 | 1121444.174 | 2555197.884 | 1121438.4689 | 2555207.3159 | 1121422.6908 | 2555216.9578 | 1121406.0996 | 2555225.6657 | 1121392.528 | 2555229.9803 | 1121385.637 | 2555233.0738 | 1121383.6241 | 2555239.4993 | 1121381.5865 | 2555249.19 | 1121380.9255 | 2555260.5158 | 1121381.2862 | 2555264.1727 | 1121381.9624
14 | 2555267.3785 | 1121476.7624 | 2555271.1982 | 1121472.821 | 2555277.6316 | 1121460.4114 | 2555281.7714 | 1121454.9112 | 2555286.8363 | 1121451.4275 | 2555291.666 | 1121450.5469 | 2555297.534 | 1121449.2694 | 2555299.0852 | 1121447.3014 | 2555300.3645 | 1121444.0347 | 2555300.0473 | 1121442.8586 | 2555299.3571 | 1121440.2735 | 2555296.2691 | 1121437.8173 | 2555291.3117 | 1121438.1209 | 2555282.5986 | 1121442.6766 | 2555276.6101 | 1121445.389 | 2555267.7578 | 1121448.8341 | 2555258.7001 | 1121451.636 | 2555248.4589 | 1121452.9458 | 2555241.7315 | 1121452.74 | 2555232.5075 | 1121449.7513 | 2555226.3454 | 1121446.7399 | 2555220.3843 | 1121443.7825 | 2555215.0244 | 1121442.844 | 2555209.4837 | 1121443.541 | 2555205.3839 | 1121446.1061 | 2555203.1198 | 1121448.6686 | 2555199.315 | 1121454.611 | 2555196.8384 | 1121463.8786 | 2555195.3409 | 1121474.1061 | 2555192.7885 | 1121481.4733 | 2555188.3811 | 1121489.3656
15 | 2555267.3785 | 1121476.7624 | 2555275.4432 | 1121476.3247 | 2555281.4469 | 1121472.5338
16 | 2555267.3785 | 1121476.7624 | 2555261.9987 | 1121479.3814 | 2555259.1208 | 1121480.3165
17 | 2555241.1743 | 1121487.3556 | 2555246.3478 | 1121484.4666 | 2555259.1208 | 1121480.3165
18 | 2555042.1683 | 1121306.7801 | 2555035.9067 | 1121310.774
19 | 2555033.0517 | 1121312.595 | 2555035.9067 | 1121310.774
20 | 2555241.1743 | 1121487.3556 | 2555239.9723 | 1121488.0268 | 2555234.8414 | 1121491.9669 | 2555233.7689 | 1121496.077 | 2555232.6522 | 1121499.4818
21 | 2555242.29 | 1121530.1536 | 2555237.6349 | 1121535.8466 | 2555233.4346 | 1121539.4129 | 2555228.1004 | 1121541.9315 | 2555223.7842 | 1121541.3076 | 2555221.9991 | 1121537.7412 | 2555222.3529 | 1121533.4475 | 2555224.0164 | 1121528.944 | 2555228.0197 | 1121522.7333 | 2555231.179 | 1121517.1181 | 2555231.5877 | 1121510.8674 | 2555231.6763 | 1121505.1305 | 2555232.2302 | 1121500.7686 | 2555232.6522 | 1121499.4818
22 | 2555242.29 | 1121530.1536 | 2555245.5957 | 1121535.9543 | 2555246.2237 | 1121544.7209
23 | 2555250.1196 | 1121519.8569 | 2555246.813 | 1121523.2832 | 2555242.29 | 1121530.1536
24 | 2555250.1196 | 1121519.8569 | 2555252.0264 | 1121513.8397 | 2555294.2125 | 1121491.3268 | 2555299.7762 | 1121485.4159
25 | 2555280.9039 | 1121511.6914 | 2555268.1554 | 1121513.9536 | 2555257.7692 | 1121516.4874 | 2555250.1196 | 1121519.8569
26 | 2555280.9039 | 1121511.6914 | 2555317.6749 | 1121497.4453
27 | 2555291.3736 | 1121511.0469 | 2555280.9039 | 1121511.6914
28 | 2554891.5949 | 1121363.5431 | 2554874.3558 | 1121372.8545 | 2554870.1231 | 1121375.4338
29 | 2554853.9062 | 1121385.2643 | 2554858.8225 | 1121382.3199 | 2554870.1231 | 1121375.4338
30 | 2554870.1231 | 1121375.4338 | 2554841.6016 | 1121346.608
31 | 2554891.5949 | 1121363.5431 | 2554891.5949 | 1121363.5431 | 2554896.7355 | 1121361.3496
32 | 2554853.9062 | 1121385.2643 | 2554852.6271 | 1121386.0304
33 | 2554860.8771 | 1121321.8289 | 2554856.4309 | 1121329.6439 | 2554848.0777 | 1121344.136 | 2554846.7619 | 1121345.5911 | 2554843.8155 | 1121346.6359 | 2554841.6016 | 1121346.608
34 | 2554841.6016 | 1121346.608 | 2554840.5602 | 1121346.5935 | 2554837.0572 | 1121345.4191 | 2554833.4746 | 1121341.844 | 2554830.4134 | 1121337.9126
35 | 2554909.4407 | 1121355.9282 | 2554896.7355 | 1121361.3496
36 | 2554824.0437 | 1121401.9678 | 2554831.9174 | 1121398.6628 | 2554839.7251 | 1121393.7574 | 2554852.6271 | 1121386.0304
37 | 2554860.8771 | 1121321.8289 | 2554862.5837 | 1121323.1279 | 2554865.8348 | 1121330.852
38 | 2554860.8771 | 1121321.8289 | 2554866.7849 | 1121311.4238 | 2554877.2601 | 1121292.9026 | 2554878.3111 | 1121291.0758
39 | 2554916.9064 | 1121353.6394 | 2554909.4407 | 1121355.9282 | 2554909.4407 | 1121355.9282
40 | 2554885.9707 | 1121271.5154 | 2554886.1479 | 1121272.5257 | 2554885.5791 | 1121276.91 | 2554883.0928 | 1121282.7649 | 2554878.3111 | 1121291.0758
41 | 2554870.6478 | 1121246.2168 | 2554868.4958 | 1121251.38 | 2554857.7775 | 1121269.3805 | 2554854.3492 | 1121272.0075 | 2554847.9179 | 1121267.0752
42 | 2554870.6478 | 1121246.2168 | 2554879.8397 | 1121259.2882 | 2554884.5309 | 1121265.6787 | 2554885.391 | 1121268.2625 | 2554885.9707 | 1121271.5154
43 | 2554824.0437 | 1121401.9678 | 2554820.0531 | 1121403.643 | 2554816.2279 | 1121403.7272 | 2554813.6286 | 1121403.7355 | 2554812.4891 | 1121402.977 | 2554810.7022 | 1121409.5049 | 2554807.6278 | 1121420.2445 | 2554804.7213 | 1121429.6934 | 2554804.5789 | 1121434.3746 | 2554806.9041 | 1121436.903 | 2554810.4917 | 1121438.0656 | 2554815.5173 | 1121437.6056 | 2554821.9865 | 1121436.2787 | 2554826.4262 | 1121434.8336 | 2554832.1047 | 1121432.9791 | 2554844.0098 | 1121428.2988 | 2554847.5228 | 1121426.705
44 | 2554916.9064 | 1121353.6394 | 2554924.4935 | 1121351.3135 | 2554925.3082 | 1121351.2351
45 | 2554875.4402 | 1121413.7008 | 2554858.7078 | 1121421.641 | 2554847.5228 | 1121426.705
46 | 2554935.4137 | 1121352.0879 | 2554931.1376 | 1121350.6747 | 2554925.3082 | 1121351.2351
47 | 2554885.9707 | 1121271.5154 | 2554888.1522 | 1121272.3551 | 2554890.404 | 1121276.4182 | 2554894.1089 | 1121281.9156 | 2554898.9213 | 1121286.9711 | 2554898.9213 | 1121286.9711
48 | 2554898.9213 | 1121286.9711 | 2554905.1756 | 1121290.9265 | 2554910.8414 | 1121293.0195
49 | 2554935.4137 | 1121352.0879 | 2554941.3419 | 1121347.508 | 2554948.9693 | 1121341.0894
50 | 2554935.4137 | 1121352.0879 | 2554937.312 | 1121355.2976 | 2554937.1727 | 1121359.3786 | 2554935.6765 | 1121364.5702 | 2554934.2392 | 1121367.3668
51 | 2554910.8414 | 1121293.0195 | 2554912.6087 | 1121293.6724 | 2554920.618 | 1121293.0123 | 2554923.6266 | 1121292.3901
52 | 2554895.0986 | 1121446.7504 | 2554895.3716 | 1121444.5929
53 | 2554896.122 | 1121437.7921 | 2554895.997 | 1121439.6496 | 2554895.3716 | 1121444.5929
54 | 2554895.0986 | 1121446.7504 | 2554895.0284 | 1121447.3052 | 2554891.8259 | 1121452.265 | 2554888.0269 | 1121456.8735 | 2554883.1689 | 1121461.0678
55 | 2554906.0838 | 1121434.2048 | 2554896.122 | 1121437.7921
56 | 2554911.4023 | 1121400.67 | 2554907.7675 | 1121405.5774 | 2554901.8638 | 1121414.4594 | 2554898.2521 | 1121421.4455 | 2554896.6143 | 1121430.3846 | 2554896.122 | 1121437.7921
57 | 2554883.1689 | 1121461.0678 | 2554878.792 | 1121464.8466 | 2554856.514 | 1121484.1342 | 2554849.6448 | 1121488.6878 | 2554844.1318 | 1121492.0419 | 2554841.5992 | 1121495.8072 | 2554840.7813 | 1121499.8932 | 2554841.6665 | 1121504.8114 | 2554844.3406 | 1121508.6156 | 2554847.5946 | 1121510.5478 | 2554852.6309 | 1121511.5329 | 2554858.4226 | 1121510.3779 | 2554864.8771 | 1121507.1057 | 2554876.1596 | 1121499.6287 | 2554892.9272 | 1121487.32
58 | 2554923.3617 | 1121396.0116 | 2554915.1264 | 1121401.5093 | 2554911.4023 | 1121400.67
59 | 2554911.4023 | 1121400.67 | 2554914.8539 | 1121396.0085 | 2554921.6973 | 1121387.9644 | 2554927.9416 | 1121379.2466 | 2554931.7306 | 1121372.248 | 2554934.2392 | 1121367.3668
60 | 2554892.9272 | 1121487.32 | 2554895.5751 | 1121485.3763 | 2554906.2217 | 1121476.6736
61 | 2554922.7114 | 1121462.8826 | 2554918.0299 | 1121467.0214 | 2554906.2217 | 1121476.6736
62 | 2554956.9253 | 1121331.0855 | 2554956.5028 | 1121331.5311 | 2554949.4057 | 1121340.7221 | 2554948.9693 | 1121341.0894
63 | 2554956.9253 | 1121331.0855 | 2554963.8269 | 1121323.8059 | 2554964.2906 | 1121323.2834
64 | 2554971.9403 | 1121314.3457 | 2554971.2465 | 1121315.4462 | 2554964.2906 | 1121323.2834
65 | 2554931.4088 | 1121455.1933 | 2554922.7114 | 1121462.8826
66 | 2554938.4799 | 1121287.5317 | 2554928.7046 | 1121291.34 | 2554923.6266 | 1121292.3901
67 | 2554902.2211 | 1121235.1308 | 2554900.0435 | 1121238.9379 | 2554899.4403 | 1121245.9572
68 | 2554902.2211 | 1121235.1308 | 2554906.3391 | 1121241.1921
69 | 2554906.3391 | 1121241.1921 | 2554911.1598 | 1121247.3593 | 2554912.8145 | 1121252.0271 | 2554915.771 | 1121259.5645 | 2554918.6523 | 1121268.3809
70 | 2554978.0769 | 1121304.6119 | 2554971.9403 | 1121314.3457
71 | 2554978.0769 | 1121304.6119 | 2554983.4346 | 1121295.9231 | 2554986.9874 | 1121291.372 | 2554992.0937 | 1121287.665
72 | 2554978.0769 | 1121304.6119 | 2554918.6523 | 1121268.3809
73 | 2554996.6567 | 1121284.2728 | 2554992.5419 | 1121287.3397 | 2554992.0937 | 1121287.665
74 | 2555047.9025 | 1121248.1628 | 2555044.8231 | 1121244.8173 | 2555039.7642 | 1121244.9661 | 2555034.0021 | 1121249.1 | 2555022.3766 | 1121259.2807 | 2555000.09 | 1121281.7139 | 2554996.6567 | 1121284.2728
75 | 2555047.9025 | 1121248.1628 | 2555048.0425 | 1121252.4639 | 2555046.1764 | 1121256.68 | 2555040.9554 | 1121263.0221 | 2555039.8191 | 1121264.6528
76 | 2555039.8191 | 1121264.6528 | 2555035.9489 | 1121270.2075 | 2555029.8888 | 1121277.8233 | 2555028.4566 | 1121279.6683
77 | 2555001.2145 | 1121327.0289 | 2555002.9268 | 1121322.8806 | 2555004.9886 | 1121316.9845 | 2555008.6338 | 1121310.3428 | 2555014.2485 | 1121300.9405 | 2555021.8514 | 1121288.1773 | 2555028.4566 | 1121279.6683
78 | 2555001.2145 | 1121327.0289 | 2554999.9265 | 1121330.1512 | 2554996.5028 | 1121337.5361 | 2554996.0862 | 1121338.5619
79 | 2555001.2145 | 1121327.0289 | 2555005.798 | 1121327.2615 | 2555009.6654 | 1121326.6324 | 2555024.9566 | 1121317.7584 | 2555033.0517 | 1121312.595
80 | 2554996.0862 | 1121338.5619 | 2554994.6249 | 1121342.1569
81 | 2554989.0809 | 1121358.0019 | 2554990.3999 | 1121353.8677 | 2554993.8063 | 1121344.1707 | 2554994.6249 | 1121342.1569
82 | 2554989.0809 | 1121358.0019 | 2554987.3058 | 1121357.8706 | 2554985.6029 | 1121359.1395 | 2554981.972 | 1121363.4303
83 | 2554989.0809 | 1121358.0019 | 2554988.7569 | 1121359.0271 | 2554985.6314 | 1121363.9863 | 2554984.9583 | 1121365.394
84 | 2554979.8721 | 1121379.8485 | 2554982.0998 | 1121371.372 | 2554984.9583 | 1121365.394
85 | 2554979.8721 | 1121379.8485 | 2554977.7042 | 1121379.7869 | 2554973.3449 | 1121384.7886
86 | 2554964.3479 | 1121397.7846 | 2554973.3449 | 1121384.7886
87 | 2555265.9979 | 1121551.7113 | 2555275.9883 | 1121540.5316
88 | 2555265.3564 | 1121560.9097 | 2555265.9979 | 1121551.7113
89 | 2555265.9979 | 1121551.7113 | 2555267.8872 | 1121538.1236 | 2555268.7253 | 1121536.2009
90 | 2555291.3736 | 1121511.0469 | 2555279.3054 | 1121518.7291 | 2555272.559 | 1121527.4057 | 2555268.7253 | 1121536.2009

## bus_geodata
| x | y | coords
0 | 2555511.3267 | 1121676.7392
1 | 2555352.4877 | 1121571.9373
2 | 2555311.8768 | 1121600.8859
3 | 2555013.0357 | 1121360.888
4 | 2554999.2916 | 1121375.357
5 | 2555229.2007 | 1121620.6084
6 | 2555299.1882 | 1121541.504
7 | 2554988.7566 | 1121402.4384
8 | 2555157.498 | 1121520.8863
9 | 2554997.9936 | 1121380.5241
10 | 2555305.421 | 1121533.1766
11 | 2555188.3811 | 1121489.3656
12 | 2555264.1727 | 1121381.9624
13 | 2555267.3785 | 1121476.7624
14 | 2555281.4469 | 1121472.5338
15 | 2555259.1208 | 1121480.3165
16 | 2555042.1683 | 1121306.7801
17 | 2555035.9067 | 1121310.774
18 | 2555241.1743 | 1121487.3556
19 | 2555232.6522 | 1121499.4818
20 | 2555242.29 | 1121530.1536
21 | 2555246.2237 | 1121544.7209
22 | 2555250.1196 | 1121519.8569
23 | 2555299.7762 | 1121485.4159
24 | 2555280.9039 | 1121511.6914
25 | 2554870.1231 | 1121375.4338
26 | 2554891.5949 | 1121363.5431
27 | 2554853.9062 | 1121385.2643
28 | 2554841.6016 | 1121346.608
29 | 2554896.7355 | 1121361.3496
30 | 2554852.6271 | 1121386.0304
31 | 2554860.8771 | 1121321.8289
32 | 2554830.4134 | 1121337.9126
33 | 2554909.4407 | 1121355.9282
34 | 2554865.8348 | 1121330.852
35 | 2554878.3111 | 1121291.0758
36 | 2554847.9179 | 1121267.0752
37 | 2554870.6478 | 1121246.2168
38 | 2554824.0437 | 1121401.9678
39 | 2554916.9064 | 1121353.6394
40 | 2554847.5228 | 1121426.705
41 | 2554925.3082 | 1121351.2351
42 | 2554885.9707 | 1121271.5154
43 | 2554898.9213 | 1121286.9711
44 | 2554935.4137 | 1121352.0879
45 | 2554910.8414 | 1121293.0195
46 | 2554895.3716 | 1121444.5929
47 | 2554895.0986 | 1121446.7504
48 | 2554896.122 | 1121437.7921
49 | 2554883.1689 | 1121461.0678
50 | 2554906.0838 | 1121434.2048
51 | 2554911.4023 | 1121400.67
52 | 2554892.9272 | 1121487.3201
53 | 2554923.3617 | 1121396.0116
54 | 2554934.2392 | 1121367.3668
55 | 2554906.2217 | 1121476.6736
56 | 2554875.4402 | 1121413.7008
57 | 2554948.9693 | 1121341.0894
58 | 2554956.9253 | 1121331.0855
59 | 2554964.2906 | 1121323.2834
60 | 2554922.7114 | 1121462.8826
61 | 2554931.4088 | 1121455.1933
62 | 2554923.6266 | 1121292.3901
63 | 2554938.4799 | 1121287.5317
64 | 2554902.2211 | 1121235.1308
65 | 2554899.4403 | 1121245.9572
66 | 2554906.3391 | 1121241.1921
67 | 2554971.9403 | 1121314.3457
68 | 2554978.0769 | 1121304.6119
69 | 2554918.6523 | 1121268.3809
70 | 2554992.0937 | 1121287.665
71 | 2554996.6567 | 1121284.2728
72 | 2555047.9025 | 1121248.1628
73 | 2555039.8191 | 1121264.6528
74 | 2555028.4566 | 1121279.6683
75 | 2555001.2145 | 1121327.0289
76 | 2554996.0862 | 1121338.5619
77 | 2555033.0517 | 1121312.595
78 | 2554994.6249 | 1121342.1569
79 | 2554989.0809 | 1121358.0019
80 | 2554984.9583 | 1121365.394
81 | 2554979.8721 | 1121379.8485
82 | 2554981.972 | 1121363.4303
83 | 2554973.3449 | 1121384.7886
84 | 2554964.3479 | 1121397.7846
85 | 2555265.9979 | 1121551.7113
86 | 2555275.9883 | 1121540.5316
87 | 2555265.3564 | 1121560.9097
88 | 2555268.7253 | 1121536.2009
89 | 2555291.3736 | 1121511.0469
90 | 2555339.6858 | 1121542.4842
91 | 2555317.6749 | 1121497.4453
92 | 2554989.0809 | 1121358.0019

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1